## Kentucky_SOG
Duke Energy Kentucky | Self Optimized Grid (SOG) Years 2019-2021
[5 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
|  | Units |  | NPV (calculated) | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | TOTAL
| Benefits |  |  | 86013388.1112 | 0 | 1595294.7999 | 2676875.4399 | 5549762.672 | 5695913.3174 | 5838185.4581 | 5984034.3363 | 6133526.7125 | 6286736.8365 | 6443795.1612 | 6604776.2514 | 6769823.5122 | 6938967.6131 | 7112370.7465 | 7290082.3646 | 7472191.2667 | 7658848.1683 | 7850166.5168 | 8046293.9542 | 8247329.4101 | 8453377.7278 | 8664563.5694 | 8881033.9129 | 9102885.5506 | 9330285.3763 | 9563369.7803 | 9802274.1001 | 10047131.3628 | 10298112.8528 | 10555370.9795 | 10819063.3431 | 225712443.0931
| Costs |  |  | 16565445.744 | 5715758 | 5732979.7674 | 5767246.6275 | 6994.4751 | 23465.6696 | 23492.3765 | 23519.751 | 41175.1435 | 45448.3927 | 43100.4978 | 23636.2661 | 23667.2379 | 23698.984 | 23731.5238 | 44718.077 | 49798.2641 | 47002.1059 | 23870.0237 | 23906.8394 | 23944.5755 | 23983.2551 | 48929.6216 | 54968.1793 | 51650.7929 | 24147.8879 | 24191.6502 | 24236.5066 | 24282.4844 | 53936.1717 | 61113.5171 | 57169.8302 | 18179764.4956
| Net |  |  | 69447942.3671 | -5715758 | -4137684.9676 | -3090371.1876 | 5542768.1969 | 5672447.6478 | 5814693.0817 | 5960514.5853 | 6092351.5689 | 6241288.4438 | 6400694.6635 | 6581139.9852 | 6746156.2742 | 6915268.629 | 7088639.2227 | 7245364.2876 | 7422393.0026 | 7611846.0625 | 7826296.4932 | 8022387.1148 | 8223384.8346 | 8429394.4727 | 8615633.9478 | 8826065.7336 | 9051234.7577 | 9306137.4884 | 9539178.13 | 9778037.5935 | 10022848.8783 | 10244176.6811 | 10494257.4624 | 10761893.5129 | 207532678.5974
| BCR |  |  | 5.1923
COSTS
CAPITAL COSTS
| Switch Automation and Circuit Segmenation | $ |  | 3584380.6311 | 2019: 896328; 2020: 1463153; 2021: 1484211 | 3843692
| Circuit Capacity and Connectivity | $ |  | 7468077.1084 | 2019: 2442281; 2020: 2966543; 2021: 2529419 | 7938243
| Substation Bank Capacity | $ |  | 5142721.9675 | 2019: 2377149; 2020: 1299216; 2021: 1746236 | 5422601
| Modular Dist Control Device POC | $ |  | 0 | 2019: 0; 2020: 0; 2021: 0 | 0
|  | $ |  | 0 | [31 empty] | 0
| Total Capital | $ |  | 16195179.707 | 5715758 | 5728912 | 5759866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17204536
O&M COSTS
| IT / TELECOM | $ |  | 0 | [31 empty] | 0
| Cellular | $ |  | 211828.0224 |  | 2884.4651 | 5455.0588 | 4907.1526 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 18872.8565 | 522813.8018
| Operations Support | $ |  | 40179.2741 |  | 879.3023 | 1236.7686 | 1045.1025 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 3524.5376 | 98323.6883
| DISTRIBUTION | $ |  | 0 | [31 empty] | 0
| Maintenance | $ |  | 118258.7406 |  | 304 | 688.8 | 1042.22 | 1068.2755 | 1094.9824 | 1122.3569 | 18777.7495 | 23050.9987 | 20703.1037 | 1238.8721 | 1269.8439 | 1301.59 | 1334.1297 | 22320.683 | 27400.87 | 24604.7118 | 1472.6296 | 1509.4453 | 1547.1814 | 1585.861 | 26532.2275 | 32570.7852 | 29253.3988 | 1750.4938 | 1794.2561 | 1839.1125 | 1885.0904 | 31538.7776 | 38716.1231 | 34772.4361 | 354091.0055
| Total O&M | $ |  | 370266.037 | 0 | 4067.7674 | 7380.6275 | 6994.4751 | 23465.6696 | 23492.3765 | 23519.751 | 41175.1435 | 45448.3927 | 43100.4978 | 23636.2661 | 23667.2379 | 23698.984 | 23731.5238 | 44718.077 | 49798.2641 | 47002.1059 | 23870.0237 | 23906.8394 | 23944.5755 | 23983.2551 | 48929.6216 | 54968.1793 | 51650.7929 | 24147.8879 | 24191.6502 | 24236.5066 | 24282.4844 | 53936.1717 | 61113.5171 | 57169.8302 | 975228.4956
TOTAL COSTS
| Capital | $ |  | 16195179.707 | 5715758 | 5728912 | 5759866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17204536
| Operations Costs | $ |  | 370266.037 | 0 | 4067.7674 | 7380.6275 | 6994.4751 | 23465.6696 | 23492.3765 | 23519.751 | 41175.1435 | 45448.3927 | 43100.4978 | 23636.2661 | 23667.2379 | 23698.984 | 23731.5238 | 44718.077 | 49798.2641 | 47002.1059 | 23870.0237 | 23906.8394 | 23944.5755 | 23983.2551 | 48929.6216 | 54968.1793 | 51650.7929 | 24147.8879 | 24191.6502 | 24236.5066 | 24282.4844 | 53936.1717 | 61113.5171 | 57169.8302 | 975228.4956
| Total Cost | $ |  | 16565445.744 | 5715758 | 5732979.7674 | 5767246.6275 | 6994.4751 | 23465.6696 | 23492.3765 | 23519.751 | 41175.1435 | 45448.3927 | 43100.4978 | 23636.2661 | 23667.2379 | 23698.984 | 23731.5238 | 44718.077 | 49798.2641 | 47002.1059 | 23870.0237 | 23906.8394 | 23944.5755 | 23983.2551 | 48929.6216 | 54968.1793 | 51650.7929 | 24147.8879 | 24191.6502 | 24236.5066 | 24282.4844 | 53936.1717 | 61113.5171 | 57169.8302 | 18179764.4956
BENEFITS
RELIABILITY
| CI Savings | outages |  |  |  | 3495 | 6129 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218 | 13218
| CMI Savings | min |  |  |  | 902326 | 1474623 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196 | 2861196
| Typical Duration | hr |  |  |  | 4.3029 | 4.01 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077 | 3.6077
| Residential Customer % | % |  |  |  | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47% | 90.47%
| Small C&I Customer % | % |  |  |  | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35% | 9.35%
| Large C&I Customer % | % |  |  |  | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838% | 0.1838%
| Residential Outage Value | $/outage |  |  |  | 11.9857 | 11.5982 | 11.1456 | 11.4243 | 11.7099 | 12.0026 | 12.3027 | 12.6103 | 12.9255 | 13.2487 | 13.5799 | 13.9194 | 14.2674 | 14.624 | 14.9896 | 15.3644 | 15.7485 | 16.1422 | 16.5458 | 16.9594 | 17.3834 | 17.818 | 18.2634 | 18.72 | 19.188 | 19.6677 | 20.1594 | 20.6634 | 21.18 | 21.7095
| Small C&I Outage Value | $/outage |  |  |  | 2487.6977 | 2299.1232 | 2146.5024 | 2200.165 | 2255.1691 | 2311.5483 | 2369.337 | 2428.5705 | 2489.2847 | 2551.5168 | 2615.3048 | 2680.6874 | 2747.7046 | 2816.3972 | 2886.8071 | 2958.9773 | 3032.9517 | 3108.7755 | 3186.4949 | 3266.1573 | 3347.8112 | 3431.5065 | 3517.2942 | 3605.2265 | 3695.3572 | 3787.7411 | 3882.4346 | 3979.4955 | 4078.9829 | 4180.9575
| Large C&I Outage Value | $/outage |  |  |  | 50920.5005 | 48211.1373 | 45741.3426 | 46884.8761 | 48056.998 | 49258.423 | 50489.8835 | 51752.1306 | 53045.9339 | 54372.0822 | 55731.3843 | 57124.6689 | 58552.7856 | 60016.6053 | 61517.0204 | 63054.9459 | 64631.3196 | 66247.1025 | 67903.2801 | 69600.8621 | 71340.8837 | 73124.4058 | 74952.5159 | 76826.3288 | 78746.987 | 80715.6617 | 82733.5532 | 84801.8921 | 86921.9394 | 89094.9879
| Residential Momentary Value | $/momentary |  |  |  | 4.6359 | 4.7518 | 4.8706 | 4.9923 | 5.1171 | 5.2451 | 5.3762 | 5.5106 | 5.6484 | 5.7896 | 5.9343 | 6.0827 | 6.2347 | 6.3906 | 6.5504 | 6.7141 | 6.882 | 7.054 | 7.2304 | 7.4111 | 7.5964 | 7.7863 | 7.981 | 8.1805 | 8.385 | 8.5947 | 8.8095 | 9.0298 | 9.2555 | 9.4869
| Small C&I Momentary Value | $/momentary |  |  |  | 489.7385 | 501.982 | 514.5315 | 527.3948 | 540.5797 | 554.0942 | 567.9466 | 582.1452 | 596.6988 | 611.6163 | 626.9067 | 642.5794 | 658.6439 | 675.11 | 691.9877 | 709.2874 | 727.0196 | 745.1951 | 763.825 | 782.9206 | 802.4936 | 822.5559 | 843.1198 | 864.1978 | 885.8028 | 907.9479 | 930.6466 | 953.9127 | 977.7605 | 1002.2046
| Large C&I Momentary Value | $/momentary |  |  |  | 15395.8579 | 15780.7543 | 16175.2732 | 16579.655 | 16994.1464 | 17419.0001 | 17854.4751 | 18300.8369 | 18758.3579 | 19227.3168 | 19707.9997 | 20200.6997 | 20705.7172 | 21223.3601 | 21753.9441 | 22297.7927 | 22855.2376 | 23426.6185 | 24012.284 | 24612.5911 | 25227.9058 | 25858.6035 | 26505.0686 | 27167.6953 | 27846.8877 | 28543.0599 | 29256.6364 | 29988.0523 | 30737.7536 | 31506.1974
| Momentary Outages Avoided | momentaries |  |  |  | 5242.5 | 9193.5 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827 | 19827
| Customer Avoided Outage Costs: Residential | $ |  | 2063167.1277 |  | 37896.4054 | 64308.3232 | 133277.8742 | 136609.821 | 140025.0665 | 143525.6932 | 147113.8355 | 150791.6814 | 154561.4735 | 158425.5103 | 162386.1481 | 166445.8018 | 170606.9468 | 174872.1205 | 179243.9235 | 183725.0216 | 188318.1471 | 193026.1008 | 197851.7533 | 202798.0471 | 207867.9983 | 213064.6983 | 218391.3157 | 223851.0986 | 229447.3761 | 235183.5605 | 241063.1495 | 247089.7282 | 253266.9714 | 259598.6457
| Customer Avoided Outage Costs: Small C&I | $ |  | 41153774.7869 |  | 812920.7432 | 1317514.1345 | 2652775.791 | 2719095.1858 | 2787072.5654 | 2856749.3795 | 2928168.114 | 3001372.3169 | 3076406.6248 | 3153316.7904 | 3232149.7102 | 3312953.4529 | 3395777.2893 | 3480671.7215 | 3567688.5145 | 3656880.7274 | 3748302.7456 | 3842010.3142 | 3938060.5721 | 4036512.0864 | 4137424.8885 | 4240860.5107 | 4346882.0235 | 4455554.0741 | 4566942.9259 | 4681116.4991 | 4798144.4116 | 4918098.0219 | 5041050.4724 | 5167076.7342
| Customer Avoided Outage Costs: Large C&I | $ |  | 17216286.0106 |  | 327047.2015 | 543009.7053 | 1111079.7912 | 1138856.786 | 1167328.2056 | 1196511.4108 | 1226424.196 | 1257084.8009 | 1288511.9209 | 1320724.719 | 1353742.8369 | 1387586.4079 | 1422276.0681 | 1457832.9698 | 1494278.794 | 1531635.7639 | 1569926.658 | 1609174.8244 | 1649404.195 | 1690639.2999 | 1732905.2824 | 1776227.9145 | 1820633.6123 | 1866149.4526 | 1912803.1889 | 1960623.2687 | 2009638.8504 | 2059879.8216 | 2111376.8172 | 2164161.2376
| Customer Avoided Outage Costs | $ |  | 60433227.9252 | 0 | 1177864.3501 | 1924832.163 | 3897133.4563 | 3994561.7927 | 4094425.8376 | 4196786.4835 | 4301706.1456 | 4409248.7992 | 4519480.0192 | 4632467.0197 | 4748278.6952 | 4866985.6626 | 4988660.3041 | 5113376.8117 | 5241211.232 | 5372241.5128 | 5506547.5506 | 5644211.2394 | 5785316.5204 | 5929949.4334 | 6078198.1692 | 6230153.1235 | 6385906.9515 | 6545554.6253 | 6709193.491 | 6876923.3282 | 7048846.4114 | 7225067.5717 | 7405694.261 | 7590836.6176
| Customer Avoided Momentary Interruption Costs: Residential | $ |  | 1347372.7448 |  | 21986.5684 | 39520.6208 | 87362.2377 | 89546.2937 | 91784.951 | 94079.5748 | 96431.5641 | 98842.3533 | 101313.4121 | 103846.2474 | 106442.4036 | 109103.4637 | 111831.0502 | 114626.8265 | 117492.4972 | 120429.8096 | 123440.5548 | 126526.5687 | 129689.7329 | 132931.9762 | 136255.2757 | 139661.6575 | 143153.199 | 146732.029 | 150400.3297 | 154160.3379 | 158014.3464 | 161964.705 | 166013.8227 | 170164.1682
| Customer Avoided Momentary Interruption Costs: Small C&I | $ |  | 14710804.8862 |  | 240052.4422 | 431491.6892 | 953833.1827 | 977679.0123 | 1002120.9876 | 1027174.0123 | 1052853.3626 | 1079174.6966 | 1106154.0641 | 1133807.9157 | 1162153.1136 | 1191206.9414 | 1220987.1149 | 1251511.7928 | 1282799.5876 | 1314869.5773 | 1347741.3167 | 1381434.8497 | 1415970.7209 | 1451369.9889 | 1487654.2387 | 1524845.5946 | 1562966.7345 | 1602040.9028 | 1642091.9254 | 1683144.2236 | 1725222.8291 | 1768353.3999 | 1812562.2349 | 1857876.2907
| Customer Avoided Momentary Interruption Costs: Large C&I | $ |  | 9089567.7876 |  | 148324.5113 | 266611.7177 | 589358.0562 | 604092.0076 | 619194.3078 | 634674.1654 | 650541.0196 | 666804.5451 | 683474.6587 | 700561.5252 | 718075.5633 | 736027.4524 | 754428.1387 | 773288.8422 | 792621.0632 | 812436.5898 | 832747.5045 | 853566.1922 | 874905.347 | 896777.9806 | 919197.4301 | 942177.3659 | 965731.8 | 989875.095 | 1014621.9724 | 1039987.5217 | 1065987.2098 | 1092636.89 | 1119952.8123 | 1147951.6326
| Customer Avoided Momentary Interruption Costs | $ |  | 25147745.4186 | 0 | 410363.522 | 737624.0277 | 1630553.4766 | 1671317.3135 | 1713100.2463 | 1755927.7525 | 1799825.9463 | 1844821.595 | 1890942.1348 | 1938215.6882 | 1986671.0804 | 2036337.8574 | 2087246.3039 | 2139427.4615 | 2192913.148 | 2247735.9767 | 2303929.3761 | 2361527.6105 | 2420565.8008 | 2481079.9458 | 2543106.9445 | 2606684.6181 | 2671851.7335 | 2738648.0269 | 2807114.2275 | 2877292.0832 | 2949224.3853 | 3022954.9949 | 3098528.8698 | 3175992.0915
CAPACITY SAVINGS
| Capacity Savings from additional IVVC peak shaving | MW |  |  | 0 | 0.15741 | 0.31734 | 0.47982 | 0.64488 | 0.65004 | 0.65524 | 0.66048 | 0.66576 | 0.67109 | 0.67646 | 0.68187 | 0.68733 | 0.69282 | 0.69837 | 0.70395 | 0.70959 | 0.71526 | 0.72098 | 0.72675 | 0.73257 | 0.73843 | 0.74433 | 0.75029 | 0.75629 | 0.76234 | 0.76844 | 0.77459 | 0.78078 | 0.78703 | 0.79333
| Capacity Value | $/kW |  |  | 43.82 | 44.37 | 44.94 | 45.51 | 46.08 | 46.67 | 47.26 | 47.86 | 48.47 | 49.09 | 49.71 | 50.34 | 50.98 | 51.63 | 52.28 | 52.95 | 53.62 | 54.3 | 54.99 | 55.69 | 56.3971 | 57.1131 | 57.8382 | 58.5725 | 59.3162 | 60.0693 | 60.8319 | 61.6043 | 62.3864 | 63.1785 | 63.9806
| Capacity Savings (IVVC) | $ |  | 424582.0051 | 0 | 6984.3576 | 14261.3499 | 21836.6592 | 29716.0513 | 30337.3025 | 30966.5919 | 31610.6131 | 32269.6145 | 32943.8477 | 33626.8034 | 34325.3967 | 35039.8886 | 35770.5438 | 36510.647 | 37274.3815 | 38047.9992 | 38838.7618 | 39646.9513 | 40472.8538 | 41314.6011 | 42173.855 | 43050.9794 | 43946.3462 | 44860.3346 | 45793.332 | 46745.7337 | 47717.9433 | 48710.3727 | 49723.4425 | 50757.582 | 1105275.1371
ENERGY SAVINGS
| Capacity factor for energy savings | - |  |  | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4% | 0.4%
| Energy Savings from additional IVVC peak shaving | MWh |  |  | 0 | 5.5157 | 11.1197 | 16.8129 | 22.5966 | 22.7774 | 22.9596 | 23.1432 | 23.3284 | 23.515 | 23.7031 | 23.8928 | 24.0839 | 24.2766 | 24.4708 | 24.6666 | 24.8639 | 25.0628 | 25.2633 | 25.4654 | 25.6691 | 25.8745 | 26.0815 | 26.2901 | 26.5005 | 26.7125 | 26.9262 | 27.1416 | 27.3587 | 27.5776 | 27.7982
| Energy Value | $/MWh |  |  | 16.39 | 14.97 | 14.2 | 14.22 | 14.08 | 14.14 | 14.26 | 14.74 | 14.58 | 15.21 | 16.12 | 18.59 | 20.17 | 22.77 | 24.68 | 25.14 | 25.83 | 26.25 | 27.71 | 29.4 | 30.87 | 31.87 | 33.14 | 34.26 | 34.74 | 35.48 | 36.21 | 37.12 | 37.59 | 38.17 | 39.27
| Energy Savings (IVVC) | $ |  | 6343.732 | 0 | 82.5701 | 157.8992 | 239.0799 | 318.1599 | 322.0718 | 327.4035 | 341.1315 | 340.128 | 357.6635 | 382.0946 | 444.1665 | 485.7725 | 552.7777 | 603.9392 | 620.1173 | 642.2343 | 657.8986 | 700.0462 | 748.6831 | 792.4062 | 824.6199 | 864.3404 | 900.7001 | 920.6259 | 947.7581 | 974.9963 | 1007.4951 | 1028.4136 | 1052.6359 | 1091.635 | 18729.464
ENVIRONMENTAL BENEFITS
| Value: SOx | $/ton |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Value: NOx | $/ton |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Value: CO2 | $/ton |  |  |  | 0 | 0 | 0 | 0 | 0 | 5 | 8 | 11 | 14 | 17 | 20 | 23 | 26 | 29 | 32 | 35 | 38 | 41 | 44 | 47 | 50 | 53 | 56 | 59 | 62 | 65 | 68 | 71 | 74 | 77
| Energy: SOx reduction | ton/MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Energy: NOx reduction | ton/MWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Energy: CO2 reduction | ton/MWh |  |  |  | 0.25456 | 0.24616 | 0.2406 | 0.23512 | 0.24086 | 0.2274 | 0.23158 | 0.22096 | 0.21717 | 0.21006 | 0.218 | 0.2138 | 0.2231 | 0.2304 | 0.2184 | 0.20735 | 0.20258 | 0.20091 | 0.2013 | 0.20004 | 0.20096 | 0.20317 | 0.19006 | 0.193 | 0.1938 | 0.1931 | 0.18158 | 0.18096 | 0.18217 | 0.18006
| Environmental Benefits | $ |  | 1489.0303 |  | 0 | 0 | 0 | 0 | 0 | 26.1049 | 42.876 | 56.6999 | 71.496 | 84.6455 | 104.1734 | 118.432 | 140.8169 | 163.5053 | 172.3879 | 180.4453 | 192.9297 | 208.1067 | 225.552 | 241.3412 | 259.9808 | 280.8515 | 279.8193 | 301.7636 | 320.9717 | 337.9587 | 335.1277 | 351.4998 | 371.7703 | 385.417 | 5254.673
| Environmental Benefits (IVVC) | $ |  | 1489.0303 | 0 | 0 | 0 | 0 | 0 | 0 | 26.1049 | 42.876 | 56.6999 | 71.496 | 84.6455 | 104.1734 | 118.432 | 140.8169 | 163.5053 | 172.3879 | 180.4453 | 192.9297 | 208.1067 | 225.552 | 241.3412 | 259.9808 | 280.8515 | 279.8193 | 301.7636 | 320.9717 | 337.9587 | 335.1277 | 351.4998 | 371.7703 | 385.417 | 5254.673
| Peak Shaving Benefits | $ |  | 432414.7674 | 0 | 7066.9278 | 14419.2492 | 22075.7391 | 30034.2111 | 30659.3742 | 31320.1003 | 31994.6206 | 32666.4423 | 33373.0072 | 34093.5435 | 34873.7366 | 35644.0931 | 36464.1385 | 37278.0914 | 38066.8867 | 38870.6788 | 39689.5901 | 40555.1043 | 41447.0889 | 42348.3486 | 43258.4557 | 44196.1713 | 45126.8655 | 46082.7241 | 47062.0618 | 48058.6887 | 49060.566 | 50090.2862 | 51147.8487 | 52234.634 | 1129259.2741
DER ENABLEMENT
| Forecasted PV (Annual) | MW | PV Forecast is Small |  |  | 1 | 0.9 | 0.9 | 1 | 0.9 | 0.9 | 1 | 1 | 1 | 1.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.1 | 1 | 1 | 1 | 1 | 1 | 1.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.1
| Forecasted PV (Cumulative) | MW |  |  | 1.8 | 2.8 | 3.7 | 4.6 | 5.6 | 6.5 | 7.4 | 8.4 | 9.4 | 10.4 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.6 | 19.6 | 20.6 | 21.6 | 22.6 | 23.6 | 24.7 | 25.7 | 26.7 | 27.7 | 28.7 | 29.7 | 30.7 | 31.8
| PV scaling factor (SOG vs. total) | - |  |  |  | 6% | 12% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23%
| Limit (without SOG) | MW | Not Applicable for this preliminary study |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Limit (with SOG) | MW | Not Applicable for this preliminary study |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PV derate factor for capacity | - |  |  |  | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19%
| PV Enablement | MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Energy Savings | MWh/MW |  |  |  | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96 | 1935.96
| DER Enablement: Capacity Savings | $ | Not Applicable for this preliminary study | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DER Enablement: Energy Savings | $ | Not Applicable for this preliminary study | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DER Enablement: Environmental Benefits | $ | Not Applicable for this preliminary study | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DER/PV Enablement Benefits | $ | No DER Enablement Benefit for DEK calculated for this preliminary study and based on low PV forecast. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL BENEFITS
| Customer Avoided Outage Costs | $ |  | 60433227.9252 | 0 | 1177864.3501 | 1924832.163 | 3897133.4563 | 3994561.7927 | 4094425.8376 | 4196786.4835 | 4301706.1456 | 4409248.7992 | 4519480.0192 | 4632467.0197 | 4748278.6952 | 4866985.6626 | 4988660.3041 | 5113376.8117 | 5241211.232 | 5372241.5128 | 5506547.5506 | 5644211.2394 | 5785316.5204 | 5929949.4334 | 6078198.1692 | 6230153.1235 | 6385906.9515 | 6545554.6253 | 6709193.491 | 6876923.3282 | 7048846.4114 | 7225067.5717 | 7405694.261 | 7590836.6176 | 158441659.5797
| Customer Avoided Momentary Interruption Costs | $ |  | 25147745.4186 | 0 | 410363.522 | 737624.0277 | 1630553.4766 | 1671317.3135 | 1713100.2463 | 1755927.7525 | 1799825.9463 | 1844821.595 | 1890942.1348 | 1938215.6882 | 1986671.0804 | 2036337.8574 | 2087246.3039 | 2139427.4615 | 2192913.148 | 2247735.9767 | 2303929.3761 | 2361527.6105 | 2420565.8008 | 2481079.9458 | 2543106.9445 | 2606684.6181 | 2671851.7335 | 2738648.0269 | 2807114.2275 | 2877292.0832 | 2949224.3853 | 3022954.9949 | 3098528.8698 | 3175992.0915 | 66141524.2393
| Peak Shaving Benefits | $ |  | 432414.7674 | 0 | 7066.9278 | 14419.2492 | 22075.7391 | 30034.2111 | 30659.3742 | 31320.1003 | 31994.6206 | 32666.4423 | 33373.0072 | 34093.5435 | 34873.7366 | 35644.0931 | 36464.1385 | 37278.0914 | 38066.8867 | 38870.6788 | 39689.5901 | 40555.1043 | 41447.0889 | 42348.3486 | 43258.4557 | 44196.1713 | 45126.8655 | 46082.7241 | 47062.0618 | 48058.6887 | 49060.566 | 50090.2862 | 51147.8487 | 52234.634 | 1129259.2741
| DER/PV Enablement Benefits | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Benefits | $ | 0 | 86013388.1112 | 0 | 1595294.7999 | 2676875.4399 | 5549762.672 | 5695913.3174 | 5838185.4581 | 5984034.3363 | 6133526.7125 | 6286736.8365 | 6443795.1612 | 6604776.2514 | 6769823.5122 | 6938967.6131 | 7112370.7465 | 7290082.3646 | 7472191.2667 | 7658848.1683 | 7850166.5168 | 8046293.9542 | 8247329.4101 | 8453377.7278 | 8664563.5694 | 8881033.9129 | 9102885.5506 | 9330285.3763 | 9563369.7803 | 9802274.1001 | 10047131.3628 | 10298112.8528 | 10555370.9795 | 10819063.3431 | 225712443.0931
NPV | bar: 0 to 0
|  | NPV Costs | NPV Benefits | BCR
| Switch Automation and Circuit Segmenation | 3.5844 |  | 5.1923
| Circuit Capacity and Connectivity | 7.4681
| Substation Bank Capacity | 5.1427
| Modular Dist Control Device POC | 0
| Operations Costs | 0.37027
| Customer Avoided Outage Costs |  | 60.4332
| Customer Avoided Momentary Interruption Costs |  | 25.1477
| Peak Shaving Benefits |  | 0.43241
| DER/PV Enablement Benefits |  | 0
COSTS
|  |  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
|  |  | Switch Automation and Circuit Segmenation | -3.5844 | -0.89633 | -1.4632 | -1.4842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Circuit Capacity and Connectivity | -7.4681 | -2.4423 | -2.9665 | -2.5294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Substation Bank Capacity | -5.1427 | -2.3771 | -1.2992 | -1.7462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Modular Dist Control Device POC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Operations Costs | -0.37027 | 0 | -0.0040678 | -0.0073806 | -0.0069945 | -0.023466 | -0.023492 | -0.02352 | -0.041175 | -0.045448 | -0.0431 | -0.023636 | -0.023667 | -0.023699 | -0.023732 | -0.044718 | -0.049798 | -0.047002 | -0.02387 | -0.023907 | -0.023945 | -0.023983 | -0.04893 | -0.054968 | -0.051651 | -0.024148 | -0.024192 | -0.024237 | -0.024282 | -0.053936 | -0.061114 | -0.05717
O&M
BENEFITS
|  |  | Customer Avoided Outage Costs | 0 | 1.1779 | 1.9248 | 3.8971 | 3.9946 | 4.0944 | 4.1968 | 4.3017 | 4.4092 | 4.5195 | 4.6325 | 4.7483 | 4.867 | 4.9887 | 5.1134 | 5.2412 | 5.3722 | 5.5065 | 5.6442 | 5.7853 | 5.9299 | 6.0782 | 6.2302 | 6.3859 | 6.5456 | 6.7092 | 6.8769 | 7.0488 | 7.2251 | 7.4057 | 7.5908 | 158.4417
|  |  | Customer Avoided Momentary Interruption Costs | 0 | 0.41036 | 0.73762 | 1.6306 | 1.6713 | 1.7131 | 1.7559 | 1.7998 | 1.8448 | 1.8909 | 1.9382 | 1.9867 | 2.0363 | 2.0872 | 2.1394 | 2.1929 | 2.2477 | 2.3039 | 2.3615 | 2.4206 | 2.4811 | 2.5431 | 2.6067 | 2.6719 | 2.7386 | 2.8071 | 2.8773 | 2.9492 | 3.023 | 3.0985 | 3.176 | 66.1415
|  |  | Peak Shaving Benefits | 0 | 0.0070669 | 0.014419 | 0.022076 | 0.030034 | 0.030659 | 0.03132 | 0.031995 | 0.032666 | 0.033373 | 0.034094 | 0.034874 | 0.035644 | 0.036464 | 0.037278 | 0.038067 | 0.038871 | 0.03969 | 0.040555 | 0.041447 | 0.042348 | 0.043258 | 0.044196 | 0.045127 | 0.046083 | 0.047062 | 0.048059 | 0.049061 | 0.05009 | 0.051148 | 0.052235 | 1.1293
|  |  | DER/PV Enablement Benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BCR = 5.2

## TUG (hidden)
Duke Energy Progress (DEP) DSDR/CVR EVALUATION
Source |  |  |  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
|  | Units | NPV (Duke reference) | NPV (calculated) | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | TOTAL
| Benefits |  |  | 37872861.1803 | 0 | 0 | 3927479.8619 | 2306182.1364 | 2499738.1329 | 2422932.607 | 2483505.9222 | 2545593.5703 | 2609233.4095 | 2674464.2448 | 2741325.8509 | 2971403.1065 | 2880105.4721 | 2952108.1089 | 3025910.8116 | 3101558.5819 | 3179097.5464 | 3258574.9851 | 3532064.5411 | 3423540.3437 | 3509128.8523 | 3596857.0736 | 3686778.5005 | 3778947.963 | 3873421.662 | 4198514.801 | 4069513.6337 | 4171251.4745 | 4275532.7614 | 4382421.0804 | 4491981.6074 | 96569168.6429
| Costs |  |  | 2453643.6154 | 1233277.65 | 1272759.4125 | 1471.3898 | 1508.1746 | 1545.8789 | 1584.5259 | 1624.139 | 1664.7425 | 1706.3611 | 1749.0201 | 1792.7456 | 1837.5642 | 1883.5033 | 1930.5909 | 1978.8557 | 2028.3271 | 2079.0353 | 2131.0112 | 2184.2864 | 2238.8936 | 2294.8659 | 2352.2376 | 2411.0435 | 2471.3196 | 2533.1026 | 2596.4302 | 2661.3409 | 2727.8744 | 2796.0713 | 2865.9731 | 2937.6224 | 2567623.9894
| Net |  |  | 35419217.5649 | -1233277.65 | -1272759.4125 | 3926008.4721 | 2304673.9618 | 2498192.254 | 2421348.0811 | 2481881.7832 | 2543928.8278 | 2607527.0484 | 2672715.2247 | 2739533.1053 | 2969565.5422 | 2878221.9687 | 2950177.5179 | 3023931.9559 | 3099530.2548 | 3177018.5112 | 3256443.9739 | 3529880.2546 | 3421301.4501 | 3506833.9864 | 3594504.836 | 3684367.4569 | 3776476.6434 | 3870888.5594 | 4195918.3708 | 4066852.2928 | 4168523.6001 | 4272736.6901 | 4379555.1073 | 4489043.985 | 94001544.6535
| BCR |  |  | 15.4354
COSTS
CAPITAL COSTS
Source: TUG Selection Decision Workbook | Cost per mile | $/mi |  |  | 470000 | 481750 | 493793.75 | 506138.5937 | 518792.0586 | 531761.8601 | 545055.9066 | 558682.3042 | 572649.3618 | 586965.5959 | 601639.7358 | 616680.7292 | 632097.7474 | 647900.1911 | 664097.6959 | 680700.1383 | 697717.6417 | 715160.5828 | 733039.5973 | 751365.5873 | 770149.7269 | 789403.4701 | 809138.5569 | 829367.0208 | 850101.1963 | 871353.7262 | 893137.5694 | 915466.0086 | 938352.6588 | 961811.4753 | 985856.7622
Source: TUG Selection Decision Workbook | Miles | mi |  |  | 2019: 2.565; 2020: 2.565
| Construction Capital | $ | 2354229 | 2367457.6164 | 2019: 1205550; 2020: 1235688.75; 2021: 0; 2022: 0 | 2441238.75
|  | $ |  | 0 | [31 empty] | 0
| Total Capital | $ | 2354229 | 2367457.6164 | 1205550 | 1235688.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2441238.75
O&M COSTS
Source: TUG Selection Decision Workbook | Outages with UG | events/mi |  |  |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
| Cumulative miles | mi |  |  |  | 2.565 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13
| Outages with UG | events |  |  |  | 0.513 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026 | 1.026
| UG restoration cost | $/event |  |  |  | 0 | 1434.1031 | 1469.9557 | 1506.7046 | 1544.3722 | 1582.9815 | 1622.5561 | 1663.12 | 1704.698 | 1747.3154 | 1790.9983 | 1835.7732 | 1881.6676 | 1928.7093 | 1976.927 | 2026.3502 | 2077.0089 | 2128.9341 | 2182.1575 | 2236.7114 | 2292.6292 | 2349.945 | 2408.6936 | 2468.9109 | 2530.6337 | 2593.8995 | 2658.747 | 2725.2157 | 2793.3461 | 2863.1797
Source: Sharon King;Kevin Bailey, email, 9/28/18 | O&M vs. Capital | - |  |  | 2.3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3%
| Projected Outage Restoration Costs for New Underground System | $ |  | 23601.1205 | 0 | 0 | 1471.3898 | 1508.1746 | 1545.8789 | 1584.5259 | 1624.139 | 1664.7425 | 1706.3611 | 1749.0201 | 1792.7456 | 1837.5642 | 1883.5033 | 1930.5909 | 1978.8557 | 2028.3271 | 2079.0353 | 2131.0112 | 2184.2864 | 2238.8936 | 2294.8659 | 2352.2376 | 2411.0435 | 2471.3196 | 2533.1026 | 2596.4302 | 2661.3409 | 2727.8744 | 2796.0713 | 2865.9731 | 2937.6224 | 61586.9269
| Construction O&M | $ |  | 62584.8785 | 27727.65 | 37070.6625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64798.3125
| Total O&M | $ | 0 | 86185.999 | 27727.65 | 37070.6625 | 1471.3898 | 1508.1746 | 1545.8789 | 1584.5259 | 1624.139 | 1664.7425 | 1706.3611 | 1749.0201 | 1792.7456 | 1837.5642 | 1883.5033 | 1930.5909 | 1978.8557 | 2028.3271 | 2079.0353 | 2131.0112 | 2184.2864 | 2238.8936 | 2294.8659 | 2352.2376 | 2411.0435 | 2471.3196 | 2533.1026 | 2596.4302 | 2661.3409 | 2727.8744 | 2796.0713 | 2865.9731 | 2937.6224 | 126385.2394
TOTAL COSTS
| Capital | $ | 2354229 | 2367457.6164 | 1205550 | 1235688.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2441238.75
| O&M | $ | 0 | 86185.999 | 27727.65 | 37070.6625 | 1471.3898 | 1508.1746 | 1545.8789 | 1584.5259 | 1624.139 | 1664.7425 | 1706.3611 | 1749.0201 | 1792.7456 | 1837.5642 | 1883.5033 | 1930.5909 | 1978.8557 | 2028.3271 | 2079.0353 | 2131.0112 | 2184.2864 | 2238.8936 | 2294.8659 | 2352.2376 | 2411.0435 | 2471.3196 | 2533.1026 | 2596.4302 | 2661.3409 | 2727.8744 | 2796.0713 | 2865.9731 | 2937.6224 | 126385.2394
| Total Cost | $ | 2354229 | 2453643.6154 | 1233277.65 | 1272759.4125 | 1471.3898 | 1508.1746 | 1545.8789 | 1584.5259 | 1624.139 | 1664.7425 | 1706.3611 | 1749.0201 | 1792.7456 | 1837.5642 | 1883.5033 | 1930.5909 | 1978.8557 | 2028.3271 | 2079.0353 | 2131.0112 | 2184.2864 | 2238.8936 | 2294.8659 | 2352.2376 | 2411.0435 | 2471.3196 | 2533.1026 | 2596.4302 | 2661.3409 | 2727.8744 | 2796.0713 | 2865.9731 | 2937.6224 | 2567623.9894
BENEFITS
OPERATIONAL BENEFITS
Source: TUG Selection Decision Workbook | Avoided outages (non-MED) | events |  |  |  | 0 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9 | 24.9
Source: TUG Selection Decision Workbook | Avoided outages (MED) | events |  |  |  | 0 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5
| Cumulative miles | mi |  |  |  | 2.565 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13 | 5.13
Source: Mark Keener, email, 10/01/18 | DEC/DEP | - |  |  | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC | DEC
Source: Mark Keener, email, 10/01/18 | Restoration cost (non-MED) | $/event |  |  | 1365 | 1399.125 | 1434.1031 | 1469.9557 | 1506.7046 | 1544.3722 | 1582.9815 | 1622.5561 | 1663.12 | 1704.698 | 1747.3154 | 1790.9983 | 1835.7732 | 1881.6676 | 1928.7093 | 1976.927 | 2026.3502 | 2077.0089 | 2128.9341 | 2182.1575 | 2236.7114 | 2292.6292 | 2349.945 | 2408.6936 | 2468.9109 | 2530.6337 | 2593.8995 | 2658.747 | 2725.2157 | 2793.3461 | 2863.1797
Source: Mark Keener, email, 10/01/18 | Restoration cost (MED) | $/event |  |  | 16431 | 16841.775 | 17262.8194 | 17694.3899 | 18136.7496 | 18590.1683 | 19054.9226 | 19531.2956 | 20019.578 | 20520.0675 | 21033.0691 | 21558.8959 | 22097.8683 | 22650.315 | 23216.5729 | 23796.9872 | 24391.9119 | 25001.7096 | 25626.7524 | 26267.4212 | 26924.1067 | 27597.2094 | 28287.1396 | 28994.3181 | 29719.1761 | 30462.1555 | 31223.7094 | 32004.3021 | 32804.4097 | 33624.5199 | 34465.1329
Source: TUG Selection Decision Workbook | Vegetation management (VM) cycle | yr |  |  | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
Source: TUG Selection Decision Workbook | VM cycle cost per mile | $/mi |  |  |  | 0 | 0 | 0 | 26491.5094 | 0 | 0 | 0 | 0 | 0 | 0 | 31490.0798 | 0 | 0 | 0 | 0 | 0 | 0 | 37431.8092 | 0 | 0 | 0 | 0 | 0 | 0 | 44494.6584 | 0 | 0 | 0 | 0 | 0
| Avoided demand trimming | $ |  |  |  | 0 | 8405 | 8615.125 | 8830.5031 | 9051.2657 | 9277.5473 | 9509.486 | 9747.2232 | 9990.9038 | 10240.6764 | 10496.6933 | 10759.1106 | 11028.0884 | 11303.7906 | 11586.3853 | 11876.045 | 12172.9461 | 12477.2697 | 12789.2015 | 13108.9315 | 13436.6548 | 13772.5712 | 14116.8855 | 14469.8076 | 14831.5528 | 15202.3416 | 15582.4001 | 15971.9602 | 16371.2592 | 16780.5406
Source: Mark Keener, email, 10/01/18 | Cost to replace deteriorated backlot OH conductor | $/mi |  |  | 375000 | 384375 | 393984.375 | 403833.9844 | 413929.834 | 424278.0798 | 434885.0318 | 445757.1576 | 456901.0866 | 468323.6137 | 480031.7041 | 492032.4967 | 504333.3091 | 516941.6418 | 529865.1829 | 543111.8124 | 556689.6077 | 570606.8479 | 584872.0191 | 599493.8196 | 614481.1651 | 629843.1942 | 645589.2741 | 661729.0059 | 678272.2311 | 695229.0369 | 712609.7628 | 730425.0069 | 748685.632 | 767402.7728 | 786587.8422
| OH conductor avoided | mi |  |  |  | 0 | 5.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Source: Sharon King, email, 10/03/18 | OH conductor discount factor | - |  |  | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83%
| Pole replacement cost | $/pole |  |  | 3000 | 3075 | 3151.875 | 3230.6719 | 3311.4387 | 3394.2246 | 3479.0803 | 3566.0573 | 3655.2087 | 3746.5889 | 3840.2536 | 3936.26 | 4034.6665 | 4135.5331 | 4238.9215 | 4344.8945 | 4453.5169 | 4564.8548 | 4678.9762 | 4795.9506 | 4915.8493 | 5038.7456 | 5164.7142 | 5293.832 | 5426.1778 | 5561.8323 | 5700.8781 | 5843.4001 | 5989.4851 | 6139.2222 | 6292.7027
| Poles | poles |  |  |  | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576 | 180.576
| Keep poles? | - |  |  |  | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Pole replacement time | yr |  |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Avoided Outage Restoration Costs (MED) | $ | 246697 | 572775.7322 | 0 | 0 | 35709.1678 | 36601.897 | 37516.9444 | 38454.868 | 39416.2397 | 40401.6457 | 41411.6869 | 42446.9791 | 43508.1535 | 44595.8574 | 45710.7538 | 46853.5226 | 48024.8607 | 49225.4822 | 50456.1193 | 51717.5223 | 53010.4603 | 54335.7218 | 55694.1149 | 57086.4678 | 58513.6294 | 59976.4702 | 61475.8819 | 63012.779 | 64588.0985 | 66202.8009 | 67857.8709 | 69554.3177 | 71293.1757 | 1494653.4896
| Avoided Outage Restoration Costs (non-MED) | $ | 284620 | 969135.831 | 0 | 0 | 60419.8678 | 61930.3645 | 63478.6236 | 65065.5892 | 66692.2289 | 68359.5347 | 70068.523 | 71820.2361 | 73615.742 | 75456.1356 | 77342.5389 | 79276.1024 | 81258.005 | 83289.4551 | 85371.6915 | 87505.9838 | 89693.6334 | 91935.9742 | 94234.3736 | 96590.2329 | 99004.9887 | 101480.1134 | 104017.1163 | 106617.5442 | 109282.9828 | 112015.0574 | 114815.4338 | 117685.8196 | 120627.9651 | 2528951.8575
| Avoided Vegetation Management Costs (Cycle Charges) | $ | 262212 | 300681.1412 | 0 | 0 | 0 | 0 | 135901.4431 | 0 | 0 | 0 | 0 | 0 | 0 | 161544.1093 | 0 | 0 | 0 | 0 | 0 | 0 | 192025.1813 | 0 | 0 | 0 | 0 | 0 | 0 | 228257.5974 | 0 | 0 | 0 | 0 | 0 | 717728.3311
| Avoided Vegetation Management Costs (Demand Trimming) | $ | 116047 | 134816.3602 | 0 | 0 | 8405 | 8615.125 | 8830.5031 | 9051.2657 | 9277.5473 | 9509.486 | 9747.2232 | 9990.9038 | 10240.6764 | 10496.6933 | 10759.1106 | 11028.0884 | 11303.7906 | 11586.3853 | 11876.045 | 12172.9461 | 12477.2697 | 12789.2015 | 13108.9315 | 13436.6548 | 13772.5712 | 14116.8855 | 14469.8076 | 14831.5528 | 15202.3416 | 15582.4001 | 15971.9602 | 16371.2592 | 16780.5406 | 351802.1659
| Avoided Conductor Replacement Costs | $ | 1397223 | 1483199.1487 | 0 | 0 | 1677546.0703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1677546.0703
| Avoided Pole Replacement Costs | $ | 157165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Avoided Outage Restoration Costs | $ | 531317 | 1541911.5632 | 0 | 0 | 96129.0356 | 98532.2615 | 100995.5681 | 103520.4573 | 106108.4687 | 108761.1804 | 111480.2099 | 114267.2152 | 117123.8955 | 120051.9929 | 123053.2928 | 126129.6251 | 129282.8657 | 132514.9373 | 135827.8108 | 139223.506 | 142704.0937 | 146271.696 | 149928.4884 | 153676.7006 | 157518.6182 | 161456.5836 | 165492.9982 | 169630.3232 | 173871.0812 | 178217.8583 | 182673.3047 | 187240.1373 | 191921.1408 | 4023605.3471
| Avoided Vegetation Management Costs | $ | 378259 | 435497.5014 | 0 | 0 | 8405 | 8615.125 | 144731.9462 | 9051.2657 | 9277.5473 | 9509.486 | 9747.2232 | 9990.9038 | 10240.6764 | 172040.8026 | 10759.1106 | 11028.0884 | 11303.7906 | 11586.3853 | 11876.045 | 12172.9461 | 204502.4511 | 12789.2015 | 13108.9315 | 13436.6548 | 13772.5712 | 14116.8855 | 14469.8076 | 243089.1502 | 15202.3416 | 15582.4001 | 15971.9602 | 16371.2592 | 16780.5406 | 1069530.4971
| Avoided Asset Management Costs | $ | 1554388 | 1483199.1487 | 0 | 0 | 1677546.0703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1677546.0703
| Operational Benefits | $ | 2463964 | 3460608.2133 | 0 | 0 | 1782080.1059 | 107147.3865 | 245727.5143 | 112571.723 | 115386.016 | 118270.6664 | 121227.4331 | 124258.1189 | 127364.5719 | 292092.7955 | 133812.4033 | 137157.7134 | 140586.6563 | 144101.3227 | 147703.8557 | 151396.4521 | 347206.5448 | 159060.8975 | 163037.42 | 167113.3555 | 171291.1893 | 175573.4691 | 179962.8058 | 412719.4733 | 189073.4228 | 193800.2584 | 198645.2649 | 203611.3965 | 208701.6814 | 6770681.9145
RELIABILITY
Source: TUG Selection Decision Workbook | OH CI Baseline (non-MED) | outages |  |  |  |  | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4 | 265.4
Source: TUG Selection Decision Workbook | OH CMI Baseline (non-MED) | min |  |  |  |  | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9 | 67871.9
| Typical Duration (non-MED) | hr |  |  |  |  | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622 | 4.2622
| Residential Outage Value (non-MED) | $/outage |  |  |  |  | 12.1899 | 12.4946 | 12.807 | 13.1272 | 13.4554 | 13.7917 | 14.1365 | 14.4899 | 14.8522 | 15.2235 | 15.6041 | 15.9942 | 16.394 | 16.8039 | 17.224 | 17.6546 | 18.096 | 18.5484 | 19.0121 | 19.4874 | 19.9746 | 20.4739 | 20.9858 | 21.5104 | 22.0482 | 22.5994 | 23.1644 | 23.7435 | 24.3371
| Small C&I Outage Value (non-MED) | $/outage |  |  |  |  | 2515.0555 | 2577.9319 | 2642.3802 | 2708.4397 | 2776.1507 | 2845.5544 | 2916.6933 | 2989.6106 | 3064.3509 | 3140.9597 | 3219.4837 | 3299.9708 | 3382.47 | 3467.0318 | 3553.7076 | 3642.5503 | 3733.614 | 3826.9544 | 3922.6282 | 4020.6939 | 4121.2113 | 4224.2416 | 4329.8476 | 4438.0938 | 4549.0461 | 4662.7723 | 4779.3416 | 4898.8251 | 5021.2958
| Large C&I Outage Value (non-MED) | $/outage |  |  |  |  | 51640.311 | 52931.3188 | 54254.6017 | 55610.9668 | 57001.2409 | 58426.272 | 59886.9288 | 61384.102 | 62918.7045 | 64491.6722 | 66103.964 | 67756.5631 | 69450.4771 | 71186.7391 | 72966.4075 | 74790.5677 | 76660.3319 | 78576.8402 | 80541.2612 | 82554.7928 | 84618.6626 | 86734.1291 | 88902.4824 | 91125.0444 | 93403.1705 | 95738.2498 | 98131.706 | 100584.9987 | 103099.6237
Source: TUG Selection Decision Workbook | OH CI Baseline (MED) | outages |  |  |  |  | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7
Source: TUG Selection Decision Workbook | OH CMI Baseline (MED) | min |  |  |  |  | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689 | 60689
| Typical Duration (MED) | hr |  |  |  |  | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392 | 17.8392
| Net Outages Avoided with UG | - |  |  |  |  | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39% | 96.39%
Source: TUG Selection Decision Workbook | Residential Customer % | % |  |  |  |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Source: TUG Selection Decision Workbook | Small C&I Customer % | % | bar: 2021 to 2049
Source: TUG Selection Decision Workbook | Large C&I Customer % | % | bar: 2021 to 2049
| Residential Outage Value (MED) | $/outage |  |  |  |  | 43.734 | 44.8273 | 45.948 | 47.0967 | 48.2741 | 49.481 | 50.718 | 51.9859 | 53.2856 | 54.6177 | 55.9832 | 57.3828 | 58.8173 | 60.2878 | 61.795 | 63.3398 | 64.9233 | 66.5464 | 68.2101 | 69.9153 | 71.6632 | 73.4548 | 75.2911 | 77.1734 | 79.1028 | 81.0803 | 83.1073 | 85.185 | 87.3146
| Small C&I Outage Value (MED) | $/outage |  |  |  |  | 12255.3301 | 12561.7134 | 12875.7562 | 13197.6501 | 13527.5914 | 13865.7812 | 14212.4257 | 14567.7363 | 14931.9297 | 15305.228 | 15687.8587 | 16080.0551 | 16482.0565 | 16894.1079 | 17316.4606 | 17749.3721 | 18193.1064 | 18647.9341 | 19114.1325 | 19591.9858 | 20081.7854 | 20583.8301 | 21098.4258 | 21625.8865 | 22166.5336 | 22720.697 | 23288.7144 | 23870.9322 | 24467.7055
| Large C&I Outage Value (MED) | $/outage |  |  |  |  | 224424.641 | 230035.257 | 235786.1385 | 241680.7919 | 247722.8117 | 253915.882 | 260263.7791 | 266770.3735 | 273439.6329 | 280275.6237 | 287282.5143 | 294464.5772 | 301826.1916 | 309371.8464 | 317106.1425 | 325033.7961 | 333159.641 | 341488.632 | 350025.8478 | 358776.494 | 367745.9064 | 376939.554 | 386363.0429 | 396022.119 | 405922.6719 | 416070.7387 | 426472.5072 | 437134.3199 | 448062.6779
| Residential Momentary Value | $/momentary |  |  |  |  | 4.7518 | 4.8706 | 4.9923 | 5.1171 | 5.2451 | 5.3762 | 5.5106 | 5.6484 | 5.7896 | 5.9343 | 6.0827 | 6.2347 | 6.3906 | 6.5504 | 6.7141 | 6.882 | 7.054 | 7.2304 | 7.4111 | 7.5964 | 7.7863 | 7.981 | 8.1805 | 8.385 | 8.5947 | 8.8095 | 9.0298 | 9.2555 | 9.4869
| Small C&I Momentary Value | $/momentary |  |  |  |  | 501.982 | 514.5315 | 527.3948 | 540.5797 | 554.0942 | 567.9466 | 582.1452 | 596.6988 | 611.6163 | 626.9067 | 642.5794 | 658.6439 | 675.11 | 691.9877 | 709.2874 | 727.0196 | 745.1951 | 763.825 | 782.9206 | 802.4936 | 822.5559 | 843.1198 | 864.1978 | 885.8028 | 907.9479 | 930.6466 | 953.9127 | 977.7605 | 1002.2046
| Large C&I Momentary Value | $/momentary |  |  |  |  | 15780.7543 | 16175.2732 | 16579.655 | 16994.1464 | 17419.0001 | 17854.4751 | 18300.8369 | 18758.3579 | 19227.3168 | 19707.9997 | 20200.6997 | 20705.7172 | 21223.3601 | 21753.9441 | 22297.7927 | 22855.2376 | 23426.6185 | 24012.284 | 24612.5911 | 25227.9058 | 25858.6035 | 26505.0686 | 27167.6953 | 27846.8877 | 28543.0599 | 29256.6364 | 29988.0523 | 30737.7536 | 31506.1974
| Local Momentary Outages Avoided | momentaries |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Upstream Momentary Events Avoided | momentaries |  |  |  |  | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
Source: TUG Selection Decision Workbook | Upstream Residential Customers | customers |  |  |  |  | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015 | 4015
Source: TUG Selection Decision Workbook | Upstream Small C&I Customers | customers |  |  |  |  | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569 | 569
Source: TUG Selection Decision Workbook | Upstream Large C&I Customers | customers |  |  |  |  | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
| Local Customer Avoided Outages: Residential (non-MED) | $ | 32838 | 50017.9082 | 0 | 0 | 3118.3198 | 3196.2777 | 3276.1847 | 3358.0893 | 3442.0415 | 3528.0926 | 3616.2949 | 3706.7023 | 3799.3698 | 3894.3541 | 3991.7129 | 4091.5057 | 4193.7934 | 4298.6382 | 4406.1042 | 4516.2568 | 4629.1632 | 4744.8923 | 4863.5146 | 4985.1024 | 5109.73 | 5237.4733 | 5368.4101 | 5502.6203 | 5640.1859 | 5781.1905 | 5925.7203 | 6073.8633 | 6225.7099 | 130521.3138
| Local Customer Avoided Outages: Small C&I (non-MED) | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Outages: Large C&I (non-MED) | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Outages: Residential (MED) | $ | 27419 | 38337.7598 | 0 | 0 | 2390.1318 | 2449.8851 | 2511.1322 | 2573.9105 | 2638.2583 | 2704.2148 | 2771.8201 | 2841.1156 | 2912.1435 | 2984.9471 | 3059.5708 | 3136.0601 | 3214.4616 | 3294.8231 | 3377.1937 | 3461.6235 | 3548.1641 | 3636.8682 | 3727.7899 | 3820.9847 | 3916.5093 | 4014.422 | 4114.7826 | 4217.6521 | 4323.0934 | 4431.1708 | 4541.95 | 4655.4988 | 4771.8863 | 100042.064
| Local Customer Avoided Outages: Small C&I (MED) | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Outages: Large C&I (MED) | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Outage Costs | $ | 60258 | 88355.668 | 0 | 0 | 5508.4516 | 5646.1629 | 5787.3169 | 5931.9998 | 6080.2998 | 6232.3073 | 6388.115 | 6547.8179 | 6711.5133 | 6879.3012 | 7051.2837 | 7227.5658 | 7408.2549 | 7593.4613 | 7783.2979 | 7977.8803 | 8177.3273 | 8381.7605 | 8591.3045 | 8806.0871 | 9026.2393 | 9251.8953 | 9483.1927 | 9720.2725 | 9963.2793 | 10212.3613 | 10467.6703 | 10729.3621 | 10997.5961 | 100042.064
| Local Customer Avoided Momentary Interruption Costs (Residential) | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Momentary Interruption Costs (Small C&I) | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Momentary Interruptions (Large C&I) | $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Local Customer Avoided Momentary Interruption Costs | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Upstream Customer Avoided Momentary Interruption Costs (Residential) | $ | 261556 | 397822.4723 | 0 | 0 | 24801.8703 | 25421.9171 | 26057.465 | 26708.9016 | 27376.6242 | 28061.0398 | 28762.5657 | 29481.6299 | 30218.6706 | 30974.1374 | 31748.4908 | 32542.2031 | 33355.7582 | 34189.6521 | 35044.3934 | 35920.5033 | 36818.5159 | 37738.9788 | 38682.4532 | 39649.5146 | 40640.7524 | 41656.7712 | 42698.1905 | 43765.6453 | 44859.7864 | 45981.2811 | 47130.8131 | 48309.0834 | 49516.8105 | 1038114.419
| Upstream Customer Avoided Momentary Interruption Costs (Small C&I) | $ | 3915836 | 5955917.0115 | 0 | 0 | 371316.0808 | 380598.9828 | 390113.9574 | 399866.8063 | 409863.4765 | 420110.0634 | 430612.815 | 441378.1353 | 452412.5887 | 463722.9035 | 475315.976 | 487198.8754 | 499378.8473 | 511863.3185 | 524659.9015 | 537776.399 | 551220.809 | 565001.3292 | 579126.3624 | 593604.5215 | 608444.6345 | 623655.7504 | 639247.1442 | 655228.3228 | 671609.0308 | 688399.2566 | 705609.238 | 723249.469 | 741330.7057 | 15541915.7015
| Upstream Customer Avoided Momentary Interruptions (Large C&I) | $ | 18389535 | 27970157.8152 | 0 | 0 | 1743773.3533 | 1787367.6871 | 1832051.8793 | 1877853.1763 | 1924799.5057 | 1972919.4933 | 2022242.4807 | 2072798.5427 | 2124618.5063 | 2177733.9689 | 2232177.3181 | 2287981.7511 | 2345181.2949 | 2403810.8272 | 2463906.0979 | 2525503.7504 | 2588641.3441 | 2653357.3777 | 2719691.3122 | 2787683.595 | 2857375.6849 | 2928810.077 | 3002030.3289 | 3077081.0871 | 3154008.1143 | 3232858.3172 | 3313679.7751 | 3396521.7695 | 3481434.8137 | 72987893.2301
| Upstream Customer Avoided Momentary Interruption Costs | $ | 22566927 | 34323897.299 | 0 | 0 | 2139891.3044 | 2193388.587 | 2248223.3017 | 2304428.8842 | 2362039.6063 | 2421090.5965 | 2481617.8614 | 2543658.3079 | 2607249.7656 | 2672431.0098 | 2739241.785 | 2807722.8296 | 2877915.9004 | 2949863.7979 | 3023610.3928 | 3099200.6527 | 3176680.669 | 3256097.6857 | 3337500.1279 | 3420937.631 | 3506461.0718 | 3594122.5986 | 3683975.6636 | 3776075.0552 | 3870476.9316 | 3967238.8548 | 4066419.8262 | 4168080.3219 | 4272282.3299 | 89567923.3506
TOTAL BENEFITS
| Avoided Outage Restoration Costs | $ | 531317 | 1541911.5632 | 0 | 0 | 96129.0356 | 98532.2615 | 100995.5681 | 103520.4573 | 106108.4687 | 108761.1804 | 111480.2099 | 114267.2152 | 117123.8955 | 120051.9929 | 123053.2928 | 126129.6251 | 129282.8657 | 132514.9373 | 135827.8108 | 139223.506 | 142704.0937 | 146271.696 | 149928.4884 | 153676.7006 | 157518.6182 | 161456.5836 | 165492.9982 | 169630.3232 | 173871.0812 | 178217.8583 | 182673.3047 | 187240.1373 | 191921.1408 | 4023605.3471
| Avoided Vegetation Management Costs | $ | 378259 | 435497.5014 | 0 | 0 | 8405 | 8615.125 | 144731.9462 | 9051.2657 | 9277.5473 | 9509.486 | 9747.2232 | 9990.9038 | 10240.6764 | 172040.8026 | 10759.1106 | 11028.0884 | 11303.7906 | 11586.3853 | 11876.045 | 12172.9461 | 204502.4511 | 12789.2015 | 13108.9315 | 13436.6548 | 13772.5712 | 14116.8855 | 14469.8076 | 243089.1502 | 15202.3416 | 15582.4001 | 15971.9602 | 16371.2592 | 16780.5406 | 1069530.4971
| Avoided Asset Management Costs | $ | 1554388 | 1483199.1487 | 0 | 0 | 1677546.0703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1677546.0703
| Local Customer Avoided Outage Costs | $ | 60258 | 88355.668 | 0 | 0 | 5508.4516 | 5646.1629 | 5787.3169 | 5931.9998 | 6080.2998 | 6232.3073 | 6388.115 | 6547.8179 | 6711.5133 | 6879.3012 | 7051.2837 | 7227.5658 | 7408.2549 | 7593.4613 | 7783.2979 | 7977.8803 | 8177.3273 | 8381.7605 | 8591.3045 | 8806.0871 | 9026.2393 | 9251.8953 | 9483.1927 | 9720.2725 | 9963.2793 | 10212.3613 | 10467.6703 | 10729.3621 | 10997.5961 | 100042.064
| Local Customer Avoided Momentary Interruption Costs | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Upstream Customer Avoided Momentary Interruption Costs | $ | 22566927 | 34323897.299 | 0 | 0 | 2139891.3044 | 2193388.587 | 2248223.3017 | 2304428.8842 | 2362039.6063 | 2421090.5965 | 2481617.8614 | 2543658.3079 | 2607249.7656 | 2672431.0098 | 2739241.785 | 2807722.8296 | 2877915.9004 | 2949863.7979 | 3023610.3928 | 3099200.6527 | 3176680.669 | 3256097.6857 | 3337500.1279 | 3420937.631 | 3506461.0718 | 3594122.5986 | 3683975.6636 | 3776075.0552 | 3870476.9316 | 3967238.8548 | 4066419.8262 | 4168080.3219 | 4272282.3299 | 89567923.3506
| Total Benefits | $ | 25091149 | 37872861.1803 | 0 | 0 | 3927479.8619 | 2306182.1364 | 2499738.1329 | 2422932.607 | 2483505.9222 | 2545593.5703 | 2609233.4095 | 2674464.2448 | 2741325.8509 | 2971403.1065 | 2880105.4721 | 2952108.1089 | 3025910.8116 | 3101558.5819 | 3179097.5464 | 3258574.9851 | 3532064.5411 | 3423540.3437 | 3509128.8523 | 3596857.0736 | 3686778.5005 | 3778947.963 | 3873421.662 | 4198514.801 | 4069513.6337 | 4171251.4745 | 4275532.7614 | 4382421.0804 | 4491981.6074 | 96438647.3291
NPV | bar: 2019 to 2021
|  | NPV Costs | NPV Benefits | BCR
| Construction Capital | 2.3675 |  | 15.4354
| Projected Outage Restoration Costs for New Underground System | 0.023601
| Construction O&M | 0.062585
| Avoided Outage Restoration Costs |  | 1.5419
| Avoided Vegetation Management Costs |  | 0.4355
| Avoided Asset Management Costs |  | 1.4832
| Local Customer Avoided Outage Costs |  | 0.088356
| Local Customer Avoided Momentary Interruption Costs |  | 0
| Upstream Customer Avoided Momentary Interruption Costs (Residential) |  | 0.39782
| Upstream Customer Avoided Momentary Interruption Costs (Small C&I) |  | 5.9559
| Upstream Customer Avoided Momentary Interruptions (Large C&I) |  | 27.9702
|  | 2.4536 | 37.8729 | 15.4354
COSTS
[10 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
[9 empty] | Construction Capital | -1.2055 | -1.2357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Projected Outage Restoration Costs for New Underground System | 0 | 0 | -0.0014714 | -0.0015082 | -0.0015459 | -0.0015845 | -0.0016241 | -0.0016647 | -0.0017064 | -0.001749 | -0.0017927 | -0.0018376 | -0.0018835 | -0.0019306 | -0.0019789 | -0.0020283 | -0.002079 | -0.002131 | -0.0021843 | -0.0022389 | -0.0022949 | -0.0023522 | -0.002411 | -0.0024713 | -0.0025331 | -0.0025964 | -0.0026613 | -0.0027279 | -0.0027961 | -0.002866 | -0.0029376
[9 empty] | Construction O&M | -0.027728 | -0.037071 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS | bar: 2019 to 2044
[9 empty] | Avoided Outage Restoration Costs | 0 | 0 | 0.096129 | 0.098532 | 0.101 | 0.10352 | 0.10611 | 0.10876 | 0.11148 | 0.11427 | 0.11712 | 0.12005 | 0.12305 | 0.12613 | 0.12928 | 0.13251 | 0.13583 | 0.13922 | 0.1427 | 0.14627 | 0.14993 | 0.15368 | 0.15752 | 0.16146 | 0.16549 | 0.16963 | 0.17387 | 0.17822 | 0.18267 | 0.18724 | 0.19192
[9 empty] | Avoided Vegetation Management Costs | 0 | 0 | 0.008405 | 0.0086151 | 0.14473 | 0.0090513 | 0.0092775 | 0.0095095 | 0.0097472 | 0.0099909 | 0.010241 | 0.17204 | 0.010759 | 0.011028 | 0.011304 | 0.011586 | 0.011876 | 0.012173 | 0.2045 | 0.012789 | 0.013109 | 0.013437 | 0.013773 | 0.014117 | 0.01447 | 0.24309 | 0.015202 | 0.015582 | 0.015972 | 0.016371 | 0.016781
[9 empty] | Avoided Asset Management Costs | 0 | 0 | 1.6775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Local Customer Avoided Outage Costs | 0 | 0 | 0.0055085 | 0.0056462 | 0.0057873 | 0.005932 | 0.0060803 | 0.0062323 | 0.0063881 | 0.0065478 | 0.0067115 | 0.0068793 | 0.0070513 | 0.0072276 | 0.0074083 | 0.0075935 | 0.0077833 | 0.0079779 | 0.0081773 | 0.0083818 | 0.0085913 | 0.0088061 | 0.0090262 | 0.0092519 | 0.0094832 | 0.0097203 | 0.0099633 | 0.010212 | 0.010468 | 0.010729 | 0.010998
[9 empty] | Local Customer Avoided Momentary Interruption Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Upstream Customer Avoided Momentary Interruption Costs (Residential) | 0 | 0 | 0.024802 | 0.025422 | 0.026057 | 0.026709 | 0.027377 | 0.028061 | 0.028763 | 0.029482 | 0.030219 | 0.030974 | 0.031748 | 0.032542 | 0.033356 | 0.03419 | 0.035044 | 0.035921 | 0.036819 | 0.037739 | 0.038682 | 0.03965 | 0.040641 | 0.041657 | 0.042698 | 0.043766 | 0.04486 | 0.045981 | 0.047131 | 0.048309 | 0.049517
[9 empty] | Upstream Customer Avoided Momentary Interruption Costs (Small C&I) | 0 | 0 | 0.37132 | 0.3806 | 0.39011 | 0.39987 | 0.40986 | 0.42011 | 0.43061 | 0.44138 | 0.45241 | 0.46372 | 0.47532 | 0.4872 | 0.49938 | 0.51186 | 0.52466 | 0.53778 | 0.55122 | 0.565 | 0.57913 | 0.5936 | 0.60844 | 0.62366 | 0.63925 | 0.65523 | 0.67161 | 0.6884 | 0.70561 | 0.72325 | 0.74133
[9 empty] | Upstream Customer Avoided Momentary Interruptions (Large C&I) | 0 | 0 | 1.7438 | 1.7874 | 1.8321 | 1.8779 | 1.9248 | 1.9729 | 2.0222 | 2.0728 | 2.1246 | 2.1777 | 2.2322 | 2.288 | 2.3452 | 2.4038 | 2.4639 | 2.5255 | 2.5886 | 2.6534 | 2.7197 | 2.7877 | 2.8574 | 2.9288 | 3.002 | 3.0771 | 3.154 | 3.2329 | 3.3137 | 3.3965 | 3.4814
BCR = 14.3
Note on A2: Navigant: Most are listed as from the TUG selection workbook, I am not sure if any of the data was received in another format. Can anyone confirm?
Note on A84: Navigant: This was mentioned in an email chain to confirm its accuracy, but I cannot find its source.

## Kentucky_Lookups
Table ES-1: Estimated Interuption Cost per Event, Average kW and Unserved kWh
(US 2013$) by Duration and Customer Class
Interruption Cost | Interruption Duration
| Momentary | 30 Minutes | 1 Hour | 4 Hours | 8 Hours | 16 Hours | 24 Hours
Cost per Event | 0 | 0.5 | 1 | 4 | 8 | 16 | 24
Medium and Large C&I (Over 50,000 Annual kWh)
Cost per Event | 12952 | 15241 | 17804 | 39458 | 84083 | 165482 | 246881
Cost per Average kW | 15.9 | 18.7 | 21.8 | 48.4 | 103.2 | 203
Cost per Unserved kWh | 190.7 | 37.4 | 21.8 | 12.1 | 12.9 | 12.7
Small C&I (Under 50,000 Annual kWh)
Cost per Event | 412 | 520 | 647 | 1880 | 4690 | 9055 | 13420
Cost per Average kW | 187.9 | 237 | 295 | 857.1 | 2138.1 | 4128.3
Cost per Unserved kWh | 2254.6 | 474.1 | 295 | 214.3 | 267.3 | 258
Residential
Cost per Event | 3.9 | 4.5 | 5.1 | 9.5 | 17.2 | 32.4 | 47.6
Cost per Average kW | 2.6 | 2.9 | 3.3 | 6.2 | 11.3 | 21.2
Cost per Unserved kWh | 30.9 | 5.9 | 3.3 | 1.6 | 1.4 | 1.3
*Calculation for 2.78 hours - see cell F30
Source: https://emp.lbl.gov/sites/default/files/lbnl-6941e.pdf
SOG Customer Benefits Analysis
Breakdown based upon customers on SOG circuits
Customer Data | Value | % Breakdown
Large C&I Customers | 263 | 0.1838%
Small C&I Customers | 13381 | 9.35%
Res Customers | 129471 | 90.47%
Reliability Data | 2019 | 2020 | 2021 | Average CAIDI
Incremental CI Savings due to SOG in Kentucky | 3495 | 2634 | 7089 | 4.3029 | hours
Incremental CMI Savings due to SOG in Kentucky | 902326 | 572297 | 1386573
1 Sustained Customer Interruption = | 1.5 | Momentary Interruptions (SOG)
| 0 | Momentary Interruptions (TUG)
Momentary Interruption Cost Avoided
# of Momentaries | 2019 | 2020 | 2021
Large C&I | 9.6341 | 7.2607 | 19.541
Small C&I | 490.1645 | 369.4115 | 994.2135
Residential | 4742.7014 | 3574.3278 | 9619.7455
Cost of Reliability Data | 2019 | 2020 | 2021
Large C&I Cost per Event | 15020.3492 | 15395.8579 | 15780.7543
Small C&I Cost per Event | 477.7937 | 489.7385 | 501.982
Res Cost per Event | 4.5228 | 4.6359 | 4.7518
Momentary Interruption Cost Avoided | 2019 | 2020 | 2021
Large C&I | 144706.8403 | 111784.4815 | 308371.7518
Small C&I | 234197.5046 | 180915.0595 | 499077.2695
Residential | 21450.3106 | 16570.1348 | 45710.8306
Total | 400354.6556 | 309269.6758 | 853159.8519
Non MED Cost Avoided for Reduced Outage Events
Cost of Reliability Data | 2019 | 2020 | 2021
Large C&I Cost per Event | 45759.1829 | 46903.1625 | 48075.7415
Small C&I Cost per Event | 2180.2236 | 2234.7292 | 2290.5974
Res Cost per Event | 11.0171 | 11.2925 | 11.5748
Non MED Cost Avoided for Reduced Outage Events | 2019 | 2020 | 2021
Large C&I | 293897.5965 | 227032.7399 | 626298.774
Small C&I | 712445.4833 | 550356.4916 | 1518228.5869
Residential | 34833.8378 | 26908.7659 | 74231.2634
Total | 1041176.9176 | 804297.9974 | 2218758.6243

## Addtl Capacity Deferral (SOG)
Assumptions:
1. With Circuit Conditioning done via SOG in DEK, assume an additional 0.5% Voltage Reduction can be achieved in Emergency Mode.
2. Assume a 0.7 CVR Factor
[6 empty] | CVR Factor: | 0.7
DEK Annual Load Growth Rate (on SOG/IVVC circuits): |  |  |  |  | 0.8%
% Load Reduction (CVR Mode) without Circuit Conditioning (SOG): |  |  |  |  | 0.268%
KW Load on SOG Circuits enabled with IVVC: |  |  |  |  | 181641 | KW
Load (KW) reduction using CVR Factor of 0.7: |  |  |  |  | 2542.974 | KW
BASE CASE:
Year | Coincident Peak (MW) | Peak w/ IVVC (MW) | MW Reduction - Continuous (2% voltage reduction) | Additional MW Reduction - Emergency Mode | Total potential MW reduction | + Transmission loss Gross-up (DEC weighted avg. 4.0%) | + PRMR Gross-up (6.0%) | $/kWyr CT Cost | $/yr Capacity Offset Value | Normal mode max voltage reduction
2%
2016 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 839 | 839 | 0 | 0 | 0 | 0 | 0 | 43.27 | 0
2019 | 845.712 | 845.712 | 0 | 0 | 0 | 0 | 0 | 43.82 | 0
2020 | 852.4777 | 851.9065 | -0.57116 | 0 | -0.57116 | -0.59401 | -0.62965 | 44.37 | -27.9374
2021 | 859.2975 | 858.1461 | -1.1515 | 0 | -1.1515 | -1.1975 | -1.2694 | 44.94 | -57.0454
2022 | 866.1719 | 864.4309 | -1.741 | 0 | -1.741 | -1.8106 | -1.9193 | 45.51 | -87.3466
2023 | 873.1013 | 870.7614 | -2.3399 | 0 | -2.3399 | -2.4335 | -2.5795 | 46.08 | -118.8642
2024 | 880.0861 | 877.7275 | -2.3586 | 0 | -2.3586 | -2.453 | -2.6002 | 46.67 | -121.3492
2025 | 887.1268 | 884.7493 | -2.3775 | 0 | -2.3775 | -2.4726 | -2.621 | 47.26 | -123.8664
2026 | 894.2238 | 891.8273 | -2.3965 | 0 | -2.3965 | -2.4924 | -2.6419 | 47.86 | -126.4425
2027 | 901.3776 | 898.9619 | -2.4157 | 0 | -2.4157 | -2.5123 | -2.6631 | 48.47 | -129.0785
2028 | 908.5886 | 906.1536 | -2.435 | 0 | -2.435 | -2.5324 | -2.6844 | 49.09 | -131.7754
2029 | 915.8573 | 913.4028 | -2.4545 | 0 | -2.4545 | -2.5527 | -2.7058 | 49.71 | -134.5072
2030 | 923.1842 | 920.71 | -2.4741 | 0 | -2.4741 | -2.5731 | -2.7275 | 50.34 | -137.3016
2031 | 930.5696 | 928.0757 | -2.4939 | 0 | -2.4939 | -2.5937 | -2.7493 | 50.98 | -140.1596
2032 | 938.0142 | 935.5003 | -2.5139 | 0 | -2.5139 | -2.6144 | -2.7713 | 51.63 | -143.0822
2033 | 945.5183 | 942.9843 | -2.534 | 0 | -2.534 | -2.6353 | -2.7935 | 52.28 | -146.0426
2034 | 953.0825 | 950.5282 | -2.5543 | 0 | -2.5543 | -2.6564 | -2.8158 | 52.95 | -149.0975
2035 | 960.7071 | 958.1324 | -2.5747 | 0 | -2.5747 | -2.6777 | -2.8383 | 53.62 | -152.192
2036 | 968.3928 | 965.7975 | -2.5953 | 0 | -2.5953 | -2.6991 | -2.8611 | 54.3 | -155.355
2037 | 976.1399 | 973.5239 | -2.6161 | 0 | -2.6161 | -2.7207 | -2.8839 | 54.99 | -158.5878
2038 | 983.949 | 981.312 | -2.637 | 0 | -2.637 | -2.7425 | -2.907 | 55.69 | -161.8914
2039 | 991.8206 | 989.1625 | -2.6581 | 0 | -2.6581 | -2.7644 | -2.9303 | 56.3971 | -165.2584
2040 | 999.7552 | 997.0758 | -2.6793 | 0 | -2.6793 | -2.7865 | -2.9537 | 57.1131 | -168.6954
2041 | 1007.7532 | 1005.0525 | -2.7008 | 0 | -2.7008 | -2.8088 | -2.9773 | 57.8382 | -172.2039
2042 | 1015.8153 | 1013.0929 | -2.7224 | 0 | -2.7224 | -2.8313 | -3.0012 | 58.5725 | -175.7854
2043 | 1023.9418 | 1021.1976 | -2.7442 | 0 | -2.7442 | -2.8539 | -3.0252 | 59.3162 | -179.4413
2044 | 1032.1333 | 1029.3672 | -2.7661 | 0 | -2.7661 | -2.8768 | -3.0494 | 60.0693 | -183.1733
2045 | 1040.3904 | 1037.6021 | -2.7882 | 0 | -2.7882 | -2.8998 | -3.0738 | 60.8319 | -186.9829
2046 | 1048.7135 | 1045.903 | -2.8106 | 0 | -2.8106 | -2.923 | -3.0984 | 61.6043 | -190.8718
2047 | 1057.1032 | 1054.2702 | -2.833 | 0 | -2.833 | -2.9464 | -3.1231 | 62.3864 | -194.8415
2048 | 1065.56 | 1062.7043 | -2.8557 | 0 | -2.8557 | -2.9699 | -3.1481 | 63.1785 | -198.8938
2049 | 1074.0845 | 1071.206 | -2.8785 | 0 | -2.8785 | -2.9937 | -3.1733 | 63.9806 | -203.0303
IVVC with Circuit Conditioning under SOG: |  |  |  |  | Std 2.0% Voltage Reduction |  | Emergency Mode 2.5% Reduction
DEK Annual Load Growth Rate (on SOG/IVVC circuits): |  |  |  |  | 0.8% |  | 0.8%
% Load Reduction (CVR Mode) without Circuit Conditioning (SOG): |  |  |  |  | 0.268% |  | 0.335%
KW Load on SOG Circuits enabled with IVVC: |  |  |  |  | 181641 | KW | 181641 | KW
Load (KW) reduction using CVR Factor of 0.7: |  |  |  |  | 2542.974 | KW | 3178.7175 | KW
Year | Coincident Peak (MW) | Peak w/ IVVC (MW) | MW Reduction - Continuous (2% voltage reduction) | Additional MW Reduction - Emergency Mode | Total potential MW reduction | + Transmission loss Gross-up (DEC weighted avg. 4.0%) | + PRMR Gross-up (6.0%) | $/kWyr CT Cost | $/yr Capacity Offset Value | Emergency mode max voltage reduction with Circuit Conditioning via SOG
2.5%
2016 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 839 | 839 | 0 | 0 | 0 | 0 | 0 | 43.27 | 0
2019 | 845.712 | 845.712 | 0 | 0 | 0 | 0 | 0 | 43.82 | 0
2020 | 852.4777 | 851.9065 | -0.57116 | -0.14279 | -0.71395 | -0.74251 | -0.78706 | 44.37 | -34.9218
2021 | 859.2975 | 858.1461 | -1.1515 | -0.28786 | -1.4393 | -1.4969 | -1.5867 | 44.94 | -71.3067
2022 | 866.1719 | 864.4309 | -1.741 | -0.43525 | -2.1763 | -2.2633 | -2.3991 | 45.51 | -109.1833
2023 | 873.1013 | 870.7614 | -2.3399 | -0.58498 | -2.9249 | -3.0419 | -3.2244 | 46.08 | -148.5803
2024 | 880.0861 | 877.7275 | -2.3586 | -0.58966 | -2.9483 | -3.0662 | -3.2502 | 46.67 | -151.6865
2025 | 887.1268 | 884.7493 | -2.3775 | -0.59437 | -2.9719 | -3.0907 | -3.2762 | 47.26 | -154.833
2026 | 894.2238 | 891.8273 | -2.3965 | -0.59913 | -2.9956 | -3.1155 | -3.3024 | 47.86 | -158.0531
2027 | 901.3776 | 898.9619 | -2.4157 | -0.60392 | -3.0196 | -3.1404 | -3.3288 | 48.47 | -161.3481
2028 | 908.5886 | 906.1536 | -2.435 | -0.60875 | -3.0438 | -3.1655 | -3.3555 | 49.09 | -164.7192
2029 | 915.8573 | 913.4028 | -2.4545 | -0.61362 | -3.0681 | -3.1908 | -3.3823 | 49.71 | -168.134
2030 | 923.1842 | 920.71 | -2.4741 | -0.61853 | -3.0927 | -3.2164 | -3.4094 | 50.34 | -171.627
2031 | 930.5696 | 928.0757 | -2.4939 | -0.62348 | -3.1174 | -3.2421 | -3.4366 | 50.98 | -175.1994
2032 | 938.0142 | 935.5003 | -2.5139 | -0.62847 | -3.1423 | -3.268 | -3.4641 | 51.63 | -178.8527
2033 | 945.5183 | 942.9843 | -2.534 | -0.6335 | -3.1675 | -3.2942 | -3.4918 | 52.28 | -182.5532
2034 | 953.0825 | 950.5282 | -2.5543 | -0.63857 | -3.1928 | -3.3205 | -3.5198 | 52.95 | -186.3719
2035 | 960.7071 | 958.1324 | -2.5747 | -0.64367 | -3.2184 | -3.3471 | -3.5479 | 53.62 | -190.24
2036 | 968.3928 | 965.7975 | -2.5953 | -0.64882 | -3.2441 | -3.3739 | -3.5763 | 54.3 | -194.1938
2037 | 976.1399 | 973.5239 | -2.6161 | -0.65401 | -3.2701 | -3.4009 | -3.6049 | 54.99 | -198.2348
2038 | 983.949 | 981.312 | -2.637 | -0.65925 | -3.2962 | -3.4281 | -3.6338 | 55.69 | -202.3643
2039 | 991.8206 | 989.1625 | -2.6581 | -0.66452 | -3.3226 | -3.4555 | -3.6628 | 56.3971 | -206.573
2040 | 999.7552 | 997.0758 | -2.6793 | -0.66984 | -3.3492 | -3.4831 | -3.6921 | 57.1131 | -210.8693
2041 | 1007.7532 | 1005.0525 | -2.7008 | -0.67519 | -3.376 | -3.511 | -3.7217 | 57.8382 | -215.2549
2042 | 1015.8153 | 1013.0929 | -2.7224 | -0.6806 | -3.403 | -3.5391 | -3.7514 | 58.5725 | -219.7317
2043 | 1023.9418 | 1021.1976 | -2.7442 | -0.68604 | -3.4302 | -3.5674 | -3.7815 | 59.3162 | -224.3017
2044 | 1032.1333 | 1029.3672 | -2.7661 | -0.69153 | -3.4576 | -3.596 | -3.8117 | 60.0693 | -228.9667
2045 | 1040.3904 | 1037.6021 | -2.7882 | -0.69706 | -3.4853 | -3.6247 | -3.8422 | 60.8319 | -233.7287
2046 | 1048.7135 | 1045.903 | -2.8106 | -0.70264 | -3.5132 | -3.6537 | -3.8729 | 61.6043 | -238.5897
2047 | 1057.1032 | 1054.2702 | -2.833 | -0.70826 | -3.5413 | -3.6829 | -3.9039 | 62.3864 | -243.5519
2048 | 1065.56 | 1062.7043 | -2.8557 | -0.71393 | -3.5696 | -3.7124 | -3.9352 | 63.1785 | -248.6172
2049 | 1074.0845 | 1071.206 | -2.8785 | -0.71964 | -3.5982 | -3.7421 | -3.9666 | 63.9806 | -253.7879
Incremental Capacity Deferral Benefit due to Circuit Conditioning under SOG program on Kentucky circuits
also enabled with IVVC from Years 2019-2022.
Incremental MW Reduction
2019 | 0
2020 | -0.15741
2021 | -0.31734
2022 | -0.47982
2023 | -0.64488
2024 | -0.65004
2025 | -0.65524
2026 | -0.66048
2027 | -0.66576
2028 | -0.67109
2029 | -0.67646
2030 | -0.68187
2031 | -0.68733
2032 | -0.69282
2033 | -0.69837
2034 | -0.70395
2035 | -0.70959
2036 | -0.71526
2037 | -0.72098
2038 | -0.72675
2039 | -0.73257
2040 | -0.73843
2041 | -0.74433
2042 | -0.75029
2043 | -0.75629
2044 | -0.76234
2045 | -0.76844
2046 | -0.77459
2047 | -0.78078
2048 | -0.78703
2049 | -0.79333

## Assumptions
Assumptions
Source
Escalation Rate | 2.5% | Annual Rate Assumption
Discount Rate | 6.35% | DEK
Discount Rate | 6.35% | DEK
Notes
Customer counts are likely to change
This is an example CBA based on an example workplan representative of a SOG program in DEK, subject to further Duke Energy Kentuky review.
The costs and benefits will change based on changes to the workplan.

## ICE Calculator
ICE Calculator
  The Interruption Cost Estimate (ICE) Calculator is an electric reliability planning tool developed by Lawrence Berkeley National Laboratory and Nexant, Inc. This tool is designed for electric reliability planners at utilities, government organizations, and other entities that are interested in estimating interruption costs and/or the benefits associated with reliability improvements in the United States.
  The ICE Calculator was funded by the Transmission Permitting and Technical Assistance Division of the U.S. Department of Energy’s Office of Electricity (OE) Delivery and Energy Reliability under Lawrence Berkeley National Laboratory Contract No. DE-AC02-05CH11231
  A base assumption of the Calculator is that electricity has a value to those who consume it, otherwise they would not actually consume it.
  It also takes into account that the plain reality that electricity is an enabling product. It enables life and society as we know it. So valuing the loss of the product requires thought and research.
  Lawrence Berkeley National Laboratory and Nexant have done that research and arrived at estimated costs for various customer classes and outage durations. This work included extensive customer surveys across all classes of customers.
  We have reviewed the Calculator thoroughly and are confident it provides a provides a common sense value to the cost of power outages for our customers.