## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Stakeholder 2022-2024 Market Purchase Scenario
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 1085.22 | -141.1961 | -5.4107 | 8.8039 | 9.7604 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.022 | 0 | 0 | 0 | 150 | 1086.242 | -141.4334 | -5.4316 | 9.5886 | 9.8396 | 0 | 0 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 150 | 1086.753 | -138.4928 | -5.1726 | 13.0402 | 10.1922 | 0 | 0 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17808 | 4.7387 | 1.533 | 129.28 | 0 | 0 | 0 | 1070.9498 | -135.6776 | -4.9233 | 0.052237 | 8.8753 | 252.9941 | 0 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33095 | 5.1243 | 1.533 | 129.28 | 0 | 0 | 0 | 1071.4883 | -133.1769 | -4.7008 | 3.0914 | 9.185 | 252.9941 | 0 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45872 | 4.943 | 2.044 | 129.28 | 0 | 0 | 0 | 1071.9457 | -131.7449 | -4.5729 | 4.9808 | 9.3782 | 252.9941 | 0 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55189 | 5.4727 | 2.044 | 129.28 | 0 | 0 | 0 | 1072.5686 | -130.8116 | -4.4893 | 6.537 | 9.5376 | 252.9941 | 0 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.52589 | 5.5352 | 2.555 | 129.28 | 4.2698 | 0 | 0 | 1077.3859 | -130.9359 | -4.5005 | 11.23 | 10.0167 | 252.9941 | 0 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51815 | 8.7902 | 3.066 | 155.136 | 7.5539 | 12.3 | 0 | 1122.5843 | -129.9619 | -4.4131 | 57.4023 | 14.737 | 303.593 | 100 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43541 | 10.479 | 3.577 | 232.704 | 10.3337 | 12.3 | 0 | 1065.1491 | -391.8251 | -31.179 | 0.004041 | 8.8704 | 455.3894 | 100 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35497 | 10.7996 | 3.577 | 232.704 | 10.3337 | 12.3 | 0 | 1065.3893 | -391.86 | -31.1813 | 0.20931 | 8.8914 | 455.3894 | 100 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27978 | 10.0303 | 4.088 | 232.704 | 10.3337 | 12.3 | 0 | 1065.0558 | -391.7211 | -31.1723 | 0.014641 | 8.8715 | 455.3894 | 100 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20561 | 10.3934 | 4.599 | 232.704 | 10.3337 | 12.3 | 0 | 1065.8557 | -392.4548 | -31.2197 | 0.080818 | 8.8783 | 455.3894 | 100 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14243 | 10.8102 | 4.599 | 232.704 | 10.3337 | 12.3 | 0 | 1066.2093 | -392.8648 | -31.2461 | 0.024526 | 8.8725 | 455.3894 | 100 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.090078 | 8.3743 | 5.11 | 232.704 | 10.3337 | 24.6 | 0 | 1076.5321 | -393.9875 | -31.3184 | 9.2246 | 9.8109 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 5.9998 | 5.11 | 232.704 | 10.3337 | 24.6 | 0 | 1074.117 | -393.6911 | -31.2994 | 7.1059 | 9.595 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 4.3677 | 5.621 | 232.704 | 10.3337 | 24.6 | 0 | 1072.9669 | -394.2481 | -31.3352 | 5.3988 | 9.4206 | 455.3894 | 200 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 2.9564 | 5.621 | 232.704 | 10.3337 | 24.6 | 0 | 1071.5395 | -394.733 | -31.3664 | 3.4865 | 9.2254 | 455.3894 | 200 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9551 | 6.132 | 232.704 | 10.3337 | 24.6 | 0 | 1071.0448 | -396.5526 | -31.4831 | 1.1722 | 8.9893 | 455.3894 | 200 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2339 | 6.132 | 232.704 | 10.3337 | 24.6 | 0 | 1070.3236 | -396.7395 | -31.4951 | 0.26416 | 8.8969 | 455.3894 | 200 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67206 | 6.643 | 232.704 | 10.3337 | 36.9 | 0 | 1082.5728 | -397.2329 | -31.5266 | 12.0198 | 10.0924 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28123 | 7.154 | 232.704 | 10.3337 | 36.9 | 0 | 1082.6929 | -397.4483 | -31.5404 | 11.9246 | 10.0824 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061097 | 7.154 | 232.704 | 6.0639 | 36.9 | 0 | 1078.203 | -397.9501 | -31.5725 | 6.9329 | 9.5746 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 2.7798 | 36.9 | 0 | 1075.3688 | -398.6553 | -31.6175 | 3.3935 | 9.2146 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1073.1 | -398.5922 | -31.6135 | 1.1878 | 8.9906 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1073.611 | -398.1677 | -31.5864 | 2.1233 | 9.0857 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -398.0043 | -31.576 | 2.7977 | 9.1543 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -397.1769 | -31.5231 | 3.6251 | 9.2387 | 455.3894 | 300 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 1.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 77.568 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76318 | 0 | 0 | 0.25439 | 0 | 0 | 0.48879 | 0 | 0 | 0.2444 | 0 | 0 | 0 | 0.055212 | 0 | 0 | 0 | 0 | 2.9328 | 0 | 0 | 0 | 0 | 0 | 0.17808 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 77.568 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71293 | 0 | 0 | 0.45585 | 0 | 0 | 0.90876 | 0 | 0 | 0.2179 | 0 | 0 | 0 | 0.10261 | 0 | 0 | 0 | 0 | 2.7263 | 0 | 0 | 0 | 0 | 0 | 0.33095 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 77.568 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58802 | 0 | 0 | 0.35281 | 0 | 0 | 1.2259 | 0 | 0 | 0.18388 | 0 | 0 | 0 | 0.14067 | 0 | 0 | 0 | 0 | 2.4517 | 0 | 0 | 0 | 0 | 0 | 0.45872 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 77.568 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15107 | 0 | 0.8889 | 0 | 0 | 0.43853 | 0 | 0 | 1.4698 | 0 | 0 | 0.15107 | 0 | 0 | 0 | 0.16854 | 0 | 0 | 0 | 0 | 2.2047 | 0 | 0 | 0 | 0 | 0 | 0.55189 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 77.568 | 51.712 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16903 | 0 | 1.2244 | 0 | 0 | 0.331 | 0 | 0 | 1.5284 | 0 | 0 | 0.16903 | 0 | 0 | 0 | 0.168 | 0 | 0 | 0 | 0 | 1.9453 | 0 | 0 | 0 | 0 | 0 | 0.52589 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 103.424 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.17299 | 0 | 1.3724 | 0 | 0 | 0.371 | 0.26201 | 0 | 1.5642 | 0.48867 | 0 | 0.17299 | 0 | 0 | 0 | 0.1607 | 0 | 0 | 0.52401 | 0 | 1.9908 | 1.7104 | 0 | 0 | 0 | 0 | 0.51815 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.1129 | 0 | 1.1617 | 0 | 0 | 0.2439 | 0.47037 | 0 | 1.3145 | 0.90813 | 0 | 0.1129 | 0 | 0 | 0 | 0.13531 | 0 | 0 | 0.94075 | 0 | 1.673 | 3.4055 | 0 | 0 | 0 | 0 | 0.43541 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.063124 | 0 | 0.95543 | 0 | 0 | 0.13763 | 0.61215 | 0 | 1.0712 | 1.2478 | 0 | 0.063124 | 0 | 0 | 0 | 0.11027 | 0 | 0 | 1.2243 | 0 | 1.3633 | 3.9514 | 0 | 0 | 0 | 0 | 0.35497 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.02645 | 0 | 0.67179 | 0 | 0 | 0.052802 | 0.60387 | 0 | 0.82259 | 1.4716 | 0 | 0.02645 | 0 | 0 | 0 | 0.086211 | 0 | 0 | 1.3587 | 0 | 1.0469 | 3.8629 | 0 | 0 | 0 | 0 | 0.27978 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.0063462 | 0 | 0.55957 | 0 | 0 | 0.013996 | 0.65808 | 0 | 0.62022 | 1.8123 | 0 | 0.0063462 | 0 | 0 | 0 | 0.064047 | 0 | 0 | 1.5794 | 0 | 0.78937 | 4.2837 | 0 | 0 | 0 | 0 | 0.20561 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0 | 0 | 0.39023 | 0 | 0 | 0 | 0.67151 | 0 | 0.42974 | 1.9895 | 0 | 0 | 0 | 0 | 0 | 0.035497 | 0 | 0 | 1.6308 | 0 | 0.54695 | 5.1159 | 0 | 0 | 0 | 0 | 0.14243 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.24869 | 0 | 0 | 0 | 0.44238 | 0 | 0.2715 | 1.673 | 0 | 0 | 0 | 0 | 0 | 0.016802 | 0 | 0 | 1.0744 | 0 | 0.34555 | 4.302 | 0 | 0 | 0 | 0 | 0.090078 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.12179 | 0 | 0 | 0 | 0.22218 | 0 | 0.14532 | 1.3384 | 0 | 0 | 0 | 0 | 0 | 0.0061011 | 0 | 0 | 0.53957 | 0 | 0.18495 | 3.4415 | 0 | 0 | 0 | 0 | 0.049478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.05719 | 0 | 0 | 0 | 0.10637 | 0 | 0.06189 | 1.0651 | 0 | 0 | 0 | 0 | 0 | 0.0012763 | 0 | 0 | 0.25832 | 0 | 0.078769 | 2.7388 | 0 | 0 | 0 | 0 | 0.020478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.0125 | 0 | 0 | 0 | 0.025278 | 0 | 0.01346 | 0.79145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061389 | 0 | 0.017131 | 2.0352 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 180.992 | 51.712 | 0 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4786.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4479.645 | -363.8381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4221.81 | -556.1657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -568.1125 | 0 | 0 | -6811.5736 | -5063.0815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1030.3242 | 0 | 0 | -152.8989 | 0 | 0 | -482.4308 | 0 | 0 | -167.8799 | 0 | 0 | 0 | -41.5896 | 0 | 0 | 0 | 0 | -4262.8003 | 0 | 0 | 0 | 0 | 0 | -82.0563 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -582.691 | 0 | 0 | -6550.2739 | -4888.8818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.8798 | 0 | 0 | -106.6976 | 0 | 0 | -391.4999 | 0 | 0 | 31.1413 | 0 | 0 | 0 | -7.7218 | 0 | 0 | 0 | 0 | 389.6337 | 0 | 0 | 0 | 0 | 0 | -45.017 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -790.3137 | 0 | 0 | -6178.3361 | -4640.9232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95.0353 | 0 | 0 | 57.0212 | 0 | 0 | -301.2401 | 0 | 0 | 27.8015 | 0 | 0 | 0 | 23.5308 | 0 | 0 | 0 | 0 | 370.6871 | 0 | 0 | 0 | 0 | 0 | -10.2915 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -749.0391 | 0 | 0 | -3043.5726 | -2551.0809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -58.1994 | 0 | -435.8907 | 0 | 0 | -37.509 | 0 | 0 | -168.9585 | 0 | 0 | 28.5186 | 0 | 0 | 0 | 73.4065 | 0 | 0 | 0 | 0 | 416.2169 | 0 | 0 | 0 | 0 | 0 | 44.0799 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -962.945 | 0 | 0 | -3318.3215 | -2734.2468 | -205.6355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -36.7425 | 0 | -859.451 | 0 | 0 | -33.2495 | 0 | 0 | -313.2661 | 0 | 0 | -74.7485 | 0 | 0 | 0 | 79.3621 | 0 | 0 | 0 | 0 | -199.7184 | 0 | 0 | 0 | 0 | 0 | 47.8295 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1181.1519 | 0 | 0 | -3760.4084 | -2557.3333 | -194.5535 | -393.0463 | 0 | 0 | 0 | 0 | 0 | 0 | -4900.2667 | 0 | 0 | 32.8751 | 0 | 249.373 | 0 | 0 | 67.4136 | -159.7974 | 0 | 297.2686 | -514.8048 | 0 | 32.8751 | 0 | 0 | 0 | 129.9473 | 0 | 0 | -527.0007 | 0 | 378.3418 | -2682.5401 | 0 | 0 | 0 | 0 | 134.5281 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | 0 | -29981.6549 | 0 | 0 | 0 | 0 | 0 | 0 | -1406.8668 | 0 | 0 | -4994.8499 | -2384.6999 | -187.7365 | -388.9297 | -574.511 | 0 | 0 | 0 | 0 | 0 | -4783.0859 | 0 | 0 | 21.7962 | 0 | 212.8951 | 0 | 0 | 44.6978 | -102.2842 | 0 | 253.7704 | -400.2352 | 0 | 21.7962 | 0 | 0 | 0 | 110.7195 | 0 | 0 | -393.0555 | 0 | 322.9805 | -2599.9121 | 0 | 0 | 0 | 0 | 114.7224 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | 0 | -29909.4475 | 0 | 0 | 0 | 0 | 0 | 0 | -1434.8193 | 0 | 0 | -3149.5363 | -1857.4675 | -171.7778 | -377.9616 | -566.4784 | 0 | 0 | 0 | 0 | 0 | -4281.8306 | 0 | 0 | 12.5235 | 0 | 177.9042 | 0 | 0 | 25.6277 | -51.03 | 0 | 212.5099 | -289.4441 | 0 | 12.5234 | 0 | 0 | 0 | 92.1863 | 0 | 0 | -266.7234 | 0 | 270.4672 | -735.5206 | 0 | 0 | 0 | 0 | 95.8947 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | 0 | -29978.9861 | 0 | 0 | 0 | 0 | 0 | 0 | -1676.6941 | 0 | 0 | -3328.2228 | -1908.5208 | -161.2606 | -370.9193 | -561.5367 | 0 | 0 | 0 | 0 | 0 | -4366.7108 | 0 | 0 | 5.4415 | 0 | 141.5006 | 0 | 0 | 11.1219 | -11.1935 | 0 | 169.2298 | -190.3541 | 0 | 5.4415 | 0 | 0 | 0 | 73.2567 | 0 | 0 | -336.0315 | 0 | 215.3834 | 97.084 | 0 | 0 | 0 | 0 | 76.3839 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | 0 | -30171.5743 | 0 | 0 | 0 | 0 | 0 | 0 | -1935.9749 | 0 | 0 | -2556.9579 | -1688.1593 | -144.5222 | -359.2719 | -552.866 | 0 | 0 | 0 | 0 | 0 | -3766.4762 | 0 | 0 | 1.319 | 0 | 107.9937 | 0 | 0 | 2.7011 | 17.3467 | 0 | 128.91 | -289.0773 | 0 | 1.319 | 0 | 0 | 0 | 55.8241 | 0 | 0 | -189.177 | 0 | 164.0673 | -679.6963 | 0 | 0 | 0 | 0 | 58.1362 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | 0 | -30124.0366 | 0 | 0 | 0 | 0 | 0 | 0 | -1953.12 | 0 | 0 | -1007.6826 | -1245.5093 | -119.7644 | -341.4564 | -538.9956 | 0 | 0 | 0 | 0 | 0 | -3493.0702 | 0 | 0 | 0 | 0 | 77.5757 | 0 | 0 | 0 | -28.3658 | 0 | 92.5657 | -156.9164 | 0 | 0 | 0 | 0 | 0 | 31.9594 | 0 | 0 | -283.6515 | 0 | 117.8109 | -1658.0039 | 0 | 0 | 0 | 0 | 41.744 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | 0 | -30415.3382 | 0 | 0 | 0 | 0 | 0 | 0 | -2224.9465 | 0 | 0 | -47.0136 | -971.0324 | -121.0354 | -343.854 | -542.4167 | 0 | 0 | 0 | 0 | 0 | -7265.1677 | 0 | 0 | 0 | 0 | 49.2022 | 0 | 0 | 0 | 87.5248 | 0 | 58.7112 | 361.7796 | 0 | 0 | 0 | 0 | 0 | 15.2445 | 0 | 0 | 212.5601 | 0 | 74.7234 | 930.2903 | 0 | 0 | 0 | 0 | 26.4982 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | 0 | -30552.1848 | 0 | 0 | 0 | 0 | 0 | 0 | -2274.05 | 0 | 0 | 208.6627 | -897.982 | -101.1915 | -329.7749 | -531.6329 | 0 | 0 | 0 | 0 | 0 | -6427.4382 | 0 | 0 | 0 | 0 | 27.5549 | 0 | 0 | 0 | 50.2668 | 0 | 32.8739 | 302.7658 | 0 | 0 | 0 | 0 | 0 | 5.6865 | 0 | 0 | 122.0764 | 0 | 41.8395 | 778.5406 | 0 | 0 | 0 | 0 | 14.8296 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | 0 | -30563.29 | 0 | 0 | 0 | 0 | 0 | 0 | -2527.3417 | 0 | 0 | 1653.862 | -485.068 | -75.8384 | -311.5766 | -517.5446 | 0 | 0 | 0 | 0 | 0 | -5297.2545 | 0 | 0 | 0 | 0 | 11.9269 | 0 | 0 | 0 | 22.1829 | 0 | 14.2331 | 244.9448 | 0 | 0 | 0 | 0 | 0 | 1.2271 | 0 | 0 | 53.8727 | 0 | 18.1149 | 629.8581 | 0 | 0 | 0 | 0 | 6.4102 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | 0 | -30696.6734 | 0 | 0 | 0 | 0 | 0 | 0 | -2563.0598 | 0 | 0 | 2577.161 | -221.2682 | -59.2276 | -300.2025 | -509.2538 | 0 | 0 | 0 | 0 | 0 | -5050.2011 | 0 | 0 | 0 | 0 | 2.6531 | 0 | 0 | 0 | 5.3652 | 0 | 3.1669 | 186.2149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.0297 | 0 | 4.0306 | 478.8384 | 0 | 0 | 0 | 0 | 1.4278 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | 0 | -30901.185 | 0 | 0 | 0 | 0 | 0 | 0 | -2836.9331 | 0 | 0 | 4198.0958 | 241.856 | -48.6365 | -293.5915 | -505.1915 | 0 | 0 | 0 | 0 | 0 | -3956.3629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 131.2481 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 337.4951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | 0 | -31261.3687 | 0 | 0 | 0 | 0 | 0 | 0 | -2929.7951 | 0 | 0 | 3446.3998 | 27.0857 | -42.3164 | -290.0245 | -503.4183 | 0 | 0 | 0 | 0 | 0 | -4147.5339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.7404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215.3325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | 0 | -31443.3599 | 0 | 0 | 0 | 0 | 0 | 0 | -3232.1102 | 0 | 0 | 4619.5377 | 362.268 | -23.2228 | -276.841 | -493.7021 | 0 | 0 | 0 | 0 | 0 | -5254.685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.8163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.3848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | 0 | -31698.3775 | 0 | 0 | 0 | 0 | 0 | 0 | -3569.1026 | 0 | 0 | 4966.1779 | 461.308 | -15.1579 | -272.1401 | -491.2083 | 0 | 0 | 0 | 0 | 0 | -4181.9419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.8538 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.0526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | 0 | -31871.5129 | 0 | 0 | 0 | 0 | 0 | 0 | -3620.9942 | 0 | 0 | 7714.9243 | 1246.6641 | 0 | -250.2339 | -474.3427 | 0 | 0 | 0 | 0 | 0 | -2210.2564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5086 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | 0 | -32059.8465 | 0 | 0 | 0 | 0 | 0 | 0 | -3997.1491 | 0 | 0 | 6995.9973 | 1041.2564 | 0 | 0 | -468.9431 | 0 | 0 | 0 | 0 | 0 | -1377.3599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | 0 | -32235.5744 | 0 | 0 | 0 | 0 | 0 | 0 | -4366.4782 | 0 | 0 | 8214.0845 | 1389.2813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.8347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | 0 | -32345.8277 | 0 | 0 | 0 | 0 | 0 | 0 | -4744.6035 | 0 | 0 | 9460.708 | 1745.4595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1193.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | 0 | -32528.4632 | 0 | 0 | 0 | 0 | 0 | 0 | -5152.815 | 0 | 0 | 11823.5752 | 2420.5644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3722.3281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | 0 | -32697.5963 | 0 | 0 | 0 | 0 | 0 | 0 | -5134.6427 | 0 | 0 | 10972.9601 | 2177.5315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4401.2442 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Planning Period | 0 | 0 | 0 | 0 | -147778.7953 | 0 | 0 | 0 | 0 | 0 | -10285.6104 | -15850.022 | 0 | 0 | -10182.2042 | -15583.5012 | -630.1761 | -1540.0422 | -2251.0355 | 0 | 0 | 0 | 0 | 0 | -20171.0846 | 0 | 0 | -17.1563 | 0 | -803.2451 | 0 | 0 | -104.208 | -98.9918 | 0 | -472.0039 | -385.8029 | 0 | -65.3873 | 0 | 0 | 0 | 272.7785 | 0 | 0 | -698.5854 | 0 | -1591.9651 | -2483.263 | 0 | 0 | 0 | 0 | 190.4482 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | 0 | -58088.8997 | 0 | 0 | 0 | 0 | 0 | 0 | -9121.9472 | 0 | 0 | 19494.0073 | 3868.4926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7819.0283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | 0 | -205867.695 | 0 | 0 | 0 | 0 | 0 | -10285.6104 | -24971.9691 | 0 | 0 | 9311.8031 | -11715.0086 | -630.1761 | -1540.0422 | -2251.0355 | 0 | 0 | 0 | 0 | 0 | -12352.0563 | 0 | 0 | -17.1563 | 0 | -803.2451 | 0 | 0 | -104.208 | -98.9918 | 0 | -472.0039 | -385.8029 | 0 | -65.3873 | 0 | 0 | 0 | 272.7785 | 0 | 0 | -698.5854 | 0 | -1591.9651 | -2483.263 | 0 | 0 | 0 | 0 | 190.4482 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | System NPV | -266559172.3155
|  |  |  | Log File | 268339058.27
|  |  |  | Difference | 1779885.9545 | 0.6633%

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0