## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Low Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 0.71804 | 0 | 0 | 0 | 0 | 150 | 1090.6733 | -141.1961 | -5.4107 | 14.2572 | 10.312 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.3818 | 1.022 | 25.856 | 0 | 24.6 | 100 | 1097.4638 | -141.4334 | -5.4316 | 20.8104 | 10.9743 | 50.5988 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 2.0115 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1078.7063 | -138.4928 | -5.1726 | 4.9935 | 9.3763 | 202.3953 | 200 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 1.8714 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1077.4532 | -135.6776 | -4.9233 | 6.5556 | 9.5365 | 202.3953 | 200 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 1.7055 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1076.1068 | -133.1769 | -4.7008 | 7.7099 | 9.6556 | 202.3953 | 200 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 1.5213 | 2.044 | 103.424 | 0 | 24.6 | 0 | 1075.3007 | -131.7449 | -4.5729 | 8.3357 | 9.7206 | 202.3953 | 200 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 1.3267 | 2.044 | 103.424 | 0 | 24.6 | 0 | 1073.8477 | -130.8116 | -4.4893 | 7.8161 | 9.6682 | 202.3953 | 200 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 1.1117 | 2.555 | 103.424 | 0 | 24.6 | 0 | 1072.7706 | -130.9359 | -4.5005 | 6.6148 | 9.5455 | 202.3953 | 200 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 3.1512 | 3.066 | 155.136 | 0 | 24.6 | 0 | 1125.7399 | -129.9619 | -4.4131 | 60.558 | 15.0595 | 303.593 | 200 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4055 | 5.7286 | 3.577 | 232.704 | 0 | 24.6 | 0 | 1065.3351 | -391.8251 | -31.179 | 0.19006 | 8.8894 | 455.3894 | 200 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4088 | 6.58 | 3.577 | 232.704 | 0 | 24.6 | 0 | 1065.1899 | -391.86 | -31.1813 | 0.0098577 | 8.871 | 455.3894 | 200 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5949 | 6.7371 | 4.088 | 232.704 | 0 | 24.6 | 0 | 1065.044 | -391.7211 | -31.1723 | 0.0028857 | 8.8703 | 455.3894 | 200 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91312 | 5.894 | 4.599 | 232.704 | 2.7798 | 24.6 | 0 | 1066.8099 | -392.4548 | -31.2197 | 1.0351 | 8.9757 | 455.3894 | 200 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43902 | 4.8353 | 4.599 | 232.704 | 7.0496 | 24.6 | 0 | 1069.5469 | -392.8648 | -31.2461 | 3.3622 | 9.2133 | 455.3894 | 200 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15491 | 3.8259 | 5.11 | 232.704 | 7.0496 | 24.6 | 0 | 1068.7644 | -393.9875 | -31.3184 | 1.4569 | 9.0186 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 2.8087 | 5.11 | 232.704 | 7.0496 | 24.6 | 0 | 1067.6417 | -393.6911 | -31.2994 | 0.63061 | 8.9343 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 2.2679 | 5.621 | 232.704 | 7.0496 | 24.6 | 0 | 1067.583 | -394.2481 | -31.3352 | 0.014873 | 8.8715 | 455.3894 | 200 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 1.5 | 5.621 | 232.704 | 10.3337 | 24.6 | 0 | 1070.0831 | -394.733 | -31.3664 | 2.0301 | 9.0769 | 455.3894 | 200 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97755 | 6.132 | 232.704 | 10.3337 | 24.6 | 0 | 1070.0673 | -396.5526 | -31.4831 | 0.19465 | 8.8898 | 455.3894 | 200 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61697 | 6.132 | 232.704 | 11.5115 | 24.6 | 0 | 1070.8845 | -396.7395 | -31.4951 | 0.82499 | 8.9539 | 455.3894 | 200 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33603 | 6.643 | 232.704 | 11.5115 | 24.6 | 0 | 1071.1145 | -397.2329 | -31.5266 | 0.56159 | 8.9271 | 455.3894 | 200 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14061 | 7.154 | 232.704 | 11.5115 | 24.6 | 0 | 1071.4301 | -397.4483 | -31.5404 | 0.6618 | 8.9373 | 455.3894 | 200 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030549 | 7.154 | 232.704 | 11.5115 | 24.6 | 0 | 1071.32 | -397.9501 | -31.5725 | 0.049921 | 8.8751 | 455.3894 | 200 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 7.665 | 232.704 | 11.5115 | 24.6 | 0 | 1072.0326 | -398.6553 | -31.6175 | 0.05728 | 8.8758 | 455.3894 | 200 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 8.176 | 232.704 | 11.5115 | 24.6 | 0 | 1072.5436 | -398.5922 | -31.6135 | 0.63137 | 8.9341 | 455.3894 | 200 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 8.687 | 232.704 | 11.5115 | 24.6 | 0 | 1073.0546 | -398.1677 | -31.5864 | 1.567 | 9.0292 | 455.3894 | 200 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 9.198 | 232.704 | 11.5115 | 24.6 | 0 | 1073.5656 | -398.0043 | -31.576 | 2.2413 | 9.0978 | 455.3894 | 200 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 9.198 | 232.704 | 8.7317 | 24.6 | 0 | 1070.7858 | -397.1769 | -31.5231 | 0.28888 | 8.8994 | 455.3894 | 200 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38583 | 1.4311 | 0 | 0.17889 | 0 | 0 | 0.77165 | 1.61 | 0.35778 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 1.022 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.51176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73566 | 2.6733 | 0 | 0.32049 | 0 | 0 | 1.8391 | 3.1745 | 0.64098 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 103.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.74846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3397 | 3.7902 | 0 | 0.40934 | 0 | 0 | 2.6794 | 2.8805 | 0.81868 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 103.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.6758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1404 | 0.055212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2082 | 3.4057 | 0.17808 | 0.33603 | 0 | 0 | 2.4163 | 2.5884 | 0.67206 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 103.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.59643 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0065 | 0.10261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0731 | 3.0058 | 0.33095 | 0.2613 | 0 | 0 | 2.1462 | 2.2844 | 0.52261 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 103.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.51371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86688 | 0.14067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95098 | 2.6174 | 0.45872 | 0.19104 | 0 | 0 | 1.902 | 1.9892 | 0.38208 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 103.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.43094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72722 | 0.16854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80855 | 2.2048 | 0.55189 | 0.12499 | 0 | 0 | 1.6171 | 1.6757 | 0.24997 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 103.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.35116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.59258 | 0.168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65857 | 1.7895 | 0.52589 | 0.069601 | 0 | 0 | 1.3171 | 1.36 | 0.1392 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 155.136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.27479 | 0 | 0 | 0.26201 | 0 | 0 | 0.48867 | 0 | 0 | 0 | 0 | 0.46371 | 0.1607 | 0 | 0 | 0.52401 | 0 | 0 | 0.97734 | 0 | 0 | 0.50793 | 1.3844 | 0.51815 | 0.02938 | 0 | 0 | 1.0159 | 1.0522 | 0.05876 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.20454 | 0 | 0 | 0.47037 | 0 | 0 | 0.90813 | 0 | 0 | 0 | 0 | 0.34516 | 0.13531 | 0 | 0 | 0.94075 | 0 | 0 | 2.7244 | 0 | 0 | 0.37974 | 1.0284 | 0.43541 | 0.0069451 | 0 | 0 | 0.75949 | 0.7816 | 0.01389 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.097527 | 0 | 0 | 0.61215 | 0 | 0 | 1.2478 | 0 | 0 | 0 | 0 | 0.16846 | 0.11027 | 0 | 0 | 1.2243 | 0 | 0 | 3.1195 | 0 | 0 | 0.26604 | 0.7135 | 0.35497 | 0 | 0 | 0 | 0.53208 | 0.54226 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0.033598 | 0 | 0 | 0.60387 | 0 | 0 | 1.4716 | 0 | 0 | 0 | 0 | 0.055996 | 0.086211 | 0 | 0 | 1.3587 | 0 | 0 | 3.1271 | 0 | 0 | 0.17187 | 0.4543 | 0.27978 | 0 | 0 | 0 | 0.34373 | 0.34527 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 232.704 | 0 | 0 | 0 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.52647 | 0 | 0 | 1.318 | 0 | 0 | 0 | 0 | 0 | 0.064047 | 0 | 0 | 1.1846 | 0 | 0 | 2.8009 | 0 | 0 | 0.092242 | 0.24477 | 0.20561 | 0 | 0 | 0 | 0.18448 | 0.18602 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 232.704 | 0 | 4.2698 | 0 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38372 | 0 | 0 | 1.1369 | 0 | 0 | 0 | 0 | 0 | 0.035497 | 0 | 0 | 0.86337 | 0 | 0 | 2.4158 | 0 | 0 | 0.038809 | 0.10237 | 0.14243 | 0 | 0 | 0 | 0.077618 | 0.077801 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 232.704 | 0 | 4.2698 | 0 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25279 | 0 | 0 | 0.956 | 0 | 0 | 0 | 0 | 0 | 0.016802 | 0 | 0 | 0.56878 | 0 | 0 | 2.0315 | 0 | 0 | 0.00853 | 0.022297 | 0.090078 | 0 | 0 | 0 | 0.01706 | 0.016945 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 232.704 | 0 | 4.2698 | 0 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12696 | 0 | 0 | 0.76478 | 0 | 0 | 0 | 0 | 0 | 0.0061011 | 0 | 0 | 0.28566 | 0 | 0 | 1.6252 | 0 | 0 | 0 | 0 | 0.049478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 232.704 | 0 | 4.2698 | 0 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22793 | 0 | 0 | 0.60862 | 0 | 0 | 0 | 0 | 0 | 0.0012763 | 0 | 0 | 0.13676 | 0 | 0 | 1.2933 | 0 | 0 | 0 | 0 | 0.020478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054166 | 0 | 0 | 0.45226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0325 | 0 | 0 | 0.96105 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.044996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.095618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0097756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020773 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0.23212 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0.23212 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0.23212 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0.23212 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 2.7798 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0.23212 | 0 | 232.704 | 0 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 1.1778 | 0 | 12.3 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6129.2625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -159.1987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -352.4255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -75.4177 | -658.2437 | 0 | 14.0893 | 0 | 0 | -254.9344 | -1232.1645 | 15.8103 | 0
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3838.34 | -377.6826 | 0 | 0 | -2441.4957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4485.8638 | -5186.4606 | 0 | 0 | 0 | 0 | -23.9966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -171.7295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -44.255 | -413.1571 | 0 | 38.1412 | 0 | 0 | -306.7911 | -1059.3946 | 64.9449 | 0
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -579.1862 | 0 | 0 | -8767.2991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4330.4412 | -5028.0648 | 0 | 0 | 0 | 0 | 72.3936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -81.0915 | -255.0793 | 0 | 56.1547 | 0 | 0 | -207.3498 | 466.4839 | 102.346 | 0
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -591.8615 | 0 | 0 | -8722.4508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4190.0197 | -4922.1556 | 0 | 0 | 0 | 0 | 353.0815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 595.825 | -45.4186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95.0993 | 570.0372 | -86.034 | 56.2437 | 0 | 0 | 190.1987 | 433.2283 | 112.4873 | 0
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -608.0968 | 0 | 0 | -8498.8985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3985.9781 | -4729.6661 | 0 | 0 | 0 | 0 | 319.5376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 539.2197 | -15.3463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.8407 | 515.5743 | -52.9224 | 44.8206 | 0 | 0 | 171.6815 | 391.8365 | 89.6412 | 0
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -826.574 | 0 | 0 | -8138.7907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3824.3822 | -4590.2782 | 0 | 0 | 0 | 0 | 284.8374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480.6631 | 12.3453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.6555 | 459.8958 | -21.9128 | 33.5677 | 0 | 0 | 153.311 | 349.5208 | 67.1353 | 0
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -787.0597 | 0 | 0 | -4113.6007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1278.7157 | -2162.7067 | 0 | 0 | 0 | 0 | 304.8674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 514.4637 | 58.9618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82.0555 | 491.8359 | 29.1395 | 27.8808 | 0 | 0 | 164.1111 | 373.7953 | 55.7615 | 0
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1011.1505 | 0 | 0 | -4458.8653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1324.5727 | -2237.2339 | 0 | 0 | 0 | 0 | 248.9999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 420.1874 | 64.9502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.9681 | 401.6556 | 33.4634 | 15.6222 | 0 | 0 | 133.9362 | 305.2582 | 31.2444 | 0
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1245.2291 | 0 | 0 | -6970.1989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1422.943 | -2347.6123 | 0 | 0 | 0 | 0 | 196.6739 | 0 | 0 | -165.2927 | 0 | 0 | -525.6885 | 0 | 0 | 0 | 0 | 331.8872 | 115.0163 | 0 | 0 | -537.9913 | 0 | 0 | -1554.6475 | 0 | 0 | 52.8911 | 317.5958 | 118.8687 | 6.74 | 0 | 0 | 105.7822 | 241.3728 | 13.48 | 0
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | 0 | -30060.1729 | 0 | 0 | 0 | 0 | 0 | 0 | -1484.449 | 0 | 0 | -10075.6896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1370.2662 | -2300.3437 | 0 | 0 | 0 | 0 | 147.7277 | 0 | 0 | -112.4958 | 0 | 0 | -421.2365 | 0 | 0 | 0 | 0 | 249.2905 | 97.7257 | 0 | 0 | -413.4786 | 0 | 0 | -2794.4011 | 0 | 0 | 39.8584 | 238.7949 | 101.1002 | 1.6126 | 0 | 0 | 79.7167 | 181.4842 | 3.2253 | 0
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | 0 | -30169.283 | 0 | 0 | 0 | 0 | 0 | 0 | -1521.2557 | 0 | 0 | -8485.8949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -922.5327 | -1838.7787 | 0 | 0 | 0 | 0 | 71.7622 | 0 | 0 | -65.1614 | 0 | 0 | -320.5394 | 0 | 0 | 0 | 0 | 123.953 | 81.1403 | 0 | 0 | -294.9863 | 0 | 0 | -598.4343 | 0 | 0 | 28.2085 | 168.8751 | 84.0154 | 0 | 0 | 0 | 56.417 | 128.3451 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | 0 | -30255.7544 | 0 | 0 | 0 | 0 | 0 | 0 | -1779.3225 | 0 | 0 | -8791.0748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1027.7349 | -1986.0605 | 0 | 0 | 0 | 0 | 25.0706 | 0 | 0 | -27.2998 | 0 | 0 | -229.0489 | 0 | 0 | 0 | 0 | 41.7844 | 64.3314 | 0 | 0 | -372.2707 | 0 | 0 | -136.5143 | 0 | 0 | 18.1539 | 108.3879 | 66.7497 | 0 | 0 | 0 | 36.3079 | 82.3748 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | 0 | -30367.2306 | 0 | 0 | 0 | 0 | 0 | 0 | -2049.3695 | 0 | 0 | -7697.3111 | 0 | 0 | 0 | -687.7541 | 0 | 0 | 0 | 0 | 0 | -495.218 | -1468.9955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.0672 | 0 | 0 | 239.8712 | 0 | 0 | 0 | 0 | 0 | 49.1355 | 0 | 0 | 200.4013 | 0 | 0 | 509.7262 | 0 | 0 | 10.1828 | 60.7112 | 50.9974 | 0 | 0 | 0 | 20.3657 | 46.1405 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | 0 | -30421.6972 | 0 | 0 | 0 | 0 | 0 | 0 | -2079.3323 | 0 | 0 | -6421.9816 | 0 | -357.7153 | 0 | -680.2007 | 0 | 0 | 0 | 0 | 0 | -357.2465 | -1347.1475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.342 | 0 | 0 | 212.7303 | 0 | 0 | 0 | 0 | 0 | 27.9248 | 0 | 0 | 149.2695 | 0 | 0 | 452.0519 | 0 | 0 | 4.4051 | 26.1078 | 36.3238 | 0 | 0 | 0 | 8.8103 | 19.8419 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | 0 | -30574.361 | 0 | 0 | 0 | 0 | 0 | 0 | -2350.1 | 0 | 0 | -4581.7139 | 0 | -349.5654 | 0 | -677.4885 | 0 | 0 | 0 | 0 | 0 | -7.7926 | -983.4229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.0817 | 0 | 0 | 182.0902 | 0 | 0 | 0 | 0 | 0 | 13.4686 | 0 | 0 | 99.1838 | 0 | 0 | 386.9418 | 0 | 0 | 0.97542 | 5.7795 | 23.3493 | 0 | 0 | 0 | 1.9508 | 4.3924 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | 0 | -30658.4586 | 0 | 0 | 0 | 0 | 0 | 0 | -2403.1107 | 0 | 0 | -4317.6315 | 0 | -332.9268 | 0 | -668.7914 | 0 | 0 | 0 | 0 | 0 | 320.8941 | -703.577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.3023 | 0 | 0 | 152.2765 | 0 | 0 | 0 | 0 | 0 | 5.0184 | 0 | 0 | 56.9301 | 0 | 0 | 323.5875 | 0 | 0 | 0 | 0 | 13.066 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | 0 | -30690.8043 | 0 | 0 | 0 | 0 | 0 | 0 | -2678.0367 | 0 | 0 | -2854.7856 | 0 | -314.1092 | 0 | -658.958 | 0 | 0 | 0 | 0 | 0 | 771.865 | -279.094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -104.7176 | 0 | 0 | 122.801 | 0 | 0 | 0 | 0 | 0 | 1.0793 | 0 | 0 | 25.0367 | 0 | 0 | 260.9522 | 0 | 0 | 0 | 0 | 5.6297 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | 0 | -30867.9541 | 0 | 0 | 0 | 0 | 0 | 0 | -2724.9214 | 0 | 0 | -2183.4868 | 0 | -305.2028 | -591.8187 | -655.6831 | 0 | 0 | 0 | 0 | 0 | 784.2071 | -284.1108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.035 | 0 | 0 | 92.8281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.021 | 0 | 0 | 197.2598 | 0 | 0 | 0 | 0 | 1.246 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | 0 | -30729.1646 | 0 | 0 | 0 | 0 | 0 | 0 | -2972.0272 | 0 | 0 | 1529.732 | 0 | -273.2748 | -568.7966 | -637.7296 | 0 | 0 | 0 | 0 | 0 | 1547.5723 | 495.9295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.2793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 142.9684 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | 0 | -30775.7547 | 0 | 0 | 0 | 0 | 0 | 0 | -3031.302 | 0 | 0 | 2056.801 | 0 | -251.6836 | -553.4839 | -626.0144 | 0 | 0 | 0 | -478.0816 | 0 | 1609.1754 | 487.0593 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.7819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.0366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | 0 | -31124.1265 | 0 | 0 | 0 | 0 | 0 | 0 | -3359.1507 | 0 | 0 | 2910.0231 | 0 | -241.3561 | -547.0428 | -622.0053 | 0 | 0 | 0 | -478.0542 | 0 | 2218.3312 | 1077.4282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | 0 | -31450.1006 | 0 | 0 | 0 | 0 | 0 | 0 | -3716.4048 | 0 | 0 | 2958.091 | 0 | -241.4218 | -548.5955 | -624.8048 | 0 | 0 | 0 | -480.9476 | 0 | 2394.5268 | 1247.1194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.7284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | 0 | -31689.5891 | 0 | 0 | 0 | 0 | 0 | 0 | -3788.5757 | 0 | 0 | 5627.6486 | 0 | -220.9052 | -534.542 | -614.5861 | 0 | 0 | 0 | -478.5671 | 0 | 2893.5752 | 1750.3109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | 0 | -31855.2709 | 0 | 0 | 0 | 0 | 0 | 0 | -4160.133 | -562.9742 | 0 | 5408.3487 | 0 | -198.9497 | -519.0578 | -602.8795 | 0 | 0 | 0 | -475.2073 | 0 | 3360.8008 | 2148.9812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | 0 | -32069.3037 | 0 | 0 | 0 | 0 | 0 | 0 | -4541.8095 | -195.1676 | 0 | 6908.1019 | 0 | -179.5947 | -505.8235 | -593.2476 | 0 | 0 | 0 | -472.9774 | 0 | 3856.6737 | 2621.0254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | 0 | -32200.3631 | 0 | 0 | 0 | 0 | 0 | 0 | -4957.6826 | -199.0748 | 0 | 7712.4865 | 0 | -170.125 | -500.1923 | -590.115 | 0 | 0 | 0 | -473.5371 | 0 | 3910.3251 | 2652.9588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | 0 | -32361.1964 | 0 | 0 | 0 | 0 | 0 | 0 | -5369.4518 | -203.6123 | 0 | 10850.5719 | 0 | -148.9205 | -485.8031 | -579.7995 | 0 | 0 | 0 | -471.3158 | 0 | 4755.4518 | 3519.6015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | 0 | -32544.5662 | 0 | 0 | 0 | 0 | 0 | 0 | -5358.3703 | -203.056 | 0 | 9693.9033 | 0 | -153.5006 | -489.1332 | 0 | 0 | 0 | 0 | -472.213 | 0 | 4878.5508 | 3587.824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 2020-2024 |  |  |  |  | 0 | 0 | [5 empty] | -697.1885 |  |  | -8066.7088 | 0 | [8 empty] | -6474.5197 | -7500.7974
[5 empty] | 2020-2029 |  |  |  |  | 0 | 0 | [5 empty] | -2871.8878 |  |  | -28228.1227 | 0 | [8 empty] | -15265.0036 | -18610.2125
[5 empty] | 2020-2034 |  |  |  |  | -47820.8902 | 0 | [5 empty] | -6134.3986 |  |  | -45462.2626 | 0 | [8 empty] | -17476.6067 | -22748.5005
[5 empty] | Planning Period | 0 | 0 | 0 | 0 | -147935.0483 | 0 | 0 | 0 | 0 | 0 | -7899.1754 | -16633.7794 | -206.6156 | 0 | -42807.3053 | 0 | -865.885 | -1083.6023 | -2220.1156 | 0 | 0 | 0 | -726.3238 | 0 | -11956.6044 | -20770.7864 | 0 | 0 | 0 | 0 | 983.4433 | 0 | 0 | -114.7698 | 0 | 0 | -303.0322 | 0 | 0 | 0 | 0 | 1423.4804 | 218.9758 | 0 | 0 | -519.1356 | 0 | 0 | -1512.8535 | 0 | 0 | 151.5419 | 792.8046 | 133.0713 | 191.1517 | 0 | 0 | 20.6898 | -90.6807 | 356.5757 | 0
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | 0 | -57817.0341 | 0 | 0 | 0 | 0 | 0 | 0 | -9519.4103 | -360.739 | 0 | 17221.6994 | 0 | -272.7014 | -868.9694 | 0 | 0 | 0 | 0 | -838.9098 | 0 | 8666.9871 | 6373.9471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | 0 | -205752.0824 | 0 | 0 | 0 | 0 | 0 | -7899.1754 | -26153.1897 | -567.3547 | 0 | -25585.6059 | 0 | -1138.5864 | -1952.5717 | -2220.1156 | 0 | 0 | 0 | -1565.2337 | 0 | -3289.6173 | -14396.8393 | 0 | 0 | 0 | 0 | 983.4433 | 0 | 0 | -114.7698 | 0 | 0 | -303.0322 | 0 | 0 | 0 | 0 | 1423.4804 | 218.9758 | 0 | 0 | -519.1356 | 0 | 0 | -1512.8535 | 0 | 0 | 151.5419 | 792.8046 | 133.0713 | 191.1517 | 0 | 0 | 20.6898 | -90.6807 | 356.5757 | 0
|  |  |  | System NPV | -288789109.3332
|  |  |  | Log File | 289341351.76
|  |  |  | Difference | 552242.4268 |  | 0.1909% | Results are different due to incorrect reporting of Annualized Build Costs in the Net Profits for Wind and Solar additions that retire before the end of the Planning Period

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0