## Prfrd112619
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Preferred Plan with ST PPA Allowed 2022-2024 and Limited EE Available
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9678 | 0.27617 | 0 | 0 | 0 | 0 | 150 | 1087.4639 | -141.1961 | -5.4107 | 11.0479 | 9.9874 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6348 | 0.51176 | 1.022 | 51.712 | 0 | 0 | 100 | 1092.1005 | -141.4334 | -5.4316 | 15.4471 | 10.432 | 101.1977 | 0 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0182 | 0.74846 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1076.0694 | -138.4928 | -5.1726 | 2.3567 | 9.109 | 252.9941 | 0 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5919 | 0.73101 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1075.6257 | -135.6776 | -4.9233 | 4.7281 | 9.3507 | 252.9941 | 0 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1206 | 0.69904 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1075.1225 | -133.1769 | -4.7008 | 6.7256 | 9.5553 | 252.9941 | 0 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6492 | 0.65438 | 2.044 | 129.28 | 4.2698 | 0 | 0 | 1075.1174 | -131.7449 | -4.5729 | 8.1525 | 9.7019 | 252.9941 | 0 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1317 | 0.59949 | 2.044 | 129.28 | 4.2698 | 12.3 | 0 | 1086.845 | -130.8116 | -4.4893 | 20.8134 | 10.9956 | 252.9941 | 100 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5242 | 0.51916 | 2.555 | 129.28 | 4.2698 | 12.3 | 0 | 1086.6681 | -130.9359 | -4.5005 | 20.5123 | 10.9646 | 252.9941 | 100 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9907 | 1.1862 | 3.066 | 129.28 | 4.2698 | 24.6 | 0 | 1099.6127 | -129.9619 | -4.4131 | 34.4307 | 12.3891 | 252.9941 | 200 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4847 | 1.4832 | 3.577 | 232.704 | 7.5539 | 24.6 | 0 | 1066.7227 | -391.8251 | -31.179 | 1.5777 | 9.0313 | 455.3894 | 200 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0685 | 1.6597 | 3.577 | 232.704 | 7.5539 | 24.6 | 0 | 1066.483 | -391.86 | -31.1813 | 1.303 | 9.0032 | 455.3894 | 200 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73408 | 1.3745 | 4.088 | 232.704 | 7.5539 | 24.6 | 0 | 1066.3744 | -391.7211 | -31.1723 | 1.3333 | 9.0063 | 455.3894 | 200 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45037 | 1.349 | 4.599 | 232.704 | 7.5539 | 24.6 | 0 | 1066.5762 | -392.4548 | -31.2197 | 0.80139 | 8.9519 | 455.3894 | 200 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2448 | 1.5525 | 4.599 | 232.704 | 7.5539 | 24.6 | 0 | 1066.5742 | -392.8648 | -31.2461 | 0.38945 | 8.9098 | 455.3894 | 200 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11237 | 1.9426 | 5.11 | 232.704 | 7.5539 | 24.6 | 0 | 1067.3429 | -393.9875 | -31.3184 | 0.035384 | 8.8736 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 1.694 | 5.11 | 232.704 | 7.5539 | 24.6 | 0 | 1067.0314 | -393.6911 | -31.2994 | 0.020238 | 8.8721 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 1.264 | 5.621 | 232.704 | 7.5539 | 36.9 | 0 | 1079.3834 | -394.2481 | -31.3352 | 11.8153 | 10.0749 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.87687 | 5.621 | 232.704 | 3.2841 | 36.9 | 0 | 1074.7104 | -394.733 | -31.3664 | 6.6574 | 9.5486 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58653 | 6.132 | 232.704 | 3.2841 | 36.9 | 0 | 1074.9266 | -396.5526 | -31.4831 | 5.054 | 9.3843 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37018 | 6.132 | 232.704 | 3.2841 | 36.9 | 0 | 1074.7103 | -396.7395 | -31.4951 | 4.6508 | 9.3432 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20162 | 6.643 | 232.704 | 3.2841 | 36.9 | 0 | 1075.0527 | -397.2329 | -31.5266 | 4.4998 | 9.3276 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084368 | 7.154 | 232.704 | 3.2841 | 36.9 | 0 | 1075.4465 | -397.4483 | -31.5404 | 4.6782 | 9.3456 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018329 | 7.154 | 232.704 | 3.2841 | 36.9 | 0 | 1075.3804 | -397.9501 | -31.5725 | 4.1103 | 9.2877 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 3.2841 | 36.9 | 0 | 1075.8731 | -398.6553 | -31.6175 | 3.8978 | 9.2659 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1073.1 | -398.5922 | -31.6135 | 1.1878 | 8.9906 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1073.611 | -398.1677 | -31.5864 | 2.1233 | 9.0857 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -398.0043 | -31.576 | 2.7977 | 9.1543 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -397.1769 | -31.5231 | 3.6251 | 9.2387 | 455.3894 | 300 | 2049

## Base
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.709 | 0 | 0 | 0 | 0 | 150 | 1091.6642 | -141.1961 | -5.4107 | 15.2482 | 10.4122 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 3.0536 | 1.022 | 0 | 4.2698 | 24.6 | 100 | 1077.5495 | -141.4334 | -5.4316 | 0.89607 | 8.9606 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5855 | 4.6811 | 1.533 | 77.568 | 4.2698 | 36.9 | 0 | 1073.7574 | -138.4928 | -5.1726 | 0.044655 | 8.8745 | 151.7965 | 300 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3033 | 4.8314 | 1.533 | 77.568 | 4.2698 | 36.9 | 0 | 1072.6255 | -135.6776 | -4.9233 | 1.7279 | 9.0457 | 151.7965 | 300 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9468 | 4.135 | 1.533 | 77.568 | 4.2698 | 36.9 | 0 | 1070.5727 | -133.1769 | -4.7008 | 2.1758 | 9.0917 | 151.7965 | 300 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.643 | 3.3351 | 2.044 | 77.568 | 4.2698 | 36.9 | 0 | 1068.9799 | -131.7449 | -4.5729 | 2.0149 | 9.0756 | 151.7965 | 300 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2031 | 3.1885 | 2.044 | 77.568 | 4.2698 | 36.9 | 0 | 1067.3935 | -130.8116 | -4.4893 | 1.3619 | 9.0091 | 151.7965 | 300 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6473 | 2.997 | 2.555 | 77.568 | 4.2698 | 36.9 | 0 | 1066.1571 | -130.9359 | -4.5005 | 0.0012125 | 8.8701 | 151.7965 | 300 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1758 | 2.5952 | 3.066 | 155.136 | 4.2698 | 36.9 | 0 | 1142.3628 | -129.9619 | -4.4131 | 77.1808 | 16.7585 | 303.593 | 300 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.858 | 1.9119 | 3.577 | 232.704 | 4.2698 | 36.9 | 0 | 1078.5407 | -391.8251 | -31.179 | 13.3956 | 10.2392 | 455.3894 | 300 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7228 | 1.2605 | 3.577 | 232.704 | 4.2698 | 36.9 | 0 | 1076.7541 | -391.86 | -31.1813 | 11.5741 | 10.053 | 455.3894 | 300 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7948 | 0.78964 | 4.088 | 232.704 | 4.2698 | 36.9 | 0 | 1075.8663 | -391.7211 | -31.1723 | 10.8252 | 9.9766 | 455.3894 | 300 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0208 | 0.48867 | 4.599 | 232.704 | 4.2698 | 36.9 | 0 | 1075.3023 | -392.4548 | -31.2197 | 9.5275 | 9.8432 | 455.3894 | 300 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48407 | 0.31459 | 4.599 | 232.704 | 4.2698 | 36.9 | 0 | 1074.5915 | -392.8648 | -31.2461 | 8.4067 | 9.7284 | 455.3894 | 300 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16472 | 0.1908 | 5.11 | 232.704 | 4.2698 | 36.9 | 0 | 1074.6593 | -393.9875 | -31.3184 | 7.3518 | 9.6199 | 455.3894 | 300 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.098576 | 5.11 | 232.704 | 4.2698 | 36.9 | 0 | 1074.4519 | -393.6911 | -31.2994 | 7.4407 | 9.6292 | 455.3894 | 300 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.040661 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1070.6061 | -394.2481 | -31.3352 | 3.038 | 9.1798 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.0085655 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1070.558 | -394.733 | -31.3664 | 2.505 | 9.1253 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1071.056 | -396.5526 | -31.4831 | 1.1834 | 8.9904 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1071.056 | -396.7395 | -31.4951 | 0.99652 | 8.9714 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1071.567 | -397.2329 | -31.5266 | 1.0141 | 8.9731 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1072.078 | -397.4483 | -31.5404 | 1.3097 | 9.0032 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1072.078 | -397.9501 | -31.5725 | 0.80787 | 8.9521 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1072.589 | -398.6553 | -31.6175 | 0.61366 | 8.9323 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1073.1 | -398.5922 | -31.6135 | 1.1878 | 8.9906 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1073.611 | -398.1677 | -31.5864 | 2.1233 | 9.0857 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -398.0043 | -31.576 | 2.7977 | 9.1543 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -397.1769 | -31.5231 | 3.6251 | 9.2387 | 455.3894 | 300 | 2049

## High
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 High Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 4.4011 | 0 | 0 | 0 | 0 | 150 | 1094.3563 | -141.1961 | -5.4107 | 17.9403 | 10.6845 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 6.5259 | 1.022 | 0 | 0 | 24.6 | 100 | 1076.7519 | -141.4334 | -5.4316 | 0.0985 | 8.88 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5855 | 6.6657 | 1.533 | 77.568 | 0 | 49.2 | 0 | 1083.7722 | -138.4928 | -5.1726 | 10.0594 | 9.89 | 151.7965 | 400 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3033 | 5.8187 | 1.533 | 77.568 | 0 | 49.2 | 0 | 1081.6429 | -135.6776 | -4.9233 | 10.7453 | 9.9624 | 151.7965 | 400 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9468 | 4.916 | 1.533 | 77.568 | 0 | 49.2 | 0 | 1079.3839 | -133.1769 | -4.7008 | 10.987 | 9.9896 | 151.7965 | 400 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.643 | 3.9332 | 2.044 | 77.568 | 0 | 49.2 | 0 | 1077.6082 | -131.7449 | -4.5729 | 10.6433 | 9.956 | 151.7965 | 400 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2031 | 3.0848 | 2.044 | 77.568 | 0 | 49.2 | 0 | 1075.3199 | -130.8116 | -4.4893 | 9.2883 | 9.8186 | 151.7965 | 400 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6473 | 2.303 | 2.555 | 77.568 | 0 | 49.2 | 0 | 1073.4933 | -130.9359 | -4.5005 | 7.3374 | 9.6193 | 151.7965 | 400 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1758 | 1.9255 | 3.066 | 155.136 | 0 | 49.2 | 0 | 1149.7233 | -129.9619 | -4.4131 | 84.5413 | 17.5108 | 303.593 | 400 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.858 | 1.3704 | 3.577 | 232.704 | 0 | 49.2 | 0 | 1086.0294 | -391.8251 | -31.179 | 20.8843 | 11.0046 | 455.3894 | 400 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7228 | 0.85433 | 3.577 | 232.704 | 0 | 49.2 | 0 | 1084.3781 | -391.86 | -31.1813 | 19.1981 | 10.8322 | 455.3894 | 400 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7948 | 0.49677 | 4.088 | 232.704 | 0 | 49.2 | 0 | 1083.6036 | -391.7211 | -31.1723 | 18.5625 | 10.7675 | 455.3894 | 400 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0208 | 0.28964 | 4.599 | 232.704 | 0 | 49.2 | 0 | 1083.1335 | -392.4548 | -31.2197 | 17.3586 | 10.6432 | 455.3894 | 400 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48407 | 0.17074 | 4.599 | 232.704 | 0 | 49.2 | 0 | 1082.4778 | -392.8648 | -31.2461 | 16.2931 | 10.5337 | 455.3894 | 400 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16472 | 0.088553 | 5.11 | 232.704 | 0 | 49.2 | 0 | 1082.5873 | -393.9875 | -31.3184 | 15.2798 | 10.4286 | 455.3894 | 400 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.037841 | 5.11 | 232.704 | 0 | 49.2 | 0 | 1082.4213 | -393.6911 | -31.2994 | 15.4102 | 10.4423 | 455.3894 | 400 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.016472 | 5.621 | 232.704 | 0 | 61.5 | 0 | 1095.182 | -394.2481 | -31.3352 | 27.6138 | 11.686 | 455.3894 | 500 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.0036111 | 5.621 | 232.704 | 0 | 61.5 | 0 | 1095.1531 | -394.733 | -31.3664 | 27.1001 | 11.6324 | 455.3894 | 500 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 73.8 | 0 | 1107.956 | -396.5526 | -31.4831 | 38.0834 | 12.7454 | 455.3894 | 600 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 73.8 | 0 | 1107.956 | -396.7395 | -31.4951 | 37.8965 | 12.7257 | 455.3894 | 600 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 73.8 | 0 | 1108.467 | -397.2329 | -31.5266 | 37.9141 | 12.7257 | 455.3894 | 600 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 73.8 | 0 | 1108.978 | -397.4483 | -31.5404 | 38.2097 | 12.755 | 455.3894 | 600 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 73.8 | 0 | 1108.978 | -397.9501 | -31.5725 | 37.7079 | 12.7021 | 455.3894 | 600 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 73.8 | 0 | 1109.489 | -398.6553 | -31.6175 | 37.5137 | 12.6799 | 455.3894 | 600 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 73.8 | 0 | 1110 | -398.5922 | -31.6135 | 38.0878 | 12.7384 | 455.3894 | 600 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 73.8 | 0 | 1110.511 | -398.1677 | -31.5864 | 39.0233 | 12.835 | 455.3894 | 600 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 73.8 | 0 | 1111.022 | -398.0043 | -31.576 | 39.6977 | 12.9042 | 455.3894 | 600 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 73.8 | 0 | 1111.022 | -397.1769 | -31.5231 | 40.5251 | 12.9914 | 455.3894 | 600 | 2049

## Low
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Low Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 0.71804 | 0 | 0 | 0 | 0 | 150 | 1090.6733 | -141.1961 | -5.4107 | 14.2572 | 10.312 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.3818 | 1.022 | 25.856 | 0 | 24.6 | 100 | 1097.4638 | -141.4334 | -5.4316 | 20.8104 | 10.9743 | 50.5988 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 2.0115 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1078.7063 | -138.4928 | -5.1726 | 4.9935 | 9.3763 | 202.3953 | 200 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 1.8714 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1077.4532 | -135.6776 | -4.9233 | 6.5556 | 9.5365 | 202.3953 | 200 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 1.7055 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1076.1068 | -133.1769 | -4.7008 | 7.7099 | 9.6556 | 202.3953 | 200 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 1.5213 | 2.044 | 103.424 | 0 | 24.6 | 0 | 1075.3007 | -131.7449 | -4.5729 | 8.3357 | 9.7206 | 202.3953 | 200 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 1.3267 | 2.044 | 103.424 | 0 | 24.6 | 0 | 1073.8477 | -130.8116 | -4.4893 | 7.8161 | 9.6682 | 202.3953 | 200 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 1.1117 | 2.555 | 103.424 | 0 | 24.6 | 0 | 1072.7706 | -130.9359 | -4.5005 | 6.6148 | 9.5455 | 202.3953 | 200 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 3.1512 | 3.066 | 155.136 | 0 | 24.6 | 0 | 1125.7399 | -129.9619 | -4.4131 | 60.558 | 15.0595 | 303.593 | 200 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4055 | 5.7286 | 3.577 | 232.704 | 0 | 24.6 | 0 | 1065.3351 | -391.8251 | -31.179 | 0.19006 | 8.8894 | 455.3894 | 200 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4088 | 6.58 | 3.577 | 232.704 | 0 | 24.6 | 0 | 1065.1899 | -391.86 | -31.1813 | 0.0098577 | 8.871 | 455.3894 | 200 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5949 | 6.7371 | 4.088 | 232.704 | 0 | 24.6 | 0 | 1065.044 | -391.7211 | -31.1723 | 0.0028857 | 8.8703 | 455.3894 | 200 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91312 | 5.894 | 4.599 | 232.704 | 2.7798 | 24.6 | 0 | 1066.8099 | -392.4548 | -31.2197 | 1.0351 | 8.9757 | 455.3894 | 200 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43902 | 4.8353 | 4.599 | 232.704 | 7.0496 | 24.6 | 0 | 1069.5469 | -392.8648 | -31.2461 | 3.3622 | 9.2133 | 455.3894 | 200 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15491 | 3.8259 | 5.11 | 232.704 | 7.0496 | 24.6 | 0 | 1068.7644 | -393.9875 | -31.3184 | 1.4569 | 9.0186 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 2.8087 | 5.11 | 232.704 | 7.0496 | 24.6 | 0 | 1067.6417 | -393.6911 | -31.2994 | 0.63061 | 8.9343 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 2.2679 | 5.621 | 232.704 | 7.0496 | 24.6 | 0 | 1067.583 | -394.2481 | -31.3352 | 0.014873 | 8.8715 | 455.3894 | 200 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 1.5 | 5.621 | 232.704 | 10.3337 | 24.6 | 0 | 1070.0831 | -394.733 | -31.3664 | 2.0301 | 9.0769 | 455.3894 | 200 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97755 | 6.132 | 232.704 | 10.3337 | 24.6 | 0 | 1070.0673 | -396.5526 | -31.4831 | 0.19465 | 8.8898 | 455.3894 | 200 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61697 | 6.132 | 232.704 | 11.5115 | 24.6 | 0 | 1070.8845 | -396.7395 | -31.4951 | 0.82499 | 8.9539 | 455.3894 | 200 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33603 | 6.643 | 232.704 | 11.5115 | 24.6 | 0 | 1071.1145 | -397.2329 | -31.5266 | 0.56159 | 8.9271 | 455.3894 | 200 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14061 | 7.154 | 232.704 | 11.5115 | 24.6 | 0 | 1071.4301 | -397.4483 | -31.5404 | 0.6618 | 8.9373 | 455.3894 | 200 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030549 | 7.154 | 232.704 | 11.5115 | 24.6 | 0 | 1071.32 | -397.9501 | -31.5725 | 0.049921 | 8.8751 | 455.3894 | 200 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 7.665 | 232.704 | 11.5115 | 24.6 | 0 | 1072.0326 | -398.6553 | -31.6175 | 0.05728 | 8.8758 | 455.3894 | 200 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 8.176 | 232.704 | 11.5115 | 24.6 | 0 | 1072.5436 | -398.5922 | -31.6135 | 0.63137 | 8.9341 | 455.3894 | 200 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 8.687 | 232.704 | 11.5115 | 24.6 | 0 | 1073.0546 | -398.1677 | -31.5864 | 1.567 | 9.0292 | 455.3894 | 200 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 9.198 | 232.704 | 11.5115 | 24.6 | 0 | 1073.5656 | -398.0043 | -31.576 | 2.2413 | 9.0978 | 455.3894 | 200 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 9.198 | 232.704 | 8.7317 | 24.6 | 0 | 1070.7858 | -397.1769 | -31.5231 | 0.28888 | 8.8994 | 455.3894 | 200 | 2049

## NoCarbon
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 No Carbon Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 150 | 1091.1628 | -141.1961 | -5.4107 | 14.7467 | 10.3615 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.8094 | 1.022 | 25.856 | 0 | 24.6 | 100 | 1097.8915 | -141.4334 | -5.4316 | 21.2381 | 11.0176 | 50.5988 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.4339 | 2.3849 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1080.5958 | -138.4928 | -5.1726 | 6.883 | 9.5679 | 202.3953 | 200 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.167 | 2.1789 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1079.1229 | -135.6776 | -4.9233 | 8.2253 | 9.7062 | 202.3953 | 200 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8266 | 1.9447 | 1.533 | 103.424 | 0 | 24.6 | 0 | 1077.5483 | -133.1769 | -4.7008 | 9.1514 | 9.8025 | 202.3953 | 200 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5383 | 1.6914 | 2.044 | 103.424 | 0 | 24.6 | 0 | 1076.5178 | -131.7449 | -4.5729 | 9.5528 | 9.8447 | 202.3953 | 200 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1149 | 1.4377 | 2.044 | 103.424 | 0 | 24.6 | 0 | 1074.8406 | -130.8116 | -4.4893 | 8.809 | 9.7696 | 202.3953 | 200 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5757 | 1.1736 | 2.555 | 103.424 | 0 | 24.6 | 0 | 1073.5484 | -130.9359 | -4.5005 | 7.3925 | 9.6249 | 202.3953 | 200 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1204 | 2.6894 | 3.066 | 155.136 | 0 | 24.6 | 0 | 1125.8319 | -129.9619 | -4.4131 | 60.6499 | 15.0689 | 303.593 | 200 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8169 | 5.2809 | 3.577 | 232.704 | 0 | 24.6 | 0 | 1065.2988 | -391.8251 | -31.179 | 0.15372 | 8.8857 | 455.3894 | 200 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6942 | 6.372 | 3.577 | 232.704 | 0 | 24.6 | 0 | 1065.2673 | -391.86 | -31.1813 | 0.08729 | 8.8789 | 455.3894 | 200 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7767 | 6.5531 | 4.088 | 232.704 | 0 | 24.6 | 0 | 1065.0418 | -391.7211 | -31.1723 | 0.00065866 | 8.8701 | 455.3894 | 200 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.011 | 5.7292 | 4.599 | 232.704 | 2.7798 | 24.6 | 0 | 1066.743 | -392.4548 | -31.2197 | 0.96821 | 8.9689 | 455.3894 | 200 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47997 | 4.6932 | 4.599 | 232.704 | 7.0496 | 24.6 | 0 | 1069.4458 | -392.8648 | -31.2461 | 3.261 | 9.203 | 455.3894 | 200 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16383 | 3.7064 | 5.11 | 232.704 | 7.0496 | 24.6 | 0 | 1068.6538 | -393.9875 | -31.3184 | 1.3463 | 9.0073 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 2.7131 | 5.11 | 232.704 | 7.0496 | 24.6 | 0 | 1067.5461 | -393.6911 | -31.2994 | 0.53502 | 8.9246 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 2.2679 | 5.621 | 232.704 | 7.0496 | 24.6 | 0 | 1067.583 | -394.2481 | -31.3352 | 0.014873 | 8.8715 | 455.3894 | 200 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 1.5 | 5.621 | 232.704 | 10.3337 | 24.6 | 0 | 1070.0831 | -394.733 | -31.3664 | 2.0301 | 9.0769 | 455.3894 | 200 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97755 | 6.132 | 232.704 | 10.3337 | 24.6 | 0 | 1070.0673 | -396.5526 | -31.4831 | 0.19465 | 8.8898 | 455.3894 | 200 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61697 | 6.132 | 232.704 | 11.5115 | 24.6 | 0 | 1070.8845 | -396.7395 | -31.4951 | 0.82499 | 8.9539 | 455.3894 | 200 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33603 | 6.643 | 232.704 | 11.5115 | 24.6 | 0 | 1071.1145 | -397.2329 | -31.5266 | 0.56159 | 8.9271 | 455.3894 | 200 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14061 | 7.154 | 232.704 | 11.5115 | 24.6 | 0 | 1071.4301 | -397.4483 | -31.5404 | 0.6618 | 8.9373 | 455.3894 | 200 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030549 | 7.154 | 232.704 | 11.5115 | 24.6 | 0 | 1071.32 | -397.9501 | -31.5725 | 0.049921 | 8.8751 | 455.3894 | 200 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 7.665 | 232.704 | 11.5115 | 24.6 | 0 | 1072.0326 | -398.6553 | -31.6175 | 0.05728 | 8.8758 | 455.3894 | 200 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 8.176 | 232.704 | 11.5115 | 24.6 | 0 | 1072.5436 | -398.5922 | -31.6135 | 0.63137 | 8.9341 | 455.3894 | 200 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 8.687 | 232.704 | 11.5115 | 24.6 | 0 | 1073.0546 | -398.1677 | -31.5864 | 1.567 | 9.0292 | 455.3894 | 200 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 9.198 | 232.704 | 11.5115 | 24.6 | 0 | 1073.5656 | -398.0043 | -31.576 | 2.2413 | 9.0978 | 455.3894 | 200 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0.23212 | 0 | 0 | 0 | 9.198 | 232.704 | 8.7317 | 24.6 | 0 | 1070.7858 | -397.1769 | -31.5231 | 0.28888 | 8.8994 | 455.3894 | 200 | 2049

## Comparison
DRAFT - PRELIMINARY
2019 KPCo IRP
| Base | High | Low | No Carbon | Base | High | Low | No Carbon
Difference over the Case 1
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 200 | 200 | 200 | 200 | 0 | 0 | 0 | 0
2023 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2024 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2025 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2026 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2027 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2028 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2029 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2030 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2031 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2032 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2033 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2034 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2035 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2036 | 300 | 400 | 200 | 200 | 0 | 100 | -100 | -100
2037 | 300 | 500 | 200 | 200 | 0 | 200 | -100 | -100
2038 | 300 | 500 | 200 | 200 | 0 | 200 | -100 | -100
2039 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2040 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2041 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2042 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2043 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2044 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2045 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2046 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2047 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100
2048 | 300 | 600 | 200 | 200 | 0 | 300 | -100 | -100

## CumCapAdd Summary
Commodity Pricing Scenario |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Preferred | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 101.1977 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 51.712 | 129.28 | 129.28 | 129.28 | 129.28 | 129.28 | 129.28 | 129.28 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 36.9 | 36.9
| New EE | 0 | 0 | 2.2439 | 4.1465 | 5.7666 | 5.3229 | 4.8197 | 4.3036 | 3.7312 | 3.0433 | 3.1769 | 2.9678 | 2.7281 | 2.1085 | 1.7993 | 1.7973 | 2.055 | 1.7435 | 1.2845 | 0.88132
| New VVO | 0 | 0 | 0 | 0 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 3.2841
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 11.0479 | 15.4471 | 2.3567 | 4.7281 | 6.7256 | 8.1525 | 20.8134 | 20.5123 | 34.4307 | 1.5777 | 1.303 | 1.3333 | 0.80139 | 0.38945 | 0.035384 | 0.020238 | 11.8153 | 6.6574
Base | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 0 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 303.593 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 0 | 77.568 | 77.568 | 77.568 | 77.568 | 77.568 | 77.568 | 155.136 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9
| New EE | 0 | 0 | 6.4442 | 12.4377 | 18.2666 | 17.1347 | 15.0819 | 12.9781 | 11.3917 | 9.6443 | 7.771 | 5.7699 | 3.9833 | 2.5845 | 1.5095 | 0.79865 | 0.35552 | 0.14805 | 0.061139 | 0.013018
| New VVO | 0 | 0 | 0 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 0 | 0
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 15.2482 | 0.89607 | 0.044655 | 1.7279 | 2.1758 | 2.0149 | 1.3619 | 0.0012125 | 77.1808 | 13.3956 | 11.5741 | 10.8252 | 9.5275 | 8.4067 | 7.3518 | 7.4407 | 3.038 | 2.505
Low Band | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 50.5988 | 202.3953 | 202.3953 | 202.3953 | 202.3953 | 202.3953 | 202.3953 | 303.593 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 25.856 | 103.424 | 103.424 | 103.424 | 103.424 | 103.424 | 103.424 | 155.136 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6
| New EE | 0 | 0 | 5.4533 | 10.7658 | 13.9293 | 12.6762 | 11.3298 | 10.0127 | 8.5597 | 6.9716 | 7.7179 | 9.1341 | 8.9889 | 8.332 | 6.8071 | 5.2743 | 3.9808 | 2.8581 | 2.2884 | 1.5044
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7798 | 7.0496 | 7.0496 | 7.0496 | 7.0496 | 10.3337
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 14.2572 | 20.8104 | 4.9935 | 6.5556 | 7.7099 | 8.3357 | 7.8161 | 6.6148 | 60.558 | 0.19006 | 0.0098577 | 0.0028857 | 1.0351 | 3.3622 | 1.4569 | 0.63061 | 0.014873 | 2.0301
High Band | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 0 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 303.593 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 0 | 77.568 | 77.568 | 77.568 | 77.568 | 77.568 | 77.568 | 155.136 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 500 | 500
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 61.5 | 61.5
| New EE | 0 | 0 | 9.1363 | 15.9099 | 20.2512 | 18.1219 | 15.8629 | 13.5762 | 11.2879 | 8.9503 | 7.1013 | 5.2284 | 3.5771 | 2.2916 | 1.3105 | 0.65481 | 0.25327 | 0.087319 | 0.03695 | 0.008064
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 17.9403 | 0.0985 | 10.0594 | 10.7453 | 10.987 | 10.6433 | 9.2883 | 7.3374 | 84.5413 | 20.8843 | 19.1981 | 18.5625 | 17.3586 | 16.2931 | 15.2798 | 15.4102 | 27.6138 | 27.1001
No Carbon | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 50.5988 | 202.3953 | 202.3953 | 202.3953 | 202.3953 | 202.3953 | 202.3953 | 303.593 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 25.856 | 103.424 | 103.424 | 103.424 | 103.424 | 103.424 | 103.424 | 155.136 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6
| New EE | 0 | 0 | 5.9428 | 11.1935 | 15.8188 | 14.3459 | 12.7713 | 11.2298 | 9.5526 | 7.7494 | 7.8099 | 9.0978 | 9.0663 | 8.3298 | 6.7402 | 5.1732 | 3.8702 | 2.7625 | 2.2884 | 1.5044
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7798 | 7.0496 | 7.0496 | 7.0496 | 7.0496 | 10.3337
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 14.7467 | 21.2381 | 6.883 | 8.2253 | 9.1514 | 9.5528 | 8.809 | 7.3925 | 60.6499 | 0.15372 | 0.08729 | 0.00065866 | 0.96821 | 3.261 | 1.3463 | 0.53502 | 0.014873 | 2.0301
Low Load | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New Solar (Nameplate) | 0 | 0 | 0 | 0 | 50.5988 | 50.5988 | 50.5988 | 50.5988 | 50.5988 | 50.5988 | 202.3953 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 0 | 25.856 | 25.856 | 25.856 | 25.856 | 25.856 | 25.856 | 103.424 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2
| New EE | 0 | 0 | 5.9428 | 11.1935 | 15.9704 | 15.4697 | 14.474 | 13.4573 | 12.8329 | 13.3068 | 14.8344 | 14.9283 | 11.9111 | 8.9836 | 6.9427 | 5.1145 | 3.6664 | 2.5006 | 1.7492 | 1.1418
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2698 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -99.8926 | -89.7695 | -79.376 | -71.4628 | -65.8198 | -61.5252 | -56.8132 | -51.2023 | -307.9565 | -304.3448 | -300.0278 | -294.6236 | -288.6743 | -283.9527 | -277.7951 | -273.4862 | -270.0562
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 14.7467 | 36.9229 | 2.7899 | 12.6827 | 19.6002 | 24.7375 | 28.4077 | 34.1046 | 123.5918 | 0.0066629 | 0.60113 | 2.5017 | 6.376 | 10.497 | 14.2816 | 19.2734 | 23.3418 | 26.1645
High Load | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401
| New Solar (Nameplate) | 0 | 0 | 0 | 101.1977 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 303.593 | 303.593 | 303.593 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 51.712 | 129.28 | 129.28 | 129.28 | 129.28 | 155.136 | 155.136 | 155.136 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9
| New EE | 0 | 0 | 5.9428 | 11.1935 | 14.3027 | 12.9836 | 11.569 | 10.1828 | 8.6707 | 7.0336 | 5.4927 | 4.0969 | 2.7851 | 1.7708 | 0.97717 | 0.47452 | 0.17171 | 0.055579 | 0.021755 | 0.0044529
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -171.5401 | -170.6388 | -170.5113 | -172.0442 | -175.7009 | -180.7104 | -184.2207 | -188.2928 | -453.4624 | -458.9709 | -465.6559 | -472.1804 | -479.6843 | -487.9522 | -494.8461 | -505.3435 | -516.5065
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 14.7467 | 16.9874 | 11.3769 | 10.1853 | 7.2378 | 2.7059 | 22.0403 | 17.4039 | 12.3019 | 224.8155 | 217.9952 | 210.8068 | 203.9998 | 195.9932 | 187.9335 | 180.9234 | 170.9033 | 159.723

## BaseHighLoad
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing High Load Scenario
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 150 | 1091.1628 | -141.1961 | -5.4107 | 14.7467 | 10.3615 | 0 | 0 | 2022
2023 | 1016.5887 | 1106.7601 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.8094 | 1.022 | 51.712 | 0 | 24.6 | 100 | 1123.7475 | -171.5401 | -8.0041 | 16.9874 | 10.541 | 101.1977 | 200 | 2023
2024 | 1015.7608 | 1105.8588 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 2.3849 | 1.533 | 129.28 | 0 | 36.9 | 0 | 1117.2357 | -170.6388 | -7.9291 | 11.3769 | 9.99 | 252.9941 | 300 | 2024
2025 | 1015.6437 | 1105.7313 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 2.1789 | 1.533 | 129.28 | 0 | 36.9 | 0 | 1115.9166 | -170.5113 | -7.9185 | 10.1853 | 9.8728 | 252.9941 | 300 | 2025
2026 | 1017.0517 | 1107.2642 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 1.9447 | 1.533 | 129.28 | 0 | 36.9 | 0 | 1114.502 | -172.0442 | -8.046 | 7.2378 | 9.5816 | 252.9941 | 300 | 2026
2027 | 1020.4105 | 1110.9209 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 1.6914 | 2.044 | 129.28 | 0 | 36.9 | 0 | 1113.6268 | -175.7009 | -8.3486 | 2.7059 | 9.1352 | 252.9941 | 300 | 2027
2028 | 1025.0118 | 1115.9304 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 1.4377 | 2.044 | 155.136 | 0 | 36.9 | 0 | 1137.9707 | -180.7104 | -8.7601 | 22.0403 | 11.0202 | 303.593 | 300 | 2028
2029 | 1028.2361 | 1119.4407 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 1.1736 | 2.555 | 155.136 | 0 | 36.9 | 0 | 1136.8446 | -184.2207 | -9.0462 | 17.4039 | 10.5626 | 303.593 | 300 | 2029
2030 | 1031.9765 | 1123.5128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 0.92608 | 3.066 | 155.136 | 0 | 36.9 | 0 | 1135.8147 | -188.2928 | -9.3758 | 12.3019 | 10.0621 | 303.593 | 300 | 2030
2031 | 1034.9797 | 1126.7824 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 3.4055 | 0.69136 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1351.5979 | -453.4624 | -34.9437 | 224.8155 | 30.5917 | 455.3894 | 300 | 2031
2032 | 1040.0394 | 1132.2909 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 2.4088 | 0.37626 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1350.2861 | -458.9709 | -35.2601 | 217.9952 | 29.8303 | 455.3894 | 300 | 2032
2033 | 1046.1798 | 1138.9759 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 1.5949 | 0.1758 | 4.088 | 232.704 | 0 | 36.9 | 0 | 1349.7828 | -465.6559 | -35.6401 | 210.8068 | 29.0202 | 455.3894 | 300 | 2033
2034 | 1052.1727 | 1145.5004 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0.91312 | 0.064047 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1349.5002 | -472.1804 | -36.0067 | 203.9998 | 28.2584 | 455.3894 | 300 | 2034
2035 | 1059.0652 | 1153.0043 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0.43902 | 0.035497 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1348.9975 | -479.6843 | -36.4232 | 195.9932 | 27.3762 | 455.3894 | 300 | 2035
2036 | 1066.6595 | 1161.2722 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0.15491 | 0.016802 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1349.2057 | -487.9522 | -36.8758 | 187.9335 | 26.4889 | 455.3894 | 300 | 2036
2037 | 1072.9918 | 1168.1661 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0.049478 | 0.0061011 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1349.0896 | -494.8461 | -37.2484 | 180.9234 | 25.7316 | 455.3894 | 300 | 2037
2038 | 1082.6338 | 1178.6635 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0.020478 | 0.0012763 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1349.5668 | -505.3435 | -37.8072 | 170.9033 | 24.6559 | 455.3894 | 300 | 2038
2039 | 1092.8874 | 1189.8265 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0.0044529 | 0 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1349.5495 | -516.5065 | -38.3907 | 159.723 | 23.4848 | 455.3894 | 300 | 2039
2040 | 1105.7173 | 1203.7944 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1350.056 | -530.4744 | -39.1056 | 146.2616 | 22.0978 | 455.3894 | 300 | 2040
2041 | 1117.8703 | 1217.0254 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1350.056 | -543.7054 | -39.7676 | 133.0306 | 20.7704 | 455.3894 | 300 | 2041
2042 | 1130.4977 | 1230.7728 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1350.567 | -557.4528 | -40.4404 | 119.7942 | 19.4666 | 455.3894 | 300 | 2042
2043 | 1144.3462 | 1245.8497 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1351.078 | -572.5297 | -41.1612 | 105.2283 | 18.0655 | 455.3894 | 300 | 2043
2044 | 1156.1396 | 1258.6892 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1351.078 | -585.3692 | -41.7614 | 92.3888 | 16.8611 | 455.3894 | 300 | 2044
2045 | 1166.5476 | 1270.0204 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1351.589 | -596.7004 | -42.281 | 81.5686 | 15.8623 | 455.3894 | 300 | 2045
2046 | 1175.77 | 1280.0608 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1352.1 | -606.7408 | -42.7337 | 72.0392 | 14.997 | 455.3894 | 300 | 2046
2047 | 1184.08 | 1289.1079 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1352.611 | -615.7879 | -43.1356 | 63.5031 | 14.2331 | 455.3894 | 300 | 2047
2048 | 1192.77 | 1298.5687 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1353.122 | -625.2487 | -43.5499 | 54.5533 | 13.4437 | 455.3894 | 300 | 2048
2049 | 1204.28 | 1311.0996 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1353.122 | -637.7796 | -44.0894 | 42.0224 | 12.3594 | 455.3894 | 300 | 2049

## BaseLowLoad
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing Low Load Scenario
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 150 | 1091.1628 | -141.1961 | -5.4107 | 14.7467 | 10.3615 | 0 | 0 | 2022
2023 | 950.7786 | 1035.1126 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.8094 | 1.022 | 0 | 0 | 24.6 | 100 | 1072.0355 | -99.8926 | -1.6364 | 36.9229 | 12.7534 | 0 | 200 | 2023
2024 | 941.4802 | 1024.9895 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5855 | 2.3849 | 1.533 | 25.856 | 0 | 49.2 | 0 | 1027.7794 | -89.7695 | -0.66493 | 2.7899 | 9.1663 | 50.5988 | 400 | 2024
2025 | 931.9335 | 1014.596 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3033 | 3.1665 | 1.533 | 25.856 | 0 | 49.2 | 0 | 1027.2787 | -79.376 | 0.35265 | 12.6827 | 10.2309 | 50.5988 | 400 | 2025
2026 | 924.665 | 1006.6828 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9468 | 3.5272 | 1.533 | 25.856 | 0 | 49.2 | 0 | 1026.283 | -71.4628 | 1.1415 | 19.6002 | 10.9897 | 50.5988 | 400 | 2026
2027 | 919.4818 | 1001.0398 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.643 | 3.8143 | 2.044 | 25.856 | 0 | 49.2 | 0 | 1025.7773 | -65.8198 | 1.7116 | 24.7375 | 11.5604 | 50.5988 | 400 | 2027
2028 | 915.5371 | 996.7452 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2031 | 4.6298 | 2.044 | 25.856 | 0 | 49.2 | 0 | 1025.1529 | -61.5252 | 2.1499 | 28.4077 | 11.9728 | 50.5988 | 400 | 2028
2029 | 911.209 | 992.0332 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6473 | 6.6595 | 2.555 | 25.856 | 0 | 49.2 | 0 | 1026.1378 | -56.8132 | 2.6351 | 34.1046 | 12.6128 | 50.5988 | 400 | 2029
2030 | 906.0552 | 986.4223 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1758 | 9.6585 | 3.066 | 103.424 | 4.2698 | 49.2 | 0 | 1110.0142 | -51.2023 | 3.2189 | 123.5918 | 22.5107 | 202.3953 | 400 | 2030
2031 | 901.3287 | 981.2765 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.858 | 11.0703 | 3.577 | 232.704 | 7.5539 | 49.2 | 0 | 981.2832 | -307.9565 | -25.297 | 0.0066629 | 8.8707 | 455.3894 | 400 | 2031
2032 | 898.0112 | 977.6648 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7228 | 9.1883 | 3.577 | 232.704 | 7.5539 | 49.2 | 0 | 978.266 | -304.3448 | -25.021 | 0.60113 | 8.9369 | 455.3894 | 400 | 2032
2033 | 894.0459 | 973.3478 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7948 | 7.1888 | 4.088 | 232.704 | 7.5539 | 49.2 | 0 | 975.8495 | -300.0278 | -24.6884 | 2.5017 | 9.1498 | 455.3894 | 400 | 2033
2034 | 889.082 | 967.9436 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0208 | 5.9218 | 4.599 | 232.704 | 7.5539 | 49.2 | 0 | 974.3196 | -294.6236 | -24.268 | 6.376 | 9.5871 | 455.3894 | 400 | 2034
2035 | 883.6175 | 961.9943 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48407 | 4.6304 | 4.599 | 232.704 | 7.5539 | 49.2 | 0 | 972.4914 | -288.6743 | -23.7996 | 10.497 | 10.058 | 455.3894 | 400 | 2035
2036 | 879.2805 | 957.2727 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16472 | 3.5016 | 5.11 | 232.704 | 7.5539 | 49.2 | 0 | 971.5543 | -283.9527 | -23.4238 | 14.2816 | 10.4942 | 455.3894 | 400 | 2036
2037 | 873.6246 | 951.1151 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 2.4511 | 5.11 | 232.704 | 7.5539 | 49.2 | 0 | 970.3885 | -277.7951 | -22.928 | 19.2734 | 11.0761 | 455.3894 | 400 | 2037
2038 | 869.6668 | 946.8062 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 1.7287 | 5.621 | 232.704 | 7.5539 | 49.2 | 0 | 970.1481 | -273.4862 | -22.5772 | 23.3418 | 11.554 | 455.3894 | 400 | 2038
2039 | 866.5162 | 943.3762 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 1.1373 | 5.621 | 232.704 | 7.5539 | 49.2 | 0 | 969.5407 | -270.0562 | -22.2957 | 26.1645 | 11.8895 | 455.3894 | 400 | 2039
2040 | 864.5947 | 941.2843 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74294 | 6.132 | 232.704 | 7.5539 | 49.2 | 0 | 969.6528 | -267.9643 | -22.123 | 28.3686 | 12.1511 | 455.3894 | 400 | 2040
2041 | 860.9827 | 937.3519 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46889 | 6.132 | 232.704 | 7.5539 | 49.2 | 0 | 969.3788 | -264.0319 | -21.7963 | 32.0269 | 12.5898 | 455.3894 | 400 | 2041
2042 | 857.3749 | 933.424 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25538 | 6.643 | 232.704 | 7.5539 | 49.2 | 0 | 969.6763 | -260.104 | -21.4673 | 36.2523 | 13.0983 | 455.3894 | 400 | 2042
2043 | 852.8091 | 928.4532 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10687 | 7.154 | 232.704 | 7.5539 | 49.2 | 0 | 970.0388 | -255.1332 | -21.0468 | 41.5855 | 13.7463 | 455.3894 | 400 | 2043
2044 | 846.9359 | 922.0591 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023217 | 7.154 | 232.704 | 7.5539 | 49.2 | 0 | 969.9551 | -248.7391 | -20.4993 | 47.896 | 14.5252 | 455.3894 | 400 | 2044
2045 | 840.4934 | 915.0452 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 3.2841 | 49.2 | 0 | 966.1731 | -241.7252 | -19.8899 | 51.1279 | 14.9531 | 455.3894 | 400 | 2045
2046 | 833.7039 | 907.6535 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 49.2 | 0 | 963.4 | -234.3335 | -19.2375 | 55.7465 | 15.5566 | 455.3894 | 400 | 2046
2047 | 826.8649 | 900.2078 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 49.2 | 0 | 963.911 | -226.8878 | -18.5695 | 63.7032 | 16.5742 | 455.3894 | 400 | 2047
2048 | 820.8452 | 893.6542 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 49.2 | 0 | 964.422 | -220.3342 | -17.9724 | 70.7678 | 17.4913 | 455.3894 | 400 | 2048
2049 | 815.4707 | 887.803 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 49.2 | 0 | 964.422 | -214.483 | -17.4317 | 76.619 | 18.2657 | 455.3894 | 400 | 2049

## source (hidden)
28 | Nameplate Wind
Planning Peak Load (MW)
Required Generation Capacity (MW)
Firm Generation Capacity without New Additions (MW)
15 MW CHP Capacity (MW)
216 MW RICE Firm Capacity (MW)
256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW)
325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW)
125 MW LM 6000 CT Firm Capacity (MW)
Big Sandy Site 216 MW RICE Firm Capacity (MW)
Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW)
Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW)
Big Sandy Site Repower 443 MW Firm Capacity
Commercial DR Firm Capacity (MW)
Residential DR Firm Capacity (MW)
Commercial DSM Firm Capacity (MW)
Residential DSM Firm Capacity (MW)
Distributed Solar Firm Capacity (MW)
Utility Solar Firm Capacity (MW)
CVR Firm Capacity (MW)
Wind Firm Capacity (MW)
Short Term PPA Capacity (MW)
Firm Generation Capacity with New Additions (MW)
Capacity Reserves Above Required Generation without New Additions (MW)
Reserve Margin without New Capacity Additions (%)
Capacity Reserves Above Required Generation with New Capacity Additions (MW)
Reserve Margin with New Capacity Additions (%)
Nameplate Solar
Nameplate Wind