## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 High Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 4.4011 | 0 | 0 | 0 | 0 | 150 | 1094.3563 | -141.1961 | -5.4107 | 17.9403 | 10.6845 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 6.5259 | 1.022 | 0 | 0 | 24.6 | 100 | 1076.7519 | -141.4334 | -5.4316 | 0.0985 | 8.88 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5855 | 6.6657 | 1.533 | 77.568 | 0 | 49.2 | 0 | 1083.7722 | -138.4928 | -5.1726 | 10.0594 | 9.89 | 151.7965 | 400 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3033 | 5.8187 | 1.533 | 77.568 | 0 | 49.2 | 0 | 1081.6429 | -135.6776 | -4.9233 | 10.7453 | 9.9624 | 151.7965 | 400 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9468 | 4.916 | 1.533 | 77.568 | 0 | 49.2 | 0 | 1079.3839 | -133.1769 | -4.7008 | 10.987 | 9.9896 | 151.7965 | 400 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.643 | 3.9332 | 2.044 | 77.568 | 0 | 49.2 | 0 | 1077.6082 | -131.7449 | -4.5729 | 10.6433 | 9.956 | 151.7965 | 400 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2031 | 3.0848 | 2.044 | 77.568 | 0 | 49.2 | 0 | 1075.3199 | -130.8116 | -4.4893 | 9.2883 | 9.8186 | 151.7965 | 400 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6473 | 2.303 | 2.555 | 77.568 | 0 | 49.2 | 0 | 1073.4933 | -130.9359 | -4.5005 | 7.3374 | 9.6193 | 151.7965 | 400 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1758 | 1.9255 | 3.066 | 155.136 | 0 | 49.2 | 0 | 1149.7233 | -129.9619 | -4.4131 | 84.5413 | 17.5108 | 303.593 | 400 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.858 | 1.3704 | 3.577 | 232.704 | 0 | 49.2 | 0 | 1086.0294 | -391.8251 | -31.179 | 20.8843 | 11.0046 | 455.3894 | 400 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7228 | 0.85433 | 3.577 | 232.704 | 0 | 49.2 | 0 | 1084.3781 | -391.86 | -31.1813 | 19.1981 | 10.8322 | 455.3894 | 400 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7948 | 0.49677 | 4.088 | 232.704 | 0 | 49.2 | 0 | 1083.6036 | -391.7211 | -31.1723 | 18.5625 | 10.7675 | 455.3894 | 400 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0208 | 0.28964 | 4.599 | 232.704 | 0 | 49.2 | 0 | 1083.1335 | -392.4548 | -31.2197 | 17.3586 | 10.6432 | 455.3894 | 400 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48407 | 0.17074 | 4.599 | 232.704 | 0 | 49.2 | 0 | 1082.4778 | -392.8648 | -31.2461 | 16.2931 | 10.5337 | 455.3894 | 400 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16472 | 0.088553 | 5.11 | 232.704 | 0 | 49.2 | 0 | 1082.5873 | -393.9875 | -31.3184 | 15.2798 | 10.4286 | 455.3894 | 400 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.037841 | 5.11 | 232.704 | 0 | 49.2 | 0 | 1082.4213 | -393.6911 | -31.2994 | 15.4102 | 10.4423 | 455.3894 | 400 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.016472 | 5.621 | 232.704 | 0 | 61.5 | 0 | 1095.182 | -394.2481 | -31.3352 | 27.6138 | 11.686 | 455.3894 | 500 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.0036111 | 5.621 | 232.704 | 0 | 61.5 | 0 | 1095.1531 | -394.733 | -31.3664 | 27.1001 | 11.6324 | 455.3894 | 500 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 73.8 | 0 | 1107.956 | -396.5526 | -31.4831 | 38.0834 | 12.7454 | 455.3894 | 600 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 73.8 | 0 | 1107.956 | -396.7395 | -31.4951 | 37.8965 | 12.7257 | 455.3894 | 600 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 73.8 | 0 | 1108.467 | -397.2329 | -31.5266 | 37.9141 | 12.7257 | 455.3894 | 600 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 73.8 | 0 | 1108.978 | -397.4483 | -31.5404 | 38.2097 | 12.755 | 455.3894 | 600 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 73.8 | 0 | 1108.978 | -397.9501 | -31.5725 | 37.7079 | 12.7021 | 455.3894 | 600 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 73.8 | 0 | 1109.489 | -398.6553 | -31.6175 | 37.5137 | 12.6799 | 455.3894 | 600 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 73.8 | 0 | 1110 | -398.5922 | -31.6135 | 38.0878 | 12.7384 | 455.3894 | 600 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 73.8 | 0 | 1110.511 | -398.1677 | -31.5864 | 39.0233 | 12.835 | 455.3894 | 600 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 73.8 | 0 | 1111.022 | -398.0043 | -31.576 | 39.6977 | 12.9042 | 455.3894 | 600 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 73.8 | 0 | 1111.022 | -397.1769 | -31.5231 | 40.5251 | 12.9914 | 455.3894 | 600 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48948 | 0 | 0 | 0 | 0.27617 | 0.50147 | 0 | 0 | 1.7132 | 0 | 0 | 0.97895 | 0 | 0 | 0 | 0.44187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38583 | 1.4311 | 0 | 0.17889 | 0 | 0 | 0.77165 | 1.61 | 0.35778 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 1.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 1.0692 | 0 | 0 | 0 | 0.51176 | 0.80362 | 0 | 0 | 1.5607 | 0 | 0 | 1.7107 | 0 | 0 | 0 | 0.86999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73566 | 2.6733 | 0 | 0.32049 | 0 | 0 | 1.8391 | 3.1745 | 0.64098 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.93353 | 0 | 0 | 0 | 0.74846 | 0.77482 | 0 | 0 | 1.4522 | 0 | 0 | 1.4937 | 0 | 0 | 0 | 1.263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3397 | 3.7902 | 0 | 0.40934 | 0 | 0 | 2.6794 | 4.5482 | 0.81868 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.76863 | 0 | 0 | 0 | 0.6758 | 0.64005 | 0 | 0 | 1.3087 | 0 | 0 | 1.2298 | 0 | 0 | 0 | 1.1404 | 0.055212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2082 | 3.4057 | 0.17808 | 0.33603 | 0 | 0 | 2.4163 | 4.0869 | 0.67206 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.59794 | 0 | 0 | 0 | 0.59643 | 0.50036 | 0 | 0 | 1.1555 | 0 | 0 | 0.9567 | 0 | 0 | 0 | 1.0065 | 0.10261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0731 | 3.0058 | 0.33095 | 0.2613 | 0 | 0 | 2.1462 | 3.6069 | 0.52261 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.42545 | 0 | 0 | 0 | 0.51371 | 0.32653 | 0 | 0 | 0.97925 | 0 | 0 | 0.68072 | 0 | 0 | 0 | 0.86688 | 0.14067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95098 | 2.6174 | 0.45872 | 0.19104 | 0 | 0 | 1.902 | 3.1409 | 0.38208 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.27739 | 0 | 0 | 0 | 0.43094 | 0.21473 | 0 | 0 | 0.8221 | 0 | 0 | 0.44383 | 0 | 0 | 0 | 0.72722 | 0.16854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80855 | 2.2048 | 0.55189 | 0.12499 | 0 | 0 | 1.6171 | 2.6458 | 0.24997 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.15477 | 0 | 0 | 0 | 0.35116 | 0.12035 | 0 | 0 | 0.66853 | 0 | 0 | 0.24764 | 0 | 0 | 0 | 0.59258 | 0.168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65857 | 1.7895 | 0.52589 | 0.069601 | 0 | 0 | 1.3171 | 2.1474 | 0.1392 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 155.136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.067192 | 0 | 0 | 0 | 0.27479 | 0.057641 | 0 | 0.26201 | 0.53192 | 0 | 0 | 0.10751 | 0 | 0 | 0 | 0.46371 | 0.1607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.50793 | 1.3844 | 0.51815 | 0.02938 | 0 | 0 | 1.0159 | 1.6613 | 0.05876 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.015885 | 0 | 0 | 0 | 0.20454 | 0.013726 | 0 | 0.23519 | 0.39517 | 0 | 0 | 0.025416 | 0 | 0 | 0 | 0.34516 | 0.13531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37974 | 1.0284 | 0.43541 | 0.0069451 | 0 | 0 | 0.75949 | 1.2341 | 0.01389 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0.097527 | 0 | 0 | 0.20405 | 0.27403 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16846 | 0.11027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26604 | 0.7135 | 0.35497 | 0 | 0 | 0 | 0.53208 | 0.8562 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0.033598 | 0 | 0 | 0.15097 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055996 | 0.086211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17187 | 0.4543 | 0.27978 | 0 | 0 | 0 | 0.34373 | 0.54516 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13162 | 0.093972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.092242 | 0.24477 | 0.20561 | 0 | 0 | 0 | 0.18448 | 0.29372 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09593 | 0.039312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.035497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.038809 | 0.10237 | 0.14243 | 0 | 0 | 0 | 0.077618 | 0.12284 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.063197 | 0.0085532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.016802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00853 | 0.022297 | 0.090078 | 0 | 0 | 0 | 0.01706 | 0.026756 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0061011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0036111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 232.704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4773.105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -178.7451 | 0 | 0 | 0 | -128.8624 | -286.1542 | 0 | 0 | -1581.2345 | 0 | 0 | -627.3143 | 0 | 0 | 0 | -303.8874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -68.7997 | -607.7952 | 0 | 20.3954 | 0 | 0 | -241.6984 | -1175.41 | 28.4224 | 0
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3099.945 | -350.3851 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2352.3207 | -3169.001 | -178.6469 | 0 | 0 | 0 | 37.3916 | -194.5514 | 0 | 0 | 226.869 | 0 | 0 | -441.9472 | 0 | 0 | 0 | -67.3695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30.7921 | -311.1734 | 0 | 50.3678 | 0 | 0 | -273.1336 | -938.2889 | 89.3979 | 0
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -533.7537 | 0 | 0 | -3835.7165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5375.0643 | -6949.9136 | 140.1534 | 0 | 0 | 0 | 172.1692 | 114.972 | 0 | 0 | 218.0162 | 0 | 0 | 224.2452 | 0 | 0 | 0 | 192.7831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -53.7911 | -93.2961 | 0 | 73.6273 | 0 | 0 | -152.7491 | -662.2421 | 137.2911 | 0
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -544.8772 | 0 | 0 | -3781.554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4973.0788 | -6634.4513 | 119.0141 | 0 | 0 | 0 | 445.5601 | 97.5704 | 0 | 0 | 202.6459 | 0 | 0 | 190.4228 | 0 | 0 | 0 | 751.8827 | -37.8631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.6026 | 720.207 | -78.182 | 71.0604 | 0 | 0 | 241.2053 | 864.2483 | 142.1208 | 0
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -558.2254 | 0 | 0 | -3450.3769 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4225.6287 | -5925.7383 | 95.5887 | 0 | 0 | 0 | 406.312 | 78.3686 | 0 | 0 | 184.7267 | 0 | 0 | 152.942 | 0 | 0 | 0 | 685.6515 | -0.41791 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.7518 | 656.3993 | -37.4171 | 57.063 | 0 | 0 | 219.5035 | 787.6792 | 114.126 | 0
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -756.7312 | 0 | 0 | -3037.1595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3642.4066 | -5403.996 | 71.8935 | 0 | 0 | 0 | 363.5887 | 58.9765 | 0 | 0 | 165.4767 | 0 | 0 | 115.0294 | 0 | 0 | 0 | 613.5559 | 33.9106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.3837 | 587.7367 | 0.49227 | 42.8987 | 0 | 0 | 196.7673 | 705.2841 | 85.7974 | 0
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -714.8218 | 0 | 0 | 160.2689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1630.5079 | -366.5803 | 57.3753 | 0 | 0 | 0 | 373.5787 | 47.0007 | 0 | 0 | 170.0398 | 0 | 0 | 91.8006 | 0 | 0 | 0 | 630.414 | 85.8351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101.1367 | 603.8037 | 57.1658 | 34.2279 | 0 | 0 | 202.2733 | 724.5644 | 68.4558 | 0
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -917.8705 | 0 | 0 | -75.3454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1618.8428 | -449.1835 | 32.2636 | 0 | 0 | 0 | 306.1031 | 26.4685 | 0 | 0 | 139.3584 | 0 | 0 | 51.6216 | 0 | 0 | 0 | 516.5489 | 92.269 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82.9737 | 494.9812 | 60.8895 | 19.252 | 0 | 0 | 165.9475 | 593.9775 | 38.5041 | 0
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1126.3017 | 0 | 0 | -340.0572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1773.3656 | -341.3094 | 14.051 | 0 | 0 | 0 | 244.1778 | 11.5169 | 0 | -155.0565 | 111.233 | 0 | 0 | 22.4816 | 0 | 0 | 0 | 412.05 | 142.7969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.2432 | 395.3126 | 147.9562 | 8.3893 | 0 | 0 | 132.4865 | 474.3751 | 16.7785 | 0
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | 0 | -30003.0583 | 0 | 0 | 0 | 0 | 0 | 0 | -1341.5088 | 0 | 0 | 268.205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2043.4606 | -88.9486 | 3.373 | 0 | 0 | 0 | 183.8461 | 2.7643 | 0 | 47.3654 | 83.9109 | 0 | 0 | 5.3969 | 0 | 0 | 0 | 310.2403 | 121.619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.0605 | 297.9751 | 126.1557 | 2.0123 | 0 | 0 | 100.1209 | 357.5701 | 4.0246 | 0
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | 0 | -30011.9996 | 0 | 0 | 0 | 0 | 0 | 0 | -1373.4022 | 0 | 0 | 2482.325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3045.9702 | 951.9074 | 0 | 0 | 0 | 0 | 89.1945 | 0 | 0 | 41.5293 | 59.4246 | 0 | 0 | 0 | 0 | 0 | 0 | 154.0632 | 100.8506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.5379 | 210.7778 | 104.862 | 0 | 0 | 0 | 71.0758 | 252.9334 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | 0 | -30043.1653 | 0 | 0 | 0 | 0 | 0 | 0 | -1604.2419 | 0 | 0 | 2266.6943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2934.5185 | 730.1403 | 0 | 0 | 0 | 0 | 31.2742 | 0 | 0 | 34.8172 | 38.3117 | 0 | 0 | 0 | 0 | 0 | 0 | 52.1237 | 80.2498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.9854 | 135.8088 | 83.6367 | 0 | 0 | 0 | 45.9707 | 162.9706 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | 0 | -30286.8357 | 0 | 0 | 0 | 0 | 0 | 0 | -1855.3988 | 0 | 0 | 3209.7818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4151.5528 | 1914.1736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.7424 | 21.335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.7745 | 75.6092 | 63.5117 | 0 | 0 | 0 | 25.5491 | 90.731 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | 0 | -30332.6359 | 0 | 0 | 0 | 0 | 0 | 0 | -1874.6895 | 0 | 0 | 5097.9095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4780.0733 | 2490.9398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.7618 | 9.2154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.8803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5445 | 32.6812 | 45.4695 | 0 | 0 | 0 | 11.089 | 39.2175 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | 0 | -30523.9709 | 0 | 0 | 0 | 0 | 0 | 0 | -2126.4175 | 0 | 0 | 6999.7555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5509.9867 | 3262.6235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.7306 | 2.0306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.7579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2202 | 7.2007 | 29.091 | 0 | 0 | 0 | 2.4404 | 8.6409 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | 0 | -30619.2244 | 0 | 0 | 0 | 0 | 0 | 0 | -2168.3023 | 0 | 0 | 7601.5436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6559.9704 | 4182.3794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.3419 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | 0 | -30727.615 | 0 | 0 | 0 | 0 | 0 | 0 | -2418.4838 | 0 | 0 | 9125.4751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6022.9015 | 5169.7436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0157 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | 0 | -30910.3148 | 0 | 0 | 0 | 0 | 0 | 0 | -2460.3957 | 0 | 0 | 10029.762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6313.3189 | 5314.5341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5557 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | 0 | -31118.8689 | 0 | 0 | 0 | 0 | 0 | 0 | -2727.8323 | 0 | 0 | 12060.923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6867.7222 | 6555.2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | 0 | -31401.0184 | 0 | 0 | 0 | 0 | 0 | 0 | -2802.1419 | 0 | 0 | 11812.9193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7219.5645 | 6563.7578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | 0 | -31553.7393 | 0 | 0 | 0 | 0 | 0 | 0 | -3083.8509 | 0 | 0 | 13717.6837 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10621.8905 | 8204.5686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | 0 | -31761.6634 | 0 | 0 | 0 | 0 | 0 | 0 | -3404.1888 | 0 | 0 | 14349.3168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12322.8775 | 9019.7489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | 0 | -31946.9797 | 0 | 0 | 0 | 0 | 0 | 0 | -3459.4358 | 0 | 0 | 17908.2638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14765.5649 | 10250.6686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | 0 | -32073.7202 | 0 | 0 | 0 | 0 | 0 | 0 | -3787.7409 | 0 | 0 | 18082.4907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17129.5198 | 11261.4546 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | 0 | -32250.8452 | 0 | 0 | 0 | 0 | 0 | 0 | -4142.1905 | 0 | 0 | 19688.7396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19747.3061 | 12507.8053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | 0 | -32404.4353 | 0 | 0 | 0 | 0 | 0 | 0 | -4533.6049 | 0 | 0 | 20496.9161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20458.6817 | 12808.0041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | 0 | -32594.8754 | 0 | 0 | 0 | 0 | 0 | 0 | -4918.7384 | 0 | 0 | 23999.5124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24282.4587 | 14777.8566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | 0 | -32743.9812 | 0 | 0 | 0 | 0 | 0 | 0 | -4903.9252 | 0 | 0 | 22655.3055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25266.0351 | 15121.7091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 2020-2024 |  |  |  |  | 0 | 0 | [5 empty] | -644.2675 |  |  | -2718.2599 | 0 | [8 empty] | -5595.0298 | -7331.1022
[5 empty] | 2020-2029 |  |  |  |  | 0 | 0 | [5 empty] | -2631.1236 |  |  | -9052.4922 | 0 | [8 empty] | -11903.1519 | -18916.433
[5 empty] | 2020-2034 |  |  |  |  | -47621.9835 | 0 | [5 empty] | -5579.1505 |  |  | -6073.9772 | 0 | [8 empty] | -6337.0151 | -17766.8855
[5 empty] | Planning Period | 0 | 0 | 0 | 0 | -148274.5124 | 0 | 0 | 0 | 0 | 0 | -6235.5834 | -15148.675 | 0 | 0 | 34373.7629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27862.6992 | 5858.1902 | 52.6415 | 0 | 0 | 0 | 1398.7843 | -106.8474 | 0 | 2.7443 | -315.3295 | 0 | 0 | -311.9015 | 0 | 0 | 0 | 2123.0259 | 319.4003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265.8922 | 1490.8305 | 239.8337 | 246.8703 | 0 | 0 | 254.501 | 607.3771 | 468.0128 | 0
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | 0 | -58171.3047 | 0 | 0 | 0 | 0 | 0 | 0 | -8712.066 | 0 | 0 | 40248.2726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44886.363 | 26864.4653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | 0 | -206445.8171 | 0 | 0 | 0 | 0 | 0 | -6235.5834 | -23860.741 | 0 | 0 | 74622.0356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72749.0622 | 32722.6555 | 52.6415 | 0 | 0 | 0 | 1398.7843 | -106.8474 | 0 | 2.7443 | -315.3295 | 0 | 0 | -311.9015 | 0 | 0 | 0 | 2123.0259 | 319.4003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265.8922 | 1490.8305 | 239.8337 | 246.8703 | 0 | 0 | 254.501 | 607.3771 | 468.0128 | 0
|  |  |  | System NPV | -49712552.6218
|  |  |  | Log File | 49800811.447
|  |  |  | Difference | 88258.8252 |  | 0.1772% | Results are different due to incorrect reporting of Annualized Build Costs in the Net Profits for Wind and Solar additions that retire before the end of the Planning Period

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0