## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing Low Load Scenario
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 150 | 1091.1628 | -141.1961 | -5.4107 | 14.7467 | 10.3615 | 0 | 0 | 2022
2023 | 950.7786 | 1035.1126 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.8094 | 1.022 | 0 | 0 | 24.6 | 100 | 1072.0355 | -99.8926 | -1.6364 | 36.9229 | 12.7534 | 0 | 200 | 2023
2024 | 941.4802 | 1024.9895 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5855 | 2.3849 | 1.533 | 25.856 | 0 | 49.2 | 0 | 1027.7794 | -89.7695 | -0.66493 | 2.7899 | 9.1663 | 50.5988 | 400 | 2024
2025 | 931.9335 | 1014.596 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3033 | 3.1665 | 1.533 | 25.856 | 0 | 49.2 | 0 | 1027.2787 | -79.376 | 0.35265 | 12.6827 | 10.2309 | 50.5988 | 400 | 2025
2026 | 924.665 | 1006.6828 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9468 | 3.5272 | 1.533 | 25.856 | 0 | 49.2 | 0 | 1026.283 | -71.4628 | 1.1415 | 19.6002 | 10.9897 | 50.5988 | 400 | 2026
2027 | 919.4818 | 1001.0398 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.643 | 3.8143 | 2.044 | 25.856 | 0 | 49.2 | 0 | 1025.7773 | -65.8198 | 1.7116 | 24.7375 | 11.5604 | 50.5988 | 400 | 2027
2028 | 915.5371 | 996.7452 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2031 | 4.6298 | 2.044 | 25.856 | 0 | 49.2 | 0 | 1025.1529 | -61.5252 | 2.1499 | 28.4077 | 11.9728 | 50.5988 | 400 | 2028
2029 | 911.209 | 992.0332 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6473 | 6.6595 | 2.555 | 25.856 | 0 | 49.2 | 0 | 1026.1378 | -56.8132 | 2.6351 | 34.1046 | 12.6128 | 50.5988 | 400 | 2029
2030 | 906.0552 | 986.4223 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1758 | 9.6585 | 3.066 | 103.424 | 4.2698 | 49.2 | 0 | 1110.0142 | -51.2023 | 3.2189 | 123.5918 | 22.5107 | 202.3953 | 400 | 2030
2031 | 901.3287 | 981.2765 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.858 | 11.0703 | 3.577 | 232.704 | 7.5539 | 49.2 | 0 | 981.2832 | -307.9565 | -25.297 | 0.0066629 | 8.8707 | 455.3894 | 400 | 2031
2032 | 898.0112 | 977.6648 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7228 | 9.1883 | 3.577 | 232.704 | 7.5539 | 49.2 | 0 | 978.266 | -304.3448 | -25.021 | 0.60113 | 8.9369 | 455.3894 | 400 | 2032
2033 | 894.0459 | 973.3478 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7948 | 7.1888 | 4.088 | 232.704 | 7.5539 | 49.2 | 0 | 975.8495 | -300.0278 | -24.6884 | 2.5017 | 9.1498 | 455.3894 | 400 | 2033
2034 | 889.082 | 967.9436 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0208 | 5.9218 | 4.599 | 232.704 | 7.5539 | 49.2 | 0 | 974.3196 | -294.6236 | -24.268 | 6.376 | 9.5871 | 455.3894 | 400 | 2034
2035 | 883.6175 | 961.9943 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48407 | 4.6304 | 4.599 | 232.704 | 7.5539 | 49.2 | 0 | 972.4914 | -288.6743 | -23.7996 | 10.497 | 10.058 | 455.3894 | 400 | 2035
2036 | 879.2805 | 957.2727 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16472 | 3.5016 | 5.11 | 232.704 | 7.5539 | 49.2 | 0 | 971.5543 | -283.9527 | -23.4238 | 14.2816 | 10.4942 | 455.3894 | 400 | 2036
2037 | 873.6246 | 951.1151 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 2.4511 | 5.11 | 232.704 | 7.5539 | 49.2 | 0 | 970.3885 | -277.7951 | -22.928 | 19.2734 | 11.0761 | 455.3894 | 400 | 2037
2038 | 869.6668 | 946.8062 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 1.7287 | 5.621 | 232.704 | 7.5539 | 49.2 | 0 | 970.1481 | -273.4862 | -22.5772 | 23.3418 | 11.554 | 455.3894 | 400 | 2038
2039 | 866.5162 | 943.3762 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 1.1373 | 5.621 | 232.704 | 7.5539 | 49.2 | 0 | 969.5407 | -270.0562 | -22.2957 | 26.1645 | 11.8895 | 455.3894 | 400 | 2039
2040 | 864.5947 | 941.2843 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74294 | 6.132 | 232.704 | 7.5539 | 49.2 | 0 | 969.6528 | -267.9643 | -22.123 | 28.3686 | 12.1511 | 455.3894 | 400 | 2040
2041 | 860.9827 | 937.3519 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46889 | 6.132 | 232.704 | 7.5539 | 49.2 | 0 | 969.3788 | -264.0319 | -21.7963 | 32.0269 | 12.5898 | 455.3894 | 400 | 2041
2042 | 857.3749 | 933.424 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25538 | 6.643 | 232.704 | 7.5539 | 49.2 | 0 | 969.6763 | -260.104 | -21.4673 | 36.2523 | 13.0983 | 455.3894 | 400 | 2042
2043 | 852.8091 | 928.4532 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10687 | 7.154 | 232.704 | 7.5539 | 49.2 | 0 | 970.0388 | -255.1332 | -21.0468 | 41.5855 | 13.7463 | 455.3894 | 400 | 2043
2044 | 846.9359 | 922.0591 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023217 | 7.154 | 232.704 | 7.5539 | 49.2 | 0 | 969.9551 | -248.7391 | -20.4993 | 47.896 | 14.5252 | 455.3894 | 400 | 2044
2045 | 840.4934 | 915.0452 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 3.2841 | 49.2 | 0 | 966.1731 | -241.7252 | -19.8899 | 51.1279 | 14.9531 | 455.3894 | 400 | 2045
2046 | 833.7039 | 907.6535 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 49.2 | 0 | 963.4 | -234.3335 | -19.2375 | 55.7465 | 15.5566 | 455.3894 | 400 | 2046
2047 | 826.8649 | 900.2078 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 49.2 | 0 | 963.911 | -226.8878 | -18.5695 | 63.7032 | 16.5742 | 455.3894 | 400 | 2047
2048 | 820.8452 | 893.6542 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 49.2 | 0 | 964.422 | -220.3342 | -17.9724 | 70.7678 | 17.4913 | 455.3894 | 400 | 2048
2049 | 815.4707 | 887.803 | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 49.2 | 0 | 964.422 | -214.483 | -17.4317 | 76.619 | 18.2657 | 455.3894 | 400 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48948 | 0 | 0 | 0 | 0.27617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38583 | 1.4311 | 0 | 0.17889 | 0 | 0 | 0.77165 | 1.61 | 0.35778 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 1.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0.42766 | 0 | 0 | 0 | 0.51176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73566 | 2.6733 | 0 | 0.32049 | 0 | 0 | 1.8391 | 3.1745 | 0.64098 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.37341 | 0 | 0 | 0 | 0.74846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3397 | 3.7902 | 0 | 0.40934 | 0 | 0 | 2.6794 | 4.5482 | 0.81868 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.30745 | 0 | 0 | 0 | 0.6758 | 0 | 0.25439 | 0 | 0 | 0.48879 | 0 | 0 | 0.2444 | 0 | 0 | 1.1404 | 0.055212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2082 | 3.4057 | 0.17808 | 0.33603 | 0 | 0 | 2.4163 | 4.0869 | 0.67206 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.23917 | 0 | 0 | 0 | 0.59643 | 0 | 0.45585 | 0 | 0 | 0.90876 | 0 | 0 | 0.2179 | 0 | 0 | 1.0065 | 0.10261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0731 | 3.0058 | 0.33095 | 0.2613 | 0 | 0 | 2.1462 | 3.6069 | 0.52261 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.17018 | 0 | 0 | 0 | 0.51371 | 0 | 0.52922 | 0 | 0 | 1.2259 | 0 | 0 | 0.36776 | 0 | 0 | 0.86688 | 0.14067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95098 | 2.6174 | 0.45872 | 0.19104 | 0 | 0 | 1.902 | 3.1409 | 0.38208 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.11096 | 0.15107 | 0 | 0.53334 | 0.43094 | 0 | 0.5847 | 0 | 0 | 1.4698 | 0 | 0 | 0.4532 | 0 | 0 | 0.72722 | 0.16854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80855 | 2.2048 | 0.55189 | 0.12499 | 0 | 0 | 1.6171 | 2.6458 | 0.24997 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 25.856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.06191 | 0.16903 | 0 | 0.95232 | 0.35116 | 0 | 0.41375 | 0 | 0 | 1.5284 | 0 | 0 | 0.33806 | 0 | 0 | 0.59258 | 0.168 | 0 | 0 | 0 | 0 | 2.0842 | 0 | 0 | 0 | 0.65857 | 1.7895 | 0.52589 | 0.069601 | 0 | 0 | 1.3171 | 2.1474 | 0.1392 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 103.424 | 0 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.026877 | 0.17299 | 0 | 1.0674 | 0.27479 | 0 | 0.46375 | 0.26201 | 0 | 1.5642 | 0.48867 | 0 | 0.34598 | 0 | 0 | 0.46371 | 0.1607 | 0 | 0 | 0.52401 | 0 | 2.1331 | 1.7104 | 0 | 0 | 0.50793 | 1.3844 | 0.51815 | 0.02938 | 0 | 0 | 1.0159 | 1.6613 | 0.05876 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0.006354 | 0.1129 | 0 | 0.90353 | 0.20454 | 0 | 0.30487 | 0.47037 | 0 | 1.3145 | 0.90813 | 0 | 0.22581 | 0 | 0 | 0.34516 | 0.13531 | 0 | 0 | 0.94075 | 0 | 1.7925 | 3.4055 | 0 | 0 | 0.37974 | 1.0284 | 0.43541 | 0.0069451 | 0 | 0 | 0.75949 | 1.2341 | 0.01389 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0.063124 | 0 | 0.74311 | 0.097527 | 0 | 0.17204 | 0.4081 | 0 | 1.0712 | 0.83187 | 0 | 0.12625 | 0 | 0 | 0.16846 | 0.11027 | 0 | 0 | 0.81619 | 0 | 1.4607 | 3.1195 | 0 | 0 | 0.26604 | 0.7135 | 0.35497 | 0 | 0 | 0 | 0.53208 | 0.8562 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0.02645 | 0 | 0.5225 | 0.033598 | 0 | 0.066003 | 0.30193 | 0 | 0.82259 | 0.73579 | 0 | 0.0529 | 0 | 0 | 0.055996 | 0.086211 | 0 | 0 | 0.60387 | 0 | 1.1217 | 2.7592 | 0 | 0 | 0.17187 | 0.4543 | 0.27978 | 0 | 0 | 0 | 0.34373 | 0.54516 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0.0063462 | 0 | 0.43522 | 0 | 0 | 0.017495 | 0.26323 | 0 | 0.62022 | 0.65902 | 0 | 0.012692 | 0 | 0 | 0 | 0.064047 | 0 | 0 | 0.52647 | 0 | 0.84575 | 2.4713 | 0 | 0 | 0.092242 | 0.24477 | 0.20561 | 0 | 0 | 0 | 0.18448 | 0.29372 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0.30351 | 0 | 0 | 0 | 0.19186 | 0 | 0.42974 | 0.56843 | 0 | 0 | 0 | 0 | 0 | 0.035497 | 0 | 0 | 0.38372 | 0 | 0.58601 | 2.1316 | 0 | 0 | 0.038809 | 0.10237 | 0.14243 | 0 | 0 | 0 | 0.077618 | 0.12284 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0.19342 | 0 | 0 | 0 | 0.12639 | 0 | 0.2715 | 0.478 | 0 | 0 | 0 | 0 | 0 | 0.016802 | 0 | 0 | 0.25279 | 0 | 0.37023 | 1.7925 | 0 | 0 | 0.00853 | 0.022297 | 0.090078 | 0 | 0 | 0 | 0.01706 | 0.026756 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0.094727 | 0 | 0 | 0 | 0.063479 | 0 | 0.14532 | 0.38239 | 0 | 0 | 0 | 0 | 0 | 0.0061011 | 0 | 0 | 0.12696 | 0 | 0.19816 | 1.434 | 0 | 0 | 0 | 0 | 0.049478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0.044481 | 0 | 0 | 0 | 0.030391 | 0 | 0.06189 | 0.30431 | 0 | 0 | 0 | 0 | 0 | 0.0012763 | 0 | 0 | 0.060781 | 0 | 0.084395 | 1.1412 | 0 | 0 | 0 | 0 | 0.020478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0.0097222 | 0 | 0 | 0 | 0.0072222 | 0 | 0.01346 | 0.22613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.014444 | 0 | 0.018355 | 0.84798 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.098715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.022498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 180.992 | 51.712 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0048878 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0 | 0 | 180.992 | 51.712 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 180.992 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4786.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -184.8675 | 0 | 0 | 0 | -143.4435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -327.2171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -72.0114 | -632.0988 | 0 | 17.3574 | 0 | 0 | -248.1219 | -1202.7516 | 22.3465 | 0
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2986.43 | -363.8381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3407.1816 | -4166.5133 | 56.0623 | 0 | 0 | 0 | 6.9951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -119.0436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -37.4594 | -361.6275 | 0 | 44.319 | 0 | 0 | -289.8021 | -998.2032 | 77.3003 | 0
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -556.1657 | 0 | 0 | -1717.2837 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7728.8196 | -9181.8421 | 50.2436 | 0 | 0 | 0 | 122.6904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.2876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -67.3386 | -173.4856 | 0 | 64.9668 | 0 | 0 | -179.844 | -758.4694 | 119.9702 | 0
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -568.117 | 0 | 0 | -1703.2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7377.0011 | -8908.401 | 42.6795 | 0 | 0 | 0 | 399.948 | 0 | -152.8989 | 0 | 0 | -482.4309 | 0 | 0 | -167.8799 | 0 | 0 | 674.9122 | -41.5896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107.9699 | 646.1095 | -82.0563 | 63.7495 | 0 | 0 | 215.9399 | 775.3314 | 127.4989 | 0
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -582.6893 | 0 | 0 | -1615.9668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6766.6049 | -8330.3575 | 34.1819 | 0 | 0 | 0 | 363.86 | 0 | -106.6975 | 0 | 0 | -391.5004 | 0 | 0 | 31.1412 | 0 | 0 | 614.0138 | -7.7212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.9404 | 587.3736 | -45.017 | 51.0623 | 0 | 0 | 195.8808 | 704.8484 | 102.1247 | 0
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -790.3137 | 0 | 0 | -1492.0188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6271.3418 | -7890.4103 | 25.7301 | 0 | 0 | 0 | 325.6843 | 0 | -63.9763 | 0 | 0 | -301.2401 | 0 | 0 | -104.9856 | 0 | 0 | 549.5923 | 23.5308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.8913 | 526.2061 | -10.2915 | 38.4076 | 0 | 0 | 175.7825 | 631.4473 | 76.8152 | 0
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -749.0419 | 0 | 0 | -447.0013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -968.7619 | -2830.4888 | 20.9468 | -58.1994 | 0 | -813.8938 | 341.8016 | 0 | -8.2641 | 0 | 0 | -168.9585 | 0 | 0 | -49.0711 | 0 | 0 | 576.7902 | 73.407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.0629 | 551.5242 | 44.0799 | 31.2643 | 0 | 0 | 184.1258 | 661.8291 | 62.5286 | 0
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -962.945 | 0 | 0 | -538.6805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1070.2878 | -2992.7253 | 11.7361 | -36.7425 | 0 | -913.9549 | 279.1244 | 0 | -16.6736 | 0 | 0 | -313.2661 | 0 | 0 | -42.7056 | 0 | 0 | 471.0224 | 79.3621 | 0 | 0 | 0 | 0 | -3868.5229 | 0 | 0 | 0 | 75.2395 | 450.5405 | 47.8295 | 17.5235 | 0 | 0 | 150.479 | 540.6486 | 35.0471 | 0
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1181.1519 | 0 | 0 | -2572.5954 | 0 | -213.9414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1046.1651 | -3006.3558 | 5.1077 | 32.8751 | 0 | 193.9568 | 222.2053 | 0 | 84.2669 | -159.7974 | 0 | 297.2686 | -514.8048 | 0 | 65.7501 | 0 | 0 | 374.9715 | 129.9473 | 0 | 0 | -527.0007 | 0 | 405.3662 | -2682.5401 | 0 | 0 | 60.0905 | 359.435 | 134.5281 | 7.6279 | 0 | 0 | 120.1811 | 431.322 | 15.2558 | 0
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1406.8668 | 0 | 0 | -3807.0368 | -1537.3429 | -207.1244 | -408.703 | 0 | 0 | 0 | 0 | 0 | 0 | -811.8034 | -2788.8109 | 1.2266 | 21.7962 | 0 | 165.585 | 167.3698 | 0 | 55.8723 | -102.2842 | 0 | 253.7704 | -400.2352 | 0 | 43.5925 | 0 | 0 | 282.4365 | 110.7195 | 0 | 0 | -393.0555 | 0 | 346.0506 | -2599.9121 | 0 | 0 | 45.4366 | 270.97 | 114.7224 | 1.8299 | 0 | 0 | 90.8732 | 325.164 | 3.6599 | 0
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1434.8193 | 0 | 0 | -1961.7233 | -1010.1104 | -191.1657 | -397.735 | 0 | 0 | 0 | 0 | 0 | 0 | 190.7072 | -1756.2562 | 0 | 12.5235 | 0 | 138.3699 | 81.5316 | 0 | 32.0347 | 75.9892 | 0 | 212.5099 | 165.0374 | 0 | 25.0469 | 0 | 0 | 140.8273 | 92.1863 | 0 | 0 | 151.9785 | 0 | 289.7863 | 618.8903 | 0 | 0 | 32.5144 | 192.7532 | 95.8947 | 0 | 0 | 0 | 65.0289 | 231.3039 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1676.6941 | 0 | 0 | -2140.4098 | -1061.1637 | -180.6486 | -390.6927 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9467 | -2023.6118 | 0 | 5.4415 | 0 | 110.056 | 28.5489 | 0 | 13.9023 | 63.5969 | 0 | 169.2298 | 151.3719 | 0 | 10.8829 | 0 | 0 | 47.5815 | 73.2567 | 0 | 0 | 127.1938 | 0 | 230.7679 | 567.6446 | 0 | 0 | 20.9987 | 124.0317 | 76.3839 | 0 | 0 | 0 | 41.9974 | 148.8381 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1935.9749 | 0 | 0 | -1369.1448 | -840.8023 | -163.9101 | -379.0453 | 0 | 0 | 0 | 0 | 0 | 0 | 1221.416 | -857.6871 | 0 | 1.319 | 0 | 83.9951 | 0 | 0 | 3.3764 | 50.8022 | 0 | 128.91 | 136.9764 | 0 | 2.6381 | 0 | 0 | 0 | 55.8241 | 0 | 0 | 101.6044 | 0 | 175.7864 | 513.6616 | 0 | 0 | 11.7016 | 69.2098 | 58.1362 | 0 | 0 | 0 | 23.4033 | 83.0518 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1953.12 | 0 | 0 | 180.1304 | -398.1522 | -139.1524 | -361.2298 | 0 | 0 | 0 | 0 | 0 | 0 | 1768.228 | -359.2777 | 0 | 0 | 0 | 60.3367 | 0 | 0 | 0 | 38.1414 | 0 | 92.5657 | 122.4392 | 0 | 0 | 0 | 0 | 0 | 31.9594 | 0 | 0 | 76.2828 | 0 | 126.2259 | 459.1468 | 0 | 0 | 5.1072 | 30.0035 | 41.744 | 0 | 0 | 0 | 10.2144 | 36.0042 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2224.9465 | 0 | 0 | 1140.7994 | -123.6753 | -140.4233 | -363.6274 | 0 | 0 | 0 | 0 | 0 | 0 | 2251.7502 | 172.8452 | 0 | 0 | 0 | 38.2684 | 0 | 0 | 0 | 25.0071 | 0 | 58.7112 | 103.3656 | 0 | 0 | 0 | 0 | 0 | 15.2445 | 0 | 0 | 50.0141 | 0 | 80.0608 | 387.621 | 0 | 0 | 1.1127 | 6.559 | 26.4982 | 0 | 0 | 0 | 2.2254 | 7.8707 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2274.0504 | 0 | 0 | 1396.4709 | -50.6264 | -120.5762 | -349.5458 | 0 | 0 | 0 | 0 | 0 | 0 | 3089.3381 | 897.3291 | 0 | 0 | 0 | 21.4318 | 0 | 0 | 0 | 14.3621 | 0 | 32.874 | 86.5047 | 0 | 0 | 0 | 0 | 0 | 5.6865 | 0 | 0 | 28.7242 | 0 | 44.8281 | 324.3927 | 0 | 0 | 0 | 0 | 14.8297 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2527.3414 | 0 | 0 | 2841.6758 | 362.2893 | -95.2265 | -331.3501 | 0 | 0 | 0 | 0 | 0 | 0 | 4219.8109 | 1960.7613 | 0 | 0 | 0 | 9.2764 | 0 | 0 | 0 | 6.3379 | 0 | 14.2332 | 69.9843 | 0 | 0 | 0 | 0 | 0 | 1.2271 | 0 | 0 | 12.6759 | 0 | 19.4088 | 262.4413 | 0 | 0 | 0 | 0 | 6.4102 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2563.0598 | 0 | 0 | 3764.974 | 626.0888 | -78.6155 | -319.9759 | 0 | 0 | 0 | 0 | 0 | 0 | 4466.7169 | 2157.5908 | 0 | 0 | 0 | 2.0635 | 0 | 0 | 0 | 1.5329 | 0 | 3.1669 | 53.2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0658 | 0 | 4.3185 | 199.516 | 0 | 0 | 0 | 0 | 1.4278 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2836.9451 | 0 | 0 | 5384.9502 | 1088.9392 | -68.0192 | -313.3609 | 0 | 0 | 0 | 0 | 0 | 0 | 5561.1591 | 3325.2099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.4995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140.6232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2929.7951 | 0 | 0 | 4634.2128 | 874.4428 | -61.7043 | -309.7979 | 0 | 0 | 0 | 0 | 0 | 0 | 5369.3841 | 2998.2208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.7219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3232.1102 | 0 | 0 | 5807.3507 | 1209.625 | -42.6107 | -296.6144 | 0 | 0 | 0 | 0 | 0 | 0 | 6796.2801 | 4377.2679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3569.1026 | 0 | 0 | 6153.991 | 1308.6651 | -34.5459 | -291.9135 | 0 | 0 | 0 | 0 | 0 | 0 | 7511.4422 | 5062.4146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.2719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3620.9942 | 0 | 0 | 8902.7373 | 2094.0212 | -3.8195 | -270.0073 | 0 | 0 | 0 | 0 | 0 | 0 | 8825.8992 | 6375.9182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3997.1491 | 0 | 0 | 8183.8103 | 1888.6135 | 0 | -261.9742 | 0 | 0 | 0 | 0 | 0 | 0 | 9381.1635 | 6803.4763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4366.4782 | 0 | 0 | 9401.8976 | 2236.6384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10569.2933 | 7934.372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4744.6035 | 0 | 0 | 10648.521 | 2592.8165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11094.9063 | 8393.5342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5152.815 | 0 | 0 | 13011.3882 | 3267.9215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12780.9555 | 10137.091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5134.6427 | 0 | 0 | 12160.7732 | 3024.8886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13233.5663 | 10455.7507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Planning Period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6160.0901 | -15850.0283 | 0 | 0 | 6777.0879 | 1469.8927 | -612.0774 | -1479.9318 | 0 | 0 | 0 | 0 | 0 | 0 | -2539.6797 | -20696.8124 | 12.0752 | -17.1563 | 0 | -563.9919 | 1198.2253 | 0 | -133.1817 | -19.6192 | 0 | -472.0042 | -94.3505 | 0 | -134.9673 | 0 | 0 | 1785.229 | 272.7791 | 0 | 0 | -218.9481 | 0 | -1246.3776 | -1187.2781 | 0 | 0 | 210.6932 | 1154.5266 | 190.4482 | 219.6404 | 0 | 0 | 141.5721 | 205.7737 | 413.553 | 0
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9121.9472 | 0 | 0 | 21604.216 | 5373.8644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23510.0861 | 18575.1591 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6160.0901 | -24971.9755 | 0 | 0 | 28381.3039 | 6843.7571 | -612.0774 | -1479.9318 | 0 | 0 | 0 | 0 | 0 | 0 | 20970.4064 | -2121.6533 | 12.0752 | -17.1563 | 0 | -563.9919 | 1198.2253 | 0 | -133.1817 | -19.6192 | 0 | -472.0042 | -94.3505 | 0 | -134.9673 | 0 | 0 | 1785.229 | 272.7791 | 0 | 0 | -218.9481 | 0 | -1246.3776 | -1187.2781 | 0 | 0 | 210.6932 | 1154.5266 | 190.4482 | 219.6404 | 0 | 0 | 141.5721 | 205.7737 | 413.553 | 0
|  |  |  | System NPV | 22566380.2071
|  |  |  | Log File | -21411054.76
|  |  |  | Difference | 1155325.4471 |  | -5.396% | Results are different due to incorrect reporting of Annualized Build Costs in the Net Profits for Wind and Solar additions that retire before the end of the Planning Period

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0