## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) Case 7 CT in 2023
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 150 | 1091.1628 | -141.1961 | -5.4107 | 14.7467 | 10.3615 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.8094 | 1.022 | 0 | 0 | 24.6 | 0 | 1220.0355 | -141.4334 | -5.4316 | 143.3821 | 23.3686 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 2.3849 | 1.533 | 0 | 0 | 36.9 | 0 | 1235.9557 | -138.4928 | -5.1726 | 162.243 | 25.3208 | 0 | 300 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 2.1789 | 1.533 | 0 | 0 | 36.9 | 0 | 1234.6366 | -135.6776 | -4.9233 | 163.739 | 25.5161 | 0 | 300 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 1.9447 | 1.533 | 0 | 0 | 36.9 | 0 | 1233.222 | -133.1769 | -4.7008 | 164.8251 | 25.6657 | 0 | 300 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 1.6914 | 2.044 | 0 | 0 | 36.9 | 0 | 1232.3468 | -131.7449 | -4.5729 | 165.3819 | 25.7451 | 0 | 300 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 1.4377 | 2.044 | 0 | 0 | 36.9 | 0 | 1230.8347 | -130.8116 | -4.4893 | 164.8031 | 25.7007 | 0 | 300 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 1.1736 | 2.555 | 0 | 0 | 36.9 | 0 | 1229.7086 | -130.9359 | -4.5005 | 163.5527 | 25.5711 | 0 | 300 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 0.92608 | 3.066 | 77.568 | 0 | 36.9 | 0 | 1306.2467 | -129.9619 | -4.4131 | 241.0648 | 33.5087 | 151.7965 | 300 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4055 | 0.69136 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1198.5979 | -391.8251 | -31.179 | 133.4528 | 22.5104 | 455.3894 | 300 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4088 | 0.37626 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1197.2861 | -391.86 | -31.1813 | 132.1061 | 22.3723 | 455.3894 | 300 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5949 | 0.1758 | 4.088 | 232.704 | 0 | 36.9 | 0 | 1196.7828 | -391.7211 | -31.1723 | 131.7416 | 22.3368 | 455.3894 | 300 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91312 | 0.064047 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1196.5002 | -392.4548 | -31.2197 | 130.7253 | 22.2237 | 455.3894 | 300 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43902 | 0.035497 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1195.9975 | -392.8648 | -31.2461 | 129.8128 | 22.1254 | 455.3894 | 300 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15491 | 0.016802 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1196.2057 | -393.9875 | -31.3184 | 128.8982 | 22.0182 | 455.3894 | 300 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.0061011 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1196.0896 | -393.6911 | -31.2994 | 129.0785 | 22.0402 | 455.3894 | 300 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.0012763 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1196.5668 | -394.2481 | -31.3352 | 128.9986 | 22.0252 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1196.5495 | -394.733 | -31.3664 | 128.4965 | 21.968 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1197.056 | -396.5526 | -31.4831 | 127.1834 | 21.8122 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1197.056 | -396.7395 | -31.4951 | 126.9965 | 21.7909 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1197.567 | -397.2329 | -31.5266 | 127.0141 | 21.7867 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1198.078 | -397.4483 | -31.5404 | 127.3097 | 21.8142 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1198.078 | -397.9501 | -31.5725 | 126.8079 | 21.7571 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1198.589 | -398.6553 | -31.6175 | 126.6137 | 21.7289 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1199.1 | -398.5922 | -31.6135 | 127.1878 | 21.788 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1199.611 | -398.1677 | -31.5864 | 128.1233 | 21.8882 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1200.122 | -398.0043 | -31.576 | 128.7977 | 21.9587 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1200.122 | -397.1769 | -31.5231 | 129.6251 | 22.0529 | 455.3894 | 300 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48948 | 0 | 0 | 0 | 0.27617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38583 | 1.4311 | 0 | 0.17889 | 0 | 0 | 0.77165 | 1.61 | 0.35778 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 0.42766 | 0 | 0 | 0 | 0.51176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73566 | 2.6733 | 0 | 0.32049 | 0 | 0 | 1.8391 | 3.1745 | 0.64098 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.37341 | 0 | 0 | 0 | 0.74846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3397 | 3.7902 | 0 | 0.40934 | 0 | 0 | 2.6794 | 2.8805 | 0.81868 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.30745 | 0 | 0 | 0 | 0.6758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1404 | 0.055212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2082 | 3.4057 | 0.17808 | 0.33603 | 0 | 0 | 2.4163 | 2.5884 | 0.67206 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.23917 | 0 | 0 | 0 | 0.59643 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0065 | 0.10261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0731 | 3.0058 | 0.33095 | 0.2613 | 0 | 0 | 2.1462 | 2.2844 | 0.52261 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.17018 | 0 | 0 | 0 | 0.51371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86688 | 0.14067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95098 | 2.6174 | 0.45872 | 0.19104 | 0 | 0 | 1.902 | 1.9892 | 0.38208 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.11096 | 0 | 0 | 0 | 0.43094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72722 | 0.16854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80855 | 2.2048 | 0.55189 | 0.12499 | 0 | 0 | 1.6171 | 1.6757 | 0.24997 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.06191 | 0 | 0 | 0 | 0.35116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.59258 | 0.168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65857 | 1.7895 | 0.52589 | 0.069601 | 0 | 0 | 1.3171 | 1.36 | 0.1392 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.026877 | 0 | 0 | 0 | 0.27479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46371 | 0.1607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.50793 | 1.3844 | 0.51815 | 0.02938 | 0 | 0 | 1.0159 | 1.0522 | 0.05876 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.006354 | 0 | 0 | 0 | 0.20454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34516 | 0.13531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37974 | 1.0284 | 0.43541 | 0.0069451 | 0 | 0 | 0.75949 | 0.7816 | 0.01389 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0.097527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16846 | 0.11027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26604 | 0.7135 | 0.35497 | 0 | 0 | 0 | 0.53208 | 0.54226 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0.033598 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055996 | 0.086211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17187 | 0.4543 | 0.27978 | 0 | 0 | 0 | 0.34373 | 0.34527 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.092242 | 0.24477 | 0.20561 | 0 | 0 | 0 | 0.18448 | 0.18602 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.035497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.038809 | 0.10237 | 0.14243 | 0 | 0 | 0 | 0.077618 | 0.077801 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.016802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00853 | 0.022297 | 0.090078 | 0 | 0 | 0 | 0.01706 | 0.016945 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0061011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4786.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -184.8675 | 0 | 0 | 0 | -143.4435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -327.2171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -72.0114 | -632.0988 | 0 | 17.3574 | 0 | 0 | -248.1219 | -1202.7516 | 22.3465 | 0
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | -32939.4483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -363.8381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3407.1816 | -4166.5133 | 56.0623 | 0 | 0 | 0 | 6.9951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -119.0436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -37.4594 | -361.6275 | 0 | 44.319 | 0 | 0 | -289.8021 | -998.2032 | 77.3003 | 0
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | -33094.9673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -556.1657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7728.8196 | -3888.1793 | 50.2436 | 0 | 0 | 0 | 122.6904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.2876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -67.3386 | -173.4856 | 0 | 64.9668 | 0 | 0 | -179.844 | 528.4951 | 119.9702 | 0
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | -33251.5987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -568.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7377.0507 | -3751.4842 | 42.6795 | 0 | 0 | 0 | 399.9477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 674.9117 | -41.5896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107.9699 | 646.1099 | -82.0563 | 63.7495 | 0 | 0 | 215.9398 | 491.0436 | 127.499 | 0
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | -33406.7409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -582.691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6766.6038 | -3462.4366 | 34.1821 | 0 | 0 | 0 | 363.8566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 614.008 | -7.7218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.9405 | 587.3737 | -45.017 | 51.0624 | 0 | 0 | 195.8811 | 446.404 | 102.1247 | 0
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | -33520.5783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -790.3137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6271.3418 | -3242.4634 | 25.7301 | 0 | 0 | 0 | 325.6843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 549.5923 | 23.5308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.8913 | 526.2061 | -10.2915 | 38.4076 | 0 | 0 | 175.7825 | 399.9166 | 76.8152 | 0
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | -33572.3857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -749.0391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -968.5647 | -712.3951 | 20.9468 | 0 | 0 | 0 | 341.8003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 576.788 | 73.4065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.0628 | 551.5243 | 44.0799 | 31.2643 | 0 | 0 | 184.1255 | 419.1585 | 62.5286 | 0
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | -33782.1355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -962.945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1070.2878 | -793.6209 | 11.7361 | 0 | 0 | 0 | 279.1244 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 471.0224 | 79.3621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.2395 | 450.5405 | 47.8295 | 17.5235 | 0 | 0 | 150.479 | 342.4108 | 35.0471 | 0
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | -33969.0296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1181.1519 | 0 | 0 | -2122.3716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1046.1651 | -800.4361 | 5.1077 | 0 | 0 | 0 | 222.2053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 374.9715 | 129.9473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.0905 | 359.435 | 134.5281 | 7.6279 | 0 | 0 | 120.1811 | 273.1706 | 15.2558 | 0
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | -34128.8479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1406.8668 | 0 | 0 | -3443.1297 | -2306.0143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -811.8034 | -691.6637 | 1.2266 | 0 | 0 | 0 | 167.3698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 282.4365 | 110.7195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45.4366 | 270.97 | 114.7224 | 1.8299 | 0 | 0 | 90.8732 | 205.9372 | 3.6599 | 0
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | -34122.7002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1434.8193 | 0 | 0 | -1861.4324 | -1515.1656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190.7072 | -175.3863 | 0 | 0 | 0 | 0 | 81.5316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140.8273 | 92.1863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.5144 | 192.7532 | 95.8947 | 0 | 0 | 0 | 65.0289 | 146.4925 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | -34153.7477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1676.6941 | 0 | 0 | -2014.5923 | -1591.7455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9467 | -309.0641 | 0 | 0 | 0 | 0 | 28.5489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.5815 | 73.2567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9987 | 124.0317 | 76.3839 | 0 | 0 | 0 | 41.9974 | 94.2641 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | -34415.9817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1935.9749 | 0 | 0 | -1353.508 | -1261.2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1221.416 | 273.8982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.8241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7016 | 69.2098 | 58.1362 | 0 | 0 | 0 | 23.4033 | 52.5995 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | -34366.8626 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1953.12 | 0 | 0 | -25.5578 | -597.2283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1768.228 | 523.1029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1072 | 30.0035 | 41.744 | 0 | 0 | 0 | 10.2144 | 22.8027 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | -34783.9285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2224.9465 | 0 | 0 | 797.8728 | -185.513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2251.7502 | 789.1644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.2445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1127 | 6.559 | 26.4982 | 0 | 0 | 0 | 2.2254 | 4.9848 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | -35018.2305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2274.05 | 0 | 0 | 1017.0239 | -75.9375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3089.4797 | 1151.4826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.8296 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | -35010.5887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2527.3417 | 0 | 0 | 2255.7661 | 543.4337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4219.6634 | 1683.0424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4102 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | -35247.8917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2563.0598 | 0 | 0 | 3047.1653 | 939.1332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4466.7169 | 1781.5372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4278 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | -35551.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2836.9331 | 0 | 0 | 4436.538 | 1633.8196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5560.555 | 2365.0329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | -36024.2285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2929.7951 | 0 | 0 | 3792.2271 | 1311.6642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5369.3841 | 2201.8522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | -36247.5953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3232.1102 | 0 | 0 | 4797.7739 | 1814.4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6796.2801 | 2891.3757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | -36580.768 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3569.1026 | 0 | 0 | 5094.8941 | 1962.9976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7511.4422 | 3233.9491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | -36840.6462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3620.9942 | 0 | 0 | 7450.9624 | 3141.0318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8825.8992 | 3890.7009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | -37092.4262 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3997.1491 | 0 | 0 | 6834.7393 | 2832.9202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9381.1635 | 4104.4799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | -37310.2616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4366.4782 | 0 | 0 | 7878.8141 | 3354.9576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10569.2933 | 4669.9278 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | -37522.5264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4744.6035 | 0 | 0 | 8947.3484 | 3889.2248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11094.9063 | 4899.5089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | -37768.4568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5152.815 | 0 | 0 | 10972.6632 | 4901.8822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12780.9555 | 5771.2873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | -38024.3905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5134.6427 | 0 | 0 | 10243.5645 | 4537.3329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13233.5663 | 5930.6171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 2020-2024 |  |  |  | -48461.027 | [7 empty] | -670.3638 |  |  | 0 | 0 | [8 empty] | -8063.9166 | -5918.6511
[5 empty] | 2020-2029 |  |  |  | -145434.3434 | [7 empty] | -2748.1003 |  |  | 0 | 0 | [8 empty] | -21795.4292 | -13189.013
[5 empty] | 2020-2034 |  |  |  | -215501.9983 | [7 empty] | -5831.8291 |  |  | -4511.7979 | -2683.7499 | [8 empty] | -22120.5056 | -13958.9115
[5 empty] | Planning Period | 0 | 0 | 0 | -330900.7387 | 0 | 0 | 0 | 0 | 0 | 0 | -3892.7957 | -15850.022 | 0 | 0 | 9023.6985 | 2204.9363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2539.7467 | -5695.7401 | 12.0753 | 0 | 0 | 0 | 1198.2223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1785.2239 | 272.7785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.6932 | 1154.5269 | 190.4482 | 219.6404 | 0 | 0 | 141.5721 | 208.7141 | 413.5531 | 0
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | -67552.2135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9121.9472 | 0 | 0 | 18198.1999 | 8060.7966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23510.0861 | 10536.0351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | -398452.9521 | 0 | 0 | 0 | 0 | 0 | 0 | -3892.7957 | -24971.9691 | 0 | 0 | 27221.8984 | 10265.7329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20970.3393 | 4840.2951 | 12.0753 | 0 | 0 | 0 | 1198.2223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1785.2239 | 272.7785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.6932 | 1154.5269 | 190.4482 | 219.6404 | 0 | 0 | 141.5721 | 208.7141 | 413.5531 | 0
0
|  |  |  | System NPV | -358212003.2965
|  |  |  | Log File | 358274615.11
|  |  |  | Difference | 62611.8135 |  | 0.01748% | Results are different due to incorrect reporting of Annualized Build Costs in the Net Profits for Wind and Solar additions that retire before the end of the Planning Period

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0