## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) Case 8 CC in 2024
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 4.4011 | 0 | 0 | 0 | 0 | 150 | 1094.3563 | -141.1961 | -5.4107 | 17.9403 | 10.6845 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 6.5259 | 1.022 | 0 | 0 | 24.6 | 100 | 1076.7519 | -141.4334 | -5.4316 | 0.0985 | 8.88 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 6.6657 | 1.533 | 0 | 0 | 36.9 | 0 | 1393.2365 | -138.4928 | -5.1726 | 319.5237 | 41.2684 | 0 | 300 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 5.8187 | 1.533 | 0 | 0 | 36.9 | 0 | 1391.2764 | -135.6776 | -4.9233 | 320.3788 | 41.4405 | 0 | 300 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 4.916 | 1.533 | 0 | 0 | 36.9 | 0 | 1389.1933 | -133.1769 | -4.7008 | 320.7964 | 41.5593 | 0 | 300 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 3.9332 | 2.044 | 0 | 0 | 36.9 | 0 | 1387.5886 | -131.7449 | -4.5729 | 320.6236 | 41.5855 | 0 | 300 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 3.0848 | 2.044 | 0 | 0 | 36.9 | 0 | 1385.4818 | -130.8116 | -4.4893 | 319.4502 | 41.4943 | 0 | 300 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 2.303 | 2.555 | 0 | 0 | 36.9 | 0 | 1383.8379 | -130.9359 | -4.5005 | 317.6821 | 41.31 | 0 | 300 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 1.6635 | 3.066 | 77.568 | 0 | 36.9 | 0 | 1459.9841 | -129.9619 | -4.4131 | 394.8022 | 49.2219 | 151.7965 | 300 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4055 | 1.1352 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1352.0417 | -391.8251 | -31.179 | 286.8966 | 38.1941 | 455.3894 | 300 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4088 | 0.65028 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1350.5601 | -391.86 | -31.1813 | 285.3801 | 38.0382 | 455.3894 | 300 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5949 | 0.34581 | 4.088 | 232.704 | 0 | 36.9 | 0 | 1349.9528 | -391.7211 | -31.1723 | 284.9116 | 37.9941 | 455.3894 | 300 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91312 | 0.15802 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1349.5941 | -392.4548 | -31.2197 | 283.8193 | 37.8624 | 455.3894 | 300 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43902 | 0.074809 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1349.0368 | -392.8648 | -31.2461 | 282.8521 | 37.7525 | 455.3894 | 300 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15491 | 0.025355 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1349.2143 | -393.9875 | -31.3184 | 281.9068 | 37.6257 | 455.3894 | 300 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.0061011 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1349.0896 | -393.6911 | -31.2994 | 282.0785 | 37.6512 | 455.3894 | 300 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.0012763 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1349.5668 | -394.2481 | -31.3352 | 281.9986 | 37.6281 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1349.5495 | -394.733 | -31.3664 | 281.4965 | 37.5638 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1350.056 | -396.5526 | -31.4831 | 280.1834 | 37.3814 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1350.056 | -396.7395 | -31.4951 | 279.9965 | 37.3574 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1350.567 | -397.2329 | -31.5266 | 280.0141 | 37.3461 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1351.078 | -397.4483 | -31.5404 | 280.3097 | 37.3704 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1351.078 | -397.9501 | -31.5725 | 279.8079 | 37.306 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1351.589 | -398.6553 | -31.6175 | 279.6137 | 37.2676 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1352.1 | -398.5922 | -31.6135 | 280.1878 | 37.3276 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1352.611 | -398.1677 | -31.5864 | 281.1233 | 37.4339 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1353.122 | -398.0043 | -31.576 | 281.7977 | 37.5068 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1353.122 | -397.1769 | -31.5231 | 282.6251 | 37.6131 | 455.3894 | 300 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48948 | 0 | 0 | 0 | 0.27617 | 0.50147 | 0 | 0 | 1.7132 | 0 | 0 | 0.97895 | 0 | 0 | 0 | 0.44187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38583 | 1.4311 | 0 | 0.17889 | 0 | 0 | 0.77165 | 1.61 | 0.35778 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 1.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 1.0692 | 0 | 0 | 0 | 0.51176 | 0.80362 | 0 | 0 | 1.5607 | 0 | 0 | 1.7107 | 0 | 0 | 0 | 0.86999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73566 | 2.6733 | 0 | 0.32049 | 0 | 0 | 1.8391 | 3.1745 | 0.64098 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.93353 | 0 | 0 | 0 | 0.74846 | 0.77482 | 0 | 0 | 1.4522 | 0 | 0 | 1.4937 | 0 | 0 | 0 | 1.263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3397 | 3.7902 | 0 | 0.40934 | 0 | 0 | 2.6794 | 2.8805 | 0.81868 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.76863 | 0 | 0 | 0 | 0.6758 | 0.64005 | 0 | 0 | 1.3087 | 0 | 0 | 1.2298 | 0 | 0 | 0 | 1.1404 | 0.055212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2082 | 3.4057 | 0.17808 | 0.33603 | 0 | 0 | 2.4163 | 2.5884 | 0.67206 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.59794 | 0 | 0 | 0 | 0.59643 | 0.50036 | 0 | 0 | 1.1555 | 0 | 0 | 0.9567 | 0 | 0 | 0 | 1.0065 | 0.10261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0731 | 3.0058 | 0.33095 | 0.2613 | 0 | 0 | 2.1462 | 2.2844 | 0.52261 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.42545 | 0 | 0 | 0 | 0.51371 | 0.32653 | 0 | 0 | 0.97925 | 0 | 0 | 0.68072 | 0 | 0 | 0 | 0.86688 | 0.14067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95098 | 2.6174 | 0.45872 | 0.19104 | 0 | 0 | 1.902 | 1.9892 | 0.38208 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.27739 | 0 | 0 | 0 | 0.43094 | 0.21473 | 0 | 0 | 0.8221 | 0 | 0 | 0.44383 | 0 | 0 | 0 | 0.72722 | 0.16854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80855 | 2.2048 | 0.55189 | 0.12499 | 0 | 0 | 1.6171 | 1.6757 | 0.24997 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.15477 | 0 | 0 | 0 | 0.35116 | 0.12035 | 0 | 0 | 0.66853 | 0 | 0 | 0.24764 | 0 | 0 | 0 | 0.59258 | 0.168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65857 | 1.7895 | 0.52589 | 0.069601 | 0 | 0 | 1.3171 | 1.36 | 0.1392 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.067192 | 0 | 0 | 0 | 0.27479 | 0.057641 | 0 | 0 | 0.53192 | 0 | 0 | 0.10751 | 0 | 0 | 0 | 0.46371 | 0.1607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.50793 | 1.3844 | 0.51815 | 0.02938 | 0 | 0 | 1.0159 | 1.0522 | 0.05876 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0.015885 | 0 | 0 | 0 | 0.20454 | 0.013726 | 0 | 0 | 0.39517 | 0 | 0 | 0.025416 | 0 | 0 | 0 | 0.34516 | 0.13531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37974 | 1.0284 | 0.43541 | 0.0069451 | 0 | 0 | 0.75949 | 0.7816 | 0.01389 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0.097527 | 0 | 0 | 0 | 0.27403 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16846 | 0.11027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26604 | 0.7135 | 0.35497 | 0 | 0 | 0 | 0.53208 | 0.54226 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0.033598 | 0 | 0 | 0 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055996 | 0.086211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17187 | 0.4543 | 0.27978 | 0 | 0 | 0 | 0.34373 | 0.34527 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.093972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.092242 | 0.24477 | 0.20561 | 0 | 0 | 0 | 0.18448 | 0.18602 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.039312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.035497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.038809 | 0.10237 | 0.14243 | 0 | 0 | 0 | 0.077618 | 0.077801 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0085532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.016802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00853 | 0.022297 | 0.090078 | 0 | 0 | 0 | 0.01706 | 0.016945 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0061011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_25 | KP_R_AP_Appliances_30 | KP_R_AP_HVAC_25 | KP_R_AP_HVAC_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_25 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_25 | KP_R_HAP_Appliances_30 | KP_R_HAP_HVAC_25 | KP_R_HAP_HVAC_30 | KP_R_HAP_Light_25 | KP_R_HAP_Light_30 | KP_R_HAP_Shell_25 | KP_R_HAP_Shell_30 | KP_R_HAP_Shell_40 | KP_R_HAP_Water Heat_25 | KP_R_HAP_Water Heat_30 | KP_R_HAP_Water Heat_40 | KP_C_AP_Heat Pump_25 | KP_C_AP_Heat Pump_30 | KP_C_AP_HVAC_25 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_AP_Outdoor Light_25 | KP_C_HAP_Heat Pump_25 | KP_C_HAP_HVAC_25 | KP_C_HAP_Indoor HID Fluor Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_C_HAP_Outdoor Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4786.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -184.8675 | 0 | 0 | 0 | -143.4435 | -292.3233 | 0 | 0 | -1602.6627 | 0 | 0 | -639.5591 | 0 | 0 | 0 | -327.2171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -72.0114 | -632.0988 | 0 | 17.3574 | 0 | 0 | -248.1219 | -1202.7516 | 22.3465 | 0
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2986.43 | -363.8381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3407.1816 | -4166.5133 | -193.9118 | 0 | 0 | 0 | 6.9951 | -206.9653 | 0 | 0 | 204.5866 | 0 | 0 | -466.3711 | 0 | 0 | 0 | -119.0436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -37.4594 | -361.6275 | 0 | 44.319 | 0 | 0 | -289.8021 | -998.2032 | 77.3003 | 0
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | -28105.1098 | 0 | 0 | 0 | 0 | 0 | -556.1657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7728.8196 | -3888.1793 | 125.6089 | 0 | 0 | 0 | 122.6904 | 103.1239 | 0 | 0 | 195.3915 | 0 | 0 | 200.9741 | 0 | 0 | 0 | 109.2876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -67.3386 | -173.4856 | 0 | 64.9668 | 0 | 0 | -179.844 | 528.4951 | 119.9702 | 0
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | -28179.8784 | 0 | 0 | 0 | 0 | 0 | -568.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7377.0507 | -3751.4842 | 106.6987 | 0 | 0 | 0 | 399.9477 | 87.5291 | 0 | 0 | 181.6763 | 0 | 0 | 170.718 | 0 | 0 | 0 | 674.9117 | -41.5896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107.9699 | 646.1099 | -82.0563 | 63.7495 | 0 | 0 | 215.9398 | 491.0436 | 127.499 | 0
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | -28435.4789 | 0 | 0 | 0 | 0 | 0 | -582.691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6766.6038 | -3462.4366 | 85.4552 | 0 | 0 | 0 | 363.8566 | 70.0986 | 0 | 0 | 165.1434 | 0 | 0 | 136.7283 | 0 | 0 | 0 | 614.008 | -7.7218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.9405 | 587.3737 | -45.017 | 51.0624 | 0 | 0 | 195.8811 | 446.404 | 102.1247 | 0
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | -27611.3871 | 0 | 0 | 0 | 0 | 0 | -790.3137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6271.3418 | -3242.4634 | 64.3252 | 0 | 0 | 0 | 325.6843 | 52.7726 | 0 | 0 | 148.0568 | 0 | 0 | 102.9202 | 0 | 0 | 0 | 549.5923 | 23.5308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.8913 | 526.2061 | -10.2915 | 38.4076 | 0 | 0 | 175.7825 | 399.9166 | 76.8152 | 0
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | -23092.096 | 0 | 0 | 0 | 0 | 0 | -749.0391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -968.5647 | -712.3951 | 52.3671 | 0 | 0 | 0 | 341.8003 | 42.961 | 0 | 0 | 155.1972 | 0 | 0 | 83.7875 | 0 | 0 | 0 | 576.788 | 73.4065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.0628 | 551.5243 | 44.0799 | 31.2643 | 0 | 0 | 184.1255 | 419.1585 | 62.5286 | 0
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | -25611.4996 | 0 | 0 | 0 | 0 | 0 | -962.945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1070.2878 | -793.6209 | 29.3401 | 0 | 0 | 0 | 279.1244 | 24.1081 | 0 | 0 | 126.731 | 0 | 0 | 46.9441 | 0 | 0 | 0 | 471.0224 | 79.3621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.2395 | 450.5405 | 47.8295 | 17.5235 | 0 | 0 | 150.479 | 342.4108 | 35.0471 | 0
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | -26526.9025 | 0 | 0 | 0 | 0 | 0 | -1181.1519 | 0 | 0 | -2122.3716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1046.1651 | -800.4361 | 12.7693 | 0 | 0 | 0 | 222.2053 | 10.4739 | 0 | 0 | 101.0862 | 0 | 0 | 20.4308 | 0 | 0 | 0 | 374.9715 | 129.9473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.0905 | 359.435 | 134.5281 | 7.6279 | 0 | 0 | 120.1811 | 273.1706 | 15.2558 | 0
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | 0 | 0 | -26960.1188 | 0 | 0 | 0 | 0 | 0 | -1406.8668 | 0 | 0 | -3443.1297 | -2306.0143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -811.8034 | -691.6637 | 3.0666 | 0 | 0 | 0 | 167.3698 | 2.5155 | 0 | 0 | 76.2868 | 0 | 0 | 4.9065 | 0 | 0 | 0 | 282.4365 | 110.7195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45.4366 | 270.97 | 114.7224 | 1.8299 | 0 | 0 | 90.8732 | 205.9372 | 3.6599 | 0
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | 0 | 0 | -26769.7332 | 0 | 0 | 0 | 0 | 0 | -1434.8193 | 0 | 0 | -1861.4324 | -1515.1656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190.7072 | -175.3863 | 0 | 0 | 0 | 0 | 81.5316 | 0 | 0 | 0 | 54.3653 | 0 | 0 | 0 | 0 | 0 | 0 | 140.8273 | 92.1863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.5144 | 192.7532 | 95.8947 | 0 | 0 | 0 | 65.0289 | 146.4925 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | 0 | 0 | -27306.9592 | 0 | 0 | 0 | 0 | 0 | -1676.6941 | 0 | 0 | -2014.5923 | -1591.7455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9467 | -309.0641 | 0 | 0 | 0 | 0 | 28.5489 | 0 | 0 | 0 | 34.9738 | 0 | 0 | 0 | 0 | 0 | 0 | 47.5815 | 73.2567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9987 | 124.0317 | 76.3839 | 0 | 0 | 0 | 41.9974 | 94.2641 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | 0 | 0 | -28374.406 | 0 | 0 | 0 | 0 | 0 | -1935.9749 | 0 | 0 | -1353.508 | -1261.2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1221.416 | 273.8982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.8241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7016 | 69.2098 | 58.1362 | 0 | 0 | 0 | 23.4033 | 52.5995 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | 0 | 0 | -27326.612 | 0 | 0 | 0 | 0 | 0 | -1953.12 | 0 | 0 | -25.5578 | -597.2283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1768.228 | 523.1029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1072 | 30.0035 | 41.744 | 0 | 0 | 0 | 10.2144 | 22.8027 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | 0 | 0 | -28559.9434 | 0 | 0 | 0 | 0 | 0 | -2224.9465 | 0 | 0 | 797.8728 | -185.513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2251.7502 | 789.1644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.2445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1127 | 6.559 | 26.4982 | 0 | 0 | 0 | 2.2254 | 4.9848 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | 0 | 0 | -29520.9738 | 0 | 0 | 0 | 0 | 0 | -2274.05 | 0 | 0 | 1017.0239 | -75.9375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3089.4797 | 1151.4826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.8296 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | 0 | 0 | -29152.7005 | 0 | 0 | 0 | 0 | 0 | -2527.3417 | 0 | 0 | 2255.7661 | 543.4337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4219.6634 | 1683.0424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4102 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | 0 | 0 | -29695.354 | 0 | 0 | 0 | 0 | 0 | -2563.0598 | 0 | 0 | 3047.1653 | 939.1332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4466.7169 | 1781.5372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4278 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | 0 | 0 | -29982.2327 | 0 | 0 | 0 | 0 | 0 | -2836.9331 | 0 | 0 | 4436.538 | 1633.8196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5560.555 | 2365.0329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | 0 | 0 | -32319.3361 | 0 | 0 | 0 | 0 | 0 | -2929.7951 | 0 | 0 | 3792.2271 | 1311.6642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5369.3841 | 2201.8522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | 0 | 0 | -33255.4313 | 0 | 0 | 0 | 0 | 0 | -3232.1102 | 0 | 0 | 4797.7739 | 1814.4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6796.2801 | 2891.3757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | 0 | 0 | -35270.7343 | 0 | 0 | 0 | 0 | 0 | -3569.1026 | 0 | 0 | 5094.8941 | 1962.9976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7511.4422 | 3233.9491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | 0 | 0 | -34965.9833 | 0 | 0 | 0 | 0 | 0 | -3620.9942 | 0 | 0 | 7450.9624 | 3141.0318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8825.8992 | 3890.7009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | 0 | 0 | -36865.0137 | 0 | 0 | 0 | 0 | 0 | -3997.1491 | 0 | 0 | 6834.7393 | 2832.9202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9381.1635 | 4104.4799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | 0 | 0 | -37251.5306 | 0 | 0 | 0 | 0 | 0 | -4366.4782 | 0 | 0 | 7878.8141 | 3354.9576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10569.2933 | 4669.9278 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | 0 | 0 | -37178.2618 | 0 | 0 | 0 | 0 | 0 | -4744.6035 | 0 | 0 | 8947.3484 | 3889.2248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11094.9063 | 4899.5089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | -37386.5218 | 0 | 0 | 0 | 0 | 0 | -5152.815 | 0 | 0 | 10972.6632 | 4901.8822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12780.9555 | 5771.2873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | 0 | 0 | -38688.2088 | 0 | 0 | 0 | 0 | 0 | -5134.6427 | 0 | 0 | 10243.5645 | 4537.3329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13233.5663 | 5930.6171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 2020-2024 | [5 empty] | -19917.2677 | [5 empty] | -670.3638 |  |  | 0 | 0 | [8 empty] | -8063.9166 | -5918.6511
[5 empty] | 2020-2029 | [5 empty] | -97317.9705 | [5 empty] | -2748.1003 |  |  | 0 | 0 | [8 empty] | -21795.4292 | -13189.013
[5 empty] | 2020-2034 | [5 empty] | -152995.6698 | [5 empty] | -5831.8291 |  |  | -4511.7979 | -2683.7499 | [8 empty] | -22120.5056 | -13958.9115
[5 empty] | Planning Period | 0 | 0 | 0 | 0 | 0 | -256160.8066 | 0 | 0 | 0 | 0 | -6160.0901 | -15850.022 | 0 | 0 | 9023.6985 | 2204.9363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2539.7467 | -5695.7401 | 2.1017 | 0 | 0 | 0 | 1198.2223 | -148.9674 | 0 | 0 | -428.418 | 0 | 0 | -394.757 | 0 | 0 | 0 | 1785.2239 | 272.7785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.6932 | 1154.5269 | 190.4482 | 219.6404 | 0 | 0 | 141.5721 | 208.7141 | 413.5531 | 0
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | 0 | 0 | -68731.5196 | 0 | 0 | 0 | 0 | 0 | -9121.9472 | 0 | 0 | 18198.1999 | 8060.7966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23510.0861 | 10536.0351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | 0 | 0 | -324892.3262 | 0 | 0 | 0 | 0 | -6160.0901 | -24971.9691 | 0 | 0 | 27221.8984 | 10265.7329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20970.3393 | 4840.2951 | 2.1017 | 0 | 0 | 0 | 1198.2223 | -148.9674 | 0 | 0 | -428.418 | 0 | 0 | -394.757 | 0 | 0 | 0 | 1785.2239 | 272.7785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.6932 | 1154.5269 | 190.4482 | 219.6404 | 0 | 0 | 141.5721 | 208.7141 | 413.5531 | 0
|  |  |  | System NPV | -287900787.6214
|  |  |  | Log File | 287958316.76
|  |  |  | Difference | 57529.1386 |  | 0.01998% | Results are different due to incorrect reporting of Annualized Build Costs in the Net Profits for Wind and Solar additions that retire before the end of the Planning Period

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0