## Capacity Position
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Preferred Plan with ST PPA Allowed 2022-2024 and Limited EE Available
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9678 | 0.27617 | 0 | 0 | 0 | 0 | 150 | 1087.4639 | -141.1961 | -5.4107 | 11.0479 | 9.9874 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6348 | 0.51176 | 1.022 | 51.712 | 0 | 0 | 100 | 1092.1005 | -141.4334 | -5.4316 | 15.4471 | 10.432 | 101.1977 | 0 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0182 | 0.74846 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1076.0694 | -138.4928 | -5.1726 | 2.3567 | 9.109 | 252.9941 | 0 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5919 | 0.73101 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1075.6257 | -135.6776 | -4.9233 | 4.7281 | 9.3507 | 252.9941 | 0 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1206 | 0.69904 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1075.1225 | -133.1769 | -4.7008 | 6.7256 | 9.5553 | 252.9941 | 0 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6492 | 0.65438 | 2.044 | 129.28 | 4.2698 | 0 | 0 | 1075.1174 | -131.7449 | -4.5729 | 8.1525 | 9.7019 | 252.9941 | 0 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1317 | 0.59949 | 2.044 | 129.28 | 4.2698 | 12.3 | 0 | 1086.845 | -130.8116 | -4.4893 | 20.8134 | 10.9956 | 252.9941 | 100 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5242 | 0.51916 | 2.555 | 129.28 | 4.2698 | 12.3 | 0 | 1086.6681 | -130.9359 | -4.5005 | 20.5123 | 10.9646 | 252.9941 | 100 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9907 | 1.1862 | 3.066 | 129.28 | 4.2698 | 24.6 | 0 | 1099.6127 | -129.9619 | -4.4131 | 34.4307 | 12.3891 | 252.9941 | 200 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4847 | 1.4832 | 3.577 | 232.704 | 7.5539 | 24.6 | 0 | 1066.7227 | -391.8251 | -31.179 | 1.5777 | 9.0313 | 455.3894 | 200 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0685 | 1.6597 | 3.577 | 232.704 | 7.5539 | 24.6 | 0 | 1066.483 | -391.86 | -31.1813 | 1.303 | 9.0032 | 455.3894 | 200 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73408 | 1.3745 | 4.088 | 232.704 | 7.5539 | 24.6 | 0 | 1066.3744 | -391.7211 | -31.1723 | 1.3333 | 9.0063 | 455.3894 | 200 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45037 | 1.349 | 4.599 | 232.704 | 7.5539 | 24.6 | 0 | 1066.5762 | -392.4548 | -31.2197 | 0.80139 | 8.9519 | 455.3894 | 200 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2448 | 1.5525 | 4.599 | 232.704 | 7.5539 | 24.6 | 0 | 1066.5742 | -392.8648 | -31.2461 | 0.38945 | 8.9098 | 455.3894 | 200 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11237 | 1.9426 | 5.11 | 232.704 | 7.5539 | 24.6 | 0 | 1067.3429 | -393.9875 | -31.3184 | 0.035384 | 8.8736 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 1.694 | 5.11 | 232.704 | 7.5539 | 24.6 | 0 | 1067.0314 | -393.6911 | -31.2994 | 0.020238 | 8.8721 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 1.264 | 5.621 | 232.704 | 7.5539 | 36.9 | 0 | 1079.3834 | -394.2481 | -31.3352 | 11.8153 | 10.0749 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.87687 | 5.621 | 232.704 | 3.2841 | 36.9 | 0 | 1074.7104 | -394.733 | -31.3664 | 6.6574 | 9.5486 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58653 | 6.132 | 232.704 | 3.2841 | 36.9 | 0 | 1074.9266 | -396.5526 | -31.4831 | 5.054 | 9.3843 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37018 | 6.132 | 232.704 | 3.2841 | 36.9 | 0 | 1074.7103 | -396.7395 | -31.4951 | 4.6508 | 9.3432 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20162 | 6.643 | 232.704 | 3.2841 | 36.9 | 0 | 1075.0527 | -397.2329 | -31.5266 | 4.4998 | 9.3276 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084368 | 7.154 | 232.704 | 3.2841 | 36.9 | 0 | 1075.4465 | -397.4483 | -31.5404 | 4.6782 | 9.3456 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018329 | 7.154 | 232.704 | 3.2841 | 36.9 | 0 | 1075.3804 | -397.9501 | -31.5725 | 4.1103 | 9.2877 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 3.2841 | 36.9 | 0 | 1075.8731 | -398.6553 | -31.6175 | 3.8978 | 9.2659 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1073.1 | -398.5922 | -31.6135 | 1.1878 | 8.9906 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1073.611 | -398.1677 | -31.5864 | 2.1233 | 9.0857 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -398.0043 | -31.576 | 2.7977 | 9.1543 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -397.1769 | -31.5231 | 3.6251 | 9.2387 | 455.3894 | 300 | 2049

## Additions Data
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 14 MW CHP | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_30 | KP_R_HAP_Light_30 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_HAP_Indoor Screw Light_25
AEP_EAST | Generator | Firm Capacity | 1 | 2020 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2021 | MW | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2022 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27617 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4311 | 0 | 0.17889 | 0.35778
AEP_EAST | Generator | Firm Capacity | 1 | 2023 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 1.022 | 0 | 0 | 51.712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51176 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6733 | 0 | 0.32049 | 0.64098
AEP_EAST | Generator | Firm Capacity | 1 | 2024 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74846 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7902 | 0 | 0.40934 | 0.81868
AEP_EAST | Generator | Firm Capacity | 1 | 2025 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6758 | 0 | 0 | 0 | 0 | 0 | 0.055212 | 3.4057 | 0.17808 | 0.33603 | 0.67206
AEP_EAST | Generator | Firm Capacity | 1 | 2026 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.533 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.59643 | 0 | 0 | 0 | 0 | 0 | 0.10261 | 3.0058 | 0.33095 | 0.2613 | 0.52261
AEP_EAST | Generator | Firm Capacity | 1 | 2027 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51371 | 0 | 0 | 0 | 0 | 0 | 0.14067 | 2.6174 | 0.45872 | 0.19104 | 0.38208
AEP_EAST | Generator | Firm Capacity | 1 | 2028 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.43094 | 0 | 0 | 0 | 0 | 0 | 0.16854 | 2.2048 | 0.55189 | 0.12499 | 0.24997
AEP_EAST | Generator | Firm Capacity | 1 | 2029 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 0 | 0 | 0.35116 | 0 | 0 | 0 | 0 | 0 | 0.168 | 1.7895 | 0.52589 | 0.069601 | 0.1392
AEP_EAST | Generator | Firm Capacity | 1 | 2030 | MW | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.066 | 0 | 0 | 103.424 | 25.856 | 4.2698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0.27479 | 0 | 0.26201 | 0 | 0.48867 | 0 | 0.1607 | 1.3844 | 0.51815 | 0.02938 | 0.05876
AEP_EAST | Generator | Firm Capacity | 1 | 2031 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0.20454 | 0 | 0.23519 | 0 | 0.90813 | 0 | 0.13531 | 1.0284 | 0.43541 | 0.0069451 | 0.01389
AEP_EAST | Generator | Firm Capacity | 1 | 2032 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0.097527 | 0 | 0.20405 | 0 | 1.2478 | 0 | 0.11027 | 0.7135 | 0.35497 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2033 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.088 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0.033598 | 0 | 0.15097 | 0 | 1.1037 | 0 | 0.086211 | 0.4543 | 0.27978 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2034 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.13162 | 0 | 1.1533 | 0 | 0.064047 | 0.24477 | 0.20561 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2035 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 4.599 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.09593 | 0 | 1.4211 | 0 | 0.035497 | 0.10237 | 0.14243 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2036 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.25279 | 0 | 1.673 | 0 | 0.016802 | 0.022297 | 0.090078 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2037 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.11 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6 | 0 | 0 | 0 | 0 | 0.25392 | 0 | 1.434 | 0 | 0.0061011 | 0 | 0.049478 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2038 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 155.136 | 77.568 | 4.2698 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0.12156 | 0 | 1.1412 | 0 | 0.0012763 | 0 | 0.020478 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2039 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 5.621 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0.028889 | 0 | 0.84798 | 0 | 0 | 0 | 0.0044529 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2040 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58653 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2041 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37018 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2042 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20162 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2043 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084368 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2044 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018329 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2045 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 0 | 0 | 155.136 | 77.568 | 0 | 3.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2046 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2047 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2048 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Firm Capacity | 1 | 2049 | MW | 673.32 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 0 | 0 | 155.136 | 77.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Net Profitability
Parent Name | Collection | Property | Band | Datetime | Units | KP Dummy Unit | 200 MW RICE | GE 7F.05 SC | LM 6000 PF | M501 JAC | 200 MW RICE BS | GE 7F.05 SC BS | M501 JAC BS | Repower Big Sandy | KP ST PPA | KP_Dist Gen | KP_DR COMM | KP_DR RES | KP_Utility Solar Tier 1 | KP_Utility Solar Tier 2 | KP_VVO_TR01 | KP_VVO_TR02 | KP_VVO_TR03 | KP_VVO_TR04 | KP_VVO_TR05 | KP_VVO_TR06 | KP_VVO_TR07 | KP_VVO_TR08 | KP_Wind Tier 1 | KP_Wind Tier 2 | KP_R_AP_Appliances_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_30 | KP_R_HAP_Light_30 | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_HAP_Indoor Screw Light_25
AEP_EAST | Generator | Net Profit | 1 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4786.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -143.4435 | 0 | 0 | 0 | 0 | 0 | 0 | -632.0988 | 0 | 17.3574 | 22.3465
AEP_EAST | Generator | Net Profit | 1 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2986.43 | -363.8381 | 0 | 0 | -4090.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9951 | 0 | 0 | 0 | 0 | 0 | 0 | -361.6275 | 0 | 44.319 | 77.3003
AEP_EAST | Generator | Net Profit | 1 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -556.1657 | 0 | 0 | -7065.8427 | -1951.82 | -304.3315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122.6904 | 0 | 0 | 0 | 0 | 0 | 0 | -173.4856 | 0 | 64.9668 | 119.9702
AEP_EAST | Generator | Net Profit | 1 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -568.1125 | 0 | 0 | -7009.0995 | -1937.6342 | -290.677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 399.9477 | 0 | 0 | 0 | 0 | 0 | -41.5896 | 646.1099 | -82.0563 | 63.7495 | 127.499
AEP_EAST | Generator | Net Profit | 1 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -582.691 | 0 | 0 | -6660.7001 | -1850.5344 | -277.7033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 363.8566 | 0 | 0 | 0 | 0 | 0 | -7.7218 | 587.3737 | -45.017 | 51.0624 | 102.1247
AEP_EAST | Generator | Net Profit | 1 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -790.3137 | 0 | 0 | -6164.7829 | -1726.5551 | -259.0618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 325.6843 | 0 | 0 | 0 | 0 | 0 | 23.5308 | 526.2061 | -10.2915 | 38.4076 | 76.8152
AEP_EAST | Generator | Net Profit | 1 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -749.0391 | 0 | 0 | -1985.0983 | -681.6339 | -114.2211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4577.3794 | 0 | 0 | 341.8003 | 0 | 0 | 0 | 0 | 0 | 73.4065 | 551.5243 | 44.0799 | 31.2643 | 62.5286
AEP_EAST | Generator | Net Profit | 1 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -962.945 | 0 | 0 | -2351.4301 | -773.2169 | -115.4395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4628.241 | 0 | 0 | 279.1244 | 0 | 0 | 0 | 0 | 0 | 79.3621 | 450.5405 | 47.8295 | 17.5235 | 35.0471
AEP_EAST | Generator | Net Profit | 1 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1181.1519 | 0 | 0 | -1997.6031 | -684.7601 | -104.3575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9516.4464 | 0 | 0 | 222.2053 | 0 | -159.7974 | 0 | -514.8048 | 0 | 129.9473 | 359.435 | 134.5281 | 7.6279 | 15.2558
AEP_EAST | Generator | Net Profit | 1 | 2031 | 0 | 0 | 0 | 0 | -29981.6549 | 0 | 0 | 0 | 0 | 0 | 0 | -1406.8668 | 0 | 0 | -2705.4751 | -2135.7863 | -97.5405 | -408.703 | 0 | 0 | 0 | 0 | 0 | 0 | -9282.0847 | 0 | 0 | 167.3698 | 0 | 43.1015 | 0 | -400.2352 | 0 | 110.7195 | 270.97 | 114.7224 | 1.8299 | 3.6599
AEP_EAST | Generator | Net Profit | 1 | 2032 | 0 | 0 | 0 | 0 | -29909.4475 | 0 | 0 | 0 | 0 | 0 | 0 | -1434.8193 | 0 | 0 | -1123.7778 | -1344.9376 | -81.5818 | -397.735 | 0 | 0 | 0 | 0 | 0 | 0 | -8279.5741 | 0 | 0 | 81.5316 | 0 | 37.9946 | 0 | -289.4441 | 0 | 92.1863 | 192.7532 | 95.8947 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2033 | 0 | 0 | 0 | 0 | -29978.9861 | 0 | 0 | 0 | 0 | 0 | 0 | -1676.6941 | 0 | 0 | -1276.9377 | -1421.5176 | -71.0646 | -390.6927 | 0 | 0 | 0 | 0 | 0 | 0 | -8449.3345 | 0 | 0 | 28.5489 | 0 | 31.7985 | 0 | 227.0578 | 0 | 73.2567 | 124.0317 | 76.3839 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2034 | 0 | 0 | 0 | 0 | -30171.5743 | 0 | 0 | 0 | 0 | 0 | 0 | -1935.9749 | 0 | 0 | -615.8534 | -1090.9754 | -54.3262 | -379.0453 | 0 | 0 | 0 | 0 | 0 | 0 | -7248.8653 | 0 | 0 | 0 | 0 | 25.4011 | 0 | 17.7879 | 0 | 55.8241 | 69.2098 | 58.1362 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2035 | 0 | 0 | 0 | 0 | -30124.0366 | 0 | 0 | 0 | 0 | 0 | 0 | -1953.12 | 0 | 0 | 712.0968 | -427.0003 | -29.5684 | -361.2298 | 0 | 0 | 0 | 0 | 0 | 0 | -6702.0532 | 0 | 0 | 0 | 0 | 19.0707 | 0 | -279.3555 | 0 | 31.9594 | 30.0035 | 41.744 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2036 | 0 | 0 | 0 | 0 | -30415.3382 | 0 | 0 | 0 | 0 | 0 | 0 | -2224.9465 | 0 | 0 | 1535.5274 | -15.285 | -30.8394 | -363.6274 | 0 | 0 | 0 | 0 | 0 | 0 | -6218.531 | 0 | 0 | 0 | 0 | -111.8465 | 0 | -307.463 | 0 | 15.2445 | 6.559 | 26.4982 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2037 | 0 | 0 | 0 | 0 | -30552.1848 | 0 | 0 | 0 | 0 | 0 | 0 | -2274.05 | 0 | 0 | 1754.6785 | 94.2905 | -10.9956 | -349.5483 | 0 | 0 | 0 | 0 | 0 | 0 | -5380.8015 | 0 | 0 | 0 | 0 | -65.8747 | 0 | 185.4572 | 0 | 5.6865 | 0 | 14.8296 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2038 | 0 | 0 | 0 | 0 | -30563.29 | 0 | 0 | 0 | 0 | 0 | 0 | -2527.3417 | 0 | 0 | 2993.4207 | 713.6616 | 14.3576 | -331.35 | 0 | 0 | 0 | 0 | 0 | 0 | -7534.7031 | 0 | 0 | 0 | 0 | 25.3518 | 0 | 262.4409 | 0 | 1.2271 | 0 | 6.4102 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2039 | 0 | 0 | 0 | 0 | -30696.6734 | 0 | 0 | 0 | 0 | 0 | 0 | -2563.0598 | 0 | 0 | 3784.8199 | 1109.3612 | 0 | -319.9759 | 0 | 0 | 0 | 0 | 0 | 0 | -7164.1229 | 0 | 0 | 0 | 0 | 6.1316 | 0 | 199.516 | 0 | 0 | 0 | 1.4278 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2040 | 0 | 0 | 0 | 0 | -30901.185 | 0 | 0 | 0 | 0 | 0 | 0 | -2836.9331 | 0 | 0 | 5174.1926 | 1804.0476 | 0 | -313.3649 | 0 | 0 | 0 | 0 | 0 | 0 | -5523.3657 | 0 | 0 | 0 | 0 | 0 | 0 | 140.6229 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2041 | 0 | 0 | 0 | 0 | -31261.3687 | 0 | 0 | 0 | 0 | 0 | 0 | -2929.7951 | 0 | 0 | 4529.8817 | 1481.8921 | 0 | -309.7979 | 0 | 0 | 0 | 0 | 0 | 0 | -5810.1221 | 0 | 0 | 0 | 0 | 0 | 0 | 89.7219 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2042 | 0 | 0 | 0 | 0 | -31443.3599 | 0 | 0 | 0 | 0 | 0 | 0 | -3232.1102 | 0 | 0 | 5535.4285 | 1984.6655 | 0 | -296.6144 | 0 | 0 | 0 | 0 | 0 | 0 | -3669.778 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1603 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2043 | 0 | 0 | 0 | 0 | -31698.3775 | 0 | 0 | 0 | 0 | 0 | 0 | -3569.1026 | 0 | 0 | 5832.5487 | 2133.2256 | 0 | -291.9135 | 0 | 0 | 0 | 0 | 0 | 0 | -2597.0349 | 0 | 0 | 0 | 0 | 0 | 0 | 21.2719 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2044 | 0 | 0 | 0 | 0 | -31871.5129 | 0 | 0 | 0 | 0 | 0 | 0 | -3620.9942 | 0 | 0 | 8188.617 | 3311.2598 | 0 | -270.0073 | 0 | 0 | 0 | 0 | 0 | 0 | -625.3494 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7952 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2045 | 0 | 0 | 0 | 0 | -32059.8465 | 0 | 0 | 0 | 0 | 0 | 0 | -3997.1491 | 0 | 0 | 7572.3939 | 3003.1482 | 0 | -261.9742 | 0 | 0 | 0 | 0 | 0 | 0 | 207.5471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2046 | 0 | 0 | 0 | 0 | -32235.5744 | 0 | 0 | 0 | 0 | 0 | 0 | -4366.4782 | 0 | 0 | 8616.4686 | 3525.1856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1989.7417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2047 | 0 | 0 | 0 | 0 | -32345.8277 | 0 | 0 | 0 | 0 | 0 | 0 | -4744.6035 | 0 | 0 | 9685.003 | 4059.4528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2778.1612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2048 | 0 | 0 | 0 | 0 | -32528.4632 | 0 | 0 | 0 | 0 | 0 | 0 | -5152.815 | 0 | 0 | 11710.3178 | 5072.1102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5307.2351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AEP_EAST | Generator | Net Profit | 1 | 2049 | 0 | 0 | 0 | 0 | -32697.5963 | 0 | 0 | 0 | 0 | 0 | 0 | -5134.6427 | 0 | 0 | 10981.2191 | 4707.5608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5986.1512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Planning Period | 0 | 0 | 0 | -147778.7953 | 0 | 0 | 0 | 0 | 0 | -6160.0901 | -15850.022 | 0 | 0 | -10043.0138 | -2857.0916 | -1038.2271 | -1479.9334 | 0 | 0 | 0 | 0 | 0 | 0 | -33761.0614 | 0 | 0 | 1198.2223 | 0 | -58.3873 | 0 | -386.9887 | 0 | 272.7785 | 1154.5269 | 190.4482 | 219.6404 | 413.5531
| Perpetuity | 1.7765 |  |  | End Effects | 0 | 0 | 0 | -58088.8997 | 0 | 0 | 0 | 0 | 0 | 0 | -9121.9472 | 0 | 0 | 19508.6798 | 8363.2151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10634.6941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2019-09-16 |  |  | Study Period | 0 | 0 | 0 | -205867.695 | 0 | 0 | 0 | 0 | 0 | -6160.0901 | -24971.9691 | 0 | 0 | 9465.666 | 5506.1234 | -1038.2271 | -1479.9334 | 0 | 0 | 0 | 0 | 0 | 0 | -23126.3672 | 0 | 0 | 1198.2223 | 0 | -58.3873 | 0 | -386.9887 | 0 | 272.7785 | 1154.5269 | 190.4482 | 219.6404 | 413.5531
0
|  |  |  | System NPV | -244668699.1639
|  |  |  | Log File | 245993850.23
|  |  |  | Difference | 1325151.0661 |  | 0.5387% | Results are different due to incorrect reporting of Annualized Build Costs in the Net Profits for Wind and Solar additions that retire before the end of the Planning Period

## EE Annual Cost
Annual EE Expenditures ($000)
Datetime | KP_C_AP_Indoor HID Fluor Light_25 | KP_C_AP_Indoor HID Fluor Light_30 | KP_C_AP_Indoor Screw Light_25 | KP_C_HAP_Indoor Screw Light_25 | KP_R_AP_Appliances_30 | KP_R_AP_Light_25 | KP_R_AP_Shell_30 | KP_R_AP_Shell_40 | KP_R_AP_Water Heat_30 | KP_R_AP_Water Heat_40 | KP_R_HAP_Appliances_30 | KP_R_HAP_Light_30 | Total Annual EE Expenditures
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 872.7413 | 0 | 12.7132 | 37.7959 | 0 | 289.2005 | 0 | 0 | 0 | 0 | 0 | 0 | 1212.4509
2023 | 827.3863 | 0 | 11.5106 | 34.3599 | 0 | 274.8303 | 0 | 0 | 0 | 0 | 0 | 0 | 1148.087
2024 | 868.9618 | 0 | 10.1362 | 30.2367 | 0 | 308.241 | 0 | 0 | 0 | 0 | 0 | 0 | 1217.5757
2025 | 0 | 115.8516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74.2726 | 190.1242
2026 | 0 | 109.7002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.3257 | 180.0259
2027 | 0 | 102.5235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.6613 | 168.1848
2028 | 0 | 93.9799 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.2792 | 154.2591
2029 | 0 | 84.5819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.1795 | 138.7614
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207.4269 | 0 | 607.7337 | 0 | 0 | 815.1606
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575.6068 | 0 | 0 | 575.6068
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 537.0546 | 0 | 0 | 537.0546
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 221.9433 | 0 | 0 | 221.9433
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 585.5126 | 0 | 0 | 585.5126
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 161.877 | 0 | 669.3103 | 0 | 0 | 831.1873
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123.3349 | 0 | 138.9488 | 0 | 0 | 262.2837
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Wind Net Profit (hidden)
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1 | Build Cost ($000) | Units Built | Build Cost for NPV
AEP_EAST | Generator | Annualized Build Cost | 1 | 2016 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2017 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2018 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2019 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2020 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2021 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2022 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2023 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2024 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2025 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2026 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2027 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2028 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2029 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2030 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2031 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2032 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2033 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2034 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2035 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2036 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2037 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2038 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2039 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2040 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2041 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2042 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2043 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2044 | 0 |  |  |  | 0
AEP_EAST | Generator | Annualized Build Cost | 1 | 2045 | 0 |  |  |  | 0
Parent Name | Collection | Property | Band | Datetime | Units | AP_Wind Tier 1
AEP_EAST | Generator | Pool Revenue | 1 | 2016 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2017 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2018 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2019 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2020 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2021 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2022 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2023 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2024 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2025 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2026 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2027 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2028 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2029 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2030 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2031 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2032 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2033 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2034 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2035 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2036 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2037 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2038 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2039 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2040 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2041 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2042 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2043 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2044 | 0
AEP_EAST | Generator | Pool Revenue | 1 | 2045 | 0
|  | Net Profit |  | Datetime |  | AP_Wind Tier 1
|  |  |  | 2016 |  | 0
|  |  |  | 2017 |  | 0
|  |  |  | 2018 |  | 0
|  |  |  | 2019 |  | 0
|  |  |  | 2020 |  | 0
|  |  |  | 2021 |  | 0
|  |  |  | 2022 |  | 0
|  |  |  | 2023 |  | 0
|  |  |  | 2024 |  | 0
|  |  |  | 2025 |  | 0
|  |  |  | 2026 |  | 0
|  |  |  | 2027 |  | 0
|  |  |  | 2028 |  | 0
|  |  |  | 2029 |  | 0
|  |  |  | 2030 |  | 0
|  |  |  | 2031 |  | 0
|  |  |  | 2032 |  | 0
|  |  |  | 2033 |  | 0
|  |  |  | 2034 |  | 0
|  |  |  | 2035 |  | 0
|  |  |  | 2036 |  | 0
|  |  |  | 2037 |  | 0
|  |  |  | 2038 |  | 0
|  |  |  | 2039 |  | 0
|  |  |  | 2040 |  | 0
|  |  |  | 2041 |  | 0
|  |  |  | 2042 |  | 0
|  |  |  | 2043 |  | 0
|  |  |  | 2044 |  | 0
|  |  |  | 2045 |  | 0