## Prfrd112619
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Preferred Plan with ST PPA Allowed 2022-2024 and Limited EE Available
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9678 | 0.27617 | 0 | 0 | 0 | 0 | 150 | 1087.4639 | -141.1961 | -5.4107 | 11.0479 | 9.9874 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6348 | 0.51176 | 1.022 | 51.712 | 0 | 0 | 100 | 1092.1005 | -141.4334 | -5.4316 | 15.4471 | 10.432 | 101.1977 | 0 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0182 | 0.74846 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1076.0694 | -138.4928 | -5.1726 | 2.3567 | 9.109 | 252.9941 | 0 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5919 | 0.73101 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1075.6257 | -135.6776 | -4.9233 | 4.7281 | 9.3507 | 252.9941 | 0 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1206 | 0.69904 | 1.533 | 129.28 | 4.2698 | 0 | 0 | 1075.1225 | -133.1769 | -4.7008 | 6.7256 | 9.5553 | 252.9941 | 0 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6492 | 0.65438 | 2.044 | 129.28 | 4.2698 | 0 | 0 | 1075.1174 | -131.7449 | -4.5729 | 8.1525 | 9.7019 | 252.9941 | 0 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1317 | 0.59949 | 2.044 | 129.28 | 4.2698 | 12.3 | 0 | 1086.845 | -130.8116 | -4.4893 | 20.8134 | 10.9956 | 252.9941 | 100 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5242 | 0.51916 | 2.555 | 129.28 | 4.2698 | 12.3 | 0 | 1086.6681 | -130.9359 | -4.5005 | 20.5123 | 10.9646 | 252.9941 | 100 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9907 | 1.1862 | 3.066 | 129.28 | 4.2698 | 24.6 | 0 | 1099.6127 | -129.9619 | -4.4131 | 34.4307 | 12.3891 | 252.9941 | 200 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4847 | 1.4832 | 3.577 | 232.704 | 7.5539 | 24.6 | 0 | 1066.7227 | -391.8251 | -31.179 | 1.5777 | 9.0313 | 455.3894 | 200 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0685 | 1.6597 | 3.577 | 232.704 | 7.5539 | 24.6 | 0 | 1066.483 | -391.86 | -31.1813 | 1.303 | 9.0032 | 455.3894 | 200 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73408 | 1.3745 | 4.088 | 232.704 | 7.5539 | 24.6 | 0 | 1066.3744 | -391.7211 | -31.1723 | 1.3333 | 9.0063 | 455.3894 | 200 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45037 | 1.349 | 4.599 | 232.704 | 7.5539 | 24.6 | 0 | 1066.5762 | -392.4548 | -31.2197 | 0.80139 | 8.9519 | 455.3894 | 200 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2448 | 1.5525 | 4.599 | 232.704 | 7.5539 | 24.6 | 0 | 1066.5742 | -392.8648 | -31.2461 | 0.38945 | 8.9098 | 455.3894 | 200 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11237 | 1.9426 | 5.11 | 232.704 | 7.5539 | 24.6 | 0 | 1067.3429 | -393.9875 | -31.3184 | 0.035384 | 8.8736 | 455.3894 | 200 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 1.694 | 5.11 | 232.704 | 7.5539 | 24.6 | 0 | 1067.0314 | -393.6911 | -31.2994 | 0.020238 | 8.8721 | 455.3894 | 200 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 1.264 | 5.621 | 232.704 | 7.5539 | 36.9 | 0 | 1079.3834 | -394.2481 | -31.3352 | 11.8153 | 10.0749 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.87687 | 5.621 | 232.704 | 3.2841 | 36.9 | 0 | 1074.7104 | -394.733 | -31.3664 | 6.6574 | 9.5486 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58653 | 6.132 | 232.704 | 3.2841 | 36.9 | 0 | 1074.9266 | -396.5526 | -31.4831 | 5.054 | 9.3843 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37018 | 6.132 | 232.704 | 3.2841 | 36.9 | 0 | 1074.7103 | -396.7395 | -31.4951 | 4.6508 | 9.3432 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20162 | 6.643 | 232.704 | 3.2841 | 36.9 | 0 | 1075.0527 | -397.2329 | -31.5266 | 4.4998 | 9.3276 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084368 | 7.154 | 232.704 | 3.2841 | 36.9 | 0 | 1075.4465 | -397.4483 | -31.5404 | 4.6782 | 9.3456 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018329 | 7.154 | 232.704 | 3.2841 | 36.9 | 0 | 1075.3804 | -397.9501 | -31.5725 | 4.1103 | 9.2877 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 3.2841 | 36.9 | 0 | 1075.8731 | -398.6553 | -31.6175 | 3.8978 | 9.2659 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1073.1 | -398.5922 | -31.6135 | 1.1878 | 8.9906 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1073.611 | -398.1677 | -31.5864 | 2.1233 | 9.0857 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -398.0043 | -31.576 | 2.7977 | 9.1543 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -397.1769 | -31.5231 | 3.6251 | 9.2387 | 455.3894 | 300 | 2049

## Case 1
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.709 | 0 | 0 | 0 | 0 | 150 | 1091.6642 | -141.1961 | -5.4107 | 15.2482 | 10.4122 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 3.0536 | 1.022 | 0 | 4.2698 | 24.6 | 100 | 1077.5495 | -141.4334 | -5.4316 | 0.89607 | 8.9606 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5855 | 4.6811 | 1.533 | 77.568 | 4.2698 | 36.9 | 0 | 1073.7574 | -138.4928 | -5.1726 | 0.044655 | 8.8745 | 151.7965 | 300 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3033 | 4.8314 | 1.533 | 77.568 | 4.2698 | 36.9 | 0 | 1072.6255 | -135.6776 | -4.9233 | 1.7279 | 9.0457 | 151.7965 | 300 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9468 | 4.135 | 1.533 | 77.568 | 4.2698 | 36.9 | 0 | 1070.5727 | -133.1769 | -4.7008 | 2.1758 | 9.0917 | 151.7965 | 300 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.643 | 3.3351 | 2.044 | 77.568 | 4.2698 | 36.9 | 0 | 1068.9799 | -131.7449 | -4.5729 | 2.0149 | 9.0756 | 151.7965 | 300 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2031 | 3.1885 | 2.044 | 77.568 | 4.2698 | 36.9 | 0 | 1067.3935 | -130.8116 | -4.4893 | 1.3619 | 9.0091 | 151.7965 | 300 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6473 | 2.997 | 2.555 | 77.568 | 4.2698 | 36.9 | 0 | 1066.1571 | -130.9359 | -4.5005 | 0.0012125 | 8.8701 | 151.7965 | 300 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1758 | 2.5952 | 3.066 | 155.136 | 4.2698 | 36.9 | 0 | 1142.3628 | -129.9619 | -4.4131 | 77.1808 | 16.7585 | 303.593 | 300 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 3.858 | 1.9119 | 3.577 | 232.704 | 4.2698 | 36.9 | 0 | 1078.5407 | -391.8251 | -31.179 | 13.3956 | 10.2392 | 455.3894 | 300 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7228 | 1.2605 | 3.577 | 232.704 | 4.2698 | 36.9 | 0 | 1076.7541 | -391.86 | -31.1813 | 11.5741 | 10.053 | 455.3894 | 300 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7948 | 0.78964 | 4.088 | 232.704 | 4.2698 | 36.9 | 0 | 1075.8663 | -391.7211 | -31.1723 | 10.8252 | 9.9766 | 455.3894 | 300 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0208 | 0.48867 | 4.599 | 232.704 | 4.2698 | 36.9 | 0 | 1075.3023 | -392.4548 | -31.2197 | 9.5275 | 9.8432 | 455.3894 | 300 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.48407 | 0.31459 | 4.599 | 232.704 | 4.2698 | 36.9 | 0 | 1074.5915 | -392.8648 | -31.2461 | 8.4067 | 9.7284 | 455.3894 | 300 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16472 | 0.1908 | 5.11 | 232.704 | 4.2698 | 36.9 | 0 | 1074.6593 | -393.9875 | -31.3184 | 7.3518 | 9.6199 | 455.3894 | 300 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.098576 | 5.11 | 232.704 | 4.2698 | 36.9 | 0 | 1074.4519 | -393.6911 | -31.2994 | 7.4407 | 9.6292 | 455.3894 | 300 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.040661 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1070.6061 | -394.2481 | -31.3352 | 3.038 | 9.1798 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0.0085655 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1070.558 | -394.733 | -31.3664 | 2.505 | 9.1253 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1071.056 | -396.5526 | -31.4831 | 1.1834 | 8.9904 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1071.056 | -396.7395 | -31.4951 | 0.99652 | 8.9714 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1071.567 | -397.2329 | -31.5266 | 1.0141 | 8.9731 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1072.078 | -397.4483 | -31.5404 | 1.3097 | 9.0032 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1072.078 | -397.9501 | -31.5725 | 0.80787 | 8.9521 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1072.589 | -398.6553 | -31.6175 | 0.61366 | 8.9323 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1073.1 | -398.5922 | -31.6135 | 1.1878 | 8.9906 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1073.611 | -398.1677 | -31.5864 | 2.1233 | 9.0857 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -398.0043 | -31.576 | 2.7977 | 9.1543 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1074.122 | -397.1769 | -31.5231 | 3.6251 | 9.2387 | 455.3894 | 300 | 2049

## Case 7
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) Case 7 CT in 2023
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 150 | 1091.1628 | -141.1961 | -5.4107 | 14.7467 | 10.3615 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 1.8094 | 1.022 | 0 | 0 | 24.6 | 0 | 1220.0355 | -141.4334 | -5.4316 | 143.3821 | 23.3686 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 2.3849 | 1.533 | 0 | 0 | 36.9 | 0 | 1235.9557 | -138.4928 | -5.1726 | 162.243 | 25.3208 | 0 | 300 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 2.1789 | 1.533 | 0 | 0 | 36.9 | 0 | 1234.6366 | -135.6776 | -4.9233 | 163.739 | 25.5161 | 0 | 300 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 1.9447 | 1.533 | 0 | 0 | 36.9 | 0 | 1233.222 | -133.1769 | -4.7008 | 164.8251 | 25.6657 | 0 | 300 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 1.6914 | 2.044 | 0 | 0 | 36.9 | 0 | 1232.3468 | -131.7449 | -4.5729 | 165.3819 | 25.7451 | 0 | 300 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 1.4377 | 2.044 | 0 | 0 | 36.9 | 0 | 1230.8347 | -130.8116 | -4.4893 | 164.8031 | 25.7007 | 0 | 300 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 1.1736 | 2.555 | 0 | 0 | 36.9 | 0 | 1229.7086 | -130.9359 | -4.5005 | 163.5527 | 25.5711 | 0 | 300 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 0.92608 | 3.066 | 77.568 | 0 | 36.9 | 0 | 1306.2467 | -129.9619 | -4.4131 | 241.0648 | 33.5087 | 151.7965 | 300 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4055 | 0.69136 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1198.5979 | -391.8251 | -31.179 | 133.4528 | 22.5104 | 455.3894 | 300 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4088 | 0.37626 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1197.2861 | -391.86 | -31.1813 | 132.1061 | 22.3723 | 455.3894 | 300 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5949 | 0.1758 | 4.088 | 232.704 | 0 | 36.9 | 0 | 1196.7828 | -391.7211 | -31.1723 | 131.7416 | 22.3368 | 455.3894 | 300 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91312 | 0.064047 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1196.5002 | -392.4548 | -31.2197 | 130.7253 | 22.2237 | 455.3894 | 300 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43902 | 0.035497 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1195.9975 | -392.8648 | -31.2461 | 129.8128 | 22.1254 | 455.3894 | 300 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15491 | 0.016802 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1196.2057 | -393.9875 | -31.3184 | 128.8982 | 22.0182 | 455.3894 | 300 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.0061011 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1196.0896 | -393.6911 | -31.2994 | 129.0785 | 22.0402 | 455.3894 | 300 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.0012763 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1196.5668 | -394.2481 | -31.3352 | 128.9986 | 22.0252 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1196.5495 | -394.733 | -31.3664 | 128.4965 | 21.968 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1197.056 | -396.5526 | -31.4831 | 127.1834 | 21.8122 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1197.056 | -396.7395 | -31.4951 | 126.9965 | 21.7909 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1197.567 | -397.2329 | -31.5266 | 127.0141 | 21.7867 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1198.078 | -397.4483 | -31.5404 | 127.3097 | 21.8142 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1198.078 | -397.9501 | -31.5725 | 126.8079 | 21.7571 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1198.589 | -398.6553 | -31.6175 | 126.6137 | 21.7289 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1199.1 | -398.5922 | -31.6135 | 127.1878 | 21.788 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1199.611 | -398.1677 | -31.5864 | 128.1233 | 21.8882 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1200.122 | -398.0043 | -31.576 | 128.7977 | 21.9587 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1200.122 | -397.1769 | -31.5231 | 129.6251 | 22.0529 | 455.3894 | 300 | 2049

## Case 8
DRAFT - PRELIMINARY
2019 KP IRP
2019H1 Base Band Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) Case 8 CC in 2024
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 15 MW CHP Capacity (MW) | 216 MW RICE Firm Capacity (MW) | 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | 125 MW LM 6000 CT Firm Capacity (MW) | Big Sandy Site 216 MW RICE Firm Capacity (MW) | Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW) | Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW) | Big Sandy Site Repower 443 MW Firm Capacity | Commercial DR Firm Capacity (MW) | Residential DR Firm Capacity (MW) | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2020 | 978.4483 | 1065.5302 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 236.4698 | 33.0678 | 236.4698 | 33.0678 | 0 | 0 | 2020
2021 | 982.7561 | 1069.6317 | 1302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302 | 232.3683 | 32.4846 | 232.3683 | 32.4846 | 0 | 0 | 2021
2022 | 988.7169 | 1076.4161 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7352 | 4.4011 | 0 | 0 | 0 | 0 | 150 | 1094.3563 | -141.1961 | -5.4107 | 17.9403 | 10.6845 | 0 | 0 | 2022
2023 | 988.9349 | 1076.6534 | 935.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3841 | 6.5259 | 1.022 | 0 | 0 | 24.6 | 100 | 1076.7519 | -141.4334 | -5.4316 | 0.0985 | 8.88 | 0 | 200 | 2023
2024 | 986.2338 | 1073.7128 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9178 | 6.6657 | 1.533 | 0 | 0 | 36.9 | 0 | 1393.2365 | -138.4928 | -5.1726 | 319.5237 | 41.2684 | 0 | 300 | 2024
2025 | 983.648 | 1070.8976 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8048 | 5.8187 | 1.533 | 0 | 0 | 36.9 | 0 | 1391.2764 | -135.6776 | -4.9233 | 320.3788 | 41.4405 | 0 | 300 | 2025
2026 | 981.351 | 1068.3969 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6243 | 4.916 | 1.533 | 0 | 0 | 36.9 | 0 | 1389.1933 | -133.1769 | -4.7008 | 320.7964 | 41.5593 | 0 | 300 | 2026
2027 | 980.0358 | 1066.9649 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4914 | 3.9332 | 2.044 | 0 | 0 | 36.9 | 0 | 1387.5886 | -131.7449 | -4.5729 | 320.6236 | 41.5855 | 0 | 300 | 2027
2028 | 979.1785 | 1066.0316 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.233 | 3.0848 | 2.044 | 0 | 0 | 36.9 | 0 | 1385.4818 | -130.8116 | -4.4893 | 319.4502 | 41.4943 | 0 | 300 | 2028
2029 | 979.2926 | 1066.1559 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8599 | 2.303 | 2.555 | 0 | 0 | 36.9 | 0 | 1383.8379 | -130.9359 | -4.5005 | 317.6821 | 41.31 | 0 | 300 | 2029
2030 | 978.398 | 1065.1819 | 935.22 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5667 | 1.6635 | 3.066 | 77.568 | 0 | 36.9 | 0 | 1459.9841 | -129.9619 | -4.4131 | 394.8022 | 49.2219 | 151.7965 | 300 | 2030
2031 | 978.3642 | 1065.1451 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4055 | 1.1352 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1352.0417 | -391.8251 | -31.179 | 286.8966 | 38.1941 | 455.3894 | 300 | 2031
2032 | 978.3962 | 1065.18 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4088 | 0.65028 | 3.577 | 232.704 | 0 | 36.9 | 0 | 1350.5601 | -391.86 | -31.1813 | 285.3801 | 38.0382 | 455.3894 | 300 | 2032
2033 | 978.2687 | 1065.0411 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5949 | 0.34581 | 4.088 | 232.704 | 0 | 36.9 | 0 | 1349.9528 | -391.7211 | -31.1723 | 284.9116 | 37.9941 | 455.3894 | 300 | 2033
2034 | 978.9426 | 1065.7748 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91312 | 0.15802 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1349.5941 | -392.4548 | -31.2197 | 283.8193 | 37.8624 | 455.3894 | 300 | 2034
2035 | 979.3191 | 1066.1848 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43902 | 0.074809 | 4.599 | 232.704 | 0 | 36.9 | 0 | 1349.0368 | -392.8648 | -31.2461 | 282.8521 | 37.7525 | 455.3894 | 300 | 2035
2036 | 980.3504 | 1067.3075 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15491 | 0.025355 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1349.2143 | -393.9875 | -31.3184 | 281.9068 | 37.6257 | 455.3894 | 300 | 2036
2037 | 980.0782 | 1067.0111 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049478 | 0.0061011 | 5.11 | 232.704 | 0 | 36.9 | 0 | 1349.0896 | -393.6911 | -31.2994 | 282.0785 | 37.6512 | 455.3894 | 300 | 2037
2038 | 980.5898 | 1067.5681 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020478 | 0.0012763 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1349.5668 | -394.2481 | -31.3352 | 281.9986 | 37.6281 | 455.3894 | 300 | 2038
2039 | 981.0352 | 1068.053 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044529 | 0 | 5.621 | 232.704 | 0 | 36.9 | 0 | 1349.5495 | -394.733 | -31.3664 | 281.4965 | 37.5638 | 455.3894 | 300 | 2039
2040 | 982.7065 | 1069.8726 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1350.056 | -396.5526 | -31.4831 | 280.1834 | 37.3814 | 455.3894 | 300 | 2040
2041 | 982.8782 | 1070.0595 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.132 | 232.704 | 0 | 36.9 | 0 | 1350.056 | -396.7395 | -31.4951 | 279.9965 | 37.3574 | 455.3894 | 300 | 2041
2042 | 983.3314 | 1070.5529 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.643 | 232.704 | 0 | 36.9 | 0 | 1350.567 | -397.2329 | -31.5266 | 280.0141 | 37.3461 | 455.3894 | 300 | 2042
2043 | 983.5293 | 1070.7683 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1351.078 | -397.4483 | -31.5404 | 280.3097 | 37.3704 | 455.3894 | 300 | 2043
2044 | 983.9902 | 1071.2701 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.154 | 232.704 | 0 | 36.9 | 0 | 1351.078 | -397.9501 | -31.5725 | 279.8079 | 37.306 | 455.3894 | 300 | 2044
2045 | 984.6379 | 1071.9753 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.665 | 232.704 | 0 | 36.9 | 0 | 1351.589 | -398.6553 | -31.6175 | 279.6137 | 37.2676 | 455.3894 | 300 | 2045
2046 | 984.58 | 1071.9122 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.176 | 232.704 | 0 | 36.9 | 0 | 1352.1 | -398.5922 | -31.6135 | 280.1878 | 37.3276 | 455.3894 | 300 | 2046
2047 | 984.19 | 1071.4877 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.687 | 232.704 | 0 | 36.9 | 0 | 1352.611 | -398.1677 | -31.5864 | 281.1233 | 37.4339 | 455.3894 | 300 | 2047
2048 | 984.04 | 1071.3243 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1353.122 | -398.0043 | -31.576 | 281.7977 | 37.5068 | 455.3894 | 300 | 2048
2049 | 983.28 | 1070.4969 | 673.32 | 0 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.198 | 232.704 | 0 | 36.9 | 0 | 1353.122 | -397.1769 | -31.5231 | 282.6251 | 37.6131 | 455.3894 | 300 | 2049

## Comparison
DRAFT - PRELIMINARY
2019 KPCo IRP
| Case 1 | Case 8 | Case 9 | Case 1 | Case 8 | Case 9
Difference over the Case 1
2019 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 200 | 200 | 200 | 0 | 0 | 0
2023 | 300 | 300 | 300 | 0 | 0 | 0
2024 | 300 | 300 | 300 | 0 | 0 | 0
2025 | 300 | 300 | 300 | 0 | 0 | 0
2026 | 300 | 300 | 300 | 0 | 0 | 0
2027 | 300 | 300 | 300 | 0 | 0 | 0
2028 | 300 | 300 | 300 | 0 | 0 | 0
2029 | 300 | 300 | 300 | 0 | 0 | 0
2030 | 300 | 300 | 300 | 0 | 0 | 0
2031 | 300 | 300 | 300 | 0 | 0 | 0
2032 | 300 | 300 | 300 | 0 | 0 | 0
2033 | 300 | 300 | 300 | 0 | 0 | 0
2034 | 300 | 300 | 300 | 0 | 0 | 0
2035 | 300 | 300 | 300 | 0 | 0 | 0
2036 | 300 | 300 | 300 | 0 | 0 | 0
2037 | 300 | 300 | 300 | 0 | 0 | 0
2038 | 300 | 300 | 300 | 0 | 0 | 0
2039 | 300 | 300 | 300 | 0 | 0 | 0
2040 | 300 | 300 | 300 | 0 | 0 | 0
2041 | 300 | 300 | 300 | 0 | 0 | 0
2042 | 300 | 300 | 300 | 0 | 0 | 0
2043 | 300 | 300 | 300 | 0 | 0 | 0
2044 | 300 | 300 | 300 | 0 | 0 | 0
2045 | 300 | 300 | 300 | 0 | 0 | 0
2046 | 300 | 300 | 300 | 0 | 0 | 0
2047 | 300 | 300 | 300 | 0 | 0 | 0
2048 | 300 | 300 | 300 | 0 | 0 | 0

## CumCapAdd Summary
IRP Base Commodity Pricing Scenario |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Case 1 | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 0 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 151.7965 | 303.593 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 0 | 77.568 | 77.568 | 77.568 | 77.568 | 77.568 | 77.568 | 155.136 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9
| New EE | 0 | 0 | 6.4442 | 12.4377 | 18.2666 | 17.1347 | 15.0819 | 12.9781 | 11.3917 | 9.6443 | 7.771 | 5.7699 | 3.9833 | 2.5845 | 1.5095 | 0.79865 | 0.35552 | 0.14805 | 0.061139 | 0.013018
| New VVO | 0 | 0 | 0 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 0 | 0
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 15.2482 | 0.89607 | 0.044655 | 1.7279 | 2.1758 | 2.0149 | 1.3619 | 0.0012125 | 77.1808 | 13.3956 | 11.5741 | 10.8252 | 9.5275 | 8.4067 | 7.3518 | 7.4407 | 3.038 | 2.505
Case 7 (CT in 2023) | New Nat. Gas | 0 | 0 | 0 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248 | 248
| New Solar (Nameplate) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151.7965 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.568 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9
| New EE | 0 | 0 | 5.9428 | 11.1935 | 14.3027 | 12.9836 | 11.569 | 10.1828 | 8.6707 | 7.0336 | 5.4927 | 4.0969 | 2.7851 | 1.7708 | 0.97717 | 0.47452 | 0.17171 | 0.055579 | 0.021755 | 0.0044529
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 14.7467 | 143.3821 | 162.243 | 163.739 | 164.8251 | 165.3819 | 164.8031 | 163.5527 | 241.0648 | 133.4528 | 132.1061 | 131.7416 | 130.7253 | 129.8128 | 128.8982 | 129.0785 | 128.9986 | 128.4965
Case 8 (CC in 2024) | New Nat. Gas | 0 | 0 | 0 | 0 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401 | 401
| New Solar (Nameplate) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151.7965 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.568 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 200 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 24.6 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9 | 36.9
| New EE | 0 | 0 | 9.1363 | 15.9099 | 18.5835 | 16.6234 | 14.5403 | 12.4246 | 10.3178 | 8.1629 | 6.2301 | 4.5407 | 3.0591 | 1.9408 | 1.0711 | 0.51383 | 0.18026 | 0.055579 | 0.021755 | 0.0044529
| New VVO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 17.9403 | 0.0985 | 319.5237 | 320.3788 | 320.7964 | 320.6236 | 319.4502 | 317.6821 | 394.8022 | 286.8966 | 285.3801 | 284.9116 | 283.8193 | 282.8521 | 281.9068 | 282.0785 | 281.9986 | 281.4965
Preferred | New Nat. Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122 | 122
| New Solar (Nameplate) | 0 | 0 | 0 | 101.1977 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 252.9941 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894 | 455.3894
| New Solar (Firm) | 0 | 0 | 0 | 51.712 | 129.28 | 129.28 | 129.28 | 129.28 | 129.28 | 129.28 | 129.28 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704 | 232.704
| New Wind (Nameplate) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 300 | 300
| New Wind (Firm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3 | 12.3 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 36.9 | 36.9
| New EE | 0 | 0 | 2.2439 | 4.1465 | 5.7666 | 5.3229 | 4.8197 | 4.3036 | 3.7312 | 3.0433 | 3.1769 | 2.9678 | 2.7281 | 2.1085 | 1.7993 | 1.7973 | 2.055 | 1.7435 | 1.2845 | 0.88132
| New VVO | 0 | 0 | 0 | 0 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 4.2698 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 7.5539 | 3.2841
| New DG | 0 | 0 | 0 | 1.022 | 1.533 | 1.533 | 1.533 | 2.044 | 2.044 | 2.555 | 3.066 | 3.577 | 3.577 | 4.088 | 4.599 | 4.599 | 5.11 | 5.11 | 5.621 | 5.621
| STMP | 0 | 0 | 150 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Reserves (MW) without new additions |  | 236.4698 | 232.3683 | -141.1961 | -141.4334 | -138.4928 | -135.6776 | -133.1769 | -131.7449 | -130.8116 | -130.9359 | -129.9619 | -391.8251 | -391.86 | -391.7211 | -392.4548 | -392.8648 | -393.9875 | -393.6911 | -394.2481 | -394.733
Capacity Reserves (MW) with new additions |  | 236.4698 | 232.3683 | 11.0479 | 15.4471 | 2.3567 | 4.7281 | 6.7256 | 8.1525 | 20.8134 | 20.5123 | 34.4307 | 1.5777 | 1.303 | 1.3333 | 0.80139 | 0.38945 | 0.035384 | 0.020238 | 11.8153 | 6.6574

## source (hidden)
28 | Nameplate Wind
Planning Peak Load (MW)
Required Generation Capacity (MW)
Firm Generation Capacity without New Additions (MW)
15 MW CHP Capacity (MW)
216 MW RICE Firm Capacity (MW)
256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW)
325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW)
125 MW LM 6000 CT Firm Capacity (MW)
Big Sandy Site 216 MW RICE Firm Capacity (MW)
Big Sandy Site 256 MW (50% Share of 497 MW) GE 7F.05 Firm Capacity (MW)
Big Sandy Site 325 MW (25% Share of 1,603 MW) M 501 JAC Firm Capacity (MW)
Big Sandy Site Repower 443 MW Firm Capacity
Commercial DR Firm Capacity (MW)
Residential DR Firm Capacity (MW)
Commercial DSM Firm Capacity (MW)
Residential DSM Firm Capacity (MW)
Distributed Solar Firm Capacity (MW)
Utility Solar Firm Capacity (MW)
CVR Firm Capacity (MW)
Wind Firm Capacity (MW)
Short Term PPA Capacity (MW)
Firm Generation Capacity with New Additions (MW)
Capacity Reserves Above Required Generation without New Additions (MW)
Reserve Margin without New Capacity Additions (%)
Capacity Reserves Above Required Generation with New Capacity Additions (MW)
Reserve Margin with New Capacity Additions (%)
Nameplate Solar
Nameplate Wind