## Sheet1
Budgetary Details for Discovery Requests 4, 5, 6, 8 and 9 |  |  |  | Actual 2019 Spend
Question 4 - Budget Line C - Mains Unscheduled
Table 1 - Mains Undscheduled - Historical Planned and Projected Spend
Year | Budget Line C Planned Spend | Notes
January 2018 - December 2018 | 820000
January 2019 - December 2019 | 1269325
July 2020 - June 2021 | 900000 | QIP Year 1
Table 2 - Mains Unscheduled - Breakdown by KAWC District
District | QIP Year 1 Estimated Spend
Central | 825000
Northern | 75000
Total | 900000
Question 5 - Budget Line F - Valve and Hydrant Replacement
Table 3 - Valve Replacement
District | Estimated Quantity | Estimated Unit Cost | Estimate Total
Central - Valves - Distribution | 43 | 3300 | 141900
Central - Valves - Transmission | 7 | 22000 | 154000
Northern - Valves - Distribution | 20 | 1500 | 30000
|  | Total | 325900
Table 4 - Hydrants Replaced
District | Estimated Quantity | Estimated Unit Cost | Estimate Total
Central - Hydrants | 31 | 5600 | 173600
Northern - Hydrants | 1 | 2500 | 2500
|  | Total | 176100
Table 5 - Valves and Hydrants Replacement Historical Planned Spend
Year | Budget Line H Planned Spend
2018 | 470200
2019 | 475478
2-Year Average | 472839
Question 6 - Budget Lines H, J and L - Service and Laterals Replaced, Meters Replaced, SCADA Equipment and Systems
Table 6 - Services and Laterals Replaced
District | Estimated Quantity | Estimated Unit Cost | Estimate Total
Central - Short Side Service | 180 | 1500 | 270000
Central - Long Side Service | 50 | 4500 | 225000
Northern - Service | 30 | 1200 | 36000
|  | Total | 531000
Table 7 - Services and Laterals Historical Planned Spend
Year | Budget Line H Planned Spend
2015 | 650000
2016 | 452500
2017 | 452500
2018 | 441500
2019 | 446613
5-Year Average | 488622.6
Table 8 - Meters Replaced
District | Estimated Quantity | Estimated Unit Cost | Estimate Total
Central - 5/8" x 3/4" | 5520 | 175 | 966000
Central - 1" | 676 | 200 | 135200
Central - 2" | 21 | 500 | 10500
Central - 1-1/2" | 4 | 500 | 2000
Central - 3" | 2 | 22000 | 44000
Central - 5/8" x 3/4" | 1 | 16000 | 16000
Central - 4" | 3 | 2000 | 6000
Northern - 5/8" x 3/4" | 100 | 175 | 17500
Northern - 1" | 3 | 200 | 600
Northern - 2" | 2 | 1000 | 2000
|  | Total | 1199800
|  | Average Cost Per Meter | 189.482
Table 9 - Historical Spend for Meters Replaced
Year | Budget Line H Planned Spend
2018 | 1023837
2019 | 2821821
2-Year Average | 1922829
Table 10 - SCADA Equipment and Systems
Project | Quantity | Estimate Unit Cost | Estimate Total
Pressure monitoring stations | 2 | 60000 | 120000
RRS SCADA software upgrade | 4 | 5000 | 20000
KRS SCADA software upgrade | 3 | 5000 | 15000
KRS2 SCADA software upgrade | 4 | 5000 | 20000
Northern Remote Sites SCADA upgrade | 2 | 70500 | 141000
KRS SCADA UPS | 1 | 8000 | 8000
|  | Total | 324000
Question 8 - Budget Line M - Security Equipment and Systems
Table 11 - Security Equipment and Systems
Project | Estimated Cost
Woodlake Tank | 55000
Tates Creek Tank | 25000
Woodlake Booster | 25000
Muddy Ford Tank | 25000
Total | 130000
Table 12 - Security Equipment and Systems Historical Planned Spend
Year | Budget Line H Planned Spend
2015 | 245000
2016 | 112350
2017 | 219083
2018 | 150000
2019 | 345887
5-Year Average | 214464
Question 9 - Budget Line Q - Process Plant Facilities and Equipment & Cox Street Booster Pump Station
Table 13 - High Service Motor and Starters
Year | Budget Line H Planned Spend
2015 | 1454825
2016 | 1725500
2017 | 1800000
2018 | 2000000
2019 | 1705704
5-Year Average | 1737205.8
Table 14 - Historical and Estimated Booster Pump Station Costs
Project | Design | Construction
Jacobson Booster Station (2017) | 120000 | 1350000
Rest Area Booster Station (2019) | 200000 | 1250000
Cox Street Booster Station | 50000 | 950000