## Instructions
Commission Form Instructions:
Water Produced and Purchased
Line # | All Lines | Omit the last three zeros into the cell.
| 2 | Provide the number of thousands of gallons of water produced by the utility for the corresponding month.
| 3 | Provide the number of thousands of gallons of water purchased by the utility from third-parties for the corresponding month.
| 4 | The total of Water Produced and Water Purchased. This row will automatically calculate if the preceding lines are correctly filled out.
Water Sales
| 7-13 | Provide the number of thousands of gallons of water sold for each category listed.
| 12 | Sales to Public Authorities are typically sold under a special contract or tariff (e.g.fire department or other governmental entity.)
| 13 | If there are water sales for categories other than the ones listed in Lines 7-12 above, provide the thousands of gallons of water sold for "Other Sales" and an explanation that details the water sale. If an explanation is not given, the form will not calculate Line 14, and instead, will give an error message. The majority of the water sales should fall into the categories in Lines 7-12, such that most utilities will enter "0" into the "Other Sales" line.
| 14 | The sum of Lines 7-13 should match the amount of "Total Water Sales" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Other Water Used
| 17-21 | These categories include water that is properly used but not sold and, therefore, does not generate revenue for the utility. All gallons of water that are reported in these categories should be supported by records to be kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 17 | Provide the thousands of gallons of water used solely for the purpose of the utility and/or water treatment use. This would include, for example, backwashing the filtration system of the water treatment plant.
| 18 | Provide the thousands of gallons of water used for wastewater use. This would include, but would not be limited to, for example, water used to wash down/clean the wastewater plant.
| 19 | Provide the thousands of gallons of water used for system flushing, which is typically water used to keep water fresh and chlorine residuals up, and water used to flush lines to protect from Total Trihalomethanes (known as TTHM) and Haleacetic acids (known as HAA).
| 20 | Provide the thousands of gallons of water used by the Fire Department that are not provided in "Sales to Public Authorities" in Line 12. Only enter gallons for "Fire Department" use if the water is provided at no cost pursuant to the utility's tariff. All sales to fire departments should be entered in the sales category above. Pursuant to the requirements of KRS 278.170(3) and 807 KAR 5:095, Section 9(1), a utility that permits a fire department to use water at no charge or at reduced rates shall require the fire department to submit quarterly reports demonstrating its water usage. 807 KAR 5:095, Section 9(2), further requires a utility to include a penalty in its tariff for any fire department's failure to submit the required reports.
| 21 | If there are categories of legitimate, cost-free water usage other than the ones listed in Lines 17-20 above, provide the thousands of gallons of water used for "Other Usage" and an explanation that details what was used. If an explanation is not given, the form will not calculate Line 22, and instead, will give an error message. The majority of legitimate usage should fall into the categories on Lines 17-20, such that most utilities will enter "0" into the "Other Usage" line.
| 22 | The sum of Lines 17-21 should match the amount of "Total Other Water Used" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss
| 25-30 | All gallons of water reported for these lines represent all other water that is not billed or used in the production and transmission of water to customers. Any amounts included in these lines are part of the calculation of the Water Loss Percentage below. The utility should be prepared to support any amounts that appear in Lines 25-29 with records kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 28 | Water reported in this category only includes water lost for excavation damages for which the water was neither billed, nor collected from the responsible party. If the amounts for excavation damages are recovered from the responsible party, these amounts should be reported in water sales.
| 29 | Water reported in this category only includes water lost for theft that was neither billed, nor collected from the customer. The water loss can be estimated by using the average monthly use for each class of customer. If amounts for water theft are recovered from the customer, these amounts should be reported in water sales.
| 30 | If there is water loss for categories other than those listed in Lines 25-29 above, provide the thousands of gallons of water loss for "Other Loss" and an explanation that details the specific water loss. If an explanation is not given, the form will not calculate Line 31, and instead, will give an error message. This would include, but not be limited to, malfunctioning meters, unknown loss, etc. The majority of the water loss should fall into the categories in Lines 25-29, such that most utilities will enter "0" into the "Other Loss" line.
| 31 | The sum of Lines 25-30 should match the amount of "Total Water Loss" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss Percentage
| 36 | The "Water Loss Percentage" in Line 36 will automatically calculate if all other lines on the form are filled out correctly. If the sum of Lines 14, 22, and 31 do not equal Line 4, the form will return an error in red that the Lines do not equal.

## Jan
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | January | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 49460
3 | Water Purchased |  |  | 17993
4 | TOTAL PRODUCED AND PURCHASED |  |  | 67453
5
6 | WATER SALES
7 | Residential |  |  | 24499
8 | Commercial |  |  | 2806
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 2392
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 29697
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1484
18 | Wastewater Plant
19 | System Flushing |  |  | 960
20 | Fire Department |  |  | 8
21 | Other Usage (explain) | Customer Leak Adjustments |  | 1016
22 | TOTAL OTHER WATER USED |  |  | 3468
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 3000
27 | Line Leaks |  |  | 31288
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 34288
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 50.83%

## Feb
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | February | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 42865
3 | Water Purchased |  |  | 13696
4 | TOTAL PRODUCED AND PURCHASED |  |  | 56561
5
6 | WATER SALES
7 | Residential |  |  | 19198
8 | Commercial |  |  | 2372
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 2512
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 24082
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1286
18 | Wastewater Plant
19 | System Flushing |  |  | 800
20 | Fire Department
21 | Other Usage (explain) | Customer Leak Adjustments |  | 2666
22 | TOTAL OTHER WATER USED |  |  | 4752
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 10000
27 | Line Leaks |  |  | 17727
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 27727
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 49.02%

## Mar
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | March | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 45920
3 | Water Purchased |  |  | 25685
4 | TOTAL PRODUCED AND PURCHASED |  |  | 71605
5
6 | WATER SALES
7 | Residential |  |  | 15915
8 | Commercial |  |  | 2271
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1260
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 19446
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1378
18 | Wastewater Plant
19 | System Flushing |  |  | 1200
20 | Fire Department
21 | Other Usage (explain) | Customer Adjustments |  | 2518
22 | TOTAL OTHER WATER USED |  |  | 5096
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 3000
26 | Line Breaks |  |  | 3000
27 | Line Leaks |  |  | 41063
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 47063
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 65.73%

## Apr
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | April | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 44500
3 | Water Purchased |  |  | 13882
4 | TOTAL PRODUCED AND PURCHASED |  |  | 58382
5
6 | WATER SALES
7 | Residential |  |  | 19248
8 | Commercial |  |  | 2894
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 2326
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 24468
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1335
18 | Wastewater Plant
19 | System Flushing |  |  | 850
20 | Fire Department
21 | Other Usage (explain) | customer leak adjustments |  | 825
22 | TOTAL OTHER WATER USED |  |  | 3010
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 12000
26 | Line Breaks |  |  | 10000
27 | Line Leaks |  |  | 8904
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 30904
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 52.93%

## May
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | May | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 45738
3 | Water Purchased |  |  | 14714
4 | TOTAL PRODUCED AND PURCHASED |  |  | 60452
5
6 | WATER SALES
7 | Residential |  |  | 19247
8 | Commercial |  |  | 2894
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 2326
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 24467
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1372
18 | Wastewater Plant
19 | System Flushing |  |  | 1200
20 | Fire Department
21 | Other Usage (explain) | Leak Adjustment's |  | 2715
22 | TOTAL OTHER WATER USED |  |  | 5287
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 10000
27 | Line Leaks |  |  | 20698
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 30698
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 50.78%

## Jun
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | June | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 47590
3 | Water Purchased |  |  | 10777
4 | TOTAL PRODUCED AND PURCHASED |  |  | 58367
5
6 | WATER SALES
7 | Residential |  |  | 21275
8 | Commercial |  |  | 2404
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1925
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 25604
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1427
18 | Wastewater Plant
19 | System Flushing |  |  | 850
20 | Fire Department
21 | Other Usage (explain) | Customer Leak adjustments |  | 445
22 | TOTAL OTHER WATER USED |  |  | 2722
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 1875
26 | Line Breaks |  |  | 10000
27 | Line Leaks |  |  | 18166
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 30041
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 51.47%

## July
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | July | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 46925
3 | Water Purchased |  |  | 11919
4 | TOTAL PRODUCED AND PURCHASED |  |  | 58844
5
6 | WATER SALES
7 | Residential |  |  | 17077
8 | Commercial |  |  | 2167
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1442
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 20686
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1408
18 | Wastewater Plant
19 | System Flushing |  |  | 856
20 | Fire Department
21 | Other Usage (explain) | Wayland to Lackey Proj. Fill and Flush |  | 200
22 | TOTAL OTHER WATER USED |  |  | 2464
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 35142
26 | Line Breaks |  |  | 100
27 | Line Leaks |  |  | 20
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Brush Creek Tank leaking again |  | 432
31 | TOTAL WATER LOSS |  |  | 35694
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 60.66%

## Aug
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | August | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 48639
3 | Water Purchased |  |  | 15161
4 | TOTAL PRODUCED AND PURCHASED |  |  | 63800
5
6 | WATER SALES
7 | Residential |  |  | 17077
8 | Commercial |  |  | 2167
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1442
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 20686
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1460
18 | Wastewater Plant
19 | System Flushing |  |  | 1000
20 | Fire Department
21 | Other Usage (explain) | Meter Adjustments |  | 1159
22 | TOTAL OTHER WATER USED |  |  | 3619
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 10
26 | Line Breaks |  |  | 445
27 | Line Leaks |  |  | 29000
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Scuba Divers working on Brush Creek Tank |  | 50
31 | TOTAL WATER LOSS |  |  | 29505
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4 |  |  | DOES NOT EQUAL
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 46.25%

## Sept
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | September | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 47630
3 | Water Purchased |  |  | 15630
4 | TOTAL PRODUCED AND PURCHASED |  |  | 63260
5
6 | WATER SALES
7 | Residential |  |  | 17002
8 | Commercial |  |  | 2221
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1442
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 20665
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1430
18 | Wastewater Plant
19 | System Flushing |  |  | 1200
20 | Fire Department |  |  | 50
21 | Other Usage (explain) | Meter Adjustments |  | 863
22 | TOTAL OTHER WATER USED |  |  | 3543
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 10000
26 | Line Breaks |  |  | 10000
27 | Line Leaks |  |  | 19052
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 39052
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 61.73%

## Oct
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | October | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 50220
3 | Water Purchased |  |  | 11679
4 | TOTAL PRODUCED AND PURCHASED |  |  | 61899
5
6 | WATER SALES
7 | Residential |  |  | 16590
8 | Commercial |  |  | 2466
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1558
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 20614
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 1507
18 | Wastewater Plant
19 | System Flushing |  |  | 1000
20 | Fire Department |  |  | 50
21 | Other Usage (explain) | Meter Adjustments |  | 1336
22 | TOTAL OTHER WATER USED |  |  | 3893
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 10000
26 | Line Breaks |  |  | 10000
27 | Line Leaks |  |  | 17392
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 37392
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 60.41%

## Nov
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | November | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 0
5
6 | WATER SALES
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 0
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 0
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 0.00%

## Dec
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | December | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 0
5
6 | WATER SALES
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 0
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 0
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 0.00%

## Annual
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | Annual | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 469487
3 | Water Purchased |  |  | 151136
4 | TOTAL PRODUCED AND PURCHASED |  |  | 620623
5
6 | WATER SALES
7 | Residential |  |  | 187128
8 | Commercial |  |  | 24662
9 | Industrial |  |  | 0
10 | Bulk Loading Stations |  |  | 0
11 | Wholesale |  |  | 18625
12 | Public Authorities |  |  | 0
13 | Other Sales (explain) |  |  | 0
14 | TOTAL WATER SALES |  |  | 230415
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 14087
18 | Wastewater Plant |  |  | 0
19 | System Flushing |  |  | 9916
20 | Fire Department |  |  | 108
21 | Other Usage (explain) |  |  | 13743
22 | TOTAL OTHER WATER USED |  |  | 37854
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 72027
26 | Line Breaks |  |  | 66545
27 | Line Leaks |  |  | 203310
28 | Excavation Damages |  |  | 0
29 | Theft |  |  | 0
30 | Other Loss |  |  | 482
31 | TOTAL WATER LOSS |  |  | 342364
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4 |  |  | DOES NOT EQUAL
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 55.16%