## MCC Study
Exhibit AEV - 2 Marginal Customer Connection Study
Kentucky Power 2020
Kentucky Power MCAC (Customer Hookup Cost): 7.2kV
Account | Description | Qty | Material Cost | Std Labor Cost | Admin Overhd | Transpt Overhd | Material Overhd | Labor Overhd | Total | % of Total Cost | Avg Serv Life (yrs)
CONSTRUCTION
3640000 | Poles, Towers & Fixtures
| ANC,Expanding,8in,72in,Sg Eye 5/8in | 2 | 35.36 | 80.64 | 42.54 | 54.17 | 6.83 | 193.54 | 413.08
| BKT,Arrestor/CO 12in (1Ph),Fbrgls | 1 | 28.28 | 7.2 | 10.08 | 4.84 | 5.46 | 17.28 | 73.14
| GYD,Marker-Plastic-Yellow | 2 | 4.41 | 8.64 | 4.71 | 5.8 | 0.85 | 20.74 | 45.15
| GYF,3/8,Down,78in Pole mt,EyePlate | 1 | 42.42 | 17.28 | 17.83 | 11.61 | 8.19 | 41.47 | 138.8
| GYW,3/8 in. EHS (15,400 lbs) | 80 | 20.66 | 0 | 5.17 | 0 | 3.99 | 0 | 29.82
| Pole,40ft,Class 4 | 1 | 234.38 | 97.92 | 99.52 | 65.78 | 45.24 | 235.01 | 777.85
| SAA,3 inch,Clevis | 1 | 5.27 | 6.48 | 4.03 | 4.35 | 1.02 | 15.55 | 36.7
Total Company Direct Charges A/C |  |  | 370.78 | 218.16 | 183.88 | 146.55 | 71.58 | 523.59 | 1514.54 | 51.99% | 31
3650000 | OH Conductor & Devices
| CON,#2 AWG,Alum Alloy,One,Bare | 400 | 55.44 | 54 | 36.43 | 36.28 | 10.7 | 129.6 | 322.45
| DEC,#4 - #2/0 AA,AL,AS | 2 | 13.55 | 24.48 | 13.62 | 16.45 | 2.61 | 58.75 | 129.46
| DEG,#2,Primary Neutral Al | 2 | 2.23 | 5.76 | 2.96 | 3.87 | 0.43 | 13.82 | 29.07
| GND,Cu Rod Adr,#4 | 1 | 29.34 | 51.84 | 29 | 34.83 | 5.66 | 124.42 | 275.09
| GND,Extend Gnd To Guy/Eq,#4 | 1 | 14.88 | 5.76 | 6.13 | 3.87 | 2.87 | 13.82 | 47.33
| INS,15kV,Deadend,Polymer | 2 | 16.82 | 0 | 4.21 | 0 | 3.25 | 0 | 24.28
Total Company Direct Charges A/C |  |  | 132.26 | 141.84 | 92.35 | 95.3 | 25.52 | 340.41 | 827.68 | 28.41% | 40
3680000 | Transformer Devices
| EQL,1 Ph,#4, CU Sol,#4,CU Sld, Xfr | 1 | 21.8 | 28.08 | 17.18 | 18.86 | 4.21 | 67.39 | 157.52
| XCO,15kV,100 Amp,10kA | 1 | 82.61 | 11.52 | 25.47 | 7.74 | 15.94 | 27.65 | 170.93
Total Company Direct Charges A/C |  |  | 104.41 | 39.6 | 42.65 | 26.6 | 20.15 | 95.04 | 328.45 | 11.28% | 32
3690000 | Services
| SVC,#2 AWG,Trip,All Alum,Res | 1 | 6.75 | 37.44 | 17.34 | 25.15 | 1.3 | 89.86 | 177.84
| SVW,#2 AWG,Trip,All Alum,Res | 80 | 44.72 | 0 | 11.18 | 0 | 8.63 | 0 | 64.53
Total Company Direct Charges A/C |  |  | 51.47 | 37.44 | 28.52 | 25.15 | 9.93 | 89.86 | 242.37 | 8.32% | 33
avg
2913.04
MAINTENANCE
5830000 | Overhead Line Expense
PreCap
| XFR,15KVA,7.2/12.4kVY,120/240,1BG | 1 | 556 | 53.28 | 161.27 | 35.79 | 107.31 | 127.87 | 1041.52
1041.52
Total Company Direct Charges A/C
5860000 | Meter Expense |  | PreCap
| MTR-Type 0A006 Class200,240v RF | 1 | 39.18 | 5.04 | 11.9 | 3.39 | 7.56 | 12.1 | 79.17
Total Company Direct Charges A/C | [8 empty] | 79.17
Total Work Request Charges | [8 empty] | 4033.73 | 3705.28
Marginal Cost Per Month to Connect a Residential Customer
Weighted Avg Accounting Life | 32.8363
Levelized 33 Year Carrying Charge | 10.68%
Total Capital Cost | 4033.73
Monthly Capital Recovery $ | 35.9002
Total Basic Service Charge $/month | 35.9002