## Mortality
KENTUCKY POWER COMPANY
SCHEDULE III - COMPARISON OF MORTALITY CHARACTERISTICS
DEPRECIATION STUDY AS OF DECEMBER 31, 2019
**Preliminary
(1) |  | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  | Existing Rates (See note, below) |  |  |  |  | Current Study Rates
|  | Average |  |  | Cost of | Net | Average |  |  | Cost of | Net
|  | Service | Iowa | Salvage | Removal | Salvage | Service | Iowa | Salvage | Removal | Salvage
|  | Life | Curve | Factor | Factor | Factor | Life | Curve | Factor | Factor | Factor
|  | (Years) |  |  |  |  | (Years)
TRANSMISSION PLANT
350.1 | Rights of Way | 75 | R4.0 | 0% | 0% | 0% | 75 | R4.0 | 0% | 0% | 0% | N/A
352.0 | Structures & Improvements | 60 | S3.0 | 0% | 10% | -10% | 63 | L2.0 | 0% | 9% | -9% | Act
353.0 | Station Equipment | 50 | L0.5 | 8% | 11% | -3% | 55 | L0.5 | 9% | 22% | -13% | Act
354.0 | Towers & Fixtures | 51 | S6.0 | 3% | 13% | -10% | 56 | S6.0 | 2% | 21% | -19% | SPR
355.0 | Poles & Fixtures | 43 | L3.0 | 2% | 63% | -61% | 45 | R4.0 | 0% | 51% | -51% | Act
356.0 | Overhead Conductor & Devices | 50 | S6.0 | 6% | 33% | -27% | 55 | S6.0 | 3% | 32% | -29% | SPR
357 | Underground Conduit | 37 | R2.0 | 0% | 0% | 0% | 37 | R2.0 | 0% | 0% | 0% | N/A
358 | Underground Conductor and Devices | 44 | R1.0 | 0% | 0% | 0% | 44 | R1.0 | 0% | 0% | 0% | N/A
DISTRIBUTION PLANT
360.1 | Rights of Way | 75 | R4.0 | N/A | N/A | 0% | 75 | R4.0 | 0% | 0% | 0% | N/A
361.0 | Structures & Improvements | 65 | L0.5 | N/A | N/A | 0% | 67 | R2.5 | 3% | 8% | -5% | Act
362.0 | Station Equipment | 25 | L0.0 | N/A | N/A | 25% | 37 | R0.5 | 8% | 18% | -10% | Act
364.0 | Poles, Towers, & Fixtures | 28 | L0.0 | N/A | N/A | 25% | 35 | R0.5 | 14% | 57% | -43% | SPR
365.0 | Overhead Conductor & Devices | 26 | R1.5 | N/A | N/A | 25% | 30 | L0.0 | 25% | 32% | -7% | SPR
366.0 | Underground Conduit | 37 | R2.0 | N/A | N/A | 0% | 45 | R4.0 | 0% | 0% | 0% | SPR
367.0 | Underground Conductor | 44 | R1.0 | N/A | N/A | 0% | 46 | R0.5 | 0% | 0% | 0% | SPR
368.0 | Line Transformers | 25 | R1.5 | N/A | N/A | 15% | 30 | L0.0 | 21% | 31% | -10% | SPR
369.0 | Services | 18 | R2.0 | N/A | N/A | 0% | 26 | L0.0 | 15% | 44% | -29% | SPR
370.0 | Meters | 27 | R0.5 | N/A | N/A | 0% | 15 | L0.0 | 20% | 21% | -1% | SPR - results were 8 years. Actuarial agreed to 15 year
371.0 | Installations on Custs. Prem. | 11 | L0.0 | N/A | N/A | 30% | 12 | L0.0 | 1% | 34% | -33% | SPR
373.0 | Street Lighting & Signal Sys. | 15 | L0.0 | N/A | N/A | 15% | 25 | L0.0 | 1% | 29% | -28% | SPR
GENERAL PLANT
389.1 | Rights of Way | 75 | R4.0 | 0% | 0% | 0% | 75 | R4.0 | 0% | 0% | 0% | N/A
390.0 | Structures & Improvements | 35 | L2.0 | 1% | 1% | 0% | 40 | L2.0 | 9% | 16% | -7% | Act
391.0 | Office Furniture & Equipment | 35 | SQ | 0% | 0% | 0% | 35 | SQ | 0% | 0% | 0% | N/A
392.0 | Transportation Equipment | 30 | SQ | 0% | 0% | 0% | 30 | SQ | 0% | 0% | 0% | N/A
393.0 | Stores Equipment | 30 | SQ | 0% | 0% | 0% | 30 | SQ | 0% | 0% | 0% | N/A
394.0 | Tools Shop & Garage Equipment | 30 | SQ | 0% | 9% | -9% | 30 | SQ | 0% | 0% | 0% | N/A
395.0 | Laboratory Equipment | 30 | SQ | 0% | 0% | 0% | 30 | SQ | 0% | 0% | 0% | N/A
396.0 | Power Operated Equipment | 25 | SQ | 0% | 0% | 0% | 25 | SQ | 0% | 0% | 0% | N/A
397.0 | Communication Equipment | 22 | SQ | 6% | 3% | 3% | 22 | SQ | 8% | 10% | -2% | N/A
398.0 | Miscellaneous Equipment | 20 | SQ | 0% | 3% | -3% | 20 | SQ | 0% | 3% | -3% | N/A
Note: Kentucky Power Company's existing depreciation rates are from Case No. 91-066. No detail of Cost of Removal % and Salvage Factor % is available from the order from that Case.