## Sch 9
KPCO DEMAND ALLOCATION FACTORS
LINE NO. | DESCRIPTION | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
1 | Date of MW Peak | MAR 3, 2016 | APR 10, 2016 | MAY 31, 2016 | JUN 16, 2016 | JUL 25, 2016 | AUG 9, 2016 | SEP 8, 2016 | OCT 19, 2016 | NOV 22, 2016 | DEC 16, 2016 | JAN 9, 2017 | FEB 4, 2017 | TOTAL /
2 | Hour of MW Peak | 0800 | 0800 | 1600 | 1600 | 1400 | 1600 | 1600 | 1600 | 0800 | 0800 | 0800 | 0900 | AVERAGE
|  | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------ | ------------------
3 | Kentucky Peaks - Max. Load (MW) * | 1018 | 894 | 892 | 995 | 1037 | 1044 | 983 | 783 | 1030 | 1160 | 1214 | 1131 | 12181
4 | [13 empty] | 1015.083
5 | System Sales Excluding Losses | 0 | 0 | 0 | 141.6 | 388.5 | 0 | 351.9 | 261.3 | 452.1 | 319.6 | 0 | 0 | 1915
6 | Loss % | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341
7 | System Sales Including Losses | 0 | 0 | 0 | 146.432 | 401.758 | 0 | 363.909 | 270.217 | 467.528 | 330.507 | 0 | 0 | 1980.351
165.029
8 | Remove - Kentucky Electric Steel Load | 3 | 3 | 1 | 2 | 2 | 3 | 2 | 2 | 4 | 2 | 2 | 2
9 | Loss % | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341
10 | Remove - Kentucky Electric Steel Load | 3.102 | 3.102 | 1.034 | 2.068 | 2.068 | 3.102 | 2.068 | 2.068 | 4.137 | 2.068 | 2.068 | 2.068 | 28.953
2.413
11 | Kentucky Internal Peak Load | 1014.898 | 890.898 | 890.966 | 988.1 | 1021.674 | 1040.898 | 968.923 | 772.015 | 1010.435 | 1147.025 | 1211.932 | 1128.932 | 12086.696
12 | [13 empty] | 1007.225
Municipals (FERC Jurisdiction)
13 | Olive Hill, Excluding Losses | 3.94 | 3.512 | 3.753 | 4.323 | 4.663 | 4.716 | 4.337 | 3.021 | 3.925 | 5.151 | 5.154 | 4.733 | 51.228
14 | Loss % | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552 | 1.0552
15 | Olive Hill, Including Losses | 4.157 | 3.706 | 3.96 | 4.562 | 4.92 | 4.976 | 4.576 | 3.188 | 4.142 | 5.435 | 5.439 | 4.994 | 54.055
16 | [13 empty] | 4.505
17 | Vanceburg, Excluding Losses | 9.721 | 8.949 | 9.152 | 10.351 | 11.227 | 10.928 | 10.634 | 7.754 | 9.818 | 12.221 | 11.486 | 10.718 | 122.959
18 | Loss % | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341 | 1.0341
19 | Vanceburg, Including Losses | 10.053 | 9.254 | 9.464 | 10.704 | 11.61 | 11.301 | 10.997 | 8.019 | 10.153 | 12.638 | 11.878 | 11.084 | 127.155
20 | [13 empty] | 10.596
21 | Total Municipals Including Losses | 14.21 | 12.96 | 13.424 | 15.266 | 16.53 | 16.277 | 15.573 | 11.207 | 14.295 | 18.073 | 17.317 | 16.078 | 181.21
22 | [13 empty] | 15.101
23 | Allocation Factor (FERC Jurisdictional) |  | 15.101 | / | 1007.225 | = | 0.015
24 | Retail (KY Jurisdictional) Load | 1000.688 | 877.938 | 877.542 | 972.834 | 1005.144 | 1024.621 | 953.35 | 760.808 | 996.14 | 1128.952 | 1194.615 | 1112.854 | 11905.486
25 | [13 empty] | 992.124
26 | Allocation Factor (KPSC Jurisdictional) |  | 992.124 | / | 1007.225 | = | 0.985
* | Kentucky Power Company Internal Load plus System Sales at time of Internal Peak.

## Sch 10
KPCO ENERGY ALLOCATION FACTORS
LINE NO. |  | ENERGY LOSS CALCULATIONS | MWH | % LOSS FACTOR | MWH LOSSES |  | MWH W / LOSSES
(1) |  | -2 | -3 | -4 | -5 |  | -6 | -7 | -8 | -9 | -10
Transmission -
1 |  | Sales for Resale | 1349938.38 | 3.41% | 46033 |  | 1395971.38
2 |  | Firm Sales - Vanceburg | 58618.523 | 3.41% | 1999 |  | 60617.523
Distribution -
3 |  | Firm Sales - Olive Hill | 23064.121 | 5.552% | 1281 |  | 24345.121
|  |  | TOTAL COMPANY | ELIMINATION | TOTAL COMPANY ADJUSTED |  | CITY OF OLIVE HILL | CITY OF VANCEBURG | CITY OF HAMILTON | TOTAL Non Retail Jurisdiction | TOTAL RETAIL
|  |  | -3 | -4 | -5 |  | -6 | -7 | -8 | -9 | -10
Sources of Energy
4 |  | Generation | 4015884 | 0 | 4015884
5 |  | Purchases | 3498858 | 0 | 3498858
6 |  | Net interchange | 0 | 0 | 0
|  |  | ------------------ | ------------------ | ------------------
7 |  | Total Sources | 7514742 | 0 | 7514742
|  |  | ------------------ | ------------------ | ------------------
Disposition of Energy
8 |  | Sales / Ultimate Customers | 5639148 | 0 | 5639148 |  | 0 | 0 | 0 | 0 | 5639148
9 |  | Kentucky Electric Steel - loss of load | -18478 | 0 | -18478 |  | 0 | 0 | 0 | 0 | -18478
10 |  | Sales for Resale | 1349938.38 | 1349938.38 | 0 |  | 0 | 0 | 0 | 0 | 0
11 |  | Firm Sales (Mun.) - Olive Hill | 23064.121 | 0 | 23064.121 |  | 23064.121 | 0 | 0 | 23064.121 | 0
12 |  | Firm Sales (Mun.) - Vanceburg | 58618.523 | 0 | 58618.523 |  | 0 | 58618.523 | 0 | 58618.523 | 0
13 |  | Total Sales / Resale (LINES 10+11+12) | 1431621.024 | 1349938.38 | 81682.644 |  | 23064.121 | 58618.523 | 0 | 81682.644 | 0
14 |  | Energy Losses | 462451 | 46033 | 416418 |  | 1281 | 1999 | 0 | 3280 | 413138
|  |  | ------------------ | ------------------ | ------------------ |  | ------------------ | ------------------ | ------------------ | ------------------ | ------------------
15 |  | Total Disposition (LINES 8+9+13+14) | 7514742.024 | 1395971.38 | 6118770.644 |  | 24345.121 | 60617.523 | 0 | 84962.644 | 6033808
|  |  | ------------------ | ------------------ | ------------------ |  | ------------------ | ------------------ | ------------------ | ------------------ | ------------------
16 |  | Allocation Factor |  |  | 1 |  |  |  |  | 0.014 | 0.986
[5 empty] | ========== |  | ========== | ========== | ========== | ========== | ==========

## Olive Hill - Vanceburg
Kentucky Power Company
Twelve Months Ended 2/28/2017
KPCo Losses based on Test Year ended February 28, 2017
|  |  | City of Olive Hill |  | City of Vanceburg
Line No. | Month | Year | CP Demand | Energy | CP Demand | Energy | Loss Factors by System | % Demand |  | % Energy
1 | March | 2016 | 3940 | 1826569 | 9721 | 4860533
2 | April | 2016 | 3512 | 1600196 | 8949 | 4314420
3 | May | 2016 | 3753 | 1609940 | 9152 | 4340183
4 | June | 2016 | 4323 | 1910271 | 10351 | 4815499
5 | July | 2016 | 4663 | 2178968 | 11227 | 5471978
6 | August | 2016 | 4716 | 2267597 | 10928 | 5726876
7 | September | 2016 | 4337 | 1815088 | 10634 | 4666409
8 | October | 2016 | 3021 | 1519685 | 7754 | 3972297
9 | November | 2016 | 3925 | 1806219 | 9818 | 4576193 | Cumulative (Composite) Loss Expansion Factors (1)
10 | December | 2016 | 5151 | 2430487 | 12221 | 5668295
11 | January | 2016 | 5154 | 2282272 | 11486 | 5587639 | System | Loss |  | Loss
12 | February | 2016 | 4733 | 1816829 | 10718 | 4618201
|  |  | --------------- | -------------------- | --------------- | -------------------- | Transmission | 3.41% | Schedule 9 (Olive Hill) | 3.41% | Schedule 10 (Olive Hill)
[7 empty] | Subtransmission | 5.552% |  | 5.552%
13 | Total |  | 51228 | 23064121 | 122959 | 58618523 | Distribution Substation Trxfrs - 69kV (1) | 5.552% | Schedule 9 (Vanceburg) | 5.552% | Schedule 10 (Vanceburg)
14 | Composite Loss |  | 5.552% | 5.552% | 3.41% | 3.41% | Notes:
(1) Composite Loss Factors are applicable to load metered at respective delivery point to determine losses back to the generator.
|  |  | ======= | ========= | ======= | =========
|  |  | Schedule 9 | Schedule 10 | Schedule 9 | Schedule 10