## Summary
$ in Millions
Function | 2021 | 2022 | 2023 | 2024 | 2025
Transmission | 64.5358 | 75.7173 | 80.9812 | 81.0368 | 76.0824
Distribution | 56.91 | 44.96 | 41.85 | 39.92 | 65.83
Corporate | 24.46 | 16.52 | 16.69 | 17.04 | 17.81
Environmental Generation | 20.11 | 40.5 | 12.97 | 6.67 | 4.26
Other Generation | 13.87 | 27.25 | 10.22 | 16 | 15.87
Reg Renewables | 0 | 29.83 | 0 | 0 | 0
Allocated Reserve | 0 | 0 | 1.44 | 22.92 | 51.75
Grand Total | 179.8858 | 234.7773 | 164.1512 | 183.5868 | 231.6024 | 994.0035

## Transmission
$ in Millions
Function | Major Category | Project Name | 2021 | 2022 | 2023 | 2024 | 2025
Transmission | Asset Replacement | Kentucky Region Station Proactive | 1.4606 | 9.0816 | 0.10987 | 0 | 0
|  | KY Region Failures 2019-2020 | 1.3194 | 1.3185 | 6.06e-07 | 7.01e-07 | 7.09e-07
|  | 2021-2030 Budget Projection | 0.27901 | 0.27491 | 1.1339 | 1.1139 | 1.2702
|  | AEP System Asset Replacement Budget | 0 | 0 | 0 | 0 | 10.202
|  | Kentucky 2022 TTMP | 0 | 0.051667 | 0 | 0 | 0
|  | KY Meter Modernization 2022 | 0.14691 | 0.034267 | 0.48286 | 0.54146 | 0
|  | Trans Capital Blanket - KYPCo | 3.389 | 3.2566 | 3.2966 | 3.4318 | 3.5923
|  | AEP Service Corp Blanket | 0.14982 | 0.14446 | 0.14722 | 0.15236 | 0.15839
|  | Kenwood Loop | 1.2006 | 3.9943 | 6.3535 | 0.21495 | 0
|  | Garrett Area Improvements | 3.5732 | 19.8797 | 18.6666 | 0.38989 | 0
|  | Transmission Budget East/West Placeholders | 1.723e-06 | -1.004e-06 | -3.78e-07 | -9e-09 | 6.3522
|  | Fleming Station Rebuild | 1.9046 | 4.137 | 0 | 0 | 0
|  | Middle Creek Energy Storage | 3.6993 | 6.3377 | 0 | 0 | 0
|  | Allen Station Rebuild/Relocate | 2.9669 | 3.8875 | 2.2991 | 0 | 0
|  | Millbrook Park-South Point Rebuild | 2.4615 | 1.4227 | 0.014981 | 0.00064071 | 0
|  | Inez Station Improvement | 0.39797 | 0.032196 | 0 | 0 | 0
|  | Middle Creek-Prestonsburg Rebuild | 2.0293 | 0.18739 | 9.1467 | 12.2612 | 2.1711
| Customer Service | Transmission Budget East/West Placeholders | 4.76e-07 | -1.053e-06 | -5.73e-07 | -1.057e-06 | 0.76996
| Local Reliability | CAPSFTWRE | 0.0087395 | 0 | 0 | 0 | 0
|  | NERC Physical Security - KY | 3.9164 | 4.3051 | 0 | 0 | 0
|  | KPCo Major Equipment/Spares Program | 2.1422 | 0.79629 | 0.79419 | 0.80606 | 2.1916
|  | Trans Capital Blanket - KYPCo | 3 | 0 | 0 | 0 | 0
|  | TOps Situational Awareness | 0.19958 | 0 | 0 | 0 | 0
|  | TOPS Regulatory (FERC/NERC) Program | 0.031312 | 0 | 0 | 0 | 0
|  | TOPs Blanket | 0.14588 | 0.13023 | 0.12775 | 0.12857 | 0.10807
|  | Hazard & Vicco Area Improvement | 0.066423 | 1.338 | 0 | 0 | 0
|  | Hazard 161kV Improvements | 3.6766 | 0 | 0 | 0 | 0
|  | T/KTC/Wooten-Stinnet-Rebuild | 0.50525 | 0.1696 | 13.1192 | 5.8661 | 0
|  | Stinnett-Pineville 161kV Line | 0.099775 | 0.18755 | 0.52946 | 39.7658 | 27.6679
|  | Elwood Area Upgrades | 0.95061 | 6.3495 | 6.3535 | 0 | 0
|  | Inez Station Improvement | 0.31091 | 0.0052898 | 0 | 0 | 0
|  | New Camp Loop | 2.9804 | 0.22874 | 0 | 1.8002 | 16.5837
|  | T-Forestry/ROW Widening - KY | 2.5136 | 2.0772 | 2.0604 | 2.0705 | 2.0925
| RTO Driven | Hazard 161kV Improvements | 1.8812 | 0 | 0 | 0 | 0
|  | Chadwick Second Transformer | 2.0494 | 0.11948 | 0 | 0 | 0
|  | Transmission Budget East/West Placeholders | 2.63e-07 | 1.339e-06 | -6.42e-07 | 1.776e-06 | 2.8232
|  | Kewanee Station Project | 7.683 | 5.4345 | 1.3271 | 0.44923 | 0
|  | Burton Station Replacement | 1.6125 | 0.20692 | 6.3535 | 6.2415 | 0
|  | Henry Clay Station Replacement | 1.1999 | 0.17247 | 8.4713 | 5.6311 | 0
|  | Leach Area Improvements | 4.2635 | 0.15368 | 0 | 0 | 0
| Telecommunication | Telecom Fiber Build Out - KY | 0.0085192 | 0 | 0 | 0 | 0
|  | KYPCO TTMP 2021 | 0.033223 | 0 | 0 | 0 | 0
|  | 2021-2030 Budget Projection | 0 | 0 | 0.10674 | 0.10576 | 0.099411
|  | Hazard 161kV Improvements | 0.22157 | 0 | 0 | 0 | 0
|  | T/KTC/Wooten-Stinnet-Rebuild | 0.057214 | 0.0021716 | 0.086633 | 0.065778 | 3.761e-06
| Grand Total |  | 64.5358 | 75.7173 | 80.9812 | 81.0368 | 76.0824

## Distribution
$ in Millions
Function | Major Category | Project Name | 2021 | 2022 | 2023 | 2024 | 2025
Distribution | Asset Replacement | City of Hamilton Meter Mod 118 | 0.01 | 0 | 0.04 | 0.05 | 0
|  | City of Hamilton Meter Mod 579 | 0.01 | 0 | 0.04 | 0.05 | 0
|  | City of Hamilton Meter Mod 400 | 0.02 | 0 | 0.05 | 0.05 | 0
|  | Olive Hill Meter Mod | 0.01 | 0 | 0.02 | 0.02 | 0
|  | 2BCXLD Wurtland Meter Mod | 0.03 | 0 | 0 | 0 | 0
|  | 2021-2030 KPCO-D Fail Projectn | 0 | 0 | 0.53 | 0.53 | 0.58
|  | 2021-2030 KPCO-D RTU Prjection | 0 | 0 | 0.07 | 0.03 | 0.16
|  | 2021-2030 KPCO-D Relay Projetn | 0 | 0 | 0.07 | 0.07 | 0
|  | KP - D TFS Station Budget | 0.06 | 0.05 | 0 | 0 | 0.07
|  | Falcon Station 46kV removal | 0.21 | 0.01 | 0.15 | 0.2 | 0.08
|  | KPCo-D Asset ReplacementBudget | 0 | 0 | 0 | 0 | 3.58
|  | Tygart Station Fiber | 0 | 0.03 | 0 | 0 | 0
|  | Wurtland Station Fiber | 0 | 0.01 | 0 | 0 | 0
|  | Highland Station Fiber | 0 | 0.01 | 0 | 0 | 0
|  | Jackson Sta TTMP | 0 | 0.05 | 0 | 0 | 0
|  | D/KY/Non-Specific Work - Sta | 0.66 | 0.62 | 0.65 | 0.65 | 0.7
|  | McKinney Station Work | 0.1 | 0.75 | 0.31 | 0 | 0
|  | Garrett Station (Distribution) | 0.62 | 0.49 | 0.65 | 0 | 0
|  | Garrett Land Purchase | 0.15 | 0.02 | 0 | 0 | 0
|  | KPCo - Kentucky D Projects | 0 | 0 | 0 | 0 | 2.23
|  | Collier Remote End | 0.02 | 0.05 | 0 | 0 | 0
|  | Jackhorn Distribution work | 1.99 | 1.17 | 0 | 0 | 0
|  | Prestonsburg Remote End | 0 | 0 | 0.32 | 0 | 0
|  | McKinney Remote End Work | 0 | 0 | 0.32 | 0 | 0
|  | Allen Station Land Purchase | 0.34 | 0 | 0 | 0 | 0
|  | Remote End at Prestonsburg | 0 | 0 | 0.2 | 0.22 | 0
|  | KPCo Major Eq/Spares Chkbk-Dis | 2.22 | 0.77 | 0.79 | 0.8 | 2.31
|  | KY D Sta Failures Ckbk noWO | 1.1 | 1.04 | 0 | 0 | 0
| Customer Service | KP PPR Eng Support | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
|  | Ds/Kp/Public Relocation | 2 | 1.96 | 1.95 | 1.95 | 2.1
|  | KP Cust Serv Eng Support | 1.98 | 1.96 | 2.01 | 2.07 | 2.67
|  | Ds/Kp/Cs-New Customers | 3.07 | 2.99 | 2.27 | 2.37 | 4.08
|  | Ds/Kp/Cs-Upgrades | 0.06 | 0.06 | 0.06 | 0.06 | 0.07
|  | Ds/Kp/C&I New | 1.32 | 1.32 | 1.36 | 1.39 | 1.91
|  | KPCo D Customer Driven | 0 | 0 | 0 | 1 | 0
| Other | KY/Svc Restoration NonMjr Evt | 3.27 | 2.76 | 2.74 | 2.75 | 2.87
|  | KP-Failed Equip No Outage | 1.44 | 1.41 | 1.43 | 1.45 | 1.58
|  | KP Asset Imp Eng Support | 0.97 | 0.96 | 0.97 | 0.99 | 1.08
|  | KP Asset Programs Eng Support | 0.14 | 0.14 | 0.15 | 0.15 | 0.16
|  | KYCutout-Arrester | 0.62 | 0.6 | 0.6 | 0.6 | 0.65
|  | Major Storm Reserve - KY | 0.83 | 0.8 | 0.79 | 0.81 | 0.9
|  | Daisy Station TTMP | 0.01 | 0 | 0 | 0 | 0
|  | Raccoon Station TTMP | 0.02 | 0 | 0 | 0 | 0
|  | Belhaven Station TTMP | 0.08 | 0 | 0 | 0 | 0
|  | Russell Station TTMP | 0.07 | 0 | 0 | 0 | 0
|  | Hitchins Station TTMP | 0.06 | 0 | 0 | 0 | 0
|  | Tenth Street Station TTMP | 0.08 | 0 | 0 | 0 | 0
|  | Olive Hill Station TTMP | 0.08 | 0 | 0 | 0 | 0
|  | Hayward Station TTMP | 0.02 | 0 | 0 | 0 | 0
|  | 2021-2030 KPCO-D TTMP Prjectin | 0 | 0 | 0.34 | 0.33 | 0.33
|  | Customer Meter/Kp | 0.77 | 0.73 | 0.73 | 0.74 | 0.78
|  | Ds-Kp-Ai Pole Replacement | 1.37 | 2.13 | 2.16 | 2.22 | 2.49
|  | Ds-Kp-Ai Recloser Replacement | 0.77 | 0.74 | 0.74 | 0.75 | 0.8
|  | Ds-Kp-Ai Urd Program | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
|  | Ds-Kp-Ai Ckt Inspections | 1.58 | 1.59 | 1.62 | 1.67 | 1.89
|  | Line Transformer/Kp | 2.81 | 2.66 | 2.67 | 2.72 | 2.92
|  | KY Purch. Cap Tools | 0.13 | 0 | 0 | 0 | 0
|  | Stinnett Station & Telecom | 0 | 0 | 0.01 | 0 | 0
|  | Belfry KPCO D | 0.33 | 0.11 | 0 | 1.28 | 3.69
|  | Smart Circuit Budget Only | 2.53 | 1.46 | 2.15 | 2.1 | 9.27
| Reliability | KP Reliability Improvements | 0.32 | 2.51 | 1.79 | 2.18 | 2.96
|  | KP/Small Local Asset Improv | 3.13 | 1.81 | 1.83 | 1.85 | 2
|  | KY Cpp Capacity Pot | 2.08 | 0.02 | -0.48 | -0.5 | 1.95
|  | KY Capacity Capital Forecast | 1.13 | 3.53 | 2.53 | 1.82 | 4.05
|  | Tygart Sta - D line | 0.9 | 0 | 0 | 0 | 0
|  | Tygart Sta - Dist Station | 0.62 | 0 | 0 | 0 | 0
|  | Tygart Sta - T line work | 0.06 | 0 | 0 | 0 | 0
|  | Tygart Sta - T line work | 0.06 | 0 | 0 | 0 | 0
|  | Tygart Sta - Millbrook Pk work | 0.04 | 0 | 0 | 0 | 0
|  | KY D 2017-00179 | 2.8 | 2.74 | 2.72 | 2.71 | 2.99
|  | Redeployment Bucket - Capital | 0.01 | 0 | 0 | 0 | 0
|  | ROW Capital Widening & Removal | 7.27 | 0 | 0 | 0 | 0
| RTO Driven | Kewanee Station - Baseline Wor | 2.5 | 2.63 | 2.75 | 0.01 | 0
|  | Fords Branch Retirement Work | 0 | 0.53 | 0 | 0 | 0
|  | Coalton Remote End | 0.23 | 0.01 | 0 | 0 | 0
|  | Cannonsburg Station Work | 0.04 | 0 | 0 | 0 | 0
| Third Party Driven | KP-Damage Claims-Reimburse | -0.02 | -0.02 | -0.02 | -0.02 | -0.02
|  | KP-PQ-QOS Mitigation | 1.17 | 1.14 | 1.15 | 1.17 | 1.27
|  | KP-Cust Req Relocate | 0.11 | 0.11 | 0.11 | 0.12 | 0.13
|  | KY/DOP/Copper Theft | 0.13 | 0.13 | 0.14 | 0.14 | 0.15
|  | Ds-Kp-Ai Aepc Make Ready | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
|  | Ds-Kp-Ai Other Make Ready | 0.33 | 0.33 | 0.33 | 0.33 | 0.36
| Grand Total |  | 56.91 | 44.96 | 41.85 | 39.92 | 65.83

## Corporate
$ in Millions
Function | Major Category | Project Name | 2021 | 2022 | 2023 | 2024 | 2025
Corporate | Infrastructure_Bus Con Rollup | KyPCo-D Capital Software Dev | 0.18 | 0.18 | 0.18 | 0.18 | 0.21
| Other | KyPCo-G Capital Software Dev | 0.44 | 0.4 | 0.43 | 0.47 | 0.55
|  | KyPCo-T Capital Software Dev | 0.36 | 0.35 | 0.35 | 0.36 | 0.36
|  | OOC Capital Projects | 0.06 | 0.05 | 0.06 | 0.06 | 0.07
|  | FEL IT Projects | 0.22 | 0.18 | 0.2 | 0.23 | 0.25
|  | 2018 Gen Plt Cap Blkt - AEPSC | 0.11 | 0.11 | 0.11 | 0.11 | 0.12
|  | 2018 Gen Plt Cap Blkt - KYPC-D | 0.2 | 0.19 | 0.2 | 0.2 | 0.22
|  | Building Projects Cap Std | 0.12 | 0.1 | 0.11 | 0.11 | 0.12
|  | CFO CAPITAL PROJECTS | 0.17 | 0.04 | 0.05 | 0.05 | 0.05
|  | Digital Hub Project | 0.67 | 0.77 | 0.8 | 0.84 | 0.8
|  | It Capital Projects | 1.65 | 1.94 | 2 | 2.09 | 2.37
|  | AEP Service Corp - Telecom | -0.01 | 0 | 0 | 0 | 0
|  | KENTUCKY POWER - DIST | 0.65 | 0.61 | 0.61 | 0.61 | 0.65
|  | KENTUCKY POWER - TRANSM | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
|  | IT Chairman Blanket | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
|  | IT Commercial Ops Blanket | 0.11 | 0.1 | 0.11 | 0.12 | 0.13
|  | COPSFUEL Gas Procur Settle | 0 | 0 | 0 | 0 | 0.01
|  | RTO Modernization | 0.22 | 0 | 0 | 0 | 0
|  | CIS-Net Meter/Spc Bill | 0.32 | 0.15 | 0 | 0 | 0
|  | CIS-Smart Grid Gateway | 0.16 | 0.07 | 0 | 0 | 0
|  | CIS-Meter Enhancements | 0.3 | 0.13 | 0 | 0 | 0
|  | KY Next Generation Radio Sys | 8.46 | 0 | 0 | 0 | 0
|  | Dist GE Digital 2021-2022 | 0.14 | 0.19 | 0 | 0 | 0
|  | IT Generation Blanket | 0.14 | 0.12 | 0.13 | 0.14 | 0.16
|  | Maximo Upgrade Enhancements | 0.08 | 0 | 0 | 0 | 0
|  | IT Pol Fin & Strat Pln Blanket | 0.04 | 0.04 | 0.04 | 0.04 | 0.05
|  | Security Blanket | 1.2 | 1.36 | 1.42 | 1.44 | 1.59
|  | Cyber IronNet | 0.02 | 0 | 0 | 0 | 0
|  | Cisco Security ELA-CAP | 0.06 | 0 | 0 | 0 | 0
|  | Cyber-Service Acct Remediation | 0.01 | 0 | 0 | 0 | 0
|  | Cyber DPPG Data Gov&Compliance | 0.02 | 0 | 0 | 0 | 0
|  | CYBER MCAFEE SLA | 0.04 | 0.02 | 0 | 0 | 0
|  | Cyber-Security Analytics | 0.02 | 0.02 | 0 | 0 | 0
|  | Cyber-VulnextPh2ConfigMgt | 0.04 | 0 | 0 | 0 | 0
|  | Cyber-MDR | 0.06 | 0 | 0 | 0 | 0
|  | Cyber-IronNet | 0.08 | 0.06 | 0.06 | 0.06 | 0.06
|  | Cyber-NetwrkDefUpgrd 2020 | 0.01 | 0 | 0 | 0 | 0
|  | IT Shared Services Blanket | 6.22 | 7.26 | 7.35 | 7.6 | 7.54
|  | Mobility BarCode RFID | 0.09 | 0 | 0 | 0 | 0
|  | IT INFR Windows 2012 | 0.05 | 0.07 | 0.08 | 0 | 0
|  | ITRM CyberArk PW Vault | 0.02 | 0 | 0 | 0 | 0
|  | IT GDC Bndl Recovery Auto | 0.06 | 0 | 0 | 0 | 0
|  | IT RSA to F5 App Config | 0.04 | 0 | 0 | 0 | 0
|  | TCOM Ciena Blu Plan Inven | 0.06 | 0 | 0 | 0 | 0
|  | Transmission IT Projects Blank | 0.27 | 0.28 | 0.28 | 0.28 | 0.28
|  | ESRI ArcGIS Utility Network | 0.01 | 0 | 0 | 0 | 0
|  | Int Design and Construct | 0.02 | 0.02 | 0.09 | 0.03 | 0.02
|  | TRA NERC Compliance Rptg | 0.01 | 0 | 0 | 0 | 0
|  | Customer Data Linkage | 0.01 | 0 | 0 | 0 | 0
|  | IT Utility Operations Blanket | 0.95 | 1.41 | 1.74 | 1.72 | 1.89
|  | Telecom Dist BU Labor | 0.03 | 0.03 | 0.03 | 0.03 | 0.04
|  | Telecom Trans BU Labor | 0.17 | 0.17 | 0.16 | 0.17 | 0.17
| Grand Total |  | 24.46 | 16.52 | 16.69 | 17.04 | 17.81

## Generation
$ in Millions
Function | Major Category | Project Name | 2021 | 2022 | 2023 | 2024 | 2025
Environmental Generation | Coal Combustion Residual | KPCo CCR Placeholder | 0 | 0.26 | 1.58 | 3.47 | 0.67
| Other | ML U0 ELG Compliance | 18.18 | 30.22 | 2.82 | 0 | 0
|  | ML U2 ESP Upgrades | 0.07 | 3.68 | 0 | 0 | 0
|  | ML LANDFILL EXPANSION - PH 3 | 0.28 | 0.17 | 5.88 | 2.07 | 0
|  | Mitchell Haul Road Relocate | 0 | 2.15 | 0 | 0 | 0
|  | Other Environ Repl <100k | 0 | 0.04 | 0.04 | 0.04 | 0.05
|  | ML MITCHELL DSI PROJECT | 0 | 2.03 | 2.25 | 0 | 0
|  | ML - NON OUTAGE PPB FGD | 0.18 | 0 | 0 | 0 | 0
|  | ML - NON OUTAGE PPB FGD | 0 | 0.17 | 0 | 0 | 0
|  | ML - NON OUTAGE PPB FGD | 0 | 0 | 0.18 | 0 | 0
|  | ML - NON OUTAGE PPB FGD | 0 | 0 | 0 | 0.19 | 0
|  | ML - NON OUTAGE PPB FGD | 0 | 0 | 0 | 0 | 0.22
|  | REPL DFA FILTER SEPARTOR BAGS | 0.02 | 0.02 | 0 | 0.02 | 0.02
|  | DFA EXHAUST BLOWER REPLACEMENT | 0 | 0 | 0.06 | 0 | 0
|  | ML1 E PRECIPITATOR EJ REPLACE | 0 | 0 | 0 | 0 | 0.18
|  | RPL #12 ID FAN OUTLET HUB CYL | 0 | 0 | 0 | 0.02 | 0
|  | ML 1 E RESIN REPLACEMENT | 0 | 0 | 0 | 0.13 | 0
|  | PARTIAL REMOVAL OF OLD STACK | 0 | 0.44 | 0 | 0 | 0
|  | ML1 V CATALYST REPLACEMENT 4 L | 0.99 | 0.03 | 0 | 0 | 0
|  | ML1 V CATALYST REPLACMENT 1 L | 0 | 0 | 0 | 0.25 | 1.4
|  | ML ABSORBER INLET EXPAN JOINT | 0 | 0 | 0 | 0.02 | 0
|  | ID FAN 11/12OUTLET COM HZ EJ | 0 | 0.03 | 0 | 0 | 0
|  | REPL DFA FILTER SEPARATOR BAGS | 0.02 | 0.02 | 0 | 0.02 | 0.02
|  | DFA EXHAUST BLOWER REPLACEMENT | 0 | 0 | 0 | 0.03 | 0.04
|  | ML0 V BALL MILL REBUILD | 0.09 | 0 | 0 | 0 | 0
|  | RPL #21 ID FAN OUTLET HUB CYL | 0.02 | 0 | 0 | 0 | 0
|  | REPLACE #22 ID FAN OUTLET CYL | 0.02 | 0 | 0 | 0 | 0
|  | ML0 V BALL MILL REBUILD | 0 | 0.08 | 0 | 0 | 0
|  | ML0 V BALL MILL REBUILD | 0 | 0 | 0.09 | 0 | 0
|  | ML0 V BALL MILL REBUILD | 0 | 0 | 0 | 0.09 | 0
|  | ML0 V BALL MILL REBUILD | 0 | 0 | 0 | 0 | 0.1
|  | ML2 V CATALYST REPLACEMENT 4 L | 0.23 | 1.03 | 0 | 0 | 0
|  | ML2 V CATALYST REPLACEMENT 1 L | 0 | 0 | 0 | 0.25 | 1.4
|  | ML ABSORBER INLET EXPAN JOINT | 0 | 0 | 0 | 0 | 0.05
|  | ID FAN 21/22OUTLET COM HZ EJ | 0 | 0 | 0 | 0 | 0.03
|  | ML2 FGD CAPITAL OUTAGE PROJECT | 0 | 0.13 | 0.07 | 0.07 | 0.08
|  | ML V CO2 Monitors | 0.01 | 0 | 0 | 0 | 0
Environmental Generation | Total |  | 20.11 | 40.5 | 12.97 | 6.67 | 4.26
Other Generation | Local Reliability | ML U2 Cooling Tower Repair | 0 | 0 | 0.1 | 1.85 | 2.75
| Other | Big Sandy 1 DFLP Overhaul | 0 | 1.92 | 0 | 0 | 0
|  | Rewedge Generator U1 | 0 | 0.27 | 0 | 0 | 0
|  | Boiler & Auxiliaries PPB<100k | 0.17 | 0.15 | 0.08 | 0.16 | 0.19
|  | Boiler MU Water Supply PPB<100 | 0 | 0.14 | 0.08 | 0.16 | 0.18
|  | Other Costs PPB<$100k | 0.04 | 0.23 | 0.18 | 0.19 | 0.22
|  | Unit 1PPB Outage<100k | 0.51 | 0.59 | 0.54 | 0.66 | 1.37
|  | REPLACE 15 BREAKERS "A" BUS | 0 | 0.5 | 0 | 0 | 0
|  | REPLACE 15 BREAKERS "B" BUS | 0 | 0.5 | 0 | 0 | 0
|  | REPLACE BOILER AIR EXP JOINTS | 0 | 0 | 0.51 | 0 | 0
|  | BS1 REPL BLR COMBUSTION COILS | 0 | 0.07 | 0.08 | 0.08 | 0.09
|  | BS1 HEAT RATE INSTRUMENTATION | 0 | 0.07 | 0 | 0.08 | 0.09
|  | BATTERY CHARGER NEW FDR &TRNCH | 0 | 0 | 0.31 | 0 | 0
|  | FHG Capital Cuts | 3.13 | 0.1 | 0 | 0 | 0
|  | Incremental Capital Investment | 2.2 | 2.48 | 2.62 | 2.8 | 2.4
|  | ML REPLACEMENT OF TRANSMITTERS | 0.06 | 0.05 | 0.05 | 0.06 | 0.06
|  | ML CAPITAL TOOLS | 0.05 | 0.1 | 0.1 | 0.11 | 0.12
|  | PULVERIZER REBUILD CAPITAL(#XX | 0 | 0.34 | 0.18 | 0.19 | 0.21
|  | PULVERIZER REBUILD CAPITAL(#YY | 0.19 | 0.17 | 0.18 | 0.19 | 0.21
|  | ML E HVAC UNIT REPLACEMENTS | 0 | 0.02 | 0 | 0 | 0
|  | ML E HVAC UNIT REPLACEMENTS | 0 | 0 | 0.02 | 0 | 0
|  | ML E PURCHASE CAP PH2 GSU TR | 1.79 | 0.7 | 0 | 0 | 0
|  | DEMINERALIZER VALVE REPLACEMNT | 0 | 0.03 | 0 | 0 | 0
|  | ML U1 PRECIP EJ REPLACEMENT | 0 | 0 | 0 | 0.17 | 0
|  | ML S PULVERIZER GEARBOX | 0 | 0 | 0.3 | 0 | 0
|  | REPLACE U1 PULVERIZER YOKE | 0.11 | 0.05 | 0.05 | 0 | 0
|  | REPLACE BFP ROTATING ELEMENT | 0.04 | 0 | 0 | 0 | 0
|  | AIR HEATER BASKET REPLACEMENT | 0 | 2.46 | 0 | 0 | 0
|  | REPAIR BFP REMOVED IN2021- PPB | 0 | 0.17 | 0 | 0 | 0
|  | ML RPL UNIT 1 FGD BATTERIES | 0 | 0.06 | 0 | 0 | 0
|  | ML S LOWER SIDEWALL WELD OVLAY | 0 | 0.96 | 0 | 0 | 0
|  | HP/1st RH ROTOR INSPECTION CI | 0 | 1.63 | 0 | 0 | 0
|  | HP 1stRH ROTOR REPAIR REM 2021 | 0 | 0 | 0.19 | 0 | 0
|  | LPA TURBINE ROTOR INSPECTION | 0 | 0.75 | 0 | 0 | 0
|  | M1 GENERATOR GASBAFFLE PURCHAS | 0 | 0 | 0 | 0.32 | 0
|  | LPA TURBINE ROTOR REPAIR PPB | 0 | 0 | 0.34 | 0 | 0
|  | ML1 GENERATOR FIELD OUT INSPEC | 0 | 0 | 0 | 0 | 0.74
|  | ML1 E COOLING TOWER REPLACMENT | 0 | 2.41 | 0 | 0 | 0
|  | ML1 INSULATION & LAGGING RPL | 0.11 | 0 | 0 | 0 | 0
|  | ML1 INSULATION & LAGGING RPL | 0 | 0 | 0.1 | 0.11 | 0
|  | ML 1 GAS OUTLET EXP JT REPLACE | 0 | 0.15 | 0 | 0 | 0.19
|  | REPLACE #22 RDV to NASH PUMP | 0 | 0.12 | 0 | 0 | 0
|  | ML U2 PRECIP EJ REPLACEMENT | 0 | 0 | 0 | 0.22 | 0
|  | ML REPLACE U2 PULVERIZER YOKE | 0 | 0.05 | 0 | 0 | 0
|  | ML E U2 Cooling Tower Shell KP | 0 | 0 | 0.1 | 1.85 | 2.75
|  | AIR HEATER BASKET REPLACEMENT | 0.2 | 2.29 | 0 | 0 | 0
|  | ML U2 EXCITER DOGHOUSE RECTIFI | 0.41 | 0 | 0 | 0 | 0
|  | ML U2 M TURBINE REDUNDANT LVDT | 0 | 0.02 | 0 | 0 | 0
|  | ML U2 REDUNDANT LVDT FEED PUMP | 0.03 | 0 | 0 | 0 | 0
|  | ML S LOWER SIDEWALL WELD OVLAY | 0 | 0.96 | 0 | 0 | 0
|  | PRECIP HOPPER CASE/HEATER REP | 0 | 0 | 0 | 0.19 | 0
|  | ML RPL U2 BFP ROTATING ELE PPB | 0 | 0.04 | 0 | 0 | 0
|  | ML2 E RESIN REPLACEMENT | 0 | 0 | 0.12 | 0 | 0
|  | REPAIR BFP REMOVED IN2021- PPB | 0 | 0.17 | 0 | 0 | 0
|  | DEMINERALIZER VAVLE REPLACEMNT | 0 | 0 | 0 | 0 | 0.04
|  | LPA TURBINE INSPECTION 2024 | 0 | 0.84 | 0 | 0 | 0
|  | LPB TURBINE ROTOR INSPECTION | 0 | 0.84 | 0 | 0 | 0
|  | ML2 E COOLING TOWER COMPONENTS | 2.1 | 1.1 | 0 | 0 | 0
|  | U2 HP 2ND RH ROTOR INSP | 0 | 0 | 0 | 1.75 | 0
|  | LPA ROTOR REPAIR at CMS | 0 | 0.34 | 0 | 0 | 0
|  | LPB ROTOR REPAIR at CMS 2025 | 0 | 0 | 0 | 0 | 0.43
|  | ML2 E HPRH TURBINE INSPECTION | 0 | 0 | 0 | 1.75 | 0
|  | ML2 HIGH ENERGY PIPING | 0.21 | 0 | 0 | 0 | 0
|  | ML2 INSULATION LAGGING REPLACE | 0 | 0.1 | 0 | 0 | 0
|  | ML2 INSULATION LAGGING REPLACE | 0 | 0 | 0.1 | 0 | 0
|  | ML 2 GAS OUTLET EXP JT REPLACE | 0 | 0.16 | 0 | 0 | 0
|  | ML E MOTOR REWIND / REPL +10HP | 0.03 | 0.03 | 0.03 | 0.03 | 0.04
|  | ML E PUMP REPLACEMENT DR 10 HP | 0.11 | 0.1 | 0.15 | 0.16 | 0.18
|  | ML E LIGHTING PANEL REPLACE | 0.07 | 0.06 | 0.1 | 0.1 | 0.12
|  | ML E POWER CABLE REPLACEMENT | 0 | 0 | 0.02 | 0.03 | 0.03
|  | MLP E VALVE REPLACEMENT 6 IN G | 0.1 | 0.09 | 0.1 | 0.11 | 0.12
|  | MLP MH COAL CHUTE REPLACEMENT | 0.12 | 0 | 0 | 0 | 0
|  | MLP MH CONVEYOR BELT REPLACE | 0.19 | 0 | 0 | 0 | 0
|  | MLP NP LABOR CAPITAL | 0.24 | 0.22 | 0 | 0 | 0
|  | ML CHLORINE BUILDING REPLACEMT | 0 | 0 | 0.07 | 0 | 0
|  | ML SAFETY VALVES (4) | 0.08 | 0 | 0 | 0 | 0
|  | ML2 PPB OUTAGE PROJECT | 0 | 0.26 | 0 | 0 | 0
|  | ML2 PPB OUTAGE PROJECT | 0 | 0 | 0.43 | 0 | 0
|  | ML2 PPB OUTAGE PROJECT | 0 | 0 | 0 | 0.15 | 0
|  | ML2 PPB OUTAGE PROJECT | 0 | 0 | 0 | 0 | 0.46
|  | MLP MH COAL CHUTE REPLACEMENT | 0 | 0.18 | 0.19 | 0 | 0
|  | MLP MH CONVEYOR BELT REPLACE | 0 | 0.17 | 0 | 0 | 0
|  | ML MH ST-3 CHUTE REPLACEMENT | 0 | 0.1 | 0 | 0 | 0
|  | ML NP PLANT LABOR FOR CAPITAL | 0 | 0 | 0.23 | 0 | 0
|  | ML SAFETY VALVES (4) | 0 | 0.07 | 0 | 0 | 0
|  | MLP MH CONVEYOR BELT REPLACEME | 0 | 0 | 0.18 | 0 | 0
|  | ML SAFETY VALVES (4) | 0 | 0 | 0.08 | 0 | 0
|  | MLP E HVAC UNIT REPLACEMENT | 0 | 0 | 0 | 0.02 | 0.02
|  | MLP MH COAL CHUTE REPLACEMENT | 0 | 0 | 0 | 0.11 | 0.12
|  | MLP MH CONVEYOR BELT REPLACEME | 0 | 0 | 0 | 0.19 | 0.21
|  | MLP NP PLANT CAPITAL LABOR | 0 | 0 | 0 | 0.25 | 0
|  | ML NP Plant Labor Capital Proj | 0 | 0 | 0 | 0 | 0.29
|  | ML1 PPB OUTAGE PROJECT | 0 | 0.26 | 0 | 0 | 0
|  | ML 1 PPB OUTAGE PROJECT | 0 | 0 | 0.61 | 0.24 | 0
|  | ML 1 PPB OUTAGE PROJECT | 0 | 0 | 0 | 0 | 0.43
|  | NERC CIP KYPCO | 0.13 | 0 | 0 | 0 | 0
|  | Tech Servics Cap Offset Credit | -0.55 | -0.48 | -0.51 | -0.54 | -0.61
|  | For Property Acctg Use Only | 0.24 | 0.25 | 0.26 | 0.27 | 0.3
|  | For Property Acctg Use Only | 1.76 | 1.84 | 1.95 | 1.99 | 2.12
Other Generation | Total |  | 13.87 | 27.25 | 10.22 | 16 | 15.87
Reg Renewables | Other | 20 MW Solar 2021 (Pikeville) | 0 | 29.83 | 0 | 0 | 0
Reg Renewables | Total |  | 0 | 29.83 | 0 | 0 | 0
| Grand Total |  | 33.98 | 97.58 | 23.19 | 22.67 | 20.13

## Allocated Reserve
$ in Millions
Function | Major Category | Project Name | 2021 | 2022 | 2023 | 2024 | 2025
Distribution | Other | Corporate Reserve - KYPCO Dist | 0 | 0 | 0.48 | 7.64 | 17.25
Transmission |  | Corporate Reserve - KYPCO Tran | 0 | 0 | 0.78 | 12.38 | 27.95
Corporate/Other |  | Corporate Reserve - KYPCO Corp | 0 | 0 | 0.18 | 2.9 | 6.55
|  |  | 0 | 0 | 1.44 | 22.92 | 51.75