## Cover
Attachment 6.b._S

## JAN
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | January | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 55513
4 | TOTAL PRODUCED AND PURCHASED |  |  | 55513
5
6 | WATER SALES
7 | Residential |  |  | 27876
8 | Commercial |  |  | 7425
9 | Apartments |  |  | 1093
10 | Farmstead |  |  | 27
11 | Wholesale |  |  | 9589
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 46010
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 580
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 580
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 8923
31 | TOTAL WATER LOSS |  |  | 8923
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 16.07%

## FEB
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | February | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 45994
4 | TOTAL PRODUCED AND PURCHASED |  |  | 45994
5
6 | WATER SALES
7 | Residential |  |  | 26421
8 | Commercial |  |  | 7316
9 | Apartments |  |  | 1063
10 | Farmstead |  |  | 25
11 | Wholesale |  |  | 9780
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 44605
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 0
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 1389
31 | TOTAL WATER LOSS |  |  | 1389
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 3.02%

## MAR
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | March | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 46760
4 | TOTAL PRODUCED AND PURCHASED |  |  | 46760
5
6 | WATER SALES
7 | Residential |  |  | 25444
8 | Commercial |  |  | 7018
9 | Apartments |  |  | 987
10 | Farmstead |  |  | 22
11 | Wholesale |  |  | 8946
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 42417
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 720
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 720
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 3623
31 | TOTAL WATER LOSS |  |  | 3623
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 7.748%

## APR
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | April | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 51173
4 | TOTAL PRODUCED AND PURCHASED |  |  | 51173
5
6 | WATER SALES
7 | Residential |  |  | 26580
8 | Commercial |  |  | 8170
9 | Apartments |  |  | 1017
10 | Farmstead |  |  | 92
11 | Wholesale |  |  | 7249
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 43108
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 470
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 470
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 7595
31 | TOTAL WATER LOSS |  |  | 7595
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 14.84%

## MAY
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | May | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 61718
4 | TOTAL PRODUCED AND PURCHASED |  |  | 61718
5
6 | WATER SALES
7 | Residential |  |  | 28682
8 | Commercial |  |  | 8900
9 | Apartments |  |  | 1068
10 | Farmstead |  |  | 75
11 | Wholesale |  |  | 8225
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 46950
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 80
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 80
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 14688
31 | TOTAL WATER LOSS |  |  | 14688
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 23.8%

## JUN
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | June | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 54420
4 | TOTAL PRODUCED AND PURCHASED |  |  | 54420
5
6 | WATER SALES
7 | Residential |  |  | 38456
8 | Commercial |  |  | 12189
9 | Apartments |  |  | 1117
10 | Farmstead |  |  | 141
11 | Wholesale |  |  | 9692
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 61595
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1180
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 1180
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | -8355
31 | TOTAL WATER LOSS |  |  | -8355
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 0.00%

## JUL
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | July | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 69147
4 | TOTAL PRODUCED AND PURCHASED |  |  | 69147
5
6 | WATER SALES
7 | Residential |  |  | 34761
8 | Commercial |  |  | 11588
9 | Apartments |  |  | 1010
10 | Farmstead |  |  | 141.4
11 | Wholesale |  |  | 8215
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 55715.4
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 375
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 375
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 13056.6
31 | TOTAL WATER LOSS |  |  | 13056.6
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 18.88%

## AUG
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | August | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 66871
4 | TOTAL PRODUCED AND PURCHASED |  |  | 66871
5
6 | WATER SALES
7 | Residential |  |  | 43028
8 | Commercial |  |  | 13713
9 | Apartments |  |  | 1089
10 | Farmstead |  |  | 195
11 | Wholesale |  |  | 8982
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 67007
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 275
20 | Fire Department |  |  | 37
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 312
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | -448
31 | TOTAL WATER LOSS |  |  | -448
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 0.00%

## SEP
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | September | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 72605
4 | TOTAL PRODUCED AND PURCHASED |  |  | 72605
5
6 | WATER SALES
7 | Residential |  |  | 40206
8 | Commercial |  |  | 15085
9 | Apartments |  |  | 1047
10 | Farmstead |  |  | 135
11 | Wholesale |  |  | 9000
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 65473
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 300
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 300
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 6832
31 | TOTAL WATER LOSS |  |  | 6832
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 9.41%

## OCT
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | October | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 60965
4 | TOTAL PRODUCED AND PURCHASED |  |  | 60965
5
6 | WATER SALES
7 | Residential |  |  | 40645
8 | Commercial |  |  | 13597
9 | Apartments |  |  | 1019
10 | Farmstead |  |  | 260
11 | Wholesale |  |  | 8747
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 64268
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 2560
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 2560
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | -5863
31 | TOTAL WATER LOSS |  |  | -5863
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 0.00%

## NOV
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | November | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 43438
4 | TOTAL PRODUCED AND PURCHASED |  |  | 43438
5
6 | WATER SALES
7 | Residential |  |  | 26162
8 | Commercial |  |  | 9348
9 | Apartments |  |  | 959
10 | Farmstead |  |  | 32
11 | Wholesale |  |  | 7260
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 43761
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 100
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 100
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | -423
31 | TOTAL WATER LOSS |  |  | -423
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 0.00%

## DEC
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | December | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 54086
4 | TOTAL PRODUCED AND PURCHASED |  |  | 54086
5
6 | WATER SALES
7 | Residential |  |  | 24113
8 | Commercial |  |  | 7458
9 | Apartments |  |  | 939
10 | Farmstead |  |  | 27
11 | Wholesale |  |  | 7336
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 39873
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 0
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 14213
31 | TOTAL WATER LOSS |  |  | 14213
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 26.28%

## ANNUAL
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Southeast Daviess County Water District
For the Month of: |  | Annual | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 0
3 | Water Purchased |  |  | 682690
4 | TOTAL PRODUCED AND PURCHASED |  |  | 682690
5
6 | WATER SALES
7 | Residential |  |  | 382374
8 | Commercial |  |  | 121807
9 | Apartments |  |  | 12408
10 | Farmstead |  |  | 1172.4
11 | Wholesale |  |  | 103021
12 | Public Authorities |  |  | 0
13 | Other Sales (explain) |  |  | 0
14 | TOTAL WATER SALES |  |  | 620782.4
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 0
18 | Wastewater Plant |  |  | 0
19 | System Flushing |  |  | 6640
20 | Fire Department |  |  | 37
21 | Other Usage (explain) |  |  | 0
22 | TOTAL OTHER WATER USED |  |  | 6677
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 0
26 | Line Breaks |  |  | 0
27 | Line Leaks |  |  | 0
28 | Excavation Damages |  |  | 0
29 | Theft |  |  | 0
30 | Other Loss |  |  | 55230.6
31 | TOTAL WATER LOSS |  |  | 55230.6
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 8.09%