## Cover
Attachment 6.b._W

## JAN
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | January | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 32806
4 | TOTAL PRODUCED AND PURCHASED |  |  | 32806
5
6 | WATER SALES
7 | Residential |  |  | 20915
8 | Commercial |  |  | 2922
9 | Apartments |  |  | 549
10 | Farmstead |  |  | 1392
11 | Wholesale |  |  | 751
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 26529
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1400
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 1400
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 4877
31 | TOTAL WATER LOSS |  |  | 4877
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 14.87%

## FEB
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | February | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 34197
4 | TOTAL PRODUCED AND PURCHASED |  |  | 34197
5
6 | WATER SALES
7 | Residential |  |  | 19244
8 | Commercial |  |  | 3352
9 | Apartments |  |  | 558
10 | Farmstead |  |  | 1772
11 | Wholesale |  |  | 522
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 25448
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 350
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 350
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 8399
31 | TOTAL WATER LOSS |  |  | 8399
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 24.56%

## MAR
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | March | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 31773
4 | TOTAL PRODUCED AND PURCHASED |  |  | 31773
5
6 | WATER SALES
7 | Residential |  |  | 19085
8 | Commercial |  |  | 3230
9 | Apartments |  |  | 599
10 | Farmstead |  |  | 1791
11 | Wholesale |  |  | 438
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 25143
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 300
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 300
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 6330
31 | TOTAL WATER LOSS |  |  | 6330
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 19.92%

## APR
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | April | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 37899
4 | TOTAL PRODUCED AND PURCHASED |  |  | 37899
5
6 | WATER SALES
7 | Residential |  |  | 20941
8 | Commercial |  |  | 4049
9 | Apartments |  |  | 599
10 | Farmstead |  |  | 2492
11 | Wholesale |  |  | 857
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 28938
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 0
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 8961
31 | TOTAL WATER LOSS |  |  | 8961
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 23.64%

## MAY
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | May | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 43780
4 | TOTAL PRODUCED AND PURCHASED |  |  | 43780
5
6 | WATER SALES
7 | Residential |  |  | 23657
8 | Commercial |  |  | 4412
9 | Apartments |  |  | 576
10 | Farmstead |  |  | 2609
11 | Wholesale |  |  | 705
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 31959
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 850
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 850
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 10971
31 | TOTAL WATER LOSS |  |  | 10971
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 25.06%

## JUN
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | June | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 37115
4 | TOTAL PRODUCED AND PURCHASED |  |  | 37115
5
6 | WATER SALES
7 | Residential |  |  | 24932
8 | Commercial |  |  | 4445
9 | Apartments |  |  | 510
10 | Farmstead |  |  | 3046
11 | Wholesale |  |  | 896
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 33829
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1275
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 1275
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 2011
31 | TOTAL WATER LOSS |  |  | 2011
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 5.418%

## JUL
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | July | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 47642
4 | TOTAL PRODUCED AND PURCHASED |  |  | 47642
5
6 | WATER SALES
7 | Residential |  |  | 25785
8 | Commercial |  |  | 4256
9 | Apartments |  |  | 586
10 | Farmstead |  |  | 3439
11 | Wholesale |  |  | 719
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 34785
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1050
20 | Fire Department |  |  | 50
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 1100
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 11757
31 | TOTAL WATER LOSS |  |  | 11757
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 24.68%

## AUG
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | August | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 42576
4 | TOTAL PRODUCED AND PURCHASED |  |  | 42576
5
6 | WATER SALES
7 | Residential |  |  | 27774
8 | Commercial |  |  | 4459
9 | Apartments |  |  | 685
10 | Farmstead |  |  | 3787
11 | Wholesale |  |  | 1162
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 37867
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 500
20 | Fire Department |  |  | 38
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 538
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 4171
31 | TOTAL WATER LOSS |  |  | 4171
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 9.797%

## SEP
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | September | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 44230
4 | TOTAL PRODUCED AND PURCHASED |  |  | 44230
5
6 | WATER SALES
7 | Residential |  |  | 25627
8 | Commercial |  |  | 4495
9 | Apartments |  |  | 570
10 | Farmstead |  |  | 2889
11 | Wholesale |  |  | 868
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 34449
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1935
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 1935
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 7846
31 | TOTAL WATER LOSS |  |  | 7846
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 17.74%

## OCT
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | October | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 37017
4 | TOTAL PRODUCED AND PURCHASED |  |  | 37017
5
6 | WATER SALES
7 | Residential |  |  | 23942
8 | Commercial |  |  | 4471
9 | Apartments |  |  | 576
10 | Farmstead |  |  | 2102
11 | Wholesale |  |  | 961
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 32052
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 4585
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 4585
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 380
31 | TOTAL WATER LOSS |  |  | 380
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 1.027%

## NOV
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | November | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 27557
4 | TOTAL PRODUCED AND PURCHASED |  |  | 27557
5
6 | WATER SALES
7 | Residential |  |  | 18082
8 | Commercial |  |  | 3400
9 | Apartments |  |  | 504
10 | Farmstead |  |  | 1559
11 | Wholesale |  |  | 601
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 24146
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 3411
31 | TOTAL WATER LOSS |  |  | 3411
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 12.38%

## DEC
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | December | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 32871
4 | TOTAL PRODUCED AND PURCHASED |  |  | 32871
5
6 | WATER SALES
7 | Residential |  |  | 17104
8 | Commercial |  |  | 3590
9 | Apartments |  |  | 528
10 | Farmstead |  |  | 1604
11 | Wholesale |  |  | 324
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 23150
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 0
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss |  |  | 9721
31 | TOTAL WATER LOSS |  |  | 9721
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 29.57%

## ANNUAL
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | West Daviess County Water District
For the Month of: |  | Annual | Year: | 2019
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 0
3 | Water Purchased |  |  | 449463
4 | TOTAL PRODUCED AND PURCHASED |  |  | 449463
5
6 | WATER SALES
7 | Residential |  |  | 267088
8 | Commercial |  |  | 47081
9 | Apartments |  |  | 6840
10 | Farmstead |  |  | 28482
11 | Wholesale |  |  | 8804
12 | Public Authorities |  |  | 0
13 | Other Sales (explain) |  |  | 0
14 | TOTAL WATER SALES |  |  | 358295
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 0
18 | Wastewater Plant |  |  | 0
19 | System Flushing |  |  | 12245
20 | Fire Department |  |  | 88
21 | Other Usage (explain) |  |  | 0
22 | TOTAL OTHER WATER USED |  |  | 12333
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 0
26 | Line Breaks |  |  | 0
27 | Line Leaks |  |  | 0
28 | Excavation Damages |  |  | 0
29 | Theft |  |  | 0
30 | Other Loss |  |  | 78835
31 | TOTAL WATER LOSS |  |  | 78835
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 17.54%