## Project List
| CY | CY | CY | CY | CY | CY | CY | CY
Project Description | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Meter Replacement |  | 300000 |  | 60000 | 60000 | 60000 | 60000 | 60000
AC Waterline Replacement | 1200000 | 1200000 |  | 1440000 | 1440000
Benson Creek Waterline Replacement | 7861 | 36000
Zone Meter Relocation |  | 15000
Zone Meter Installation |  |  | 15000 | 15000
Pressure Reducing Stations |  | 10000 | 10000 | 10000
Valve Installation |  | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
Dump Trailer |  | 5800
Pump Station Rebuild | [5 empty] | 20000
Small tools/Equipment | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
Tank Inspection/Cleaning/Coating | [5 empty] | 30000
Total | 1212861 | 1576800 | 35000 | 1535000 | 1510000 | 120000 | 70000 | 70000

## Project Summaries
Meter Replacement | Ongoing project to replace failing meters and to upgrade existing meters.
CY 2025 shall be paid for through the Water Loss Surcharge.
AC Waterline Replacement | Replacement of ~ 36,000 feet of AC waterlines through CY 2024 and 2025.
Project is being funded through a Rural Development Loan.
Will continue to apply for loans/grants to continue AC line replacement program.
Benson Creek Waterline Replacement | Under construction - relocating an existing waterline away from the creek.
Zone Meter Relocation | Relocating zone meter - meter has been purchased.
Zone Meter Installation | Install two zone meters
Pressure Reducing Stations | Installation of Pressure Reducing Stations on Green Wilson Rd and KY 151.
Valve Installation | On going project to install isolation valves
Dump Trailer | Plan to Purchase for $5,800
Pump Station Rebuild | Pump may need to be rebuilt, placing in year 5 because it currently functions as needed
Small tools/Equipment | Budget for non-inventory small tools and equipment on an as needed basis
Tank Inspection/Cleaning/Coating | Tank inspection was completed in 2024. Next inspection required in 2029.