## 6b Smart $aver Prescriptive
Program | Product Code | Measure ID | Measure Name | UCT | TRC | RIM | PCT**
Smart $aver® Prescriptive | NRFS | 5660 | Zero Energy Doors_Med-Temp Cooler | 8.917 | 1.9246 | 1.0217 | 3.4078
Smart $aver® Prescriptive | NRFS | 5760 | Convection Oven Full-Sized | 12.7457 | 2.751 | 1.4604 | 3.4078
Smart $aver® Prescriptive | NRHVAC | 384 | Setback Programmable Thermostat | 32.2205 | 0.24817 | 0.71637 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 3001 | 0.5 gpm Faucet Aerator (DI) - School, public use | 31.025 | 0.23896 | 0.68979 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 5704 | HVAC DX AC 65-135kBtuh 11.7 EER (Tier 0_1) | 133.9057 | 1.0314 | 2.9772 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 5731 | HVAC DX PTAC 12000 Btuh 10.7 EER | 135.3024 | 1.0421 | 3.0082 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 10001 | High Volume Low Speed Fan | 74.3051 | 0.5723 | 1.652 | 6.7805
Smart $aver® Prescriptive | NRLTG | 352 | LED Exit Signs Electronic Fixtures (Retrofit Only) | 14.3942 | 3.746 | 1.1821 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3067 | LED FLD rplcng or ILO GRT 100W HAL, INCD, or HID | 9.9152 | 2.5804 | 0.81429 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3069 | LED Highbay replacing 251-400W HID | 15.7639 | 4.1024 | 1.2946 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3070 | LED Highbay replacing greater than 400W HID | 15.7457 | 4.0977 | 1.2931 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3071 | LED Lowbay replacing 176W-250W HID | 15.1655 | 3.9467 | 1.2455 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3072 | LED Lowbay replacing up to 175W HID | 15.1817 | 3.9509 | 1.2468 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3073 | LED Panel 1x4 replacing or in lieu of T8 FL | 16.5033 | 4.2949 | 1.3553 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3075 | LED Panel 2x2 replacing or in lieu of T8 FL | 16.6919 | 4.3439 | 1.3708 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3077 | LED Panel 2x4 replacing or in lieu of T8 FL | 16.7519 | 4.3596 | 1.3758 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8850 | LED 2ft Tube 1-LED, replacing or in lieu of T8 fluorescent | 15.7578 | 4.1008 | 1.2941 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8851 | LED 4ft Tube 1-LED, replacing or in lieu of T8 fluorescent | 15.7949 | 4.1105 | 1.2972 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8852 | LED A Lamps | 16.7594 | 4.3615 | 1.3764 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8853 | LED Decorative, Globe, 3-Way Lamps | 16.8409 | 4.3827 | 1.3831 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8859 | LED PAR, BR, MR Lamps | 16.8636 | 4.3886 | 1.3849 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10070 | LED Highbay replacing greater than 400W HID Lamp | 15.4477 | 4.0202 | 1.2686 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10074 | LED Highbay Fixture replacing 6-lamp 4ft T8 fixture | 17.0992 | 4.4499 | 1.4043 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10075 | LED Highbay Fixture replacing 2-lamp 8ft T12 fixture | 17.1329 | 4.4587 | 1.407 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10077 | LED Highbay Fixture replacing 4-lamp 4ft T5HO fixture | 17.1068 | 4.4519 | 1.4049 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10079 | LED FLD rplcng or ILO greater than 500W HAL, INCD, or HID | 8.5002 | 2.2121 | 0.69808 | 5.6936
Smart $aver® Prescriptive | NRP&M | 1114 | VFD Process Pump 1-50 HP | 21.5531 | 3.2177 | 1.3985 | 2.5795
Smart $aver® Prescriptive | NRP&M | 10098 | VFD on Chilled Water Pump | 24.4272 | 3.6468 | 1.585 | 2.5795