## 6b Smart $aver Prescriptive COR
Program | Product Code | Measure ID | Measure Name | UCT | TRC | RIM | PCT**
Smart $aver® Prescriptive | NRFS | 5660 | Zero Energy Doors_Med-Temp Cooler | 2.4543 | 1.6804 | 0.78489 | 3.4078
Smart $aver® Prescriptive | NRFS | 5760 | Convection Oven Full-Sized | 3.5082 | 2.4019 | 1.1219 | 3.4078
Smart $aver® Prescriptive | NRHVAC | 384 | Setback Programmable Thermostat | 0.25009 | 1.1964 | 0.18645 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 3001 | 0.5 gpm Faucet Aerator (DI) - School, public use | 0.24081 | 1.152 | 0.17953 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 5704 | HVAC DX AC 65-135kBtuh 11.7 EER (Tier 0_1) | 1.0394 | 4.9723 | 0.77486 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 5731 | HVAC DX PTAC 12000 Btuh 10.7 EER | 1.0502 | 5.0241 | 0.78294 | 6.7805
Smart $aver® Prescriptive | NRHVAC | 10001 | High Volume Low Speed Fan | 0.57675 | 2.7591 | 0.42998 | 6.7805
Smart $aver® Prescriptive | NRLTG | 352 | LED Exit Signs Electronic Fixtures (Retrofit Only) | 5.0638 | 3.2234 | 1.0268 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3067 | LED FLD rplcng or ILO GRT 100W HAL, INCD, or HID | 3.4881 | 2.2204 | 0.70727 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3069 | LED Highbay replacing 251-400W HID | 5.5457 | 3.5301 | 1.1245 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3070 | LED Highbay replacing greater than 400W HID | 5.5392 | 3.526 | 1.1232 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3071 | LED Lowbay replacing 176W-250W HID | 5.3351 | 3.3961 | 1.0818 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3072 | LED Lowbay replacing up to 175W HID | 5.3408 | 3.3997 | 1.0829 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3073 | LED Panel 1x4 replacing or in lieu of T8 FL | 5.8058 | 3.6957 | 1.1772 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3075 | LED Panel 2x2 replacing or in lieu of T8 FL | 5.8721 | 3.7379 | 1.1907 | 5.6936
Smart $aver® Prescriptive | NRLTG | 3077 | LED Panel 2x4 replacing or in lieu of T8 FL | 5.8932 | 3.7514 | 1.1949 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8850 | LED 2ft Tube 1-LED, replacing or in lieu of T8 fluorescent | 5.5435 | 3.5288 | 1.124 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8851 | LED 4ft Tube 1-LED, replacing or in lieu of T8 fluorescent | 5.5566 | 3.5371 | 1.1267 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8852 | LED A Lamps | 5.8959 | 3.753 | 1.1955 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8853 | LED Decorative, Globe, 3-Way Lamps | 5.9245 | 3.7713 | 1.2013 | 5.6936
Smart $aver® Prescriptive | NRLTG | 8859 | LED PAR, BR, MR Lamps | 5.9325 | 3.7764 | 1.2029 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10070 | LED Highbay replacing greater than 400W HID Lamp | 5.4344 | 3.4593 | 1.1019 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10074 | LED Highbay Fixture replacing 6-lamp 4ft T8 fixture | 6.0154 | 3.8291 | 1.2197 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10075 | LED Highbay Fixture replacing 2-lamp 8ft T12 fixture | 6.0273 | 3.8367 | 1.2221 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10077 | LED Highbay Fixture replacing 4-lamp 4ft T5HO fixture | 6.0181 | 3.8308 | 1.2202 | 5.6936
Smart $aver® Prescriptive | NRLTG | 10079 | LED FLD rplcng or ILO greater than 500W HAL, INCD, or HID | 2.9903 | 1.9035 | 0.60633 | 5.6936
Smart $aver® Prescriptive | NRP&M | 1114 | VFD Process Pump 1-50 HP | 3.7824 | 1.8672 | 1.0718 | 2.5795
Smart $aver® Prescriptive | NRP&M | 10098 | VFD on Chilled Water Pump | 4.2868 | 2.1162 | 1.2147 | 2.5795