## Updated Video Needs
Time | Facility | Comment
Status: Lagoon overflowing
IMG_3391 | Airview | Title: Lagoon Status: Overgrown lagoon
Service Area Photo - Airview - 19_05_20 - 28 | Airview | Title: Overgrown lagoon Status: Contact Chamber, Abandoned equipment, accumulating sludge
0:13-0:33 | Brocklyn | Do we not have any other shots from Brocklyn showing the trench worn by the stormwater or a better shot of the contact chamber?
|  | Same for the package plant as a whole, there are much worse examples of the rust that can be used if the guy took mor shots | TJ: DELETE
0:18 | Brocklyn | Status: Rusted Steel, Improper piping
0:24 | Brocklyn | Title: Contact Chamber and Lagoon
Status: Deteriorating structure, overgrown lagoon, erosion
0:35-0:54 | LH | Second shot really doesn't show too much going wrong, maybe there is something better we can use there. | TJ: DELETE
0:38 | LH | Status: Degraded Structure, improper repairs
0:46 | LH | fine
0:54-1:28 | Fox Run
1:00 | Fox Run | Shot and description ok
1:07 | Fox Run | Title: Chemical and material storage
Status: Improperly stored chemicals and materials, poor housekeeping, rusted tankage
1:14 | Fox Run | The same title and description can just stay on screen for this second shot
1:22 | Fox Run | Title: Influent Lift Station
Status: Improper electrical service, improper equipment installation, (surely there is a better shot that shows the actual station instead of just a closeup of the chord?)
1:28-1:57 | Kingswood
1:33 | Kingswood | Title: Treatment Plant
Status: Rusted Structures, overgrowth throughout the site
1:43 | Kingswood | Title: Treatment Plant
Status: Improperly stored chemicals, vegetation growth in plant
1:51 | Kingswood | Title and comment OK | TJ: DELETE
1:59-2:14 | Persimmon Ridge | This is not still Kingswood, but no title card for persimmon showed | TJ: Add Title Card: Persimmon Ridge
1:59 | Persimmon Ridge | We should use a shot that shows both the duckweed and inactive aerators, as only mentioning duckweed growth is not capturing the actual significant issues | TJ: DELETE
2:07 | Persimmon Ridge | Title is nonsense here, should say "Contact Chamber", | TJ: DELETE
2:16-3:09 | Lake Columbia
2:18 | Lake Columbia | Title: Bar Screen/Splitter box
Severe corrosion, clogged piping
2:29 | Lake Columbia | Title: Treatment Plant
Status: Severe corrosion, poor chemical storage, damaged piping
2:37 | Lake Columbia | Title: Blower Housing and treatment plant
Status: damaged housing, maintenance failure
2:50 | Lake Columbia | Title: Sludge Return line
Status: Improper installation and materials
3:00 | Lake Columbia | Title: Sludge Return, tank
Status: Rusting steel, abandoned lines

## Sheet2
System | File name | Title | Status
Airview | DSCF0653 | Aeration Tank and Bar Screen | Clogged and deteriorated bar screen
Airview | DSCF0655 | Aeration Tank | Trees growing from treatment facility
Airview | IMG_3391 | Lagoon | Overgrown lagoon
Airview | Service Area Photo - Airview - 19_05_20 - 28 | Contact Chamber | Abandoned equipment, accumulating sludge
Brocklyn | DSCF0607 | Weir Box | Deteriorating steel , nonfunctional flow meter
Brocklyn | DSCF0611 | Lagoon | Deteriorating berm and erosion
Brocklyn | DSCF0615 | Contact Chamber | deteriorated structure and improper piping
Brocklyn | IMG_0574 | Lagoon Berm | Structure deteriorating and leaking
Fox Run | IMG_0588 | Influent Lift Station | Improper pumps, improper influent line
Fox Run | IMG_0597 | Aeratoin Tank | Rusting steel tanks
Add Title Card
Golden Acres | Flood staining of riprap | Plant | Stained riprap showing regular flooding
Golden Acres | Golden Acres Effluent | Outfall | Pollution, effluent pipe clogged with debris
Golden Acres | DSCF0698 | Aeration Basin | Rusting structure, vegetation growth in plant
Golden Acres | DSCF0703 | Control Panel | Improper wiring
Add Title Card
Great Oaks | DSCF0679 | Influent Lines | Improper influent lines, rusted structure
Great Oaks | DSCF0681 | Aeration Tank | Rusting structure, vegetation growth
Great Oaks | DSCF0682 | Aeration Tank | vegitation growth in plant
Great Oaks | DSCF0683 | Aeration Tank | Rusting structure with vegitation overgrowth
Great Oaks | great oaks effluent | Outfall | Pollution
Lake Columbia | IMG_0610 | Fencing | Evidence of Sewage overflow
LH | DSCF0622 | Bar Screen | Severe corrosion, damaged screen
LH | DSCF0638 | Blower | Excessive buildup on blowers
LH | IMG_3256 | Clarifier | Weir Trough off level and submerged (nonfunctional)
Persimmon Ridge | Picture5 | Lagoon | Damaged Aerators, duckweed overgrowth
Persimmon Ridge | Picture6 | Lagoon | Damaged Aerators, duckweed overgrowth
Add Title Card
Center Ridge Water District 1 | IMG_9824 | Well House Interior | No seperation of chlorine and storage, exposed wiring and rafters
Center Ridge Water District 1 | IMG_9830 | Chlorine Equipment | Obsolete and improperly installed dosing pump
Add Title Card
Center Ridge Water District 2 | IMG_9814 | Out of service Well House | Ice damaged Well, piping, and storage out of service
Center Ridge Water District 2 | IMG_3177 | Out of service Well House | exposed wiring on well head
Center Ridge Water District 2 | IMG_3192 | Hyropneumatic Tank | Tank has pinhole leaks at actcive well site
Center Ridge Water District 2 | IMG_3197 | Active Well | exposed wiring on well head
Center Ridge Water District 2 | IMG_9804 | Active Well House | Exposed wiring, damaged insulation
Center Ridge Water District 2 | Picture13 | Active Well House | Insulation Damaged, chlorine in same room as storage
Center Ridge Water District 2 | IMG_9808 | Active Well House | Obsolete and improperly installed dosing pump, exposed wiring
Add Title Card
Center Ridge Water District 3 | Picture14 | Well House | Damaged structure, improper repairs
Center Ridge Water District 3 | IMG_9798 | Well 1 | Damaged structure, exposed wiring
Center Ridge Water District 3 | IMG_9796 | Well 2 | Damaged structure, exposed wiring
Center Ridge Water District 3 | IMG_9794 | Well 1 | Power supply conduit exposed and damaged
Center Ridge Water District 3 | IMG_9786 | Well House Interior | Exposed wiring, improper insulatoin, chlorine and storage in same room
Center Ridge Water District 3 | IMG_9789 | Well House | Obsolete and improperly installed dosing pump
Center Ridge Water District 3 | IMG_9789 | Well House | Poor tank installation
Add Title Card
Center Ridge Water District 4 | Picture16 | Well House | Damaged exterior
Center Ridge Water District 4 | Picture15 | Well House | exposed wiring
Center Ridge Water District 4 | 200715_Center Ridge 4_C0084 | Well Hhead | exposed wiring on well head
Add Title Card
Timberland | IMG_3113 | Influent Lift Station | Exposed wiring, improper piping, debris piles
Timberland | IMG_3117 | Influent lift Station Panels | Exposed wiring
Timberland | IMG_3148 | Aeration Plant | Rusted steel, vegetation in plant, exposed wiring
Timberland | IMG_3138 | Aeration Tankage | Holes rusted through, leaking wastewater (Keep up for both photos can be shorter)
Timberland | IMG_3139
Timberland | IMG_3142 | Contact Chamber | deteriaring strucure, improper post-aeration, improper chemical storage
Timberland | IMG_3145 | Lagoon | sludge filled, berm in poor condition
Add Title Card
River Bluffs | IMG_3463 | Influent Line | Improper instalation and materials
River Bluffs | IMG_3478 | Influent Lift Station | improper influent lines, rusting steel
River Bluffs | IMG_3487 | Aeration Plant | rusted steel throughout, damaged equipment
River Bluffs | IMG_3499 | Aeration Plant | Steel lines repaired wit duct tape
River Bluffs | IMG_9691 | Contact Chamber | Excessive Corrosion, improper chlorine dosing

## Notes on Existing Video
Time | Facility | Comment
0:13-0:33 | Brocklyn | Do we not have any other shots from Brocklyn showing the trench worn by the stormwater or a better shot of the contact chamber?
Same for the package plant as a whole, there are much worse examples of the rust that can be used if the guy took mor shots
0:18 | Brocklyn | Status: Rusted Steel, Improper piping
0:24 | Brocklyn | Title: Contact Chamber and Lagoon
Status: Deteriorating structure, overgrown lagoon, erosion
0:35-0:54 | LH | Second shot really doesn't show too much going wrong, maybe there is something better we can use there.
0:38 | LH | Status: Degraded Structure, improper repairs
0:46 | LH | fine
0:54-1:28 | Fox Run
1:00 | Fox Run | Shot and description ok
1:07 | Fox Run | Title: Chemical and material storage
Status: Improperly stored chemicals and materials, poor housekeeping, rusted tankage
1:14 | Fox Run | The same title and description can just stay on screen for this second shot
1:22 | Fox Run | Title: Influent Lift Station
Status: Improper electrical service, improper equipment installation, (surely there is a better shot that shows the actual station instead of just a closeup of the chord?)
1:28-1:57 | Kingswood
1:33 | Kingswood | Title: Treatment Plant
Status: Rusted Structures, overgrowth throughout the site
1:43 | Kingswood | Title: Treatment Plant
Status: Improperly stored chemicals, vegetation growth in plant
1:51 | Kingswood | Title and comment OK
1:59-2:14 | Persimmon Ridge | This is not still Kingswood, but no title card for persimmon showed
1:59 | Persimmon Ridge | We should use a shot that shows both the duckweed and inactive aerators, as only mentioning duckweed growth is not capturing the actual significant issues
2:07 | Persimmon Ridge | Title is nonsense here, should say "Contact Chamber",
2:16-3:09 | Lake Columbia | Any shots of the contact chamber? Shots of the sludge against the fence?
2:18 | Lake Columbia | Title: Bar Screen/Splitter box
Severe corrosion, clogged piping
2:29 | Lake Columbia | Title: Treatment Plant
Status: Severe corrosion, poor chemical storage, damaged piping
2:37 | Lake Columbia | Title: Blower Housing and treatment plant
Status: damaged housing, maintenance failure
2:50 | Lake Columbia | Title: Sludge Return line
Status: Improper installation and materials
3:00 | Lake Columbia | Title: Sludge Return, tank
Status: Rusting steel, abandoned lines
3:07 | Airview | We need a shot of the overgrown lagoon and the destroyed contact chamber included
3:15 | Airview | Title: Clarifier
Status: Trash left about, rusted structures
3:22 | Airview | Title: Aeration Chamber
Status: Vegetation growth, rusting structures, debris on equipment