## Response 1C
SYSTEM PEAK 2025 (provided by EKPC)
2025-01-01
135712 | KW
NET METER SYSTEM CAPACITY (INVERTER)
1866.21 | KW
PERCENTAGE OF NET METER
0.013751
1.3751 | %

## Shelby Energy List Installed
Column1 | Column2 | Column22 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13
Name | Location # | County | Type | Total System Capacity (Kw) | Total Inverter Capacity (KW) | # of Panels | # of Inverters | Avg. Panel Rating (Kw) | Inverter Rating (Kw) | Inverter Type | Install Date | Battery Storage | Batt KW
|  | Henry | PV | 4.8 | 5 | 24 | 1 | 0.2 | 5 | Central | 2009-08-31 | No
|  | Shelby | PV | 1.75 | 1.9 | 10 | 10 | 0.175 | 0.19 | Micro | 2010-08-29 | No
|  | Shelby | PV | 1.05 | 1.14 | 6 | 6 | 0.175 | 0.19 | Micro | 2010-11-02 | No
|  | Shelby | PV | 1.05 | 1.14 | 6 | 6 | 0.175 | 0.19 | Micro | 2010-11-04 | No
|  | Henry | PV | 9.84 | 9 | 48 | 3 | 0.205 | 3 | Central | 2010-02-18 | No
|  | Henry | PV | 1.05 | 1.14 | 6 | 6 | 0.175 | 0.19 | Micro | 2011-04-29 | No
|  | Henry | PV | 3.29 | 2.66 | 14 | 7 | 0.235 | 0.38 | Micro | 2011-04-15 | No
|  | Shelby | PV | 15.18 | 14 | 66 | 2 | 0.23 | 7 | Central | 2011-09-19 | Yes
|  | Shelby | PV | 1.35 | 4 | 6 | 1 | 0.225 | 4 | Central | 2011-09-19 | No
|  | Henry | PV | 6.08 | 7.52 | 32 | 32 | 0.235 | 0.19 | Micro | 2012-03-10 | No
|  | Henry | PV | 6.098 | 6 | 27 | 1 | 0.226 | 6 | Central | 2013-06-12 | No
|  | Trimble | PV | 16.165 | 13.115 | 61 | 61 | 0.265 | 0.215 | Micro | 2013-10-03 | Yes | 5
|  | Shelby | PV | 4.505 | 3.655 | 17 | 17 | 0.265 | 0.265 | Micro | 2014-09-05 | No
|  | Henry | PV | 11.66 | 16 | 45 | 45 | 0.259 | 0.259 | Micro | 2014-11-18 | Yes | 5
|  | Henry | PV | 19.135 | 19.135 | 89 | 89 | 0.215 | 0.215 | Micro | 2015-04-06 | No
|  | Henry | PV | 4.95 | 3.87 | 18 | 18 | 0.275 | 0.215 | Micro | 2016-02-04 | No
|  | Trimble | PV | 8.17 | 8.17 | 38 | 38 | 0.215 | 0.215 | Micro | 2016-02-23 | No
|  | Henry | PV | 5.04 | 5 | 16 | 1 | 0.315 | 0.315 | Central | 2016-06-15 | No
|  | Shelby | PV | 12 | 12 | 60 | 2 | 0.215 | 6 | Central | 2016-06-22 | No
|  | Shelby | PV | 29.43 | 24 | 90 | 1 (3-phase) | 0.327 | 24 | Central | 2016-07-14 | No
|  | Shelby | PV | 5.805 | 5.805 | 27 | 27 | 0.215 | 0.215 | Micro | 2016-08-31 | No
|  | Shelby | PV | 4.08 | 4 | 18 | 9 | 0.226 | 0.5 | Micro | 2017-05-01 | No
|  | Shelby | PV | 7.13 | 7.6 | 25 | 1 | 0.285 | 7.6 | Central | 2017-05-19 | yes | 9.8
|  | Shelby | PV | 41 | 43 | 144 | 6 | 0.285 | 7.6 | Central | 2018-01-19 | Yes
|  | Trimble | PV | 24.94 | 24.08 | 86 | 86 | 0.29 | 24.08 | Micro | 2018-04-17 | Yes | 2026-10-21
|  | Shelby | PV | 9.1 | 7.6 | 30 | 30 | 0.305 | 0.305 | Micro | 2018-07-26 | No
|  | Shelby | PV | 8.4 | 7.7 | 28 | 1 | 0.3 | 7.7 | Central | 2018-10-11 | No
|  | Shelby | PV | 2.28 | 2 | 8 | 8 | 0.285 | 0.25 | Micro | 2018-11-07 | No
|  | Shelby | PV | 12.18 | 12.18 | 42 | 42 | 0.29 | 0.29 | Micro | 2019-09-19 | No
|  | Shelby | PV | 16.24 | 15.4 | 56 | 2 | 0.29 | 7.7 | Central | 2019-12-04 | No
|  | Shelby | PV | 23.1 | 23.1 | 75 | 3 | 0.3 | 7.7 | Central | 2019-12-09 | No
|  | Shelby | PV | 5.4 | 6 | 18 | 1 | 0.3 | 6 | Central | 2019-12-13 | No
|  | Shelby | PV | 10.2 | 10.2 | 30 | 30 | 0.34 | 0.295 | Micro | 2019-12-31 | No
|  | Shelby | PV | 3.4 | 3.4 | 10 | 10 | 0.34 | 0.295 | Micro | 2019-12-31 | No
|  | Shelby | PV | 8.16 | 8.16 | 24 | 24 | 0.34 | 0.295 | Micro | 2019-12-31 | No
|  | Shelby | PV | 9.36 | 7.7 | 26 | 1 | 0.36 | 7.7 | Central | 2020-01-15 | No
|  | Shelby | PV | 7.93 | 7.6 | 26 | 1 | 0.305 | 7.6 | Central | 2020-01-30 | No
|  | Shelby | PV | 10.56 | 10 | 33 | 1 | 0.32 | 10 | Central | 2020-06-06 | No
|  | Shelby | PV | 22.62 | 22.62 | 78 | 78 | 0.294 | 0.29 | Micro | 2020-09-10 | No
|  | Henry | PV | 14 | 14 | 56 | 14 | 0.305 | 1 | Micro | 2020-10-23 | No
|  | Shelby | PV | 12.54 | 10 | 38 | 1 | 0.33 | 10 | Central | 2020-12-15 | No
|  | Trimble | PV | 11.55 | 10 | 35 | 1 | 0.33 | 10 | Central | 2020-12-29 | No
|  | Trimble | PV | 2.88 | 2.88 | 12 | 12 | 0.24 | 0.24 | Micro | 2021-01-08 | No
|  | Shelby | PV | 6.27 | 7.6 | 19 | 1 | 0.33 | 7.6 | Central | 2021-02-09 | No
|  | Carroll | PV | 3.8 | 3.96 | 10 | 1 | 0.38 | 3.96 | Central | 2021-03-23 | No
|  | Trimble | PV | 6.67 | 8.39 | 23 | 23 | 0.29 | 0.35 | Micro | 2021-05-11 | No
|  | Henry | PV | 4 | 5 | 12 | 1 | 0.333 | 5 | Central | 2021-06-01 | No
|  | Henry | PV | 9.24 | 10 | 24 | 1 | 0.385 | 10 | Central | 2021-06-03 | No
|  | Shelby | PV | 6 | 6 | 16 | 1 | 0.375 | 6 | Central | 2021-07-07 | No
|  | Henry | PV | 9 | 9 | 24 | 1 | 0.375 | 9 | Central | 2021-07-22 | No
|  | Henry | PV | 4.125 | 5 | 11 | 1 | 0.375 | 5 | Central | 2021-07-20 | No
|  | Henry | PV | 20 | 20 | 50 | 2 | 0.4 | 2-10 | Central | 2021-07-23 | No
|  | Shelby | PV | 12 | 11.4 | 31 | 1 | 0.365 | 11.4 | Central | 2021-08-01 | No
|  | Shelby | PV | 22.1 | 18.72 | 52 | 26 | 0.425 | 0.72 | Micro | 2021-08-20 | No
|  | Henry | PV | 15.2 | 15.2 | 44 | 2 | 0.365 | 7.6 | Central | 2021-08-26 | No
|  | Shelby | PV | 8 | 7.6 | 20 | 1 | 0.4 | 7.6 | Central | 2021-09-01 | No
|  | Shelby | PV | 8 | 7.6 | 20 | 1 | 0.4 | 7.6 | Central | 2021-09-20 | No
|  | Shelby | PV | 9.12 | 10 | 24 | 1 | 0.38 | 9.12 | Central | 2021-09-28 | No
|  | Shelby | PV | 9.52 | 7.6 | 28 | 1 | 0.34 | 9.52 | Central | 2021-10-06 | Yes | 5
|  | Trimble | PV | 8.39 | 7.6 | 23 | 1 | 0.365 | 7.6 | Central | 2021-10-12 | No
|  | Shelby | PV | 7.82 | 7.6 | 23 | 1 | 0.34 | 7.6 | Central | 2021-10-14 | Yes | 4.5
|  | Shelby | PV | 8.7 | 8.2 | 20 | 1 | 0.435 | 8.2 | Central | 2021-10-25 | No
|  | Trimble | PV | 13.3 | 13.6 | 36 | 2 | 0.37 | 2-7.6 | Central | 2021-11-04 | No
|  | Trimble | PV | 4.76 | 7.6 | 14 | 1 | 0.34 | 7.6 | Central | 2021-12-22 | Yes | 4.5
|  | Henry | PV | 13.69 | 13.6 | 37 | 1 | 0.37 | 13.6 | Central | 2021-12-22 | No
|  | Trimble | PV | 5 | 5 | 13 | 1 | 0.385 | 5 | Central | 2022-01-21 | No
|  | Shelby | PV | 9.62 | 7.6 | 26 | 1 | 0.37 | 7.6 | Central | 2022-02-02 | Yes | 4.5
|  | Trimble | PV | 13.6 | 13.6 | 37 | 2 | 0.37 | 1-7.6 1-6 | Central | 2022-02-09 | No
|  | Trimble | PV | 20.4 | 14.8 | 51 | 51 | 0.4 | 0.4 | Micro | 2022-02-22 | No
|  | Shelby | PV | 5.55 | 7.6 | 15 | 1 | 0.37 | 7.6 | Central | 2022-03-10 | Yes | 4.5
|  | Shelby | PV | 16.2 | 13.5 | 45 | 45 | 0.36 | 3.6 | Micro | 2022-03-10 | No
|  | Henry | PV | 5 | 5 | 13 | 1 | 0.385 | 5 | Central | 2022-03-15 | No
|  | Shelby | PV | 18 | 6 | 54 | 3 | 0.34 | 6 | Central | 2022-03-15 | Yes | 15
|  | Shelby | PV | 25.53 | 25 | 69 | 3 | 0.37 | 1-10, 2-5 | Central | 2022-03-17 | No
|  | Henry | PV | 4 | 7.6 | 10 | 1 | 0.4 | 7.6 | Central | 2022-04-01 | Yes | 9
|  | Henry | PV | 6.84 | 6.81 | 19 | 19 | 0.36 | 6.84 | Micro | 2022-04-21 | No
|  | Henry | PV | 8 | 7.6 | 20 | 1 | 0.4 | 7.6 | Central | 2022-04-21 | Yes | 9
|  | Carroll | PV | 10.36 | 10 | 28 | 1 | 0.37 | 10 | Central | 2022-05-03 | No
|  | Shelby | PV | 4.29 | 7.6 | 11 | 1 | 0.39 | 7.6 | Central | 2022-05-03 | No
|  | Shelby | PV | 4.29 | 5 | 11 | 1 | 0.39 | 5 | Central | 2022-05-05 | Yes | 9
|  | Shelby | PV | 10 | 7.6 | 30 | 1 | 0.39 | 7.6 | Central | 2022-05-10 | Yes | 9
|  | Shelby | PV | 8 | 7.6 | 20 | 1 | 0.4 | 7.6 | Central | 2022-05-10 | No
|  | Shelby | PV | 10 | 10 | 25 | 1 | 0.4 | 10 | Central | 2022-05-20 | No
|  | Trimble | PV | 6 | 6 | 15 | 1 | 0.4 | 6 | Central | 2022-05-19 | No
|  | Shelby | PV | 18.72 | 15.08 | 52 | 52 | 0.36 | 15.08 | Micro | 2022-06-08 | Yes | 10
|  | Shelby | PV | 7.98 | 7.6 | 21 | 1 | 0.38 | 7.6 | Central | 2022-07-01 | No
|  | Henry | PV | 17.4 | 17.4 | 47 | 2 | 0.36 | 1-11.4, 1-6 | Central | 2022-07-05 | No
|  | Henry | PV | 6 | 6 | 15 | 1 | 0.4 | 6 | Central | 2022-07-22 | No
|  | Shelby | PV | 8.36 | 7.6 | 22 | 1 | 0.38 | 7.6 | Central | 2022-07-22 | Yes | 9
|  | Henry | PV | 3 | 3.8 | 8 | 1 | 0.475 | 3.8 | Central | 2022-08-04 | No
|  | Henry | PV | 17.325 | 18.5 | 45 | 2 | 0.385 | 1-12.5, 1-6 | Central | 2022-08-17 | No
|  | Shelby | PV | 15.41 | 12.6 | 39 | 2 | 0.395 | 1-5, 1-7.6 | Central | 2022-08-19 | Yes | 13.5
|  | Henry | PV | 8 | 7.92 | 22 | 1 | 0.36 | 8 | Central | 2022-08-24 | Yes | 5.12
|  | Shelby | PV | 8.2 | 6 | 20 | 1 | 0.41 | 6 | Central | 2022-08-26 | Yes | 5
|  | Shelby | PV | 10.2 | 7.6 | 30 | 1 | 0.34 | 7.6 | Central | 2022-08-31 | Yes | 10
|  | Shelby | PV | 23.04 | 21 | 48 | 3 | 0.48 | 3-7 | Central | 2022-09-07 | No
|  | Henry | PV | 8.76 | 7 | 24 | 1 | 0.29 | 7 | Central | 2022-09-16 | No
|  | Shelby | PV | 16.2 | 16.2 | 54 | 54 | 0.36 | 0.3 | Micro | 2022-09-19 | No
|  | Henry | PV | 7.6 | 7 | 18 | 1 | 0.389 | 7.6 | Central | 2022-09-23 | No
|  | Shelby | PV | 10 | 10 | 22 | 1 | 0.4 | 8.8 | Central | 2022-09-23 | No
|  | Shelby | PV | 5 | 5 | 13 | 1 | 0.4 | 5.2 | Central | 2022-09-23 | No
|  | Shelby | PV | 12.05 | 11.4 | 33 | 1 | 0.365 | 11.4 | Central | 2022-10-05 | No
|  | Trimble | PV | 9 | 0.3 | 30 | 30 | 0.3 | 0.3 | Micro | 2022-10-06 | No
|  | Henry | PV | 7.6 | 7.6 | 18 | 1 | 0.4 | 7.6 | Central | 2022-10-06 | Yes | 16
|  | Henry | PV | 13.6 | 11.4 | 34 | 1 | 0.4 | 11.4 | Central | 2022-10-06 | No
|  | Shelby | PV | 6.12 | 5.1 | 17 | 17 | 0.365 | 0.3 | Micro | 2022-10-07 | No
|  | Shelby | PV | 5 | 5 | 13 | 1 | 0.385 | 5 | Central | 2022-10-20 | No
|  | Trimble | PV | 6 | 6 | 15 | 1 | 0.4 | 6 | Central | 2022-10-20 | No
|  | Shelby | PV | 15.01 | 11.4 | 38 | 1 | 0.395 | 11.4 | Central | 2022-10-31 | No
|  | Shelby | PV | 16.56 | 13.34 | 46 | 46 | 0.36 | 0.29 | Micro | 2022-11-17 | Yes | 10
|  | Carroll | PV | 6 | 6 | 15 | 1 | 0.4 | 6 | Central | 2022-11-17 | No
|  | Carroll | PV | 10 | 10 | 25 | 1 | 0.4 | 10 | Central | 2022-11-18 | No
|  | Shelby | PV | 22.8 | 11.4 | 64 | 2 | 0.375 | 2 - 11.4 | Central | 2022-12-02 | No
|  | Trimble | PV | 14.25 | 13.8 | 38 | 2 | 0.375 | 1-10 1-3.8 | Central | 2022-12-09 | No
|  | Trimble | PV | 15.38 | 14.4 | 41 | 2 | 0.375 | 1-11.4 1-3 | Central | 2022-12-09 | No
|  | Anderson | PV | 14.25 | 11 | 38 | 1 | 0.375 | 11 | Central | 2022-12-13 | No
|  | Shelby | PV | 8 | 8 | 20 | 1 | 0.4 | 8 | Central | 2022-12-27 | No
|  | Henry | PV | 15.2 | 15.2 | 36 | 2 | 0.425 | 2-7.6 | Central | 2023-01-09 | No
|  | Shelby | PV | 17.28 | 17.28 | 48 | 24 | 0.36 | 720 | Micro | 2023-02-15 | No
|  | Henry | PV | 33 | 33.8 | 88 | 4 | 0.375 | 3-10 1-3.8 | Central | 2023-02-23 | No
|  | Shelby | PV | 5.2 | 5 | 13 | 1 | 0.4 | 5 | Central | 2023-03-10 | No
|  | Shelby | PV | 6 | 6 | 15 | 1 | 0.4 | 6 | Central | 2023-03-10 | No
|  | Shelby | PV | 8.8 | 6 | 22 | 1 | 0.4 | 6 | Central | 2023-03-20 | No
|  | Shelby | PV | 11.6 | 10 | 29 | 1 | 0.4 | 10 | Central | 2023-03-20 | No
|  | Shelby | PV | 19.125 | 19 | 51 | 2 | 0.375 | 1-7.6 1-11.4 | Central | 2023-05-12 | No
|  | Shelby | PV | 9.2 | 7.6 | 23 | 1 | 0.4 | 7.6 | Central | 2023-05-12 | No
|  | Shelby | PV | 6.4 | 5 | 16 | 1 | 0.4 | 5 | Central | 2023-06-27 | No
|  | Shelby | PV | 8 | 6 | 20 | 1 | 0.4 | 6 | Central | 2023-06-27 | No
|  | Shelby | PV | 19.24 | 19.2 | 52 | 52 | 0.37 | 0.29 | Micro | 2023-06-27 | Yes | 3.8
|  | Carroll | PV | 7.6 | 7.6 | 18 | 1 | 0.4 | 7.6 | Central | 2023-07-26 | No
|  | Shelby | PV | 8.1 | 5.8 | 20 | 20 | 0.405 | 0.29 | Micro | 2023-08-04 | No
|  | Shelby | PV | 6.4 | 5 | 16 | 1 | 0.39 | 6.24 | Central | 2023-08-04 | No
|  | Henry | PV | 6.96 | 6.96 | 24 | 24 | 0.29 | 0.29 | Micro | 2023-08-08 | No
|  | Shelby | PV | 13.6 | 13.6 | 40 | 2 | 0.39 | 1-7.6 1-6 | Central | 2023-09-08 | No
|  | Shelby | PV | 14.04 | 11.4 | 36 | 1 | 0.39 | 11.4 | Central | 2023-09-08 | No
|  | Henry | PV | 8.395 | 6.9 | 23 | 1 | 0.365 | 6.9 | Central | 2023-09-21 | No
|  | Shelby | PV | 9.2 | 7.6 | 23 | 1 | 0.4 | 7.6 | Central | 2023-11-08 | No
|  | Shelby | PV | 4.8 | 8 | 12 | 1 | 0.4 | 8 | Central | 2023-11-28 | Yes | 9.6
|  | Trimble | PV | 13.12 | 0.41 | 32 | 32 | 0.41 | 0.41 | Micro | 2023-12-05 | No
|  | Shelby | PV | 34 | 30.4 | 92 | 4 | 0.37 | 4 - 8.5 | Central | 2024-02-23 | Yes | 20
|  | Shelby | PV | 9 | 7.2 | 22 | 1 | 0.41 | 7.2 | Central | 2024-03-05 | No
|  | Shelby | PV | 11.4 | 11.4 | 30 | 2 | 0.41 | 1-7.6 1-3.8 | Central | 2024-03-19 | No
|  | Trimble | PV | 5.67 | 7.2 | 14 | 1 | 0.405 | 7.2 | Central | 2024-04-16 | No
|  | Shelby | PV | 44.14 | 30.78 | 81 | 81 | 0.545 | 0.38 | Micro | 2024-04-22 | No
|  | Shelby | PV | 39.24 | 27.36 | 72 | 72 | 0.545 | 0.38 | Micro | 2024-04-22 | No
|  | Shelby | PV | 6.885 | 4.93 | 17 | 17 | 0.405 | 0.29 | Micro | 2024-04-23 | No
|  | Shelby | PV | 4.86 | 7.6 | 12 | 1 | 0.405 | 7.6 | Central | 2024-06-17 | No
|  | Shelby | PV | 10 | 10 | 18 | 1 | 0.56 | 10 | Central | 2024-06-17 | No
|  | Shelby | PV | 6.885 | 4.93 | 17 | 17 | 0.405 | 0.29 | Micro | 2024-06-17 | No
|  | Shelby | PV | 4.86 | 4.18 | 12 | 12 | 0.405 | 0.348 | Micro | 2024-06-25 | No
|  | Shelby | PV | 34.22 | 30 | 58 | 2 | 0.59 | 2-15 | Central | 2024-06-25 | Yes | 38.4
|  | Shelby | PV | 2.61 | 7.2 | 9 | 9 | 0.29 | 0.29 | Micro | 2024-07-02 | No
|  | Shelby | PV | 4.1 | 8.6 | 10 | 3 | 0.41 | 8.6 | Micro | 2024-07-08 | No
|  | Shelby | PV | 7.38 | 5.22 | 18 | 18 | 0.41 | 0.29 | Micro | 2024-07-10 | No
|  | Shelby | PV | 39 | 30.4 | 100 | 3 | 0.39 | 1-11.4 1-11.4 1-7.6 | Central | 2024-07-22 | No
|  | Shelby | PV | 4.05 | 2.9 | 10 | 10 | 0.405 | 0.29 | Micro | 2024-08-15 | No
|  | Shelby | PV | 10.5 | 7.25 | 25 | 25 | 0.42 | 0.29 | Micro | 2024-09-06 | No
|  | Henry | PV | 6.4 | 15 | 16 | 1 | 0.4 | 15 | Central | 2024-09-11 | yes | 15
|  | Shelby | PV | 19.44 | 19.1 | 36 | 2 | 0.54 | 1-7.6 1-11.5 | Central | 2024-11-08 | yes | 11.5
|  | Shelby | PV | 7.29 | 5.22 | 18 | 18 | 0.405 | 0.29 | Micro | 2024-12-18 | No
|  | Shelby | PV | 3.51 | 2.1 | 9 | 2 | 0.39 | 0.7 | Micro | 2025-03-10 | no
|  | Shelby | PV | 12.87 | 30 | 33 | 2 | 0.39 | 15 | Central | 2025-03-10 | yes | 20
|  | Henry | PV | 32 | 30 | 64 | 3 | 0.5 | 10 | Central | 2025-01-13 | NO
|  | Henry | PV | 24.57 | 20 | 63 | 2 | 0.39 | 10 | Central | 2025-05-05 | yes | 20
|  | Shelby | PV | 14.45 | 15.20 | 34 | 2 | 0.425 | 7.6 | Central | 11/13/2025 | No
|  | Shelby | PV | 42.5 | 37.6 | 100 | 4 | 0.425 | 9.4 | Central | 2025-11-19 | No
|  | Henry | PV | 20.4 | 10 | 48 | 2 | 0.425 | 5 | Central | 2025-12-15 | Yes | 15
|  | Henry | PV | 30.16 | 34.5 | 52 | 3 | 0.54 | 11.5 | Central | 2025-12-17 | Yes | 34.5
|  | Shelby | PV | 13.53 | 23 | 33 | 2 | 0.41 | 11.5 | Central | 2025-12-31 | Yes | 23
|  | HENRY | PV | 12.75 | 9.6 | 30 | 30 | 0.425 | 0.32 | MICRO | 2026-02-18 | NO
|  | Shelby | PV | 23.65 | 15.3 | 55 | 55 | 0.43 | 0.278 | Micro | 2026-02-27 | Yes | 11.52
|  | Shelby | PV | 24.2 | 22.8 | 44 | 2 | 0.55 | 11.4 | Central | 2026-03-06 | Yes | 30
Total: |  |  |  | 2011.978 | 1866.21 | 5537 | 1760 | 62.049 | 1569.52 |  |  |  | 46740.74
LOCATION NOT IN MAP