## Tariff (hidden)
| System Wide | Minneapolis | Minnetonka | Edina | SE | Maple Grove | Newport | St.Paul | NW | WBL
1 | 0.0911 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 0.0931 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 0.095 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 0.097 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 0.0991 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 0.1012 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 0.1033 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 0.1055 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | 0.1077 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | 0.11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | 0.1123 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 0.1147 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | 0.1171 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | 0.1196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | 0.1221 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | 0.1247 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
17 | 0.1273 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | 0.13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
19 | 0.1327 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
20 | 0.1355 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | 0.1384 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | 0.1413 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
23 | 0.1443 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | 0.1473 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | 0.1504 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0.1104 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Index
CONTENTS
Figure ES-1. VOS Calculation Table: economic value, load match, loss savings and distributed PV value - System Wide & Each Planning Area
Figure ES-2. VOS Rate Table: Calculation of the inflation-adjusted VOS - System Wide & Each Planning Area
Table 3. Fixed assumptions used in the methodology
Table 4. Environmental costs by year
Table 5. VOS Data table --required format showing example parameters used in the example calculation.
Table 6. Azimuth and tilt angle
Table 7. Losses to be considered
Table 8. Economic value of avoided fuel costs
Table 9. Economic value of avoided plant O&M - fixed
Table 10. Economic value of avoided plant O&M - variable
Table 11. Economic value of avoided generation capacity cost.
Table 12. Economic value of avoided reserve capacity cost.
Table 13. Economic value of avoided transmission capacity cost.
Table 13. Economic value of avoided transmission capacity cost.
Table 14. Determination of deferrable costs.
Table 15. Economic value of avoided distribution capacity cost. (two pages) - System Wide & Each Planning Area
Table 17. Economic value of avoided environmental costs
Table 18. Calculation of the inflation-adjusted VOS
Note: Table 1, 2 and 16 were not included as they are not required for the VOS calculation. Table 7 (Losses to be considered)
are included in Fig. ES-1

## Fig. ES-1
Figure ES-1. VOS Calculation Table: economic value, load match, loss savings and distributed PV value
| Economic Value | Load Match (No Losses) | Distributed Loss Savings | Distributed PV Value
25 Year Levelized Values | ($/kWh) | (%) | (%) | ($/kWh)
Avoided Fuel Cost | 0.021517 |  | 9.83% | 0.0236
Avoided Plant O&M - Fixed | 0.0027736 | 48.68% | 10.64% | 0.0015
Avoided Plant O&M - Variable | 0.0012561 |  | 9.83% | 0.0014
Avoided Generation Capacity Cost | 0.039535 | 48.68% | 10.64% | 0.0213
Avoided Reserve Capacity Cost | 0.0035186 | 48.68% | 10.64% | 0.0019
Avoided Transmission Capacity Cost | 0.032526 | 48.68% | 10.64% | 0.0175
Avoided Distribution Capacity Cost | 0.0079638 | 54.54% | 3.1% | 0.0045
Avoided Environmental Cost | 0.03527 |  | 9.83% | 0.03874
Avoided Voltage Control Cost
Solar Integration Cost
TOTAL |  |  |  | 0.1104
0.14436

## Fig. ES-2
Figure ES-2. 1st-Year VOS Rate calculation
Year | Discount Factor | Escalation Factor | VOS Levelized | Disc. | VOS Inflation Adj. ($/kWh) | Disc
2021 | 1 | 1 | 0.1104 | 0.1104 | 0.091136 | 0.091136
2022 | 0.9402 | 1.0211 | 0.1104 | 0.1038 | 0.093059 | 0.087494
2023 | 0.88398 | 1.0426 | 0.1104 | 0.097592 | 0.095022 | 0.083998
2024 | 0.83112 | 1.0646 | 0.1104 | 0.091756 | 0.097027 | 0.080642
2025 | 0.78142 | 1.0871 | 0.1104 | 0.086269 | 0.099075 | 0.077419
2026 | 0.7347 | 1.11 | 0.1104 | 0.081111 | 0.10116 | 0.074326
2027 | 0.69076 | 1.1335 | 0.1104 | 0.07626 | 0.1033 | 0.071356
2028 | 0.64946 | 1.1574 | 0.1104 | 0.0717 | 0.10548 | 0.068504
2029 | 0.61062 | 1.1818 | 0.1104 | 0.067413 | 0.1077 | 0.065767
2030 | 0.57411 | 1.2067 | 0.1104 | 0.063382 | 0.10998 | 0.063139
2031 | 0.53978 | 1.2322 | 0.1104 | 0.059592 | 0.1123 | 0.060616
2032 | 0.5075 | 1.2582 | 0.1104 | 0.056028 | 0.11467 | 0.058194
2033 | 0.47716 | 1.2848 | 0.1104 | 0.052678 | 0.11709 | 0.055869
2034 | 0.44862 | 1.3119 | 0.1104 | 0.049528 | 0.11956 | 0.053636
2035 | 0.4218 | 1.3395 | 0.1104 | 0.046566 | 0.12208 | 0.051493
2036 | 0.39657 | 1.3678 | 0.1104 | 0.043782 | 0.12466 | 0.049435
2037 | 0.39657 | 1.3967 | 0.1104 | 0.043782 | 0.12729 | 0.050478
2038 | 0.35056 | 1.4261 | 0.1104 | 0.038702 | 0.12997 | 0.045564
2039 | 0.3296 | 1.4562 | 0.1104 | 0.036388 | 0.13271 | 0.043743
2040 | 0.30989 | 1.487 | 0.1104 | 0.034212 | 0.13551 | 0.041995
2041 | 0.29136 | 1.5183 | 0.1104 | 0.032166 | 0.13837 | 0.040317
2042 | 0.27394 | 1.5504 | 0.1104 | 0.030243 | 0.14129 | 0.038706
2043 | 0.25756 | 1.5831 | 0.1104 | 0.028435 | 0.14427 | 0.037159
2044 | 0.24216 | 1.6165 | 0.1104 | 0.026734 | 0.14732 | 0.035674
2045 | 0.22768 | 1.6506 | 0.1104 | 0.025136 | 0.15043 | 0.034249
|  |  |  | 1.4537 |  | 1.4609

## Table 3. Fixed Assumptions
Table 3. Fixed Assumptions to be used for the VOS calculations
Fuel Prices
Guaranteed NG Fuel Prices |  |  | Environmental Externalities
2021 | 2.5794 | $/mmBtu | Environmental Discount Rate | 5.173% | per year
2022 | 2.4459 | $/mmBtu | Environmental Costs | separate table
2023 | 2.4135 | $/mmBtu
2024 | 2.4189 | $/mmBtu | Economic Assumptions
2025 | 2.4316 | $/mmBtu | General Escalation Rate | 2.11% | per year
2026 | 2.4568 | $/mmBtu
2027 | 2.4823 | $/mmBtu | Treasury Yields
2028 | 2.5157 | $/mmBtu | 1 Year | 0.2149%
2029 | 2.5522 | $/mmBtu | 2 Year | 0.2582%
2030 | 2.6145 | $/mmBtu | 3 Year | 0.3075%
2031 | 2.7208 | $/mmBtu | 5 Year | 0.4171%
2032 | 2.8258 | $/mmBtu | 7 Year | 0.6026%
|  |  | 10 Year | 0.7339%
Fuel Price Escalation | 2.11% |  | 20 Year | 1.18%
|  |  | 30 Year | 1.399%
PV Assumptions
PV Degradation Rate | 0.5%
PV Life | 25

## Table 4. Enviroment Costs
Table 4. Environmental costs by year.
Year | Analysis Year | CO2 Cost | PM 2.5 Cost | CO Cost | NOx Cost | Pb Cost | SO2 Cost | Total Cost
|  | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu
2021 | 0 | 2.8605 | 0.02037 | 5.2647e-05 | 0.28358 | 0 | 0.0034956 | 3.168
2022 | 1 | 2.9754 | 0.0208 | 5.3758e-05 | 0.28956 | 0 | 0.0035693 | 3.2894
2023 | 2 | 3.0939 | 0.021239 | 5.4892e-05 | 0.29567 | 0 | 0.0036447 | 3.4146
2024 | 3 | 3.2162 | 0.021687 | 5.605e-05 | 0.30191 | 0 | 0.0037216 | 3.5435
2025 | 4 | 3.3421 | 0.022144 | 5.7233e-05 | 0.30828 | 0 | 0.0038001 | 3.6764
2026 | 5 | 3.472 | 0.022612 | 5.844e-05 | 0.31479 | 0 | 0.0038803 | 3.8133
2027 | 6 | 3.6059 | 0.023089 | 5.9674e-05 | 0.32143 | 0 | 0.0039621 | 3.9544
2028 | 7 | 3.7438 | 0.023576 | 6.0933e-05 | 0.32821 | 0 | 0.0040457 | 4.0997
2029 | 8 | 3.886 | 0.024073 | 6.2218e-05 | 0.33514 | 0 | 0.0041311 | 4.2494
2030 | 9 | 4.0325 | 0.024581 | 6.3531e-05 | 0.34221 | 0 | 0.0042183 | 4.4036
2031 | 10 | 4.2 | 0.0251 | 6.4872e-05 | 0.34943 | 0 | 0.0043073 | 4.5789
2032 | 11 | 4.3727 | 0.02563 | 6.624e-05 | 0.3568 | 0 | 0.0043982 | 4.7596
2033 | 12 | 4.5508 | 0.02617 | 6.7638e-05 | 0.36433 | 0 | 0.004491 | 4.9459
2034 | 13 | 4.7345 | 0.026723 | 6.9065e-05 | 0.37202 | 0 | 0.0045857 | 5.1379
2035 | 14 | 4.9239 | 0.027286 | 7.0523e-05 | 0.37987 | 0 | 0.0046825 | 5.3358
2036 | 15 | 5.1192 | 0.027862 | 7.2011e-05 | 0.38788 | 0 | 0.0047813 | 5.5398
2037 | 16 | 5.3206 | 0.02845 | 7.353e-05 | 0.39607 | 0 | 0.0048822 | 5.7501
2038 | 17 | 5.5282 | 0.02905 | 7.5081e-05 | 0.40443 | 0 | 0.0049852 | 5.9667
2039 | 18 | 5.7422 | 0.029663 | 7.6666e-05 | 0.41296 | 0 | 0.0050904 | 6.1899
2040 | 19 | 5.9627 | 0.030289 | 7.8283e-05 | 0.42167 | 0 | 0.0051978 | 6.4199
2041 | 20 | 6.1697 | 0.030928 | 7.9935e-05 | 0.43057 | 0 | 0.0053075 | 6.6366
2042 | 21 | 6.3828 | 0.031581 | 8.1622e-05 | 0.43965 | 0 | 0.0054194 | 6.8595
2043 | 22 | 6.6021 | 0.032247 | 8.3344e-05 | 0.44893 | 0 | 0.0055338 | 7.0889
2044 | 23 | 6.8278 | 0.032928 | 8.5102e-05 | 0.4584 | 0 | 0.0056506 | 7.3249
2045 | 24 | 7.0601 | 0.033622 | 8.6898e-05 | 0.46808 | 0 | 0.0057698 | 7.5677

## Table 5. VOS Data Table
Table 5. VOS Data table -- required format showing assumptions used in the VOS calculation.
| Input Data | Units |  | Input Data | Units
Economic Factors |  |  | Power Generation - Continued
Start Year for VOS applicability | 2021 | Year | Other
Discount Rate (After-tax WACC) | 6.36% | Percentage | Solar weighted Heat Rate | 7578.8794 | BTU per kWh
|  |  | Fuel Price Overhead | -0.05126 | $ per MMBtu
Load Match Analysis |  |  | Generation life | 40 | years
ELCC (no loss) | 48.68% | % of rating | Heat Rate degradation | 0.1% | pear year
PLR (no loss) | 54.54% | % of rating | O&M cost (first year) - Fixed | 3.5538 | per kW-yr
Loss Savings - Energy | 9.83% | % of PV output | O&M cost (first year) - Variable | 0.001048 | $ per kWh
Loss Savings - PLR | 3.1% | % of PV output | O&M cost escalation rate | 2% | per year
Loss Savings - ELCC | 10.64% | % of PV output | Reserve planning margin | 8.9%
|  |  | Years until new Generation is needed | 0
PV Energy |  |  | Distribution
Actual first year annual energy production | 1550 | kWh per kW-AC | Capacity-related distribution capital costs -System | 248.3025 | $ per kW
|  |  | Capacity-related distribution capital costs - Mpls | N/A | $ per kW
|  |  | Capacity-related distribution capital costs - Mtka | N/A | $ per kW
Transmission |  |  | Capacity-related distribution capital costs -Edina | N/A | $ per kW
Capacity-related transmission capital cost | 49.9786 | $ per kW | Capacity-related distribution capital costs - SE | N/A | $ per kW
|  |  | Capacity-related distribution capital costs -MG | N/A | $ per kW
Power Generation |  |  | Capacity-related distribution capital costs - Newport | N/A | $ per kW
Peaking CT, simple cycle |  |  | Capacity-related distribution capital costs - St. Paul | N/A | $ per kW
Installed Cost | 495.6787 | $/kW | Capacity-related distribution capital costs - NW | N/A | $ per kW
Heat Rate | 9746.1165 | BTU/kWh | Capacity-related distribution capital costs - WBL | N/A | $ per kW
Intermediate CCGT
Installed Cost | 1067.3588 | $/kW | Distribution capital cost escalation | 2.65% | per year
Heat Rate | 6471.7467 | BTU/kWh | Peak Load (Weather Normalized) | 6682.5957 | MW
|  |  | Peak Load Growth (10yr) | -0.07493% | per year

## Table 6. Azimuth and Tilt
Table 6. Azimuth and Tilt Angles
| Array KW | % of Total | Azimuth | Tilt
1 | 4674.15 | 5.946% | 50.8657 | 23.0666
2 | 3522.599 | 4.481% | 139.385 | 22.1907
3 | 4131.241 | 5.255% | 168.8198 | 18.3656
4 | 23631.8 | 30.06% | 180 | 11.5245
5 | 4588.289 | 5.836% | 180 | 21.0833
6 | 8535.43 | 10.86% | 180 | 26.2157
7 | 9285.064 | 11.81% | 180 | 30.002
8 | 3797.773 | 4.831% | 180 | 34.871
9 | 1002.683 | 1.275% | 180 | 41.548
10 | 5647.589 | 7.184% | 180 | 47.9895
11 | 2153.158 | 2.739% | 185.9337 | 24.3996
12 | 1270.633 | 1.616% | 197.2681 | 24.9288
13 | 2537.21 | 3.227% | 211.9753 | 20.5915
14 | 1674.25 | 2.13% | 238.2649 | 24.3926
15 | 2162.298 | 2.751% | 271.8742 | 22.7909
TOTAL | 78614.167 | 100% | 175.1561 | 22.9598 | Weighted Average

## Table 8. Avoided Fuel Costs
Table 8. Economic Value of Avoided Fuel Costs.
[5 empty] | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Guaranteed NG Price | Burner Tip NG Price | Heat Rate | Utility | VOS | p.u. PV Production | Utility | VOS | Discount Factor | Utility | VOS | Treasury Yields
|  | $/mmBtu | $/mmBtu | mmBtu/kWh | $/kWh | $/kWh | (kWh) | ($) | ($) | (risk free) | ($) | ($)
1 | 2021 | 2.5794 | 2.5281 | 7578.8794 | 0.01916 | 0.021517 | 1550 | 29.6983 | 33.3509 | 1 | 29.6983 | 33.3509 | 1 | 0.2149%
2 | 2022 | 2.4459 | 2.3935 | 7586.4583 | 0.018158 | 0.021517 | 1542.25 | 28.0049 | 33.1841 | 0.99786 | 27.9448 | 33.1129 | 2 | 0.2582%
3 | 2023 | 2.4135 | 2.3601 | 7594.0447 | 0.017923 | 0.021517 | 1534.5387 | 27.5028 | 33.0182 | 0.99486 | 27.3613 | 32.8484 | 3 | 0.3075%
4 | 2024 | 2.4189 | 2.3643 | 7601.6388 | 0.017973 | 0.021517 | 1526.8661 | 27.4419 | 32.8531 | 0.99083 | 27.1903 | 32.5519 | 4 | 0.36%
5 | 2025 | 2.4316 | 2.3759 | 7609.2404 | 0.018079 | 0.021517 | 1519.2317 | 27.4656 | 32.6888 | 0.98573 | 27.0737 | 32.2223 | 5 | 0.4171%
6 | 2026 | 2.4568 | 2.3999 | 7616.8496 | 0.01828 | 0.021517 | 1511.6356 | 27.6327 | 32.5254 | 0.9794 | 27.0635 | 31.8554 | 6 | 0.51%
7 | 2027 | 2.4823 | 2.4242 | 7624.4665 | 0.018483 | 0.021517 | 1504.0774 | 27.8005 | 32.3628 | 0.96994 | 26.9648 | 31.3899 | 7 | 0.6026%
8 | 2028 | 2.5157 | 2.4563 | 7632.091 | 0.018747 | 0.021517 | 1496.557 | 28.0559 | 32.201 | 0.95881 | 26.9004 | 30.8747 | 8 | 0.6464%
9 | 2029 | 2.5522 | 2.4916 | 7639.7231 | 0.019035 | 0.021517 | 1489.0742 | 28.3449 | 32.0399 | 0.94976 | 26.9209 | 30.4303 | 9 | 0.6902%
10 | 2030 | 2.6145 | 2.5526 | 7647.3628 | 0.019521 | 0.021517 | 1481.6288 | 28.9228 | 31.8797 | 0.93998 | 27.1867 | 29.9662 | 10 | 0.7339%
11 | 2031 | 2.7208 | 2.6576 | 7655.0101 | 0.020344 | 0.021517 | 1474.2207 | 29.9914 | 31.7204 | 0.92949 | 27.8766 | 29.4836 | 11 | 0.7785%
12 | 2032 | 2.8258 | 2.7613 | 7662.6651 | 0.021159 | 0.021517 | 1466.8496 | 31.0374 | 31.5617 | 0.91824 | 28.4996 | 28.9811 | 12 | 0.8231%
13 | 2033 | 2.8855 | 2.8196 | 7670.3278 | 0.021627 | 0.021517 | 1459.5154 | 31.5654 | 31.4039 | 0.90632 | 28.6083 | 28.462 | 13 | 0.8676%
14 | 2034 | 2.9463 | 2.8791 | 7677.9981 | 0.022106 | 0.021517 | 1452.2178 | 32.1023 | 31.2469 | 0.89377 | 28.6921 | 27.9276 | 14 | 0.9122%
15 | 2035 | 3.0085 | 2.9398 | 7685.6761 | 0.022595 | 0.021517 | 1444.9567 | 32.6484 | 31.0907 | 0.88062 | 28.7508 | 27.3791 | 15 | 0.9568%
16 | 2036 | 3.072 | 3.0019 | 7693.3618 | 0.023095 | 0.021517 | 1437.7319 | 33.2038 | 30.9352 | 0.8669 | 28.7842 | 26.8177 | 16 | 1.001%
17 | 2037 | 3.1368 | 3.0652 | 7701.0552 | 0.023605 | 0.021517 | 1430.5432 | 33.7686 | 30.7806 | 0.85264 | 28.7924 | 26.2447 | 17 | 1.046%
18 | 2038 | 3.203 | 3.1299 | 7708.7562 | 0.024128 | 0.021517 | 1423.3905 | 34.343 | 30.6267 | 0.83788 | 28.7752 | 25.6613 | 18 | 1.091%
19 | 2039 | 3.2706 | 3.1959 | 7716.465 | 0.024661 | 0.021517 | 1416.2736 | 34.9272 | 30.4735 | 0.82265 | 28.7327 | 25.0689 | 19 | 1.135%
20 | 2040 | 3.3396 | 3.2634 | 7724.1815 | 0.025207 | 0.021517 | 1409.1922 | 35.5213 | 30.3212 | 0.80698 | 28.6652 | 24.4687 | 20 | 1.18%
21 | 2041 | 3.4101 | 3.3322 | 7731.9056 | 0.025764 | 0.021517 | 1402.1462 | 36.1255 | 30.1695 | 0.79093 | 28.5726 | 23.8619 | 21 | 1.202%
22 | 2042 | 3.482 | 3.4025 | 7739.6375 | 0.026334 | 0.021517 | 1395.1355 | 36.7401 | 30.0187 | 0.77815 | 28.5894 | 23.3592 | 22 | 1.224%
23 | 2043 | 3.5555 | 3.4743 | 7747.3772 | 0.026917 | 0.021517 | 1388.1598 | 37.365 | 29.8686 | 0.76526 | 28.5938 | 22.8571 | 23 | 1.245%
24 | 2044 | 3.6305 | 3.5476 | 7755.1246 | 0.027512 | 0.021517 | 1381.219 | 38.0006 | 29.7193 | 0.75225 | 28.5858 | 22.3562 | 24 | 1.267%
25 | 2045 | 3.7071 | 3.6225 | 7762.8797 | 0.028121 | 0.021517 | 1374.3129 | 38.647 | 29.5707 | 0.73914 | 28.5655 | 21.8568 | 25 | 1.289%
[13 empty] | 26 | 1.311%
[10 empty] | Validation: Present Value | 703.3889 | 703.3889 | 27 | 1.333%
[13 empty] | 28 | 1.355%
[13 empty] | 29 | 1.377%
[13 empty] | 30 | 1.399%

## Table 9. Avoided Fixed O&M
Table 9. Economic value of avoided plant O&M - fixed
[5 empty] | Prices |  |  | Costs |  |  | Disc. Costs
| Year | O&M Fixed | Utility Capacity | PV Capacity | Utility | VOS | p.u. PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kW | per unit |  | $/kWh | $/kWh | (kWh) | ($) | ($) |  | ($) | ($)
1 | 2021 | 3.5538 | 1 | 1 | 0.0022928 | 0.0027736 | 1550 | 3.5538 | 4.2991 | 1 | 3.5538 | 4.2991
2 | 2022 | 3.6249 | 0.999 | 0.995 | 0.0023481 | 0.0027736 | 1542.25 | 3.6104 | 4.2776 | 0.9402 | 3.3945 | 4.0218
3 | 2023 | 3.6974 | 0.998 | 0.99003 | 0.0024047 | 0.0027736 | 1534.5387 | 3.6679 | 4.2562 | 0.88398 | 3.2423 | 3.7624
4 | 2024 | 3.7714 | 0.997 | 0.98507 | 0.0024626 | 0.0027736 | 1526.8661 | 3.7263 | 4.2349 | 0.83112 | 3.097 | 3.5197
5 | 2025 | 3.8468 | 0.99601 | 0.98015 | 0.002522 | 0.0027736 | 1519.2317 | 3.7856 | 4.2137 | 0.78142 | 2.9581 | 3.2927
6 | 2026 | 3.9237 | 0.99501 | 0.97525 | 0.0025827 | 0.0027736 | 1511.6356 | 3.8458 | 4.1927 | 0.7347 | 2.8255 | 3.0803
7 | 2027 | 4.0022 | 0.99401 | 0.97037 | 0.002645 | 0.0027736 | 1504.0774 | 3.907 | 4.1717 | 0.69076 | 2.6988 | 2.8817
8 | 2028 | 4.0823 | 0.99302 | 0.96552 | 0.0027087 | 0.0027736 | 1496.557 | 3.9692 | 4.1508 | 0.64946 | 2.5778 | 2.6958
9 | 2029 | 4.1639 | 0.99203 | 0.96069 | 0.002774 | 0.0027736 | 1489.0742 | 4.0324 | 4.1301 | 0.61062 | 2.4623 | 2.5219
10 | 2030 | 4.2472 | 0.99104 | 0.95589 | 0.0028409 | 0.0027736 | 1481.6288 | 4.0966 | 4.1094 | 0.57411 | 2.3519 | 2.3593
11 | 2031 | 4.3321 | 0.99004 | 0.95111 | 0.0029093 | 0.0027736 | 1474.2207 | 4.1618 | 4.0889 | 0.53978 | 2.2464 | 2.2071
12 | 2032 | 4.4188 | 0.98905 | 0.94635 | 0.0029794 | 0.0027736 | 1466.8496 | 4.228 | 4.0684 | 0.5075 | 2.1457 | 2.0647
13 | 2033 | 4.5071 | 0.98807 | 0.94162 | 0.0030513 | 0.0027736 | 1459.5154 | 4.2953 | 4.0481 | 0.47716 | 2.0495 | 1.9316
14 | 2034 | 4.5973 | 0.98708 | 0.93691 | 0.0031248 | 0.0027736 | 1452.2178 | 4.3636 | 4.0279 | 0.44862 | 1.9576 | 1.807
15 | 2035 | 4.6892 | 0.98609 | 0.93223 | 0.0032001 | 0.0027736 | 1444.9567 | 4.4331 | 4.0077 | 0.4218 | 1.8699 | 1.6904
15 | 2036 | 4.6892 | 0.9851 | 0.92757 | 0.003213 | 0.0027736 | 1437.7319 | 4.4154 | 3.9877 | 0.39657 | 1.751 | 1.5814
17 | 2037 | 4.8787 | 0.98412 | 0.92293 | 0.0033562 | 0.0027736 | 1430.5432 | 4.5753 | 3.9677 | 0.39657 | 1.8145 | 1.5735
18 | 2038 | 4.9762 | 0.98314 | 0.91832 | 0.0034371 | 0.0027736 | 1423.3905 | 4.6482 | 3.9479 | 0.35056 | 1.6295 | 1.384
19 | 2039 | 5.0758 | 0.98215 | 0.91372 | 0.0035199 | 0.0027736 | 1416.2736 | 4.7221 | 3.9282 | 0.3296 | 1.5564 | 1.2947
20 | 2040 | 5.1773 | 0.98117 | 0.90916 | 0.0036048 | 0.0027736 | 1409.1922 | 4.7973 | 3.9085 | 0.30989 | 1.4866 | 1.2112
21 | 2041 | 5.2808 | 0.98019 | 0.90461 | 0.0036916 | 0.0027736 | 1402.1462 | 4.8736 | 3.889 | 0.29136 | 1.42 | 1.1331
22 | 2042 | 5.3864 | 0.97921 | 0.90009 | 0.0037806 | 0.0027736 | 1395.1355 | 4.9512 | 3.8695 | 0.27394 | 1.3563 | 1.06
23 | 2043 | 5.4942 | 0.97823 | 0.89559 | 0.0038717 | 0.0027736 | 1388.1598 | 5.03 | 3.8502 | 0.25756 | 1.2955 | 0.99165
24 | 2044 | 5.6041 | 0.97725 | 0.89111 | 0.003965 | 0.0027736 | 1381.219 | 5.1101 | 3.8309 | 0.24216 | 1.2374 | 0.92769
25 | 2045 | 5.7161 | 0.97627 | 0.88665 | 0.0040606 | 0.0027736 | 1374.3129 | 5.1914 | 3.8118 | 0.22768 | 1.182 | 0.86786
0.0027736
[10 empty] | Validation: Present Value | 54.1606 | 54.1606

## Table 10. Avoided Variable O&M
Table 10. Economic value of avoided plant O&M - variable
|  | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Utility | VOS | p.u. PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kWh | $/kWh | (kWh) | ($) | ($) | (risk free) | ($) | ($)
1 | 2021 | 0.001048 | 0.0012561 | 1550 | 1.6244 | 1.9469 | 1 | 1.6244 | 1.9469
2 | 2022 | 0.001069 | 0.0012561 | 1542.25 | 1.6486 | 1.9372 | 0.9402 | 1.55 | 1.8213
3 | 2023 | 0.0010903 | 0.0012561 | 1534.5387 | 1.6732 | 1.9275 | 0.88398 | 1.479 | 1.7038
4 | 2024 | 0.0011121 | 0.0012561 | 1526.8661 | 1.6981 | 1.9178 | 0.83112 | 1.4113 | 1.594
5 | 2025 | 0.0011344 | 0.0012561 | 1519.2317 | 1.7234 | 1.9082 | 0.78142 | 1.3467 | 1.4911
6 | 2026 | 0.0011571 | 0.0012561 | 1511.6356 | 1.7491 | 1.8987 | 0.7347 | 1.285 | 1.395
7 | 2027 | 0.0011802 | 0.0012561 | 1504.0774 | 1.7751 | 1.8892 | 0.69076 | 1.2262 | 1.305
8 | 2028 | 0.0012038 | 0.0012561 | 1496.557 | 1.8016 | 1.8798 | 0.64946 | 1.1701 | 1.2208
9 | 2029 | 0.0012279 | 0.0012561 | 1489.0742 | 1.8284 | 1.8704 | 0.61062 | 1.1165 | 1.1421
10 | 2030 | 0.0012525 | 0.0012561 | 1481.6288 | 1.8557 | 1.861 | 0.57411 | 1.0654 | 1.0684
11 | 2031 | 0.0012775 | 0.0012561 | 1474.2207 | 1.8833 | 1.8517 | 0.53978 | 1.0166 | 0.99951
12 | 2032 | 0.001303 | 0.0012561 | 1466.8496 | 1.9114 | 1.8424 | 0.5075 | 0.97003 | 0.93505
13 | 2033 | 0.0013291 | 0.0012561 | 1459.5154 | 1.9399 | 1.8332 | 0.47716 | 0.92561 | 0.87474
14 | 2034 | 0.0013557 | 0.0012561 | 1452.2178 | 1.9688 | 1.8241 | 0.44862 | 0.88323 | 0.81832
15 | 2035 | 0.0013828 | 0.0012561 | 1444.9567 | 1.9981 | 1.8149 | 0.4218 | 0.84279 | 0.76554
16 | 2036 | 0.0014105 | 0.0012561 | 1437.7319 | 2.0279 | 1.8059 | 0.39657 | 0.8042 | 0.71616
17 | 2037 | 0.0014387 | 0.0012561 | 1430.5432 | 2.0581 | 1.7968 | 0.37286 | 0.76738 | 0.66997
18 | 2038 | 0.0014674 | 0.0012561 | 1423.3905 | 2.0887 | 1.7879 | 0.35056 | 0.73224 | 0.62676
19 | 2039 | 0.0014968 | 0.0012561 | 1416.2736 | 2.1199 | 1.7789 | 0.3296 | 0.69871 | 0.58634
20 | 2040 | 0.0015267 | 0.0012561 | 1409.1922 | 2.1515 | 1.77 | 0.30989 | 0.66672 | 0.54852
21 | 2041 | 0.0015573 | 0.0012561 | 1402.1462 | 2.1835 | 1.7612 | 0.29136 | 0.63619 | 0.51314
22 | 2042 | 0.0015884 | 0.0012561 | 1395.1355 | 2.216 | 1.7524 | 0.27394 | 0.60706 | 0.48004
23 | 2043 | 0.0016202 | 0.0012561 | 1388.1598 | 2.2491 | 1.7436 | 0.25756 | 0.57927 | 0.44908
24 | 2044 | 0.0016526 | 0.0012561 | 1381.219 | 2.2826 | 1.7349 | 0.24216 | 0.55274 | 0.42012
25 | 2045 | 0.0016856 | 0.0012561 | 1374.3129 | 2.3166 | 1.7262 | 0.22768 | 0.52743 | 0.39302
[7 empty] | Validation: Present Value | 24.4848 | 24.4848

## Table 11. Avoided Gen. Cap.
Table 11. Economic value of avoided generation capacity cost.
[5 empty] | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Capacity Cost | Utility Capacity | PV Capacity | Utility | VOS | PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kW-yr | pu. | kW | $/kWh | $/kWh | (kWh) | ($) | ($) |  | ($) | ($)
1 | 2021 | 60.7473 | 1 | 1 | 0.039192 | 0.039535 | 1550 | 60.7473 | 61.2788 | 1 | 60.7473 | 61.2788 | CC / CT Ratio Based on Solar Implied HR.
2 | 2022 | 60.7473 | 0.999 | 0.995 | 0.039231 | 0.039535 | 1542.25 | 60.5041 | 60.9724 | 0.9402 | 56.8861 | 57.3264
3 | 2023 | 60.7473 | 0.998 | 0.99003 | 0.03927 | 0.039535 | 1534.5387 | 60.2618 | 60.6675 | 0.88398 | 53.2703 | 53.629
4 | 2024 | 60.7473 | 0.997 | 0.98507 | 0.03931 | 0.039535 | 1526.8661 | 60.0205 | 60.3642 | 0.83112 | 49.8844 | 50.17 | Solar Heat Rate | 7578.8794
5 | 2025 | 60.7473 | 0.99601 | 0.98015 | 0.039349 | 0.039535 | 1519.2317 | 59.7802 | 60.0624 | 0.78142 | 46.7137 | 46.9342
6 | 2026 | 60.7473 | 0.99501 | 0.97525 | 0.039388 | 0.039535 | 1511.6356 | 59.5408 | 59.7621 | 0.7347 | 43.7445 | 43.907 |  | CCGT | CT
7 | 2027 | 60.7473 | 0.99401 | 0.97037 | 0.039428 | 0.039535 | 1504.0774 | 59.3024 | 59.4632 | 0.69076 | 40.964 | 41.0751 | Heat Rate | 6471.7467 | 9746.1165
8 | 2028 | 60.7473 | 0.99302 | 0.96552 | 0.039467 | 0.039535 | 1496.557 | 59.065 | 59.1659 | 0.64946 | 38.3603 | 38.4258 | Implied Ratio | 66.19% | 33.81%
9 | 2029 | 60.7473 | 0.99203 | 0.96069 | 0.039507 | 0.039535 | 1489.0742 | 58.8285 | 58.8701 | 0.61062 | 35.922 | 35.9475
10 | 2030 | 60.7473 | 0.99104 | 0.95589 | 0.039546 | 0.039535 | 1481.6288 | 58.5929 | 58.5757 | 0.57411 | 33.6388 | 33.6289 | Installed Cost | 1067.3588 | 495.6787
11 | 2031 | 60.7473 | 0.99004 | 0.95111 | 0.039586 | 0.039535 | 1474.2207 | 58.3583 | 58.2829 | 0.53978 | 31.5007 | 31.4599
12 | 2032 | 60.7473 | 0.98905 | 0.94635 | 0.039626 | 0.039535 | 1466.8496 | 58.1247 | 57.9915 | 0.5075 | 29.4984 | 29.4308 | Solar Weighted Capacity Cost | 874.0618 | $/kW
13 | 2033 | 60.7473 | 0.98807 | 0.94162 | 0.039665 | 0.039535 | 1459.5154 | 57.8919 | 57.7015 | 0.47716 | 27.6235 | 27.5326 | Amortized Over Generation Life | 60.7473 | $/kW-yr
14 | 2034 | 60.7473 | 0.98708 | 0.93691 | 0.039705 | 0.039535 | 1452.2178 | 57.6601 | 57.413 | 0.44862 | 25.8677 | 25.7568
15 | 2035 | 60.7473 | 0.98609 | 0.93223 | 0.039745 | 0.039535 | 1444.9567 | 57.4293 | 57.1259 | 0.4218 | 24.2235 | 24.0955
16 | 2036 | 60.7473 | 0.9851 | 0.92757 | 0.039784 | 0.039535 | 1437.7319 | 57.1993 | 56.8403 | 0.39657 | 22.6838 | 22.5414
17 | 2037 | 60.7473 | 0.98412 | 0.92293 | 0.039824 | 0.039535 | 1430.5432 | 56.9703 | 56.5561 | 0.37286 | 21.242 | 21.0875
18 | 2038 | 60.7473 | 0.98314 | 0.91832 | 0.039864 | 0.039535 | 1423.3905 | 56.7422 | 56.2733 | 0.35056 | 19.8918 | 19.7274
19 | 2039 | 60.7473 | 0.98215 | 0.91372 | 0.039904 | 0.039535 | 1416.2736 | 56.515 | 55.9919 | 0.3296 | 18.6275 | 18.4551
20 | 2040 | 60.7473 | 0.98117 | 0.90916 | 0.039944 | 0.039535 | 1409.1922 | 56.2887 | 55.712 | 0.30989 | 17.4435 | 17.2648
21 | 2041 | 60.7473 | 0.98019 | 0.90461 | 0.039984 | 0.039535 | 1402.1462 | 56.0633 | 55.4334 | 0.29136 | 16.3347 | 16.1512
22 | 2042 | 60.7473 | 0.97921 | 0.90009 | 0.040024 | 0.039535 | 1395.1355 | 55.8388 | 55.1563 | 0.27394 | 15.2965 | 15.1095
23 | 2043 | 60.7473 | 0.97823 | 0.89559 | 0.040064 | 0.039535 | 1388.1598 | 55.6153 | 54.8805 | 0.25756 | 14.3242 | 14.135
24 | 2044 | 60.7473 | 0.97725 | 0.89111 | 0.040104 | 0.039535 | 1381.219 | 55.3926 | 54.6061 | 0.24216 | 13.4137 | 13.2233
25 | 2045 | 60.7473 | 0.97627 | 0.88665 | 0.040144 | 0.039535 | 1374.3129 | 55.1708 | 54.333 | 0.22768 | 12.5611 | 12.3704
0.039535
[10 empty] | Validation: Present Value | 770.664 | 770.664

## Table 12. Avoided Reserve Cap.
Table 12. Economic value of avoided reserve capacity cost.
[6 empty] | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Capacity Cost | Reserve Margin | Utility Capacity | PV Capacity | Utility | VOS | PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kW-yr | % | pu. | kW | $/kWh | $/kWh | (kWh) | ($) | ($) |  | ($) | ($)
1 | 2021 | 60.7473 | 8.9% | 1 | 1 | 0.0034881 | 0.0035186 | 1550 | 5.4065 | 5.4538 | 1 | 5.4065 | 5.4538
2 | 2022 | 60.7473 | 8.9% | 0.999 | 0.995 | 0.0034916 | 0.0035186 | 1542.25 | 5.3849 | 5.4265 | 0.9402 | 5.0629 | 5.1021
3 | 2023 | 60.7473 | 8.9% | 0.998 | 0.99003 | 0.0034951 | 0.0035186 | 1534.5387 | 5.3633 | 5.3994 | 0.88398 | 4.7411 | 4.773
4 | 2024 | 60.7473 | 8.9% | 0.997 | 0.98507 | 0.0034986 | 0.0035186 | 1526.8661 | 5.3418 | 5.3724 | 0.83112 | 4.4397 | 4.4651
5 | 2025 | 60.7473 | 8.9% | 0.99601 | 0.98015 | 0.0035021 | 0.0035186 | 1519.2317 | 5.3204 | 5.3456 | 0.78142 | 4.1575 | 4.1771
6 | 2026 | 60.7473 | 8.9% | 0.99501 | 0.97525 | 0.0035056 | 0.0035186 | 1511.6356 | 5.2991 | 5.3188 | 0.7347 | 3.8933 | 3.9077
7 | 2027 | 60.7473 | 8.9% | 0.99401 | 0.97037 | 0.0035091 | 0.0035186 | 1504.0774 | 5.2779 | 5.2922 | 0.69076 | 3.6458 | 3.6557
8 | 2028 | 60.7473 | 8.9% | 0.99302 | 0.96552 | 0.0035126 | 0.0035186 | 1496.557 | 5.2568 | 5.2658 | 0.64946 | 3.4141 | 3.4199
9 | 2029 | 60.7473 | 8.9% | 0.99203 | 0.96069 | 0.0035161 | 0.0035186 | 1489.0742 | 5.2357 | 5.2394 | 0.61062 | 3.1971 | 3.1993
10 | 2030 | 60.7473 | 8.9% | 0.99104 | 0.95589 | 0.0035196 | 0.0035186 | 1481.6288 | 5.2148 | 5.2132 | 0.57411 | 2.9939 | 2.993
11 | 2031 | 60.7473 | 8.9% | 0.99004 | 0.95111 | 0.0035231 | 0.0035186 | 1474.2207 | 5.1939 | 5.1872 | 0.53978 | 2.8036 | 2.7999
12 | 2032 | 60.7473 | 8.9% | 0.98905 | 0.94635 | 0.0035267 | 0.0035186 | 1466.8496 | 5.1731 | 5.1612 | 0.5075 | 2.6254 | 2.6193
13 | 2033 | 60.7473 | 8.9% | 0.98807 | 0.94162 | 0.0035302 | 0.0035186 | 1459.5154 | 5.1524 | 5.1354 | 0.47716 | 2.4585 | 2.4504
14 | 2034 | 60.7473 | 8.9% | 0.98708 | 0.93691 | 0.0035337 | 0.0035186 | 1452.2178 | 5.1318 | 5.1098 | 0.44862 | 2.3022 | 2.2924
15 | 2035 | 60.7473 | 8.9% | 0.98609 | 0.93223 | 0.0035373 | 0.0035186 | 1444.9567 | 5.1112 | 5.0842 | 0.4218 | 2.1559 | 2.1445
16 | 2036 | 60.7473 | 8.9% | 0.9851 | 0.92757 | 0.0035408 | 0.0035186 | 1437.7319 | 5.0907 | 5.0588 | 0.39657 | 2.0189 | 2.0062
17 | 2037 | 60.7473 | 8.9% | 0.98412 | 0.92293 | 0.0035444 | 0.0035186 | 1430.5432 | 5.0704 | 5.0335 | 0.37286 | 1.8905 | 1.8768
18 | 2038 | 60.7473 | 8.9% | 0.98314 | 0.91832 | 0.0035479 | 0.0035186 | 1423.3905 | 5.0501 | 5.0083 | 0.35056 | 1.7704 | 1.7557
19 | 2039 | 60.7473 | 8.9% | 0.98215 | 0.91372 | 0.0035515 | 0.0035186 | 1416.2736 | 5.0298 | 4.9833 | 0.3296 | 1.6578 | 1.6425
20 | 2040 | 60.7473 | 8.9% | 0.98117 | 0.90916 | 0.003555 | 0.0035186 | 1409.1922 | 5.0097 | 4.9584 | 0.30989 | 1.5525 | 1.5366
21 | 2041 | 60.7473 | 8.9% | 0.98019 | 0.90461 | 0.0035586 | 0.0035186 | 1402.1462 | 4.9896 | 4.9336 | 0.29136 | 1.4538 | 1.4375
22 | 2042 | 60.7473 | 8.9% | 0.97921 | 0.90009 | 0.0035621 | 0.0035186 | 1395.1355 | 4.9697 | 4.9089 | 0.27394 | 1.3614 | 1.3447
23 | 2043 | 60.7473 | 8.9% | 0.97823 | 0.89559 | 0.0035657 | 0.0035186 | 1388.1598 | 4.9498 | 4.8844 | 0.25756 | 1.2749 | 1.258
24 | 2044 | 60.7473 | 8.9% | 0.97725 | 0.89111 | 0.0035693 | 0.0035186 | 1381.219 | 4.9299 | 4.8599 | 0.24216 | 1.1938 | 1.1769
25 | 2045 | 60.7473 | 8.9% | 0.97627 | 0.88665 | 0.0035728 | 0.0035186 | 1374.3129 | 4.9102 | 4.8356 | 0.22768 | 1.1179 | 1.101
0.0035186
[11 empty] | Validation: Present Value | 68.5891 | 68.5891

## Table 13. Avoided Trans. Cap.
Table 13. Economic value of avoided transmission capacity cost.
[5 empty] | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Capacity Cost | Utility Capacity | PV Capacity | Utility | VOS | PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kW-yr | pu. | kW | $/kWh | $/kWh | (kWh) | ($) | ($) |  | ($) | ($)
1 | 2021 | 49.9786 | 1 | 1 | 0.032244 | 0.032526 | 1550 | 49.9786 | 50.4159 | 1 | 49.9786 | 50.4159
2 | 2022 | 49.9786 | 0.999 | 0.995 | 0.032277 | 0.032526 | 1542.25 | 49.7785 | 50.1638 | 0.9402 | 46.8019 | 47.1642
3 | 2023 | 49.9786 | 0.998 | 0.99003 | 0.032309 | 0.032526 | 1534.5387 | 49.5792 | 49.913 | 0.88398 | 43.8271 | 44.1222
4 | 2024 | 49.9786 | 0.997 | 0.98507 | 0.032341 | 0.032526 | 1526.8661 | 49.3807 | 49.6634 | 0.83112 | 41.0414 | 41.2764
5 | 2025 | 49.9786 | 0.99601 | 0.98015 | 0.032374 | 0.032526 | 1519.2317 | 49.183 | 49.4151 | 0.78142 | 38.4327 | 38.6141
6 | 2026 | 49.9786 | 0.99501 | 0.97525 | 0.032406 | 0.032526 | 1511.6356 | 48.986 | 49.168 | 0.7347 | 35.9899 | 36.1236
7 | 2027 | 49.9786 | 0.99401 | 0.97037 | 0.032438 | 0.032526 | 1504.0774 | 48.7899 | 48.9222 | 0.69076 | 33.7023 | 33.7937
8 | 2028 | 49.9786 | 0.99302 | 0.96552 | 0.032471 | 0.032526 | 1496.557 | 48.5945 | 48.6776 | 0.64946 | 31.5602 | 31.6141
9 | 2029 | 49.9786 | 0.99203 | 0.96069 | 0.032503 | 0.032526 | 1489.0742 | 48.4 | 48.4342 | 0.61062 | 29.5541 | 29.575
10 | 2030 | 49.9786 | 0.99104 | 0.95589 | 0.032536 | 0.032526 | 1481.6288 | 48.2062 | 48.192 | 0.57411 | 27.6756 | 27.6675
11 | 2031 | 49.9786 | 0.99004 | 0.95111 | 0.032568 | 0.032526 | 1474.2207 | 48.0131 | 47.9511 | 0.53978 | 25.9165 | 25.883
12 | 2032 | 49.9786 | 0.98905 | 0.94635 | 0.032601 | 0.032526 | 1466.8496 | 47.8209 | 47.7113 | 0.5075 | 24.2692 | 24.2136
13 | 2033 | 49.9786 | 0.98807 | 0.94162 | 0.032634 | 0.032526 | 1459.5154 | 47.6294 | 47.4727 | 0.47716 | 22.7266 | 22.6519
14 | 2034 | 49.9786 | 0.98708 | 0.93691 | 0.032666 | 0.032526 | 1452.2178 | 47.4387 | 47.2354 | 0.44862 | 21.2821 | 21.1909
15 | 2035 | 49.9786 | 0.98609 | 0.93223 | 0.032699 | 0.032526 | 1444.9567 | 47.2488 | 46.9992 | 0.4218 | 19.9294 | 19.8241
16 | 2036 | 49.9786 | 0.9851 | 0.92757 | 0.032732 | 0.032526 | 1437.7319 | 47.0596 | 46.7642 | 0.39657 | 18.6626 | 18.5455
17 | 2037 | 49.9786 | 0.98412 | 0.92293 | 0.032765 | 0.032526 | 1430.5432 | 46.8712 | 46.5304 | 0.37286 | 17.4764 | 17.3494
18 | 2038 | 49.9786 | 0.98314 | 0.91832 | 0.032797 | 0.032526 | 1423.3905 | 46.6835 | 46.2977 | 0.35056 | 16.3656 | 16.2304
19 | 2039 | 49.9786 | 0.98215 | 0.91372 | 0.03283 | 0.032526 | 1416.2736 | 46.4966 | 46.0663 | 0.3296 | 15.3254 | 15.1835
20 | 2040 | 49.9786 | 0.98117 | 0.90916 | 0.032863 | 0.032526 | 1409.1922 | 46.3104 | 45.8359 | 0.30989 | 14.3513 | 14.2042
21 | 2041 | 49.9786 | 0.98019 | 0.90461 | 0.032896 | 0.032526 | 1402.1462 | 46.125 | 45.6067 | 0.29136 | 13.4391 | 13.2881
22 | 2042 | 49.9786 | 0.97921 | 0.90009 | 0.032929 | 0.032526 | 1395.1355 | 45.9403 | 45.3787 | 0.27394 | 12.5849 | 12.431
23 | 2043 | 49.9786 | 0.97823 | 0.89559 | 0.032962 | 0.032526 | 1388.1598 | 45.7563 | 45.1518 | 0.25756 | 11.785 | 11.6293
24 | 2044 | 49.9786 | 0.97725 | 0.89111 | 0.032995 | 0.032526 | 1381.219 | 45.5731 | 44.9261 | 0.24216 | 11.0359 | 10.8792
25 | 2045 | 49.9786 | 0.97627 | 0.88665 | 0.033028 | 0.032526 | 1374.3129 | 45.3907 | 44.7014 | 0.22768 | 10.3344 | 10.1775
0.032526
[10 empty] | Validation: Present Value | 634.0483 | 634.0483

## Table 14 Dist. Deferrable Cost
Table 14. Determination of deferrable distribution costs.
| Year | Distribution Project Costs | % Capacity Related | Capacity Related
|  | $ | % | $
1 | 2019 | 175490525 | 4.452% | 7812185
2 | 2018 | 155018178 | 6.625% | 10270204
3 | 2017 | 165929956 | 9.604% | 15936132
4 | 2016 | 134867264 | 12.09% | 16309114
5 | 2015 | 129899465 | 16.28% | 21147768
6 | 2014 | 142118822 | 20.28% | 28825462
7 | 2013 | 109286058 | 20.76% | 22683879
8 | 2012 | 100102075 | 7.495% | 7502291
9 | 2011 | 98267667 | 11.01% | 10823959
10 | 2010 | 82821606 | 10.56% | 8749417
| TOTAL 10-YEAR PERIOD | 1293801616 |  | 150060411

## Table 15. Avoided Dist - System
| Table 15. Economic value of avoided distribution capacity cost. | [9 empty] | Continued - Table 15. Economic value of avoided distribution capacity cost. | [7 empty] | EXAMPLE
|  |  | Conventional Distribution Planning |  |  |  | Deferred Distribution Planning |  |  |  | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Distribution Cost | New Dist. Capacity | Capital Cost | Disc Capital Cost | Amortized | Def. Dist. Capacity | Def. Capital Cost | Disc Capital Cost | Amortized | Utility | VOS | PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kW-yr | (MW) | ($M) | ($M) | $M/yr | (MW) | ($M) | ($M) | $M/yr | $/kWh | $/kWh | (kWh) | ($) | ($) |  | ($) | ($)
1 | 2021 | 248.3025 | 50 | 12.4151 | 12.4151 | 16.8175 |  |  |  | 16.2309 | 0.0075693 | 0.0079638 | 1550 | 11.7324 | 12.3438 | 1 | 11.7324 | 12.3438 |  | 0.58662
2 | 2022 | 254.8825 | 49.9625 | 12.7346 | 11.9731 | 16.8175 | 50 | 12.7441 | 11.9821 | 16.2309 | 0.007613 | 0.0079638 | 1542.25 | 11.7412 | 12.2821 | 0.9402 | 11.0391 | 11.5477
3 | 2023 | 261.6369 | 49.9251 | 13.0622 | 11.5468 | 16.8175 | 49.9625 | 13.072 | 11.5554 | 16.2309 | 0.007657 | 0.0079638 | 1534.5387 | 11.75 | 12.2207 | 0.88398 | 10.3868 | 10.8029
4 | 2024 | 268.5703 | 49.8877 | 13.3983 | 11.1357 | 16.8175 | 49.9251 | 13.4084 | 11.144 | 16.2309 | 0.0077013 | 0.0079638 | 1526.8661 | 11.7588 | 12.1596 | 0.83112 | 9.773 | 10.1061
5 | 2025 | 275.6874 | 49.8503 | 13.7431 | 10.7392 | 16.8175 | 49.8877 | 13.7534 | 10.7472 | 16.2309 | 0.0077458 | 0.0079638 | 1519.2317 | 11.7677 | 12.0988 | 0.78142 | 9.1955 | 9.4543
6 | 2026 | 282.9931 | 49.8129 | 14.0967 | 10.3568 | 16.8175 | 49.8503 | 14.1073 | 10.3646 | 16.2309 | 0.0077906 | 0.0079638 | 1511.6356 | 11.7765 | 12.0383 | 0.7347 | 8.6521 | 8.8445
7 | 2027 | 290.4924 | 49.7756 | 14.4594 | 9.9881 | 16.8175 | 49.8129 | 14.4703 | 9.9956 | 16.2309 | 0.0078356 | 0.0079638 | 1504.0774 | 11.7853 | 11.9781 | 0.69076 | 8.1409 | 8.274
8 | 2028 | 298.1905 | 49.7383 | 14.8315 | 9.6324 | 16.8175 | 49.7756 | 14.8426 | 9.6397 | 16.2309 | 0.0078809 | 0.0079638 | 1496.557 | 11.7941 | 11.9182 | 0.64946 | 7.6598 | 7.7404
9 | 2029 | 306.0925 | 49.7011 | 15.2131 | 9.2895 | 16.8175 | 49.7383 | 15.2245 | 9.2965 | 16.2309 | 0.0079264 | 0.0079638 | 1489.0742 | 11.803 | 11.8586 | 0.61062 | 7.2072 | 7.2411
10 | 2030 | 314.204 | 49.6638 | 15.6046 | 8.9587 | 16.8175 | 49.7011 | 15.6163 | 8.9655 | 16.2309 | 0.0079722 | 0.0079638 | 1481.6288 | 11.8118 | 11.7993 | 0.57411 | 6.7813 | 6.7741
11 | 2031 | 322.5304 | 49.6266 | 16.0061 | 8.6398 | 16.8175 | 49.6638 | 16.0181 | 8.6462 | 16.2309 | 0.0080183 | 0.0079638 | 1474.2207 | 11.8207 | 11.7403 | 0.53978 | 6.3806 | 6.3372
12 | 2032 | 331.0774 | 49.5894 | 16.4179 | 8.3321 | 16.8175 | 49.6266 | 16.4302 | 8.3384 | 16.2309 | 0.0080646 | 0.0079638 | 1466.8496 | 11.8296 | 11.6816 | 0.5075 | 6.0035 | 5.9285
13 | 2033 | 339.851 | 49.5523 | 16.8404 | 8.0355 | 16.8175 | 49.5894 | 16.853 | 8.0415 | 16.2309 | 0.0081112 | 0.0079638 | 1459.5154 | 11.8384 | 11.6232 | 0.47716 | 5.6488 | 5.5461
14 | 2034 | 348.857 | 49.5151 | 17.2737 | 7.7494 | 16.8175 | 49.5523 | 17.2867 | 7.7552 | 16.2309 | 0.0081581 | 0.0079638 | 1452.2178 | 11.8473 | 11.5651 | 0.44862 | 5.315 | 5.1884
15 | 2035 | 358.1017 | 49.478 | 17.7182 | 7.4735 | 16.8175 | 49.5151 | 17.7315 | 7.4791 | 16.2309 | 0.0082052 | 0.0079638 | 1444.9567 | 11.8562 | 11.5073 | 0.4218 | 5.0009 | 4.8537
16 | 2036 | 367.5914 | 49.4409 | 18.1741 | 7.2074 | 16.8175 | 49.478 | 18.1877 | 7.2128 | 16.2309 | 0.0082526 | 0.0079638 | 1437.7319 | 11.8651 | 11.4497 | 0.39657 | 4.7054 | 4.5407
17 | 2037 | 377.3326 | 49.4039 | 18.6417 | 6.9508 | 16.8175 | 49.4409 | 18.6557 | 6.956 | 16.2309 | 0.0083003 | 0.0079638 | 1430.5432 | 11.874 | 11.3925 | 0.37286 | 4.4273 | 4.2478
18 | 2038 | 387.3319 | 49.3669 | 19.1214 | 6.7033 | 16.8175 | 49.4039 | 19.1357 | 6.7083 | 16.2309 | 0.0083483 | 0.0079638 | 1423.3905 | 11.8829 | 11.3355 | 0.35056 | 4.1657 | 3.9738
19 | 2039 | 397.5962 | 49.3299 | 19.6134 | 6.4646 | 16.8175 | 49.3669 | 19.6281 | 6.4695 | 16.2309 | 0.0083965 | 0.0079638 | 1416.2736 | 11.8918 | 11.2789 | 0.3296 | 3.9196 | 3.7175
20 | 2040 | 408.1325 | 49.2929 | 20.118 | 6.2344 | 16.8175 | 49.3299 | 20.1331 | 6.2391 | 16.2309 | 0.0084451 | 0.0079638 | 1409.1922 | 11.9007 | 11.2225 | 0.30989 | 3.6879 | 3.4778
21 | 2041 | 418.948 | 49.256 | 20.6357 | 6.0125 | 16.8175 | 49.2929 | 20.6512 | 6.017 | 16.2309 | 0.0084939 | 0.0079638 | 1402.1462 | 11.9096 | 11.1663 | 0.29136 | 3.47 | 3.2535
22 | 2042 | 430.0502 | 49.2191 | 21.1667 | 5.7984 | 16.8175 | 49.256 | 21.1825 | 5.8027 | 16.2309 | 0.008543 | 0.0079638 | 1395.1355 | 11.9186 | 11.1105 | 0.27394 | 3.265 | 3.0436
23 | 2043 | 441.4465 | 49.1822 | 21.7113 | 5.5919 | 16.8175 | 49.2191 | 21.7276 | 5.5961 | 16.2309 | 0.0085923 | 0.0079638 | 1388.1598 | 11.9275 | 11.055 | 0.25756 | 3.072 | 2.8473
24 | 2044 | 453.1448 | 49.1453 | 22.27 | 5.3928 | 16.8175 | 49.1822 | 22.2867 | 5.3969 | 16.2309 | 0.008642 | 0.0079638 | 1381.219 | 11.9365 | 10.9997 | 0.24216 | 2.8905 | 2.6637
25 | 2045 | 465.1532 | 49.1085 | 22.843 | 5.2008 | 16.8175 | 49.1453 | 22.8601 | 5.2047 | 16.2309 | 0.0086919 | 0.0079638 | 1374.3129 | 11.9454 | 10.9447 | 0.22768 | 2.7197 | 2.4919
26 | 2039 | 477.4797 |  |  |  |  | 49.1085 | 23.4483 | 5.0194 | [6 empty] | 0
[5 empty] | 207.8226 |  |  |  | 200.5734 |  |  | 0.0079638 |  |  |  | Validation: Present Value | 155.2402 | 155.2402
2.65
|  | Distribution Cost | New Dist. Capacity | Capital Cost | Disc Capital Cost | Amortized | Def. Dist. Capacity | Def. Capital Cost | Disc Capital Cost | Amortized | Utility | VOS | PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/kW-yr | (MW) | ($M) | ($M) | $M/yr | (MW) | ($M) | ($M) | $M/yr | $/kWh | $/kWh | (kWh) | ($) | ($) |  | ($) | ($)
|  | 204.8992 | 50 | 10.245 | 10.245 | 13.8778 |  |  |  | 13.3937 | 0.0061942 | 0.006517 | 1563 | 9.6816 | 10.1861 | 1 | 9.6816 | 10.1861 |  | 0.48408
|  | 210.329 | 49.9625 | 10.5086 | 9.8802 | 13.8778 | 50 | 10.5165 | 9.8876 | 13.3937 | 0.00623 | 0.006517 | 1555.185 | 9.6889 | 10.1352 | 0.9402 | 9.1095 | 9.5291
|  | 215.9028 | 49.9251 | 10.779 | 9.5284 | 13.8778 | 49.9625 | 10.787 | 9.5356 | 13.3937 | 0.006266 | 0.006517 | 1547.4091 | 9.6961 | 10.0845 | 0.88398 | 8.5712 | 8.9145
|  | 221.6242 | 49.8877 | 11.0563 | 9.1892 | 13.8778 | 49.9251 | 11.0646 | 9.196 | 13.3937 | 0.0063022 | 0.006517 | 1539.672 | 9.7034 | 10.0341 | 0.83112 | 8.0647 | 8.3396
|  | 227.4972 | 49.8503 | 11.3408 | 8.862 | 13.8778 | 49.8877 | 11.3493 | 8.8686 | 13.3937 | 0.0063387 | 0.006517 | 1531.9737 | 9.7107 | 9.9839 | 0.78142 | 7.5881 | 7.8017
|  | 233.5259 | 49.8129 | 11.6326 | 8.5464 | 13.8778 | 49.8503 | 11.6413 | 8.5529 | 13.3937 | 0.0063753 | 0.006517 | 1524.3138 | 9.718 | 9.934 | 0.7347 | 7.1398 | 7.2985
|  | 239.7143 | 49.7756 | 11.9319 | 8.2422 | 13.8778 | 49.8129 | 11.9409 | 8.2483 | 13.3937 | 0.0064121 | 0.006517 | 1516.6922 | 9.7252 | 9.8843 | 0.69076 | 6.7179 | 6.8277
|  | 246.0668 | 49.7383 | 12.2389 | 7.9487 | 13.8778 | 49.7756 | 12.2481 | 7.9547 | 13.3937 | 0.0064492 | 0.006517 | 1509.1088 | 9.7325 | 9.8349 | 0.64946 | 6.3209 | 6.3874
|  | 252.5875 | 49.7011 | 12.5539 | 7.6657 | 13.8778 | 49.7383 | 12.5633 | 7.6714 | 13.3937 | 0.0064865 | 0.006517 | 1501.5632 | 9.7398 | 9.7857 | 0.61062 | 5.9474 | 5.9754
|  | 259.2811 | 49.6638 | 12.8769 | 7.3927 | 13.8778 | 49.7011 | 12.8865 | 7.3983 | 13.3937 | 0.0065239 | 0.006517 | 1494.0554 | 9.7471 | 9.7368 | 0.57411 | 5.5959 | 5.59
|  | 266.1521 | 49.6266 | 13.2082 | 7.1295 | 13.8778 | 49.6638 | 13.2181 | 7.1349 | 13.3937 | 0.0065616 | 0.006517 | 1486.5851 | 9.7544 | 9.6881 | 0.53978 | 5.2653 | 5.2295
|  | 273.2051 | 49.5894 | 13.5481 | 6.8757 | 13.8778 | 49.6266 | 13.5582 | 6.8808 | 13.3937 | 0.0065996 | 0.006517 | 1479.1522 | 9.7618 | 9.6397 | 0.5075 | 4.9541 | 4.8922
|  | 280.445 | 49.5523 | 13.8967 | 6.6309 | 13.8778 | 49.5894 | 13.9071 | 6.6359 | 13.3937 | 0.0066377 | 0.006517 | 1471.7564 | 9.7691 | 9.5915 | 0.47716 | 4.6614 | 4.5766
|  | 287.8768 | 49.5151 | 14.2543 | 6.3948 | 13.8778 | 49.5523 | 14.2649 | 6.3996 | 13.3937 | 0.0066761 | 0.006517 | 1464.3977 | 9.7764 | 9.5435 | 0.44862 | 4.3859 | 4.2814
|  | 295.5056 | 49.478 | 14.621 | 6.1671 | 13.8778 | 49.5151 | 14.632 | 6.1717 | 13.3937 | 0.0067146 | 0.006517 | 1457.0757 | 9.7837 | 9.4958 | 0.4218 | 4.1267 | 4.0053
|  | 303.3365 | 49.4409 | 14.9972 | 5.9475 | 13.8778 | 49.478 | 15.0085 | 5.952 | 13.3937 | 0.0067534 | 0.006517 | 1449.7903 | 9.7911 | 9.4483 | 0.39657 | 3.8829 | 3.747
|  | 311.3749 | 49.4039 | 15.3831 | 5.7358 | 13.8778 | 49.4409 | 15.3947 | 5.7401 | 13.3937 | 0.0067925 | 0.006517 | 1442.5413 | 9.7984 | 9.4011 | 0.37286 | 3.6534 | 3.5053
|  | 319.6263 | 49.3669 | 15.779 | 5.5315 | 13.8778 | 49.4039 | 15.7908 | 5.5357 | 13.3937 | 0.0068317 | 0.006517 | 1435.3286 | 9.8058 | 9.3541 | 0.35056 | 3.4376 | 3.2792
|  | 328.0964 | 49.3299 | 16.185 | 5.3346 | 13.8778 | 49.3669 | 16.1971 | 5.3386 | 13.3937 | 0.0068712 | 0.006517 | 1428.152 | 9.8131 | 9.3073 | 0.3296 | 3.2344 | 3.0677
|  | 336.791 | 49.2929 | 16.6014 | 5.1447 | 13.8778 | 49.3299 | 16.6139 | 5.1485 | 13.3937 | 0.0069109 | 0.006517 | 1421.0112 | 9.8205 | 9.2608 | 0.30989 | 3.0433 | 2.8698
|  | 345.7159 | 49.256 | 17.0286 | 4.9615 | 13.8778 | 49.2929 | 17.0413 | 4.9652 | 13.3937 | 0.0069508 | 0.006517 | 1413.9062 | 9.8278 | 9.2145 | 0.29136 | 2.8635 | 2.6847
|  | 354.8774 | 49.2191 | 17.4667 | 4.7848 | 13.8778 | 49.256 | 17.4798 | 4.7884 | 13.3937 | 0.006991 | 0.006517 | 1406.8366 | 9.8352 | 9.1684 | 0.27394 | 2.6943 | 2.5116
|  | 364.2816 | 49.1822 | 17.9162 | 4.6145 | 13.8778 | 49.2191 | 17.9296 | 4.6179 | 13.3937 | 0.0070314 | 0.006517 | 1399.8025 | 9.8426 | 9.1226 | 0.25756 | 2.535 | 2.3496
|  | 373.9351 | 49.1453 | 18.3772 | 4.4502 | 13.8778 | 49.1822 | 18.3909 | 4.4535 | 13.3937 | 0.007072 | 0.006517 | 1392.8035 | 9.85 | 9.0769 | 0.24216 | 2.3852 | 2.1981
|  | 383.8444 | 49.1085 | 18.85 | 4.2917 | 13.8778 | 49.1453 | 18.8642 | 4.2949 | 13.3937 | 0.0071129 | 0.006517 | 1385.8394 | 9.8574 | 9.0316 | 0.22768 | 2.2443 | 2.0563
|  | 394.0163 |  |  |  |  | 49.1085 | 19.3496 | 4.142 | [6 empty] | 0
[5 empty] | 171.4952 |  |  |  | 165.5132 |  |  | 0.006517 |  |  |  | Validation: Present Value | 128.1043 | 128.1043

## Table 17. Avoided Enviromental
| Table 17. Economic value of avoided environmental costs | [7 empty] | Environmental Discount Rate |  | 5.173%
|  |  |  | Prices |  |  | Costs |  |  | Disc. Costs
| Year | Env. Cost | Solar Weighted Heat Rate | Utility | VOS | p.u. PV Production | Utility | VOS | Discount Factor | Utility | VOS
|  | $/mmBtu | mmBtu/MWh | $/kWh | $/kWh | (kWh) | ($) | ($) | (risk free) | ($) | ($)
1 | 2021 | 3.168 | 7578.8794 | 0.02401 | 0.03527 | 1550 | 37.215 | 54.6682 | 1 | 37.215 | 54.6682
2 | 2022 | 3.2894 | 7586.4583 | 0.024955 | 0.03527 | 1542.25 | 38.4868 | 54.3949 | 0.95081 | 36.5937 | 51.7193
3 | 2023 | 3.4146 | 7594.0447 | 0.02593 | 0.03527 | 1534.5387 | 39.7911 | 54.1229 | 0.90404 | 35.9729 | 48.9294
4 | 2024 | 3.5435 | 7601.6388 | 0.026937 | 0.03527 | 1526.8661 | 41.1287 | 53.8523 | 0.85957 | 35.3531 | 46.2901
5 | 2025 | 3.6764 | 7609.2404 | 0.027975 | 0.03527 | 1519.2317 | 42.5002 | 53.583 | 0.81729 | 34.7351 | 43.7931
6 | 2026 | 3.8133 | 7616.8496 | 0.029046 | 0.03527 | 1511.6356 | 43.9065 | 53.3151 | 0.77709 | 34.1194 | 41.4308
7 | 2027 | 3.9544 | 7624.4665 | 0.03015 | 0.03527 | 1504.0774 | 45.3484 | 53.0485 | 0.73887 | 33.5065 | 39.1959
8 | 2028 | 4.0997 | 7632.091 | 0.03129 | 0.03527 | 1496.557 | 46.8266 | 52.7833 | 0.70252 | 32.8968 | 37.0816
9 | 2029 | 4.2494 | 7639.7231 | 0.032464 | 0.03527 | 1489.0742 | 48.3419 | 52.5194 | 0.66797 | 32.2909 | 35.0813
10 | 2030 | 4.4036 | 7647.3628 | 0.033676 | 0.03527 | 1481.6288 | 49.8953 | 52.2568 | 0.63511 | 31.6891 | 33.1889
11 | 2031 | 4.5789 | 7655.0101 | 0.035051 | 0.03527 | 1474.2207 | 51.6734 | 51.9955 | 0.60387 | 31.2041 | 31.3986
12 | 2032 | 4.7596 | 7662.6651 | 0.036471 | 0.03527 | 1466.8496 | 53.4976 | 51.7355 | 0.57417 | 30.7166 | 29.7049
13 | 2033 | 4.9459 | 7670.3278 | 0.037936 | 0.03527 | 1459.5154 | 55.3688 | 51.4768 | 0.54593 | 30.2273 | 28.1026
14 | 2034 | 5.1379 | 7677.9981 | 0.039449 | 0.03527 | 1452.2178 | 57.2883 | 51.2195 | 0.51907 | 29.7368 | 26.5866
15 | 2035 | 5.3358 | 7685.6761 | 0.04101 | 0.03527 | 1444.9567 | 59.257 | 50.9634 | 0.49354 | 29.2458 | 25.1525
16 | 2036 | 5.5398 | 7693.3618 | 0.04262 | 0.03527 | 1437.7319 | 61.2762 | 50.7085 | 0.46926 | 28.7547 | 23.7957
17 | 2037 | 5.7501 | 7701.0552 | 0.044282 | 0.03527 | 1430.5432 | 63.3468 | 50.455 | 0.44618 | 28.2642 | 22.5121
18 | 2038 | 5.9667 | 7708.7562 | 0.045996 | 0.03527 | 1423.3905 | 65.4702 | 50.2027 | 0.42423 | 27.7748 | 21.2978
19 | 2039 | 6.1899 | 7716.465 | 0.047764 | 0.03527 | 1416.2736 | 67.6475 | 49.9517 | 0.40337 | 27.2868 | 20.1489
20 | 2040 | 6.4199 | 7724.1815 | 0.049589 | 0.03527 | 1409.1922 | 69.88 | 49.702 | 0.38353 | 26.8008 | 19.062
21 | 2041 | 6.6366 | 7731.9056 | 0.051313 | 0.03527 | 1402.1462 | 71.9487 | 49.4534 | 0.36466 | 26.2369 | 18.0338
22 | 2042 | 6.8595 | 7739.6375 | 0.05309 | 0.03527 | 1395.1355 | 74.0677 | 49.2062 | 0.34672 | 25.6811 | 17.061
23 | 2043 | 7.0889 | 7747.3772 | 0.05492 | 0.03527 | 1388.1598 | 76.2379 | 48.9601 | 0.32967 | 25.1333 | 16.1407
24 | 2044 | 7.3249 | 7755.1246 | 0.056805 | 0.03527 | 1381.219 | 78.4605 | 48.7153 | 0.31345 | 24.5937 | 15.27
25 | 2045 | 7.5677 | 7762.8797 | 0.058747 | 0.03527 | 1374.3129 | 80.7367 | 48.4718 | 0.29804 | 24.0624 | 14.4463
[9 empty] | Validation: Present Value | 760.0919 | 760.0919

## Table 18. Inflation Adj. VOS
Table 18. Calculation of inflation-adjusted VOS
Year | Discount Factor | PV Production | Escallation Factor | VOS Levelized | Disc. | VOS Inflation Adj. ($/kWh) | Disc
2021 | 1 | 1550 | 1 | 0.1104 | 171.12 | 0.091136 | 141.2604
2022 | 0.9402 | 1542.25 | 1.0211 | 0.1104 | 160.0831 | 0.093059 | 134.9378
2023 | 0.88398 | 1534.5387 | 1.0426 | 0.1104 | 149.7581 | 0.095022 | 128.8981
2024 | 0.83112 | 1526.8661 | 1.0646 | 0.1104 | 140.099 | 0.097027 | 123.1288
2025 | 0.78142 | 1519.2317 | 1.0871 | 0.1104 | 131.0629 | 0.099075 | 117.6177
2026 | 0.7347 | 1511.6356 | 1.11 | 0.1104 | 122.6096 | 0.10116 | 112.3533
2027 | 0.69076 | 1504.0774 | 1.1335 | 0.1104 | 114.7015 | 0.1033 | 107.3245
2028 | 0.64946 | 1496.557 | 1.1574 | 0.1104 | 107.3035 | 0.10548 | 102.5207
2029 | 0.61062 | 1489.0742 | 1.1818 | 0.1104 | 100.3827 | 0.1077 | 97.932
2030 | 0.57411 | 1481.6288 | 1.2067 | 0.1104 | 93.9082 | 0.10998 | 93.5487
2031 | 0.53978 | 1474.2207 | 1.2322 | 0.1104 | 87.8513 | 0.1123 | 89.3616
2032 | 0.5075 | 1466.8496 | 1.2582 | 0.1104 | 82.1851 | 0.11467 | 85.3619
2033 | 0.47716 | 1459.5154 | 1.2848 | 0.1104 | 76.8843 | 0.11709 | 81.5412
2034 | 0.44862 | 1452.2178 | 1.3119 | 0.1104 | 71.9254 | 0.11956 | 77.8915
2035 | 0.4218 | 1444.9567 | 1.3395 | 0.1104 | 67.2864 | 0.12208 | 74.4051
2036 | 0.39657 | 1437.7319 | 1.3678 | 0.1104 | 62.9466 | 0.12466 | 71.0748
2037 | 0.39657 | 1430.5432 | 1.3967 | 0.1104 | 62.6318 | 0.12729 | 72.2117
2038 | 0.35056 | 1423.3905 | 1.4261 | 0.1104 | 55.0886 | 0.12997 | 64.8548
2039 | 0.3296 | 1416.2736 | 1.4562 | 0.1104 | 51.5355 | 0.13271 | 61.952
2040 | 0.30989 | 1409.1922 | 1.487 | 0.1104 | 48.2115 | 0.13551 | 59.1791
2041 | 0.29136 | 1402.1462 | 1.5183 | 0.1104 | 45.102 | 0.13837 | 56.5303
2042 | 0.27394 | 1395.1355 | 1.5504 | 0.1104 | 42.193 | 0.14129 | 54
2043 | 0.25756 | 1388.1598 | 1.5831 | 0.1104 | 39.4717 | 0.14427 | 51.5831
2044 | 0.24216 | 1381.219 | 1.6165 | 0.1104 | 36.9258 | 0.14732 | 49.2743
2045 | 0.22768 | 1374.3129 | 1.6506 | 0.1104 | 34.5442 | 0.15043 | 47.0688
[5 empty] | 2155.8119 |  | 2155.8119