## LGE-KU Carbon
Avoided Cost of Carbon for LGE-KU in Three Carbon Pricing Scenarios
SCENARIO 1 (Low) - Carbon pricing from LG&E-KU 2018 IRP.
| Carbon ($/ton) | Existing Units CO2 Emmissions (tons) | Market Sales (thermal gen + purchased energy + wind/utility solar) (GWh) | Net Load (Load - EE - VVO - DG) (GWh) | $/kWh | Discount Rate | 7.13% | IRP
2021 | 0 | 28902032 |  | 31546 | 0
2022 | 0 | 28875787 |  | 31805 | 0
2023 | 0 | 28785596 |  | 31773 | 0
2024 | 0 | 29220543 |  | 31768 | 0
2025 | 0 | 28493323 |  | 31632 | 0
2026 | 17 | 28329310 |  | 31538 | 0.01527 |  |  |  | Escalation Rate of CO2 Price for 2026 - 2033
2027 | 18.17 | 28182788 |  | 31430 | 0.016293 |  |  |  | 1.0688
2028 | 19.37 | 26088535 |  | 31362 | 0.016113 |  |  |  | 1.066
2029 | 20.62 | 25588388 |  | 31201 | 0.016911 |  |  |  | 1.0645
2030 | 21.9 | 25649701 |  | 31054 | 0.018089 |  |  |  | 1.0621
2031 | 23.23 | 25920397 |  | 31511 | 0.019109 |  |  |  | 1.0607
2032 | 24.59 | 26009649 |  | 31511 | 0.020297 |  |  |  | 1.0585
2033 | 26 | 25768574 |  | 31511 | 0.021262 |  |  |  | 1.0573
2034 | 27.56 | 22810687 |  | 31511 | 0.019951 |  |  |  | Annual Avg Escalation Rate | 1.0626
2035 | 29.2136 | 21423806 |  | 31511 | 0.019862
2036 | 30.9664 | 21386574 |  | 31511 | 0.021017 |  |  |  | Avg. Annual Load 2021 to 2030
2037 | 32.8244 | 18690772 |  | 31511 | 0.01947 |  |  |  | 31510.9
2038 | 34.7939 | 16897777 |  | 31511 | 0.018658
2039 | 36.8815 | 14727094 |  | 31511 | 0.017237
2040 | 39.0944 | 13574321 |  | 31511 | 0.016841
2041 | 41.44 | 13239172 |  | 31511 | 0.017411
2042 | 43.9265 | 13089639 |  | 31511 | 0.018247
2043 | 46.562 | 13221812 |  | 31511 | 0.019537
2044 | 49.3558 | 13308379 |  | 31511 | 0.020845
2045 | 52.3171 | 12620327 |  | 31511 | 0.020953
0.014935
|  |  |  | NPV of 21-45 | 0.14571
|  |  |  | life (years) | 25
|  |  |  | Discount factor | 7.13%
|  |  |  | Capital Recovery Factor | 0.086818
|  |  |  | avoided cost | 0.01265
CO2 Pricing from LG&E-KU 2018 IRP (PSC Case # 2018-00348), page 5-24 (p.29 pdf)
The 2018 IRP projected carbon pricing through 2033. The average price escalation rate for 2026 - 2033 was 1.06. This was used as the escalation rate for 2034 - 2045.
SCENARIO 2 (Mid) - Carbon pricing from Federal IWG Social Cost of Carbon guidance, February 2021. 3% discount rate
| Carbon ($/ton) | Existing Units CO2 Emmissions (tons) | Market Sales (thermal gen + purchased energy + wind/utility solar) (GWh) | Load (Forecasted Total Energy Requirements) (GWh) | $/kWh | Discount Rate | 7.13% | IRP
2021 | 52 | 28902032 |  | 31546 | 0.047642
2022 | 53 | 28875787 |  | 31805 | 0.048119
2023 | 54 | 28785596 |  | 31773 | 0.048923
2024 | 55 | 29220543 |  | 31768 | 0.05059
2025 | 56 | 28493323 |  | 31632 | 0.050443
2026 | 57 | 28329310 |  | 31538 | 0.051201
2027 | 59 | 28182788 |  | 31430 | 0.052904
2028 | 60 | 26088535 |  | 31362 | 0.049911
2029 | 61 | 25588388 |  | 31201 | 0.050027
2030 | 62 | 25649701 |  | 31054 | 0.05121
2031 | 63 | 25920397 |  | 31511 | 0.051823
2032 | 64 | 26009649 |  | 31511 | 0.052827
2033 | 65 | 25768574 |  | 31511 | 0.053155
2034 | 66 | 22810687 |  | 31511 | 0.047777
2035 | 67 | 21423806 |  | 31511 | 0.045552
2036 | 69 | 21386574 |  | 31511 | 0.04683
2037 | 70 | 18690772 |  | 31511 | 0.041521
2038 | 71 | 16897777 |  | 31511 | 0.038074
2039 | 72 | 14727094 |  | 31511 | 0.03365
2040 | 73 | 13574321 |  | 31511 | 0.031447
2041 | 74 | 13239172 |  | 31511 | 0.031091
2042 | 75 | 13089639 |  | 31511 | 0.031155
2043 | 77 | 13221812 |  | 31511 | 0.032309
2044 | 78 | 13308379 |  | 31511 | 0.032943
2045 | 79 | 12620327 |  | 31511 | 0.03164
0.04411
|  |  |  | NPV of 21-45 | 0.53201
Social discount rate = 3%
Used for setting price of carbon. |  |  |  | life (years) | 25
|  |  |  | Discount factor | 7.13%
|  |  |  | Capital Recovery Factor | 0.086818
|  |  |  | avoided cost | 0.046188
SCENARIO 3 (High) - Carbon pricing from Federal IWG Social Cost of Carbon guidance, February 2021. 2.5% discount rate
| Carbon ($/ton) | Existing Units CO2 Emmissions (tons) | Market Sales (thermal gen + purchased energy + wind/utility solar) (GWh) | Load (Forecasted Total Energy Requirements) (GWh) | $/kWh | Discount Rate | 7.13% | IRP
2021 | 78 | 28902032 |  | 31546 | 0.071463
2022 | 79 | 28875787 |  | 31805 | 0.071724
2023 | 80 | 28785596 |  | 31773 | 0.072478
2024 | 82 | 29220543 |  | 31768 | 0.075424
2025 | 83 | 28493323 |  | 31632 | 0.074764
2026 | 84 | 28329310 |  | 31538 | 0.075454
2027 | 86 | 28182788 |  | 31430 | 0.077115
2028 | 87 | 26088535 |  | 31362 | 0.072371
2029 | 88 | 25588388 |  | 31201 | 0.07217
2030 | 89 | 25649701 |  | 31054 | 0.073511
2031 | 91 | 25920397 |  | 31511 | 0.074855
2032 | 92 | 26009649 |  | 31511 | 0.075938
2033 | 94 | 25768574 |  | 31511 | 0.07687
2034 | 95 | 22810687 |  | 31511 | 0.06877
2035 | 96 | 21423806 |  | 31511 | 0.065269
2036 | 98 | 21386574 |  | 31511 | 0.066513
2037 | 99 | 18690772 |  | 31511 | 0.058722
2038 | 100 | 16897777 |  | 31511 | 0.053625
2039 | 102 | 14727094 |  | 31511 | 0.047671
2040 | 103 | 13574321 |  | 31511 | 0.04437
2041 | 104 | 13239172 |  | 31511 | 0.043695
2042 | 106 | 13089639 |  | 31511 | 0.044032
2043 | 107 | 13221812 |  | 31511 | 0.044897
2044 | 108 | 13308379 |  | 31511 | 0.045613
2045 | 110 | 12620327 |  | 31511 | 0.044056
0.063655
|  |  |  | NPV of 21-45 | 0.77298
Social discount rate = 2.5%
Used for setting price of carbon. |  |  |  | life (years) | 25
|  |  |  | Discount factor | 7.13%
|  |  |  | Capital Recovery Factor | 0.086818
|  |  |  | avoided cost | 0.067108
NOTES
This worksheet is adapted from that produced by the PSC in the final order of the Kentucky Power Company Net Metering Case (2020-00174), which was used for calculating the Avoided Cost Components.
LGE-KU emissions data from Companies' Response to Supplemental Data Request from Joint Intervenors, Q6 (August 2, 2021), p.26 pdf.
LGE-KU Load Forecast data from Companies' Response to Supplemental Data Request from Joint Intervenors, Q9 (August 2, 2021), p.35 pdf.
In their responses, the Companies' describe their load as the "Forecasted Total Energy Requirements." We assume this is equivalent to their "Net Load". The Companies' provided data only from 2021 - 2030. As there was relatively little variation between these years, we used the average of these 10 years as an estimate for each year from 2031 - 2045.
The Carbon Price is from the Technical Support Document: Social Cost of Carbon, Methane, and Nitrous Oxide Interim Estimates under Executive Order 13990, Interagency Working Group on Social Cost of Greenhouse Gases, United States Government, February 2021, Appendix Table A-1 (p.46 pdf). The value of the cost of carbon depends, in part, on the discount rate used.
The discount rate factors into the avoided cost of carbon calculation at two points. First, in determining the value of the social cost of carbon, the social discount rate selected impacts the annual cost of CO2 per ton. As James Owen discussed in his supplemental testimony (July 13, 2021), the guidance from the Interagency Working Group's Technical Support Document advises using a discount rate of 3% or lower in matters involving long-term, intergenerational impacts. The IWG report offers annual carbon prices at three discount rates (2.5%, 3% and 5%). Based on the IWG's guidance, scenarios using discount rates of 3% and 2.5% were used for establishing the price of carbon. Second, a utility discount rate is used in calculating the avoided cost of carbon. The PSC used a 7% discount rate in the Kentucky Power case. Hayibo and Pearce note that discount rates can range from the inflation rate (around 2%) up to 9% and utilities often choose higher values (see p.5). In Scenarios 2 & 3 of this worksheet, social discount rates of 3% and 2.5%, respectively, were used in determining the price of carbon and the utility discount rate was kept at 7% in all scenarios, following the rate used in the KPC case.