## AvoidedCosts
[13 empty] | Current Mkt Price Avoided Capacity Cost ($/MWh) | [7 empty] | LevelCT Avoided Capacity Cost ($/MW-Yr) |  |  |  |  | LevelCT Avoided Capacity Cost ($/MWh)
|  | Avoided Energy Cost ($/MWh) | [5 empty] | Market/Index Price ($/MWh) |  |  |  |  | Market less Avoided Energy |  |  | Index less Avoided Energy |  |  |  | Availability Multiplier | 37.22% | 28.8% | 28.66% | 100% | Capacity Factor | 25.96% | 16.68% | 25.34% | 100%
| Year | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Other |  | Year | Market: Solar | Index: Solar | Index: Wind |  | Year | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Year | SCCT | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Other | Year | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Other
| 2022 | 23.0424 | 23.3343 | 22.5534 | 22.0604 |  | 2022 | 27.82 | 32.96 | 29.9 |  | 2022 | 4.7776 | 4.4857 | N/A | 9.9176 | 9.6257 | 7.3466 | 2022 | 106487.2089 | 39633.4115 | 30669.0193 | 30516.1731 | 106487.2089 | 2022 | 17.4314 | 20.9913 | 13.7472 | 12.1561
| 2023 | 22.8344 | 23.0477 | 22.4724 | 22.0164 |  | 2023 | 27.82 | 32.96 | 29.9 |  | 2023 | 4.9856 | 4.7723 | N/A | 10.1256 | 9.9123 | 7.4276 | 2023 | 108372.1659 | 40334.9725 | 31211.8994 | 31056.3475 | 108372.1659 | 2023 | 17.74 | 21.3629 | 13.9905 | 12.3713
| 2024 | 23.121 | 23.378 | 22.812 | 22.3085 |  | 2024 | 27.82 | 32.96 | 29.9 |  | 2024 | 4.699 | 4.442 | N/A | 9.839 | 9.582 | 7.088 | 2024 | 110290.7639 | 41049.0543 | 31764.4683 | 31606.1626 | 110290.7639 | 2024 | 18.054 | 21.7411 | 14.2382 | 12.5903
| 2025 | 23.2409 | 23.4925 | 23.0962 | 22.5371 |  | 2025 | 27.82 | 32.96 | 29.9 |  | 2025 | 4.5791 | 4.3275 | N/A | 9.7191 | 9.4675 | 6.8038 | 2025 | 112243.6084 | 41775.8824 | 32326.9004 | 32165.7917 | 112243.6084 | 2025 | 18.3737 | 22.126 | 14.4903 | 12.8132
| 2026 | 22.6396 | 22.8182 | 22.3403 | 21.8979 |  | 2026 | 27.82 | 32.96 | 29.9 |  | 2026 | 5.1804 | 5.0018 | N/A | 10.3204 | 10.1418 | 7.5597 | 2026 | 114231.3161 | 42515.6861 | 32899.3733 | 32735.4116 | 114231.3161 | 2026 | 18.6991 | 22.5179 | 14.7469 | 13.0401
| 2027 | 23.0316 | 23.2391 | 22.798 | 22.3589 |  | 2027 | 27.82 | 32.96 | 29.9 |  | 2027 | 4.7884 | 4.5809 | N/A | 9.9284 | 9.7209 | 7.102 | 2027 | 116254.5146 | 43268.6992 | 33482.0679 | 33315.2021 | 116254.5146 | 2027 | 19.0303 | 22.9167 | 15.0081 | 13.2711
| 2028 | 22.8093 | 22.9452 | 22.7002 | 21.9979 |  | 2028 | 27.82 | 32.96 | 29.9 |  | 2028 | 5.0107 | 4.8748 | N/A | 10.1507 | 10.0148 | 7.1998 | 2028 | 118313.8431 | 44035.1595 | 34075.1681 | 33905.3465 | 118313.8431 | 2028 | 19.3674 | 23.3226 | 15.2739 | 13.5061
| 2029 | 23.2425 | 23.3959 | 23.0859 | 22.4199 |  | 2029 | 27.82 | 32.96 | 29.9 |  | 2029 | 4.5775 | 4.4241 | N/A | 9.7175 | 9.5641 | 6.8141 | 2029 | 120409.9524 | 44815.3091 | 34678.8614 | 34506.0311 | 120409.9524 | 2029 | 19.7105 | 23.7358 | 15.5445 | 13.7454
| 2030 | 23.8166 | 23.9375 | 23.7169 | 23.0812 |  | 2030 | 27.82 | 32.96 | 29.9 |  | 2030 | 4.0034 | 3.8825 | N/A | 9.1434 | 9.0225 | 6.1831 | 2030 | 122543.505 | 45609.3948 | 35293.3386 | 35117.446 | 122543.505 | 2030 | 20.0598 | 24.1564 | 15.82 | 13.989
| 2031 | 24.3377 | 24.4755 | 24.3285 | 23.6083 |  | 2031 | 27.82 | 32.96 | 29.9 |  | 2031 | 3.4823 | 3.3445 | N/A | 8.6223 | 8.4845 | 5.5715 | 2031 | 124715.1755 | 46417.6676 | 35918.7941 | 35739.7843 | 124715.1755 | 2031 | 20.4153 | 24.5845 | 16.1003 | 14.2369
| 2032 | 24.8877 | 25.0494 | 24.801 | 24.1072 |  | 2032 | 27.82 | 32.96 | 29.9 |  | 2032 | 2.9323 | 2.7706 | N/A | 8.0723 | 7.9106 | 5.099 | 2032 | 126925.6508 | 47240.3831 | 36555.4256 | 36373.243 | 126925.6508 | 2032 | 20.7771 | 25.0202 | 16.3857 | 14.4892
| 2033 | 25.4901 | 25.6535 | 25.456 | 24.6947 |  | 2033 | 27.82 | 32.96 | 29.9 |  | 2033 | 2.3299 | 2.1665 | N/A | 7.4699 | 7.3065 | 4.444 | 2033 | 129175.6303 | 48077.8016 | 37203.4345 | 37018.0224 | 129175.6303 | 2033 | 21.1454 | 25.4638 | 16.6762 | 14.7461
| 2034 | 25.2476 | 25.4922 | 25.2593 | 24.0687 |  | 2034 | 27.82 | 32.96 | 29.9 |  | 2034 | 2.5724 | 2.3278 | N/A | 7.7124 | 7.4678 | 4.6407 | 2034 | 131465.826 | 48930.1882 | 37863.026 | 37674.3267 | 131465.826 | 2034 | 21.5203 | 25.9152 | 16.9718 | 15.0075
| 2035 | 25.7583 | 26.0488 | 25.6933 | 24.5169 |  | 2035 | 27.82 | 32.96 | 29.9 |  | 2035 | 2.0617 | 1.7712 | N/A | 7.2017 | 6.9112 | 4.2067 | 2035 | 133796.9631 | 49797.8127 | 38534.4089 | 38342.3636 | 133796.9631 | 2035 | 21.9019 | 26.3747 | 17.2728 | 15.2736
| 2036 | 26.2427 | 26.474 | 26.1472 | 25.0662 |  | 2036 | 27.82 | 32.96 | 29.9 |  | 2036 | 1.5773 | 1.346 | N/A | 6.7173 | 6.486 | 3.7528 | 2036 | 136169.7796 | 50680.9499 | 39217.7957 | 39022.3446 | 136169.7796 | 2036 | 22.2903 | 26.8425 | 17.5791 | 15.5445
| 2037 | 26.0142 | 26.2879 | 25.9511 | 24.7347 |  | 2037 | 27.82 | 32.96 | 29.9 |  | 2037 | 1.8058 | 1.5321 | N/A | 6.9458 | 6.6721 | 3.9489 | 2037 | 138585.0272 | 51579.8795 | 39913.4029 | 39714.4851 | 138585.0272 | 2037 | 22.6857 | 27.3186 | 17.8909 | 15.8202
| 2038 | 26.0699 | 26.4689 | 25.8714 | 24.6511 |  | 2038 | 27.82 | 32.96 | 29.9 |  | 2038 | 1.7501 | 1.3511 | N/A | 6.8901 | 6.4911 | 4.0286 | 2038 | 141043.4713 | 52494.8864 | 40621.4511 | 40419.0045 | 141043.4713 | 2038 | 23.0881 | 27.8032 | 18.2083 | 16.1009
| 2039 | 24.034 | 24.3906 | 25.1892 | 23.4213 |  | 2039 | 27.82 | 32.96 | 29.9 |  | 2039 | 3.786 | 3.4294 | N/A | 8.926 | 8.5694 | 4.7108 | 2039 | 143545.8911 | 53426.2605 | 41342.1645 | 41136.1261 | 143545.8911 | 2039 | 23.4977 | 28.2965 | 18.5313 | 16.3865
| 2040 | 23.6535 | 24.046 | 23.6772 | 22.8201 |  | 2040 | 27.82 | 32.96 | 29.9 |  | 2040 | 4.1665 | 3.774 | N/A | 9.3065 | 8.914 | 6.2228 | 2040 | 146093.0799 | 54374.2972 | 42075.7717 | 41866.0772 | 146093.0799 | 2040 | 23.9147 | 28.7986 | 18.8601 | 16.6773
| 2041 | 23.4471 | 23.7474 | 23.7592 | 22.821 |  | 2041 | 27.82 | 32.96 | 29.9 |  | 2041 | 4.3729 | 4.0726 | N/A | 9.5129 | 9.2126 | 6.1408 | 2041 | 148685.8458 | 55339.2972 | 42822.5054 | 42609.0894 | 148685.8458 | 2041 | 24.3391 | 29.3097 | 19.1949 | 16.9733
| 2042 | 23.7643 | 24.0609 | 24.1523 | 23.1805 |  | 2042 | 27.82 | 32.96 | 29.9 |  | 2042 | 4.0557 | 3.7591 | N/A | 9.1957 | 8.8991 | 5.7477 | 2042 | 151325.0111 | 56321.5666 | 43582.6024 | 43365.3983 | 151325.0111 | 2042 | 24.7712 | 29.83 | 19.5356 | 17.2745
| 2043 | 24.3809 | 24.67 | 24.4853 | 23.5821 |  | 2043 | 27.82 | 32.96 | 29.9 |  | 2043 | 3.4391 | 3.15 | N/A | 8.5791 | 8.29 | 5.4147 | 2043 | 154011.4136 | 57321.4172 | 44356.3041 | 44135.244 | 154011.4136 | 2043 | 25.2109 | 30.3595 | 19.8824 | 17.5812
| 2044 | 24.8109 | 25.1287 | 25.1865 | 24.0987 |  | 2044 | 27.82 | 32.96 | 29.9 |  | 2044 | 3.0091 | 2.6913 | N/A | 8.1491 | 7.8313 | 4.7135 | 2044 | 156745.9059 | 58339.1662 | 45143.8559 | 44918.8709 | 156745.9059 | 2044 | 25.6585 | 30.8985 | 20.2354 | 17.8934
| 2045 | 25.6472 | 26.054 | 25.5648 | 24.719 |  | 2045 | 27.82 | 32.96 | 29.9 |  | 2045 | 2.1728 | 1.766 | N/A | 7.3128 | 6.906 | 4.3352 | 2045 | 159529.3564 | 59375.137 | 45945.5081 | 45716.5278 | 159529.3564 | 2045 | 26.1142 | 31.4472 | 20.5947 | 18.2111
[8 empty] | 2028 |  |  |  | 2034
|  | Least-Cost Avoided Capacity Cost ($/MWh) | [5 empty] | Avoided Capacity Cost: 2028 Capacity Need ($/MWh) |  |  |  | Avoided Capacity Cost: 2034 Capacity Need ($/MWh)
| Year | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Other |  | Year | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Other | Solar: Single-Axis Tracking | Solar: Fixed Tilt | Wind | Other
| 2022 | 4.7776 | 4.4857 | 7.3466 | 12.1561 |  | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2023 | 4.9856 | 4.7723 | 7.4276 | 12.3713 |  | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2024 | 4.699 | 4.442 | 7.088 | 12.5903 |  | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2025 | 4.5791 | 4.3275 | 6.8038 | 12.8132 |  | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2026 | 5.1804 | 5.0018 | 7.5597 | 13.0401 |  | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2027 | 4.7884 | 4.5809 | 7.102 | 13.2711 |  | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2028 | 5.0107 | 4.8748 | 7.1998 | 13.5061 |  | 2028 | 5.0107 | 4.8748 | 7.1998 | 13.5061 | 0 | 0 | 0 | 0
| 2029 | 4.5775 | 4.4241 | 6.8141 | 13.7454 |  | 2029 | 4.5775 | 4.4241 | 6.8141 | 13.7454 | 0 | 0 | 0 | 0
| 2030 | 4.0034 | 3.8825 | 6.1831 | 13.989 |  | 2030 | 4.0034 | 3.8825 | 6.1831 | 13.989 | 0 | 0 | 0 | 0
| 2031 | 3.4823 | 3.3445 | 5.5715 | 14.2369 |  | 2031 | 3.4823 | 3.3445 | 5.5715 | 14.2369 | 0 | 0 | 0 | 0
| 2032 | 2.9323 | 2.7706 | 5.099 | 14.4892 |  | 2032 | 2.9323 | 2.7706 | 5.099 | 14.4892 | 0 | 0 | 0 | 0
| 2033 | 2.3299 | 2.1665 | 4.444 | 14.7461 |  | 2033 | 2.3299 | 2.1665 | 4.444 | 14.7461 | 0 | 0 | 0 | 0
| 2034 | 2.5724 | 2.3278 | 4.6407 | 15.0075 |  | 2034 | 2.5724 | 2.3278 | 4.6407 | 15.0075 | 2.5724 | 2.3278 | 4.6407 | 15.0075
| 2035 | 2.0617 | 1.7712 | 4.2067 | 15.2736 |  | 2035 | 2.0617 | 1.7712 | 4.2067 | 15.2736 | 2.0617 | 1.7712 | 4.2067 | 15.2736
| 2036 | 1.5773 | 1.346 | 3.7528 | 15.5445 |  | 2036 | 1.5773 | 1.346 | 3.7528 | 15.5445 | 1.5773 | 1.346 | 3.7528 | 15.5445
| 2037 | 1.8058 | 1.5321 | 3.9489 | 15.8202 |  | 2037 | 1.8058 | 1.5321 | 3.9489 | 15.8202 | 1.8058 | 1.5321 | 3.9489 | 15.8202
| 2038 | 1.7501 | 1.3511 | 4.0286 | 16.1009 |  | 2038 | 1.7501 | 1.3511 | 4.0286 | 16.1009 | 1.7501 | 1.3511 | 4.0286 | 16.1009
| 2039 | 3.786 | 3.4294 | 4.7108 | 16.3865 |  | 2039 | 3.786 | 3.4294 | 4.7108 | 16.3865 | 3.786 | 3.4294 | 4.7108 | 16.3865
| 2040 | 4.1665 | 3.774 | 6.2228 | 16.6773 |  | 2040 | 4.1665 | 3.774 | 6.2228 | 16.6773 | 4.1665 | 3.774 | 6.2228 | 16.6773
| 2041 | 4.3729 | 4.0726 | 6.1408 | 16.9733 |  | 2041 | 4.3729 | 4.0726 | 6.1408 | 16.9733 | 4.3729 | 4.0726 | 6.1408 | 16.9733
| 2042 | 4.0557 | 3.7591 | 5.7477 | 17.2745 |  | 2042 | 4.0557 | 3.7591 | 5.7477 | 17.2745 | 4.0557 | 3.7591 | 5.7477 | 17.2745
| 2043 | 3.4391 | 3.15 | 5.4147 | 17.5812 |  | 2043 | 3.4391 | 3.15 | 5.4147 | 17.5812 | 3.4391 | 3.15 | 5.4147 | 17.5812
| 2044 | 3.0091 | 2.6913 | 4.7135 | 17.8934 |  | 2044 | 3.0091 | 2.6913 | 4.7135 | 17.8934 | 3.0091 | 2.6913 | 4.7135 | 17.8934
| 2045 | 2.1728 | 1.766 | 4.3352 | 18.2111 |  | 2045 | 2.1728 | 1.766 | 4.3352 | 18.2111 | 2.1728 | 1.766 | 4.3352 | 18.2111
| QF Term | 20
| Avoided Energy |  | 20-Year Energy Payment for Contract Beginning:
|  | 2-Year PPA | 2022 | 2023 | 2024 | 2025 | 2026
1 | Solar: Single-Axis Tracking | 22.9384 | 23.8475 | 23.9199 | 24.0319 | 24.1358 | 24.2565
2 | Solar: Fixed Tilt | 23.191 | 24.0737 | 24.1419 | 24.2564 | 24.3596 | 24.4823
3 | Wind | 22.5129 | 23.7094 | 23.8275 | 23.9694 | 24.1071 | 24.2372
4 | Other | 22.0384 | 22.9838 | 23.0742 | 23.1848 | 23.2888 | 23.3943
2028 Capacity Need
| Avoided Capacity |  | 20-Year Demand Payment for Contract Beginning
|  | 2-Year PPA | 2022 | 2023 | 2024 | 2025 | 2026
1 | Solar: Single-Axis Tracking | 0 | 1.8238 | 2.0486 | 2.2731 | 2.502 | 2.7253
2 | Solar: Fixed Tilt | 0 | 1.7026 | 1.9117 | 2.1198 | 2.3303 | 2.5319
3 | Wind | 0 | 2.9768 | 3.3218 | 3.6818 | 4.0484 | 4.4304
4 | Other | 0 | 8.2749 | 9.2665 | 10.3327 | 11.4787 | 12.71
2034 Capacity Need
| Avoided Capacity |  | 20-Year Demand Payment for Contract Beginning
|  | 2-Year PPA | 2022 | 2023 | 2024 | 2025 | 2026
5 | Solar: Single-Axis Tracking | 0 | 0.67455 | 0.82174 | 0.96342 | 1.1039 | 1.2329
6 | Solar: Fixed Tilt | 0 | 0.59675 | 0.73126 | 0.85958 | 0.98506 | 1.0958
7 | Wind | 0 | 1.1766 | 1.4001 | 1.6303 | 1.8585 | 2.0927
8 | Other | 0 | 4.0467 | 4.7529 | 5.5144 | 6.3352 | 7.2193

## SCCTCost
WACC | 6.75%
Inflation | 2%
| Value | Dollars | Escalation | Book Life
SCCT Capital ($/kW) | 1059.4611 | 2028 | 1.658% | 30
SCCT O&M ($/kW-Year) | 13.8903 | 2028 | 2%
FGT ($/MW-Year) | 22173.9472 | 2021 | 2%
Assumed Capacity | 220
NPV SCCT RR Profile (ECC K Factor) | 1.1257
Year 1 ECC | 6.62%
SCCT Commission Year | 2022
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070
Capital ECC | 0 | 15737828.7549 | 15998732.1395 | 16263960.8079 | 16533586.4651 | 16807682.005 | 17086321.5296 | 17369580.3696 | 17657535.1045 | 17950263.5834 | 18247844.9459 | 18550359.6435 | 18857889.4618 | 19170517.5418 | 19488328.4031 | 19811407.9663 | 20139843.5766 | 20473724.0271 | 20813139.5829 | 21158182.0056 | 21508944.5779 | 21865522.1292 | 22228011.0607 | 22596509.3719 | 22971116.687 | 23351934.2817 | 23739065.1106 | 24132613.8352 | 24532686.852 | 24939392.3215 | 25352840.1972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
On-Going O&M | 0 | 2713523.4502 | 2767793.9192 | 2823149.7976 | 2879612.7936 | 2937205.0494 | 2995949.1504 | 3055868.1334 | 3116985.4961 | 3179325.206 | 3242911.7101 | 3307769.9443 | 3373925.3432 | 3441403.8501 | 3510231.9271 | 3580436.5656 | 3652045.2969 | 3725086.2029 | 3799587.9269 | 3875579.6855 | 3953091.2792 | 4032153.1048 | 4112796.1669 | 4195052.0902 | 4278953.132 | 4364532.1947 | 4451822.8385 | 4540859.2953 | 4631676.4812 | 4724310.0108 | 4818796.2111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Firm Gas Transportation | 0 | 4975833.7604 | 5075350.4356 | 5176857.4443 | 5280394.5932 | 5386002.485 | 5493722.5347 | 5603596.9854 | 5715668.9251 | 5829982.3036 | 5946581.9497 | 6065513.5887 | 6186823.8605 | 6310560.3377 | 6436771.5444 | 6565506.9753 | 6696817.1148 | 6830753.4571 | 6967368.5263 | 7106715.8968 | 7248850.2147 | 7393827.219 | 7541703.7634 | 7692537.8387 | 7846388.5954 | 8003316.3674 | 8163382.6947 | 8326650.3486 | 8493183.3556 | 8663047.0227 | 8836307.9631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 23427185.9654 | 23841876.4942 | 24263968.0498 | 24693593.8519 | 25130889.5394 | 25575993.2147 | 26029045.4884 | 26490189.5257 | 26959571.093 | 27437338.6057 | 27923643.1766 | 28418638.6655 | 28922481.7295 | 29435331.8746 | 29957351.5072 | 30488705.9884 | 31029563.6871 | 31580096.0361 | 32140477.5878 | 32710886.0718 | 33291502.453 | 33882510.9909 | 34484099.3008 | 35096458.4145 | 35719782.8437 | 36354270.6438 | 37000123.4791 | 37657546.6888 | 38326749.3551 | 39007944.3714 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
$/MW-Year | 0 | 106487.2089 | 108372.1659 | 110290.7639 | 112243.6084 | 114231.3161 | 116254.5146 | 118313.8431 | 120409.9524 | 122543.505 | 124715.1755 | 126925.6508 | 129175.6303 | 131465.826 | 133796.9631 | 136169.7796 | 138585.0272 | 141043.4713 | 143545.8911 | 146093.0799 | 148685.8458 | 151325.0111 | 154011.4136 | 156745.9059 | 159529.3564 | 162362.6493 | 165246.6847 | 168182.3795 | 171170.6668 | 174212.4971 | 177308.8381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## NREL
Source: 2020 NREL ATB
Year | SCCT: Overnight Capital ($/kW; Real 2018$) | SCCT: Fixed O&M ($/kW-yr; Real 2018$) | SCCT: Overnight Capital ($/kW; Nominal $) | SCCT: Fixed O&M ($/kW-yr; Nominal $) | SCCT Capital Esc. | SCCT O&M Esc.
2018 | 943.2428 | 11.3949 | 943.2428 | 11.3949
2019 | 938.7535 | 11.3949 | 957.5285 | 11.6228
2020 | 934.2642 | 11.3949 | 972.0084 | 11.8552
2021 | 929.7748 | 11.3949 | 986.6845 | 12.0924
2022 | 925.2855 | 11.3949 | 1001.5588 | 12.3342
2023 | 914.6525 | 11.3949 | 1009.8503 | 12.5809
2024 | 898.2122 | 11.3949 | 1011.5328 | 12.8325
2025 | 887.3566 | 11.3949 | 1019.2938 | 13.0891
2026 | 880.8081 | 11.3949 | 1032.007 | 13.3509
2027 | 873.7398 | 11.3949 | 1044.2 | 13.618
2028 | 869.1271 | 11.3949 | 1059.4611 | 13.8903
2029 | 866.0214 | 11.3949 | 1076.7887 | 14.1681 | 1.636% | 2%
2030 | 861.7043 | 11.3949 | 1092.8494 | 14.4515 | 1.492% | 2%
2031 | 858.0048 | 11.3949 | 1109.9207 | 14.7405 | 1.562% | 2%
2032 | 854.0472 | 11.3949 | 1126.8972 | 15.0353 | 1.53% | 2%
2033 | 849.5303 | 11.3949 | 1143.3559 | 15.336 | 1.461% | 2%
2034 | 846.2652 | 11.3949 | 1161.7408 | 15.6427 | 1.608% | 2%
2035 | 843.911 | 11.3949 | 1181.6791 | 15.9556 | 1.716% | 2%
2036 | 840.7272 | 11.3949 | 1200.7655 | 16.2747 | 1.615% | 2%
2037 | 838.7715 | 11.3949 | 1221.9317 | 16.6002 | 1.763% | 2%
2038 | 836.4984 | 11.3949 | 1242.9926 | 16.9322 | 1.724% | 2%
2039 | 833.5735 | 11.3949 | 1263.4192 | 17.2709 | 1.643% | 2%
2040 | 830.4878 | 11.3949 | 1283.9173 | 17.6163 | 1.622% | 2%
2041 | 828.8562 | 11.3949 | 1307.0228 | 17.9686 | 1.8% | 2%
2042 | 826.0844 | 11.3949 | 1328.7049 | 18.328 | 1.659% | 2%
2043 | 823.8803 | 11.3949 | 1351.663 | 18.6945 | 1.728% | 2%
2044 | 821.6374 | 11.3949 | 1374.943 | 19.0684 | 1.722% | 2%
2045 | 819.8562 | 11.3949 | 1399.4014 | 19.4498 | 1.779% | 2%
2046 | 816.5796 | 11.3949 | 1421.6849 | 19.8388 | 1.592% | 2%
2047 | 814.3814 | 11.3949 | 1446.2148 | 20.2356 | 1.725% | 2%
2048 | 812.1495 | 11.3949 | 1471.0964 | 20.6403 | 1.72% | 2%
2049 | 809.9006 | 11.3949 | 1496.3633 | 21.0531 | 1.718% | 2%
2050 | 800.6763 | 11.3949 | 1508.907 | 21.4741 | 0.8383% | 2%

## RRProfile
Note: Overnight profiles must begin with "ON_" and be listed first.
Profile | Notes | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49
ON_SCCT |  | Note: Overnight profiles must begin with "ON_" and be listed first. 0: 12.38%; Note: Overnight profiles must begin with "ON_" and be listed first. 1: 11.99%; Note: Overnight profiles must begin with "ON_" and be listed first. 2: 11.55%; Note: Overnight profiles must begin with "ON_" and be listed first. 3: 11.14%; Note: Overnight profiles must begin with "ON_" and be listed first. 4: 10.75%; Note: Overnight profiles must begin with "ON_" and be listed first. 5: 10.37%; Note: Overnight profiles must begin with "ON_" and be listed first. 6: 10.01%; Note: Overnight profiles must begin with "ON_" and be listed first. 7: 9.645%; Note: Overnight profiles must begin with "ON_" and be listed first. 8: 9.283%; Note: Overnight profiles must begin with "ON_" and be listed first. 9: 8.921%; Note: Overnight profiles must begin with "ON_" and be listed first. 10: 8.559%; Note: Overnight profiles must begin with "ON_" and be listed first. 11: 8.197%; Note: Overnight profiles must begin with "ON_" and be listed first. 12: 7.835%; Note: Overnight profiles must begin with "ON_" and be listed first. 13: 7.473%; Note: Overnight profiles must begin with "ON_" and be listed first. 14: 7.112%; Note: Overnight profiles must begin with "ON_" and be listed first. 15: 6.783%; Note: Overnight profiles must begin with "ON_" and be listed first. 16: 6.52%; Note: Overnight profiles must begin with "ON_" and be listed first. 17: 6.29%; Note: Overnight profiles must begin with "ON_" and be listed first. 18: 6.061%; Note: Overnight profiles must begin with "ON_" and be listed first. 19: 5.831%; Note: Overnight profiles must begin with "ON_" and be listed first. 20: 5.602%; Note: Overnight profiles must begin with "ON_" and be listed first. 21: 5.372%; Note: Overnight profiles must begin with "ON_" and be listed first. 22: 5.142%; Note: Overnight profiles must begin with "ON_" and be listed first. 23: 4.913%; Note: Overnight profiles must begin with "ON_" and be listed first. 24: 4.683%; Note: Overnight profiles must begin with "ON_" and be listed first. 25: 4.453%; Note: Overnight profiles must begin with "ON_" and be listed first. 26: 4.224%; Note: Overnight profiles must begin with "ON_" and be listed first. 27: 3.994%; Note: Overnight profiles must begin with "ON_" and be listed first. 28: 3.765%; Note: Overnight profiles must begin with "ON_" and be listed first. 29: 3.535%
Open
Open
Open

## ECCExample
WACC | 6.75%
Capital Escalation | 2%
BL | 30
FCR | 8.845%
YR1 ECC | 6.378%
NPV (K Factor) | 1.1257 | 1.1257 | 1.1257
| A | B | C | D | E | D*E
| RRProfile | Level | ECC% | NPV*YR1 ECC | Esc | ECC%
0 | 12.38% | 8.845% | 7.18% | 7.18% | 1 | 7.18% | 0
1 | 11.99% | 8.845% | 7.323% | 7.18% | 1.02 | 7.323% | 0
2 | 11.55% | 8.845% | 7.47% | 7.18% | 1.0404 | 7.47% | 0
3 | 11.14% | 8.845% | 7.619% | 7.18% | 1.0612 | 7.619% | 0
4 | 10.75% | 8.845% | 7.772% | 7.18% | 1.0824 | 7.772% | 0
5 | 10.37% | 8.845% | 7.927% | 7.18% | 1.1041 | 7.927% | 0
6 | 10.01% | 8.845% | 8.086% | 7.18% | 1.1262 | 8.086% | 0
7 | 9.645% | 8.845% | 8.247% | 7.18% | 1.1487 | 8.247% | 0
8 | 9.283% | 8.845% | 8.412% | 7.18% | 1.1717 | 8.412% | 0
9 | 8.921% | 8.845% | 8.581% | 7.18% | 1.1951 | 8.581% | 0
10 | 8.559% | 8.845% | 8.752% | 7.18% | 1.219 | 8.752% | 0
11 | 8.197% | 8.845% | 8.927% | 7.18% | 1.2434 | 8.927% | 0
12 | 7.835% | 8.845% | 9.106% | 7.18% | 1.2682 | 9.106% | 0
13 | 7.473% | 8.845% | 9.288% | 7.18% | 1.2936 | 9.288% | 0
14 | 7.112% | 8.845% | 9.474% | 7.18% | 1.3195 | 9.474% | 0
15 | 6.783% | 8.845% | 9.663% | 7.18% | 1.3459 | 9.663% | 0
16 | 6.52% | 8.845% | 9.856% | 7.18% | 1.3728 | 9.856% | 0
17 | 6.29% | 8.845% | 10.05% | 7.18% | 1.4002 | 10.05% | 0
18 | 6.061% | 8.845% | 10.25% | 7.18% | 1.4282 | 10.25% | 0
19 | 5.831% | 8.845% | 10.46% | 7.18% | 1.4568 | 10.46% | 0
20 | 5.602% | 8.845% | 10.67% | 7.18% | 1.4859 | 10.67% | 0
21 | 5.372% | 8.845% | 10.88% | 7.18% | 1.5157 | 10.88% | 0
22 | 5.142% | 8.845% | 11.1% | 7.18% | 1.546 | 11.1% | 0
23 | 4.913% | 8.845% | 11.32% | 7.18% | 1.5769 | 11.32% | 0
24 | 4.683% | 8.845% | 11.55% | 7.18% | 1.6084 | 11.55% | 0
25 | 4.453% | 8.845% | 11.78% | 7.18% | 1.6406 | 11.78% | 0
26 | 4.224% | 8.845% | 12.01% | 7.18% | 1.6734 | 12.01% | 0
27 | 3.994% | 8.845% | 12.26% | 7.18% | 1.7069 | 12.26% | 0
28 | 3.765% | 8.845% | 12.5% | 7.18% | 1.741 | 12.5% | 0
29 | 3.535% | 8.845% | 12.75% | 7.18% | 1.7758 | 12.75% | 0
30 |  | 8.845% | 13.01% | 7.18% | 1.8114 | 13.01% | 0
31 |  | 8.845% | 13.27% | 7.18% | 1.8476 | 13.27% | 0
32 |  | 8.845% | 13.53% | 7.18% | 1.8845 | 13.53% | 0
33 |  | 8.845% | 13.8% | 7.18% | 1.9222 | 13.8% | 0
34 |  | 8.845% | 14.08% | 7.18% | 1.9607 | 14.08% | 0
35 |  | 8.845% | 14.36% | 7.18% | 1.9999 | 14.36% | 0
36 |  | 8.845% | 14.65% | 7.18% | 2.0399 | 14.65% | 0
37 |  | 8.845% | 14.94% | 7.18% | 2.0807 | 14.94% | 0
38 |  | 8.845% | 15.24% | 7.18% | 2.1223 | 15.24% | 0
39 |  | 8.845% | 15.54% | 7.18% | 2.1647 | 15.54% | 0