## Sheet1
Trimble County Firm Gas Transportation
| 2021 | April | May | June | July | August | September | October
Summer | SNS Capacity1 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
| Daily Demand2 | 0.3675 | 0.3675 | 0.3675 | 0.3675 | 0.3675 | 0.3675 | 0.3675
| Daily Charge | 36750 | 36750 | 36750 | 36750 | 36750 | 36750 | 36750
| Days in Month | 30 | 31 | 30 | 31 | 31 | 30 | 31
| Monthly Charge | 1102500 | 1139250 | 1102500 | 1139250 | 1139250 | 1102500 | 1139250
| 2021 | April | May | June | July | August | September | October
| STF Capacity3 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
| Daily Demand4 | 0.2825 | 0.2825 | 0.2825 | 0.2825 | 0.2825 | 0.2825 | 0.2825
| Daily Charge | 14125 | 14125 | 14125 | 14125 | 14125 | 14125 | 14125
| Days in Month | 30 | 31 | 30 | 31 | 31 | 30 | 31
| Monthly Charge | 423750 | 437875 | 423750 | 437875 | 437875 | 423750 | 437875
| 2021 | Jan | Feb | Mar | Nov | Dec
Winter | WNS Capacity5 | 229000 | 229000 | 114500 | 114500 | 229000
| Daily Demand6 | 0.5 | 0.5 | 0.185 | 0.185 | 0.5
| Daily Charge | 114500 | 114500 | 21182.5 | 21182.5 | 114500
| Days in Month | 31 | 28 | 31 | 30 | 31
| Monthly Charge | 3549500 | 3206000 | 656657.5 | 635475 | 3549500
Total Cost of Firm Gas Transportation | 22484382.5
Seasonal Max Capacity per CT (MW) | 169
Number of CTs | 6
Cost per kW-year (2021$) | 22.1739
Escalation Rate | 2%
Cost per kW-year (2028$) | 25.4709
Notes:
Seasonal max capacities are based on the Companies' current net unit ratings.
Capacity volumes and daily demand charges are taken directly from the Companies' contracts with Texas Gas Transmission, which are available on the KPSC website at:
https://psc.ky.gov/PSC_WebNet/FuelContracts.aspx
Direct links available below.
1) See page 6 of https://psc.ky.gov/PSC_WebNet/FuelContracts/Louisville%20Gas%20and%20Electric%20Company%20-%20LGE/Texas%20Gas%20Transmission%2011-20-18_02.pdf
2) See page 8 of https://psc.ky.gov/PSC_WebNet/FuelContracts/Louisville%20Gas%20and%20Electric%20Company%20-%20LGE/Texas%20Gas%20Transmission%2011-20-18_02.pdf
3) See page 2 of https://psc.ky.gov/PSC_WebNet/FuelContracts/Louisville%20Gas%20and%20Electric%20Company%20-%20LGE/Texas%20Gas%20Transmission%2011-20-18_01.pdf
4) See page 4 of https://psc.ky.gov/PSC_WebNet/FuelContracts/Louisville%20Gas%20and%20Electric%20Company%20-%20LGE/Texas%20Gas%20Transmission%2011-20-18_01.pdf
5) See page 2 of https://psc.ky.gov/PSC_WebNet/FuelContracts/Louisville%20Gas%20and%20Electric%20Company%20-%20LGE/Texas%20Gas%20Transmission%204-19-16.pdf
6) See page 4 of https://psc.ky.gov/PSC_WebNet/FuelContracts/Louisville%20Gas%20and%20Electric%20Company%20-%20LGE/Texas%20Gas%20Transmission%204-19-16.pdf