## Impact Discussion
2021 VOS Input or Parameter changes list
Impact in cents per kWh
| Input/Parameter Description | Update Reason | Impact of Change
1 | Guaranteed NG Fuel Prices | Updated to include trading day values from 2020 | Decrease of 0.56 cents to Avoided Fuel Component
2 | Fuel Price Escalation | Updated values to include data from 1995 to 2020 | 0.01 cent decrease to Fuel Component
3 | Environmental Discount Rate | Updated values to include data from 1995 to 2020 | 0.01 cent increase to Environmental Component
4 | General Escalation Rate | Updated values to include data from 1995 to 2020 | No change to levelized rate
5 | Treasury Yields | Updated to include trading day values from 2020 | 0.03 cent increase to Avoided Fuel Component
6 | Environmental costs by year. | Updated to include passage of time and current escalation | No change. Additional year of escalation to current year offset by lower out-year annual escalation rate
7 | Discount Rate (After-tax WACC) | No change | None
8 | ELCC (no loss) | Updated values to current year | No measurable change
9 | Peak Load Reduction | Updated values to current year | No measurable change
10 | Loss Savings - Energy | Updated values to current year | No measurable change
11 | Loss Savings - PLR | Updated values to current year | 0.04 cent decrease to Distribution Capacity Components
12 | Loss Savings - ELCC | Updated values to current year | No measurable change
13 | PV Energy Production | Updated with 2017 to 2019 Data | 0.05 cent increase
14 | Capacity-related transmission capital cost | Updated OATT 5-year average to include current year (2016-20) | 0.02 cent decrease to the Transmission Capacity Cost Component
15 | Combustion Turbin Installed Cost | Updated to current year of IRP inputs | CC&CT Cost 0.10 cent increase to the Generation and Reserve Capacity Cost Components
16 | Combustion Turbin Heat Rate | Updated based on current technology | CC&CT Heat Rate 0.02 cent decrease to the Generation and Reserve Capacity Cost
17 | Combined Cycle Combustion Turbin Installed Cost | Updated to current year of IRP inputs | Components
18 | Combined Cycle Combustion Turbin Heat Rate | Updated based on current technology
19 | Solar weighted Heat Rate | Updated model run to include most recent years data | 0.06 cent decrease. Decrease to Avoided Fuel and Environmental Cost Components
offset by increase to the Generation and Reserve Capacity Cost Components
18 | Fuel Price Overhead | Updated values to current market costs | 0.06 cent decrease to Avoided Fuel Cost Components
19 | O&M cost (first year) - Fixed | Current IRP Assumptions updated to reflect the passage of time | 0.08 increase to the Generation and Reserve Capacity Cost Components
20 | O&M cost escalation rate | Current IRP Assumptions updated to reflect the passage of time | No change
21 | Reserve planning margin | Updated to 2020-21 MISO Reserve Margin value | 0.02 cent increase to the Reserve Capacity Cost Component
22 | Capacity-related distribution capital costs -System | Updated to to include 2018-19 Actuals and 2020-22 Forecast | 0.12 Increase to the Distribution Capacity Cost Component
23 | Distribution capital cost escalation | Changed input to current internal capital project escalation rate | 0.05 decrease to the Distribution Capacity Cost Component
24 | Peak Load (Weather Normalized) | Updated values from 2010 to 2019 | No Change. Input is related to prior Avoided Distribution Cost Component methodology.
25 | Peak Load Growth | Updated values from 2010 to 2019 | No Change. Input is related to prior Avoided Distribution Cost Component methodology.

## Table 3. Fixed Assumptions
Table 3. Fixed Assumptions to be used for the VOS calculations
Fuel Prices | 2021 | 2020 |  | Drives an increase in the VOS
Guaranteed NG Fuel Prices | Input Data | Input Data |  | Drives an decrease in the VOS
2021 | 2.5794 | 2.671 | $/mmBtu | No change in the VOS |  |  |  | 3.431%
2022 | 2.4459 | 2.6387 | $/mmBtu |  | 2021 | 2020 |  | 7.309%
2023 | 2.4135 | 2.6448 | $/mmBtu | Environmental Externalities | Input Data | Input Data |  | 8.744%
2024 | 2.4189 | 2.7198 | $/mmBtu | Environmental Discount Rate | 5.173% | 5.297% | per year | 11.06%
2025 | 2.4316 | 2.8227 | $/mmBtu | Environmental Costs | separate table | separate table |  | 13.85%
2026 | 2.4568 | 2.9345 | $/mmBtu |  |  |  |  | 16.28%
2027 | 2.4823 | 3.0466 | $/mmBtu | Economic Assumptions |  |  |  | 18.52%
2028 | 2.5157 | 3.1593 | $/mmBtu | General Escalation Rate | 2.11% | 2.23% | per year | 20.37%
2029 | 2.5522 | 3.2711 | $/mmBtu |  |  |  |  | 21.98%
2030 | 2.6145 | 3.3802 | $/mmBtu | Treasury Yields |  |  |  | 22.65%
2031 | 2.7208 | 3.4899 | $/mmBtu | 1 Year | 0.2149% | 2.172% |  | 22.04%
2032 | 2.8258 | 3.5957 | $/mmBtu | 2 Year | 0.2582% | 2.049% |  | 21.41%
|  |  |  | 3 Year | 0.3075% | 2.008%
Fuel Price Escalation | 2.11% | 2.23% |  | 5 Year | 0.4171% | 2.037%
|  |  |  | 7 Year | 0.6026% | 2.135%
PV Assumptions |  |  |  | 10 Year | 0.7339% | 2.245%
PV Degradation Rate | 0.5% | 0.5% |  | 20 Year | 1.18% | 2.491%
PV Life | 25 | 25 |  | 30 Year | 1.399% | 2.679%

## Table 4. Environment Costs
Table 4. Environmental costs by year.
Drives an increase in the VOS
Drives an decrease in the VOS
No change in the VOS
|  | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020
Year | Analysis Year | CO2 Cost | PM 2.5 Cost | CO Cost | NOx Cost | Pb Cost | SO2 Cost | Total Cost | CO2 Cost | PM 2.5 Cost | CO Cost | NOx Cost | Pb Cost | SO2 Cost | Total Cost
|  | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu | $/mmBtu
2021 | 0 | 2.8605 | 0.02037 | 5.2647e-05 | 0.28358 | 0 | 0.0034956 | 3.168 | 2.807 | 0.020538 | 5.4284e-05 | 0.28592 | 0 | 0.0035245 | 3.117
2022 | 1 | 2.9754 | 0.0208 | 5.3758e-05 | 0.28956 | 0 | 0.0035693 | 3.2894 | 2.9242 | 0.020996 | 5.5494e-05 | 0.2923 | 0 | 0.003603 | 3.2412
2023 | 2 | 3.0939 | 0.021239 | 5.4892e-05 | 0.29567 | 0 | 0.0036447 | 3.4146 | 3.0453 | 0.021464 | 5.6732e-05 | 0.29882 | 0 | 0.0036834 | 3.3694
2024 | 3 | 3.2162 | 0.021687 | 5.605e-05 | 0.30191 | 0 | 0.0037216 | 3.5435 | 3.1704 | 0.021943 | 5.7997e-05 | 0.30548 | 0 | 0.0037655 | 3.5016
2025 | 4 | 3.3421 | 0.022144 | 5.7233e-05 | 0.30828 | 0 | 0.0038001 | 3.6764 | 3.2995 | 0.022432 | 5.929e-05 | 0.31229 | 0 | 0.0038495 | 3.6381
2026 | 5 | 3.472 | 0.022612 | 5.844e-05 | 0.31479 | 0 | 0.0038803 | 3.8133 | 3.4327 | 0.022933 | 6.0612e-05 | 0.31926 | 0 | 0.0039353 | 3.7789
2027 | 6 | 3.6059 | 0.023089 | 5.9674e-05 | 0.32143 | 0 | 0.0039621 | 3.9544 | 3.5703 | 0.023444 | 6.1964e-05 | 0.32638 | 0 | 0.0040231 | 3.9242
2028 | 7 | 3.7438 | 0.023576 | 6.0933e-05 | 0.32821 | 0 | 0.0040457 | 4.0997 | 3.7123 | 0.023967 | 6.3346e-05 | 0.33365 | 0 | 0.0041128 | 4.0741
2029 | 8 | 3.886 | 0.024073 | 6.2218e-05 | 0.33514 | 0 | 0.0041311 | 4.2494 | 3.8589 | 0.024501 | 6.4758e-05 | 0.34109 | 0 | 0.0042045 | 4.2288
2030 | 9 | 4.0325 | 0.024581 | 6.3531e-05 | 0.34221 | 0 | 0.0042183 | 4.4036 | 4.0102 | 0.025048 | 6.6203e-05 | 0.3487 | 0 | 0.0042983 | 4.3883
2031 | 10 | 4.2 | 0.0251 | 6.4872e-05 | 0.34943 | 0 | 0.0043073 | 4.5789 | 4.1663 | 0.025606 | 6.7679e-05 | 0.35648 | 0 | 0.0043942 | 4.5528
2032 | 11 | 4.3727 | 0.02563 | 6.624e-05 | 0.3568 | 0 | 0.0043982 | 4.7596 | 4.3443 | 0.026177 | 6.9188e-05 | 0.36443 | 0 | 0.0044921 | 4.7395
2033 | 12 | 4.5508 | 0.02617 | 6.7638e-05 | 0.36433 | 0 | 0.004491 | 4.9459 | 4.5283 | 0.026761 | 7.0731e-05 | 0.37255 | 0 | 0.0045923 | 4.9323
2034 | 13 | 4.7345 | 0.026723 | 6.9065e-05 | 0.37202 | 0 | 0.0045857 | 5.1379 | 4.7183 | 0.027358 | 7.2308e-05 | 0.38086 | 0 | 0.0046947 | 5.1313
2035 | 14 | 4.9239 | 0.027286 | 7.0523e-05 | 0.37987 | 0 | 0.0046825 | 5.3358 | 4.9145 | 0.027968 | 7.3921e-05 | 0.38935 | 0 | 0.0047994 | 5.3367
2036 | 15 | 5.1192 | 0.027862 | 7.2011e-05 | 0.38788 | 0 | 0.0047813 | 5.5398 | 5.1172 | 0.028591 | 7.5569e-05 | 0.39804 | 0 | 0.0049064 | 5.5488
2037 | 16 | 5.3206 | 0.02845 | 7.353e-05 | 0.39607 | 0 | 0.0048822 | 5.7501 | 5.3264 | 0.029229 | 7.7254e-05 | 0.40691 | 0 | 0.0050159 | 5.7676
2038 | 17 | 5.5282 | 0.02905 | 7.5081e-05 | 0.40443 | 0 | 0.0049852 | 5.9667 | 5.5424 | 0.029881 | 7.8977e-05 | 0.41599 | 0 | 0.0051277 | 5.9935
2039 | 18 | 5.7422 | 0.029663 | 7.6666e-05 | 0.41296 | 0 | 0.0050904 | 6.1899 | 5.7654 | 0.030547 | 8.0738e-05 | 0.42526 | 0 | 0.0052421 | 6.2265
2040 | 19 | 5.9627 | 0.030289 | 7.8283e-05 | 0.42167 | 0 | 0.0051978 | 6.4199 | 5.9956 | 0.031228 | 8.2539e-05 | 0.43475 | 0 | 0.005359 | 6.467
2041 | 20 | 6.1697 | 0.030928 | 7.9935e-05 | 0.43057 | 0 | 0.0053075 | 6.6366 | 6.2332 | 0.031925 | 8.438e-05 | 0.44444 | 0 | 0.0054785 | 6.7151
2042 | 21 | 6.3828 | 0.031581 | 8.1622e-05 | 0.43965 | 0 | 0.0054194 | 6.8595 | 6.4572 | 0.032637 | 8.6261e-05 | 0.45435 | 0 | 0.0056006 | 6.9498
2043 | 22 | 6.6021 | 0.032247 | 8.3344e-05 | 0.44893 | 0 | 0.0055338 | 7.0889 | 6.688 | 0.033365 | 8.8185e-05 | 0.46449 | 0 | 0.0057255 | 7.1917
2044 | 23 | 6.8278 | 0.032928 | 8.5102e-05 | 0.4584 | 0 | 0.0056506 | 7.3249 | 6.9259 | 0.034109 | 9.0151e-05 | 0.47484 | 0 | 0.0058532 | 7.4408
2045 | 24 | 7.0601 | 0.033622 | 8.6898e-05 | 0.46808 | 0 | 0.0057698 | 7.5677 | 7.1712 | 0.034869 | 9.2162e-05 | 0.48543 | 0 | 0.0059837 | 7.6975

## Table 5. VOS Data Table
Table 5. VOS Data table -- required format showing assumptions used in the VOS calculation.
| 2021 | 2020 |  |  | 2021 | 2020
| Input Data | Input Data | Units |  | Input Data | Input Data | Units
Drives an increase in the VOS |  |  |  | Power Generation - Continued
Drives an decrease in the VOS |  |  |  | Other
No change in the VOS |  |  |  | Solar weighted Heat Rate | 7578.8794 | 7742 | BTU per kWh
Economic Factors |  |  |  | Fuel Price Overhead | -0.05126 | 0.0037296 | $ per MMBtu
Start Year for VOS applicability | 2021 | 2020 | Year | Generation life | 40 | 40 | years
Discount Rate (After-tax WACC) | 6.36% | 6.36% | Percentage | Heat Rate degradation | 0.1% | 0.1% | pear year
|  |  |  | O&M cost (first year) - Fixed | 3.5538 | 3.4242 | per kW-yr
Load Match Analysis |  |  |  | O&M cost (first year) - Variable | 0.001 | 0.0010307 | $ per kWh
ELCC (no loss) | 48.68% | 48.56% | % of rating | O&M cost escalation rate | 2% | 2% | per year
PLR (no loss) | 54.54% | 54.64% | % of rating | Reserve planning margin | 8.9% | 7.9%
Loss Savings - Energy | 9.83% | 9.751% | % of PV output | Years until new Generation is needed | 0 | 0
Loss Savings - PLR | 3.1% | 12.37% | % of PV output
Loss Savings - ELCC | 10.64% | 10.76% | % of PV output | Distribution
|  |  |  | Capacity-related distribution capital costs -System | 248.3 | 191.4315 | $ per kW
PV Energy |  |  |  | Capacity-related distribution capital costs - Mpls | 248.3 | N/A | $ per kW
Actual- First year annual energy | 1550 | 1563 | kWh per kW-AC | Capacity-related distribution capital costs - Mtka | 248.3 | N/A | $ per kW
|  |  |  | Capacity-related distribution capital costs -Edina | 248.3 | N/A | $ per kW
Transmission |  |  |  | Capacity-related distribution capital costs - SE | 248.3 | N/A | $ per kW
Capacity-related transmission capital cost | 49.9786 | 50.33 | $ per kW | Capacity-related distribution capital costs -MG | 248.3 | N/A | $ per kW
|  |  |  | Capacity-related distribution capital costs - Newport | 248.3 | N/A | $ per kW
Power Generation |  |  |  | Capacity-related distribution capital costs - St. Paul | 248.3 | N/A | $ per kW
Peaking CT, simple cycle |  |  |  | Capacity-related distribution capital costs - NW | 248.3 | N/A | $ per kW
Installed Cost | 495.6787 | 476 | $/kW | Capacity-related distribution capital costs - WBL | 248.3 | N/A | $ per kW
Heat Rate | 9746.1165 | 9738.7613 | BTU/kWh
Intermediate CCGT |  |  |  | Distribution capital cost escalation | 2.65% | 2% | per year
Installed Cost | 1067.3588 | 1023 | $/kW | Peak Load (Weather Normalized) | 6682.5957 | 6419.8108 | MW
Heat Rate | 6471.7467 | 6547.5 | BTU/kWh | Peak Load Growth | -0.07493% | 0.4278% | per year