## lge g376.00 Low- Hi-
Louisville Gas and Electric Company
Gas Mains Account G376.00
as of July 2020
utility_account | in_service_year | retirement_unit | quantity | cost
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 10 | 45547 | 77658.52
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 12 | 31066 | 66436.56
G376.00-Mains Distribution | 1935-01-01 | PIPE, CAST IRON, 12 | 40 | 129.59
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 14 | 7950 | 21255.5 | Type of Main | Pipe Size | Net Cost of Plant | Quantity | Avg Cost | n | y | x | est y | y*n^.5 | n^.5 | xn^.5 | [11 empty] | error y |  |  | error y*n^.5 | sqr error
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 16 | 28376 | 90103.45 | PIPE, CAST IRON, 10 | 10 | 77658.52 | 45547 | 1.705 | 45547 | 1.705 | 10 | 24.776 | 363.8809 | 213.4174 | 2134.1743 | [12 empty] | 45547 | 5287.6347 | 4923.7538 | 24243351.3169
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 18 | 8985 | 34815.59 | PIPE, CAST IRON, 12 | 12 | 66566.15 | 31106 | 2.14 | 31106 | 2.14 | 12 | 27.5489 | 377.4256 | 176.3689 | 2116.4272 | [12 empty] | 31106 | 4858.7746 | 4481.349 | 20082489.0875
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 24 | 1220 | 6523.65 | PIPE, CAST IRON, 14 | 14 | 21255.5 | 7950 | 2.6736 | 7950 | 2.6736 | 14 | 30.3218 | 238.3899 | 89.1628 | 1248.2788 | [12 empty] | 7950 | 2703.5785 | 2465.1887 | 6077155.3197
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 4 | 284533 | 232011.34 | PIPE, CAST IRON, 16 | 16 | 90103.45 | 28376 | 3.1753 | 28376 | 3.1753 | 16 | 33.0947 | 534.8917 | 168.4518 | 2695.2284 | [12 empty] | 28376 | 5574.8671 | 5039.9754 | 25401352.3724
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 6 | 29657 | 30092.75 | PIPE, CAST IRON, 18 | 18 | 34815.59 | 8985 | 3.8749 | 8985 | 3.8749 | 18 | 35.8676 | 367.2947 | 94.7892 | 1706.2063 | [12 empty] | 8985 | 3399.8665 | 3032.5718 | 9196491.6694
G376.00-Mains Distribution | 1934-01-01 | PIPE, CAST IRON, 8 | 24239 | 30500.29 | PIPE, CAST IRON, 24 | 24 | 6523.65 | 1220 | 5.3473 | 1220 | 5.3473 | 24 | 44.1864 | 186.7716 | 34.9285 | 838.284 | [12 empty] | 1220 | 1543.3632 | 1356.5916 | 1840340.7537
G376.00-Mains Distribution | 1935-01-01 | PIPE, CAST IRON, 8 | 3721 | 8166.4 | PIPE, CAST IRON, 4 | 4 | 232011.34 | 284533 | 0.81541 | 284533 | 0.81541 | 4 | 16.4573 | 434.9536 | 533.4163 | 2133.6654 | [12 empty] | 284533 | 8778.5951 | 8343.6415 | 69616354.1855
G376.00-Mains Distribution | 2014-10-31 | PIPE, PLASTIC, 10 | 45 | 22479.01 | PIPE, CAST IRON, 6 | 6 | 30092.75 | 29657 | 1.0147 | 29657 | 1.0147 | 6 | 19.2302 | 174.7424 | 172.2121 | 1033.2725 | [12 empty] | 29657 | 3311.6744 | 3136.932 | 9840342.2659
G376.00-Mains Distribution | 2017-08-30 | PIPE, PLASTIC, 10 | 1 | -2862.75 | PIPE, CAST IRON, 8 | 8 | 38666.69 | 27960 | 1.3829 | 27960 | 1.3829 | 8 | 22.0031 | 231.2429 | 167.2124 | 1337.6995 | [12 empty] | 27960 | 3679.1946 | 3447.9516 | 11888370.5625
G376.00-Mains Distribution | 2017-09-30 | PIPE, PLASTIC, 2 | 11984 | 12901278.4 | PIPE, PLASTIC, 1 | 1 | 71808.18 | 3000 | 23.9361 | 3000 | 23.9361 | 1 | 12.2979 | 1311.032 | 54.7723 | 54.7723
G376.00-Mains Distribution | 2003-01-01 | PIPE, PLASTIC, 2 | 562340 | 7453608.79 | PIPE, PLASTIC, 2 | 2 | 147496076.13 | 8888931 | 16.5932 | 8888931 | 16.5932 | 2 | 13.6844 | 49471.5707 | 2981.431 | 5962.8621 | [12 empty] | 8888931 | 40799.0912 | -8672.4795 | 75211901.0959
G376.00-Mains Distribution | 2009-12-31 | PIPE, PLASTIC, 2 | 469438 | 6107521.96 | PIPE, PLASTIC, 4 | 4 | 106786944.81 | 4014837 | 26.5981 | 4014837 | 26.5981 | 4 | 16.4573 | 53294.7222 | 2003.7058 | 8014.8233 | [12 empty] | 4014837 | 32975.5962 | -20319.126 | 412866881.423
G376.00-Mains Distribution | 2000-01-01 | PIPE, PLASTIC, 2 | 604891 | 5889475.9 | PIPE, PLASTIC, 6 | 6 | 39493513.89 | 878431 | 44.9592 | 878431 | 44.9592 | 6 | 19.2302 | 42137.8089 | 937.2465 | 5623.479 | [12 empty] | 878431 | 18023.4467 | -24114.3623 | 581502467.5635
G376.00-Mains Distribution | 2017-09-30 | PIPE, PLASTIC, 1 | 1000 | 5751.72 | PIPE, PLASTIC, 8 | 8 | 25702840.01 | 290920 | 88.3502 | 290920 | 88.3502 | 8 | 22.0031 | 47653.4473 | 539.37 | 4314.96 | [12 empty] | 290920 | 11867.8202 | -35785.6271 | 1280611105.027
G376.00-Mains Distribution | 2018-08-31 | PIPE, PLASTIC, 1 | 1000 | 49388.96 | PIPE, PLASTIC, 10 | 10 | 19616.26 | 46 | 426.4404 | 46 | 426.4404 | 10 | 24.776 | 2892.2597 | 6.7823 | 67.8233
G376.00-Mains Distribution | 2018-12-31 | PIPE, PLASTIC, 1 | 1000 | 16667.5 | PIPE, STEEL, 1 | 1 | 1792624.37 | 72839 | 24.6108 | 72839 | 24.6108 | 1 | 12.2979 | 6642.129 | 269.887 | 269.887 | [12 empty] | 72839 | 3319.0559 | -3323.0731 | 11042814.877
G376.00-Mains Distribution | 1970-01-01 | PIPE, PLASTIC, 2 | 8308 | 21005.61 | PIPE, STEEL, 1 1/2 | 1.5 | 25393.2 | 652 | 38.9466 | 652 | 38.9466 | 1.5 | 12.9912 | 994.4745 | 25.5343 | 38.3014 | [12 empty] | 652 | 331.7204 | -662.7541 | 439242.9839
G376.00-Mains Distribution | 1971-01-01 | PIPE, PLASTIC, 2 | 13524 | 33645.64 | PIPE, STEEL, 1 1/4 | 1.25 | 11352.19 | 403 | 28.1692 | 403 | 28.1692 | 1.25 | 12.6446 | 565.4929 | 20.0749 | 25.0936 | [12 empty] | 403 | 253.8378 | -311.6551 | 97128.9061
G376.00-Mains Distribution | 1972-01-01 | PIPE, PLASTIC, 2 | 11473 | 37683.53 | PIPE, STEEL, 10 | 10 | 92683.96 | 5185 | 17.8754 | 5185 | 17.8754 | 10 | 24.776 | 1287.1531 | 72.0069 | 720.0694 | [12 empty] | 5185 | 1784.0455 | 496.8924 | 246902.0976
G376.00-Mains Distribution | 1973-01-01 | PIPE, PLASTIC, 2 | 7547 | 21529.9 | PIPE, STEEL, 12 | 12 | 14656557.38 | 521083 | 28.1271 | 521083 | 28.1271 | 12 | 27.5489 | 20303.8558 | 721.8608 | 8662.3295 | [12 empty] | 521083 | 19886.4894 | -417.3664 | 174194.6906
G376.00-Mains Distribution | 1979-01-01 | PIPE, PLASTIC, 2 | 1729 | 12787.09 | PIPE, STEEL, 16 | 16 | 8006093.9 | 257321 | 31.1133 | 257321 | 31.1133 | 16 | 33.0947 | 15782.7641 | 507.2682 | 8116.2908 | [12 empty] | 257321 | 16787.9067 | 1005.1426 | 1010311.6726
G376.00-Mains Distribution | 1984-01-01 | PIPE, PLASTIC, 2 | 1523 | 10654.89 | PIPE, STEEL, 2 | 2 | 18128004.78 | 4099373 | 4.4221 | 4099373 | 4.4221 | 2 | 13.6844 | 8953.4681 | 2024.6908 | 4049.3817 | [12 empty] | 4099373 | 27706.6769 | 18753.2088 | 351682840.6542
G376.00-Mains Distribution | 1989-01-01 | PIPE, PLASTIC, 2 | 4310 | 54808.19 | PIPE, STEEL, 2 1/2 | 2.5 | 9087.67 | 480 | 18.9326 | 480 | 18.9326 | 2.5 | 14.3776 | 414.7935 | 21.9089 | 54.7723 | [12 empty] | 480 | 314.998 | -99.7955 | 9959.1425
G376.00-Mains Distribution | 1990-01-01 | PIPE, PLASTIC, 2 | 70924 | 443940.21 | PIPE, STEEL, 20 | 20 | 4002792.28 | 154201 | 25.9583 | 154201 | 25.9583 | 20 | 38.6405 | 10193.4092 | 392.6844 | 7853.687 | [12 empty] | 154201 | 15173.5384 | 4980.1292 | 24801686.7501
G376.00-Mains Distribution | 1991-01-01 | PIPE, PLASTIC, 2 | 153725 | 970335.78 | PIPE, STEEL, 22 | 22 | 56616.99 | 3497 | 16.1902 | 3497 | 16.1902 | 22 | 41.4135 | 957.4122 | 59.1354 | 1300.9796 | [12 empty] | 3497 | 2449.0027 | 1491.5905 | 2224842.1226
G376.00-Mains Distribution | 1992-01-01 | PIPE, PLASTIC, 2 | 137410 | 955516.59 | PIPE, STEEL, 24 | 24 | 122746.1 | 871 | 140.9255 | 871 | 140.9255 | 24 | 44.1864 | 4159.0929 | 29.5127 | 708.305 | [12 empty] | 871 | 1304.0591 | -2855.0338 | 8151217.9401
G376.00-Mains Distribution | 1993-01-01 | PIPE, PLASTIC, 2 | 195752 | 1608777.01 | PIPE, STEEL, 4 | 4 | 38014082.75 | 4721852 | 8.0507 | 4721852 | 8.0507 | 4 | 16.4573 | 17493.9681 | 2172.9823 | 8691.9291 | [12 empty] | 4721852 | 35761.4305 | 18267.4624 | 333700180.7693
G376.00-Mains Distribution | 1994-01-01 | PIPE, PLASTIC, 2 | 280901 | 2405201.76 | PIPE, STEEL, 6 | 6 | 11373827.64 | 825294 | 13.7815 | 825294 | 13.7815 | 6 | 19.2302 | 12519.9415 | 908.4569 | 5450.7416 | [12 empty] | 825294 | 17469.8173 | 4949.8758 | 24501270.4154
G376.00-Mains Distribution | 1995-01-01 | PIPE, PLASTIC, 2 | 494747 | 4809115.54 | PIPE, STEEL, 8 | 8 | 30776488.82 | 1967573 | 15.6419 | 1967573 | 15.6419 | 8 | 22.0031 | 21940.8599 | 1402.702 | 11221.6163 | [12 empty] | 1967573 | 30863.8143 | 8922.9544 | 79619115.0411
G376.00-Mains Distribution | 1996-01-01 | PIPE, PLASTIC, 2 | 221742 | 2036044.42 | PIPE, WROUGHT IRON, 1 1/2 | 1.5 | 906.81 | 2276 | 0.39842 | 2276 | 0.39842 | 1.5 | 12.9912 | 19.0077 | 47.7074 | 71.5612 | [12 empty] | 2276 | 619.7756 | 600.7679 | 360922.0404
G376.00-Mains Distribution | 1997-01-01 | PIPE, PLASTIC, 2 | 297610 | 2445432 | PIPE, WROUGHT IRON, 1 1/4 | 1.25 | 3455.93 | 8636 | 0.40018 | 8636 | 0.40018 | 1.25 | 12.6446 | 37.1885 | 92.9301 | 116.1626 | [12 empty] | 8636 | 1175.0599 | 1137.8714 | 1294751.3723
G376.00-Mains Distribution | 1998-01-01 | PIPE, PLASTIC, 2 | 371731 | 3874483.1 | PIPE, WROUGHT IRON, 10 | 10 | 49167.84 | 26553 | 1.8517 | 26553 | 1.8517 | 10 | 24.776 | 301.7341 | 162.9509 | 1629.5091 | [12 empty] | 26553 | 4037.2752 | 3735.5411 | 13954267.2934
G376.00-Mains Distribution | 1999-01-01 | PIPE, PLASTIC, 2 | 257632 | 3716179.79 | PIPE, WROUGHT IRON, 12 | 12 | 14816.9 | 5786 | 2.5608 | 5786 | 2.5608 | 12 | 27.5489 | 194.7907 | 76.0658 | 912.7891 | [12 empty] | 5786 | 2095.53 | 1900.7394 | 3612810.0838
G376.00-Mains Distribution | 2000-01-01 | PIPE, PLASTIC, 2 | 604891 | 5889475.9 | PIPE, WROUGHT IRON, 16 | 16 | 46942.53 | 14045 | 3.3423 | 14045 | 3.3423 | 16 | 33.0947 | 396.1007 | 118.5116 | 1896.1856 | [12 empty] | 14045 | 3922.1103 | 3526.0096 | 12432743.6142
G376.00-Mains Distribution | 2001-01-01 | PIPE, PLASTIC, 2 | 663112 | 5136296.22 | PIPE, WROUGHT IRON, 2 | 2 | 1268.21 | 3617 | 0.35062 | 3617 | 0.35062 | 2 | 13.6844 | 21.0871 | 60.1415 | 120.283 | [12 empty] | 3617 | 823.0003 | 801.9132 | 643064.7223
G376.00-Mains Distribution | 2002-01-01 | PIPE, PLASTIC, 2 | 6443 | 456528.7 | PIPE, WROUGHT IRON, 3 | 3 | 1348.82 | 2388 | 0.56483 | 2388 | 0.56483 | 3 | 15.0709 | 27.6018 | 48.8672 | 146.6015 | [12 empty] | 2388 | 736.4698 | 708.8681 | 502493.9142
G376.00-Mains Distribution | 2002-01-01 | PIPE, PLASTIC, 2 | 299094 | 4525519.55 | PIPE, WROUGHT IRON, 4 | 4 | 43896.76 | 39947 | 1.0989 | 39947 | 1.0989 | 4 | 16.4573 | 219.6294 | 199.8675 | 799.4698 | [12 empty] | 39947 | 3289.2795 | 3069.6502 | 9422752.1858
G376.00-Mains Distribution | 2002-12-31 | PIPE, PLASTIC, 2 | 29621 | 108694.11 | PIPE, WROUGHT IRON, 8 | 8 | 120947.42 | 85164 | 1.4202 | 85164 | 1.4202 | 8 | 22.0031 | 414.4466 | 291.8287 | 2334.6297 | [12 empty] | 85164 | 6421.1408 | 6006.6942 | 36080375.6106
G376.00-Mains Distribution | 2003-01-01 | PIPE, PLASTIC, 2 | 562340 | 7453608.79
G376.00-Mains Distribution | 2003-12-31 | PIPE, PLASTIC, 2 | 1386 | 4985.45
G376.00-Mains Distribution | 2004-01-01 | PIPE, PLASTIC, 2 | 596646 | 2829416.05 | [26 empty] | 20021.9937 | 3444384491.5428
G376.00-Mains Distribution | 2005-01-01 | PIPE, PLASTIC, 2 | 142586 | 3320855.21
G376.00-Mains Distribution | 2006-01-01 | PIPE, PLASTIC, 2 | 136161 | 4536463.17
G376.00-Mains Distribution | 2007-01-01 | PIPE, PLASTIC, 2 | 76420 | 3537740.92
G376.00-Mains Distribution | 2008-08-31 | PIPE, PLASTIC, 2 | 43039 | 133069.89
G376.00-Mains Distribution | 2009-06-29 | PIPE, PLASTIC, 2 | 1639 | 14856.37 | Weighted Linear Regression Statistics
G376.00-Mains Distribution | 2009-08-31 | PIPE, PLASTIC, 2 | 17548 | 594451.16 |  |  | Standard
G376.00-Mains Distribution | 2009-09-30 | PIPE, PLASTIC, 2 | 12751 | 131497.84 |  | Estimate | Error | LINEST Array
G376.00-Mains Distribution | 2009-10-31 | PIPE, PLASTIC, 2 | 25223 | 241988.5 |  |  |  | 1.3865 | 10.9115
G376.00-Mains Distribution | 2009-11-01 | PIPE, PLASTIC, 2 | 135996 | 3284624.84 | Size Coefficient ($ per Foot) | 1.3865 | 0.65556 | 0.65556 | 3.1833
G376.00-Mains Distribution | 2009-11-30 | PIPE, PLASTIC, 2 | 10515 | 18507.5 | Zero Intercept ($ per Foot) | 10.9115 | 3.1833 | 0.69179 | 9792.5882
G376.00-Mains Distribution | 2009-12-31 | PIPE, PLASTIC, 2 | 466687 | 6071520.25 |  |  |  | 40.4022 | 36
G376.00-Mains Distribution | 2010-03-31 | PIPE, PLASTIC, 2 | 62058 | 255434.21 | R-Square | 69.18% |  | 7748722800.4486 | 3452212206.5093
G376.00-Mains Distribution | 2010-04-01 | PIPE, PLASTIC, 2 | 40 | 4177.14
G376.00-Mains Distribution | 2010-05-31 | PIPE, PLASTIC, 2 | 713 | 3902.51
G376.00-Mains Distribution | 2011-03-01 | PIPE, PLASTIC, 2 | 5640 | 115539.04 | Plant Classification
G376.00-Mains Distribution | 2011-04-01 | PIPE, PLASTIC, 2 | 60 | 844.01
G376.00-Mains Distribution | 2011-05-01 | PIPE, PLASTIC, 2 | 500 | 5485.2 | Total All Distribution Mains |  | 27360535 | [16 empty] | Low and Medium
G376.00-Mains Distribution | 2011-05-31 | PIPE, PLASTIC, 2 | 146311 | 4950132.59 | [12 empty] | Total Distribution Mains |  |  | High Pressure Mains |  |  |  | Pressure Mains
G376.00-Mains Distribution | 2011-06-01 | PIPE, PLASTIC, 2 | 310 | 10226.33 | Zero Intercept |  | 10.9115 | [8 empty] | Nominal Size | Feet | Installed | Unit |  |  | Feet | Installed |  | Feet | Installed
G376.00-Mains Distribution | 2011-07-01 | PIPE, PLASTIC, 2 | 1690 | 41722.63 | [11 empty] | (in inches) | of Pipe | Costs | Costs |  |  | of Pipe | Costs |  | of Pipe | Costs
G376.00-Mains Distribution | 2011-08-01 | PIPE, PLASTIC, 2 | 3177 | 2135.72 | Zero Intercept Cost |  | 298544295.8909
G376.00-Mains Distribution | 2011-10-01 | PIPE, PLASTIC, 2 | 983 | 20923.7 | [15 empty] | Category II | 1" | 0
G376.00-Mains Distribution | 2011-11-30 | PIPE, PLASTIC, 2 | 6000 | 53689.64 | Total Cost of Sample |  | 447519596.17 | [12 empty] | Category III | 1" | 2806.11
G376.00-Mains Distribution | 2012-04-01 | PIPE, PLASTIC, 2 | 5674 | 148135.5 | [11 empty] | 1 | 75839 | 1864432.55 | 24.5841 |  |  | 2806.11 | 68986 |  | 73032.89 | 1795446.55
G376.00-Mains Distribution | 2012-05-01 | PIPE, PLASTIC, 2 | 500 | 6956.05 | Customer Percentage of Total |  | 66.71%
G376.00-Mains Distribution | 2012-06-01 | PIPE, PLASTIC, 2 | 171911 | 5729042.23 | [11 empty] | 1.25 | 9039 | 14808.12 | 1.6382 |  |  | 0 | 0 |  | 9039 | 14808.12
G376.00-Mains Distribution | 2012-08-01 | PIPE, PLASTIC, 2 | 3397 | 379751.04
G376.00-Mains Distribution | 2012-11-01 | PIPE, PLASTIC, 2 | 100 | 57207.23 | [11 empty] | 1.5 | 2928 | 26300.01 | 8.9822 |  |  | 0 | 0 |  | 2928 | 26300.01
G376.00-Mains Distribution | 2012-12-31 | PIPE, PLASTIC, 2 | 1100 | 26005.94
G376.00-Mains Distribution | 2013-05-01 | PIPE, PLASTIC, 2 | 6130 | 133471.14 | [15 empty] | Category II | 2" | 0
G376.00-Mains Distribution | 2013-07-31 | PIPE, PLASTIC, 2 | 3000 | 221986.36 | [15 empty] | Category III | 2" | 63403.89
G376.00-Mains Distribution | 2013-09-01 | PIPE, PLASTIC, 2 | 500 | 8610.99 | [11 empty] | 2 | 12991921 | 165625349.12 | 12.7483 |  |  | 63403.89 | 808294 |  | 12928517.11 | 164817055.12
G376.00-Mains Distribution | 2013-11-30 | PIPE, PLASTIC, 2 | 960 | 21773.38
G376.00-Mains Distribution | 2014-01-29 | PIPE, PLASTIC, 2 | 1023 | 86013.01 | [11 empty] | 2.5 | 480 | 9087.67 | 18.9326 |  |  | 0 | 0 |  | 480 | 9087.67
G376.00-Mains Distribution | 2014-05-31 | PIPE, PLASTIC, 2 | 1000 | 29570.81
G376.00-Mains Distribution | 2014-06-01 | PIPE, PLASTIC, 2 | 540 | 17625.1 | [11 empty] | 3 | 2388 | 1348.82 | 0.56483 | Category II | 3" | 104.2 | 59 |  | 2283.8 | 1289.82
G376.00-Mains Distribution | 2014-07-01 | PIPE, PLASTIC, 2 | 3860 | -41791.26
G376.00-Mains Distribution | 2014-07-31 | PIPE, PLASTIC, 2 | 3660 | 58143.73 | [15 empty] | Category II | 4" | 0
G376.00-Mains Distribution | 2014-09-30 | PIPE, PLASTIC, 2 | 2140 | 46160.47 | [15 empty] | Category III | 4" | 430843.54
G376.00-Mains Distribution | 2014-12-31 | PIPE, PLASTIC, 2 | 800 | 188.14 | [11 empty] | 4 | 9061169 | 145076935.66 | 16.0108 |  |  | 430843.54 | 6898167 |  | 8630325.46 | 138178768.66
G376.00-Mains Distribution | 2015-01-31 | PIPE, PLASTIC, 2 | 700 | 3826.8
G376.00-Mains Distribution | 2015-04-30 | PIPE, PLASTIC, 2 | 33600 | 250920.91 | [15 empty] | Category II | 6" | 0
G376.00-Mains Distribution | 2015-06-30 | PIPE, PLASTIC, 2 | 17740 | 295612.58 | [15 empty] | Category III | 6" | 150219.39
G376.00-Mains Distribution | 2015-11-30 | PIPE, PLASTIC, 2 | 180 | 47154.11 | [11 empty] | 6 | 1733382 | 50897434.28 | 29.3631 |  |  | 150219.39 | 4410904 |  | 1583162.61 | 46486530.28
G376.00-Mains Distribution | 2016-05-31 | PIPE, PLASTIC, 2 | 1500 | 37229.51
G376.00-Mains Distribution | 2016-06-01 | PIPE, PLASTIC, 2 | 28480 | 507087.48 | [15 empty] | Category II | 8" | 0
G376.00-Mains Distribution | 2017-05-31 | PIPE, PLASTIC, 2 | 2300 | 26801.74 | [15 empty] | Category III | 8" | 554720.2
G376.00-Mains Distribution | 2017-07-01 | PIPE, PLASTIC, 2 | 1880 | 89248.86 | [11 empty] | 8 | 2371617 | 56638942.94 | 23.882 |  |  | 554720.2 | 13247824 |  | 1816896.8 | 43391118.94
G376.00-Mains Distribution | 2017-08-01 | PIPE, PLASTIC, 2 | 1 | 226906.8
G376.00-Mains Distribution | 2017-09-30 | PIPE, PLASTIC, 2 | 33084 | 13332841.76 | [11 empty] | 10 | 77331 | 239126.58 | 3.0922 | Category II | 10" | 268.41 | 830 |  | 77062.59 | 238296.58
G376.00-Mains Distribution | 2018-02-28 | PIPE, PLASTIC, 2 | 80 | 9166.58
G376.00-Mains Distribution | 2018-06-30 | PIPE, PLASTIC, 2 | 26365 | 519631.97 | [15 empty] | Category II | 12" | 0
G376.00-Mains Distribution | 2018-08-31 | PIPE, PLASTIC, 2 | 500 | 72319.5 | [15 empty] | Category III | 12" | 351421.24
G376.00-Mains Distribution | 2018-10-31 | PIPE, PLASTIC, 2 | 300 | 337113.02 | [11 empty] | 12 | 557975 | 14737940.43 | 26.4133 |  |  | 351421.24 | 9282182 |  | 206553.76 | 5455758.43
G376.00-Mains Distribution | 2019-01-31 | PIPE, PLASTIC, 2 | 2279 | 185422.32
G376.00-Mains Distribution | 2019-03-31 | PIPE, PLASTIC, 2 | 2500 | 16716.08 | [11 empty] | 14 | 7950 | 21255.5 | 2.6736 |  |  | 0 | 0 |  | 7950 | 21255.5
G376.00-Mains Distribution | 2019-10-31 | PIPE, PLASTIC, 2 | 280 | 163047.88
G376.00-Mains Distribution | 1989-01-01 | PIPE, PLASTIC, 4 | 3706 | 45647.56 | [11 empty] | 16 | 299742 | 8143139.88 | 27.1672 | Category II | 16" | 191692.44 | 5207740 |  | 108049.56 | 2935399.88
G376.00-Mains Distribution | 1990-01-01 | PIPE, PLASTIC, 4 | 36116 | 317163.96
G376.00-Mains Distribution | 1991-01-01 | PIPE, PLASTIC, 4 | 126833 | 1501770.21 | [11 empty] | 18 | 8985 | 34815.59 | 3.8749 |  |  | 0 | 0 |  | 8985 | 34815.59
G376.00-Mains Distribution | 1992-01-01 | PIPE, PLASTIC, 4 | 70858 | 1092760.18
G376.00-Mains Distribution | 1993-01-01 | PIPE, PLASTIC, 4 | 175149 | 3494888.23 | [15 empty] | Category II | 20" | 0
G376.00-Mains Distribution | 1994-01-01 | PIPE, PLASTIC, 4 | 153839 | 2424758.86 | [15 empty] | Category III | 20" | 72502.05
G376.00-Mains Distribution | 1995-01-01 | PIPE, PLASTIC, 4 | 283642 | 3975501.96 | [11 empty] | 20 | 154201 | 4002792.28 | 25.9583 |  |  | 72502.05 | 1882028 |  | 81698.95 | 2120764.28
G376.00-Mains Distribution | 1996-01-01 | PIPE, PLASTIC, 4 | 169209 | 2780321.94
G376.00-Mains Distribution | 1997-01-01 | PIPE, PLASTIC, 4 | 155079 | 2178927.47 | [11 empty] | 22 | 3497 | 56616.99 | 16.1902 | Category II | 22" | 3497.32 | 56622 |  | -0.32 | -5.01
G376.00-Mains Distribution | 1998-01-01 | PIPE, PLASTIC, 4 | 185273 | 2675213.5
G376.00-Mains Distribution | 1999-01-01 | PIPE, PLASTIC, 4 | 105225 | 4964713.69 | [11 empty] | 24 | 2091 | 129269.75 | 61.822 | Category II | 24" | 942 | 58236 |  | 1149 | 71033.75
G376.00-Mains Distribution | 2000-01-01 | PIPE, PLASTIC, 4 | 274145 | 5193901.06
G376.00-Mains Distribution | 2001-01-01 | PIPE, PLASTIC, 4 | 199102 | 3741297.84 | [11 empty] | Total All Mains | 27360535 | 447519596.17 |  |  |  | 1822420.79 | 41921872 |  | 25538114.21 | 405597724.17
G376.00-Mains Distribution | 2002-01-01 | PIPE, PLASTIC, 4 | 147969 | 2774281.71
G376.00-Mains Distribution | 2002-12-31 | PIPE, PLASTIC, 4 | 4604 | 131012.41
G376.00-Mains Distribution | 2003-01-01 | PIPE, PLASTIC, 4 | 202588 | 7509118.02 | [11 empty] | Zero Intercept |  | 10.9115 |  |  |  |  | 10.9115 |  |  | 10.9115
G376.00-Mains Distribution | 2003-06-15 | PIPE, PLASTIC, 4 | 3800 | 4443.6
G376.00-Mains Distribution | 2004-01-01 | PIPE, PLASTIC, 4 | 325541 | 5540199.5 | [11 empty] | Customer-Related Costs* |  | 298544295.8909 |  |  |  |  | 19885332.3434 |  |  | 278658963.5475
G376.00-Mains Distribution | 2005-01-01 | PIPE, PLASTIC, 4 | 87237 | 4508492.87 | [11 empty] | Portion of Total |  | 66.71% |  |  |  |  | 4.443% |  |  | 62.27%
G376.00-Mains Distribution | 2006-01-01 | PIPE, PLASTIC, 4 | 35759 | 1733643.81
G376.00-Mains Distribution | 2007-01-01 | PIPE, PLASTIC, 4 | 48891 | 4472436.82 | [11 empty] | Demand-Related Costs** |  | 148975300.2791 |  |  |  |  | 22036539.6566 |  |  | 126938760.6225
G376.00-Mains Distribution | 2007-10-01 | PIPE, PLASTIC, 4 | 120 | 4839.11 | [11 empty] | Portion of Total |  | 33.29% |  |  |  |  | 4.924% |  |  | 28.36%
G376.00-Mains Distribution | 2008-08-31 | PIPE, PLASTIC, 4 | 12815 | 76496.87
G376.00-Mains Distribution | 2009-01-05 | PIPE, PLASTIC, 4 | 52 | 10771.59
G376.00-Mains Distribution | 2009-06-29 | PIPE, PLASTIC, 4 | 270 | 5254.62 | [11 empty] | Notes: | [6 empty] | 9.368% |  |  | 90.63% | 100%
G376.00-Mains Distribution | 2009-07-16 | PIPE, PLASTIC, 4 | 11500 | 239348.41
G376.00-Mains Distribution | 2009-07-31 | PIPE, PLASTIC, 4 | 18020 | 716443.99 | [11 empty] | * | Customer-Related Costs calculated by applying the zero intercept unit
G376.00-Mains Distribution | 2009-08-31 | PIPE, PLASTIC, 4 | 13125 | 184989.25 | [12 empty] | cost of $7.7583297 to total feet of pipe. | [5 empty] | 9.368%
G376.00-Mains Distribution | 2009-09-30 | PIPE, PLASTIC, 4 | 11011 | 174208.39
G376.00-Mains Distribution | 2009-10-31 | PIPE, PLASTIC, 4 | 6113 | 133317.12 |  |  |  | Net Cost | Quantity | Unit Cost | [5 empty] | ** | Demand-Related Costs equal Total All Distribution Mains less
G376.00-Mains Distribution | 2009-11-30 | PIPE, PLASTIC, 4 | 12673 | 173480.61 |  |  | Pipe Size | of Plant | (Feet) | ($ per Foot) | [6 empty] | Customer-Related Costs
G376.00-Mains Distribution | 2009-12-31 | PIPE, PLASTIC, 4 | 479083 | 8841392.1
G376.00-Mains Distribution | 2010-03-31 | PIPE, PLASTIC, 4 | 17934 | 156283.81
G376.00-Mains Distribution | 2010-04-01 | PIPE, PLASTIC, 4 | 40 | 14712 |  |  | 1 | 1864432.55 | 75839 | 24.5841
G376.00-Mains Distribution | 2011-03-01 | PIPE, PLASTIC, 4 | 14589 | 568963.73 |  |  | 1.25 | 14808.12 | 9039 | 1.6382
G376.00-Mains Distribution | 2011-03-01 | PIPE, PLASTIC, 4 | 780 | 877364.64 |  |  | 1.5 | 26300.01 | 2928 | 8.9822
G376.00-Mains Distribution | 2011-04-01 | PIPE, PLASTIC, 4 | 6942 | 322543.48 |  |  | 2 | 165625349.12 | 12991921 | 12.7483
G376.00-Mains Distribution | 2011-05-01 | PIPE, PLASTIC, 4 | 480 | 17552.63 |  |  | 2.5 | 9087.67 | 480 | 18.9326
G376.00-Mains Distribution | 2011-05-31 | PIPE, PLASTIC, 4 | 47081 | 1796214.81 |  |  | 3 | 1348.82 | 2388 | 0.56483
G376.00-Mains Distribution | 2011-06-01 | PIPE, PLASTIC, 4 | 8820 | 483726.98 |  |  | 4 | 145076935.66 | 9061169 | 16.0108
G376.00-Mains Distribution | 2011-07-01 | PIPE, PLASTIC, 4 | 2116 | 103433.62 |  |  | 6 | 50897434.28 | 1733382 | 29.3631
G376.00-Mains Distribution | 2011-08-01 | PIPE, PLASTIC, 4 | 2613 | 210083.95 |  |  | 8 | 56638942.94 | 2371617 | 23.882
G376.00-Mains Distribution | 2011-10-01 | PIPE, PLASTIC, 4 | 3928 | 179514.88 |  |  | 10 | 239126.58 | 77331 | 3.0922
G376.00-Mains Distribution | 2012-02-01 | PIPE, PLASTIC, 4 | 30 | 5288.96 |  |  | 12 | 14737940.43 | 557975 | 26.4133
G376.00-Mains Distribution | 2012-03-01 | PIPE, PLASTIC, 4 | 3530 | 292457.21 |  |  | 14 | 21255.5 | 7950 | 2.6736
G376.00-Mains Distribution | 2012-04-01 | PIPE, PLASTIC, 4 | 8240 | 617663.33 |  |  | 16 | 8143139.88 | 299742 | 27.1672
G376.00-Mains Distribution | 2012-06-01 | PIPE, PLASTIC, 4 | 53623 | 3461928.19 |  |  | 18 | 34815.59 | 8985 | 3.8749
G376.00-Mains Distribution | 2012-08-01 | PIPE, PLASTIC, 4 | 500 | 17195.85 |  |  | 20 | 4002792.28 | 154201 | 25.9583
G376.00-Mains Distribution | 2012-12-31 | PIPE, PLASTIC, 4 | 15615 | 782045.6 |  |  | 22 | 56616.99 | 3497 | 16.1902
G376.00-Mains Distribution | 2013-01-13 | PIPE, PLASTIC, 4 | 520 | 2809.2 |  |  | 24 | 129269.75 | 2091 | 61.822
G376.00-Mains Distribution | 2013-05-01 | PIPE, PLASTIC, 4 | 3330 | 118499.03
G376.00-Mains Distribution | 2013-06-30 | PIPE, PLASTIC, 4 | 520 | 8086.83 |  | Total |  | 447519596.17 | 27360535
G376.00-Mains Distribution | 2013-07-31 | PIPE, PLASTIC, 4 | 840 | 212534.03
G376.00-Mains Distribution | 2013-11-30 | PIPE, PLASTIC, 4 | 320 | 5982.35
G376.00-Mains Distribution | 2014-03-31 | PIPE, PLASTIC, 4 | 799 | 42989.46
G376.00-Mains Distribution | 2014-05-31 | PIPE, PLASTIC, 4 | 6760 | 19976.4
G376.00-Mains Distribution | 2014-06-01 | PIPE, PLASTIC, 4 | 8520 | 525662.12 | Note: | The unit costs included in Account 376 -- Mains reflect current installed costs
G376.00-Mains Distribution | 2014-07-31 | PIPE, PLASTIC, 4 | 3010 | 210476.4 |  | determined by applying the applicable Handy-Whitman index to LG&E's actual
G376.00-Mains Distribution | 2014-10-31 | PIPE, PLASTIC, 4 | 1000 | 70911.09 |  | costs recorded during the test year.
G376.00-Mains Distribution | 2014-11-30 | PIPE, PLASTIC, 4 | 1500 | 69562.61
G376.00-Mains Distribution | 2014-12-31 | PIPE, PLASTIC, 4 | 376 | 59.6
G376.00-Mains Distribution | 2015-02-28 | PIPE, PLASTIC, 4 | 1920 | 98522.99
G376.00-Mains Distribution | 2015-04-30 | PIPE, PLASTIC, 4 | 13380 | 37621
G376.00-Mains Distribution | 2015-06-30 | PIPE, PLASTIC, 4 | 44320 | 1913275.67
G376.00-Mains Distribution | 2015-08-31 | PIPE, PLASTIC, 4 | 25468 | 1717604.66
G376.00-Mains Distribution | 2015-11-30 | PIPE, PLASTIC, 4 | 4160 | 84371.41
G376.00-Mains Distribution | 2016-04-30 | PIPE, PLASTIC, 4 | 38520 | 1513882.87
G376.00-Mains Distribution | 2016-08-31 | PIPE, PLASTIC, 4 | 500 | 12797.76
G376.00-Mains Distribution | 2016-09-21 | PIPE, PLASTIC, 4 | 750 | 65426.01
G376.00-Mains Distribution | 2016-12-31 | PIPE, PLASTIC, 4 | 3780 | 365866.31
G376.00-Mains Distribution | 2017-01-31 | PIPE, PLASTIC, 4 | 1000 | 55865.24
G376.00-Mains Distribution | 2017-05-31 | PIPE, PLASTIC, 4 | 21422 | 707606.26
G376.00-Mains Distribution | 2017-07-01 | PIPE, PLASTIC, 4 | 320 | 41553.19
G376.00-Mains Distribution | 2017-09-30 | PIPE, PLASTIC, 4 | 29940 | 1718043.02
G376.00-Mains Distribution | 2017-11-30 | PIPE, PLASTIC, 4 | 2320 | 78685.24
G376.00-Mains Distribution | 2017-12-31 | PIPE, PLASTIC, 4 | 18200 | 804749.89
G376.00-Mains Distribution | 2018-02-28 | PIPE, PLASTIC, 4 | 920 | 345277.09
G376.00-Mains Distribution | 2018-06-30 | PIPE, PLASTIC, 4 | 8900 | 229870.55
G376.00-Mains Distribution | 2018-08-31 | PIPE, PLASTIC, 4 | 6500 | 544337.46
G376.00-Mains Distribution | 2018-11-30 | PIPE, PLASTIC, 4 | 1000 | 68528.82
G376.00-Mains Distribution | 2018-12-31 | PIPE, PLASTIC, 4 | 1355 | 206182.41
G376.00-Mains Distribution | 2019-03-31 | PIPE, PLASTIC, 4 | 7613 | 487362
G376.00-Mains Distribution | 2019-04-01 | PIPE, PLASTIC, 4 | 1020 | 57273.34
G376.00-Mains Distribution | 2019-10-31 | PIPE, PLASTIC, 4 | 1275 | 652191.53
G376.00-Mains Distribution | 2019-10-31 | PIPE, PLASTIC, 4 | 3100 | 778817.64
G376.00-Mains Distribution | 1991-01-01 | PIPE, PLASTIC, 6 | 7240 | 144645.45
G376.00-Mains Distribution | 1992-01-01 | PIPE, PLASTIC, 6 | 27571 | 603122.51
G376.00-Mains Distribution | 1993-01-01 | PIPE, PLASTIC, 6 | 34187 | 1026902.54
G376.00-Mains Distribution | 1994-01-01 | PIPE, PLASTIC, 6 | 59789 | 1235738.73
G376.00-Mains Distribution | 1995-01-01 | PIPE, PLASTIC, 6 | 67504 | 1568604.31
G376.00-Mains Distribution | 1996-01-01 | PIPE, PLASTIC, 6 | 46422 | 1239495.97
G376.00-Mains Distribution | 1997-01-01 | PIPE, PLASTIC, 6 | 15293 | 467930.29
G376.00-Mains Distribution | 1998-01-01 | PIPE, PLASTIC, 6 | 32948 | 997859.96
G376.00-Mains Distribution | 1999-01-01 | PIPE, PLASTIC, 6 | 4019 | 198876.37
G376.00-Mains Distribution | 2000-01-01 | PIPE, PLASTIC, 6 | 8314 | 356864.52
G376.00-Mains Distribution | 2001-01-01 | PIPE, PLASTIC, 6 | 1848 | 45105.62
G376.00-Mains Distribution | 2002-01-01 | PIPE, PLASTIC, 6 | 42547 | 1131110.47
G376.00-Mains Distribution | 2003-01-01 | PIPE, PLASTIC, 6 | 24714 | 1328780.54
G376.00-Mains Distribution | 2004-01-01 | PIPE, PLASTIC, 6 | 59360 | 1666955.04
G376.00-Mains Distribution | 2005-01-01 | PIPE, PLASTIC, 6 | 14492 | 742592.7
G376.00-Mains Distribution | 2006-01-01 | PIPE, PLASTIC, 6 | 21785 | 799699.07
G376.00-Mains Distribution | 2008-08-31 | PIPE, PLASTIC, 6 | 2360 | 9301.86
G376.00-Mains Distribution | 2009-06-29 | PIPE, PLASTIC, 6 | 176 | 6490.74
G376.00-Mains Distribution | 2009-09-30 | PIPE, PLASTIC, 6 | 3824 | 36670
G376.00-Mains Distribution | 2009-10-31 | PIPE, PLASTIC, 6 | 7768 | 213748.38
G376.00-Mains Distribution | 2009-11-01 | PIPE, PLASTIC, 6 | 3604 | 157674.59
G376.00-Mains Distribution | 2009-12-31 | PIPE, PLASTIC, 6 | 86239 | 2581392.11
G376.00-Mains Distribution | 2011-03-01 | PIPE, PLASTIC, 6 | 24926 | 1556803.8
G376.00-Mains Distribution | 2011-04-01 | PIPE, PLASTIC, 6 | 11750 | 573593.26
G376.00-Mains Distribution | 2011-05-01 | PIPE, PLASTIC, 6 | 4880 | 339673.74
G376.00-Mains Distribution | 2011-06-01 | PIPE, PLASTIC, 6 | 1920 | 134197.05
G376.00-Mains Distribution | 2011-07-01 | PIPE, PLASTIC, 6 | 3940 | 374131.43
G376.00-Mains Distribution | 2011-08-01 | PIPE, PLASTIC, 6 | 1880 | 145809.23
G376.00-Mains Distribution | 2012-02-01 | PIPE, PLASTIC, 6 | 280 | 3290.35
G376.00-Mains Distribution | 2012-06-01 | PIPE, PLASTIC, 6 | 20022 | 1263764.6
G376.00-Mains Distribution | 2012-08-01 | PIPE, PLASTIC, 6 | 4151 | 284693.06
G376.00-Mains Distribution | 2012-10-31 | PIPE, PLASTIC, 6 | 240 | 5416.61
G376.00-Mains Distribution | 2012-12-31 | PIPE, PLASTIC, 6 | 3640 | 184601.13
G376.00-Mains Distribution | 2013-01-13 | PIPE, PLASTIC, 6 | 4440 | 45822.78
G376.00-Mains Distribution | 2013-05-01 | PIPE, PLASTIC, 6 | 19510 | 992747.93
G376.00-Mains Distribution | 2013-06-30 | PIPE, PLASTIC, 6 | 680 | 26452.5
G376.00-Mains Distribution | 2014-03-31 | PIPE, PLASTIC, 6 | 1374 | 131410.19
G376.00-Mains Distribution | 2014-06-01 | PIPE, PLASTIC, 6 | 4880 | 17293.21
G376.00-Mains Distribution | 2014-10-31 | PIPE, PLASTIC, 6 | 840 | 27542.04
G376.00-Mains Distribution | 2014-12-31 | PIPE, PLASTIC, 6 | 30 | 38.47
G376.00-Mains Distribution | 2015-01-31 | PIPE, PLASTIC, 6 | 1840 | 66203.69
G376.00-Mains Distribution | 2015-06-30 | PIPE, PLASTIC, 6 | 15960 | 1626264.72
G376.00-Mains Distribution | 2015-11-30 | PIPE, PLASTIC, 6 | 80 | 14006.41
G376.00-Mains Distribution | 2016-07-01 | PIPE, PLASTIC, 6 | 2280 | 144342.18
G376.00-Mains Distribution | 2016-12-31 | PIPE, PLASTIC, 6 | 3520 | 123423.75
G376.00-Mains Distribution | 2017-07-01 | PIPE, PLASTIC, 6 | 480 | 130435.63
G376.00-Mains Distribution | 2017-09-30 | PIPE, PLASTIC, 6 | 20960 | 2491897.2
G376.00-Mains Distribution | 2018-03-31 | PIPE, PLASTIC, 6 | 2240 | 75135.07
G376.00-Mains Distribution | 2018-06-30 | PIPE, PLASTIC, 6 | 5486 | 506083.87
G376.00-Mains Distribution | 2018-12-31 | PIPE, PLASTIC, 6 | 7720 | 378055.55
G376.00-Mains Distribution | 2019-04-01 | PIPE, PLASTIC, 6 | 123 | 64917.53
G376.00-Mains Distribution | 2019-05-30 | PIPE, PLASTIC, 6 | 1082 | 309911.89
G376.00-Mains Distribution | 1996-01-01 | PIPE, PLASTIC, 8 | 2708 | 98412.76
G376.00-Mains Distribution | 1997-01-01 | PIPE, PLASTIC, 8 | 17214 | 662728.77
G376.00-Mains Distribution | 1998-01-01 | PIPE, PLASTIC, 8 | 3452 | 120008.55
G376.00-Mains Distribution | 1999-01-01 | PIPE, PLASTIC, 8 | 2289 | 114455.49
G376.00-Mains Distribution | 2000-01-01 | PIPE, PLASTIC, 8 | 239 | 186916.83
G376.00-Mains Distribution | 2001-01-01 | PIPE, PLASTIC, 8 | 6354 | 225604.87
G376.00-Mains Distribution | 2002-01-01 | PIPE, PLASTIC, 8 | 5193 | 268869.76
G376.00-Mains Distribution | 2002-12-31 | PIPE, PLASTIC, 8 | 1000 | 14789.02
G376.00-Mains Distribution | 2003-01-01 | PIPE, PLASTIC, 8 | 29955 | 1690212.1
G376.00-Mains Distribution | 2004-01-01 | PIPE, PLASTIC, 8 | 24017 | 318531.8
G376.00-Mains Distribution | 2005-01-01 | PIPE, PLASTIC, 8 | 11400 | 1453424.19
G376.00-Mains Distribution | 2007-10-01 | PIPE, PLASTIC, 8 | 5720 | 583407.33
G376.00-Mains Distribution | 2009-06-29 | PIPE, PLASTIC, 8 | 6644 | 289928.59
G376.00-Mains Distribution | 2009-09-30 | PIPE, PLASTIC, 8 | 1175 | 47945.93
G376.00-Mains Distribution | 2009-12-31 | PIPE, PLASTIC, 8 | 27070 | 925927.7
G376.00-Mains Distribution | 2011-04-01 | PIPE, PLASTIC, 8 | 4884 | 34567.7
G376.00-Mains Distribution | 2011-07-01 | PIPE, PLASTIC, 8 | 920 | 244139.77
G376.00-Mains Distribution | 2012-02-01 | PIPE, PLASTIC, 8 | 5382 | 853971.22
G376.00-Mains Distribution | 2012-06-01 | PIPE, PLASTIC, 8 | 17242 | 2000789.18
G376.00-Mains Distribution | 2013-05-01 | PIPE, PLASTIC, 8 | 3840 | 169198
G376.00-Mains Distribution | 2014-06-30 | PIPE, PLASTIC, 8 | 6340 | 2590.29
G376.00-Mains Distribution | 2014-08-31 | PIPE, PLASTIC, 8 | 1200 | 686954.62
G376.00-Mains Distribution | 2014-11-30 | PIPE, PLASTIC, 8 | 60 | 45686.98
G376.00-Mains Distribution | 2015-01-31 | PIPE, PLASTIC, 8 | 2520 | 137483.49
G376.00-Mains Distribution | 2015-06-30 | PIPE, PLASTIC, 8 | 7280 | 1441686.87
G376.00-Mains Distribution | 2015-08-31 | PIPE, PLASTIC, 8 | 720 | 53127.52
G376.00-Mains Distribution | 2016-07-01 | PIPE, PLASTIC, 8 | 6440 | 867443.42
G376.00-Mains Distribution | 2016-08-31 | PIPE, PLASTIC, 8 | 1620 | 210563.24
G376.00-Mains Distribution | 2017-09-30 | PIPE, PLASTIC, 8 | 14640 | 1697790.32
G376.00-Mains Distribution | 2017-12-31 | PIPE, PLASTIC, 8 | 3440 | 234842.45
G376.00-Mains Distribution | 2018-03-31 | PIPE, PLASTIC, 8 | 600 | 67855.72
G376.00-Mains Distribution | 2018-12-31 | PIPE, PLASTIC, 8 | 720 | 384549.87
G376.00-Mains Distribution | 2019-03-31 | PIPE, PLASTIC, 8 | 4520 | 333321.51
G376.00-Mains Distribution | 2019-05-31 | PIPE, PLASTIC, 8 | 1287 | 935999.17
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 1 | 20 | 99.83
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 1 | 29 | 783.66
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 1 | 14132 | 547561.01
G376.00-Mains Distribution | 2000-01-01 | PIPE, STEEL, 1 | 10284 | 530432.85
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 1 | 25518 | 254094.36
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 1 | 11192 | 276106.79
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 1 | 3708 | 70148.27
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 1 | 3112 | 33659
G376.00-Mains Distribution | 2006-01-01 | PIPE, STEEL, 1 | 3260 | 36189.57
G376.00-Mains Distribution | 2007-01-01 | PIPE, STEEL, 1 | 1 | 5911.14
G376.00-Mains Distribution | 2009-12-31 | PIPE, STEEL, 1 | 132 | 1059.62
G376.00-Mains Distribution | 2011-03-01 | PIPE, STEEL, 1 | 10 | 1512.63
G376.00-Mains Distribution | 2012-08-01 | PIPE, STEEL, 1 | 315 | 8165.74
G376.00-Mains Distribution | 2012-10-31 | PIPE, STEEL, 1 | 126 | 3030.4
G376.00-Mains Distribution | 2013-07-31 | PIPE, STEEL, 1 | 1000 | 23869.5
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 1 1/2 | 25 | 93.84
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 1 1/2 | 627 | 25299.36
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 1 1/4 | 63 | 1216.8
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 1 1/4 | 1 | 230.99
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 1 1/4 | 30 | 1195.29
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 1 1/4 | 288 | 5882.52
G376.00-Mains Distribution | 2012-04-01 | PIPE, STEEL, 1 1/4 | 21 | 2826.59
G376.00-Mains Distribution | 1935-01-01 | PIPE, STEEL, 10 | 3979 | 9457.61
G376.00-Mains Distribution | 1942-01-01 | PIPE, STEEL, 10 | 131 | 721.46
G376.00-Mains Distribution | 1947-01-01 | PIPE, STEEL, 10 | 912 | 4014.26
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 10 | 46 | 422.24
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 10 | 21 | 173.97
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 10 | 7 | 50.62
G376.00-Mains Distribution | 2013-05-01 | PIPE, STEEL, 10 | 89 | 77843.8
G376.00-Mains Distribution | 1942-01-01 | PIPE, STEEL, 12 | 830 | 2924.27
G376.00-Mains Distribution | 1947-01-01 | PIPE, STEEL, 12 | 10352 | 50899.92
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 12 | 41220 | 245195.19
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 12 | 5301 | 40083.74
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 12 | 2137 | 21112.02
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 12 | 52791 | 405141.16
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 12 | 3857 | 32490.72
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 12 | 93514 | 597572.79
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 12 | 18338 | 112184.12
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 12 | 1455 | 14110.68
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 12 | 6116 | 63375.05
G376.00-Mains Distribution | 1970-01-01 | PIPE, STEEL, 12 | 14657 | 72898.58
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 12 | 32670 | 499640.4
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 12 | 6186 | 94844.98
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 12 | 2065 | 47290.55
G376.00-Mains Distribution | 1975-01-01 | PIPE, STEEL, 12 | 3615 | 105919.7
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 12 | 674 | 13862.8
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 12 | 2523 | 94644.79
G376.00-Mains Distribution | 1978-01-01 | PIPE, STEEL, 12 | 1373 | 52070.79
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 12 | 3149 | 81091.95
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 12 | 1766 | 72935.18
G376.00-Mains Distribution | 1981-01-01 | PIPE, STEEL, 12 | 3578 | 132864.16
G376.00-Mains Distribution | 1982-01-01 | PIPE, STEEL, 12 | 18950 | 744423.63
G376.00-Mains Distribution | 1983-01-01 | PIPE, STEEL, 12 | 15625 | 553225.5
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 12 | 748 | 88456.72
G376.00-Mains Distribution | 1985-01-01 | PIPE, STEEL, 12 | 9634 | 331129.59
G376.00-Mains Distribution | 1986-01-01 | PIPE, STEEL, 12 | 37651 | 1370139.93
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 12 | 46765 | 1527342.76
G376.00-Mains Distribution | 1988-01-01 | PIPE, STEEL, 12 | 4695 | 210315.24
G376.00-Mains Distribution | 1989-01-01 | PIPE, STEEL, 12 | 13334 | 644192.82
G376.00-Mains Distribution | 1990-01-01 | PIPE, STEEL, 12 | 787 | 66735.11
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 12 | 2080 | 93540.04
G376.00-Mains Distribution | 1992-01-01 | PIPE, STEEL, 12 | 313 | 36303.62
G376.00-Mains Distribution | 1993-01-01 | PIPE, STEEL, 12 | 8055 | 424130
G376.00-Mains Distribution | 1994-01-01 | PIPE, STEEL, 12 | 1698 | 93998.44
G376.00-Mains Distribution | 1995-01-01 | PIPE, STEEL, 12 | 1406 | 106966.58
G376.00-Mains Distribution | 1996-01-01 | PIPE, STEEL, 12 | 3247 | 212792.45
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 12 | 3209 | 92462.39
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 12 | 1225 | 95592.44
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 12 | 2960 | 37419.4
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 12 | 1695 | 119840.86
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 12 | 16920 | 1942356.94
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 12 | 244 | 27141.46
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 12 | 735 | 277691.74
G376.00-Mains Distribution | 2005-01-01 | PIPE, STEEL, 12 | 350 | 114763.74
G376.00-Mains Distribution | 2006-01-01 | PIPE, STEEL, 12 | 8180 | 1071956.56
G376.00-Mains Distribution | 2008-07-01 | PIPE, STEEL, 12 | 20 | 3220.43
G376.00-Mains Distribution | 2008-07-30 | PIPE, STEEL, 12 | 1854 | 89830.96
G376.00-Mains Distribution | 2009-12-31 | PIPE, STEEL, 12 | 351 | 22294.11
G376.00-Mains Distribution | 2011-06-01 | PIPE, STEEL, 12 | 384 | 45347.72
G376.00-Mains Distribution | 2011-07-01 | PIPE, STEEL, 12 | 1195 | 89962.8
G376.00-Mains Distribution | 2012-11-30 | PIPE, STEEL, 12 | 1611 | -5629.06
G376.00-Mains Distribution | 2013-10-28 | PIPE, STEEL, 12 | 1181 | -0.04
G376.00-Mains Distribution | 2015-03-31 | PIPE, STEEL, 12 | 82 | 4474.18
G376.00-Mains Distribution | 2017-09-30 | PIPE, STEEL, 12 | 22 | 30787.39
G376.00-Mains Distribution | 2018-09-30 | PIPE, STEEL, 12 | 5623 | 1210188.84
G376.00-Mains Distribution | 2019-08-31 | PIPE, STEEL, 12 | 87 | 30008.55
G376.00-Mains Distribution | 1947-01-01 | PIPE, STEEL, 16 | 32218 | 227647.8
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 16 | 21017 | 162478.79
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 16 | 33014 | 277928.15
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 16 | 21310 | 223289.77
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 16 | 2488 | 27463.63
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 16 | 299 | 3514.18
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 16 | 1473 | 17567.18
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 16 | 285 | 20406.19
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 16 | 38829 | 526402.62
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 16 | 4648 | 65455.43
G376.00-Mains Distribution | 1970-01-01 | PIPE, STEEL, 16 | 12677 | 201304.84
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 16 | 5648 | 113449.18
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 16 | 2461 | 16488.7
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 16 | 4079 | 116100.58
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 16 | 1762 | 73235.52
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 16 | 162 | 1620.41
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 16 | 2762 | 99901.08
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 16 | 1872 | 76801.47
G376.00-Mains Distribution | 1981-01-01 | PIPE, STEEL, 16 | 2393 | 82959.68
G376.00-Mains Distribution | 1982-01-01 | PIPE, STEEL, 16 | 4684 | 221349.68
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 16 | 3175 | 166364.22
G376.00-Mains Distribution | 1986-01-01 | PIPE, STEEL, 16 | 5158 | 167324.7
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 16 | 14285 | 686890.57
G376.00-Mains Distribution | 1988-01-01 | PIPE, STEEL, 16 | 10 | 997.73
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 16 | 11956 | 621306.55
G376.00-Mains Distribution | 1992-01-01 | PIPE, STEEL, 16 | 1505 | 150225.99
G376.00-Mains Distribution | 1993-01-01 | PIPE, STEEL, 16 | 17 | 2694.49
G376.00-Mains Distribution | 1995-01-01 | PIPE, STEEL, 16 | 1817 | 132355.92
G376.00-Mains Distribution | 1996-01-01 | PIPE, STEEL, 16 | 2770 | 257294.63
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 16 | 401 | 82353.6
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 16 | 12241 | 1598094.53
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 16 | 41 | 631
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 16 | 1838 | 198339.46
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 16 | 1637 | 356804.16
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 16 | 1281 | 101740.52
G376.00-Mains Distribution | 2005-01-01 | PIPE, STEEL, 16 | 350 | 113592.41
G376.00-Mains Distribution | 2007-01-01 | PIPE, STEEL, 16 | 42 | 2866.4
G376.00-Mains Distribution | 2008-07-30 | PIPE, STEEL, 16 | 120 | 7280.06
G376.00-Mains Distribution | 2009-11-18 | PIPE, STEEL, 16 | 3489 | 371594.14
G376.00-Mains Distribution | 2011-07-01 | PIPE, STEEL, 16 | 130 | 76190.54
G376.00-Mains Distribution | 2012-04-01 | PIPE, STEEL, 16 | 467 | 167023.67
G376.00-Mains Distribution | 2012-10-31 | PIPE, STEEL, 16 | 60 | 145802.29
G376.00-Mains Distribution | 2012-12-01 | PIPE, STEEL, 16 | 428 | 3797.91
G376.00-Mains Distribution | 2017-09-30 | PIPE, STEEL, 16 | 22 | 39163.53
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 2 | 105042 | 129922.25
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 2 | 237543 | 294581.48
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 2 | 595839 | 953135.85
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 2 | 479742 | 840269.97
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 2 | 199654 | 430900.2
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 2 | 146955 | 324972.39
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 2 | 199121 | 479349.81
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 2 | 180170 | 437791.12
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 2 | 171134 | 458366.37
G376.00-Mains Distribution | 1970-01-01 | PIPE, STEEL, 2 | 153358 | 493420.28
G376.00-Mains Distribution | 1971-01-01 | PIPE, STEEL, 2 | 191747 | 611290.49
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 2 | 216638 | 890554.61
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 2 | 181845 | 659013.08
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 2 | 30559 | 185963.7
G376.00-Mains Distribution | 1975-01-01 | PIPE, STEEL, 2 | 16457 | 129597.46
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 2 | 24469 | 155026.94
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 2 | 15004 | 125924.19
G376.00-Mains Distribution | 1978-01-01 | PIPE, STEEL, 2 | 9934 | 49275.06
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 2 | 16388 | 117994.63
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 2 | 22241 | 167356.4
G376.00-Mains Distribution | 1981-01-01 | PIPE, STEEL, 2 | 119038 | 1012276.71
G376.00-Mains Distribution | 1982-01-01 | PIPE, STEEL, 2 | 49412 | 388676.04
G376.00-Mains Distribution | 1983-01-01 | PIPE, STEEL, 2 | 24173 | 240365.42
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 2 | 27804 | 304483.16
G376.00-Mains Distribution | 1985-01-01 | PIPE, STEEL, 2 | 23698 | 317677.83
G376.00-Mains Distribution | 1986-01-01 | PIPE, STEEL, 2 | 117403 | 1066485.42
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 2 | 126818 | 1126454.11
G376.00-Mains Distribution | 1988-01-01 | PIPE, STEEL, 2 | 67279 | 581618.82
G376.00-Mains Distribution | 1989-01-01 | PIPE, STEEL, 2 | 153148 | 1203022.66
G376.00-Mains Distribution | 1990-01-01 | PIPE, STEEL, 2 | 75122 | 792238.33
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 2 | 46737 | 553777.98
G376.00-Mains Distribution | 1992-01-01 | PIPE, STEEL, 2 | 5576 | 89018.05
G376.00-Mains Distribution | 1993-01-01 | PIPE, STEEL, 2 | 890 | 27497.7
G376.00-Mains Distribution | 1994-01-01 | PIPE, STEEL, 2 | 3070 | 71195.33
G376.00-Mains Distribution | 1995-01-01 | PIPE, STEEL, 2 | 2688 | 180874.84
G376.00-Mains Distribution | 1996-01-01 | PIPE, STEEL, 2 | 4935 | 68978.69
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 2 | 8382 | 187513.28
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 2 | 8899 | 331952.27
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 2 | 5504 | 182544.46
G376.00-Mains Distribution | 2000-01-01 | PIPE, STEEL, 2 | 5404 | 136900.58
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 2 | 1088 | 112033.6
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 2 | 2595 | 66791.4
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 2 | 9403 | 231638.34
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 2 | 4820 | 165420.99
G376.00-Mains Distribution | 2005-01-01 | PIPE, STEEL, 2 | 282 | 13133.75
G376.00-Mains Distribution | 2007-12-01 | PIPE, STEEL, 2 | 80 | 11176.48
G376.00-Mains Distribution | 2008-08-17 | PIPE, STEEL, 2 | 421 | 11293.19
G376.00-Mains Distribution | 2009-07-16 | PIPE, STEEL, 2 | 136 | 4011.34
G376.00-Mains Distribution | 2009-11-30 | PIPE, STEEL, 2 | 992 | 21140.11
G376.00-Mains Distribution | 2009-12-31 | PIPE, STEEL, 2 | 1707 | 96450.99
G376.00-Mains Distribution | 2011-03-01 | PIPE, STEEL, 2 | 35 | 2537.1
G376.00-Mains Distribution | 2011-04-01 | PIPE, STEEL, 2 | 287 | 23060.08
G376.00-Mains Distribution | 2011-06-01 | PIPE, STEEL, 2 | 551 | 35194.2
G376.00-Mains Distribution | 2011-07-01 | PIPE, STEEL, 2 | 24 | 1455.63
G376.00-Mains Distribution | 2011-10-01 | PIPE, STEEL, 2 | 128 | 8829.15
G376.00-Mains Distribution | 2012-02-01 | PIPE, STEEL, 2 | 312 | 18264.89
G376.00-Mains Distribution | 2012-04-01 | PIPE, STEEL, 2 | 215 | 27276.47
G376.00-Mains Distribution | 2012-08-01 | PIPE, STEEL, 2 | 86 | 2320.27
G376.00-Mains Distribution | 2012-10-31 | PIPE, STEEL, 2 | 22 | 521.22
G376.00-Mains Distribution | 2012-12-01 | PIPE, STEEL, 2 | 4310 | 311120.88
G376.00-Mains Distribution | 2013-05-01 | PIPE, STEEL, 2 | 21 | 844.28
G376.00-Mains Distribution | 2013-10-28 | PIPE, STEEL, 2 | 102 | 0.01
G376.00-Mains Distribution | 2014-03-31 | PIPE, STEEL, 2 | 1 | 5258.95
G376.00-Mains Distribution | 2016-05-31 | PIPE, STEEL, 2 | 1473 | 125310.68
G376.00-Mains Distribution | 2016-07-31 | PIPE, STEEL, 2 | 420 | 12404.1
G376.00-Mains Distribution | 2016-12-31 | PIPE, STEEL, 2 | 42 | 22258.72
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 2 1/2 | 438 | 624.01
G376.00-Mains Distribution | 2017-07-01 | PIPE, STEEL, 2 1/2 | 42 | 8463.66
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 20 | 4737 | 54957.05
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 20 | 21326 | 375421.91
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 20 | 833 | 12507.13
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 20 | 3891 | 52991
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 20 | 1516 | 24403.05
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 20 | 16530 | 270843.86
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 20 | 1956 | 29151.45
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 20 | 5489 | 97532.75
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 20 | 8762 | 164282.13
G376.00-Mains Distribution | 1971-01-01 | PIPE, STEEL, 20 | 9411 | 209836.49
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 20 | 62495 | 1290165.69
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 20 | 181 | 4178.23
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 20 | 514 | 22202.27
G376.00-Mains Distribution | 1975-01-01 | PIPE, STEEL, 20 | 1426 | 66321.4
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 20 | 621 | 7147.82
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 20 | 70 | 7926.87
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 20 | 252 | 26559.79
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 20 | 686 | 13322.99
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 20 | 2275 | 130273.21
G376.00-Mains Distribution | 1985-01-01 | PIPE, STEEL, 20 | 10 | 19452.86
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 20 | 5695 | 384083.77
G376.00-Mains Distribution | 1990-01-01 | PIPE, STEEL, 20 | 4209 | 234211
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 20 | 364 | 27720.52
G376.00-Mains Distribution | 1994-01-01 | PIPE, STEEL, 20 | 159 | -2290.54
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 20 | 32 | 11667.47
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 20 | 17 | 1577.73
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 20 | 250 | 115.25
G376.00-Mains Distribution | 2009-08-02 | PIPE, STEEL, 20 | 294 | 118412.27
G376.00-Mains Distribution | 2018-09-30 | PIPE, STEEL, 20 | 200 | 347816.86
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 22 | 3143 | 51974.64
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 22 | 354 | 4642.35
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 24 | 630 | 14659.26
G376.00-Mains Distribution | 1971-01-01 | PIPE, STEEL, 24 | 190 | 9447.06
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 24 | 51 | 98639.78
G376.00-Mains Distribution | 1942-01-01 | PIPE, STEEL, 4 | 42332 | 42850.42
G376.00-Mains Distribution | 1947-01-01 | PIPE, STEEL, 4 | 160214 | 274143.59
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 4 | 423114 | 978962.23
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 4 | 399705 | 1012422.9
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 4 | 676979 | 2092137.41
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 4 | 567359 | 1770141.35
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 4 | 143238 | 519015.59
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 4 | 175976 | 611835.67
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 4 | 168508 | 583465.92
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 4 | 226830 | 776047.17
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 4 | 123666 | 527711.1
G376.00-Mains Distribution | 1970-01-01 | PIPE, STEEL, 4 | 109967 | 528724.4
G376.00-Mains Distribution | 1971-01-01 | PIPE, STEEL, 4 | 132622 | 662014.62
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 4 | 145992 | 965169.86
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 4 | 147811 | 863662.58
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 4 | 36291 | 340754.22
G376.00-Mains Distribution | 1975-01-01 | PIPE, STEEL, 4 | 22765 | 295588.84
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 4 | 11858 | 139476.11
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 4 | 17370 | 220102.8
G376.00-Mains Distribution | 1978-01-01 | PIPE, STEEL, 4 | 13007 | 192346.35
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 4 | 28827 | 396186.63
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 4 | 33655 | 448659.13
G376.00-Mains Distribution | 1981-01-01 | PIPE, STEEL, 4 | 53279 | 795929.09
G376.00-Mains Distribution | 1982-01-01 | PIPE, STEEL, 4 | 57846 | 853044.75
G376.00-Mains Distribution | 1983-01-01 | PIPE, STEEL, 4 | 32015 | 520692.18
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 4 | 66389 | 1005761.24
G376.00-Mains Distribution | 1985-01-01 | PIPE, STEEL, 4 | 25866 | 642108.16
G376.00-Mains Distribution | 1986-01-01 | PIPE, STEEL, 4 | 104555 | 1853397.18
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 4 | 97759 | 1675782.07
G376.00-Mains Distribution | 1988-01-01 | PIPE, STEEL, 4 | 50416 | 753421.33
G376.00-Mains Distribution | 1989-01-01 | PIPE, STEEL, 4 | 96977 | 1446521.68
G376.00-Mains Distribution | 1990-01-01 | PIPE, STEEL, 4 | 76308 | 1299011.9
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 4 | 70978 | 1411151.88
G376.00-Mains Distribution | 1992-01-01 | PIPE, STEEL, 4 | 12575 | 382887.21
G376.00-Mains Distribution | 1993-01-01 | PIPE, STEEL, 4 | 5672 | 182376.42
G376.00-Mains Distribution | 1994-01-01 | PIPE, STEEL, 4 | 6406 | 254216.34
G376.00-Mains Distribution | 1995-01-01 | PIPE, STEEL, 4 | 5648 | 149014.46
G376.00-Mains Distribution | 1996-01-01 | PIPE, STEEL, 4 | 12935 | 302535.24
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 4 | 9540 | 261193.53
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 4 | 28833 | 660870.78
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 4 | 5118 | 715089.69
G376.00-Mains Distribution | 2000-01-01 | PIPE, STEEL, 4 | 10702 | 417092.29
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 4 | 8490 | 170631.57
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 4 | 35870 | 5260263.74
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 4 | 10501 | 519813.02
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 4 | 4515 | 87389.31
G376.00-Mains Distribution | 2005-01-01 | PIPE, STEEL, 4 | 1974 | 158521.94
G376.00-Mains Distribution | 2007-01-01 | PIPE, STEEL, 4 | 43 | 7972.33
G376.00-Mains Distribution | 2008-08-17 | PIPE, STEEL, 4 | 381 | 29597.06
G376.00-Mains Distribution | 2008-12-01 | PIPE, STEEL, 4 | 120 | 31559.88
G376.00-Mains Distribution | 2009-05-31 | PIPE, STEEL, 4 | 1000 | 13046.41
G376.00-Mains Distribution | 2009-06-29 | PIPE, STEEL, 4 | 190 | 5858.9
G376.00-Mains Distribution | 2009-07-16 | PIPE, STEEL, 4 | 106 | 3842.47
G376.00-Mains Distribution | 2009-12-31 | PIPE, STEEL, 4 | 5556 | 340499.57
G376.00-Mains Distribution | 2011-03-01 | PIPE, STEEL, 4 | 2114 | 199001.45
G376.00-Mains Distribution | 2011-04-01 | PIPE, STEEL, 4 | 112 | 8160.71
G376.00-Mains Distribution | 2011-04-30 | PIPE, STEEL, 4 | 84 | 34724.2
G376.00-Mains Distribution | 2011-06-01 | PIPE, STEEL, 4 | 1599 | 116225.46
G376.00-Mains Distribution | 2011-07-01 | PIPE, STEEL, 4 | 2503 | 217929.97
G376.00-Mains Distribution | 2011-10-01 | PIPE, STEEL, 4 | 430 | 31137.42
G376.00-Mains Distribution | 2012-02-01 | PIPE, STEEL, 4 | 160 | 28026.18
G376.00-Mains Distribution | 2012-03-01 | PIPE, STEEL, 4 | 571 | 16540.6
G376.00-Mains Distribution | 2012-08-01 | PIPE, STEEL, 4 | 2255 | 74227.35
G376.00-Mains Distribution | 2012-10-31 | PIPE, STEEL, 4 | 87 | 6009.92
G376.00-Mains Distribution | 2012-12-01 | PIPE, STEEL, 4 | 673 | 26322.85
G376.00-Mains Distribution | 2013-01-01 | PIPE, STEEL, 4 | 967 | 105010.24
G376.00-Mains Distribution | 2013-05-01 | PIPE, STEEL, 4 | 45 | 5791.73
G376.00-Mains Distribution | 2013-11-19 | PIPE, STEEL, 4 | 22 | 632.01
G376.00-Mains Distribution | 2014-03-31 | PIPE, STEEL, 4 | 715 | 33441.22
G376.00-Mains Distribution | 2014-06-01 | PIPE, STEEL, 4 | 170 | 19819.59
G376.00-Mains Distribution | 2014-07-31 | PIPE, STEEL, 4 | 1500 | 367298.35
G376.00-Mains Distribution | 2015-12-31 | PIPE, STEEL, 4 | 150 | 95056.44
G376.00-Mains Distribution | 2016-02-28 | PIPE, STEEL, 4 | 150 | 54001.47
G376.00-Mains Distribution | 2016-05-31 | PIPE, STEEL, 4 | 486 | 52564.04
G376.00-Mains Distribution | 2016-07-31 | PIPE, STEEL, 4 | 264 | 16942.89
G376.00-Mains Distribution | 2017-07-01 | PIPE, STEEL, 4 | 88 | 36415.09
G376.00-Mains Distribution | 1935-01-01 | PIPE, STEEL, 6 | 15409 | 21604.6
G376.00-Mains Distribution | 1942-01-01 | PIPE, STEEL, 6 | 11167 | 15959.98
G376.00-Mains Distribution | 1947-01-01 | PIPE, STEEL, 6 | 74280 | 163356.71
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 6 | 55609 | 180951.25
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 6 | 29414 | 108231.59
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 6 | 67295 | 302882.61
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 6 | 27040 | 114982.23
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 6 | 13140 | 63022.23
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 6 | 29637 | 146635.94
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 6 | 19034 | 88410.1
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 6 | 18629 | 103155.58
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 6 | 8349 | 48425.73
G376.00-Mains Distribution | 1970-01-01 | PIPE, STEEL, 6 | 17185 | 111222.03
G376.00-Mains Distribution | 1971-01-01 | PIPE, STEEL, 6 | 13030 | 87199.06
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 6 | 17044 | 154777.26
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 6 | 14233 | 113732.4
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 6 | 11863 | 147022.08
G376.00-Mains Distribution | 1975-01-01 | PIPE, STEEL, 6 | 7020 | 115031.06
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 6 | 4875 | 85434.99
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 6 | 14760 | 240430.05
G376.00-Mains Distribution | 1978-01-01 | PIPE, STEEL, 6 | 5493 | 111701.77
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 6 | 6921 | 143779.18
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 6 | 19120 | 298974.07
G376.00-Mains Distribution | 1981-01-01 | PIPE, STEEL, 6 | 11018 | 227466.35
G376.00-Mains Distribution | 1982-01-01 | PIPE, STEEL, 6 | 16948 | 289943.75
G376.00-Mains Distribution | 1983-01-01 | PIPE, STEEL, 6 | 7963 | 192386.5
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 6 | 23652 | 322986.75
G376.00-Mains Distribution | 1985-01-01 | PIPE, STEEL, 6 | 11233 | 229283.41
G376.00-Mains Distribution | 1986-01-01 | PIPE, STEEL, 6 | 22972 | 489845.03
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 6 | 19891 | 412452.21
G376.00-Mains Distribution | 1988-01-01 | PIPE, STEEL, 6 | 8857 | 252726.46
G376.00-Mains Distribution | 1989-01-01 | PIPE, STEEL, 6 | 25759 | 527665.35
G376.00-Mains Distribution | 1990-01-01 | PIPE, STEEL, 6 | 29226 | 621591.29
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 6 | 34884 | 969308.67
G376.00-Mains Distribution | 1992-01-01 | PIPE, STEEL, 6 | 7667 | 231112.9
G376.00-Mains Distribution | 1993-01-01 | PIPE, STEEL, 6 | 6097 | 166917.21
G376.00-Mains Distribution | 1994-01-01 | PIPE, STEEL, 6 | 4716 | 183594.75
G376.00-Mains Distribution | 1995-01-01 | PIPE, STEEL, 6 | 304 | 26442.4
G376.00-Mains Distribution | 1996-01-01 | PIPE, STEEL, 6 | 9585 | 271819.57
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 6 | 1024 | 54612.03
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 6 | 62455 | 1095523.84
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 6 | 77 | 20919.99
G376.00-Mains Distribution | 2000-01-01 | PIPE, STEEL, 6 | 551 | 23266.89
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 6 | 1538 | 51772.53
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 6 | 2217 | 45109.37
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 6 | 1008 | 298128.4
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 6 | 2340 | 240538.48
G376.00-Mains Distribution | 2005-01-01 | PIPE, STEEL, 6 | 6600 | 551929.69
G376.00-Mains Distribution | 2009-12-31 | PIPE, STEEL, 6 | 1807 | 53924.57
G376.00-Mains Distribution | 2011-03-01 | PIPE, STEEL, 6 | 21 | -692.69
G376.00-Mains Distribution | 2011-04-01 | PIPE, STEEL, 6 | 154 | 34733.84
G376.00-Mains Distribution | 2011-06-01 | PIPE, STEEL, 6 | 1660 | 55432.23
G376.00-Mains Distribution | 2012-02-01 | PIPE, STEEL, 6 | 120 | 38715.69
G376.00-Mains Distribution | 2012-03-01 | PIPE, STEEL, 6 | 67 | 18670.97
G376.00-Mains Distribution | 2012-04-01 | PIPE, STEEL, 6 | 854 | 53149.73
G376.00-Mains Distribution | 2012-08-01 | PIPE, STEEL, 6 | 132 | 11086.46
G376.00-Mains Distribution | 2012-10-31 | PIPE, STEEL, 6 | 323 | 18894
G376.00-Mains Distribution | 2013-11-19 | PIPE, STEEL, 6 | 22 | 1067.02
G376.00-Mains Distribution | 2014-12-31 | PIPE, STEEL, 6 | 425 | 1424.57
G376.00-Mains Distribution | 2015-03-31 | PIPE, STEEL, 6 | 124 | 2243.96
G376.00-Mains Distribution | 2017-04-30 | PIPE, STEEL, 6 | 132 | 60069.72
G376.00-Mains Distribution | 2017-09-30 | PIPE, STEEL, 6 | 21 | 13039.58
G376.00-Mains Distribution | 2018-11-30 | PIPE, STEEL, 6 | 248 | 232504.59
G376.00-Mains Distribution | 1953-01-01 | PIPE, STEEL, 8 | 115042 | 476730.37
G376.00-Mains Distribution | 1957-01-01 | PIPE, STEEL, 8 | 135474 | 596603.89
G376.00-Mains Distribution | 1959-01-01 | PIPE, STEEL, 8 | 226263 | 1264124.07
G376.00-Mains Distribution | 1963-01-01 | PIPE, STEEL, 8 | 91825 | 462888.69
G376.00-Mains Distribution | 1965-01-01 | PIPE, STEEL, 8 | 68622 | 411027.38
G376.00-Mains Distribution | 1966-01-01 | PIPE, STEEL, 8 | 47663 | 297828.7
G376.00-Mains Distribution | 1967-01-01 | PIPE, STEEL, 8 | 357796 | 1205504.97
G376.00-Mains Distribution | 1968-01-01 | PIPE, STEEL, 8 | 66597 | 267146.37
G376.00-Mains Distribution | 1969-01-01 | PIPE, STEEL, 8 | 44946 | 325871.84
G376.00-Mains Distribution | 1970-01-01 | PIPE, STEEL, 8 | 42643 | 356580.87
G376.00-Mains Distribution | 1971-01-01 | PIPE, STEEL, 8 | 49221 | 442756.02
G376.00-Mains Distribution | 1972-01-01 | PIPE, STEEL, 8 | 59044 | 651233.29
G376.00-Mains Distribution | 1973-01-01 | PIPE, STEEL, 8 | 39679 | 406470.11
G376.00-Mains Distribution | 1974-01-01 | PIPE, STEEL, 8 | 15583 | 237772.71
G376.00-Mains Distribution | 1975-01-01 | PIPE, STEEL, 8 | 13510 | 264356.98
G376.00-Mains Distribution | 1976-01-01 | PIPE, STEEL, 8 | 3955 | 77126.4
G376.00-Mains Distribution | 1977-01-01 | PIPE, STEEL, 8 | 15112 | 219714.04
G376.00-Mains Distribution | 1978-01-01 | PIPE, STEEL, 8 | 6712 | 144051.35
G376.00-Mains Distribution | 1979-01-01 | PIPE, STEEL, 8 | 18803 | 382603.71
G376.00-Mains Distribution | 1980-01-01 | PIPE, STEEL, 8 | 10372 | 231167.52
G376.00-Mains Distribution | 1981-01-01 | PIPE, STEEL, 8 | 21270 | 451807.46
G376.00-Mains Distribution | 1982-01-01 | PIPE, STEEL, 8 | 57011 | 37063.26
G376.00-Mains Distribution | 1983-01-01 | PIPE, STEEL, 8 | 29178 | 608225.66
G376.00-Mains Distribution | 1984-01-01 | PIPE, STEEL, 8 | 15721 | 328169.35
G376.00-Mains Distribution | 1985-01-01 | PIPE, STEEL, 8 | 11252 | 231658.21
G376.00-Mains Distribution | 1986-01-01 | PIPE, STEEL, 8 | 27759 | 762208.48
G376.00-Mains Distribution | 1987-01-01 | PIPE, STEEL, 8 | 47222 | 1185873.17
G376.00-Mains Distribution | 1988-01-01 | PIPE, STEEL, 8 | 14045 | 318794.6
G376.00-Mains Distribution | 1989-01-01 | PIPE, STEEL, 8 | 19123 | 489656.36
G376.00-Mains Distribution | 1990-01-01 | PIPE, STEEL, 8 | 39459 | 877314.17
G376.00-Mains Distribution | 1991-01-01 | PIPE, STEEL, 8 | 27509 | 675038.77
G376.00-Mains Distribution | 1992-01-01 | PIPE, STEEL, 8 | 40808 | 1498773.46
G376.00-Mains Distribution | 1993-01-01 | PIPE, STEEL, 8 | 21404 | 798248.45
G376.00-Mains Distribution | 1994-01-01 | PIPE, STEEL, 8 | 24970 | 900687.39
G376.00-Mains Distribution | 1995-01-01 | PIPE, STEEL, 8 | 18308 | 712102.33
G376.00-Mains Distribution | 1996-01-01 | PIPE, STEEL, 8 | 13073 | 652310.86
G376.00-Mains Distribution | 1997-01-01 | PIPE, STEEL, 8 | 1370 | 209153.28
G376.00-Mains Distribution | 1998-01-01 | PIPE, STEEL, 8 | 1706 | 220542.93
G376.00-Mains Distribution | 1999-01-01 | PIPE, STEEL, 8 | 2001 | 157348.69
G376.00-Mains Distribution | 2000-01-01 | PIPE, STEEL, 8 | 2137 | 127326.96
G376.00-Mains Distribution | 2001-01-01 | PIPE, STEEL, 8 | 1612 | 39848.42
G376.00-Mains Distribution | 2002-01-01 | PIPE, STEEL, 8 | 18295 | 1253556.15
G376.00-Mains Distribution | 2003-01-01 | PIPE, STEEL, 8 | 5896 | 139377.77
G376.00-Mains Distribution | 2004-01-01 | PIPE, STEEL, 8 | 12771 | 493548.99
G376.00-Mains Distribution | 2005-01-01 | PIPE, STEEL, 8 | 12183 | 993272.72
G376.00-Mains Distribution | 2006-01-01 | PIPE, STEEL, 8 | 7400 | 359713.57
G376.00-Mains Distribution | 2007-01-01 | PIPE, STEEL, 8 | 2087 | 259670.33
G376.00-Mains Distribution | 2008-07-30 | PIPE, STEEL, 8 | 352 | 10811.84
G376.00-Mains Distribution | 2009-06-29 | PIPE, STEEL, 8 | 1400 | 167209.52
G376.00-Mains Distribution | 2009-12-31 | PIPE, STEEL, 8 | 1337 | 148261.03
G376.00-Mains Distribution | 2010-03-31 | PIPE, STEEL, 8 | 45 | 2642.59
G376.00-Mains Distribution | 2011-04-01 | PIPE, STEEL, 8 | 98 | 3511.26
G376.00-Mains Distribution | 2011-04-30 | PIPE, STEEL, 8 | 361 | 96750.59
G376.00-Mains Distribution | 2011-06-01 | PIPE, STEEL, 8 | 402 | 4608.59
G376.00-Mains Distribution | 2011-07-01 | PIPE, STEEL, 8 | 2101 | 511056.56
G376.00-Mains Distribution | 2012-03-01 | PIPE, STEEL, 8 | 566 | 169263.87
G376.00-Mains Distribution | 2012-04-01 | PIPE, STEEL, 8 | 41 | 10446.83
G376.00-Mains Distribution | 2012-10-31 | PIPE, STEEL, 8 | 460 | 38565.67
G376.00-Mains Distribution | 2012-12-01 | PIPE, STEEL, 8 | 3290 | 215016.72
G376.00-Mains Distribution | 2013-01-01 | PIPE, STEEL, 8 | 2362 | 377060.3
G376.00-Mains Distribution | 2013-11-19 | PIPE, STEEL, 8 | 20 | 1459.78
G376.00-Mains Distribution | 2014-07-31 | PIPE, STEEL, 8 | 1700 | 416271.51
G376.00-Mains Distribution | 2014-12-31 | PIPE, STEEL, 8 | 3939 | 281514.54
G376.00-Mains Distribution | 2015-04-30 | PIPE, STEEL, 8 | 213 | 93287.45
G376.00-Mains Distribution | 2015-08-31 | PIPE, STEEL, 8 | 7000 | 905965.92
G376.00-Mains Distribution | 2015-11-30 | PIPE, STEEL, 8 | 500 | 1757.26
G376.00-Mains Distribution | 2016-05-31 | PIPE, STEEL, 8 | 9047 | 1856646.34
G376.00-Mains Distribution | 2016-07-31 | PIPE, STEEL, 8 | 2453 | 394139.28
G376.00-Mains Distribution | 2016-11-30 | PIPE, STEEL, 8 | 42 | 96700.35
G376.00-Mains Distribution | 2017-04-30 | PIPE, STEEL, 8 | 170 | 122377.33
G376.00-Mains Distribution | 2017-05-31 | PIPE, STEEL, 8 | 2611 | 535982.89
G376.00-Mains Distribution | 2017-07-01 | PIPE, STEEL, 8 | 40 | 41359.22
G376.00-Mains Distribution | 2017-09-30 | PIPE, STEEL, 8 | 131 | 0.02
G376.00-Mains Distribution | 2018-08-31 | PIPE, STEEL, 8 | 1970 | 524332.73
G376.00-Mains Distribution | 2019-04-01 | PIPE, STEEL, 8 | 43 | 34615.64
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 1 1/2 | 1558 | 458.54
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 1 1/2 | 456 | 232.04
G376.00-Mains Distribution | 1942-01-01 | PIPE, WROUGHT IRON, 1 1/2 | 262 | 216.23
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 1 1/4 | 5646 | 1284.97
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 1 1/4 | 194 | 47.49
G376.00-Mains Distribution | 1942-01-01 | PIPE, WROUGHT IRON, 1 1/4 | 9 | 6.03
G376.00-Mains Distribution | 1947-01-01 | PIPE, WROUGHT IRON, 1 1/4 | 2499 | 1787.27
G376.00-Mains Distribution | 1953-01-01 | PIPE, WROUGHT IRON, 1 1/4 | 288 | 330.17
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 10 | 26111 | 48179.03
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 10 | 442 | 988.81
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 12 | 7 | 16.87
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 12 | 5779 | 14800.03
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 16 | 14045 | 46942.53
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 2 | 3560 | 1229.74
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 2 | 57 | 38.47
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 3 | 2112 | 1096.83
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 3 | 276 | 251.99
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 4 | 27697 | 18903.28
G376.00-Mains Distribution | 1942-01-01 | PIPE, WROUGHT IRON, 4 | 4898 | 6211.01
G376.00-Mains Distribution | 1953-01-01 | PIPE, WROUGHT IRON, 4 | 7352 | 18782.47
G376.00-Mains Distribution | 1934-01-01 | PIPE, WROUGHT IRON, 8 | 51134 | 67297.56
G376.00-Mains Distribution | 1935-01-01 | PIPE, WROUGHT IRON, 8 | 14725 | 21121.4
G376.00-Mains Distribution | 1942-01-01 | PIPE, WROUGHT IRON, 8 | 14659 | 22125.29
G376.00-Mains Distribution | 1947-01-01 | PIPE, WROUGHT IRON, 8 | 4646 | 10403.17
G376.10-Mains Distribution | 2013-11-01 | PIPE, PLASTIC, 2 | 96508 | 3819676.15
G376.10-Mains Distribution | 2014-03-31 | PIPE, PLASTIC, 2 | 28000 | 147923.22
G376.10-Mains Distribution | 2014-11-01 | PIPE, PLASTIC, 2 | 55607 | 2835479.53
G376.10-Mains Distribution | 2015-10-01 | PIPE, PLASTIC, 2 | 71125 | 4191170.6
G376.10-Mains Distribution | 2016-10-01 | PIPE, PLASTIC, 2 | 36825 | 3562401.62
G376.10-Mains Distribution | 2013-11-01 | PIPE, PLASTIC, 4 | 60796 | 3502489.07
G376.10-Mains Distribution | 2014-03-31 | PIPE, PLASTIC, 4 | 38360 | 700032.92
G376.10-Mains Distribution | 2014-11-01 | PIPE, PLASTIC, 4 | 55078 | 2646670.08
G376.10-Mains Distribution | 2015-10-01 | PIPE, PLASTIC, 4 | 35830 | 2712610.84
G376.10-Mains Distribution | 2016-10-01 | PIPE, PLASTIC, 4 | 12309 | 1522961.14
G376.10-Mains Distribution | 2013-11-01 | PIPE, PLASTIC, 6 | 66849 | 4721414.35
G376.10-Mains Distribution | 2014-11-01 | PIPE, PLASTIC, 6 | 39559 | 2469874.63
G376.10-Mains Distribution | 2015-10-01 | PIPE, PLASTIC, 6 | 15646 | 1765278.81
G376.10-Mains Distribution | 2016-10-01 | PIPE, PLASTIC, 6 | 13219 | 1939425.46
G376.10-Mains Distribution | 2013-11-01 | PIPE, PLASTIC, 8 | 30852 | 3593853.47
G376.10-Mains Distribution | 2014-11-01 | PIPE, PLASTIC, 8 | 15715 | 1462612.33
G376.10-Mains Distribution | 2015-10-01 | PIPE, PLASTIC, 8 | 10418 | 1405944.5
G376.10-Mains Distribution | 2016-10-01 | PIPE, PLASTIC, 8 | 5820 | 1807753.87
G376.10-Mains Distribution | 2016-10-01 | PIPE, STEEL, 6 | 55 | 15297.08
G376.10-Mains Distribution | 2013-11-01 | PIPE, STEEL, 8 | 270 | 126758.51
G376.20-GLT Mains | 2017-08-01 | PIPE, PLASTIC, 2 | 4 | 179569.98
G376.20-GLT Mains | 2017-11-30 | PIPE, PLASTIC, 2 | 3497 | 132231.13
G376.20-GLT Mains | 2018-10-01 | PIPE, PLASTIC, 2 | 480 | 14386.9
G376.20-GLT Mains | 2018-10-01 | PIPE, PLASTIC, 4 | 1078 | 300908.35
G376.20-GLT Mains | 2018-10-01 | PIPE, PLASTIC, 8 | 30 | 28950.81
G376.20-GLT Mains | 2018-10-01 | PIPE, STEEL, 4 | 58 | 16291.06
G376.20-GLT Mains | 2018-10-01 | PIPE, STEEL, 8 | 177 | 85263.61
|  |  | 27360535 | 447519596.17