## Roll forward
Deferred Asset roll forward
186074 - Cane Run 7 LTPC | 2020 |  |  |  |  | 2021 | [11 empty] | 2022
| Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
LGE Beg balance |  | 1299676.63 | 1428404.0535 | 1561570.3537 | 1690297.7772 | 1823464.0774 | 2036588.3232 | 2156437.9933 | 2289604.2935 | 2360626.3203 | 2458281.6071 | 2587009.0306 | 2720175.3308 | 2853341.631 | 2982069.0545 | 3115235.3547 | 3243962.7782 | 3377129.0784 | 3592172.3149 | 3712021.985 | 1627550.5151 | 1756277.9387 | 1889444.2389
Cash payments |  | 128727.4235 | 133166.3002 | 128727.4235 | 133166.3002 | 213124.2457 | 119849.6702 | 133166.3002 | 71022.0268 | 97655.2868 | 128727.4235 | 133166.3002 | 133166.3002 | 128727.4235 | 133166.3002 | 128727.4235 | 133166.3002 | 215043.2364 | 119849.6702 | 66583.1501 | 128727.4235 | 133166.3002 | 128727.4235
Capital work (investing) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2043501.89 | 0 | 0 | 0
O&M work (operating) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -107552.73 | 0 | 0 | 0
LGE End balance | 1299676.63 | 1428404.0535 | 1561570.3537 | 1690297.7772 | 1823464.0774 | 2036588.3232 | 2156437.9933 | 2289604.2935 | 2360626.3203 | 2458281.6071 | 2587009.0306 | 2720175.3308 | 2853341.631 | 2982069.0545 | 3115235.3547 | 3243962.7782 | 3377129.0784 | 3592172.3149 | 3712021.985 | 1627550.5151 | 1756277.9387 | 1889444.2389 | 2018171.6624
LTPC Calculation
Variable fee |  | 561216.816 | 580569.12 | 561216.816 | 580569.12 | 580569.12 | 522512.208 | 580569.12 | 309636.864 | 425750.688 | 561216.816 | 580569.12 | 580569.12 | 561216.816 | 580569.12 | 561216.816 | 580569.12 | 580569.12 | 522512.208 | 290284.56 | 561216.816 | 580569.12 | 561216.816
Annual fee | 2021 Jan: 363445.207; 2022 Jan: 372167.892
Materials |  | 398463.9394 | 412204.0752 | 398463.9394 | 412204.0752 | 412204.0752 | 370983.6677 | 412204.0752 | 219842.1734 | 302282.9885 | 398463.9394 | 412204.0752 | 412204.0752 | 398463.9394 | 412204.0752 | 398463.9394 | 412204.0752 | 412204.0752 | 370983.6677 | 206102.0376 | 398463.9394 | 412204.0752 | 398463.9394
Sales tax |  | 23907.8364 | 24732.2445 | 23907.8364 | 24732.2445 | 24732.2445 | 22259.0201 | 24732.2445 | 13190.5304 | 18136.9793 | 23907.8364 | 24732.2445 | 24732.2445 | 23907.8364 | 24732.2445 | 23907.8364 | 24732.2445 | 24732.2445 | 22259.0201 | 12366.1223 | 23907.8364 | 24732.2445 | 23907.8364
Other |  | 162752.8766 | 168365.0448 | 162752.8766 | 168365.0448 | 168365.0448 | 151528.5403 | 168365.0448 | 89794.6906 | 123467.6995 | 162752.8766 | 168365.0448 | 168365.0448 | 162752.8766 | 168365.0448 | 162752.8766 | 168365.0448 | 168365.0448 | 151528.5403 | 84182.5224 | 162752.8766 | 168365.0448 | 162752.8766
|  | 585124.6524 | 605301.3645 | 585124.6524 | 605301.3645 | 968746.5716 | 544771.2281 | 605301.3645 | 322827.3944 | 443887.6673 | 585124.6524 | 605301.3645 | 605301.3645 | 585124.6524 | 605301.3645 | 585124.6524 | 605301.3645 | 977469.2565 | 544771.2281 | 302650.6823 | 585124.6524 | 605301.3645 | 585124.6524
Note - The LTPC Calculation reflects the full value of the contract and the end balance only reflects the ownership percentage (LGE 22% KU 78%).

## LTPC
Capital - Only LTPC related
Company | Budget Item | Budget Description | Year | Month 01 Jan | Month 02 Feb | Month 03 Mar | Month 04 Apr | Month 05 May | Month 06 Jun | Month 07 Jul | Month 08 Aug | Month 09 Sep | Month 10 Oct | Month 11 Nov | Month 12 Dec | Total
0100 | 154829 | CR7 NGCC CI | 2022 | 0 | 0 | 2043501.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2043501.89
O&M - Only LTPC related
Company | Budget Item | Budget Description | Year | Month 01 Jan | Month 02 Feb | Month 03 Mar | Month 04 Apr | Month 05 May | Month 06 Jun | Month 07 Jul | Month 08 Aug | Month 09 Sep | Month 10 Oct | Month 11 Nov | Month 12 Dec | Total
0100 | CR07F21 | CR07F21 | 2022 | 0 | 0 | 107552.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107552.73
Note - These are the amounts for the outage work performed under this contract.

## Starts
CT Starts by Month
Group1 | RollUp | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Q1 | Q2 | Q3 | Q4
Starts | Cane Run 7 2X1 | 2018 | [12 empty] | 0 | 0 | 0 | 0
Starts | Cane Run 7 2X1 | 2019 | [12 empty] | 0 | 0 | 0 | 0
Starts | Cane Run 7 2X1 | 2020 | [12 empty] | 0 | 0 | 2 | 3 | bar: 8 to 12
Starts | Cane Run 7 2X1 | 2021 | [12 empty] | 3 | 3 | 3 | 3 | bar: 1 to 12
Starts | Cane Run 7 2X1 | 2022 | [12 empty] | 3 | 3 | 0 | 0 | bar: 1 to 6
Note on A5: McKinney, Adam: Reporter Query: qry02_BudgetDeliv - CTStarts_ by Unit by Month_GenBudgeting

## operating hours
2021 Business Plan
Monthly Operating Hours | 2020 |  |  |  |  | 2021 | [11 empty] | 2022
| August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Cane Run 7 2X1 | 720 | 696 | 720 | 696 | 720 | 720 | 648 | 720 | 384 | 528 | 696 | 720 | 720 | 696 | 720 | 696 | 720 | 720 | 648 | 360 | 696 | 720 | 696
Qtrly EBH | 2020 September: 1416; 2020 December: 2136; 2021 March: 2088; 2021 June: 1608; 2021 September: 2136; 2021 December: 2136; 2022 March: 1728; 2022 June: 2112
Quartery Starts | 2020 September: 2; 2020 December: 3; 2021 March: 3; 2021 June: 3; 2021 September: 3; 2021 December: 3; 2022 March: 3; 2022 June: 3
Factor | 2020 September: 708; 2020 December: 712; 2021 March: 696; 2021 June: 536; 2021 September: 712; 2021 December: 712; 2022 March: 576; 2022 June: 704

## Fees
Maintenance Considerations
Sales Tax | 6%
Material cost | 71%
Other costs | 29%
LTPC/CSA Costs | Scenario
EBH - $/Hour/2 Turbines | 806.346 | Variable fee for two units as of 5/31/197 (per May recon)
ES - $/Start/2 Turbines | 21101.38 | Note: CR7 is a base load unit, therefore, starts are rarely used in calculating the fee.
2020 Annual fee | 354926.96 | update for current year per recon schedule plus taxes
Inflation factor | 1.024