## J1649 Project
Project | Point of Interconnection | State | County | Status | Appl In Service Date | MW Capacity | Study Phase | Fuel
J753 | Hardinsburg Sub 161kV | KY | Breckinridge County | Under Construction | 2021-04-01 | 100 | GIA | Solar
J759 | Troy 161kV Sub | IN | Spencer County | Under Construction | 2021-04-01 | 70 | GIA | Solar
J762 | Meade Sub 161kV | KY | Meade County | Under Construction | 2021-04-01 | 200 | GIA | Solar
J783 | Grandview Sub | IN | Spencer County | Under Construction | 2021-04-01 | 70 | GIA | Solar
J800 | Crossville West Substation 138kV Bus - Albion South - Norris City 138 kV Line | IL | White County | Under Construction | 2020-09-30 | 250 | GIA | Solar
J853 | Norris City North Substation 138kV Bus | IL | White County | Under Construction | 2019-09-01 | 149 | GIA | Solar
J856 | Scott (TWP 138/69) 138 kV Substation | IN | Vanderburgh County | Under Construction | 2021-04-01 | 80 | GIA | Solar
J944 | Portageville - New Madrid 161kV Line | MO | New Madrid County | Not Started | 2021-09-01 | 200 | GIA | Solar
J1027 | Ratts 161 kV Substation | IN | Pike County | Not Started | 2021-01-02 | 150 | PHASE 3 | Solar
J1028 | Ratts - Victory 161 kV Line Tap | IN | Pike County | Not Started | 2021-01-02 | 150 | PHASE 3 | Solar
J1034 | Stoddard - Morley 161kV Line Tap | MO | Stoddard County | Not Started | 2021-10-31 | 225 | PHASE 3 | Solar
J1074 | Francisco 138 kV sub | IN | Gibson County | Not Started | 2021-01-02 | 200 | PHASE 3 | Solar
J1087 | Miner - Kelso 161 kV Line Tap | MO | Scott County | Not Started | 2021-01-02 | 200 | PHASE 3 | Solar
J1107 | Kelso - Lutesville 345 kV Line Tap | MO | Cape Girardeau County | Not Started | 2021-09-01 | 200 | PHASE 3 | Solar
J1227 | Dubois - FB Culley 138 kV Line Tap | IN | Spencer County | Not Started | 2023-09-29 | 125 | PHASE 1 | Solar
J1231 | Barkley - Caldwell 161kV Line | KY | Lyon County | Not Started | 2022-09-01 | 125 | PHASE 1 | Solar
J1233 | Cato 138 kV Substation | IN | Pike County | Not Started | 2023-10-30 | 32.5 | PHASE 1 | Battery Storage
J1269 | Elliott 69kV Substation | IN | Warrick County | Not Started | 2022-07-01 | 100 | PHASE 1 | Hybrid
J1271 | Oak Grove 138kV Substation | IN | Vanderburgh County | Not Started | 2022-07-01 | 100 | PHASE 1 | Battery Storage
J1272 | Angel Mound 138kV Substation | IN | Vanderburgh County | Not Started | 2022-07-01 | 50 | PHASE 1 | Battery Storage
J1274 | Point 69kV Substation | IN | Posey County | Not Started | 2022-07-01 | 100 | PHASE 1 | Hybrid
J1275 | Henderson 161 kV Substation | KY | Henderson County | Not Started | 2023-10-30 | 100 | PHASE 1 | Solar
J1276 | Point 69kV Substation | IN | Posey County | Not Started | 2022-07-01 | 100 | PHASE 1 | Hybrid
J1295 | Gibson - Francisco 345kV Line | IN | Gibson County | Not Started | 2022-12-01 | 280 | PHASE 1 | Solar
J1296 | Francisco 138kV Substation | IN | Gibson County | Not Started | 2022-12-01 | 200 | PHASE 1 | Solar
J1299 | Miner - Kelso 161kV Line | MO | Scott County | Not Started | 2021-12-01 | 200 | PHASE 1 | Solar
J1303 | Campbell Hill - Jackson 161kV Line | IL | Jackson County | Not Started | 2021-12-01 | 150 | PHASE 1 | Solar
J1308 | AB Brown - Gibson 345kV Line | IN | Posey County | Not Started | 2021-12-01 | 300 | PHASE 1 | Solar
J1388 | Oakland City - Old Ben Coal 138 kV Line Tap | IN | Gibson County | Not Started | 2021-12-31 | 150 | PHASE 1 | Solar
J1393 | Cato 138 kV Substation | IN | Pike County | Not Started | 2023-10-30 | 130 | PHASE 1 | Solar
J1396 | Ratts-Victory 161kV Line | IN | Pike County | Not Started | 2021-12-01 | 150 | PHASE 1 | Solar
J1398 | Ratts 161kV Substation | IN | Pike County | Not Started | 2022-12-01 | 150 | PHASE 1 | Solar
J1409 | Henderson 161 kV Substation | KY | Henderson County | Not Started | 2023-10-30 | 25 | PHASE 1 | Battery Storage
J1448 | Hopkins - Caldwell County - Barkely 161kV Line | KY | Caldwell County | Not Started | 2022-08-01 | 150 | PHASE 1 | Solar
J1450 | Hopkins - Reid161kV Line | KY | Webster County | Not Started | 2022-08-01 | 150 | PHASE 1 | Solar
J1466 | Reid 161 kV Substation | KY | Henderson County | Not Started | 2022-08-01 | 250 | PHASE 1 | Solar
J1600 | Flaherty Tap to Custer 69kV | KY | Meade | Not Started | 2022-10-31 | 40 | PHASE 1 | Solar
J1604 | HMPL Substation #7 69kV | KY | Henderson | Not Started | 2023-08-31 | 50 | PHASE 1 | Solar
J1619 | Reid Switchyard 161kV | KY | Henderson,Webster | Not Started | 2023-09-01 | 160 | PHASE 1 | Solar
J1632 | Caldwell County - Barkley 161kV | KY | Caldwell | Not Started | 2023-09-01 | 200 | PHASE 1 | Solar
J1638 | Skillman Substation 161kV | KY | Hancock | Not Started | 2023-09-01 | 150 | PHASE 1 | Solar
J1642 | North East (Castle) - Culley 138kV | IN | Spencer | Not Started | 2023-10-15 | 200 | PHASE 1 | Hybrid
J1696 | Reid 161kV | KY | Henderson | Not Started | 2023-10-01 | 150 | PHASE 1 | Solar
J1703 | Reid to Hopkins County 161kV | KY | Webster | Not Started | 2023-09-01 | 74 | PHASE 1 | Solar
J1830 | Kelso - Joppa (Massac) 345 kV line | IL | Pulaski | Not Started | 2023-09-01 | 200 | PHASE 1 | Hybrid
Total | [5 empty] | 6585.5