## 35CF Wind Build Cost
Plexos Addition of 150 MW Utility Tier 1 Wind Capital Cost Calculation
|  | Plexos | [9 empty] | SLD |  | SLD | SLD
|  | Input | [8 empty] | Equation 9: | Method | Levelized | vs | vs
|  | Build |  | Maximum | Build |  | Inflation | Economic | Tax |  | Annuity | Annuity | Cost | Levelized | Levelized
|  | Cost | Units | Capacity | Cost | WACC | Rate | Life | Rate | Depreciation | Calculation | Calculation | Annuity | Annuity | Annuity
COD Dec | Plex Yr | ($/kW) | Built | (MW) | ($000) | (%) | (%) | (Years) | (%) | Method | ($000) | ($000) | ($000) | ($000) | (%)
2022 | 2023 | 917.0283 | 1 | 200 | 183405.6653 | 7.07% | 2.5% | 30 | 26% | SLD | 14884.0697 | 13623.0352 | 13623.0352 | 0 | 0
2023 | 2024 | 1088.2506 | 1 | 200 | 217650.1183 | 7.07% | 2.5% | 30 | 26% | SLD | 17663.1377 | 16166.6501 | 16166.6501 | 0 | 0
2024 | 2025 | 887.2922 | 1 | 200 | 177458.4355 | 7.07% | 2.5% | 30 | 26% | SLD | 14401.4293 | 13181.2859 | 13181.2859 | 0 | 0
2025 | 2026 | 1495.2032 | 1 | 200 | 299040.6493 | 7.07% | 2.5% | 30 | 26% | SLD | 24268.2899 | 22212.1889 | 22212.1889 | 0 | 0
2026 | 2027 | 1513.2497 | 1 | 200 | 302649.9342 | 7.07% | 2.5% | 30 | 26% | SLD | 24561.1972 | 22480.2799 | 22480.2799 | 0 | 0
2027 | 2028 | 1529.5129 | 1 | 200 | 305902.5835 | 7.07% | 2.5% | 30 | 26% | SLD | 24825.1621 | 22721.8807 | 22721.8807 | 0 | 0
2028 | 2029 | 1549.0701 | 1 | 200 | 309814.0181 | 7.07% | 2.5% | 30 | 26% | SLD | 25142.5899 | 23012.4149 | 23012.4149 | 0 | 0
2029 | 2030 | 1567.1743 | 1 | 200 | 313434.8606 | 7.07% | 2.5% | 30 | 26% | SLD | 25436.4351 | 23281.3644 | 23281.3644 | 0 | 0
2030 | 2031 | 1584.3333 | 1 | 200 | 316866.6533 | 7.07% | 2.5% | 30 | 26% | SLD | 25714.9382 | 23536.2716 | 23536.2716 | 0 | 0
2031 | 2032 | 1598.2066 | 1 | 200 | 319641.3117 | 7.07% | 2.5% | 30 | 26% | SLD | 25940.1123 | 23742.3682 | 23742.3682 | 0 | 0
2032 | 2033 | 1610.5774 | 1 | 200 | 322115.4716 | 7.07% | 2.5% | 30 | 26% | SLD | 26140.8998 | 23926.1442 | 23926.1442 | 0 | 0
2033 | 2034 | 1620.9256 | 1 | 200 | 324185.1142 | 7.07% | 2.5% | 30 | 26% | SLD | 26308.8592 | 24079.8734 | 24079.8734 | 0 | 0
2034 | 2035 | 1630.2831 | 1 | 200 | 326056.6258 | 7.07% | 2.5% | 30 | 26% | SLD | 26460.7395 | 24218.8859 | 24218.8859 | 0 | 0
2035 | 2036 | 1638.5922 | 1 | 200 | 327718.4489 | 7.07% | 2.5% | 30 | 26% | SLD | 26595.6028 | 24342.323 | 24342.323 | 0 | 0
2036 | 2037 | 1647.7682 | 1 | 200 | 329553.6366 | 7.07% | 2.5% | 30 | 26% | SLD | 26744.5353 | 24478.6374 | 24478.6374 | 0 | 0
2037 | 2038 | 1655.194 | 1 | 200 | 331038.7929 | 7.07% | 2.5% | 30 | 26% | SLD | 26865.0614 | 24588.9521 | 24588.9521 | 0 | 0
2038 | 2039 | 1661.7942 | 1 | 200 | 332358.8402 | 7.07% | 2.5% | 30 | 26% | SLD | 26972.1883 | 24687.0028 | 24687.0028 | 0 | 0
2039 | 2040 | 1670.4913 | 1 | 200 | 334098.2646 | 7.07% | 2.5% | 30 | 26% | SLD | 27113.3492 | 24816.204 | 24816.204 | 0 | 0
2040 | 2041 | 1680.724 | 1 | 200 | 336144.7919 | 7.07% | 2.5% | 30 | 26% | SLD | 27279.4327 | 24968.2163 | 24968.2163 | 0 | 0
2041 | 2042 | 1690.292 | 1 | 200 | 338058.4063 | 7.07% | 2.5% | 30 | 26% | SLD | 27434.7298 | 25110.356 | 25110.356 | 0 | 0
2042 | 2043 | 1701.0283 | 1 | 200 | 340205.6502 | 7.07% | 2.5% | 30 | 26% | SLD | 27608.9869 | 25269.8494 | 25269.8494 | 0 | 0
2043 | 2044 | 1713.8283 | 1 | 200 | 342765.6668 | 7.07% | 2.5% | 30 | 26% | SLD | 27816.742 | 25460.0027 | 25460.0027 | 0 | 0
2044 | 2045 | 1725.1507 | 1 | 200 | 345030.1381 | 7.07% | 2.5% | 30 | 26% | SLD | 28000.5125 | 25628.2034 | 25628.2034 | 0 | 0
2045 | 2046 | 1736.6671 | 1 | 200 | 347333.41 | 7.07% | 2.5% | 30 | 26% | SLD | 28187.4318 | 25799.2862 | 25799.2862 | 0 | 0
2046 | 2047 | 1747.6097 | 1 | 200 | 349521.9312 | 7.07% | 2.5% | 30 | 26% | SLD | 28365.0386 | 25961.8456 | 25961.8456 | 0 | 0
2047 | 2048 | 1758.4202 | 1 | 200 | 351684.0348 | 7.07% | 2.5% | 30 | 26% | SLD | 28540.5016 | 26122.4426 | 26122.4426 | 0 | 0
2048 | 2049 | 1768.3969 | 1 | 200 | 353679.3783 | 7.07% | 2.5% | 30 | 26% | SLD | 28702.4313 | 26270.6531 | 26270.6531 | 0 | 0
2049 | 2050 | 1779.583 | 1 | 200 | 355916.6066 | 7.07% | 2.5% | 30 | 26% | SLD | 28883.9909 | 26436.8303 | 26436.8303 | 0 | 0
2050 | 2051
2051
Real Annuity Factor = |  |  |  |  | 12.3223
Nominal Annuity Factor = |  |  |  |  | 9.7758
SLD Factor = |  |  |  |  | 0.074278

## Wind Prices
2019 KPCo IRP
Wind Alternative Pricing
Column J
|  | 35% | [6 empty] | Output Check
| Annual |  | Annual
| Levelized Capital Cost ($/MWh) |  | Levelized Cost ($000) |  |  | Screening FOM | FOM | Plex Year | Generation (GWh) | FO&M Cost ($000)
COD Dec |  | 35 CF |  | 35 CF |  | $/kW | $/kW |  | 0 | 0
[9 empty] | 0 | 0
2022 |  | 22.2163 |  | 13623.0352 |  | 56.9038 | 76.897 | 2023 | 613.2062 | 11381.2 | 56.906 | 0.0022
2023 |  | 26.3644 |  | 16166.6501 | 1.1867 | 57.498 | 77.7 | 2024 | 616.3852 | 11531.1058 | 57.6555 | 0.15753
2024 |  | 21.4959 |  | 13181.2859 | 0.81534 | 58.3416 | 78.84 | 2025 | 613.2062 | 11668.32 | 58.3416 | 4.9738e-13
2025 |  | 36.2234 |  | 22212.1889 | 1.6851 | 59.2455 | 80.0615 | 2026 | 613.2062 | 11848.88 | 59.2444 | -0.0011
2026 |  | 36.6606 |  | 22480.2799 | 1.0121 | 60.255 | 81.4257 | 2027 | 613.2062 | 12051.64 | 60.2582 | 0.0032
2027 |  | 37.0546 |  | 22721.8807 | 1.0107 | 61.2547 | 82.7766 | 2028 | 616.3852 | 12285.0056 | 61.425 | 0.17033
2028 |  | 37.5284 |  | 23012.4149 | 1.0128 | 62.2918 | 84.1781 | 2029 | 613.2062 | 12458.64 | 62.2932 | 0.0014
2029 |  | 37.967 |  | 23281.3644 | 1.0117 | 63.3223 | 85.5707 | 2030 | 613.2062 | 12664.36 | 63.3218 | -0.0005
2030 |  | 38.3827 |  | 23536.2716 | 1.0109 | 64.3451 | 86.9528 | 2031 | 613.2062 | 12868.6 | 64.343 | -0.0021
2031 |  | 38.7188 |  | 23742.3682 | 1.0088 | 65.3365 | 88.2926 | 2032 | 616.3852 | 13102.7198 | 65.5136 | 0.1771
2032 |  | 39.0185 |  | 23926.1442 | 1.0077 | 66.3087 | 89.6064 | 2033 | 613.2062 | 13262.28 | 66.3114 | 0.0027
2033 |  | 39.2692 |  | 24079.8734 | 1.0064 | 67.2732 | 90.9097 | 2034 | 613.2062 | 13454.68 | 67.2734 | 0.0002
2034 |  | 39.4959 |  | 24218.8859 | 1.0058 | 68.2365 | 92.2115 | 2035 | 613.2062 | 13647.08 | 68.2354 | -0.0011
2035 |  | 39.6972 |  | 24342.323 | 1.0051 | 69.2023 | 93.5166 | 2036 | 616.3852 | 13878.8804 | 69.3944 | 0.1921
2036 |  | 39.9195 |  | 24478.6374 | 1.0056 | 70.184 | 94.8432 | 2037 | 613.2062 | 14036.32 | 70.1816 | -0.0024
2037 |  | 40.0994 |  | 24588.9521 | 1.0045 | 71.166 | 96.1703 | 2038 | 613.2062 | 14233.16 | 71.1658 | -0.0002
2038 |  | 40.2593 |  | 24687.0028 | 1.004 | 72.1527 | 97.5036 | 2039 | 613.2062 | 14430 | 72.15 | -0.0027
2039 |  | 40.47 |  | 24816.204 | 1.0052 | 73.1783 | 98.8896 | 2040 | 616.3852 | 14675.8179 | 73.3791 | 0.20079
2040 |  | 40.7179 |  | 24968.2163 | 1.0061 | 74.2225 | 100.3007 | 2041 | 613.2062 | 14844.4 | 74.222 | -0.0005
2041 |  | 40.9497 |  | 25110.356 | 1.0057 | 75.274 | 101.7216 | 2042 | 613.2062 | 15054.56 | 75.2728 | -0.0012
2042 |  | 41.2098 |  | 25269.8494 | 1.0064 | 76.3465 | 103.1709 | 2043 | 613.2062 | 15269.16 | 76.3458 | -0.0007
2043 |  | 41.5199 |  | 25460.0027 | 1.0075 | 77.45 | 104.6622 | 2044 | 616.3852 | 15532.1175 | 77.6606 | 0.21059
2044 |  | 41.7942 |  | 25628.2034 | 1.0066 | 78.5337 | 106.1266 | 2045 | 613.2062 | 15707.24 | 78.5362 | 0.0025
2045 |  | 42.0732 |  | 25799.2862 | 1.0067 | 79.6321 | 107.6109 | 2046 | 613.2062 | 15926.28 | 79.6314 | -0.0007
2046 |  | 42.3383 |  | 25961.8456 | 1.0063 | 80.7289 | 109.0931 | 2047 | 613.2062 | 16145.32 | 80.7266 | -0.0023
2047 |  | 42.6002 |  | 26122.4426 | 1.0062 | 81.8294 | 110.5803 | 2048 | 616.3852 | 16410.6779 | 82.0534 | 0.22399
2048 |  | 42.8419 |  | 26270.6531 | 1.0057 | 82.915 | 112.0473 | 2049 | 613.2062 | 16583.4 | 82.917 | 0.002
2049 |  | 43.1129 |  | 26436.8303 | 1.0063 | 84.0244 | 113.5465 | 2050 | 613.2062 | 16805.4 | 84.027 | 0.0026
2050 |  | 43.3505 |  | 26582.5266 | 1.0055 | 85.122 | 115.0297 | 2051
2051 |  | 43.5701 |  | 26717.1853 | 1.0051 | 86.2169 | 116.5093 | 2052
2023
Generic Wind
Annual Energy (GWh) |  | 613.2
Capacity (MW) |  | 200
Capacity Factor (%) |  | 35
Inflation (%) |  | 1%

## KPCo
Kentucky Power Company
Annual Investment Carrying Charges
For Economic Analyses
As of 12/31/2019
Investment Life (Years)
| 2 | 3 | 4 | 5 | 10 | 15 | 20 | 25 | 30 | 33 | 40 | 50
Return (1) | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07 | 7.07
Depreciation (2) | 49.0395 | 31.9081 | 23.3247 | 18.1877 | 8.0362 | 4.7782 | 3.2293 | 2.3533 | 1.8055 | 1.5697 | 1.1826 | 0.85452
FIT (3) (4) | 1.0647 | 0.76612 | 0.8187 | 0.68097 | 0.64282 | 0.77427 | 0.80127 | 0.69334 | 0.62299 | 0.5916 | 0.53779 | 0.48868
Property Taxes, General & Admin Expenses | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45 | 1.45
Carrying Cost Per Year | 58.6242 | 41.1943 | 32.6634 | 27.3887 | 17.199 | 14.0725 | 12.5506 | 11.5666 | 10.9485 | 10.6813 | 10.2404 | 9.8632
(1) Based on a 100% (as of 12/31/2019) and 0% incremental weighting of capital costs
(2) Sinking Fund annuity with R1 Dispersion of Retirements
(3) Assuming MACRS Tax Depreciation
(4) @ 21% Federal Income Tax Rate

## WIND
Scenario | OpCo | COD Year | CF | Build Cost ($/kW) | PTC Credit | Levelized O&M $/kW | Levelized O&M $/MWh | Levelized Cost of Energy $/MWh | Levelized Capital Cost $/MWH
2022COD-KYP-0.35CF | KYP | 2022 | 35% | 1328.9292 | 60% | 56.9038 | 18.5442 | 40.7605 | 22.2163
2023COD-KYP-0.35CF | KYP | 2023 | 35% | 1316.4076 | 40% | 57.498 | 18.7358 | 45.1002 | 26.3644
2024COD-KYP-0.35CF | KYP | 2024 | 35% | 1321.6658 | 60% | 58.3416 | 19.0144 | 40.5103 | 21.4959
2025COD-KYP-0.35CF | KYP | 2025 | 35% | 1330.6486 | 0% | 59.2455 | 19.3082 | 55.5316 | 36.2234
2026COD-KYP-0.35CF | KYP | 2026 | 35% | 1346.8071 | 0% | 60.255 | 19.6363 | 56.2969 | 36.6606
2027COD-KYP-0.35CF | KYP | 2027 | 35% | 1361.495 | 0% | 61.2547 | 19.9599 | 57.0145 | 37.0546
2028COD-KYP-0.35CF | KYP | 2028 | 35% | 1378.5278 | 0% | 62.2918 | 20.3018 | 57.8302 | 37.5284
2029COD-KYP-0.35CF | KYP | 2029 | 35% | 1394.7465 | 0% | 63.3223 | 20.6368 | 58.6038 | 37.967
2030COD-KYP-0.35CF | KYP | 2030 | 35% | 1410.1223 | 0% | 64.3451 | 20.9692 | 59.3519 | 38.3827
2031COD-KYP-0.35CF | KYP | 2031 | 35% | 1422.7 | 0% | 65.3365 | 21.29 | 60.0088 | 38.7188
2032COD-KYP-0.35CF | KYP | 2032 | 35% | 1433.3286 | 0% | 66.3087 | 21.611 | 60.6295 | 39.0185
2033COD-KYP-0.35CF | KYP | 2033 | 35% | 1442.663 | 0% | 67.2732 | 21.9244 | 61.1936 | 39.2692
2034COD-KYP-0.35CF | KYP | 2034 | 35% | 1451.1113 | 0% | 68.2365 | 22.2374 | 61.7333 | 39.4959
2035COD-KYP-0.35CF | KYP | 2035 | 35% | 1458.7486 | 0% | 69.2023 | 22.5497 | 62.2469 | 39.6972
2036COD-KYP-0.35CF | KYP | 2036 | 35% | 1466.5326 | 0% | 70.184 | 22.874 | 62.7935 | 39.9195
2037COD-KYP-0.35CF | KYP | 2037 | 35% | 1473.2719 | 0% | 71.166 | 23.1931 | 63.2925 | 40.0994
2038COD-KYP-0.35CF | KYP | 2038 | 35% | 1479.2756 | 0% | 72.1527 | 23.5137 | 63.773 | 40.2593
2039COD-KYP-0.35CF | KYP | 2039 | 35% | 1487.2616 | 0% | 73.1783 | 23.8453 | 64.3153 | 40.47
2040COD-KYP-0.35CF | KYP | 2040 | 35% | 1495.9774 | 0% | 74.2225 | 24.1902 | 64.9081 | 40.7179
2041COD-KYP-0.35CF | KYP | 2041 | 35% | 1504.6245 | 0% | 75.274 | 24.5319 | 65.4816 | 40.9497
2042COD-KYP-0.35CF | KYP | 2042 | 35% | 1514.3006 | 0% | 76.3465 | 24.8804 | 66.0902 | 41.2098
2043COD-KYP-0.35CF | KYP | 2043 | 35% | 1525.9406 | 0% | 77.45 | 25.2372 | 66.7571 | 41.5199
2044COD-KYP-0.35CF | KYP | 2044 | 35% | 1535.6138 | 0% | 78.5337 | 25.5953 | 67.3895 | 41.7942
2045COD-KYP-0.35CF | KYP | 2045 | 35% | 1545.9932 | 0% | 79.6321 | 25.9522 | 68.0254 | 42.0732
2046COD-KYP-0.35CF | KYP | 2046 | 35% | 1555.8552 | 0% | 80.7289 | 26.3085 | 68.6468 | 42.3383
2047COD-KYP-0.35CF | KYP | 2047 | 35% | 1565.7346 | 0% | 81.8294 | 26.6642 | 69.2644 | 42.6002
2048COD-KYP-0.35CF | KYP | 2048 | 35% | 1574.2059 | 0% | 82.915 | 27.0233 | 69.8652 | 42.8419
2049COD-KYP-0.35CF | KYP | 2049 | 35% | 1584.2941 | 0% | 84.0244 | 27.3837 | 70.4966 | 43.1129
2050COD-KYP-0.35CF | KYP | 2050 | 35% | 1593.1526 | 0% | 85.122 | 27.7402 | 71.0907 | 43.3505
2051COD-KYP-0.35CF | KYP | 2051 | 35% | 1601.4834 | 0% | 86.2169 | 28.0939 | 71.664 | 43.5701