## Case 1 Base w Carbon
2020 KP Mitchell CCR/ELG Analysis - Case 1 CCR and ELG
EIA_Base with Carbon Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Mitchell 1&2 CCR Expenditures Only (12/31/40 Retirement)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 237 MW CT-Frame | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind | Testimony Figure 2 Capacity Reserves Above Required Generation with New Capacity Additions (MW) except for Mitchell
2021 | 955.4903 | 1037.6625 | 1333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333 | 295.3375 | 39.5095 | 295.3375 | 39.5095 | 0 | 0 | 295.3375
2022 | 978.1308 | 1062.25 | 1343.52 | 0 | 3.1252 | 0.71804 | 0 | 0 | 0 | 0 | 0 | 1347.3633 | 281.27 | 37.3559 | 285.1133 | 37.7488 | 0 | 0 | 285.1133
2023 | 992.6221 | 1077.9876 | 968.92 | 0 | 6.2095 | 1.3818 | 1.022 | 0 | 0 | 24 | 100 | 1101.5333 | -109.0676 | -2.3878 | 23.5457 | 10.9721 | 0 | 200 | 23.5457
2024 | 919.3542 | 998.4186 | 968.92 | 0 | 8.0325 | 2.0115 | 1.533 | 0 | 0 | 24 | 0 | 1004.497 | -29.4986 | 5.3914 | 6.0784 | 9.2612 | 0 | 200 | 6.0784
2025 | 917.2904 | 996.1774 | 968.92 | 0 | 7.3103 | 1.8714 | 1.533 | 0 | 0 | 48 | 0 | 1027.6347 | -27.2574 | 5.6285 | 31.4573 | 12.0294 | 0 | 400 | 31.4573
2026 | 916.2319 | 995.0278 | 968.92 | 0 | 6.5351 | 1.7055 | 1.533 | 0 | 0 | 48 | 0 | 1026.6936 | -26.1078 | 5.7505 | 31.6658 | 12.0561 | 0 | 400 | 31.6658
2027 | 913.5998 | 992.1694 | 968.92 | 0 | 5.7889 | 1.5213 | 2.044 | 0 | 0 | 48 | 0 | 1026.2742 | -23.2494 | 6.0552 | 34.1048 | 12.333 | 0 | 400 | 34.1048
2028 | 909.0129 | 987.188 | 968.92 | 0 | 4.9509 | 1.3267 | 2.044 | 0 | 0 | 48 | 0 | 1025.2416 | -18.268 | 6.5903 | 38.0536 | 12.7863 | 0 | 400 | 38.0536
2029 | 908.8554 | 987.0169 | 968.92 | 0 | 4.006 | 1.1117 | 2.555 | 0 | 0 | 48 | 0 | 1024.5927 | -18.0969 | 6.6088 | 37.5758 | 12.7344 | 0 | 400 | 37.5758
2030 | 906.4046 | 984.3554 | 968.92 | 0 | 3.1336 | 0.8992 | 3.066 | 0 | 0 | 48 | 0 | 1024.0188 | -15.4354 | 6.8971 | 39.6633 | 12.9759 | 0 | 400 | 39.6633
2031 | 904.4161 | 982.1958 | 677.92 | 0 | 2.3391 | 0.68501 | 3.577 | 0 | 0 | 48 | 250 | 982.5211 | -304.2758 | -25.0433 | 0.32526 | 8.636 | 0 | 400 | 0.32526
2032 | 900.3586 | 977.7894 | 677.92 | 0 | 1.6671 | 0.37626 | 3.577 | 0 | 0 | 48 | 250 | 981.5403 | -299.8694 | -24.7056 | 3.7509 | 9.0166 | 0 | 400 | 3.7509
2033 | 900.892 | 978.3687 | 677.92 | 0 | 1.1208 | 0.1758 | 4.088 | 0 | 0 | 48 | 250 | 981.3046 | -300.4487 | -24.7501 | 2.9358 | 8.9259 | 0 | 400 | 2.9358
2034 | 898.9332 | 976.2415 | 677.92 | 0 | 0.65792 | 0.064047 | 4.599 | 0 | 0 | 48 | 250 | 981.241 | -298.3215 | -24.5862 | 4.9995 | 9.1562 | 0 | 400 | 4.9995
2035 | 897.7617 | 974.9692 | 677.92 | 0 | 0.33212 | 0.035497 | 4.599 | 0 | 0 | 48 | 250 | 980.8866 | -297.0492 | -24.4878 | 5.9174 | 9.2591 | 0 | 400 | 5.9174
2036 | 894.7817 | 971.7329 | 677.92 | 0 | 0.13157 | 0.1363 | 5.11 | 40.5 | 0 | 48 | 200 | 971.7979 | -293.8129 | -24.2363 | 0.064959 | 8.6073 | 150 | 400 | 0.064959
2037 | 895.2843 | 972.2788 | 677.92 | 0 | 0.049478 | 0.1017 | 5.11 | 40.5 | 4.2698 | 48 | 200 | 975.951 | -294.3588 | -24.2788 | 3.6722 | 9.0102 | 150 | 400 | 3.6722
2038 | 894.2352 | 971.1394 | 677.92 | 0 | 0.020478 | 1.0353 | 5.621 | 81 | 7.5539 | 48 | 150 | 971.1506 | -293.2194 | -24.19 | 0.011222 | 8.6013 | 300 | 400 | 0.011222
2039 | 893.2456 | 970.0647 | 677.92 | 0 | 0.0044529 | 0.51489 | 5.621 | 81 | 7.5539 | 48 | 150 | 970.6142 | -292.1447 | -24.106 | 0.5495 | 8.6615 | 300 | 400 | 0.5495
2040 | 889.7094 | 966.2244 | 10.22 | 476 | 0 | 0.27371 | 6.132 | 121.5 | 7.5539 | 48 | 300 | 969.6796 | -956.0044 | -98.8513 | 3.4552 | 8.9883 | 450 | 400 | -664.2448
2041 | 890.6071 | 967.1993 | 10.22 | 476 | 0 | 0.17275 | 6.132 | 121.5 | 10.3337 | 48 | 300 | 972.3585 | -956.9793 | -98.8525 | 5.1591 | 9.1793 | 450 | 400 | -662.5409
2042 | 889.4172 | 965.9071 | 0 | 476 | 0 | 0.094088 | 6.643 | 121.5 | 10.3337 | 48 | 350 | 1012.5708 | -965.9071 | -100 | 46.6637 | 13.8465 | 450 | 400 | -621.0363
2043 | 888.4837 | 964.8933 | 0 | 476 | 0 | 0.039372 | 7.154 | 121.5 | 10.3337 | 48 | 350 | 1013.0271 | -964.8933 | -100 | 48.1338 | 14.0175 | 450 | 400 | -619.5662
2044 | 885.3307 | 961.4691 | 0 | 476 | 0 | 0.0085536 | 7.154 | 121.5 | 10.3337 | 48 | 300 | 962.9963 | -961.4691 | -100 | 1.5271 | 8.7725 | 450 | 400 | -666.1729
2045 | 886.2287 | 962.4444 | 0 | 476 | 0 | 0 | 7.665 | 121.5 | 10.3337 | 48 | 300 | 963.4987 | -962.4444 | -100 | 1.0543 | 8.719 | 450 | 400 | -666.6457
2046 | 885.29 | 961.4249 | 0 | 476 | 0 | 0 | 8.176 | 121.5 | 10.3337 | 48 | 300 | 964.0097 | -961.4249 | -100 | 2.5848 | 8.892 | 450 | 400 | -665.1152
2047 | 883.98 | 960.0023 | 0 | 476 | 0 | 0 | 8.687 | 121.5 | 10.3337 | 48 | 300 | 964.5207 | -960.0023 | -100 | 4.5184 | 9.1111 | 450 | 400 | -663.1816
2048 | 880.53 | 956.2556 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 10.3337 | 48 | 300 | 965.0317 | -956.2556 | -100 | 8.7761 | 9.5967 | 450 | 400 | -658.9239
2049 | 881.71 | 957.5371 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 10.3337 | 48 | 300 | 965.0317 | -957.5371 | -100 | 7.4946 | 9.45 | 450 | 400 | -660.2054
2050 | 880.59 | 956.3207 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 10.3337 | 48 | 300 | 965.0317 | -956.3207 | -100 | 8.711 | 9.5892 | 450 | 400 | -658.989

## Case 2 Base w Carbon
2020 KP Mitchell CCR/ELG Analysis - Case 2 CCR Only
EIA_Base with Carbon Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Mitchell 1&2 CCR Expenditures Only (12/31/28 Retirement)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 237 MW CT-Frame | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind | Testimony Figure 2 - Capacity Reserves Above Required Generation with New Capacity Additions (MW) except for Mitchell
2021 | 955.4903 | 1037.6625 | 1333.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.3 | 295.6375 | 39.5409 | 295.6375 | 39.5409 | 0 | 0 | 295.6375
2022 | 978.1308 | 1062.25 | 1343.52 | 0 | 4.7352 | 1.2075 | 0 | 0 | 0 | 0 | 0 | 1349.4628 | 281.27 | 37.3559 | 287.2127 | 37.9634 | 0 | 0 | 287.2127
2023 | 992.6221 | 1077.9876 | 968.92 | 0 | 9.3841 | 2.0233 | 1.022 | 0 | 0 | 24 | 100 | 1105.3493 | -109.0676 | -2.3878 | 27.3617 | 11.3565 | 0 | 200 | 27.3617
2024 | 919.3542 | 998.4186 | 968.92 | 0 | 13.5855 | 2.5716 | 1.533 | 0 | 0 | 24 | 0 | 1010.6101 | -29.4986 | 5.3914 | 12.1915 | 9.9261 | 0 | 200 | 12.1915
2025 | 917.2904 | 996.1774 | 968.92 | 0 | 12.3033 | 2.3326 | 1.533 | 0 | 0 | 48 | 0 | 1033.0889 | -27.2574 | 5.6285 | 36.9115 | 12.624 | 0 | 400 | 36.9115
2026 | 916.2319 | 995.0278 | 968.92 | 0 | 10.9468 | 2.0643 | 1.533 | 0 | 0 | 48 | 0 | 1031.4641 | -26.1078 | 5.7505 | 36.4363 | 12.5768 | 0 | 400 | 36.4363
2027 | 913.5998 | 992.1694 | 968.92 | 0 | 9.643 | 2.1852 | 2.044 | 0 | 0 | 48 | 0 | 1030.7922 | -23.2494 | 6.0552 | 38.6228 | 12.8275 | 0 | 400 | 38.6228
2028 | 909.0129 | 987.188 | 301.22 | 476 | 8.2031 | 2.5253 | 2.044 | 0 | 0 | 48 | 150 | 987.9924 | -685.968 | -66.863 | 0.8044 | 8.6885 | 0 | 400 | -666.8956
2029 | 908.8554 | 987.0169 | 301.22 | 476 | 6.6473 | 2.5963 | 2.555 | 0 | 0 | 48 | 150 | 987.0186 | -685.7969 | -66.8572 | 0.0016305 | 8.6002 | 0 | 400 | -667.6984
2030 | 906.4046 | 984.3554 | 301.22 | 476 | 5.1758 | 2.3799 | 3.066 | 0 | 0 | 48 | 150 | 985.8417 | -683.1354 | -66.7676 | 1.4863 | 8.764 | 0 | 400 | -666.2137
2031 | 904.4161 | 982.1958 | 10.22 | 476 | 3.858 | 1.8224 | 3.577 | 40.5 | 0 | 48 | 400 | 983.9774 | -971.9758 | -98.87 | 1.7815 | 8.797 | 150 | 400 | -665.9185
2032 | 900.3586 | 977.7894 | 10.22 | 476 | 2.7228 | 1.2214 | 3.577 | 40.5 | 0 | 48 | 400 | 982.2412 | -967.5694 | -98.8649 | 4.4518 | 9.0944 | 150 | 400 | -663.2482
2033 | 900.892 | 978.3687 | 10.22 | 476 | 1.7948 | 0.76535 | 4.088 | 40.5 | 0 | 48 | 400 | 981.3682 | -968.1487 | -98.8656 | 2.9994 | 8.9329 | 150 | 400 | -664.7006
2034 | 898.9332 | 976.2415 | 10.22 | 476 | 1.0208 | 0.47525 | 4.599 | 40.5 | 0 | 48 | 400 | 980.8151 | -966.0215 | -98.8631 | 4.5736 | 9.1088 | 150 | 400 | -663.1264
2035 | 897.7617 | 974.9692 | 10.22 | 476 | 0.48407 | 0.30897 | 4.599 | 40.5 | 0 | 48 | 400 | 980.112 | -964.7492 | -98.8616 | 5.1429 | 9.1729 | 150 | 400 | -662.5571
2036 | 894.7817 | 971.7329 | 10.22 | 476 | 0.16472 | 0.18958 | 5.11 | 81 | 4.2698 | 48 | 350 | 974.9541 | -961.5129 | -98.8578 | 3.2212 | 8.96 | 300 | 400 | -664.4788
2037 | 895.2843 | 972.2788 | 10.22 | 476 | 0.049478 | 0.098576 | 5.11 | 81 | 7.5539 | 48 | 350 | 978.032 | -962.0588 | -98.8585 | 5.7532 | 9.2426 | 300 | 400 | -661.9468
2038 | 894.2352 | 971.1394 | 10.22 | 476 | 0.020478 | 0.040661 | 5.621 | 121.5 | 10.3337 | 48 | 300 | 971.7358 | -960.9194 | -98.8571 | 0.59642 | 8.6667 | 450 | 400 | -667.1036
2039 | 893.2456 | 970.0647 | 10.22 | 476 | 0.0044529 | 0.0085655 | 5.621 | 121.5 | 10.3337 | 48 | 300 | 971.6877 | -959.8447 | -98.8559 | 1.623 | 8.7817 | 450 | 400 | -666.077
2040 | 889.7094 | 966.2244 | 10.22 | 476 | 0 | 0 | 6.132 | 121.5 | 10.3337 | 48 | 300 | 972.1857 | -956.0044 | -98.8513 | 5.9613 | 9.27 | 450 | 400 | -661.7387
2041 | 890.6071 | 967.1993 | 10.22 | 476 | 0 | 0 | 6.132 | 121.5 | 10.3337 | 48 | 300 | 972.1857 | -956.9793 | -98.8525 | 4.9864 | 9.1599 | 450 | 400 | -662.7136
2042 | 889.4172 | 965.9071 | 0 | 476 | 0 | 0 | 6.643 | 121.5 | 10.3337 | 48 | 350 | 1012.4767 | -965.9071 | -100 | 46.5696 | 13.836 | 450 | 400 | -621.1304
2043 | 888.4837 | 964.8933 | 0 | 476 | 0 | 0 | 7.154 | 121.5 | 10.3337 | 48 | 350 | 1012.9877 | -964.8933 | -100 | 48.0944 | 14.0131 | 450 | 400 | -619.6056
2044 | 885.3307 | 961.4691 | 0 | 476 | 0 | 0 | 7.154 | 121.5 | 10.3337 | 48 | 300 | 962.9877 | -961.4691 | -100 | 1.5186 | 8.7715 | 450 | 400 | -666.1814
2045 | 886.2287 | 962.4444 | 0 | 476 | 0 | 0 | 7.665 | 121.5 | 10.3337 | 48 | 300 | 963.4987 | -962.4444 | -100 | 1.0543 | 8.719 | 450 | 400 | -666.6457
2046 | 885.29 | 961.4249 | 0 | 476 | 0 | 0 | 8.176 | 121.5 | 10.3337 | 48 | 300 | 964.0097 | -961.4249 | -100 | 2.5848 | 8.892 | 450 | 400 | -665.1152
2047 | 883.98 | 960.0023 | 0 | 476 | 0 | 0 | 8.687 | 121.5 | 10.3337 | 48 | 300 | 964.5207 | -960.0023 | -100 | 4.5184 | 9.1111 | 450 | 400 | -663.1816
2048 | 880.53 | 956.2556 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 10.3337 | 48 | 300 | 965.0317 | -956.2556 | -100 | 8.7761 | 9.5967 | 450 | 400 | -658.9239
2049 | 881.71 | 957.5371 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 10.3337 | 48 | 300 | 965.0317 | -957.5371 | -100 | 7.4946 | 9.45 | 450 | 400 | -660.2054
2050 | 880.59 | 956.3207 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 10.3337 | 48 | 300 | 965.0317 | -956.3207 | -100 | 8.711 | 9.5892 | 450 | 400 | -658.989

## Case 1 Base wo Carb
2020 KP Mitchell CCR/ELG Analysis - Case 1 CCR and ELG
EIA Base without Carbon Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Mitchell 1&2 CCR Expenditures Only (12/31/40 Retirement)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 237 MW CT-Frame | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2021 | 955.4903 | 1037.6625 | 1333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333 | 295.3375 | 39.5095 | 295.3375 | 39.5095 | 0 | 0
2022 | 978.1308 | 1062.25 | 1343.52 | 0 | 4.7352 | 2.1925 | 0 | 0 | 0 | 0 | 0 | 1350.4477 | 281.27 | 37.3559 | 288.1977 | 38.0641 | 0 | 0
2023 | 992.6221 | 1077.9876 | 968.92 | 0 | 9.3841 | 5.9429 | 1.022 | 0 | 0 | 0 | 100 | 1085.269 | -109.0676 | -2.3878 | 7.2813 | 9.3335 | 0 | 0
2024 | 919.3542 | 998.4186 | 968.92 | 0 | 13.5855 | 10.1578 | 1.533 | 0 | 4.2698 | 0 | 0 | 998.4662 | -29.4986 | 5.3914 | 0.047522 | 8.6052 | 0 | 0
2025 | 917.2904 | 996.1774 | 968.92 | 0 | 12.3033 | 9.9244 | 1.533 | 0 | 4.2698 | 0 | 0 | 996.9505 | -27.2574 | 5.6285 | 0.7731 | 8.6843 | 0 | 0
2026 | 916.2319 | 995.0278 | 968.92 | 0 | 10.9468 | 9.4372 | 1.533 | 0 | 4.2698 | 0 | 0 | 995.1069 | -26.1078 | 5.7505 | 0.079033 | 8.6086 | 0 | 0
2027 | 913.5998 | 992.1694 | 968.92 | 0 | 9.643 | 7.7361 | 2.044 | 0 | 4.2698 | 0 | 0 | 992.613 | -23.2494 | 6.0552 | 0.4436 | 8.6486 | 0 | 0
2028 | 909.0129 | 987.188 | 968.92 | 0 | 8.2031 | 6.2849 | 2.044 | 0 | 4.2698 | 0 | 0 | 989.7219 | -18.268 | 6.5903 | 2.5339 | 8.8787 | 0 | 0
2029 | 908.8554 | 987.0169 | 968.92 | 0 | 6.6473 | 4.687 | 2.555 | 0 | 4.2698 | 0 | 0 | 987.079 | -18.0969 | 6.6088 | 0.06209 | 8.6068 | 0 | 0
2030 | 906.4046 | 984.3554 | 968.92 | 0 | 5.1758 | 3.7584 | 3.066 | 0 | 4.2698 | 0 | 0 | 985.1901 | -15.4354 | 6.8971 | 0.8346 | 8.6921 | 0 | 0
2031 | 904.4161 | 982.1958 | 677.92 | 0 | 3.858 | 2.7015 | 3.577 | 0 | 4.2698 | 0 | 300 | 992.3263 | -304.2758 | -25.0433 | 10.1304 | 9.7201 | 0 | 0
2032 | 900.3586 | 977.7894 | 677.92 | 0 | 2.7228 | 1.7589 | 3.577 | 0 | 4.2698 | 0 | 300 | 990.2485 | -299.8694 | -24.7056 | 12.4591 | 9.9838 | 0 | 0
2033 | 900.892 | 978.3687 | 677.92 | 0 | 1.7948 | 1.0621 | 4.088 | 0 | 4.2698 | 0 | 300 | 989.1347 | -300.4487 | -24.7501 | 10.766 | 9.795 | 0 | 0
2034 | 898.9332 | 976.2415 | 677.92 | 0 | 1.0208 | 0.59826 | 4.599 | 0 | 4.2698 | 0 | 300 | 988.4079 | -298.3215 | -24.5862 | 12.1664 | 9.9534 | 0 | 0
2035 | 897.7617 | 974.9692 | 677.92 | 0 | 0.48407 | 0.31532 | 4.599 | 0 | 4.2698 | 0 | 300 | 987.5882 | -297.0492 | -24.4878 | 12.619 | 10.0056 | 0 | 0
2036 | 894.7817 | 971.7329 | 677.92 | 0 | 0.16472 | 0.14241 | 5.11 | 0 | 4.2698 | 0 | 300 | 987.6069 | -293.8129 | -24.2363 | 15.874 | 10.3741 | 0 | 0
2037 | 895.2843 | 972.2788 | 677.92 | 0 | 0.049478 | 0.058944 | 5.11 | 0 | 4.2698 | 0 | 300 | 987.4082 | -294.3588 | -24.2788 | 15.1294 | 10.2899 | 0 | 0
2038 | 894.2352 | 971.1394 | 677.92 | 0 | 0.020478 | 0.023782 | 5.621 | 0 | 4.2698 | 0 | 300 | 987.8551 | -293.2194 | -24.19 | 16.7156 | 10.4693 | 0 | 0
2039 | 893.2456 | 970.0647 | 677.92 | 0 | 0.0044529 | 0.0048946 | 5.621 | 40.5 | 4.2698 | 0 | 250 | 978.3201 | -292.1447 | -24.106 | 8.2554 | 9.5242 | 150 | 0
2040 | 889.7094 | 966.2244 | 10.22 | 476 | 0 | 0 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6218 | -956.0044 | -98.8513 | 11.3974 | 9.881 | 300 | 0
2041 | 890.6071 | 967.1993 | 10.22 | 476 | 0 | 0 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6218 | -956.9793 | -98.8525 | 10.4225 | 9.7703 | 300 | 0
2042 | 889.4172 | 965.9071 | 0 | 476 | 0 | 0 | 6.643 | 81 | 4.2698 | 0 | 400 | 967.9128 | -965.9071 | -100 | 2.0057 | 8.8255 | 300 | 0
2043 | 888.4837 | 964.8933 | 0 | 476 | 0 | 0 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4238 | -964.8933 | -100 | 3.5305 | 8.9974 | 300 | 0
2044 | 885.3307 | 961.4691 | 0 | 476 | 0 | 0 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4238 | -961.4691 | -100 | 6.9547 | 9.3855 | 300 | 0
2045 | 886.2287 | 962.4444 | 0 | 476 | 0 | 0 | 7.665 | 81 | 4.2698 | 0 | 400 | 968.9348 | -962.4444 | -100 | 6.4904 | 9.3324 | 300 | 0
2046 | 885.29 | 961.4249 | 0 | 476 | 0 | 0 | 8.176 | 81 | 4.2698 | 0 | 400 | 969.4458 | -961.4249 | -100 | 8.0209 | 9.506 | 300 | 0
2047 | 883.98 | 960.0023 | 0 | 476 | 0 | 0 | 8.687 | 121.5 | 4.2698 | 0 | 350 | 960.4568 | -960.0023 | -100 | 0.45452 | 8.6514 | 450 | 0
2048 | 880.53 | 956.2556 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.2556 | -100 | 4.7122 | 9.1352 | 450 | 0
2049 | 881.71 | 957.5371 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -957.5371 | -100 | 3.4307 | 8.9891 | 450 | 0
2050 | 880.59 | 956.3207 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.3207 | -100 | 4.6471 | 9.1277 | 450 | 0

## Case 2 Base wo Carbon
2020 KP Mitchell CCR/ELG Analysis - Case 2 CCR Only
EIA Base without Carbon Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Mitchell 1&2 CCR Expenditures Only (12/31/28 Retirement)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 237 MW CT-Frame | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2021 | 955.4903 | 1037.6625 | 1333.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.3 | 295.6375 | 39.5409 | 295.6375 | 39.5409 | 0 | 0
2022 | 978.1308 | 1062.25 | 1343.52 | 0 | 4.7352 | 2.4432 | 0 | 0 | 0 | 0 | 0 | 1350.6984 | 281.27 | 37.3559 | 288.4484 | 38.0898 | 0 | 0
2023 | 992.6221 | 1077.9876 | 968.92 | 0 | 9.3841 | 5.93 | 1.022 | 0 | 0 | 0 | 100 | 1085.256 | -109.0676 | -2.3878 | 7.2684 | 9.3322 | 0 | 0
2024 | 919.3542 | 998.4186 | 968.92 | 0 | 13.5855 | 10.1648 | 1.533 | 0 | 4.2698 | 0 | 0 | 998.4732 | -29.4986 | 5.3914 | 0.054521 | 8.6059 | 0 | 0
2025 | 917.2904 | 996.1774 | 968.92 | 0 | 12.3033 | 9.9307 | 1.533 | 0 | 4.2698 | 0 | 0 | 996.9568 | -27.2574 | 5.6285 | 0.77939 | 8.685 | 0 | 0
2026 | 916.2319 | 995.0278 | 968.92 | 0 | 10.9468 | 9.4427 | 1.533 | 0 | 4.2698 | 0 | 0 | 995.1124 | -26.1078 | 5.7505 | 0.084535 | 8.6092 | 0 | 0
2027 | 913.5998 | 992.1694 | 968.92 | 0 | 9.643 | 7.7327 | 2.044 | 0 | 4.2698 | 0 | 0 | 992.6095 | -23.2494 | 6.0552 | 0.44015 | 8.6482 | 0 | 0
2028 | 909.0129 | 987.188 | 301.22 | 476 | 8.2031 | 6.4342 | 2.044 | 0 | 4.2698 | 0 | 200 | 998.1711 | -685.968 | -66.863 | 10.9831 | 9.8082 | 0 | 0
2029 | 908.8554 | 987.0169 | 301.22 | 476 | 6.6473 | 4.8551 | 2.555 | 0 | 4.2698 | 0 | 200 | 995.5472 | -685.7969 | -66.8572 | 8.5303 | 9.5386 | 0 | 0
2030 | 906.4046 | 984.3554 | 301.22 | 476 | 5.1758 | 4.1944 | 3.066 | 40.5 | 4.2698 | 0 | 150 | 984.426 | -683.1354 | -66.7676 | 0.070572 | 8.6078 | 150 | 0
2031 | 904.4161 | 982.1958 | 10.22 | 476 | 3.858 | 3.285 | 3.577 | 81 | 4.2698 | 0 | 400 | 982.2098 | -971.9758 | -98.87 | 0.013958 | 8.6015 | 300 | 0
2032 | 900.3586 | 977.7894 | 10.22 | 476 | 2.7228 | 2.2302 | 3.577 | 81 | 4.2698 | 0 | 400 | 980.0197 | -967.5694 | -98.8649 | 2.2303 | 8.8477 | 300 | 0
2033 | 900.892 | 978.3687 | 10.22 | 476 | 1.7948 | 1.3905 | 4.088 | 81 | 4.2698 | 0 | 400 | 978.7631 | -968.1487 | -98.8656 | 0.39435 | 8.6438 | 300 | 0
2034 | 898.9332 | 976.2415 | 10.22 | 476 | 1.0208 | 0.86784 | 4.599 | 81 | 4.2698 | 0 | 400 | 977.9775 | -966.0215 | -98.8631 | 1.736 | 8.7931 | 300 | 0
2035 | 897.7617 | 974.9692 | 10.22 | 476 | 0.48407 | 0.50718 | 4.599 | 81 | 4.2698 | 0 | 400 | 977.08 | -964.7492 | -98.8616 | 2.1109 | 8.8351 | 300 | 0
2036 | 894.7817 | 971.7329 | 10.22 | 476 | 0.16472 | 0.26881 | 5.11 | 81 | 4.2698 | 0 | 400 | 977.0333 | -961.5129 | -98.8578 | 5.3004 | 9.1924 | 300 | 0
2037 | 895.2843 | 972.2788 | 10.22 | 476 | 0.049478 | 0.12242 | 5.11 | 81 | 4.2698 | 0 | 400 | 976.7717 | -962.0588 | -98.8585 | 4.4929 | 9.1018 | 300 | 0
2038 | 894.2352 | 971.1394 | 10.22 | 476 | 0.020478 | 0.054172 | 5.621 | 81 | 4.2698 | 0 | 400 | 977.1855 | -960.9194 | -98.8571 | 6.046 | 9.2761 | 300 | 0
2039 | 893.2456 | 970.0647 | 10.22 | 476 | 0.0044529 | 0.012117 | 5.621 | 81 | 4.2698 | 0 | 400 | 977.1274 | -959.8447 | -98.8559 | 7.0626 | 9.3907 | 300 | 0
2040 | 889.7094 | 966.2244 | 10.22 | 476 | 0 | 0 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6218 | -956.0044 | -98.8513 | 11.3974 | 9.881 | 300 | 0
2041 | 890.6071 | 967.1993 | 10.22 | 476 | 0 | 0 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6218 | -956.9793 | -98.8525 | 10.4225 | 9.7703 | 300 | 0
2042 | 889.4172 | 965.9071 | 0 | 476 | 0 | 0 | 6.643 | 81 | 4.2698 | 0 | 400 | 967.9128 | -965.9071 | -100 | 2.0057 | 8.8255 | 300 | 0
2043 | 888.4837 | 964.8933 | 0 | 476 | 0 | 0 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4238 | -964.8933 | -100 | 3.5305 | 8.9974 | 300 | 0
2044 | 885.3307 | 961.4691 | 0 | 476 | 0 | 0 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4238 | -961.4691 | -100 | 6.9547 | 9.3855 | 300 | 0
2045 | 886.2287 | 962.4444 | 0 | 476 | 0 | 0 | 7.665 | 81 | 4.2698 | 0 | 400 | 968.9348 | -962.4444 | -100 | 6.4904 | 9.3324 | 300 | 0
2046 | 885.29 | 961.4249 | 0 | 476 | 0 | 0 | 8.176 | 81 | 4.2698 | 0 | 400 | 969.4458 | -961.4249 | -100 | 8.0209 | 9.506 | 300 | 0
2047 | 883.98 | 960.0023 | 0 | 476 | 0 | 0 | 8.687 | 121.5 | 4.2698 | 0 | 350 | 960.4568 | -960.0023 | -100 | 0.45452 | 8.6514 | 450 | 0
2048 | 880.53 | 956.2556 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.2556 | -100 | 4.7122 | 9.1352 | 450 | 0
2049 | 881.71 | 957.5371 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -957.5371 | -100 | 3.4307 | 8.9891 | 450 | 0
2050 | 880.59 | 956.3207 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.3207 | -100 | 4.6471 | 9.1277 | 450 | 0

## Case 1 Low NoCarbon
2020 KP Mitchell CCR/ELG Analysis - Case 1 CCR and ELG
2020 Low Band No Carbon Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Mitchell 1&2 CCR Expenditures Only (12/31/40 Retirement)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 237 MW CT-Frame | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2021 | 955.4903 | 1037.6625 | 1333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333 | 295.3375 | 39.5095 | 295.3375 | 39.5095 | 0 | 0
2022 | 978.1308 | 1062.25 | 1343.52 | 0 | 4.7352 | 2.4432 | 0 | 0 | 0 | 0 | 0 | 1350.6984 | 281.27 | 37.3559 | 288.4484 | 38.0898 | 0 | 0
2023 | 992.6221 | 1077.9876 | 968.92 | 0 | 9.3841 | 5.9429 | 1.022 | 0 | 0 | 0 | 100 | 1085.269 | -109.0676 | -2.3878 | 7.2813 | 9.3335 | 0 | 0
2024 | 919.3542 | 998.4186 | 968.92 | 0 | 13.5855 | 10.1578 | 1.533 | 0 | 4.2698 | 0 | 0 | 998.4662 | -29.4986 | 5.3914 | 0.047522 | 8.6052 | 0 | 0
2025 | 917.2904 | 996.1774 | 968.92 | 0 | 12.3033 | 9.9244 | 1.533 | 0 | 4.2698 | 0 | 0 | 996.9505 | -27.2574 | 5.6285 | 0.7731 | 8.6843 | 0 | 0
2026 | 916.2319 | 995.0278 | 968.92 | 0 | 10.9468 | 9.4372 | 1.533 | 0 | 4.2698 | 0 | 0 | 995.1069 | -26.1078 | 5.7505 | 0.079033 | 8.6086 | 0 | 0
2027 | 913.5998 | 992.1694 | 968.92 | 0 | 9.643 | 7.7361 | 2.044 | 0 | 4.2698 | 0 | 0 | 992.613 | -23.2494 | 6.0552 | 0.4436 | 8.6486 | 0 | 0
2028 | 909.0129 | 987.188 | 968.92 | 0 | 8.2031 | 6.2849 | 2.044 | 0 | 4.2698 | 0 | 0 | 989.7219 | -18.268 | 6.5903 | 2.5339 | 8.8787 | 0 | 0
2029 | 908.8554 | 987.0169 | 968.92 | 0 | 6.6473 | 4.687 | 2.555 | 0 | 4.2698 | 0 | 0 | 987.079 | -18.0969 | 6.6088 | 0.06209 | 8.6068 | 0 | 0
2030 | 906.4046 | 984.3554 | 968.92 | 0 | 5.1758 | 3.7584 | 3.066 | 0 | 4.2698 | 0 | 0 | 985.1901 | -15.4354 | 6.8971 | 0.8346 | 8.6921 | 0 | 0
2031 | 904.4161 | 982.1958 | 677.92 | 0 | 3.858 | 2.7015 | 3.577 | 0 | 4.2698 | 0 | 300 | 992.3263 | -304.2758 | -25.0433 | 10.1304 | 9.7201 | 0 | 0
2032 | 900.3586 | 977.7894 | 677.92 | 0 | 2.7228 | 1.7589 | 3.577 | 0 | 4.2698 | 0 | 300 | 990.2485 | -299.8694 | -24.7056 | 12.4591 | 9.9838 | 0 | 0
2033 | 900.892 | 978.3687 | 677.92 | 0 | 1.7948 | 1.0621 | 4.088 | 0 | 4.2698 | 0 | 300 | 989.1347 | -300.4487 | -24.7501 | 10.766 | 9.795 | 0 | 0
2034 | 898.9332 | 976.2415 | 677.92 | 0 | 1.0208 | 0.59826 | 4.599 | 0 | 4.2698 | 0 | 300 | 988.4079 | -298.3215 | -24.5862 | 12.1664 | 9.9534 | 0 | 0
2035 | 897.7617 | 974.9692 | 677.92 | 0 | 0.48407 | 0.31532 | 4.599 | 0 | 4.2698 | 0 | 300 | 987.5882 | -297.0492 | -24.4878 | 12.619 | 10.0056 | 0 | 0
2036 | 894.7817 | 971.7329 | 677.92 | 0 | 0.16472 | 0.14241 | 5.11 | 0 | 4.2698 | 0 | 300 | 987.6069 | -293.8129 | -24.2363 | 15.874 | 10.3741 | 0 | 0
2037 | 895.2843 | 972.2788 | 677.92 | 0 | 0.049478 | 0.058944 | 5.11 | 0 | 4.2698 | 0 | 300 | 987.4082 | -294.3588 | -24.2788 | 15.1294 | 10.2899 | 0 | 0
2038 | 894.2352 | 971.1394 | 677.92 | 0 | 0.020478 | 0.023782 | 5.621 | 0 | 4.2698 | 0 | 300 | 987.8551 | -293.2194 | -24.19 | 16.7156 | 10.4693 | 0 | 0
2039 | 893.2456 | 970.0647 | 677.92 | 0 | 0.0044529 | 0.0048946 | 5.621 | 40.5 | 4.2698 | 0 | 250 | 978.3201 | -292.1447 | -24.106 | 8.2554 | 9.5242 | 150 | 0
2040 | 889.7094 | 966.2244 | 10.22 | 476 | 0 | 0 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6218 | -956.0044 | -98.8513 | 11.3974 | 9.881 | 300 | 0
2041 | 890.6071 | 967.1993 | 10.22 | 476 | 0 | 0 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6218 | -956.9793 | -98.8525 | 10.4225 | 9.7703 | 300 | 0
2042 | 889.4172 | 965.9071 | 0 | 476 | 0 | 0 | 6.643 | 81 | 4.2698 | 0 | 400 | 967.9128 | -965.9071 | -100 | 2.0057 | 8.8255 | 300 | 0
2043 | 888.4837 | 964.8933 | 0 | 476 | 0 | 0 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4238 | -964.8933 | -100 | 3.5305 | 8.9974 | 300 | 0
2044 | 885.3307 | 961.4691 | 0 | 476 | 0 | 0 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4238 | -961.4691 | -100 | 6.9547 | 9.3855 | 300 | 0
2045 | 886.2287 | 962.4444 | 0 | 476 | 0 | 0 | 7.665 | 81 | 4.2698 | 0 | 400 | 968.9348 | -962.4444 | -100 | 6.4904 | 9.3324 | 300 | 0
2046 | 885.29 | 961.4249 | 0 | 476 | 0 | 0 | 8.176 | 81 | 4.2698 | 0 | 400 | 969.4458 | -961.4249 | -100 | 8.0209 | 9.506 | 300 | 0
2047 | 883.98 | 960.0023 | 0 | 476 | 0 | 0 | 8.687 | 121.5 | 4.2698 | 0 | 350 | 960.4568 | -960.0023 | -100 | 0.45452 | 8.6514 | 450 | 0
2048 | 880.53 | 956.2556 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.2556 | -100 | 4.7122 | 9.1352 | 450 | 0
2049 | 881.71 | 957.5371 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -957.5371 | -100 | 3.4307 | 8.9891 | 450 | 0
2050 | 880.59 | 956.3207 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.3207 | -100 | 4.6471 | 9.1277 | 450 | 0

## Case 2 Low NoCarbon
2020 KP Mitchell CCR/ELG Analysis - Case 2 CCR Only
2020 Low Band No Carbon Commodity Pricing
KP Optimization Expansion Plan (Supply-side, Renewables, VVO, DR, EE) for Mitchell 1&2 CCR Expenditures Only (12/31/28 Retirement)
| Planning Peak Load (MW) | Required Generation Capacity (MW) | Firm Generation Capacity without New Additions (MW) | 237 MW CT-Frame | Commercial DSM Firm Capacity (MW) | Residential DSM Firm Capacity (MW) | Distributed Solar Firm Capacity (MW) | Utility Solar Firm Capacity (MW) | CVR Firm Capacity (MW) | Wind Firm Capacity (MW) | Short Term PPA Capacity (MW) | Firm Generation Capacity with New Additions (MW) | Capacity Reserves Above Required Generation without New Additions (MW) | Reserve Margin without New Capacity Additions (%) | Capacity Reserves Above Required Generation with New Capacity Additions (MW) | Reserve Margin with New Capacity Additions (%) | Nameplate Solar | Nameplate Wind
2021 | 955.4903 | 1037.6625 | 1333.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.3 | 295.6375 | 39.5409 | 295.6375 | 39.5409 | 0 | 0
2022 | 978.1308 | 1062.25 | 1343.52 | 0 | 4.7352 | 2.1985 | 0 | 0 | 0 | 0 | 0 | 1350.4537 | 281.27 | 37.3559 | 288.2037 | 38.0647 | 0 | 0
2023 | 992.6221 | 1077.9876 | 968.92 | 0 | 9.3841 | 5.9208 | 1.022 | 0 | 0 | 0 | 100 | 1085.2469 | -109.0676 | -2.3878 | 7.2593 | 9.3313 | 0 | 0
2024 | 919.3542 | 998.4186 | 968.92 | 0 | 13.5855 | 10.1441 | 1.533 | 0 | 4.2698 | 0 | 0 | 998.4524 | -29.4986 | 5.3914 | 0.033776 | 8.6037 | 0 | 0
2025 | 917.2904 | 996.1774 | 968.92 | 0 | 12.3033 | 9.6531 | 1.533 | 0 | 4.2698 | 0 | 0 | 996.6792 | -27.2574 | 5.6285 | 0.50176 | 8.6547 | 0 | 0
2026 | 916.2319 | 995.0278 | 968.92 | 0 | 10.9468 | 9.398 | 1.533 | 0 | 4.2698 | 0 | 0 | 995.0676 | -26.1078 | 5.7505 | 0.03978 | 8.6043 | 0 | 0
2027 | 913.5998 | 992.1694 | 968.92 | 0 | 9.643 | 7.65 | 2.044 | 0 | 4.2698 | 0 | 0 | 992.5268 | -23.2494 | 6.0552 | 0.35744 | 8.6391 | 0 | 0
2028 | 909.0129 | 987.188 | 301.22 | 476 | 8.2031 | 6.1836 | 2.044 | 0 | 4.2698 | 0 | 200 | 997.9206 | -685.968 | -66.863 | 10.7325 | 9.7807 | 0 | 0
2029 | 908.8554 | 987.0169 | 301.22 | 476 | 6.6473 | 4.5653 | 2.555 | 0 | 4.2698 | 0 | 200 | 995.2574 | -685.7969 | -66.8572 | 8.2405 | 9.5067 | 0 | 0
2030 | 906.4046 | 984.3554 | 301.22 | 476 | 5.1758 | 4.1538 | 3.066 | 40.5 | 4.2698 | 0 | 150 | 984.3854 | -683.1354 | -66.7676 | 0.029915 | 8.6033 | 150 | 0
2031 | 904.4161 | 982.1958 | 10.22 | 476 | 3.858 | 3.2873 | 3.577 | 81 | 4.2698 | 0 | 400 | 982.2121 | -971.9758 | -98.87 | 0.01628 | 8.6018 | 300 | 0
2032 | 900.3586 | 977.7894 | 10.22 | 476 | 2.7228 | 2.2729 | 3.577 | 81 | 4.2698 | 0 | 400 | 980.0625 | -967.5694 | -98.8649 | 2.2731 | 8.8525 | 300 | 0
2033 | 900.892 | 978.3687 | 10.22 | 476 | 1.7948 | 1.4621 | 4.088 | 81 | 4.2698 | 0 | 400 | 978.8347 | -968.1487 | -98.8656 | 0.46598 | 8.6517 | 300 | 0
2034 | 898.9332 | 976.2415 | 10.22 | 476 | 1.0208 | 0.95995 | 4.599 | 81 | 4.2698 | 0 | 400 | 978.0696 | -966.0215 | -98.8631 | 1.8281 | 8.8034 | 300 | 0
2035 | 897.7617 | 974.9692 | 10.22 | 476 | 0.48407 | 0.6046 | 4.599 | 81 | 4.2698 | 0 | 400 | 977.1775 | -964.7492 | -98.8616 | 2.2083 | 8.846 | 300 | 0
2036 | 894.7817 | 971.7329 | 10.22 | 476 | 0.16472 | 0.3624 | 5.11 | 81 | 4.2698 | 0 | 400 | 977.1269 | -961.5129 | -98.8578 | 5.394 | 9.2028 | 300 | 0
2037 | 895.2843 | 972.2788 | 10.22 | 476 | 0.049478 | 0.20481 | 5.11 | 81 | 4.2698 | 0 | 400 | 976.8541 | -962.0588 | -98.8585 | 4.5753 | 9.111 | 300 | 0
2038 | 894.2352 | 971.1394 | 10.22 | 476 | 0.020478 | 0.12462 | 5.621 | 81 | 4.2698 | 0 | 400 | 977.2559 | -960.9194 | -98.8571 | 6.1165 | 9.284 | 300 | 0
2039 | 893.2456 | 970.0647 | 10.22 | 476 | 0.0044529 | 0.067425 | 5.621 | 81 | 4.2698 | 0 | 400 | 977.1827 | -959.8447 | -98.8559 | 7.1179 | 9.3969 | 300 | 0
2040 | 889.7094 | 966.2244 | 10.22 | 476 | 0 | 0.039102 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6609 | -956.0044 | -98.8513 | 11.4365 | 9.8854 | 300 | 0
2041 | 890.6071 | 967.1993 | 10.22 | 476 | 0 | 0.024679 | 6.132 | 81 | 4.2698 | 0 | 400 | 977.6465 | -956.9793 | -98.8525 | 10.4472 | 9.773 | 300 | 0
2042 | 889.4172 | 965.9071 | 0 | 476 | 0 | 0.013441 | 6.643 | 81 | 4.2698 | 0 | 400 | 967.9262 | -965.9071 | -100 | 2.0192 | 8.827 | 300 | 0
2043 | 888.4837 | 964.8933 | 0 | 476 | 0 | 0.0056246 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.4294 | -964.8933 | -100 | 3.5361 | 8.998 | 300 | 0
2044 | 885.3307 | 961.4691 | 0 | 476 | 0 | 0.001222 | 7.154 | 81 | 4.2698 | 0 | 400 | 968.425 | -961.4691 | -100 | 6.9559 | 9.3857 | 300 | 0
2045 | 886.2287 | 962.4444 | 0 | 476 | 0 | 0 | 7.665 | 81 | 4.2698 | 0 | 400 | 968.9348 | -962.4444 | -100 | 6.4904 | 9.3324 | 300 | 0
2046 | 885.29 | 961.4249 | 0 | 476 | 0 | 0 | 8.176 | 81 | 4.2698 | 0 | 400 | 969.4458 | -961.4249 | -100 | 8.0209 | 9.506 | 300 | 0
2047 | 883.98 | 960.0023 | 0 | 476 | 0 | 0 | 8.687 | 121.5 | 4.2698 | 0 | 350 | 960.4568 | -960.0023 | -100 | 0.45452 | 8.6514 | 450 | 0
2048 | 880.53 | 956.2556 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.2556 | -100 | 4.7122 | 9.1352 | 450 | 0
2049 | 881.71 | 957.5371 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -957.5371 | -100 | 3.4307 | 8.9891 | 450 | 0
2050 | 880.59 | 956.3207 | 0 | 476 | 0 | 0 | 9.198 | 121.5 | 4.2698 | 0 | 350 | 960.9678 | -956.3207 | -100 | 4.6471 | 9.1277 | 450 | 0