## Sheet1
Big Rivers Planning Reserve Margin Requirement
| Year | Rural Summer CP | Rural Winter CP | Rural Annual CP | Direct Serve Annual CP | Transmission Losses | Total Annual CP | BREC Annual Non-Coincident Peak | MISO Obligations MW1 | Estimated MISO Coincidence | Estimated Transmission Losses | Estimated MISO PRM | Total MISO PRMR MW*
| 2020 | 483946.1163 | 484817.2248 | 483946.1163 | 127100.7472 | 15667.8683 | 626714.7318 | 611.0469 | 48.6205 | -18.3314 | 13.0397 | 53.9122 | 659.6674
| 2021 | 489218.0343 | 489893.2903 | 489218.0343 | 127100.7472 | 15803.0457 | 632121.8271 | 616.3188 | 49.04 | -18.4896 | 13.1522 | 54.3774 | 665.3588
| 2022 | 489558.2873 | 491913.8612 | 489558.2873 | 322043.0499 | 20810.2907 | 832411.628 | 811.6013 | 64.5785 | -24.348 | 17.3196 | 71.607 | 876.1799
| 2023 | 491639.0947 | 494177.2937 | 491639.0947 | 322043.0499 | 20863.6447 | 834545.7894 | 813.6821 | 64.7441 | -24.4105 | 17.364 | 71.7906 | 878.4262
| 2024 | 493375.7517 | 495970.4422 | 493375.7517 | 322043.0499 | 20908.1744 | 836326.9761 | 815.4188 | 64.8823 | -24.4626 | 17.401 | 71.9438 | 880.3011
| 2025 | 495136.0488 | 497934.5494 | 495136.0488 | 322043.0499 | 20953.3102 | 838132.409 | 817.1791 | 65.3743 | -24.5154 | 17.4386 | 72.0991 | 882.5534
| 2026 | 496879.1982 | 499793.7961 | 496879.1982 | 322043.0499 | 20998.0064 | 839920.2546 | 818.9222 | 65.5138 | -24.5677 | 17.4758 | 72.2529 | 884.436
| 2027 | 497132.9091 | 499956.6466 | 497132.9091 | 322043.0499 | 21004.5118 | 840180.4708 | 819.176 | 65.5341 | -24.5753 | 17.4812 | 72.2753 | 884.71
| 2028 | 498359.2534 | 500819.9766 | 498359.2534 | 322043.0499 | 21035.9565 | 841438.2598 | 820.4023 | 65.6322 | -24.6121 | 17.5074 | 72.3835 | 886.0345
| 2029 | 499421.6428 | 501685.4875 | 499421.6428 | 322043.0499 | 21063.1972 | 842527.89 | 821.4647 | 65.7172 | -24.6439 | 17.5301 | 72.4772 | 887.1819
| 2030 | 500003.5717 | 501900.3232 | 500003.5717 | 322043.0499 | 21078.1185 | 843124.7401 | 822.0466 | 0 | -24.6614 | 17.5425 | 72.5286 | 887.8104
| 2031 | 501074.3677 | 502686.519 | 501074.3677 | 322043.0499 | 21105.5748 | 844222.9925 | 823.1174 | 0 | -24.6935 | 17.5653 | 72.623 | 888.9668
| 2032 | 503128.2492 | 504331.088 | 503128.2492 | 322043.0499 | 21158.2384 | 846329.5375 | 825.1713 | 0 | -24.7551 | 17.6092 | 72.8043 | 891.185
| 2033 | 504102.982 | 505031.8562 | 504102.982 | 322043.0499 | 21183.2316 | 847329.2635 | 826.146 | 0 | -24.7844 | 17.63 | 72.8903 | 892.2377
| 2034 | 504840.9601 | 505431.765 | 504840.9601 | 322043.0499 | 21202.1541 | 848086.1641 | 826.884 | 0 | -24.8065 | 17.6457 | 72.9554 | 893.0347
| 2035 | 505662.569 | 506009.5446 | 505662.569 | 322043.0499 | 21223.221 | 848928.8399 | 827.7056 | 0 | -24.8312 | 17.6632 | 73.0279 | 893.9221
| 2036 | 506494.7763 | 506573.9352 | 506494.7763 | 322043.0499 | 21244.5596 | 849782.3858 | 828.5378 | 0 | -24.8561 | 17.681 | 73.1013 | 894.8209
| 2037 | 507349.4138 | 507238.3686 | 507349.4138 | 322043.0499 | 21266.4734 | 850658.9372 | 829.3925 | 0 | -24.8818 | 17.6992 | 73.1767 | 895.7439
| 2038 | 508129.2162 | 507809.7535 | 508129.2162 | 322043.0499 | 21286.4684 | 851458.7345 | 830.1723 | 0 | -24.9052 | 17.7159 | 73.2455 | 896.586
| 2039 | 508967.7167 | 508469.5539 | 508967.7167 | 322043.0499 | 21307.9684 | 852318.735 | 831.0108 | 0 | -24.9303 | 17.7338 | 73.3195 | 897.4916
| 2040** | [6 empty] | 833 | 0 | -24.99 | 17.7762 | 73.495 | 899.64
| 2041** | [6 empty] | 834 | 0 | -25.02 | 17.7976 | 73.5832 | 900.72
| 2042** | [6 empty] | 835 | 0 | -25.05 | 17.8189 | 73.6714 | 901.8
| 2043** | [6 empty] | 836 | 0 | -25.08 | 17.8402 | 73.7597 | 902.88
* | BREC Annual NCP (non-coincident with MISO) w/o Losses from 2020 Long Term Load Forecast (where it is called BREC Annual CP to indicate highest one hour Rural + Industrial load combined)
** | 2024-2043 from IRP Base Case which does not include Green Conversion to Gas
*** | Long Term Load forecast extends only through 2039. In Base case, Growth rate remains constant for 2040 through 2043
1 | * Planning Reserve Margin Requirement includes a MISO coincidence Factor, Transmission Losses, and Planning Reserve Margin (PRM)
MISO Obligations held constant through 2043
2 | Total MISO PRMR = Load plus Transmission Losses and Planning Reserve Margin
3 | Non-Member Sales obligations are purchased rather than generated when beneficial to members
** 2032/2033 load obligation reduced due to Nucor contract terms taking effect in 2nd ten years of that contract
NCP from 2021 Budget - See PSC1-14 Support Capcity Forecast (3-1-21) which is the 2021 Budget but adjusted for Green going off in 7 years and NGCC coming on
does not include 2032/33 load obligation reduced due to Nucor contract terms taking effect in 2nd ten years of that contract
during the second ten years of the Nucor contract, with Nucor responsible for all costs of such output