## System Data
Monthly Water Accountability Reports
Month: | August |  | Year: | 2021
Water System: |  | Cawood Water/Pathfork | [5 empty] | PWSID: | 480565/483727
Contact Person: |  | Ronnie Williams | [5 empty] | Phone: | 606-573-3744
Mailing Address: |  | Box 429
| City: | Cawood |  |  |  |  | State: | Ky. | Zip: | 40815
Cubic Feet Conversion: |  |  |  |  | cubic feet equals |  | 0 |  | gallons
[5 empty] | gallons equals |  | 0 |  | cubic feet
|  |  |  | ft3 costing |  | equals |  | per thousand gallons
Revised 12/5/2019
© 2019

## Regulations
Regulations
All Utilities
Utilities under PSC jurisdiction
DOW: | 502-564-3410 | (normal hours) | PSC: | 502-564-3940
| 502-564-2380 | (after hours) |  | 1-800-772-4636 | (Hotline)
| 800-928-2380 | (chemical spills)
401 KAR 8:150
Section 4:
(2) Line repairs due to breaks or ruptures.
(a) The system shall thoroughly flush the break area and maintain at least a minimum disinfectant residual, pursuant to Section 1(1) of this administrative regulation.
(b) The system may leave the line in service or return the line to service before receiving bacteriological results and may forego a boil water advisory if:
1. Pressure is maintained;
2. The break area is thoroughly flushed; and
3. At least the minimum disinfectant residual is maintained, pursuant to Section 1(1) of this administrative regulation.
(c)1. The system shall take at least two (2) bacteriological tests, one (1) located before, or just upstream of, the break or rupture, and one (1) located behind, or just downstream of, the break or rupture, as close to the break or rupture as practical pursuant to 40 C.F.R. 141.21. Additional samples may be required, if necessary to be representative of the area affected by the break.
2. Sample bottles shall be clearly identified as "special" tests, and the results submitted to the cabinet shall be clearly marked as "special" samples
(d)1. Records of results shall be submitted to the cabinet with routine monthly compliance samples, unless the samples are required to lift a boil water advisory, and shall be maintained for one (1) year. 2. Samples needed to remove a boil water advisory shall be submitted to the cabinet as soon as the results are known.
(e) A water system shall notify the cabinet immediately if:
1. The pressure drops below twenty (20) pounds per square inch in the distribution system surrounding the break; or
2. A break or rupture occurs that requires more than eight (8) hours to repair, with the eight (8) hours beginning when the water system becomes aware of the break.
(f) Boil Water Advisories shall be issued in accordance with 401 KAR 8:020, Section 2(9).
(g) Reports pursuant to 401 KAR 8:020, Section 2(7)(c) shall not be required for a loss of pressure, break, or rupture occurring in service lines serving only one (1) single family residence.
(h)1. A community or nontransient noncommunity public water system shall maintain a log of all breaks or ruptures, which shall include the:
a. Date and location of the break or rupture;
b. Time it was discovered;
c. Population affected;
d. Length of time required to repair the break or rupture;
e. Date and time disinfectant residuals are detected; and
f. Date and time bacteriological samples are taken.
2. The log shall be available for inspection by the cabinet.
807 KAR 5:006. General Rules.
Section 27. Reporting of Accidents, Property Damage or Loss of Service. (1) Within two (2) hours following discovery each utility, other than a natural gas utility, shall notify the commission by telephone or electronic mail of any utility related accident which results in:
(a) Death; or shock or burn requiring medical treatment at a hospital or similar medical facility, or any accident requiring inpatient overnight hospitalization;
(b) Actual or potential property damage of $25,000 or more; or
(c) Loss of service for four (4) or more hours to ten (10) percent or 500 or more of the utility's customers, whichever is less.
(2) A summary written report shall be submitted by the utility to the commission within seven (7) calendar days of the utility related accident. For good cause shown, the executive director of the commission, may, upon application in writing, allow a reasonable extension of time for submission of this report.
807 KAR 5:066. Water.
Section 3. (4) (b) Report to the commission. If a utility is required by the Natural Resources Cabinet to make a public notification pursuant to administrative regulations of the Natural Resources Cabinet, the utility shall provide the commission with a copy of the public notification when it is made.

## Production Costs
Basic Costs of Water Production and Distribution |  |  |  |  | Month: |  |  | Year:
System Name: | [6 empty] | PWSID:
Total Gallons Treated:
Man-Hours Cost | (for hours actually worked at treatment plant)
Employee Name | Hourly Wage | Hourly Fringe | Hours Worked | Monthly Cost |  | This report does not include analytical and other water system operational or maintenance costs. For determining customer and wholesale rates consider a cost of service study.
Total Man-Hours Cost
Chemical Cost
Chemical Name | Units (lbs or gals) | Cost per Unit | Monthly Cost |  | Chemical Name |  | Units (lbs or gals) | Cost per Unit | Monthly Cost
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
[5 empty] | Total Chemical Cost: |  |  | 0
Electrical Cost
Treatment Facility:
Low Service (if separate): |  |  |  |  | Total Electrical Cost:
High Service (if separate):
Gas for heating: |  |  |  |  | Total Heating Cost:
Additional Distribution Cost
Booster Pump Station Name | Gallons Pumped |  | Electricity | chemical (lbs or gals) | cost per lb or gal | chemical cost | Station Cost | Cost of Production plus Distribution Per Thousand
Total Production Cost for Month: |  |  |  |  | Production Cost Per Thousand Gallons:
Total Disrtibution Cost for Month: |  |  | 0 |  | Average Production + Distribution:
|  | Total: | 0

## Excavation Breaks
Monthly Excavation Break Report | [7 empty] | Area Calculator
[5 empty] | diameter in inches |  |  | Insert the approximate dimensions of the hole or crack to determine the area of the break. Insert the area in the spreadsheet below.
Cawood Water/Pathfork |  | (name of Water System) | Hole
|  |  | Area |  | 0 | sq. in.
480565/483727 |  | (PWSID)
[5 empty] | length (in) | width (in)
Month | August |  | Crack
Year | 2021 |  | Area |  | 0 | sq. in.
Reference width - paper (0.004) dime (0.045)
Date | Excavation Break Location | Excavator | Minutes | Enter Hole or Crack | Area of hole or crack | Normal PSI |  | GPM | Gallons Lost During Break
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total Gallons Lost Due to Excavation Breaks | [5 empty] | 0
© 2019

## Main Line Breaks
Monthly Main Line Repair Report | [6 empty] | Area Calculator
|  |  |  | diameter in inches |  |  | Insert the approximate dimensions of the hole or crack to determine the area of the break. Insert the area in the spreadsheet below. Reference width - paper (0.004) dime (0.045)
Cawood Water/Pathfork |  |  | Hole
| (Water System) |  | Area | 0 | sq. in. | 4
480565/483727
| (PWSID) |  |  | length (in) | width (in)
Month | August |  | Crack
Year | 2021 |  | Area | 0 | sq. in.
Date of Repair | Location of Leak or Line Break | Days Line Leaked? | Enter Hole or Crack | Area of hole or crack | Normal PSI |  | GPM | Calculated Loss for Month | Estimated Loss for Month
2021-08-04 | Hwy. 421 | 4 | crack | 1.25 | 125 | 11.1803 | 318.5838 | 1835042.6021
2021-08-05 | Chevrolet | 2 | Crack | 0.2 | 85 | 9.2195 | 42.0337 | 121057.1916
2021-08-10 | Hwy. 1137 | 0.5 | hole | 0.196 | 65 | 8.0623 | 48.0287 | 34580.6463
2021-08-15 | County Lane | 1 | crack | 0.3 | 115 | 10.7238 | 73.338 | 105606.6619
2021-08-15 | Nola Street | 2 | Crack | 0.5 | 135 | 11.619 | 132.4328 | 381406.4425
2021-08-22 | Stanfield | 3 | Crack | 0.45 | 85 | 9.2195 | 94.5759 | 408568.0217
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Gallons Lost Due to Main Line Breaks | [5 empty] | 2886261.5661
© 2019

## Service Line Breaks
Monthly Service Line Repair Report | [6 empty] | Area Calculator
|  |  |  | diameter in inches |  |  | Insert the approximate dimensions of the hole or crack to determine the area of the break. Insert the area in the spreadsheet below. Reference width - paper (0.004) dime (0.045)
Cawood Water/Pathfork |  |  | Hole
| (Water System) |  | Area | 0 | sq. in. | 0
480565/483727
| (PWSID) |  |  | length (in) | width (in)
Month | August |  | Crack
Year | 2021 |  | Area | 0 | sq. in.
Date of Repair | Location of Leak or Line Break | Days Line Leaked? | Enter Hole or Crack | Area of hole or crack | Normal PSI |  | GPM | Calculated Loss for Month | Estimated Loss for Month
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Gallons Lost Due to Service Line Breaks | [5 empty] | 0
© 2019

## Line Break Log
Monthly Line Break Log |  | (water system) |  | Cawood Water/Pathfork
Month | August |  |  |  | PWSID | 480565/483727
Year | 2021
|  | Time Found | Population Affected | Time for Repair | Disinfectant Residuals |  |  | Bact Samples
Date | Location |  |  |  | Date | Time | Result | Date | Time | Result
© 2019

## Boil Water Advisory
Boil Water Advisory
This consumer advisory is being issued by:
Cawood Water/Pathfork
What should you do?
Although NO CONTAMINATION HAS BEEN CONFIRMED we recommend: Bring all water to a rolling boil, let it boil for three (3) minutes, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.
What are the areas being affected? |  | (insert areas)
People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice from their health care providers about drinking water.
What happened? | (explain details)
How are we correcting the problem? |  | (explain)
We apologize for any inconvenience this may have caused you. This advisory was issued as a precautionary action and can only be lifted with the approval of the Kentucky Division of Water. When all appropriate laboratory testing is completed and the Kentucky Division of Water allows us to lift the advisory, we will inform you when you no longer need to boil your water.
For more information, please contact: |  | Ronnie Williams
Box 429
606-573-3744 |  | Cawood
|  | Ky. | 40815
Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.
This notice is being sent to you by: |  | Cawood Water/Pathfork
Public Water System ID #: |  | 480565/483727
Date
Spanish - Este informe contiene información muy importante sobre la calidad de su agua beber. Tradúzcalo o hable con alguien que lo entienda bien.

## DBP Maintenance
DBP Maintenance Flushing (Hydrants and Tanks)
Cawood Water/Pathfork |  | (name of Water System) |  |  |  |  | Month | August
[7 empty] | Year | 2021
480565/483727 |  | (PWSID)
[5 empty] | unit conversion factor |  |  | 29.83
|  | Formula: | GPM = 29.83 cd2√p |  | coefficient value |  |  | 0.95
Date | Indicate Water Storage Tank Name or Hydrant Location and/or Number |  | Total Minutes Operated | Nozzle size (typically 2.5 or 4.5) | Pitot Pressure |  | GPM | Gallons Flowed | Estimated or Metered Flow
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Total Gallons for Month |  |  |  | 0
© 2019

## System Flushing
Monthly Hydrant Flushing Report (Flushing for other than DBP maintenance)
Cawood Water/Pathfork |  | (name of Water System) |  |  |  |  | Month | August
[7 empty] | Year | 2021
480565/483727 |  | (PWSID)
[5 empty] | unit conversion factor |  |  | 29.83
|  | Formula: | GPM = 29.83 cd2√p |  | coefficient value |  |  | 0.95
Date | Hydrant Location and/or Number | Reason Operated | Total Minutes Operated | Nozzle size (typically 2.5 or 4.5) | Pitot Pressure |  | GPM | Gallons Flowed | Estimated Flow if Pitot not used
2021-08-03 | Hydrant at plant |  | 20 | 3 | 125 | 11.1803 | 2851.5066 | 57030.1311
2021-08-04 | Lee Drive |  | 25 | 3 | 95 | 9.7468 | 2485.8858 | 62147.1446
2021-08-04 | Howard Drive |  | 20 | 3 | 85 | 9.2195 | 2351.4125 | 47028.2509
2021-08-04 | Middleton Drive |  | 25 | 3 | 100 | 10 | 2550.465 | 63761.625
2021-08-05 | Howard Drive |  | 20 | 3 | 85 | 9.2195 | 2351.4125 | 47028.2509
2021-08-07 | Denham Street |  | 25 | 3 | 100 | 10 | 2550.465 | 63761.625
2021-08-12 | End of Line, Hwy. 987 |  | 30 | 3 | 65 | 8.0623 | 2056.2506 | 61687.5186
2021-08-12 | Hwy. 987 pump station |  | 20 | 3 | 75 | 8.6603 | 2208.7675 | 44175.3496
2021-08-12 | Francis Lane |  | 30 | 3 | 85 | 9.2195 | 2351.4125 | 70542.3764
2021-08-12 | Kelly Smith Road |  | 30 | 3 | 75 | 8.6603 | 2208.7675 | 66263.0244
2021-08-15 | Hwy. 987 hydrant |  | 20 | 3 | 90 | 9.4868 | 2419.5835 | 48391.671
2021-08-18 | Ready Mix Road |  | 20 | 3 | 85 | 9.2195 | 2351.4125 | 47028.2509
2021-08-20 | Tway Hill |  | 20 | 3 | 65 | 8.0623 | 2056.2506 | 41125.0124
2021-08-21 | Johnson St. |  | 20 | 3 | 80 | 8.9443 | 2281.2052 | 45624.1049
2021-08-22 | Ava St. |  | 15 | 3 | 90 | 9.4868 | 2419.5835 | 36293.7532
2021-08-24 | Upper Elcomb |  | 25 | 3 | 80 | 8.9443 | 2281.2052 | 57030.1311
2021-08-04 | End of Line hwy. 72 |  | 20 | 3 | 90 | 9.4868 | 2419.5835 | 48391.671
2021-08-10 | Foxley St. |  | 20 | 3 | 100 | 10 | 2550.465 | 51009.3
2021-08-12 | Pump St. |  | 30 | 3 | 100 | 10 | 2550.465 | 76513.95
2021-08-15 | Mill Creek |  | 20 | 3 | 80 | 8.9443 | 2281.2052 | 45624.1049
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Total Gallons for Month |  |  |  | 1080457.246
© 2019

## Fire Department
Fire Department - Water Usage Report Form
KRS 278.170(3) 807 KAR 5:095 Section 9
Any city, county, urban-county, charter county, fire protection district, or volunteer fire protection district (“User”) may withdraw water from the utility’s water distribution system for the purpose of fighting fires or training firefighters at no charge on the condition that it maintains estimates of the amount of water used for fire protection and training during the calendar month and reports the amount of this water usage to the utility no later than the 15th day of the following calendar month.
Any city, county, urban-county, charter county, fire protection district, or volunteer fire protection district that withdraws water from the utility’s water distribution system for fire protection or training purposes and fails to submit the required report on water usage in a timely manner shall be assessed the cost of this water.
A non-reporting user’s usage shall be presumed to be 0.3 percent of the utility’s total water sales for the calendar month.
|  | (name of Fire Department) |  |  |  |  | Month
Year
(name of Water System)
[5 empty] | unit conversion factor |  |  | 29.83
[5 empty] | coefficient value |  |  | 0.95
Date | Hydrant Location and/or Number | Reason Operated | Total Minutes Operated | Nozzle size (typically 2.5 or 4.5) | Pitot Pressure |  | GPM | Gallons Flowed | Estimated Flow if Pitot not used
2021-08-22 | Nola Street |  |  |  |  | 0 |  |  | 200
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Total Gallons for Month |  |  |  | 200
© 2019

## Report Instructions
Instructions for Management Monthly Report
All cells in the Management Monthly Report must have an entry either directly into the cell or from one of the accompaning worksheets. Enter a zero if no value is available.
Water Cost
Line 1 & 2: Insert the cost per thousand gallons for water produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Produced or Purchased
Line 3 & 4: Insert the total gallons produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Sold
Line 7: Enter the total gallons sold to residential customers.
Line 8: Enter the total gallons sold to commercial customers such as businesses, stores, etc.
Line 9: Enter the total gallons sold to industrial customers such as factories, maunfacturers, etc.
Line 10: Enter the total gallons sold through bulk loading stations.
Line 11: Enter total gallons sold to other water systems or for special long term contracts, etc.
Line 12: Enter total gallons sold to public authorities such as fire stations, public pools, parks, etc.
Line 13: Enter total gallons sold that is not included in lines 7 through 12 above. An example would a temporary or one time sale to a farmer or home construction site. An explanation MUST be included.
Water Used
Line 16: Enter gallons used at the water treatment plant for production, filter backwash, basin cleaning, etc. Do not enter usage that occurs prior to the metered entry point to the distribution system.
Line 17: Enter gallons used at the wastewater treatment plant including chemical feed, basin cleaning, etc.
Line 18: Automatic entry from worksheet for hydrant flushing for routine and complaint flushing.
Line 19: Automatic entry from worksheet for hydrant flushing and forced tank overflow for DBP flushing.
Line 20: Automatic entry from worksheet for fire department usage for training and fire fighting.
Line 21: Enter total gallons used that is not included in lines 16 through 20 above. MUST explain.
Documented Water Lost
Line 23: Enter gallons lost due to documented tank overflows other than for DBP maintenance.
Line 24: Automatic entry from worksheet for main line repairs for long term leaks during current month.
Line 25: Automatic entry from worksheet for service line repairs for leaks during current month.
Line 26: Enter gallons lost such as from AWWA line leakage calculation, meter inaccuracies, meter mis-reads, computer and billing adjustments. Documentation MUST be on file for any line leaks entry.
Line 27: Automatic entry from worksheet for repairs made for short term "Excavation" breaks.
Line 28: Enter gallons lost due to theft during curent month. Documentation MUST be on file.
Unknown Loss
NOTE: Lines 31 through 36 provides information on water that was not sold, used, or lost in documented ways. The amount on line 31 is water lost in still undiscovered locations. This section of the report provides a breakdown of the amounts and costs of this "Unknown Loss".
NOTE: Line 37 is the percentage of water loss for ratemaking puposes for systems under PSC authority. The total gallons lost, known and unknown, is divided by the total produced and/or purchased to determine this percentage.

## Management Monthly Report
Board and Management
Monthly Water Use Report
Water Utility: |  | Cawood Water/Pathfork |  |  |  | PWSID: | 480565/483727
For the Month of: |  | August |  |  |  | Year: | 2021
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [5 empty] | 11425209 | 99.3%
4 | Water Purchased | [5 empty] | 80400 | 0.6988%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 11505609
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6529229
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 6529229 | 56.75%
15 | TOTAL WATER NOT SOLD | [5 empty] | 4976380 | 43.25%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant | [5 empty] | 938250
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 1080457.246 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 0
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 200 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 2018907.246
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month) |  |  |  | 2886261.5661 | #VALUE!
25 | Service Line Breaks |  | (repaired during current month) |  |  |  | 0
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 0
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 2886261.5661
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 71211.1878
32 | [5 empty] | % "Unknown Loss" | 0.6189%
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 25.7%
© 2019

## PSC Monthly Report
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Cawood Water/Pathfork |  | PWSID: | 480565/483727
For the Month of: |  | August |  | Year: | 2021
LINE # |  |  | ITEM | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  |  | 11425.209
3 | Water Purchased |  |  |  | 80.4
4 | TOTAL PRODUCED AND PURCHASED |  |  |  | 11505.609
5
6 | WATER SALES
7 | Residential |  |  |  | 6529.229
8 | Commercial |  |  |  | 0
9 | Industrial |  |  |  | 0
10 | Bulk Loading Stations |  |  |  | 0
11 | Wholesale |  |  |  | 0
12 | Public Authorities |  |  |  | 0
13 | Other Sales (explain) |  | 0 |  | 0
14 | TOTAL WATER SALES |  |  |  | 6529.229
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  |  | 938.25
18 | Wastewater Plant |  |  |  | 0
19 | System Flushing |  |  |  | 1080.4572
20 | Fire Department |  |  |  | 0.2
21 | Other Usage (explain) |  | 0 |  | 0
22 | TOTAL OTHER WATER USED |  |  |  | 2018.9072
23
24 | WATER LOSS
25 | Tank Overflows |  |  |  | 0
26 | Line Breaks |  |  |  | 2886.2616
27 | Line Leaks |  |  |  | 0
28 | Excavation Damages |  |  |  | 0
29 | Theft |  |  |  | 0
30 | Other Loss (explain) |  | Unknown Loss |  | 71.2112
31 | TOTAL LINE LOSS |  |  |  | 2957.4728
32
33 | Note: Line 14 + Line 22 + Line 31 Must Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 Divided by Line 4) |  |  |  | 25.7%

## Comments
Comments and Adjustments
Cawood Water/Pathfork |  | PWSID: | 480565/483727
August | 2021
In the areas below list any comments, adjustments, etc. to explain monthly water accountability entries.