## Ex3,pg1of5 - alloc summary
Calculation of Maximum Class Demands
On February 10th Design Day Assuming 68 Degree Days |  |  |  | Small | Large
For Determination of Demand Allocation Factors |  |  |  | Non | Non
|  |  |  | Residential | Residential
|  | Total | Residential | GS | GS
Non-Temp Sensitive Load (per Day) |  | 4727 | 746 | 337 | 3644 | 0
Temp Sensitive Load (per Degree Day) |  | 683 | 317 | 109 | 257 | 0
Calculated Daily Requirements at -3 Degrees |  | 51171 | 22302 | 7749 | 21120 | 0
Percentage of Total |  |  | 43.58% | 15.14% | 41.27% | 0%
Allocation of Underground Storage
|  |  |  | Small | Large
|  |  |  | Non | Non
|  | Storage |  | Residential | Residential
|  | Withdrawals | Residential | GS | GS
Total Allocated Withdrawals Thru February 9th
0
| December | 459871 | 185886 | 65452 | 208533 | 0
| January | 497651 | 203916 | 71618 | 222117 | 0
| Feb. 1-9 | 154735 | 62909 | 22127 | 69699 | 0
| Total | 1112257 | 452711 | 159197 | 500349 | 0
Balance of Working Gas Allocated on the
Basis of -3 Degree Feb. 10 Design Day |  | 1788743 | 779592.8629 | 270875.4863 | 738274.6509 | 0
Total Working Gas |  | 2901000 | 1232303.8629 | 430072.4863 | 1238623.6509 | 0
Total Allocation Factor For Underground Storage |  | 1 | 0.42479 | 0.14825 | 0.42696 | 0 | 1
2009862
2581589
2901000

## Ex3. pg2of5 - Nov. Load & Alloc
|  |  | Small | Large
|  |  | Non | Non
|  |  | Residential | Residential
|  | Residential | GS | GS |  | Total
Non-Temperature Sensitive Load (per Day) |  | 746 | 337 | 3644 | 0 | 4727
Temperature Sensitive Load (per Degree Day) |  | 317 | 109 | 257 | 0 | 683
|  | Requirements | [5 empty] | Storage Allocation
|  |  | Small | Large |  |  |  |  | Small | Large
|  |  | Non | Non |  |  | Storage |  | Non | Non
| Heating |  | Residential | Residential |  |  | Withdrawals |  | Residential | Residential
Date | Degree Days | Residential | GS | GS |  | Total | (Injections) | Residential | GS | GS
1 | 14 | 5184 | 1863 | 7242 | 0 | 14289 | 0 | 0 | 0 | 0 | 0
2 | 14 | 5184 | 1863 | 7242 | 0 | 14289 | 0 | 0 | 0 | 0 | 0
3 | 14 | 5184 | 1863 | 7242 | 0 | 14289 | 0 | 0 | 0 | 0 | 0
4 | 14 | 5184 | 1863 | 7242 | 0 | 14289 | 0 | 0 | 0 | 0 | 0
5 | 15 | 5501 | 1972 | 7499 | 0 | 14972 | 0 | 0 | 0 | 0 | 0
6 | 15 | 5501 | 1972 | 7499 | 0 | 14972 | 0 | 0 | 0 | 0 | 0
7 | 15 | 5501 | 1972 | 7499 | 0 | 14972 | 0 | 0 | 0 | 0 | 0
8 | 15 | 5501 | 1972 | 7499 | 0 | 14972 | 0 | 0 | 0 | 0 | 0
9 | 16 | 5818 | 2081 | 7756 | 0 | 15655 | 0 | 0 | 0 | 0 | 0
10 | 16 | 5818 | 2081 | 7756 | 0 | 15655 | 0 | 0 | 0 | 0 | 0
11 | 17 | 6135 | 2190 | 8013 | 0 | 16338 | 0 | 0 | 0 | 0 | 0
12 | 17 | 6135 | 2190 | 8013 | 0 | 16338 | 0 | 0 | 0 | 0 | 0
13 | 18 | 6452 | 2299 | 8270 | 0 | 17021 | 0 | 0 | 0 | 0 | 0
14 | 18 | 6452 | 2299 | 8270 | 0 | 17021 | 0 | 0 | 0 | 0 | 0
15 | 19 | 6769 | 2408 | 8527 | 0 | 17704 | 0 | 0 | 0 | 0 | 0
16 | 19 | 6769 | 2408 | 8527 | 0 | 17704 | 0 | 0 | 0 | 0 | 0
17 | 20 | 7086 | 2517 | 8784 | 0 | 18387 | 0 | 0 | 0 | 0 | 0
18 | 20 | 7086 | 2517 | 8784 | 0 | 18387 | 0 | 0 | 0 | 0 | 0
19 | 20 | 7086 | 2517 | 8784 | 0 | 18387 | 0 | 0 | 0 | 0 | 0
20 | 21 | 7403 | 2626 | 9041 | 0 | 19070 | 0 | 0 | 0 | 0 | 0
21 | 21 | 7403 | 2626 | 9041 | 0 | 19070 | 0 | 0 | 0 | 0 | 0
22 | 21 | 7403 | 2626 | 9041 | 0 | 19070 | 0 | 0 | 0 | 0 | 0
23 | 22 | 7720 | 2735 | 9298 | 0 | 19753 | 0 | 0 | 0 | 0 | 0
24 | 22 | 7720 | 2735 | 9298 | 0 | 19753 | 0 | 0 | 0 | 0 | 0
25 | 22 | 7720 | 2735 | 9298 | 0 | 19753 | 0 | 0 | 0 | 0 | 0
26 | 22 | 7720 | 2735 | 9298 | 0 | 19753 | 0 | 0 | 0 | 0 | 0
27 | 23 | 8037 | 2844 | 9555 | 0 | 20436 | 0 | 0 | 0 | 0 | 0
28 | 23 | 8037 | 2844 | 9555 | 0 | 20436 | 0 | 0 | 0 | 0 | 0
29 | 24 | 8354 | 2953 | 9812 | 0 | 21119 | 0 | 0 | 0 | 0 | 0
30 | 24 | 8354 | 2953 | 9812 | 0 | 21119 | 0 | 0 | 0 | 0 | 0
Total | 561 | 200217 | 71259 | 253497 | 0 | 524973 | 0 | 0 | 0 | 0 | 0

## Ex3,pg3of5 - Dec. Load & Alloc.
|  |  | Small | Large
|  |  | Non | Non
|  |  | Residential | Residential
|  | Residential | GS | GS |  | Total
Non-Temperature Sensitive Load (per Day) |  | 746 | 337 | 3644 | 0 | 4727
Temperature Sensitive Load (per Degree Day) |  | 317 | 109 | 257 | 0 | 683
|  | Requirements | [5 empty] | Storage Allocation
|  |  | Small | Large |  |  |  |  | Small | Large
|  |  | Non | Non |  |  | Storage |  | Non | Non
| Heating |  | Residential | Residential |  |  | Withdrawals |  | Residential | Residential
Date | Degree Days | Residential | GS | GS |  | Total | (Injections) | Residential | GS | GS
1 | 25 | 8671 | 3062 | 10069 | 0 | 21802 | 13648.9161 | 5428 | 1917 | 6304 | 0 | 13563.7103 | 13563.7103
2 | 25 | 8671 | 3062 | 10069 | 0 | 21802 | 12536.7971 | 4986 | 1761 | 5790 | 0 | 14153.4368 | 14153.4368
3 | 26 | 8988 | 3171 | 10326 | 0 | 22485 | 12556.3695 | 5019 | 1771 | 5766 | 0 | 14153.4368 | 14153.4368
4 | 26 | 8988 | 3171 | 10326 | 0 | 22485 | 13465.6559 | 5383 | 1899 | 6184 | 0 | 14743.1634 | 14743.1634
5 | 26 | 8988 | 3171 | 10326 | 0 | 22485 | 13858.8753 | 5540 | 1954 | 6365 | 0 | 14743.1634 | 14743.1634
6 | 26 | 8988 | 3171 | 10326 | 0 | 22485 | 13993.8753 | 5594 | 1974 | 6427 | 0 | 15332.8899 | 15332.8899
7 | 26 | 8988 | 3171 | 10326 | 0 | 22485 | 14387.0948 | 5751 | 2029 | 6607 | 0 | 15332.8899 | 15332.8899
8 | 26 | 8988 | 3171 | 10326 | 0 | 22485 | 14388.0948 | 5751 | 2029 | 6608 | 0 | 15332.8899 | 15332.8899
9 | 27 | 9305 | 3280 | 10583 | 0 | 23168 | 14390.0948 | 5780 | 2037 | 6573 | 0 | 15332.8899 | 15332.8899
10 | 27 | 9305 | 3280 | 10583 | 0 | 23168 | 14391.0948 | 5780 | 2037 | 6574 | 0 | 15922.6164 | 15922.6164
11 | 27 | 9305 | 3280 | 10583 | 0 | 23168 | 13950.0948 | 5603 | 1975 | 6372 | 0 | 15922.6164 | 15922.6164
12 | 28 | 9622 | 3389 | 10840 | 0 | 23851 | 14342.3142 | 5786 | 2038 | 6518 | 0 | 16512.343 | 16512.343
13 | 28 | 9622 | 3389 | 10840 | 0 | 23851 | 14343.3142 | 5786 | 2038 | 6519 | 0 | 16512.343 | 16512.343
14 | 28 | 9622 | 3389 | 10840 | 0 | 23851 | 14734.5336 | 5944 | 2094 | 6697 | 0 | 16512.343 | 16512.343
15 | 29 | 9939 | 3498 | 11097 | 0 | 24534 | 14734.5336 | 5969 | 2101 | 6665 | 0 | 17102.0695 | 17102.0695
16 | 29 | 9939 | 3498 | 11097 | 0 | 24534 | 14752.5336 | 5976 | 2103 | 6673 | 0 | 17102.0695 | 17102.0695
17 | 29 | 9939 | 3498 | 11097 | 0 | 24534 | 14752.5336 | 5976 | 2103 | 6673 | 0 | 17102.0695 | 17102.0695
18 | 29 | 9939 | 3498 | 11097 | 0 | 24534 | 15143.753 | 6135 | 2159 | 6850 | 0 | 17102.0695 | 17102.0695
19 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15143.753 | 6159 | 2166 | 6819 | 0 | 17691.796 | 17691.796
20 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15534.9724 | 6318 | 2222 | 6995 | 0 | 17691.796 | 17691.796
21 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15482.9724 | 6297 | 2215 | 6971 | 0 | 18281.5226 | 18281.5226
22 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15482.9724 | 6297 | 2215 | 6971 | 0 | 18281.5226 | 18281.5226
23 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15874.1918 | 6456 | 2271 | 7147 | 0 | 18281.5226 | 18281.5226
24 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15874.1918 | 6456 | 2271 | 7147 | 0 | 18281.5226 | 18281.5226
25 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15874.1918 | 6456 | 2271 | 7147 | 0 | 18281.5226 | 18281.5226
26 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 16007.1918 | 6510 | 2290 | 7207 | 0 | 18871.2491 | 18871.2491
27 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16007.1918 | 6535 | 2297 | 7176 | 0 | 18871.2491 | 18871.2491
28 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16007.1918 | 6535 | 2297 | 7176 | 0 | 18871.2491 | 18871.2491
29 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16069.1918 | 6560 | 2306 | 7204 | 0 | 18871.2491 | 18871.2491
30 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16069.1918 | 6560 | 2306 | 7204 | 0 | 18871.2491 | 18871.2491
31 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16069.1918 | 6560 | 2306 | 7204 | 0 | 18871.2491 | 18871.2491
[12 empty] | 522497.7094 | 522497.7094
Total | 882 | 302720 | 106585 | 339638 | 0 | 748943 | 459866.8754 | 185886 | 65452 | 208533 | 0

## Ex3, pg4of5 - Jan Load & Alloc.
|  |  | Small | Large
|  |  | Non | Non
|  |  | Residential | Residential
|  | Residential | GS | GS |  | Total
Non-Temperature Sensitive Load (per Day) |  | 746 | 337 | 3644 | 0 | 4727
Temperature Sensitive Load (per Degree Day) |  | 317 | 109 | 257 | 0 | 683
|  | Requirements | [5 empty] | Storage Allocation
|  |  | Small | Large |  |  |  |  | Small | Large
|  |  | Non | Non |  |  | Storage |  | Non | Non
| Heating |  | Residential | Residential |  |  | Withdrawals |  | Residential | Residential
Date | Degree Days | Residential | GS | GS |  | Total | (Injections) | Residential | GS | GS
1 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 15613.2203 | 6374 | 2240 | 6999 | 0 | 22537.9158 | 6924.6955
2 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 15586.2203 | 6363 | 2236 | 6987 | 0 | 22537.9158 | 6951.6955
3 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 15602.2203 | 6369 | 2239 | 6994 | 0 | 22537.9158 | 6935.6955
4 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 15596.2203 | 6367 | 2238 | 6992 | 0 | 22537.9158 | 6941.6955
5 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15602.2203 | 6392 | 2245 | 6966 | 0 | 22537.9158 | 6935.6955
6 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15728.2203 | 6443 | 2263 | 7022 | 0 | 22537.9158 | 6809.6955
7 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15727.2203 | 6443 | 2263 | 7021 | 0 | 22537.9158 | 6810.6955
8 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15734.2203 | 6446 | 2264 | 7025 | 0 | 22537.9158 | 6803.6955
9 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15731.2203 | 6444 | 2264 | 7023 | 0 | 22537.9158 | 6806.6955
10 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15722.2203 | 6441 | 2262 | 7019 | 0 | 22537.9158 | 6815.6955
11 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15745.2203 | 6450 | 2266 | 7029 | 0 | 22537.9158 | 6792.6955
12 | 33 | 11207 | 3934 | 12125 | 0 | 27266 | 15720.2203 | 6461 | 2268 | 6991 | 0 | 22537.9158 | 6817.6955
13 | 33 | 11207 | 3934 | 12125 | 0 | 27266 | 15712.2203 | 6458 | 2267 | 6987 | 0 | 22537.9158 | 6825.6955
14 | 33 | 11207 | 3934 | 12125 | 0 | 27266 | 15681.2203 | 6445 | 2263 | 6973 | 0 | 23127.6423 | 7446.422
15 | 34 | 11524 | 4043 | 12382 | 0 | 27949 | 15720.2203 | 6482 | 2274 | 6964 | 0 | 23127.6423 | 7407.422
16 | 34 | 11524 | 4043 | 12382 | 0 | 27949 | 16115.4367 | 6645 | 2331 | 7139 | 0 | 23127.6423 | 7012.2056
17 | 34 | 11524 | 4043 | 12382 | 0 | 27949 | 16107.4367 | 6641 | 2330 | 7136 | 0 | 23127.6423 | 7020.2056
18 | 33 | 11207 | 3934 | 12125 | 0 | 27266 | 16109.4367 | 6621 | 2324 | 7164 | 0 | 23127.6423 | 7018.2056
19 | 33 | 11207 | 3934 | 12125 | 0 | 27266 | 16133.4367 | 6631 | 2328 | 7174 | 0 | 23127.6423 | 6994.2056
20 | 33 | 11207 | 3934 | 12125 | 0 | 27266 | 16112.4367 | 6623 | 2325 | 7165 | 0 | 23127.6423 | 7015.2056
21 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15992.4367 | 6551 | 2301 | 7140 | 0 | 23127.6423 | 7135.2056
22 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 15999.4367 | 6554 | 2302 | 7143 | 0 | 23127.6423 | 7128.2056
23 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 16000.4367 | 6555 | 2302 | 7143 | 0 | 23127.6423 | 7127.2056
24 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 16389.653 | 6714 | 2358 | 7317 | 0 | 23127.6423 | 6737.9893
25 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 16389.653 | 6714 | 2358 | 7317 | 0 | 23127.6423 | 6737.9893
26 | 32 | 10890 | 3825 | 11868 | 0 | 26583 | 16522.653 | 6769 | 2377 | 7377 | 0 | 23127.6423 | 6604.9893
27 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16911.8694 | 6904 | 2426 | 7582 | 0 | 23717.3688 | 6805.4995
28 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16911.8694 | 6904 | 2426 | 7582 | 0 | 23717.3688 | 6805.4995
29 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16911.8694 | 6904 | 2426 | 7582 | 0 | 23717.3688 | 6805.4995
30 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16911.8694 | 6904 | 2426 | 7582 | 0 | 23717.3688 | 6805.4995
31 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16911.8694 | 6904 | 2426 | 7582 | 0 | 23717.3688 | 6805.4995
Total | 995 | 338541 | 118902 | 368679 | 0 | 826122 | 497654.1036 | 203916 | 71618 | 222117 | 0

## Feb Load & Alloc
|  |  | Small | Large
|  |  | Non | Non
|  |  | Residential | Residential
|  | Residential | GS | GS |  | Total
Non-Temperature Sensitive Load (per Day) |  | 746 | 337 | 3644 | 0 | 4727
Temperature Sensitive Load (per Degree Day) |  | 317 | 109 | 257 | 0 | 683
|  | Requirements | [5 empty] | Storage Allocation
|  |  | Small | Large |  |  |  |  | Small | Large
|  |  | Non | Non |  |  | Storage |  | Non | Non
| Heating |  | Residential | Residential |  |  | Withdrawals |  | Residential | Residential
Date | Degree Days | Residential | GS | GS |  | Total | (Injections) | Residential | GS | GS
1 | 31 | 10573 | 3716 | 11611 | 0 | 25900 | 16348.4973 | 6674 | 2346 | 7329 | 0 | 23127.6423 | 6779.145
2 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 16321.4973 | 6638 | 2335 | 7349 | 0 | 23127.6423 | 6806.145
3 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15951.5761 | 6488 | 2282 | 7182 | 0 | 22537.9158 | 6586.3396
4 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15559.655 | 6328 | 2226 | 7006 | 0 | 22537.9158 | 6978.2608
5 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15179.7338 | 6174 | 2171 | 6835 | 0 | 21948.1892 | 6768.4554
6 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15305.7338 | 6225 | 2189 | 6891 | 0 | 21948.1892 | 6642.4554
7 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 15304.7338 | 6225 | 2189 | 6891 | 0 | 21948.1892 | 6643.4554
8 | 30 | 10256 | 3607 | 11354 | 0 | 25217 | 14925.8126 | 6070 | 2135 | 6720 | 0 | 21358.4627 | 6432.6501
9 | 29 | 9939 | 3498 | 11097 | 0 | 24534 | 14922.8126 | 6045 | 2128 | 6750 | 0 | 21358.4627 | 6435.6501
10 | 29 | 9939 | 3498 | 11097 | 0 | 24534 | 14913.8126 | 6042 | 2126 | 6746 | 0 | 20768.7362 | 5854.9235
Total | 299 | 102243 | 35961 | 113283 | 0 | 251487 | 154733.865 | 62909 | 22127 | 69699 | 0