## Open_Condition_by_Ckt
NOMKV | TOR_CIRCUIT_ID | Circuit_NAME | Circuit_1_NAME | Line_NAME | ITIS_REGION_H_NAME | STRUCTURE_NUMBER | OBJECTID | Condtion Rating Descr | ITIS_ITIS_COMPONENT_LOOKUP_DESCRIPTION | ITIS_ITIS_CONDITION_TYPE_LOOKUP_DESCRIPTION | ITIS_ITIS_CONDITION_LOOKUP_DESCRIPTION | ITIS_ITIS_COND_STATUS_LOOKUP_DESCRIPTION | CREATED_DT
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-35 | 179825 | A3 | Pole | Structure | Rot Top | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-10 | 731233 | A2 | Crossarm | Structure | Bowed | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-8 | 148817 | A3 | Pole | Structure | Burnt | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-32 | 735489 | A2 | Crossarm | Structure | Insect Damage | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12 | 234225 | A2 | Pole | Structure | Rot Top | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-27 | 721601 | A2 | Pole | Structure | Rot Heart | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-57 | 148961 | A2 | Crossarm | Structure | Insect Damage | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-41 | 103297 | A3 | Knee / Vee Brace | Structure | Split | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-25 | 234241 | A2 | Pole | Structure | Rot Top | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-38 | 979217 | B | Guys | Structure | Loose | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-38 | 1107233 | B | Crossarm | Structure | Twisted | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-58 | 979233 | A3 | Crossarm | Structure | Rot Top | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-31 | 1207201 | B | Crossarm | Structure | Rot Top | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-14 | 675809 | A2 | Pole | Structure | Rot Top | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-51 | 103313 | B | Knee / Vee Brace | Structure | Split | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-10 | 148833 | A2 | Pole | Structure | Burnt | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-12 | 103265 | A3 | Shield Wire | Conductor | Damaged | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-29 | 583713 | A2 | Shield Wire | Conductor | Damaged | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-42 | 148881 | B | Conductor | Conductor | Damaged | Reported | 2009-09-18 14:43
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-11 | 1546811 | B | Crossarm | Structure | Rot Top | Reported | 2011-02-09 13:06
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-53 | 1546812 | A2 | Shield Wire | Conductor | Broken Strands | Reported | 2011-02-09 13:07
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-40 | 1746182 | A3 | Knee / Vee Brace | Structure | Rot Top | Reported | 2012-03-15 13:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-10 | 1870085 | A3 | Shield Wire | Conductor | Damaged | Reported | 2013-02-11 11:38
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22 | 1870086 | A2 | Shield Wire | Conductor | Damaged | Reported | 2013-02-11 11:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-44 | 1870087 | A2 | Shield Wire | Conductor | Damaged | Reported | 2013-02-11 11:42
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-35 | 2057232 | A3 | Crossarm | Structure | Rot Top | Reported | 2013-11-05 14:03
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-25 | 2072279 | A2 | Shield Wire | Conductor | Damaged | Reported | 2014-05-08 16:04
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-27 | 2072280 | A2 | Crossarm | Structure | Bowed | Reported | 2014-05-08 16:05
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-48 | 2072281 | A3 | Shield Wire | Conductor | Damaged | Reported | 2014-05-08 16:05
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-32 | 2080669 | A2 | Pole | Structure | Woodpecker | Reported | 2014-07-07 16:07
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-24 | 2116318 | A3 | Pole | Structure | Woodpecker | Reported | 2015-06-09 15:57
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-25 | 2116319 | A2 | Crossarm | Structure | Broken | Reported | 2015-06-09 15:58
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-28 | 2116320 | A2 | Crossarm | Structure | Broken | Reported | 2015-06-09 16:01
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-28 | 2116321 | A3 | Pole | Structure | Rot Top | Reported | 2015-06-09 16:03
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-28 | 2116322 | A2 | X-Brace | Structure | Disconnected | Reported | 2015-06-09 16:05
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-29 | 2116323 | A2 | Crossarm | Structure | Broken | Reported | 2015-06-09 16:06
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-42 | 2116325 | A2 | Crossarm | Structure | Rot Top | Reported | 2015-06-09 16:10
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-42 | 2116326 | A2 | Pole | Structure | Rot Heart | Reported | 2015-06-09 16:11
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-43 | 2116327 | A2 | Crossarm | Structure | Rot Top | Reported | 2015-06-09 16:11
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-43 | 2116328 | A2 | Pole | Structure | Broken | Reported | 2015-06-09 16:12
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-49 | 2116329 | A3 | Shield Wire | Conductor | Damaged | Reported | 2015-06-09 16:15
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-11 | 2116335 | A2 | Pole | Structure | Rot Top | Reported | 2015-06-10 08:49
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12 | 2116336 | A2 | Pole | Structure | Rot Top | Reported | 2015-06-10 08:51
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12 | 2116337 | A2 | Pole | Structure | Rot Top | Reported | 2015-06-10 08:52
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-25 | 2116342 | A2 | Pole | Structure | Woodpecker | Reported | 2015-06-10 08:57
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-25 | 2116345 | A2 | Pole | Structure | Woodpecker | Reported | 2015-06-10 10:23
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-3 | 2130704 | A2 | Crossarm | Structure | Bowed | Reported | 2015-11-09 16:26
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-14 | 2130715 | A2 | Pole | Structure | Rot Top | Reported | 2015-11-09 16:36
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-40 | 2130718 | A2 | Crossarm | Structure | Bowed | Reported | 2015-11-09 16:49
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-40 | 2130719 | A2 | Pole | Structure | Rot Top | Reported | 2015-11-09 16:49
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-43 | 2130720 | A2 | Shield Wire | Conductor | Damaged | Reported | 2015-11-09 16:59
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-45 | 2130721 | A2 | Shield Wire | Conductor | Damaged | Reported | 2015-11-09 17:01
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-1 | 2130748 | A2 | Crossarm | Structure | Rot Top | Reported | 2015-11-10 08:23
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-16 | 2130750 | A2 | Pole | Structure | Rot Heart | Reported | 2015-11-10 08:27
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-16 | 2130767 | A2 | Pole | Structure | Rot Top | Reported | 2015-11-10 08:27
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-10 | 2130752 | A2 | Crossarm | Structure | Rot Top | Reported | 2015-11-10 08:34
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-4 | 2130771 | A2 | Crossarm | Structure | Rot Top | Reported | 2015-11-10 08:37
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-4 | 2130772 | A2 | Pole | Structure | Rot Top | Reported | 2015-11-10 08:37
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-30 | 2130778 | A2 | Crossarm | Structure | Rot Top | Reported | 2015-11-10 08:56
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-1 | 2157109 | A3 | X-Brace | Structure | Disconnected | Reported | 2016-06-20 10:31
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-1 | 2157110 | A3 | X-Brace | Structure | Bowed | Reported | 2016-06-20 10:31
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-5 | 2157096 | B | Conductor | Conductor | Bird Cage | Reported | 2016-06-20 16:04
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-7 | 2157100 | A3 | Pole | Structure | Woodpecker | Reported | 2016-06-21 08:29
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-8 | 2157093 | A3 | Pole | Structure | Rot Top | Reported | 2016-06-21 08:55
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-9 | 2157123 | A3 | Shield Wire | Conductor | Damaged | Reported | 2016-06-21 09:32
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-9 | 2157122 | A3 | Shield Wire | Conductor | Damaged | Reported | 2016-06-21 09:39
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-13 | 2157126 | A2 | Pole | Structure | Rot Heart | Reported | 2016-06-21 13:42
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-13 | 2157124 | A2 | Pole | Structure | Rot Top | Reported | 2016-06-21 13:46
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22 | 2157099 | A2 | Pole | Structure | Rot Heart | Reported | 2016-06-23 10:42
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22 | 2157103 | A2 | Pole | Structure | Rot Heart | Reported | 2016-06-23 10:43
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22 | 2157097 | A3 | Pole | Structure | Burnt | Reported | 2016-06-23 10:44
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22 | 2157090 | A2 | Guys | Structure | Exposed | Reported | 2016-06-23 10:47
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22A | 2157105 | A3 | Pole | Structure | Woodpecker | Reported | 2016-06-23 10:58
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-28 | 2158033 | A2 | Pole | Structure | Rot Heart | Reported | 2016-06-29 12:11
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-28 | 2158034 | A2 | Pole | Structure | Rot Heart | Reported | 2016-06-29 12:13
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-29 | 2158035 | A3 | Pole | Structure | Broken | Reported | 2016-06-29 13:58
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-40 | 2158643 | A2 | Pole | Structure | Rot Shell | Reported | 2016-07-06 10:29
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-58 | 2158650 | A3 | Pole | Structure | Woodpecker | Reported | 2016-07-08 08:54
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-56 | 2158649 | A3 | Insulator | Structure | Broken | Reported | 2016-07-08 09:32
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-56 | 2158641 | A3 | Insulator | Structure | Broken | Reported | 2016-07-08 09:32
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-56 | 2158648 | A3 | Pole | Structure | Woodpecker | Reported | 2016-07-08 09:34
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-57 | 2158644 | A3 | Insulator | Structure | Broken | Reported | 2016-07-08 09:54
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-51 | 2158645 | A3 | Crossarm | Structure | Rot Heart | Reported | 2016-07-08 12:48
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-51 | 2158647 | A3 | Shield Wire | Conductor | Broken | Reported | 2016-07-08 12:49
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-50 | 2159233 | A3 | Pole | Structure | Woodpecker | Reported | 2016-07-14 13:03
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-50 | 2160668 | A2 | Pole | Structure | Rot Heart | Reported | 2016-07-18 09:52
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-7 | 2268498 | A2 | Pole | Structure | Burnt | Reported | 2017-02-23 10:42
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-10 | 2268497 | A3 | Pole | Structure | Woodpecker | Reported | 2017-02-23 11:37
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-14 | 2268499 | A2 | Pole | Structure | Burnt | Reported | 2017-02-23 15:47
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-44 | 2269942 | A2 | Crossarm | Structure | Rot Top | Reported | 2017-02-27 16:05
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-62 | 2269940 | A3 | Pole | Structure | Woodpecker | Reported | 2017-02-28 08:29
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-32 | 2269937 | A2 | Pole | Structure | Rot Top | Reported | 2017-03-09 09:24
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-32 | 2269939 | A3 | Pole | Structure | Woodpecker | Reported | 2017-03-09 09:37
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-31 | 2269938 | A3 | Pole | Structure | Woodpecker | Reported | 2017-03-09 09:38
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-31 | 2269944 | A3 | Pole | Structure | Woodpecker | Reported | 2017-03-09 09:38
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-38 | 2272097 | A3 | Pole | Structure | Rot Top | Reported | 2017-03-13 15:14
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-38 | 2272098 | A3 | Pole | Structure | Rot Top | Reported | 2017-03-13 15:14
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-9 | 2284195 | A2 | Crossarm | Structure | Rot Top | Reported | 2017-05-16 15:06
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-9 | 2284216 | A2 | Pole | Structure | Rot Heart | Reported | 2017-05-16 15:06
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-34 | 2284177 | A2 | Pole | Structure | Rot Top | Reported | 2017-05-16 15:10
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-34 | 2284208 | A3 | Pole | Structure | Rot Top | Reported | 2017-05-16 15:10
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-30 | 2284214 | A3 | Pole | Structure | Damaged | Reported | 2017-05-16 15:50
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-34 | 2284221 | A2 | Crossarm | Structure | Rot Top | Reported | 2017-05-16 15:51
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-34 | 2284201 | A3 | Pole | Structure | Damaged | Reported | 2017-05-16 15:51
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-15 | 2284483 | A2 | Crossarm | Structure | Rot Top | Reported | 2017-05-17 07:40
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-15 | 2284482 | A3 | Pole | Structure | Damaged | Reported | 2017-05-17 07:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-11 | 2295812 | A2 | Pole | Structure | Burnt | Reported | 2017-08-08 09:06
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-10 | 2295811 | A3 | X-Brace | Structure | Cracked | Reported | 2017-08-08 09:24
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12 | 2295810 | A2 | Pole | Structure | Broken | Reported | 2017-08-08 10:30
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12 | 2295809 | A2 | Pole | Structure | Rot Heart | Reported | 2017-08-08 10:38
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-22 | 2295714 | B | Guys | Structure | Loose | Reported | 2017-08-08 11:02
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-24 | 2295719 | A2 | Pole | Structure | Rot Heart | Reported | 2017-08-08 11:30
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-24 | 2295718 | A2 | Pole | Structure | Rot Heart | Reported | 2017-08-08 11:30
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-13 | 2295720 | A3 | Pole | Structure | Woodpecker | Reported | 2017-08-09 10:26
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-13 | 2295721 | B | Insulator | Structure | Broken | Reported | 2017-08-09 10:34
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-13 | 2295717 | A3 | Insulator | Structure | Broken | Reported | 2017-08-09 10:36
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12A | 2295715 | A2 | Pole | Structure | Burnt | Reported | 2017-08-09 11:22
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-35 | 2322022 | A3 | Pole | Structure | Rot Top | Reported | 2018-05-29 09:12
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-35 | 2322023 | A3 | Pole | Structure | Rot Top | Reported | 2018-05-29 09:13
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-1 | 2325759 | A2 | Pole | Structure | Rot Heart | Reported | 2018-06-27 08:26
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-12 | 2325771 | A3 | Pole | Structure | Cracked | Reported | 2018-06-27 10:03
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-12 | 2325764 | A3 | Pole | Structure | Cracked | Reported | 2018-06-27 10:04
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-6 | 2325760 | A3 | Shield Wire | Conductor | Damaged | Reported | 2018-06-28 11:01
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-6 | 2325762 | A3 | Pole | Structure | Burnt | Reported | 2018-06-28 11:02
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-23 | 2325767 | A2 | Pole | Structure | Leaning In-Line | Reported | 2018-07-02 10:58
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-34 | 2325769 | A2 | Crossarm | Structure | Rot Top | Reported | 2018-07-03 08:39
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-37 | 2325770 | A3 | Pole | Structure | Cracked | Reported | 2018-07-03 09:18
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-46 | 2325761 | A3 | Pole | Structure | Woodpecker | Reported | 2018-07-05 09:12
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-47 | 2325763 | A3 | Crossarm | Structure | Bowed | Reported | 2018-07-05 09:13
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-50 | 2325768 | A3 | Shield Wire | Conductor | Damaged | Reported | 2018-07-05 10:44
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-53 | 2326520 | A3 | Crossarm | Structure | Insect Damage | Reported | 2018-07-10 10:07
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-53 | 2326514 | A3 | Pole | Structure | Rot Heart | Reported | 2018-07-10 10:07
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-35 | 2327619 | A3 | Pole | Structure | Rot Top | Reported | 2018-07-31 13:39
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-35 | 2327620 | A3 | Pole | Structure | Rot Top | Reported | 2018-07-31 13:39
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-6 | 2352003 | A3 | Crossarm | Structure | Rot Top | Reported | 2019-01-24 13:07
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-6 | 2352022 | A3 | Pole | Structure | Rot Top | Reported | 2019-01-24 13:07
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-24 | 2352429 | A3 | Pole | Structure | Rot Top | Reported | 2019-01-28 11:33
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-55 | 2352423 | A3 | Pole | Structure | Woodpecker | Reported | 2019-01-28 15:11
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-55 | 2352419 | A3 | Pole | Structure | Cracked | Reported | 2019-01-28 15:12
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-53 | 2352422 | A3 | Knee / Vee Brace | Structure | Broken | Reported | 2019-01-28 15:34
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-58 | 2376138 | A3 | Pole | Structure | Rot Top | Reported | 2019-05-16 09:46
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-58 | 2376139 | A3 | Pole | Structure | Rot Top | Reported | 2019-05-16 09:47
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-58 | 2376140 | A3 | Pole | Structure | Rot Top | Reported | 2019-05-16 09:47
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-4 | 2376144 | A2 | Crossarm | Structure | Rot Top | Reported | 2019-05-16 10:00
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-4 | 2376145 | A3 | Pole | Structure | Rot Top | Reported | 2019-05-16 10:00
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | McKinney - Garrett | Roanoke | K337-4 | 2376146 | A3 | Knee / Vee Brace | Structure | Loose | Reported | 2019-05-16 10:01
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-12A | 2376147 | A2 | Pole | Structure | Burnt | Reported | 2019-05-16 10:02
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-24 | 2376148 | A2 | Pole | Structure | Rot Heart | Reported | 2019-05-16 10:02
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-24 | 2376149 | A2 | Pole | Structure | Rot Heart | Reported | 2019-05-16 10:03
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-14 | 2380039 | A3 | Crossarm | Structure | Rot Top | Reported | 2019-05-28 10:57
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-53 | 2380041 | A2 | Insulator | Structure | Broken | Reported | 2019-05-28 10:58
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-17 | 2427246 | A3 | Crossarm | Structure | Rot Top | Reported | 2019-10-15 14:06
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-42 | 2427247 | A3 | Crossarm | Structure | Bowed | Reported | 2019-10-15 14:06
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-49 | 2427248 | A3 | Pole | Structure | Rot Top | Reported | 2019-10-15 14:07
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-43 | 2481749 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-30 14:04
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-17 | 2481819 | A3 | Pole | Structure | Woodpecker | Reported | 2020-10-30 14:22
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-31 | 2482003 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-30 15:05
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-3 | 2482103 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-30 15:27
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-47 | 2482146 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-30 15:36
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-47 | 2482147 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-30 15:36
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-33 | 2482290 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-30 16:09
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-30 | 2482329 | A3 | Pole | Structure | Woodpecker | Reported | 2020-10-30 16:18
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-6 | 2482397 | B | Ground Lead Wire | Structure | Broken | Reported | 2020-10-30 16:36
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-39 | 2483208 | A3 | Crossarm | Structure | Bowed | Reported | 2020-10-30 20:09
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-58 | 2484212 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-31 01:20
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-42 | 2484357 | A2 | Pole | Structure | Rot Top | Reported | 2020-10-31 02:08
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-57 | 2484367 | A2 | Crossarm | Structure | Rot Top | Reported | 2020-10-31 02:11
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-57 | 2484368 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-31 02:11
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-16 | 2484527 | A3 | Guys | Structure | Loose | Reported | 2020-10-31 02:51
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-16 | 2484528 | A2 | Pole | Structure | Rot Heart | Reported | 2020-10-31 02:51
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-45 | 2484643 | A3 | Pole | Structure | Cracked | Reported | 2020-10-31 03:18
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-35 | 2484651 | A3 | Crossarm | Structure | Rot Top | Reported | 2020-10-31 03:20
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-35 | 2484652 | A3 | Insulator | Structure | Broken | Reported | 2020-10-31 03:20
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-55 | 2485332 | A3 | Pole | Structure | Cracked | Reported | 2020-10-31 06:34
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-55 | 2485333 | A3 | Pole | Structure | Rot Top | Reported | 2020-10-31 06:34
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-22B | 2485335 | A2 | Pole | Structure | Rot Top | Reported | 2020-10-31 06:35
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-11 | 2485572 | A2 | Crossarm | Structure | Bowed | Reported | 2020-10-31 07:41
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-11 | 2485573 | A2 | Crossarm | Structure | Rot Top | Reported | 2020-10-31 07:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-11 | 2485574 | A2 | Pole | Structure | Rot Heart | Reported | 2020-10-31 07:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-11 | 2485575 | A2 | Pole | Structure | Rot Top | Reported | 2020-10-31 07:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-11 | 2485576 | A2 | Shield Wire | Conductor | Damaged | Reported | 2020-10-31 07:41
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-51 | 2485869 | A3 | Pole | Structure | Rot Heart | Reported | 2020-10-31 09:06
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-5 | 2485940 | A2 | Shield Wire | Conductor | Damaged | Reported | 2020-10-31 09:27
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-53 | 2485958 | A2 | Pole | Structure | Rot Top | Reported | 2020-10-31 09:31
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-53 | 2485959 | A2 | Pole | Structure | Rot Top | Reported | 2020-10-31 09:31
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-38 | 2486050 | A3 | Pole | Structure | Woodpecker | Reported | 2020-10-31 09:54
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-10 | 2486187 | A2 | Knee / Vee Brace | Structure | Rot Top | Reported | 2020-10-31 10:44
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-11 | 2486978 | A2 | Crossarm | Structure | Bowed | Reported | 2020-11-04 07:45
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-14 | 2486979 | A2 | Crossarm | Structure | Rot Top | Reported | 2020-11-04 07:46
46 | 365 | Beaver Creek - McKinney No. 1 |  | Spring Fork Tap | Roanoke | K335-31 | 2486981 | A2 | Pole | Structure | Rot Top | Reported | 2020-11-04 07:47
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-32 | 2486984 | A2 | Crossarm | Structure | Rot Top | Reported | 2020-11-04 07:50
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-41 | 2486985 | A3 | Pole | Structure | Rot Top | Reported | 2020-11-04 07:50
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-51 | 2486986 | A3 | Pole | Structure | Rot Top | Reported | 2020-11-04 07:51
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-51 | 2486987 | A3 | Pole | Structure | Rot Top | Reported | 2020-11-04 07:52
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-63 | 2486988 | A3 | Pole | Structure | Woodpecker | Reported | 2020-11-04 07:52
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-2 | 2514194 | A3 | Pole | Structure | Rot Top | Reported | 2021-04-08 09:23
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-2 | 2514195 | A3 | Pole | Structure | Rot Top | Reported | 2021-04-08 09:24
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Spring Fork Tap | Roanoke | K335-12 | 2514219 | A3 | Crossarm | Structure | Bowed | Reported | 2021-04-08 10:51
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-12 | 2526399 | A2 | Pole | Structure | Rot Heart | Reported | 2021-05-19 03:46
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-12 | 2526400 | A2 | Pole | Structure | Rot Top | Reported | 2021-05-19 03:46
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-4 | 2526424 | A3 | Pole | Structure | Woodpecker | Reported | 2021-05-19 03:48
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-2 | 2526437 | A2 | Pole | Structure | Rot Top | Reported | 2021-05-19 03:50
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-15 | 2534848 | A2 | Pole | Structure | Rot Top | Reported | 2021-07-02 03:54
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-68 | 2534851 | A3 | Pole | Structure | Cracked | Reported | 2021-07-02 03:54
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-14 | 2534864 | A2 | Pole | Structure | Rot Heart | Reported | 2021-07-02 03:57
46 | 365 | Beaver Creek - McKinney No. 1 |  | McKinney - Garrett | Roanoke | K337-9 | 2537851 | A2 | Pole | Structure | Rot Top | Reported | 2021-07-22 03:46
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-17 | 2538448 | A2 | Pole | Structure | Rot Top | Reported | 2021-07-31 03:57
46 | 365 | Beaver Creek - McKinney No. 1 |  | Beaver Creek - Garrett | Roanoke | K336-21 | 2538693 | A3 | Pole | Structure | Woodpecker | Reported | 2021-07-31 04:00
46 | 365 | Beaver Creek - McKinney No. 1 | Beaver Creek - McKinney No. 1 | Beaver Creek - Garrett | Roanoke | K336-26 | 2539380 | A3 | Crossarm | Structure | Rot Top | Reported | 2021-08-04 03:35