## Winter Storm Elliot
Kentucky Power Company Big Sandy Unit 1 Winter Storm Elliott December 23-27, 2023
Unit Name | Event Type | Start Date | End Date | Duration (Hours) | Loss (MWH) | Description
Big Sandy 1 | PO | 2022-09-10 | 2023-01-16 | 1104 | 326121.6 | Boiler inspection/repair, Generator Field Out inspection/possible rewedge, Turbine Valve inspection/repair, Corrosion Fatigue inspection/repair, Cooling Tower inspection/repair, ReHeat Attemperator inspection/repair, Gas valve inspection/repair, FD Fan and Motor inspection/repair, High Energy Piping (HEP) inspection/repair, Flow Accelerated Corrosion (FAC) inspection/repair, Core Loop testing.