## Discovery Request 16.a
Kentucky American Water | [7 empty] | KAW_R_PSCDR1_NUM016_012422_Attachment A
Case No. 2021-00434
KAW_R_PSCDR1_NUM016_012422
Line # | Utility Account | Utility Account Description | Asset Original Cost at 12/31/20 | Proposed Useful Life | Major Systems Components | Average Service Life Range(1) |  | Midpoint Average Service Life(1)
1 | 394000 | Laboratory Equipment | 14117.29 | 5 | Laboratory Instrumentation | 3 | 10 | 6.5
2 | 363000 | Services Sewer | 211948.22 | 50 | Sewer Service Lateral Pipe | 30 | 75 | 52.5
3 | 389600 | Other P/E - CPS(2) | 360620.6 | 10 | Sanitary Sewer Evaluation Survey |  |  | 10
4 | 395000 | Power Operated Equip | 42900 | 10 | Small Sewerage Pumps | 5 | 10 | 7.5
5 | 361101 | Collecting Mains Other | 660102.91 | 50 | Gravity Sewers | 30 | 75 | 52.5
6 | 360000 | Collection Sewers Forced | 1027493.61 | 50 | Pressure Mains | 30 | 75 | 52.5
7 | 371200 | Pump Equip Oth Pwr | 5914.14 | 20 | Grit and Sludge Handling Equipment | 5 | 10 | 7.5
8 | 354300 | Struct & Imp Pumping | 1818045.99 | 40 | Lift Station Structures | 20 | 50 | 35
9 | 364000 | Flow Measuring Devices | 13490.56 | 50 | Automatic Controls | 5 | 20 | 12.5
10 | 361100 | Collecting Mains | 2273393.28 | 40 | Manholes/Mains | 20 | 50 | 35
11 | 396000 | Communication Equip | 10834.46 | 10 | Automatic Controls | 5 | 20 | 12.5
12 | 354500 | Struct & Imp General | 339664.76 | 10 | Extended Aeration Tankage, Metal | 20 | 30 | 25
13 | 393000 | Tool Shop & Garage Equip | 45678.66 | 5 | Service Vehicles | 3 | 5 | 4
14 | 380000 | TD Equipment(3) | 1617360.23 | 5 | Aerator Compressors | 5 | 10 | 7.5
15 | 390300 | Computer Software(2) | 1527.77 | 14.56 | Computer Software |  |  | 14.56
16 | 353500 | Land & Ld Rights General | 39244
17 | 354200 | Struct & Imp Collection | 207763.26 | 20 | Manholes | 20 | 50 | 35
18 | 354400 | Struct & Imp Treatment | 4405588.97 | 10 | Lagoons | 5 | 25 | 15
19 | 371160 | Pump Eqp Elect <=5HP-TX | 77496.23 | 5 | Sludge Pumps | 5 | 10 | 7.5
20 | 381000 | Plant Sewers | 3884.68 | 20 | Gravity Sewers | 30 | 75 | 52.5
21 | 397000 | Misc Equipment | 28881.77 | 10 | Laboratory Instrumentation | 3 | 10 | 6.5
22 | 371100 | Pump Equip Elect | 463306.26 | 20 | Lift Station, Pumps | 7 | 7 | 7
(1) Source: O&M Guide for the Support of Rural Water-Wastewater Systems by Commission on Rural Water, Chicago, Illinois, 1974, p 246-247 (Table 44)
(2) Mechanical Wastewater Treatment Equipment (Aerator, Blower, Clarifier Gearbox, Comminutors, & UV equipment)
(3) Mid-point Average Service Life based on proposed useful life. No associated Major Systems Component from Table 44.