## Sheet1
GASB 68 Liability Adjustment |  | Purchased Water/Power Adjustment
Per the Audit - Recognized by the District
Adjustment for Rate Case
CERS | 50914
OPEB | 14496 | Western Fleming District
|  | Purchases In Gallons during 2020 |  | 76142498.4519
Expense Reported | 65410 | Wholesale Rate |  | $2.14/1,000
Less: Actual Payment | -30572
|  | Pro Forma Water Purchased |  | 162944.9467
Adjustment | 34838 | Less Water Purchased during the test year |  | -149501.23
|  | Adjustment |  | 13443.7167
|  | Water Produced and Purchased, 2020 Annual Report |  |  |  | 138067000
|  | Less: Volume Sold During the Test Year |  |  |  | -104441000
|  | Water Loss |  |  |  | 33626000
|  | Divide by: Total Purchased and Produced |  |  |  | 138067000
|  | Percent Lost |  |  |  | 24.35%
|  | Allowable Water Loss |  |  |  | -15%
|  | Excess Water Loss Percentage |  |  |  | 9.355%
Excess
Water Loss
|  |  | Test Year |  | Percentage |  | Decrease
|  | Purchased Water | 257522 |  | 9.355% |  | 24090.7768
|  | Purchased Power for Pumping | 24017 |  | 9.355% |  | 2246.7525
[5 empty] | Total |  | 26337.5292

## Depreciation
Asset # | Description | Date | Cost | Years |  | 12/31/17 AD | 2018 Exp | 12/31/18 AD | 2019 Exp | 12/31/19 AD | 2020 Exp | 12/31/20 AD |  | NBV | Proposed Adjustment
[15 empty] | Years | Expense | Difference
1 | Organizational Cost | 1974-06-30 | 9918 | 40 |  | 9918 | 0 | 9918 |  | 9918 |  | 9918 |  | 0 | Fully Depreciated
9918
2 | Land | 1974-06-30 | 20997 | 0 | Land | 0 | 0 | 0 |  | 0 |  | 0 |  | 20997
3 | Building | 2001-01-01 | 94574 | 40 |  | 40194 | 2162.5 | 42356.5 | 2364.35 | 44720.85 | 2364.35 | 47085.2 |  | 47488.8 | 40 | 2364.35 | 0
4 | Building | 2002-01-01 | 18871 | 40 |  | 7548 | 471.775 | 8019.775 | 471.775 | 8491.55 | 471.775 | 8963.325 |  | 9907.675 | 40 | 471.775 | 0
5 | Building - 20 x 50 Storage Building | 2008-08-25 | 17790 | 40 |  | 4188 | 444.75 | 4632.75 | 444.75 | 5077.5 | 444.75 | 5522.25 |  | 12267.75 | 40 | 444.75 | 0
6 | New Roof - Storage Building | 2011-09-22 | 6500 | 15 |  | 2744 | 433.3333 | 3177.3333 | 433.3333 | 3610.6667 | 433.3333 | 4044 |  | 2456 | 15 | 433.3333 | 0
7 | New Roof - Inventory Building | 2011-09-22 | 23400 | 15 |  | 9880 | 1560 | 11440 | 1560 | 13000 | 1560 | 14560 |  | 8840 | 15 | 1560 | 0
8 | Land Improvements | 2005-01-01 | 14500 | 15 |  | 12567 | 966.6667 | 13533.6667 | 966.3367 | 14500.0033 | 0 | 14500.0033 |  | -0.0033333 | Fully Depreciated |  | 0
9 | HVAC unit | 2020-04-21 | 5660 | 15 |  |  | 0 | 0 | 0 | 0 | 377.3333 | 377.3333 |  | 5282.6667 | 15 | 377.3333 | 0
[13 empty] | 95052.1117 |  |  |  | 0
9 | Pump Plant and Equipment | 1993-01-01 | 4540 | 20 |  | 4540 | 0 | 4540 |  | 4540 |  | 4540 |  | 0 | Fully Depreciated |  | 0
10 | Pump Plant and Equipment | 2000-01-01 | 6100 | 20 |  | 5490 | 305 | 5795 | 305 | 6100 | 0 | 6100 |  | 0 | Fully Depreciated |  | 0
11 | Electric Pump Equipment | 1996-01-01 | 92453 | 20 |  | 92453 | 0 | 92453 |  | 92453 |  | 92453 |  | 0 | Fully Depreciated |  | 0
12 | Electric Pump Equipment | 2004-01-01 | 5500 | 20 |  | 3850 | 275 | 4125 | 275 | 4400 | 275 | 4675 |  | 825 | 20 | 275 | 0
13 | Electric Pump Equipment | 2005-01-01 | 2227 | 20 |  | 1448 | 111.35 | 1559.35 | 111.35 | 1670.7 | 111.35 | 1782.05 |  | 444.95 | 20 | 111.35 | 0
14 | 3 HP Goulds Pump - East Union Pump Static | 2010-12-31 | 1909 | 20 |  | 676 | 95.45 | 771.45 | 95.45 | 866.9 | 95.45 | 962.35 |  | 946.65 | 20 | 95.45 | 0
[13 empty] | 110512.4 |  |  |  | 0
15 | Distribution Stand Pipe | 1991-01-01 | 192414 | 40 |  | 127256 | 4810.35 | 132066.35 | 4810.35 | 136876.7 | 4810.35 | 141687.05 |  | 55537.3 | 45 | 4275.8667 | -534.4833
[13 empty] | 141687.05 |  |  |  | 0
16 | 150M Gallon Double Ellipsoidal Tank | 2009-09-23 | 666405 | 30 |  | 185113 | 22213.5 | 207326.5 | 22213.5 | 229540 | 22213.5 | 251753.5 |  | 436865 | 45 | 14809 | -7404.5
17 | Transmission/Distribution Mains | 1994-01-01 | 2545893 | 40 |  | 1489978 | 63647.325 | 1553625.325 | 63647.325 | 1617272.65 | 63647.325 | 1680919.975 |  | 928620.35 | 62.5 | 40734.288 | -22913.037
18 | Transmission/Distribution Mains | 2001-01-01 | 401423 | 40 |  | 170605 | 10035.575 | 180640.575 | 10035.575 | 190676.15 | 10035.575 | 200711.725 |  | 210746.85 | 62.5 | 6422.768 | -3612.807
19 | Transmission/Distribution Mains | 2002-01-01 | 2033897 | 40 |  | 813559 | 50847.425 | 864406.425 | 50847.425 | 915253.85 | 50847.425 | 966101.275 |  | 1118643.15 | 62.5 | 32542.352 | -18305.073
20 | Phase 9-63,800 LF PVC Waterline | 2009-07-24 | 677128 | 50 |  | 115112 | 13542.56 | 128654.56 | 13542.56 | 142197.12 | 13542.56 | 155739.68 |  | 534930.88 | 50 | 13542.56 | 0
21 | Phase 8-Waterline Extension | 2009-08-25 | 608918 | 50 |  | 102501 | 12178.36 | 114679.36 | 12178.36 | 126857.72 | 12178.36 | 139036.08 |  | 482060.28 | 62.5 | 9742.688 | -2435.672
22 | River Crossing Renovation | 2011-07-22 | 13124 | 40 |  | 2133 | 328.1 | 2461.1 | 328.1 | 2789.2 | 328.1 | 3117.3 |  | 10334.8 | 40 | 328.1 | 0
23 | Transmission/Distribution Mains | 2018-06-30 | 884758 | 50 |  | 0 | 8848 | 8848 | 17695.16 | 26543.16 | 17695.16 | 44238.32 |  | 858214.84 | 62.5 | 14156.128 | -3539.032
[13 empty] | 3441617.855 |  |  |  | 0
24 | Transmission/Distribution Services | 1990-01-01 | 7202 | 10 |  | 7202 | 0 | 7202 |  | 7202 |  | 7202 |  | 0 | Fully Depreciated |  | 0
[13 empty] | 7202 |  |  |  | 0
25 | Transmission Meters | 1996-01-01 | 200762 | 10 |  | 200762 | 0 | 200762 |  | 200762 |  | 200762 |  | 0 | Fully Depreciated |  | 0
26 | Transmission Meters | 2000-01-01 | 13199 | 10 |  | 13199 | 0 | 13199 |  | 13199 |  | 13199 |  | 0 | Fully Depreciated |  | 0
27 | Transmission Meters | 2001-01-01 | 6600 | 10 |  | 6600 | 0 | 6600 |  | 6600 |  | 6600 |  | 0 | Fully Depreciated |  | 0
28 | Transmission Meters | 2002-01-01 | 19200 | 10 |  | 19200 | 0 | 19200 |  | 19200 |  | 19200 |  | 0 | Fully Depreciated |  | 0
29 | Transmission Meters | 2006-01-01 | 7193 | 10 |  | 7193 | 0 | 7193 |  | 7193 |  | 7193 |  | 0 | Fully Depreciated |  | 0
30 | Transmission Meters Installations | 1995-06-30 | 46342 | 10 |  | 46342 | 0 | 46342 |  | 46342 |  | 46342 |  | 0 | Fully Depreciated |  | 0
31 | Transmission Meters Installations | 2003-01-01 | 7200 | 10 |  | 7200 | 0 | 7200 |  | 7200 |  | 7200 |  | 0 | Fully Depreciated |  | 0
32 | Transmission Meters Installations | 2004-01-01 | 15000 | 10 |  | 15000 | 0 | 15000 |  | 15000 |  | 15000 |  | 0 | Fully Depreciated |  | 0
33 | Transmission Meters Installations | 2005-01-01 | 15600 | 10 |  | 15600 | 0 | 15600 |  | 15600 |  | 15600 |  | 0 | Fully Depreciated |  | 0
34 | Transmission Meters Installations | 2006-01-01 | 21800 | 10 |  | 21800 | 0 | 21800 |  | 21800 |  | 21800 |  | 0 | Fully Depreciated |  | 0
35 | Transmission Meters Installations | 2007-01-01 | 28000 | 10 |  | 28000 | 0 | 28000 |  | 28000 |  | 28000 |  | 0 | Fully Depreciated |  | 0
[13 empty] | 380896 |  |  |  | 0
36 | Hydrants | 1993-01-01 | 9433 | 40 |  | 5861 | 235.825 | 6096.825 | 235.825 | 6332.65 | 235.825 | 6568.475 |  | 2864.525 | 50 | 188.66 | -47.165
[13 empty] | 6568.475 |  |  |  | 0
37 | Furniture & Equipment | 1995-06-01 | 6219 | 5 |  | 6219 | 0 | 6219 |  | 6219 |  | 6219 |  | 0 | Fully Depreciated |  | 0
38 | Furniture & Equipment | 2000-06-30 | 9925 | 5 |  | 9925 | 0 | 9925 |  | 9925 |  | 9925 |  | 0 | Fully Depreciated |  | 0
39 | Furniture & Equipment | 2001-06-30 | 13625 | 5 |  | 13625 | 0 | 13625 |  | 13625 |  | 13625 |  | 0 | Fully Depreciated |  | 0
40 | Furniture & Equipment | 2002-06-30 | 1130 | 5 |  | 1130 | 0 | 1130 |  | 1130 |  | 1130 |  | 0 | Fully Depreciated |  | 0
41 | New Alarm & Camera System | 2009-04-07 | 5746 | 7 |  | 5746 | 0 | 5746 |  | 5746 |  | 5746 |  | 0 | Fully Depreciated |  | 0
42 | Lexmark T650n Printer | 2009-05-04 | 2995 | 7 |  | 2995 | 0 | 2995 |  | 2995 |  | 2995 |  | 0 | Fully Depreciated |  | 0
43 | Dell Laptop Computer - E5410 | 2011-01-05 | 765 | 5 |  | 765 | 0 | 765 |  | 765 |  | 765 |  | 0 | Fully Depreciated |  | 0
44 | 2 Dell Computers | 2012-03-26 | 1910 | 5 |  | 1910 | 0 | 1910 |  | 1910 |  | 1910 |  | 0 | Fully Depreciated |  | 0
45 | Carpet | 2013-01-04 | 6052 | 7 |  | 4323 | 864.5714 | 5187.5714 | 864.4314 | 6052.0029 |  | 6052.0029 |  | -0.0028571 | Fully Depreciated |  | 0
[13 empty] | 48367.0029 |  |  |  | 0
46 | Vehicle | 2004-01-01 | 18649 | 5 |  | 18649 | 0 | 18649 |  | 18649 |  | 18649 |  | 0 | Fully Depreciated |  | 0
47 | Vehicle | 2006-01-01 | 20918 | 5 |  | 20918 | 0 | 20918 |  | 20918 |  | 20918 |  | 0 | Fully Depreciated |  | 0
48 | 2008 Chevrolet Colorado | 2008-06-02 | 12099 | 5 |  | 12099 | 0 | 12099 |  | 12099 |  | 12099 |  | 0 | Fully Depreciated |  | 0
[13 empty] | 51666 |  |  |  | 0
49 | Verneer Heart Road Boar | 2013-12-20 | 4283 | 10 |  | 1749 | 428.3 | 2177.3 | 428.3 | 2605.6 | 428.3 | 3033.9 |  | 1249.1 | 10 | 428.3 | 0
[13 empty] | 3033.9 |  |  |  | 0
50 | Equipment | 2005-01-01 | 53533 | 10 |  | 53533 | 0 | 53533 |  | 53533 |  | 53533 |  | 0 | Fully Depreciated |  | 0
51 | Equipment | 2006-01-01 | 9752 | 10 |  | 9752 | 0 | 9752 |  | 9752 |  | 9752 |  | 0 | Fully Depreciated |  | 0
52 | Cub Cadet s/n 1E240H60340 | 2011-01-04 | 1679 | 7 |  | 1639 | 40 | 1679 |  | 1679 |  | 1679 |  | 0 | Fully Depreciated |  | 0
53 | 2 Handheld Meter Readers | 2012-08-21 | 7800 | 7 |  | 6036 | 1114.2857 | 7150.2857 |  | 7150.2857 |  | 7150.2857 |  | 649.7143 | Fully Depreciated |  | 0
54 | Transmissions and lines (cont of asset 23) | 2019-04-30 | 19882 | 50 | [5 empty] | 0 | 397.64 | 397.64 | 72511.9257 | 19484.36 | 62.5 | 318.112 | -79.528
[16 empty] | Total Adj. | -58871.2973
| TOTAL |  | 8943392 |  |  | 3766725 | 195960.0021 | 3962685.0021 | 203854.2564 | 4166539.2586 | 202493.4617 | 4369032.7202 | 4369032.7202 | 4769657.6348