## SAO
SCHEDULE OF ADJUSTED OPERATIONS
South Woodford Water District
|  |  | Test Year | Adjustments | Ref. | Proforma | Adjustment | Location
Operating Revenues
| Total Metered Retail Sales |  | 846168 | -6369.604 | A | 839798.396 | Adjust billed water revenues to billing analysis. | Tab ExBA Cell H8
| Private Fire Protection |  | 0 |  |  | 0
| Sales for Resale |  | 0 |  |  | 0
Other Water Revenues:
|  | Forfeited Discounts | 0 |  |  | 0
|  | Misc. Service Revenues | 0 |  |  | 0
|  | Other Water Revenues | 10302 | 0 |  | 10302
Total Operating Revenues |  |  | 856470 | -6369.604 |  | 850100.396
Operating Expenses
Operation and Maintenance
|  | Salaries and Wages - Employees | 39055 |  |  | 39055
|  | Salaries and Wages - Officers | 10800 |  |  | 10800
|  | Employee Pensions and Benefits | 0 | 344.448 | B | 344.448 | Add cost of allowed dental insurance to correct line. | Tab Dental Cell C14
|  | Purchased Water | 492989 | -72122.1955 | C | 420866.8045 | Adjust purchased water above 15% water loss. | Tab Water Loss Cell D29
|  | Purchased Power | 32896 | -4812.545 | C | 28083.455 | Adjust purchased power above 15%water loss. | Tab Water Loss Cell D30
|  | Chemicals |  |  |  | 0
|  | Materials and Supplies | 94199 | -15540 | D | 78659 | Remove cost of materials related to tap fee collections. | Tab Capital Cell C6
|  | Contractual Services - Accounting | 8560 |  |  | 8560
|  | Contractual Services - Management | 54000 | -3600 | E | 50400 | Adjust cost for new management contract | Tab Contractors Cell G6
|  | Contractual Services - Other | 30004 | -6660 | D |  | Remove cost of labor related to tap fee collections. | Tab Capital Cell C5
|  |  |  | 42732 | L |  | Adjust for additional meter reading costs. | File 9a_Known_and_Measurable_Changes-Meter_Reading
|  |  |  | 228 | F | 66304 | Correction to amount shown on 2020 PSC Annual Report. | Documentation of this adjustment was not found. Recommend removal.
|  | Rental of Building/Real Property | 12000 |  |  | 12000
|  | Transportation Expenses | 0 |  |  | 0
|  | Insurance - General Liability | 21030 | -1104.96 | G | 19925.04 | Remove cost of dental insurance from incorrect line. | Tab Dental Cell C12
|  | Insurance - Other | 0 |  |  | 0
|  | Bad Debt | 0 |  |  | 0
|  | Miscellaneous Expenses | 11370 | 0 |  | 11370
| Total Operation and Mnt. Expenses |  | 806903 | -60535.2524 |  | 746367.7476
| Depreciation Expense |  | 100346 | -5447.7565 | H | 94898.2435 | Adjust depreciation expense based upon allowed useful lives. | Tab Depreciation Cell K44
| Taxes Other Than Income |  | 5581 | -826.2925 | I | 4754.7075 | Adjust payroll taxes based upon salaries and wages. | Tab Wages Cell G22
Total Operating Expenses |  |  | 912830 | -66809.3014 |  | 846020.6986
Total Utility Operating Income |  |  | -56360 | 60439.6974 |  | 4079.6974
REVENUE REQUIREMENTS
Pro Forma Operating Expenses | [5 empty] | 846020.6986
Plus: |  | Average Annual Principal and Interest Payments |  |  | J | 83626.12 | Average of five years of annual debt service. | Tab Debt Service Cell M21
|  | Additional Working Capital |  |  | K | 16725.224 | Twenty percent of average annual debt service. | Tab Debt Service Cell M23
Total Revenue Requirement | [5 empty] | 946372.0426
Less: |  | Other Operating Revenue |  |  |  | 10302
|  | Private Fire Protection |  |  |  | 0
|  | Interest Income |  |  |  | 351
Revenue Required From Sales of Water | [5 empty] | 935719.0426
Less: |  | Revenue from Sales with Present Rates |  |  |  | 839798.396
Required Revenue Increase | [5 empty] | 95920.6466
Percent Increase | [5 empty] | 11.42%

## Wages
Salaries & Wages and Associated Adjustments
Total
| Pro Forma | Pro Forma | Pro Forma | Pro Forma | Pro Forma | Pro Forma | Pension
Employee | Reg. Hrs | O. T. Hours | Wage Rate | Reg. Wages | O. T. Wages | Wages | Eligible
Heather Hensley | 1345 | 0 | 15 | 20175 | 0 | 20175 | N
Janet Napier | 944 | 0 | 20 | 18880 | 0 | 18880 | N
| 2289 | 0 |  | 39055 | 0 | 39055
Total Gross Wages | [5 empty] | 39055
Gross Wages for Full Time Employees CERS Eligible | [5 empty] | 0
Adjustments
|  |  | Pro Forma Salaries & Wages Expense |  |  | 39055
|  |  | Less: Test Year Salaries & Wages Exp |  |  | -39055
|  |  | Pro Forma Salaries & Wages Adj'mt |  |  | 0
|  |  | Pro Forma Salaries and Wages Expense |  |  | 39055
|  |  | Times: 7.65 Percent FICA Rate |  |  | 7.65%
|  |  | Pro Forma Payroll Taxes |  |  | 2987.7075
|  |  | Less: Test Year Payroll Taxes |  |  | -3814
|  |  | Payroll Tax Adjustment |  |  | -826.2925
|  |  | Wages applicable to CERS payments |  |  | 0
|  |  | Times: Percent Pension Contribution |  |  | 26.95%
|  |  | Total Pro Forma Pension Contribution |  |  | 0
|  |  | Less: Test Year Pension Contribution |  |  | 0
|  |  | Pension & Benefits Adjustment |  |  | 0

## Dental
Dental Insurance Adjustment
|  | MONTHLY |  |  | DISTRICT'S | Allowable | Allowable
| MONTHLY | EMPLOYEE | EMPLOYEE | WATER DIST | ANNUAL | Employer | Employer
| PREMIUM | CONTRIB | CONTRIB % | CONTRIB % | PREMIUM | Share | Premium
Janet Napier | 23.92 | 0 | 0% | 100% | 287.04 | 60% | 172.224
Heather Hensley | 23.92 | 0 | 0% | 100% | 287.04 | 60% | 172.224
TOTAL | 47.84 | 0 |  |  | 574.08 |  | 344.448
Adjustments:
Exclude entire amount of Dental Insurance from Insurance - General Liability |  | -1104.96
Add allowable employer share of Dental Insurance to Employee Pensions and Benefits |  | 344.448

## Contractors
South Woodford Water District
Contractor Costs
|  |  | Test Year |  | ProForma | Adjustment
Contract Management
Matthew Coyle |  |  | 54000 |  | 50400 | -3600 | E
Contract Labor
Reading Meters 1 |  |  | 13696 |  | 13696 | 0
Reading Meters 2 |  |  | 12336 |  | 12336 | 0
Reading Meters 3 |  |  | 4200 |  | 4200 | 0
Water Testing |  |  | 6960 |  | 12000 | 5040 | M
|  |  | 37192 |  | 42232 | 5040
Maintenance | Hours | Test Year Rate | Test Year Total | Proforma Rate | Proforma Total | Adjustment
Service Calls/Meter Reading and Verification | 102 | 40 | 4080 | 60 | 6120 | 2040
Service Calls/Meter Changeout and Turning Valves | 198 | 40 | 7920 | 80 | 15840 | 7920
Two Men and Truck First Hour | 43 | 150 | 6450 | 200 | 8600 | 2150
Two Men and Truck Subsequent Hours | 64 | 100 | 6400 | 150 | 9600 | 3200
Two Men, Truck, and Excavator First Hour | 65 | 200 | 13000 | 300 | 19500 | 6500
Two Men, Truck, and Excavator Subsequent Hours | 142 | 150 | 21300 | 250 | 35500 | 14200
| 614 |  | 59150 |  | 95160 | 36010 | N

## Depreciation
Table A
DEPRECIATION EXPENSE ADJUSTMENTS
South Woodford Water District
Depreciation
|  | Date in | Original | Reported |  | Proforma |  | Expense
| Asset | Service | Cost * | Life | Depr. Exp. | Life | Depr. Exp. | Adjustment
General Plant
| Structures & Improvements | varies | 2380 | varlies | 45.027 | 37.5 | 63.4667 | 18.4396
| Communication & Computer Eqmt. | varies | 10644 | varlies | 1064.4 | 10 | 1064.4 | 0
| Office Furniture & Equipment |  |  |  |  | 22.5 | 0 | 0
| Power Operated Equipment | varies | 0 | varlies | 0 | 12.5 | 0 | 0
| Tools, Shop, & Garage Equipment |  |  |  |  | 17.5 | 0 | 0
| Tank Repairs & Painting |  |  |  |  | 15 | 0 | 0
Source of Supply Plant
| Collecting & Impounding Reservoirs |  |  |  |  | 62.5 | 0 | 0
| Supply Mains |  |  |  |  | 62.5 | 0 | 0
Pumping Plant
| Structures & Improvements |  |  |  |  | 37.5 | 0 | 0
| Telemetry | varies | 0 | varies | 0 | 10 | 0 | 0
| Pumping Equipment |  |  |  |  | 20 | 0 | 0
Transmission & Distribution Plant
| Hydrants | varies | 126253.35 | varies | 2991.5813 | 50 | 2991.5813 | 0
| Transmission & Distribution Mains | varies | 4035093.9 | varies | 68943.4422 | 62.5 | 64561.5024 | -4381.9398
| Meter Installations | varies | 421061.43 | varies | 8569.2691 | 45 | 9356.9207 | 787.6515
| Meter Change-outs |  |  |  |  | 15 | 0 | 0
| Pump Equipment | varies | 5042.88 | varies | 47.9642 | 20 | 252.144 | 204.1798
| Tank Fence |  |  |  |  | 37.5 | 0 | 0
| Services |  |  |  |  | 40 | 0 | 0
| Reservoirs & Tanks | varies | 747391.5 | varies | 18684.7876 | 45 | 16608.7 | -2076.0876
| Tank Painting & Repairs |  |  |  |  | 15 | 0 | 0
Transportation Equipment
| Entire Group |  |  |  |  | 7 | 0 | 0
Water Treatment Plant
| Structures and Improvements |  |  |  |  | 62.5 | 0 | 0
| Water Treatment Equipment |  |  |  |  | 27.5 | 0 | 0
TOTALS |  |  | 5347867.06 |  | 100346.4715 |  | 94898.715 | -5447.7565
* Includes only costs associated with assets that contributed to depreciation expense in the test year.

## Debt Service
Table B
DEBT SERVICE SCHDULE
South Woodford Water District
CY 2022 - 2026
| CY 2022 |  | CY 2023 |  | CY 2024 |  | CY 2025 |  | CY 2026
|  | Interest |  | Interest |  | Interest |  | Interest |  | Interest
| Principal | & Fees | Principal | & Fees | Principal | & Fees | Principal | & Fees | Principal | & Fees | TOTALS
RD04 Loan Series 1996 A | 16000 | 6011 | 16900 | 5131 | 17800 | 4202 | 18800 | 3223 | 19800 | 2189 | 110056
RD05 Loan Series 1996B | 6700 | 1569 | 7000 | 1209 | 7400 | 833 | 8100 | 435 | 0 | 0 | 33246
RD06 Loan Series 1999A | 7400 | 8570 | 7700 | 8246 | 8000 | 7910 | 8400 | 7560 | 8800 | 7192 | 79778
RD07 Loan Series 1999B | 1300 | 1600 | 1300 | 1600 | 1400 | 1500 | 1400 | 1500 | 1500 | 1400 | 14500
KRWFC Series 2007A | 20916.67 | 11301.06 | 21916.63 | 10132.79 | 22916.7 | 9489.59 | 23916.67 | 8504.14 | 24916.63 | 7475.72 | 161486.6
Replenish Depreciation Fund | 10680 | 0 | 8384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19064 | See email from Auditor re Replenish Depreciation Fund
TOTALS | 62996.67 | 29051.06 | 63200.63 | 26318.79 | 57516.7 | 23934.59 | 60616.67 | 21222.14 | 55016.63 | 18256.72 | 418130.6 | 418130.6
[7 empty] | Average Annual Principal & Interest |  |  |  | 83626.12
[7 empty] | Average Annual Coverage |  |  |  | 16725.224 | 100351.344
``

## Capital
Labor and Materials Adjustment for New Service Installations
New Meter Fees Collected |  | 22200
Labor | 30% | 6660
Materials | 70% | 15540

## Water Loss
Water Loss Adjustment
Produced |  | 0
Purchased |  | 203361
Total Produced and Purchased |  | 203361
Sold |  | 128106
Uses:
WTP | 0
Flushing | 14000
Fire | 1000
Other | 0
Total Other Water Used |  | 15000
Losses:
Tank Overflows | 1500
Line Breaks | 65
Line Leaks | 70
Unknown | 58620
Total Losses: |  | 60255
Sold, Used, and Lost |  | 203361
|  |  | 29.63% | water loss percentage
|  |  | 15% | allowable in rates
|  |  | 14.63% | adjustment percentage
Costs Subject to Water Loss Adjustment |  |  | Adjustment
Purchased Water | 492989 |  | -72122.1955
Purchased Power | 32896 |  | -4812.545
Chemicals | 0 |  | 0
Total | 525885 |  | -76934.7404
Computation of Water Loss Surcharge
Total Adjustment |  |  | -76934.7404
/ Number of Bills |  |  | 19889
Monthly Surcharge Amount |  |  | 3.8682

## Rates
TABLE C
CURRENT AND PROPOSED RATES
SOUTH WOODFORD WATER DISTRICT
RETAIL RATES
Rate per Thousand Gallons per Month |  | Current | Proposed |  | Difference
| First 2,000 Gallons | 20.48 | 22.82 | #REF! | 2.34 | 11.43%
| Next 2,000 Gallons | 4.99 | 5.56 |  | 0.57 | 11.42%
| Next 6,000 Gallons | 4.78 | 5.33 |  | 0.55 | 11.51%
| Next 90,000 Gallons | 4.45 | 4.96 |  | 0.51 | 11.46%
| Over 100,000 Gallons | 4.05 | 4.51 | #REF! | 0.46 | 11.36%
WATER LOSS REDUCTION SURCHARGE
Amount per Customer |  | Current | Proposed |  | Difference
per month |  | 0 | 3.8682 |  | 3.8682 | 100%

## Bills
TABLE D
CURRENT AND PROPOSED BILLS
SOUTH WOODFORD WATER DISTRICT
Gallons | Meter | Existing | Proposed
per Month* | Size | Bill | Bill | Change | Percentage
0 | 5/8 x 3/4" | 20.48 | 22.82 | 2.34 | 11.43%
2000 | 5/8 x 3/4" | 20.48 | 22.82 | 2.34 | 11.43%
4000 | 5/8 x 3/4" | 30.46 | 33.94 | 3.48 | 11.42%
6000 | 5/8 x 3/4" | 40.02 | 44.6 | 4.58 | 11.44%
8000 | 5/8 x 3/4" | 49.58 | 55.26 | 5.68 | 11.46%
10000 | 5/8 x 3/4" | 59.14 | 65.92 | 6.78 | 11.46%
15000 | 5/8 x 3/4" | 81.39 | 90.72 | 9.33 | 11.46%
20000 | 5/8 x 3/4" | 103.64 | 115.52 | 11.88 | 11.46%
25000 | 1" | 125.89 | 140.32 | 14.43 | 11.46%
30000 | 1" | 148.14 | 165.12 | 16.98 | 11.46%
40000 | 1" | 192.64 | 214.72 | 22.08 | 11.46%
50000 | 1" | 237.14 | 264.32 | 27.18 | 11.46%
75000 | 2" | 348.39 | 388.32 | 39.93 | 11.46%
100000 | 2" | 459.64 | 512.32 | 52.68 | 11.46%
200000 | 2" | 864.64 | 963.32 | 98.68 | 11.41%
500000 | 2" | 2079.64 | 2316.32 | 236.68 | 11.38%
* Highlighted usage represents the average residential bill.

## Bills with Surcharge
TABLE E
CURRENT AND PROPOSED BILLS
WITH WATER LOSS REDUCTION SURCHARGE
SOUTH WOODFORD WATER DISTRICT
Gallons | Meter | Existing | Proposed
per Month* | Size | Bill | Bill | Change | Percentage
0 | 5/8 x 3/4" | 20.48 | 26.6882 | 6.2082 | 30.31%
2000 | 5/8 x 3/4" | 20.48 | 26.6882 | 6.2082 | 30.31%
4000 | 5/8 x 3/4" | 30.46 | 37.8082 | 7.3482 | 24.12%
6000 | 5/8 x 3/4" | 40.02 | 48.4682 | 8.4482 | 21.11%
8000 | 5/8 x 3/4" | 49.58 | 59.1282 | 9.5482 | 19.26%
10000 | 5/8 x 3/4" | 59.14 | 69.7882 | 10.6482 | 18.01%
15000 | 5/8 x 3/4" | 81.39 | 94.5882 | 13.1982 | 16.22%
20000 | 5/8 x 3/4" | 103.64 | 119.3882 | 15.7482 | 15.2%
25000 | 1" | 125.89 | 144.1882 | 18.2982 | 14.54%
30000 | 1" | 148.14 | 168.9882 | 20.8482 | 14.07%
40000 | 1" | 192.64 | 218.5882 | 25.9482 | 13.47%
50000 | 1" | 237.14 | 268.1882 | 31.0482 | 13.09%
75000 | 2" | 348.39 | 392.1882 | 43.7982 | 12.57%
100000 | 2" | 459.64 | 516.1882 | 56.5482 | 12.3%
200000 | 2" | 864.64 | 967.1882 | 102.5482 | 11.86%
500000 | 2" | 2079.64 | 2320.1882 | 240.5482 | 11.57%
* Highlighted usage represents the average residential bill.

## ExBA
|  | 2020 | CURRENT BILLING ANALYSIS | South Woodford Water District
Summary
|  | Customer Class |  | # of Bills | Gallons Sold | Revenue
|  | Residential/Commercial |  | 19889 | 128097900 | 844374.256
|  | Less Adjustments |  |  |  | -4575.86
|  | Net Retail |  |  |  | 839798.396
|  | From PSC Annual Report |  |  |  | 846168
|  | Difference |  |  |  | -6369.604 | Adjustment to SAO Billed Retail Revenues |  |  | -0.7528%
|  |  |  | First | Next | Next | Next | Over | Total
| Usage | Bills | Gallons | 2000 | 2000 | 6000 | 90000 | 100000
First | 2000 | 4922 | 4582700 | 4582700 | 0 | 0 | 0 | 0 | 4582700
Next | 2000 | 5601 | 16934400 | 11202000 | 5732400 | 0 | 0 | 0 | 16934400
Next | 6000 | 6866 | 41902000 | 13732000 | 13732000 | 14438000 | 0 | 0 | 41902000
Next | 90000 | 2412 | 50093500 | 4824000 | 4824000 | 14472000 | 25973500 | 0 | 50093500
Over | 100000 | 88 | 14585300 | 176000 | 176000 | 528000 | 7920000 | 5785300 | 14585300
| TOTALS | 19889 | 128097900 | 34516700 | 24464400 | 29438000 | 33893500 | 5785300 | 128097900
REVENUE BY RATE INCREMENT
|  | Bills | Gallons | Rate | Revenue
First | 2000 | 19889 | 34516700 | 20.48 | 407326.72
Next | 2000 |  | 24464400 | 4.99 | 122077.356
Next | 6000 |  | 29438000 | 4.78 | 140713.64
Next | 90000 |  | 33893500 | 4.45 | 150826.075
Over | 100000 |  | 5785300 | 4.05 | 23430.465
| TOTAL |  | 128097900 |  | 844374.256 |  |  |  | ,

## PrBA
|  | 2020 | PROPOSED BILLING ANALYSIS | South Woodford Water District
Summary
|  | Customer Class |  | # of Bills | Gallons Sold | Revenue
|  | Residential/Commercial |  | 19889 | 128097900 | 940997.047
|  | Less Adjustments |  |  |  | -4575.86
|  | Net Retail |  |  |  | 936421.187
|  | Revenue Required from New Rates |  |  |  | 935719.0426
|  | Difference |  |  |  | 702.1444
|  | Percent |  |  |  | 0.07504%
|  |  |  | First | Next | Next | Next | Over | Total
| Usage | Bills | Gallons | 2000 | 2000 | 6000 | 90000 | 100000
First | 2000 | 4922 | 4582700 | 4582700 | 0 | 0 | 0 | 0 | 4582700
Next | 2000 | 5601 | 16934400 | 11202000 | 5732400 | 0 | 0 | 0 | 16934400
Next | 6000 | 6866 | 41902000 | 13732000 | 13732000 | 14438000 | 0 | 0 | 41902000
Next | 90000 | 2412 | 50093500 | 4824000 | 4824000 | 14472000 | 25973500 | 0 | 50093500
Over | 100000 | 88 | 14585300 | 176000 | 176000 | 528000 | 7920000 | 5785300 | 14585300
| TOTALS | 19889 | 128097900 | 34516700 | 24464400 | 29438000 | 33893500 | 5785300 | 128097900
REVENUE BY RATE INCREMENT
|  | Bills | Gallons | Rate | Revenue
First | 2000 | 19889 | 34516700 | 22.82 | 453866.98
Next | 2000 |  | 24464400 | 5.56 | 136022.064
Next | 6000 |  | 29438000 | 5.33 | 156904.54
Next | 90000 |  | 33893500 | 4.96 | 168111.76
Over | 100000 |  | 5785300 | 4.51 | 26091.703
| TOTAL |  | 128097900 |  | 940997.047 |  |  |  | ,

## Notice_R
MONTHLY WATER RATES
SOUTH WOODFORD WATER DISTRICT
Monthly Rates for Water Usage
|  |  |  | Dollar | Percent
No. of Gallons per Month | Current | Proposed |  | Increase | Increase
First 2,000 Gallons | 20.48 | 22.82 | #REF! | 2.34 | 0
Next 2,000 Gallons | 4.99 | 5.56 | 0 | 0.57 | 0
Next 6,000 Gallons | 4.78 | 5.33 | 0 | 0.55 | 0
Next 90,000 Gallons | 4.45 | 4.96 | 0 | 0.51 | 0
Over 100,000 Gallons | 4.05 | 4.51 | #REF! | 0.46 | 0