## Rates WC
Wood Creek Water District Sewer Usage Report FY 2020-2021
Year | Month | WWTP Total Gallons (All Customers) | Wood Creek Sewer District (Gallons) | Percentage of Flow | Percentage of flow that WCWD Sanitary Department contributes to LUC collections system per month/annually. This data is collected by flow meters at each connection point between LUC and WCWD. Meters are calibrated per DOW recommendations. All information is actual flow (non-estimated).
2020 | July | 110627000 | 9731500 | 8.797%
2020 | August | 108018000 | 11370600 | 10.53%
2020 | September | 98032000 | 9518300 | 9.709%
2020 | October | 89179000 | 9063800 | 10.16%
2020 | November | 87931000 | 9579300 | 10.89%
2020 | December | 98235000 | 9201500 | 9.367%
2021 | January | 127221000 | 7930700 | 6.234%
2021 | February | 80497000 | 8956000 | 11.13%
2021 | March | 88255000 | 8150200 | 9.235%
2021 | April | 92843000 | 9953500 | 10.72%
2021 | May | 88907000 | 6564000 | 7.383%
2021 | June | 86681000 | 8561200 | 9.877%
| Total | 1156426000 | 108580600 | 9.389%
London Utility Commission Cost to Treat Per 1,000 Gallons of Sewer is calculated per City of London Ordinance No. 2009-06
Formula = | Annual OM&R Cost + Debt Service | Wastewater Treated Annually @ WWTP (1,000 gallons) | Total Cost per 1,000 Gallons
| $3,844,425 (2021 Sewer Expenses) $549,423 Debt Service Loan No. A02-09 $222,475 Debt Service Loan No. A14-010 | 1,156,426 Gallons | 3.99 | Current LUC Cost per 1,000 gallons (FY 2021)
Formula = | Annual OM&R Cost + Debt Service | Wastewater Treated Annually @ WWTP (1,000 gallons) | Total Cost per 1,000 Gallons
Sewer Expenses and Wastewater Treated Annual flows are based on FY 2021. | $3,844,425 (2022 Sewer Expenses) $548,370 Debt Service Loan No. A02-09 $222,136 Debt Service Loan No. A14-010 WWTP Expansion Project Annual Cost $647,700 HWY 192 Pump Station Project Annual Cost $29,191.25 | 1,156,426 Gallons | 4.57 | Upcoming LUC Cost per 1,000 gallons