## ssplant
weighted customer
| account description | original capital cost | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
intangible
OS | studies | 333145 | 95510.4952 | 98080.0741 | 76180.5952 | 0 | 48529.1349 | 14844.7005 | 0 | 0 | factor "SS, WTP & TD"
total intangible plant |  | 333145 | 95510.4952 | 98080.0741 | 76180.5952 | 0 | 48529.1349 | 14844.7005 | 0 | 0 | balance
source of supply (SS)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
ST | structures | 64100 | 41665 | 22435 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
EQ | equipment | 20450 | 13292.5 | 7157.5 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
total source of supply |  | 84550 | 54957.5 | 29592.5 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
LD | land & land rights | 348368 | 226439.2 | 121928.8 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
ST | structures | 9571788 | 6221662.2 | 3350125.8 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
FN | furniture | 173 | 112.45 | 60.55 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
PM | pumping | 213264 | 138621.6 | 74642.4 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
EQ | equipment | 481613 | 313048.45 | 168564.55 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
HE | heavy equipment | 13098 | 8513.7 | 4584.3 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
total water treatment plant |  | 10628304 | 6908397.6 | 3719906.4 | 0 | 0 | 0 | 0 | 0 | 0 | balance
transmission & distribution (TD)
LD | land & land rights | 126506 | 45688.962 | 40100.2329 | 34943.638 | 0 | 0 | 5156.5949 | 0 | 616.5722 | as trans & dist lines
TM | transmission mains | 26585951 | 26231951 | 0 | 0 | 0 | 0 | 0 | 0 | 354000 | 100% COMM
DL | distribution lines | 46046454 | 0 | 23023227 | 20062609.4353 | 0 | 0 | 2960617.5647 | 0 | 0 | dist main analysis
TK | storage tanks | 8366458 | 0 | 4183229 | 3645296.5349 | 0 | 0 | 537932.4651 | 0 | 0 | dist main analysis
PM | pumping | 5186590 | 0 | 2593295 | 2259816.347 | 0 | 0 | 333478.653 | 0 | 0 | dist main analysis
EQ | equipment | 1303087 | 0 | 651543.5 | 567759.8006 | 0 | 0 | 83783.6994 | 0 | 0 | dist main analysis
ST | structures | 237330 | 85714.2061 | 75229.5406 | 65555.5753 | 0 | 0 | 9673.9653 | 0 | 1156.7126 | as trans & dist lines
SV | services | 7400074 | 0 | 0 | 0 | 0 | 7400074 | 0 | 0 | 0 | 100 WCMS
MT | meters | 9673197 | 0 | 0 | 0 | 0 | 9673197 | 0 | 0 | 0 | 100 WCMS
HY | hydrants | 1267523 | 0 | 0 | 0 | 0 | 0 | 1267523 | 0 | 0 | 100 PFP
HE | heavy equipment | 599101 | 216371.5779 | 189904.7446 | 165484.3919 | 0 | 0 | 24420.3526 | 0 | 2919.933 | as trans & dist lines
IT | computer hardware/software | 6961 | 6961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% COMM
ZM | zone meters | 51970 | 51970 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% COMM
total transmission & distribution |  | 106851202 | 26638656.746 | 30756529.0181 | 26801465.7231 | 0 | 17073271 | 5222586.295 | 0 | 358693.2178 | balance
|  |  | 25.01% | 28.88% | 25.17% | 0% | 16.03% | 4.904% | 0% |  | factor "T & D"
total SS, WTP & TD |  | 117564056 | 33602011.846 | 34506027.9181 | 26801465.7231 | 0 | 17073271 | 5222586.295 | 0 | 358693.2178 | balance
| % total SS, WTP & TD |  | 28.67% | 29.44% | 22.87% | 0% | 14.57% | 4.456% | 0% |  | factor "SS, WTP & TD"
general plant (AD)
ST | structures | 407904 | 116943.4121 | 120089.6143 | 93275.8094 | 0 | 59419.2567 | 18175.9076 | 0 | 0 | as factor SS, WTP & TD
FN | office equipment | 15881 | 4552.979 | 4675.4706 | 3631.5239 | 0 | 2313.3806 | 707.6459 | 0 | 0 | as factor SS, WTP & TD
VE | vehicles | 1627761 | 466668.4451 | 479223.52 | 372221.7108 | 0 | 237115.4699 | 72531.8542 | 0 | 0 | as factor SS, WTP & TD
EQ | tools & shop equipment | 40327 | 11561.4875 | 11872.5334 | 9221.6148 | 0 | 5874.4223 | 1796.942 | 0 | 0 | as factor SS, WTP & TD
LD | land | 103766 | 29749.0343 | 30549.3913 | 23728.2734 | 0 | 15115.5629 | 4623.738 | 0 | 0 | as factor SS, WTP & TD
IT | computer hardware/software | 110752 | 31751.8749 | 32606.1156 | 25325.7689 | 0 | 16133.2115 | 4935.0291 | 0 | 0 | as factor SS, WTP & TD
BL | billing |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as factor SS, WTP & TD
total general plant |  | 2306391 | 661227.2328 | 679016.6452 | 527404.7011 | 0 | 335971.304 | 102771.1168 | 0 | 0 | balance
gross plant in service |  | 120203592 | 34358749.574 | 35283124.6374 | 27405051.0194 | 0 | 17457771.439 | 5340202.1124 | 0 | 358693.2178 | balance
| % of total plant in service |  | 28.67% | 29.44% | 22.87% | 0% | 14.57% | 4.456% | 0% |  | factor "plant in service"
less | accumulated depreciation
| from sheet | -51479363.81 | -16267138.9738 | -13590056.1507 | -10609708.5072 | 0 | -8722411.3357 | -2193574.1185 | 0 | -96474.7241 | see acc dep sheet
net plant in service |  | 68724228.19 | 18091610.6002 | 21693068.4867 | 16795342.5122 | 0 | 8735360.1033 | 3146627.9939 | 0 | 262218.4937
less | contributions in aid
| distribution mains | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | distr main analysis
| meters and services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as meters & services
total contributions in aid |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
grants in aid
| taps, meters, and services | -753730.81 | 0 | 0 | 0 | 0 | -753730.81 | 0 | 0 | 0 | direct customer cost
| hydrants | -28349.69 | 0 | 0 | 0 | 0 | 0 | -28349.69 | 0 | 0 | fire protection
| trans & distribution lines | -2930163.51 | 0 | -1465081.755 | -1276683.0228 | 0 | 0 | -188398.7322 | 0 | 0 | distr main analysis
| pumps and tanks | -368589.71 | 0 | -184294.855 | -160595.8929 |  |  | -23698.9621 |  |  | distr main analysis
total grants in aid |  | -4080833.72 | 0 | -1649376.61 | -1437278.9157 | 0 | -753730.81 | -240447.3843 | 0 | 0 | balance
plus
| materials & supplies | 102602.37 | 29415.4292 | 30206.811 | 23462.185 | 0 | 14946.0573 | 4571.8875 | 0 | 0 | as gross plant in service
| prepayments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% WCA
| 1/8 O&M (working capital) | 913110.705 | 410162.2436 | 268250.0947 | 143192.162 | 60950.9944 | 21343.5296 | 9211.6807 | 0 | 0 | as O&M expense
total working capital |  | 1015713.075 | 439577.6728 | 298456.9057 | 166654.347 | 60950.9944 | 36289.5869 | 13783.5682 | 0 | 0 | balance
total rate base |  | 65659107.545 | 18531188.2731 | 20342148.7824 | 15524717.9435 | 60950.9944 | 8017918.8802 | 2919964.1777 | 0 | 262218.4937 | balance
| % total rate base |  | 28.22% | 30.98% | 23.64% | 0.09283% | 12.21% | 4.447% | 0% | 0.3994% | factor RATE BASE
| date acquired | asset description |  | initial cost | G/L asset account number | asset life | current depreciation | accumulated years | accumulated depreciation | assets depreciated-out since test period ended
| 1982-08-01 | METERS |  | 178599.71 | 1034-04 | 40 | 4464.9927 | 40.5507 | 178599.71 | MT | TD
| 2017-07-28 | 2017 VEHICLE # 153 |  | 22814 | 1041-05 | 5 | 4562.8 | 5.537 | 22814 | VE | AD
| 2000-02-01 | OFFICE CHAIR |  | 193.95 | 1040-05 | 22.5 | 8.62 | 23.0356 | 193.95 | FN | AD
| 2000-03-01 | FILING CABINETS |  | 466.72 | 1040-05 | 22.5 | 20.7431 | 22.9562 | 466.72 | FN | AD
| 2017-09-15 | 2017 F250 VEH. # 154 |  | 33789.2 | 1041-05 | 5 | 6757.84 | 5.4027 | 33789.2 | VE | AD
| 2005-04-30 | STIHL WEEDEATERS (2) |  | 439.04 | 1043-05 | 17.5 | 25.088 | 17.789 | 439.04 | EQ | TD
| 2000-06-01 | OFFICE CHAIR |  | 139.88 | 1040-05 | 22.5 | 6.2169 | 22.7041 | 139.88 | FN | AD
| 2000-06-01 | OFFICE CHAIR |  | 139.88 | 1040-05 | 22.5 | 6.2169 | 22.7041 | 139.88 | FN | AD
| 2000-06-01 | COMPUTER DESK |  | 368.74 | 1040-05 | 22.5 | 16.3884 | 22.7041 | 368.74 | FN | AD
| 2005-05-31 | WACKER BTS935 SAW |  | 795 | 1043-05 | 17.5 | 45.4286 | 17.7041 | 795 | EQ | TD
| 2005-05-31 | WACKER BTS935 SAW |  | 795 | 1043-05 | 17.5 | 45.4286 | 17.7041 | 795 | EQ | TD
| 2005-05-31 | TROYBILT 5500W GENERATOR |  | 699 | 1043-05 | 17.5 | 39.9429 | 17.7041 | 699 | EQ | TD
| 2005-06-30 | VERMEER HAMMERHEAD MOLE |  | 3700 | 1043-05 | 17.5 | 211.4286 | 17.6219 | 3700 | EQ | TD
| 2018-03-29 | VEH # 155 (2018 F150) |  | 22042 | 1041-05 | 5 | 4408.4 | 4.8685 | 21462.2652 | VE | AD
| 2018-05-10 | VEH. #156 (2018 CHEVY SILVERADO) |  | 23799 | 1041-05 | 5 | 4759.8 | 4.7534 | 22625.3507 | VE | AD
| 2018-05-10 | VEH. # 157 (2018 GMC SIERRA) |  | 24789 | 1041-05 | 5 | 4957.8 | 4.7534 | 23566.5288 | VE | AD
| 2000-12-01 | DESK FOR STAFF ACCOUNTANT UPSTAIRS |  | 166.24 | 1040-05 | 22.5 | 7.3884 | 22.2027 | 164.0437 | FN | AD
| 2000-12-01 | WORKSTATION FOR CASHIERS PC |  | 395.84 | 1040-05 | 22.5 | 17.5929 | 22.2027 | 390.6103 | FN | AD
| 1983-06-30 | HOOKUPS |  | 1657.08 | 1034-04 | 40 | 41.427 | 39.6384 | 1642.0982 | MT | TD
| 1983-07-01 | METERS |  | 9823.73 | 1034-04 | 40 | 245.5932 | 39.6356 | 9734.2399 | MT | TD
| 1983-07-01 | METER INSTALLATIONS |  | 2907.35 | 1034-04 | 40 | 72.6838 | 39.6356 | 2880.8652 | MT | TD
no assets added since end of test period (per M Spears)
Formulas:
public fire (PFP) = (TODAY()-[account description])/365
Note on I2: Connie Lea Allen, PE: MWD advertises that they "are not in the fire business"; however, they do set, maintain, and charge for hydrants, and, because they admit that they don't charge for very many of the existing hydrants, one can assume they do, in fact, have a PFP cost center.
Note on K2: Connie Lea Allen, PE: the only DA I could get is the Jenkins connector--I suspect significant industrial DA, but cannot verify
Note on L8: Connie Lea Allen, PE: MWD does not have information regarding the peak day. They produce and purchase (2 different sellers) and they don't have daily numbers.
Note on K24: Connie Lea Allen, PE: Jenkins Connector--Jenkins is only an emergency connection
Note on L25: Connie Lea Allen, PE: distribution main analysis yields 50.0% CAP, 43.6% AC, and 6.4% PFP
Note on L26: Connie Allen: I compared the distribution main analysis against actual count of "small tanks vs big tanks" and by number, 37% of the tanks benefitted all. The DMA said 50%, but the actual count did not take into account volume or cost, so I am confident 50% for wholesale is fair and reasonable. Similar logic for pump stations.
Note on B55: Connie Lea Allen, PE: last year of depreciation (annual as shown on bottom of "depreciation" tab) added (added negative) to depreciate out the assets retired year following test year
Note on B58: Connie Lea Allen, PE: none were identified
Note on L59: Connie L Allen: as this is how distribution main plant in service is allocated
Note on A63: Connie Lea Allen, PE: we know there are more assets that have been paid by grant, but this is what I could determine from the depreciation schedule.
Note on C71: Connie Lea Allen, PE: from ledger; Mike S says not many meters b/c they bought big bunches recently
Note on B72: Connie Lea Allen, PE: none claimed
Note on B73: Connie L Allen: this is currently based on water O&M total from ledger summary ssheet, multiplied by 1/8; may adjust for pro forma
Note on K76: Connie Lea Allen, PE: see "DA rate base"

## acc dep
weighted customer
| account description | total expenses | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
intangible
| organization & franchises | -276520 | -79276.4776 | -81409.3026 | -63232.1007 | 0 | -40280.5877 | -12321.5314 | 0 | 0 | factor "SS, WTP & TD"
total intangible plant |  | -276520 | -79276.4776 | -81409.3026 | -63232.1007 | 0 | -40280.5877 | -12321.5314 | 0 | 0 | balance
source of supply (SS)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
sST | structures | -4509 | -2930.85 | -1578.15 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
EQ | equipment | -4636 | -3013.4 | -1622.6 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
LN | lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
total source of supply |  | -9145 | -5944.25 | -3200.75 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
ST | structures | -3633697 | -2361903.05 | -1271793.95 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
FN | furniture | -173 | -112.45 | -60.55 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
PM | pumping | -95174 | -61863.1 | -33310.9 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
LN | lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
EQ | equipment | -161996 | -105297.4 | -56698.6 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
HE | heavy equipment | -7071 | -4596.15 | -2474.85 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
TS | improvements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
total water treatment plant |  | -3898111 | -2533772.15 | -1364338.85 | 0 | 0 | 0 | 0 | 0 | 0 | balance
transmission & distribution (TD)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as trans & dist lines
TM | transmission mains | -13053149 | -12958402 | 0 | 0 | 0 | 0 | 0 | 0 | -94747 | 100% COMM
DL | distribution lines | -15217827 | 0 | -7608913.5 | -6630463.2177 | 0 | 0 | -978450.2823 | 0 | 0 | dist main analysis
TK | storage tanks | -4518521 | 0 | -2259260.5 | -1968736.2256 | 0 | 0 | -290524.2744 | 0 | 0 | dist main analysis
PM | pumping | -2752076 | 0 | -1376038 | -1199089.6394 | 0 | 0 | -176948.3606 | 0 | 0 | dist main analysis
EQ | equipment | -780269.32 | 0 | -390134.66 | -339966.2137 | 0 | 0 | -50168.4463 | 0 | 0 | dist main analysis
ST | structures | -203834 | -93430.199 | -54860.3371 | -47805.7015 | 0 | 0 | -7054.6356 | 0 | -683.1268 | as trans & dist lines
VE | vehicles | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as trans & dist lines
SV | services | -3453019 | 0 | 0 | 0 | 0 | -3453019 | 0 | 0 | 0 | 100 WCMS
MT | meters | -4992587.69 | 0 | 0 | 0 | 0 | -4992587.69 | 0 | 0 | 0 | 100 WCMS
HY | hydrants | -607896 | 0 | 0 | 0 | 0 | 0 | -607896 | 0 | 0 | 100 PFP
HE | heavy equipment | -311691 | -142867.9816 | -83889.2105 | -73101.6754 | 0 | 0 | -10787.5351 | 0 | -1044.5974 | as trans & dist lines
IT |  | -6961 | -6961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% COMM
ZM | zone meters | -5485 | -5485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total transmission & distribution |  | -45903316.01 | -13207146.1805 | -11773096.2077 | -10259162.6733 | 0 | -8445606.69 | -2121829.5343 | 0 | -96474.7241 | balance
total SS, WTP & TD |  | -49810572.01 | -15746862.5805 | -13140635.8077 | -10259162.6733 | 0 | -8445606.69 | -2121829.5343 | 0 | -96474.7241 | balance
| % total SS, WTP & TD |  | 31.67% | 26.43% | 20.64% | 0% | 16.99% | 4.268% | 0% |  | factor "SS, WTP & TD"
general plant (AD)
ST | land & structures | -81070 | -25678.7957 | -21428.7577 | -16729.8687 | 0 | -13772.4584 | -3460.1196 | 0 | 0 | as factor SS, WTP & TD
FN | office equipment | -11504.16 | -3643.9247 | -3040.8272 | -2374.0358 | 0 | -1954.3674 | -491.0049 | 0 | 0 | as factor SS, WTP & TD
VE | vehicles | -1188257.64 | -376378.7495 | -314085.1739 | -245212.7081 | 0 | -201865.4109 | -50715.5976 | 0 | 0 | as factor SS, WTP & TD
EQ | tools & shop equipment | -24395 | -7727.0781 | -6448.1873 | -5034.2315 | 0 | -4144.3089 | -1041.1942 | 0 | 0 | as factor SS, WTP & TD
LB | lab equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as factor SS, WTP & TD
IT | comm, hardware/software | -87045 | -27571.3676 | -23008.0944 | -17962.8891 | 0 | -14787.5125 | -3715.1364 | 0 | 0 | as factor SS, WTP & TD
BL | billing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as factor SS, WTP & TD
total general plant |  | -1392271.8 | -440999.9156 | -368011.0405 | -287313.7332 | 0 | -236524.058 | -59423.0527 | 0 | 0 | balance
total accumulated depreciation |  | -51479363.81 | -16267138.9738 | -13590056.1507 | -10609708.5072 | 0 | -8722411.3357 | -2193574.1185 | 0 | -96474.7241 | balance
Note on B2: Connie Lea Allen, PE: last year of depreciation (annual as shown on bottom of "depreciation" tab) added (added negative) to depreciate out the assets retired year following test year
Note on L8: Connie L Allen: from BGADD RateBook 2021, according to 2020 average day (7.013) to 2020 peak day (10.727)
Note on K27: Connie Lea Allen, PE: Jenkins Connector
Note on L29: see distribution main analysis for the three percentages

## TY expenses
weighted customer
acct no | account description | TY (FY21) total expenses | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification | ledger account number
water purchase
WP | Williamson | 464097.76 | 0 | 464097.76 | 0 | 0 | 0 | 0 | 0 | 0 | CAP | 6101.01
WP | Pikeville | 716541.94 | 0 | 716541.94 | 0 | 0 | 0 | 0 | 0 | 0 | CAP | 6102.01
total water purchase expenses |  | 1180639.7 | 0 | 1180639.7 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment & distribution (operating) expense
WOP | treatment operations labor | 133584.24 | 86829.756 | 46754.484 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
BN | treatment operations bene's | 30170.4 | 19610.76 | 10559.64 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
TD | trans & distr labor - ops | 777790.34 | 777790.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | distr main analysis
BN | trans & distr - ops bene's | 127102.39 | 127102.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | distr main analysis
MN | trans & distr labor - maint | 120834.6 | 0 | 60417.3 | 52648.0798 | 0 | 0 | 7769.2202 | 0 | 0 | distr main analysis
BN | trans & distr - maint bene's | 27252.75 | 0 | 13626.375 | 11874.1235 | 0 | 0 | 1752.2515 | 0 | 0 | distr main analysis
MT | meters labor | 119040.2 | 0 | 0 | 0 | 0 | 119040.2 | 0 | 0 | 0 | WCMS
BN | meters benefits | 35666.84 | 0 | 0 | 0 | 0 | 35666.84 | 0 | 0 | 0 | WCMS
WL | water loss labor | 97096.14 | 97096.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
BN | water loss benefits | 24680.18 | 24680.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
WQ | water quality labor | 67455.5 | 67455.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
BN | water quality benefits | 12802.56 | 12802.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
LB | services - manpower | 234089.5118 | 152158.1827 | 81931.3291 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP | 6351.08; 6361.08
PS | professional svcs - engineering | 3998.33 | 3998.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6310.08; 6340.08
CH | chemicals | 173232.92 | 173232.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6180.03
UP | operational utilities - power | 1274389.1073 | 455594.1058 | 245319.9031 | 573475.0983 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP & AC | 6200.08
OU | other utilities | 12480.55 | 12480.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6150.06
CM | mobile phone communication | 24572.05 | 24572.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6750.08
EC | uniforms - water | 25383.77 | 25383.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6046.06
IT | computers, software & IT | 47200.25 | 47200.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6751.08; 7008.06
LA | laboratory | 67759.54 | 67759.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6170.06; 6175.06
LD | leak detection | 1951.19 | 1951.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 7009.06
EC | safety equipment | 16588.31 | 16588.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6190.06
TE | tools & equipment | 21413.79 | 21413.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 7001.06
EC | uniforms - plant | 110.19 | 110.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6046.03
VE | vehicle expenses | 256127.27 | 256127.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6500.08; 7003.08
MN | PS/LS repair | 115511.3 | 0 | 57755.65 | 50328.6984 | 0 | 0 | 7426.9516 | 0 | 0 | distr main analysis | 7002.06
MN | maintenance supplies | 3255.1815 | 0 | 1627.5908 | 1418.2946 | 0 | 0 | 209.2962 | 0 | 0 | distr main analysis | 6855.00
HE | heavy equipment repair | 62080.91 | 0 | 31040.455 | 27048.8809 | 0 | 0 | 3991.5741 | 0 | 0 | distr main analysis | 7000.06
EC | employee expense | 7611.2963 | 7611.2963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6047.08
MN | general maintenance | 516864.7 | 0 | 258432.35 | 225199.8516 | 0 | 0 | 33232.4984 | 0 | 0 | distr main analysis | 7006.06
EC | education, travel & dues | 36493.7624 | 36493.7624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6752.08
total operating expense |  | 4474590.0693 | 2516043.1332 | 807465.0771 | 941993.0271 | 0 | 154707.04 | 54381.792 | 0 | 0 | balance
administration & general expenses
AD | admin and general salaries | 393243.45 | 393243.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
BN | admin benefits | 53744.75 | 53744.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
CS | customer accounts labor | 172027.89 | 0 | 0 | 0 | 172027.89 | 0 | 0 | 0 | 0 | WCA
BN | customer accounts benefits | 38085.17 | 0 | 0 | 0 | 38085.17 | 0 | 0 | 0 | 0 | WCA
BS | board salaries | 22601.4583 | 22601.4583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6031.00
RT | pension obligation/retirement | 463711.5194 | 156446.3633 | 125475.8322 | 97613.1678 | 69771.385 | 0 | 14404.771 | 0 | 0 | as labor - table below | 6800.00
PS | PSC & legal services | 23436.97 | 23436.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6330.08; 6701.00; 6762.08
PS | professional services - accntng | 66304.0918 | 66304.0918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6320.08
OS | outside services | 10260.4027 | 10260.4027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6350.08
CC | postage | 197235.3563 | 0 | 0 | 0 | 197235.3563 | 0 | 0 | 0 | 0 | WCA | 6755.08
RC | rate case expense | 664.12 | 664.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6805.00
CC | bank service fees | 10488.1541 | 0 | 0 | 0 | 10488.1541 | 0 | 0 | 0 | 0 | WCA | 6759.00; 6759.08
CC | bad debt | 78793.5766 | 0 | 0 | 78793.5766 | 0 | 0 | 0 | 0 | 0 | AC | 6670.03
OF | office supplies |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
AU | admin utilities | 236.85 | 236.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6760.08
AD | advertising | 1956.2 | 0 | 0 | 1956.2 | 0 | 0 | 0 | 0 | 0 | AC | 6600.08
RN | rents - easements | 6745.58 | 6745.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6756.08
IN | property & liability insurance | 110120.3317 | 31570.7797 | 32420.1483 | 25181.3247 | 0 | 16041.1966 | 4906.8824 | 0 | 0 | gross plant in service | 6048.08
total all administrative expense |  | 1649655.871 | 765254.8159 | 157895.9805 | 203544.2692 | 487607.9554 | 16041.1966 | 19311.6534 | 0 | 0 | balance
total operation & maintenance |  | 7304885.6403 | 3281297.949 | 2146000.7576 | 1145537.2962 | 487607.9554 | 170748.2366 | 73693.4454 | 0 | 0
|  |  | 44.92% | 29.38% | 15.68% | 6.675% | 2.337% | 1.009% | 0% | 0% | factor O&M
FC | FICA/UC | 132944.3204 | 132944.3204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 4083.00
WC | workers comp | 46189.3137 | 46189.3137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM | 6761.08
total taxes and fees |  | 179133.6341 | 179133.6341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
| principal expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | see debt service tab | test year per M Spears
| interest expense | 306801.11 | 188578.5991 | 37520.2546 | 47581.8219 | 28295.6059 | 0 | 4824.8286 | 0 | 0 | see debt service tab
total debt service |  | 306801.11 | 188578.5991 | 37520.2546 | 47581.8219 | 28295.6059 | 0 | 4824.8286 | 0 | 0 | balance
total annual depreciation |  | 2691586.19 | 191705.0799 | 1603115.647 | 168623.9981 | 0 | 528125.7466 | 193571.6241 | 0 | 6444.0944 | see tab "depreciation"
total revenue requirement |  | 10482406.5744 | 3840715.2621 | 3786636.6591 | 1361743.1162 | 515903.5613 | 698873.9831 | 272089.8981 | 0 | 6444.0944 | balance
less miscellaneous revenues
OO | other operating | -175147.46 | 0 | 0 | 0 | 0 | -173622.46 | -1525 | 0 | 0 | fire & connect charges | 4621.00; 4741.00
NO | non-operating | -14412.9303 | -14412.9303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | intrst & gain on dispos | 4191.00; 4140.00
MI | other income | -26760.01 | -26760.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | other revenue | 4718.00
OO | other operating | -159272.5612 | 0 | 0 | -159272.5612 | 0 | 0 | 0 | 0 | 0 | late charges | 4710.00
total miscellaneous revenues |  | -375592.9615 | -41172.9403 | 0 | -159272.5612 | 0 | -173622.46 | -1525 | 0 | 0 | balance
total revenue requirement |  | 10106813.6129 | 3799542.3218 | 3786636.6591 | 1202470.555 | 515903.5613 | 525251.5231 | 270564.8981 | 0 | 6444.0944 | balance
| test year operating revenue | -8173985.2579 | -23.65%
| below line - settlement expense (6758.09) |  | 32507.33 | mostly fines per M Spears |  | labor
[6 empty] | COMM | CAP | AC | WCA | PFP
[6 empty] | 100539 | 54137
[7 empty] | 444036 | 386936 |  | 57100
[7 empty] | 6434 | 5607 |  | 827
[7 empty] | 144 | 125 |  | 19
528797
280669
[6 empty] | 629336 | 504751 | 392668 | 280669 | 57946
[6 empty] | 33.74% | 27.06% | 21.05% | 15.05% | 3.106%
Note on B9: Connie Lea Allen, PE: the sum of all the water labor accounts on this spreadsheet is $1,881,072--these numbers came from CH as actual payments to employees; the sum of all water labor accounts on the ledger is $$1,467,416 (rounding to nearest dollar)--adding 87% of account 6031.09 ($397,955) gives $1,865,371. The difference between CH's numbers and the ledger numbers is -15,701.
Note on B10: Connie Lea Allen, PE: benefits on the ledger are $362,702 and from the actual payments from Carrie, they are $349,505 for a difference of $13,197.
Note on B24: Connie Lea Allen, PE: I separated operational power cost between water (85%) and sewer (15%) using actual test year bills. Then, using the July 2021 bill for an equation, water power benefitting all customers was estimated to be 55.5% of the water portion; the remaining 45.5% benefitting only the Owner customers (all those boosters and tanks). The electric accounts were identified by MWD personnel. So, 55.5% is split COMM/CAP; 45.5% to AC
Note on C71: Connie Lea Allen, PE: $745,336
Note on C75: Connie Lea Allen, PE: difference in ledger depreciation ($2,722,308) and this depreciation is $30,722, with the ledger number higher.
Note on C77: Connie Lea Allen, PE: compares with $10,510,623 from ledger, a difference of +28,216. --there were salary (-15,701) and benefit (+13,197) differences between data sources because of the way I split water and sewer vs the ledger, the 6031.09 administrator acct, and depreciation difference (+30,722)

## PF expenses
includes pro forma changes | [5 empty] | weighted customer
PF note | account description | pro forma total expenses | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
water purchase
| Williamson | 464097.76 | 0 | 464097.76 | 0 | 0 | 0 | 0 | 0 | 0 | CAP
1 | Pikeville | 776250.94 | 0 | 776250.94 | 0 | 0 | 0 | 0 | 0 | 0 | CAP
total water purchase expenses |  | 1240348.7 | 0 | 1240348.7 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment & distribution (operating) expense
2 | treatment operations labor | 151786.7 | 98661.355 | 53125.345 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
3 | treatment operations bene's | 26083.16 | 16954.054 | 9129.106 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
2 | trans & distr labor - ops | 753844.11 | 753844.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | distr main analysis
3 | trans & distr - ops bene's | 102807.8 | 102807.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | distr main analysis
2 | trans & distr labor - maint | 125285.12 | 0 | 62642.56 | 54587.1878 | 0 | 0 | 8055.3722 | 0 | 0 | distr main analysis
3 | trans & distr - maint bene's | 20340.49 | 0 | 10170.245 | 8862.4263 | 0 | 0 | 1307.8187 | 0 | 0 | distr main analysis
2 | meters labor | 154176.17 | 0 | 0 | 0 | 0 | 154176.17 | 0 | 0 | 0 | WCMS
3 | meters benefits | 33451.37 | 0 | 0 | 0 | 0 | 33451.37 | 0 | 0 | 0 | WCMS
2 | water loss labor | 79072.37 | 79072.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
3 | water loss benefits | 23050.54 | 23050.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
2 | water quality labor | 77681.42 | 77681.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
3 | water quality benefits | 9749.83 | 9749.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
4 | services - manpower | 519168 | 337459.2 | 181708.8 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
| professional svcs - engineering | 3998.33 | 3998.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
5 | chemicals | 192312.37 | 192312.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| operational utilities - power | 1274389.1073 | 828352.9197 | 446036.1875 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP & AC
| other utilities | 12480.55 | 12480.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| mobile phone communication | 24572.05 | 24572.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| uniforms - water | 25383.77 | 25383.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| computers, software & IT | 47200.25 | 47200.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| laboratory | 67759.54 | 67759.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| leak detection | 1951.19 | 1951.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| safety equipment | 16588.31 | 16588.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| tools & equipment | 21413.79 | 21413.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| uniforms - plant | 110.19 | 110.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| vehicle expenses | 256127.27 | 256127.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| PS/LS repair | 115511.3 | 0 | 57755.65 | 50328.6984 | 0 | 0 | 7426.9516 | 0 | 0 | distr main analysis
| maintenance supplies | 3255.1815 | 0 | 1627.5908 | 1418.2946 | 0 | 0 | 209.2962 | 0 | 0 | distr main analysis
| heavy equipment repair | 62080.91 | 0 | 31040.455 | 27048.8809 | 0 | 0 | 3991.5741 | 0 | 0 | distr main analysis
| employee expense | 7611.2963 | 7611.2963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| general maintenance | 516864.7 | 0 | 258432.35 | 225199.8516 | 0 | 0 | 33232.4984 | 0 | 0 | distr main analysis
| education, travel & dues | 36493.7624 | 36493.7624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total operating expense |  | 4762600.9474 | 3041636.2674 | 1111668.2893 | 367445.3396 | 0 | 187627.54 | 54223.5112 | 0 | 0 | balance
administration & general expenses
2 | admin and general salaries | 445673.86 | 445673.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
3 | admin benefits | 42588.27 | 42588.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
2 | customer accounts labor | 187762.25 | 0 | 0 | 0 | 187762.25 | 0 | 0 | 0 | 0 | WCA
3 | customer accounts benefits | 33433.36 | 0 | 0 | 0 | 33433.36 | 0 | 0 | 0 | 0 | WCA
| board salaries | 22601.4583 | 22601.4583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| pension obligation/retirement | 469702.5194 | 341914.8523 | 27987.3275 | 13147.5189 | 45834.1778 | 38878.5291 | 1940.1138 | 0 | 0 | as labor - table below
| PSC & legal services | 10736.43 | 10736.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| professional services - accntng | 66304.0918 | 66304.0918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| outside services | 10260.4027 | 10260.4027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| postage | 197235.3563 | 0 | 0 | 0 | 197235.3563 | 0 | 0 | 0 | 0 | WCA
6 | rate case expense | 24974.12 | 24974.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| bank service fees | 10488.1541 | 0 | 0 | 0 | 0 | 0 | 0 | 10488.1541 | 0 | REV
| bad debt | 78793.5766 | 0 | 0 | 78793.5766 | 0 | 0 | 0 | 0 | 0 | AC
| office supplies |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| admin utilities | 236.85 | 236.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| advertising | 1956.2 | 0 | 0 | 1956.2 | 0 | 0 | 0 | 0 | 0 | AC
| rents - easements | 6745.58 | 6745.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
7 | property & liability insurance | 121127.1527 | 34726.3634 | 35660.6286 | 27698.2653 | 0 | 17644.557 | 5397.3384 | 0 | 0 | gross plant in service
total all administrative expense |  | 1730619.632 | 1006762.2785 | 63647.9561 | 121595.5608 | 464265.1442 | 56523.0861 | 7337.4522 | 10488.1541 | 0 | balance
total operation & maintenance |  | 7733569.2794 | 4048398.5459 | 2415664.9455 | 489040.9004 | 464265.1442 | 244150.6261 | 61560.9634 | 10488.1541 | 0
|  |  | 52.35% | 31.24% | 6.324% | 6.003% | 3.157% | 0.796% | 0.1356% | 0% | factor O&M
| FICA/UC | 132944.3204 | 132944.3204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
8 | workers' comp | 53742.1137 | 53742.1137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total taxes and fees |  | 186686.4341 | 186686.4341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
9 | principal expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | see debt service tab
9 | interest expense | 283081.554 | 173999.1191 | 34619.4705 | 43903.153 | 26108.0023 | 0 | 4451.8091 | 0 | 0 | see debt service tab
total debt service |  | 283081.554 | 173999.1191 | 34619.4705 | 43903.153 | 26108.0023 | 0 | 4451.8091 | 0 | 0 | balance
10 | annual depreciation | 2691586.19 | 191705.0799 | 1603115.647 | 168623.9981 | 0 | 528125.7466 | 193571.6241 | 0 | 6444.0944 | see tab "depreciation"
total revenue requirement |  | 10894923.4576 | 4600789.179 | 4053400.0629 | 701568.0515 | 490373.1465 | 772276.3726 | 259584.3966 | 10488.1541 | 6444.0944 | balance
less miscellaneous revenues
OO | other operating | -175147.46 | 0 | 0 | 0 | 0 | -173622.46 | -1525 | 0 | 0 | fire & connect charges
NO | non-operating | -14412.9303 | -14412.9303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | intrst & gain on dispos
MI | other income | -26760.01 | -26760.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | other revenue
OO | other operating | -159272.5612 | 0 | 0 | -159272.5612 | 0 | 0 | 0 | 0 | 0 | late charges
total miscellaneous revenues |  | -375592.9615 | -41172.9403 | 0 | -159272.5612 | 0 | -173622.46 | -1525 | 0 | 0 | balance
total revenue requirement |  | 10519330.4961 | 4559616.2387 | 4053400.0629 | 542295.4903 | 490373.1465 | 598653.9126 | 258059.3966 | 10488.1541 | 6444.0944 | balance
| TY operating revenue + PWA | -8274887.2579 | -27.12% | this does not account for excess water loss deductions
| below line - settlement expense (6758.09) |  | 32507.33 | mostly fines per M Spears |  | labor
[6 empty] | COMM | CAP | AC | WCA | WCMS | PFP
[6 empty] | 1650083 | 135067 | 63450 | 221196 | 187628 | 9363
[6 empty] | 72.79% | 5.959% | 2.799% | 9.758% | 8.277% | 0.4131%
Note on B5: Connie Lea Allen, PE: purchase price increased to $2.26; test year volume was 343,473,872 gallons
Note on B9: Connie Lea Allen, PE: there is a spreadsheet with test year water wages, current wages, and proposed (imminent) wages.
Note on B10: Connie Lea Allen, PE: there is a spreadsheet with test year benefits and pro forma changes to the medical premium--additionally the health care premiums and discounted to reflect PSC's precedent of 21% employee paid for single and 32% for family
Note on B21: Connie Lea Allen, PE: Roy's proposed 2023 Manpower Rate Increase includes proposed annual temp salary of $519,168 which represents more temps than test period and an hourly raise passed by the Board.
Note on B23: Connie Lea Allen, PE: cost increase for Delpac, $14,475.77 and for sodium hypochlorite, $4,603.68--both include increased/new shipping charges
Note on B24: Connie Lea Allen, PE I separated operational power cost between water (85%) and sewer (15%) using actual test year bills. Then, using the July 2021 bill for an equation, water power benefitting all customers was estimated to be 55.5% of the water portion; the remaining 45.5% benefitting only the Owner customers (all those boosters and tanks). The electric accounts were identified by MWD personnel. So, 55.5% is split COMM/CAP; 45.5% to AC - update: in an effort to keep the minimum bill down, I used the typical 65COMM/35CAP split
Note on B45: Connie Lea Allen, PE: there is a spreadsheet titled "test to pro forma sal and benes"--see tab "water benes"
Note on B49: Connie Lea Allen, PE: The first adjustment to pension obligation is to apply the 2023 percentage (23.34%) to the test year salaries, resulting in a decrease of ($15,998) from the test year (at 26.79%); the second adjustment was to calculate the pension obligation associated with the $94,209.64 increase in salaries over the test year, $21,989--the sum difference being $5,991.
Note on B54: Connie Lea Allen, PE: add $53,000(81%)/3 for SRE; $30,000/3 (100% water) for rate attorney
Note on B61: Connie Lea Allen, PE: increased by (116505.01-100780.98) and factored with eq C (70% water)
Note on B68: Connie Lea Allen, PE: workers' comp increased by $9,441 and applied eq A (80% water)
Note on C71: Connie Lea Allen, PE: $862,408 is the annual principal payment
Note on B72: Connie Lea Allen, PE: realize, MWD is not asking for RoRB from anyone except industrial customers; the allocation of the rate base lacks direct assignment that are likely present--need interest as an expense
Note on B73: Connie Lea Allen, PE: see "debt svc" tab

## depreciation
weighted customer
| account description | total depreciation | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
intangible
| studies | -3551 | -253.5228 | -2120.0605 | -222.9989 | 0 | -698.4265 | -255.9912 | 0 | 0 | factor "SS, WTP & TD"
total intangible plant |  | -3551 | -253.5228 | -2120.0605 | -222.9989 | 0 | -698.4265 | -255.9912 | 0 | 0 | balance
source of supply (SS)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
ST | structures | -1603 | -1041.95 | -561.05 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
EQ | equipment | -1169 | -759.85 | -409.15 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
LN | lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
total source of supply |  | -2772 | -1801.8 | -970.2 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
ST | structures | -235754 | -153240.1 | -82513.9 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
FN | furniture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
PM | pumping | -11920 | -7748 | -4172 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
LN | lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
EQ | equipment | -25120 | -16328 | -8792 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
HE | heavy equipment | -663 | -430.95 | -232.05 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
TS | improvements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 COMM/35 CAP
total water treatment plant |  | -273457 | -177747.05 | -95709.95 | 0 | 0 | 0 | 0 | 0 | 0 | balance
transmission & distribution (TD)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as trans & dist lines
TM | transmission mains | -483381 | 0 | -476945 | 0 | 0 | 0 | 0 | 0 | -6436 | 100 CAP
DL | distribution lines | -841280 | 0 | -715088 | 0 | 0 | 0 | -126192 | 0 | 0 | 85 CAP/15 PFP
TK | storage tanks | -185721 | 0 | -92860.5 | -80919.3231 | 0 | 0 | -11941.1769 | 0 | 0 | dist main analysis
PM | pumping | -87951 | 0 | -43975.5 | -38320.5743 | 0 | 0 | -5654.9257 | 0 | 0 | dist main analysis
EQ | equipment | -91424.68 | 0 | -45712.34 | -39834.0695 | 0 | 0 | -5878.2705 | 0 | 0 | dist main analysis
ST | structures | -1666 | 0 | -1499.1964 | 0 | 0 | 0 | -158.7092 | 0 | -8.0944 | as trans & dist lines
VE | vehicles | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as trans & dist lines
SV | services | -177112 | 0 | 0 | 0 | 0 | -177112 | 0 | 0 | 0 | 100 WCMS
MT | meters | -321103.31 | 0 | 0 | 0 | 0 | -321103.31 | 0 | 0 | 0 | 100 WCMS
HY | hydrants | -25802 | 0 | 0 | 0 | 0 | 0 | -25802 | 0 | 0 | 100 PFP
HE | heavy equipment | -46544 | 0 | -39562.4 | 0 | 0 | 0 | -6981.6 | 0 | 0 | 85 CAP/15 PFP
GM | GIS & mapping | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% COMM
ZM | zone meters | -1299 | -1299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total transmission & distribution |  | -2263283.99 | -1299 | -1415642.9364 | -159073.9668 | 0 | -498215.31 | -182608.6823 | 0 | -6444.0944 | balance
total SS, WTP & TD |  | -2539512.99 | -180847.85 | -1512323.0864 | -159073.9668 | 0 | -498215.31 | -182608.6823 | 0 | -6444.0944 | balance
| % total SS, WTP & TD |  | 7.139% | 59.7% | 6.28% | 0% | 19.67% | 7.209% | 0% |  | factor "SS, WTP & TD"
general plant (AD)
ST | land & structures | -4708 | -336.1265 | -2810.8265 | -295.6573 | 0 | -925.9905 | -339.3992 | 0 | 0 | as factor SS, WTP & TD
FN | office furniture | -401.84 | -28.6893 | -239.9113 | -25.2351 | 0 | -79.0357 | -28.9686 | 0 | 0 | as factor SS, WTP & TD
VE | vehicles | -140394.36 | -10023.4219 | -83819.9199 | -8816.6128 | 0 | -27613.3901 | -10121.0153 | 0 | 0 | as factor SS, WTP & TD
EQ | tools & shop equipment | -887 | -63.3272 | -529.5673 | -55.7026 | 0 | -174.4591 | -63.9437 | 0 | 0 | as factor SS, WTP & TD
LB | lab equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as factor SS, WTP & TD
IT | comm, hardware/software | -2131 | -152.1422 | -1272.2751 | -133.8245 | 0 | -419.1346 | -153.6236 | 0 | 0 | as factor SS, WTP & TD
BL | billing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as factor SS, WTP & TD
total general plant |  | -148522.2 | -10603.7071 | -88672.5001 | -9327.0323 | 0 | -29212.01 | -10706.9505 | 0 | 0 | balance
total depreciation |  | -2691586.19 | -191705.0799 | -1603115.647 | -168623.9981 | 0 | -528125.7466 | -193571.6241 | 0 | -6444.0944 | balance
pro forma reductions to annual depreciation (itemization on bottom of "ssplant" tab)
| admin - furniture | 83.16 | 5.9372 | 49.6492 | 5.2224 | 0 | 16.3563 | 5.995 | 0 | 0 | as factor SS, WT & TD
| admin - vehicles | 25446.64 | 1816.7568 | 15192.4573 | 1598.0213 | 0 | 5004.9589 | 1834.4457 | 0 | 0 | as factor SS, WT & TD
| trans/distr - equipment | 367.32 | 0 | 183.66 | 160.0427 | 0 | 0 | 23.6173 | 0 | 0 | distr main analysis
| trans/distr - meters | 4824.69 | 0 | 0 | 0 | 0 | 4824.69 | 0 | 0 | 0 | 100 WCMS
| totals | 30721.81 | 1822.694 | 15425.7665 | 1763.2863 | 0 | 9846.0051 | 1864.058 | 0 | 0
Note on L8: Connie L Allen: from BGADD RateBook 2021, according to 2020 average day (7.013) to 2020 peak day (10.727)
Note on B27: Connie Lea Allen, PE: please consider Technical Memorandum - "Pipe Service Life for Rate Case" by SRE (included in COSS submission)
Note on B55: Connie Lea Allen, PE: pro forma, already

## debt svc
fnctn | issue/loan | description | % water | annual water portion of DS | interest payment | principal payment | total annual debt service | outstanding principal | reference year | COMM | CAP | WCA | AC | PFP | annual water portion of DS
TM | NP KWRA | refinance issue incl. both water and sewer | 85.3% | 411076.054 | 185031.054 | 226045 | 481918 | 5580000 | fiscal year 2023 | 308307.0405 | 51384.5068 |  | 44776.8373 | 6607.6694 | 411076.054
MS | RD Bond 91-45 | meters | 100% | 105736 | 45936 | 59800 | 105736 | 3033000 | fiscal year 2023 |  |  | 105736 |  |  | 105736
GN | KIA B291-07 | general - not sure of function | 100% | 259587 | 9147 | 249810 | 259587 | 377439 | fiscal year 2023 | 259587 |  |  |  |  | 259587
TD | KIA B291-01 | Indian Ck line extension | 100% | 17192 | 625 | 16527 | 17192 | 24978 | fiscal year 2023 |  |  |  | 17192 |  | 17192
TM | KIA F01-07 | upgrade to water treatment plant | 100% | 71841 | 2207 | 69329 | 71841 | 139914 | fiscal year 2023 | 71841 |  |  |  |  | 71841
TM | RD Bond 91-24 | Russell Fork water treatment plant | 100% | 36452 | 17452 | 19000 | 36452 | 537000 | fiscal year 2023 | 36452 |  |  |  |  | 36452
VH | multiple | all vehicles incl. excavators & skid steer | 94% | 177644.96 | 13324.5 | 164320.46 | 188984 | 543166 | fiscal year 2023 |  | 88822.48 |  | 77400.5627 | 11421.9173 | 177644.96
TM | NIP CTB | AEP LOC - lighting project LEDs energy | 100% | 28500 | 3830 | 24670 | 28500 | 80840 | fiscal year 2023 | 28500 |  |  |  |  | 28500
TD | NIP CTB | PS rehab-MWD 13% what FEMA didn't pay | 100% | 38436 | 5529 | 32907 | 38436 | 197201 | fiscal year 2023 |  |  |  | 38436 |  | 38436
|  |  |  | 1146465.014 | 283081.554 | 862408.46 |  |  |  | 704687.0405 | 140206.9867 | 105736 | 177805.4 | 18029.5867
[10 empty] | 61.47% | 12.23% | 9.223% | 15.51% | 1.573%
fnctn | issue/loan | description | % sewer | annual sewer portion of DS | interest payment | principal payment | total annual debt service | outstanding principal | reference year
TM | NP KWRA | refinance issue only Shelby and Phelps | 14.7% | 70841.946 | 31886.946 | 38955 | 481918 | 5580000 | fiscal year 2023
TM | RD Belfry | only Belfry area | 100% | 135228 | 65728 | 69500 | 135228 | 3584500 | fiscal year 2023
TM | KIA A03-06 | South Williamson-Belfry area sewer | 100% | 10255 | 225 | 9985 | 10255 | 25151 | fiscal year 2023
TM | KIA A209-32 | Shelby Valley Phase 2 ARRA | 100% | 20639 | 1696 | 18604 | 20639 | 174318 | fiscal year 2023
TM | KIA A16-079 | equip purchase/grinders Shelby & Phelps | 100% | 16610 | 1741 | 14405 | 16610 | 235887 | fiscal year 2023
TM | NIP KIA | Douglas WWTP (Shelby Valley) | 100% | 190157 | 21134 | 163388 | 190157 | 2906570 | fiscal year 2023
VH | multiple | all vehicles incl. excavators & skid steer | 6% | 11339.04 | 850.5 | 10488.54 | 188984 | 543166 | fiscal year 2023
|  |  |  | 455069.986 | 123261.446 | 325325.54

## COMM-1
Commodity Distribution Factor
Customer Class | FY21 Metered Water (gallons) | Plus % Non-Revenue | Total at the Source (gallons) | % of Total
Single Family Residential | 591098340 | 76.98% | 1046125842.132 | 76.33% | average residential daily usage (ERU), in gallons based on single family customers, only | 103.8374
Multi-Family Residential | 27607160 | 76.98% | 48859151.768 | 3.565%
Commercial | 65254160 | 76.98% | 115486812.368 | 8.427% |  |  | 57437500
Industrial | 8241000 | 76.98% | 14584921.8 | 1.064% |  |  | 907512.5
Public Authority | 25231640 | 76.98% | 44654956.472 | 3.258%
[5 empty] | average per person water usage, in gallons, at home, per US EPA (USGS 2015) | 82
Wholesale - City of Jenkins | 0 | 75.4% | 0 | 0%
Wholesale - Mingo County (V) Water District | 2216900 | 75.4% | 3888442.6 | 0.2837%
Wholesale - Martin County Water District | 127600 | 75.4% | 223810.4 | 0.01633%
Wholesale - Elkhorn City Water Department | 55093000 | 75.4% | 96633122 | 7.051% | US Census 2016-2020 people per household Pike County
Total | 774869800 | 595587259.54 | 1370457059.54 | 100% |  | 2.25
DISTRIBUTION FACTOR |  |  | (COMM-1)
water purchased and produced | 1371944000 | 27.43% | percent PSC-defined water loss
water sales | 775300000
accounted-for non-revenue | 208172000 | 26.86% | have to recover this from all customers
accounted-for non-revenue (fire) | 12183000 | 1.58% | have to recover this from direct customers only
water loss | 376289000 | 48.54% | have to calculate factor by recovery from all customers
All we are doing here is creating a factor for allocating non-revenue water volume and showing that we are not charging non-revenue fire water to wholesales. The reduction in revenue requirements due to costs for water loss in excess of PSC allowable are calculated on the "summary" tab and those credits are applied on the "PF expenses" tab.
|  |  |  | average day | 3758750.6849
Note on B2: Connie Lea Allen, PE: from Kevin and Carrie via email 30 August 22
Note on B16: Connie Lea Allen, PE: from Tammy via email 1 Sep

## CAP-1
Capacity Distribution Factor
Customer Class | Total at the Source (gallons) | Ave Day Use (gallons) | Peaking Factor | Peak Day Use (gallons) | % of Total
Single Family Residential | 1046125842.132 | 2866098.1976 | 2 | 5732196.3952 | 83.08%
Multi-Family Residential | 48859151.768 | 133860.6898 | 2 | 267721.3796 | 3.88%
Commercial | 115486812.368 | 316402.2257 | 1.35 | 427143.0046 | 6.191%
Industrial | 14584921.8 | 39958.6899 | 1.25 | 49948.3623 | 0.7239%
Public Authority | 44654956.472 | 122342.3465 | 1.2 | 146810.8158 | 2.128%
Wholesale - City of Jenkins | 0 | 0 |  | 0 | 0%
Wholesale - Mingo Cnty (VA) Water District | 3888442.6 | 10653.2674 | 1 | 10653.2674 | 0.1544%
Wholesale - Martin County Water District | 223810.4 | 613.1792 | 1 | 613.1792 | 0.008887%
Wholesale - Elkhorn City Water Department | 96633122 | 264748.2795 | 1 | 264748.2795 | 3.837%
Total | 1370457059.54 |  |  | 6899834.6836 | 100%
Peak Day Estimated from Production + Purchase |  |  |  | 6616000
DISTRIBUTION FACTOR |  |  | (CAP-1)
Note on D2: Connie L Allen: the peaking factor reflects the way the customer class used the distribution system at the current time; if demands significantly change in quantity or diurnal pattern, the peaking factor will have to be adjusted
Note on D12: Connie Lea Allen, PE: Elkhorn City is only wholesale who depends 100% on MWD for water; 1.0 is really too low, but...
Note on E15: Connie Lea Allen, PE: MWD does not have data on the max day purchased and produced. I estimated (6,616,000) by taking the average plant production plus the max day purchased. Ave day "to town" was 3,758,751; max from Pikeville was 2,075,000; max from Williamson was 782,000 (all per Tammy, 14 Sep and Carrie 31 Aug). I don't have any better way of estimating peak day.

## CUST-X
Customer Distribution Factors
Customer Class | Ave Number of Customers | % of Total | Customer Accounting Weighting Factor | Customers Weighted for Customer Accounting | % of Total | Meters and Services Weighting Factor | Weighted Customer | % of Total | using meter equivalent ratio from AWWA Manual M-1, Table VI.2-5, page 274
Single Family Residential | 15596 | 94.16% | 1 | 15596 | 90.5% | 650 | 10137400 | 83.15% | 5/8 | 1
Multi-Family Residential | 112 | 0.6762% | 2.5 | 280 | 1.625% | 650 | 72800 | 0.5972% | 5/8 | 1
Commercial | 703 | 4.244% | 1.5 | 1054.5 | 6.119% | 1625 | 1142375 | 9.371% | 1 | 2.5
Industrial | 2 | 0.01207% | 2 | 4 | 0.02321% | 10400 | 20800 | 0.1706% | 3 | 16
Public Authority | 147 | 0.8875% | 2 | 294 | 1.706% | 5200 | 764400 | 6.27% | 2 | 8
Wholesale - City of Jenkins | 1 | 0.006037% | 1 | 1 | 0.005803% | 5200 | 5200 | 0.04265% | 2 | 8
Wholesale - Mingo County WD | 1 | 0.006037% | 1 | 1 | 0.005803% | 10400 | 10400 | 0.08531% | 3 | 16
Wholesale - Martin County WD | 1 | 0.006037% | 1 | 1 | 0.005803% | 5200 | 5200 | 0.04265% | 2 | 8
Wholesale - Elkhorn City Water | 1 | 0.006037% | 1 | 1 | 0.005803% | 32500 | 32500 | 0.2666% | 6 | 50
Total | 16564 | 100% |  | 17232.5 | 100% |  | 12191075 | 100%
DISTRIBUTION FACTOR | AC | (CUST-1) |  | WCA | (CUST-2) |  | WCMS | (CUST-3) |  |  | customer class | meter size in inches | [5 empty] | average (normalized)
Meters and Services Weighting Factor based on meter equivalent ratios from AWWA Manual M-1, Table VI.2-5, page 274 | [11 empty] | 5/8 | 1 | 2 | 3 | 4 | 6
[11 empty] | single family residential | assume all are 5/8-in | [5 empty] | 5/8
[11 empty] | multi-family residential | 111 |  | 1 |  |  |  | 5/8
[11 empty] | commercial | 628 | 37 | 27 | 7 | 3 | 1 | 1
[11 empty] | industrial |  |  | 1 |  | 1 |  | 3
[11 empty] | public authority | 111 | 12 | 19 | 3 | 3 | 3 | 2
Note on B2: Connie Lea Allen, PE: from Carrie email 30 August
Note on G2: Connie Lea Allen, PE: using general meter sizes from SA and meter equ ratios from AWWA and $650 for 5/8 meter
Note on K2: Connie Lea Allen, PE: meter sizes from Kevin Lowe
Note on A6: Connie Lea Allen, PE: per Roy, both industrial customers are Kellogg's

## PFP-1
Public Fire Distribution Factor
Customer Class | Number of Units | Public Fire Protection Requirements (GPM) | Duration (mins) | Total Fire Protection Requirement (MG) | % of Total
Single Family Residential | 15596 | 750 | 120 | 1403.64 | 82.9%
Multi-Family Residential | 112 | 1400 | 120 | 18.816 | 1.111%
Commercial | 703 | 2250 | 120 | 189.81 | 11.21%
Industrial | 2 | 4500 | 180 | 1.62 | 0.09567%
Public Authority | 147 | 3000 | 180 | 79.38 | 4.688%
0
Wholesale - City of Jenkins | 1 | 750 | 0 | 0 | 0%
Wholesale - Mingo County (V) Water District | 1 | 750 | 0 | 0 | 0%
Wholesale - Martin County Water District | 4746 | 750 | 0 | 0 | 0%
Wholesale - Elkhorn City Water Department | 734 | 750 | 0 | 0 | 0%
Total | 22042 |  |  | 1693.266 | 100%
DISTRIBUTION FACTOR |  |  | (PFP-1)
This table is meant to distinguish the possible demands placed upon the water distribution system during fire fighting activities. It is not meant for fire protection design purposes as generalities were used, recognizing the vast differences in building size and construction materials that exist within the various customer classes.
Fire protection flow requirements are based on AWWA Manual M-31 (Table 1-1 and 1-6), specifically 750 gpm for 1 and 2-family dwellings, 31 to 100 feet apart, 3000 gpm for the example of a supermarket, 30 feet away from the exposure building of masonry construction; and, that same example building but 60 feet away from the exposure building (2250 gpm). Again, these are not specific design requirements--just an estimate to differientiate demands between the customer classes. Realize, most industrial building will be sprinkled, but this comparison can be used to allow for the costs of ensuring the industry has adequate flow and pressure to operate its sprinkler system at all times.
Note on B2: Connie Allen: customer totals for wholesale customers were obtained from KIA's WRIS

## REV-1
Revenue Related Distribution Factor
Customer Class | Revenues at Present Rates | % of Total | adjustments |  |  | GW requested adjustment
Single Family Residential | 6861534.1778 | 82.92% | 342536.48 | 7120244 | 6777707.52 | 83826.6578 | 8173985.2579
Multi-Family Residential | 304367.1116 | 3.678% |  |  |  | 3915.1116 | 359129.35
Commercial | 634817.5961 | 7.672% | 16592.87 | 645164 | 628571.13 | 6246.4661 | 8533114.6079
Industrial | 64299.4363 | 0.777% |  |  |  | 730.4363
Public Authority | 234774.2842 | 2.837% |  |  |  | 2146.9362
Wholesale - City of Jenkins | 0 | 0% |  |  |  | 0
Wholesale - Mingo County (V) Water District | 10486.5416 | 0.1267% |  |  |  | 155.7916
Wholesale - Martin County Water District | 403.247 | 0.004873% |  |  |  | 8.967
Wholesale - Elkhorn City Water Department | 164204.8635 | 1.984% |  |  |  | 3871.6335
Total | 8274887.2579 | 100% |  |  |  | 100902
REVENUE RELATED DISTRIBUTION FACTOR |  | (REV-1)
operating revenue estimated from revenue projection (used to set schedule) |  | 8308005
| PWA adjustment revenue | 100902
| difference | -1.62%
Note on B2: Connie Lea Allen, PE: from ledger; the ledger has wholesale and public authority combined; additionally, these numbers are increased by the anticipated revenue from the PWA (PSC Order 2022-00423) of $100,902, per Gerald Wuetcher. The revenue from the PWA was added to the customer classes by the same allocation factor that the PF cost was assigned, i.e., using the CAP-1 factor.
Note on E2: Connie Lea Allen, PE: these adjustments per Mike Spears

## distr main analysis
Distribution Main Analysis
Pipe Size (in) | Linear Feet | Installed Cost ($/LF) | Replacement Cost ($)
2 | 1741555.2 | 20 | 34831104
3 | 448087.2 | 30 | 13442616
4 | 665808 | 50 | 33290400
6 | 1346928 | 65 | 87550320
8 | 743424 | 76 | 56500224
10 | 0 | 95 | 0
12 | 15840 | 135 | 2138400
16 | 0 | 140 | 0
18 | 0 | 142 | 0
20 | 0 | 155 | 0
24 | 0 | 170 | 0
Totals | 4961642.4 |  | 227753064
Customer % = 4,961,642 X $20.00 = |  | 99232848
divided by | 227753064 | gives | 43.57%
Customer Component
Add cost of 2 inch through 6 inch pipe |  |  | 169114440
Equivalent for 8 inch through 24 inch
Add | 743424 | 0 | 15840
0 | 0 | 0 | 0
|  | multiplied by | 65
Add | -99232848 | 169114440 | 49352160
|  | gives | 119233752
|  | divided by | 227753064
50%
Capacity Component
100% | minus | 43.57% | 50%
6.43%
Fire Protection Component
Note on B2: Connie Lea Allen, PE: from last audit report to PSC

## DA rate base
Annotation of Direct Assignments for Rate Base
Direct Assignment | Total | Residential |  | Commercial | Industrial | Public Authority | Wholesale |  |  |  | notes
|  | single-family | multi-family |  |  |  | Jenkins | Mingo County | Martin County WD | Elkhorn City WD
Jenkins Connector | 354000 | [5 empty] | 354000 |  |  |  | 1
collateral factor from JC | 4693.2178 | [5 empty] | 4693.2178 |  |  |  | 2
accumulated depreciation | -96474.7241 | [5 empty] | -96474.7241 |  |  |  | 3
Total of Direct Assign for Rate Base | 262218.4937 | 0 | 0 | 0 | 0 | 0 | 262218.4937 | 0 | 0 | 0
1 | transmission lines direct assigned to Jenkins ("Jenkins Connector")
2 | land, structures and heavy equipment portion direct assigned by the "T & D" factor resulting from the Jenkins Connector
9 | the portion of accumulated depreciation allocated to the Jenkins Connector direct assignment

## rate base
Rate Base - Distribution of Costs
Direct Assignment | Total | Residential |  | Commercial | Industrial | Public Authority | Wholesale |  |  |  | Basis of Distribution
|  | single-family | multi-family |  |  |  | Jenkins | Mingo County | Martin County WD | Elkhorn City WD
commodity (COMM) | 18531188.2731 | 14145612.8106 | 660668.7411 | 1561601.5461 | 197215.9069 | 603820.0175 | 0 | 52579.1461 | 3026.3427 | 1306663.7621 | COMM-1
capacity (CAP) | 20342148.7824 | 16899708.0755 | 789298.3506 | 1259306.4835 | 147258.1684 | 432828.8423 | 0 | 31408.0497 | 1807.7798 | 780533.0327 | CAP-1
actual customer (AC) | 15524717.9435 | 14617453.5769 | 104972.7366 | 658891.3737 | 1874.5132 | 137776.7168 | 937.2566 | 937.2566 | 937.2566 | 937.2566 | CUST-1
customer accounting (WCA) | 60950.9944 | 55162.7279 | 990.3542 | 3729.7446 | 14.1479 | 1039.8719 | 3.537 | 3.537 | 3.537 | 3.537 | CUST-2
meters and services (WCMS) | 8017918.8802 | 6667242.2945 | 47879.6574 | 751325.8741 | 13679.9021 | 502736.4028 | 3419.9755 | 6839.9511 | 3419.9755 | 21374.8471 | CUST-3
public fire (PFP) | 2919964.1777 | 2420516.6338 | 32447.3804 | 327319.1575 | 2793.6201 | 136887.3859 | 0 | 0 | 0 | 0 | PFP-1
revenue related (RR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RR-1
direct assign (DA) | 262218.4937 | 0 | 0 | 0 | 0 | 0 | 262218.4937 | 0 | 0 | 0 | direct assignment
Total Rate Base | 65659107.545 | 54805696.1193 | 1636257.2203 | 4562174.1795 | 362836.2586 | 1815089.2373 | 266579.2628 | 91767.9403 | 9194.8916 | 2109512.4354 | balance

## DA expenses
Annotation of Direct Assignments for Expenses
Direct Assignment | Total | Residential |  | Commercial | Industrial | Public Authority | Wholesale |  |  |  | notes
|  | single-family | multi-family |  |  |  | Jenkins | Mingo County | Martin County WD | Elkhorn City WD
annual depreciation associated with Jenkins Connector | 6444.0944 | [5 empty] | 6444.0944
Total of Direct Assign for Expenses | 6444.0944 | 0 | 0 | 0 | 0 | 0 | 6444.0944 | 0 | 0 | 0 | balance

## expenses
Pro Forma Expenses (less deductions for excess water loss) - Distribution of Costs
Assignment | Total | Residential |  | Commercial | Industrial | Public Authority | Wholesale |  |  |  | Basis of Distribution
|  | single-family | multi-family |  |  |  | Jenkins | Mingo County | Martin County WD | Elkhorn City WD
commodity (COMM) | 4504220.3299 | 3438255.3272 | 160583.2034 | 379565.3753 | 47935.6145 | 146765.4615 | 0 | 12779.9715 | 735.5877 | 317599.7888 | COMM-1
capacity (CAP) | 3961872.6793 | 3291416.8719 | 153725.1352 | 245264.7459 | 28680.2599 | 84298.5067 | 0 | 6117.087 | 352.0864 | 152017.9864 | CAP-1
actual customer (AC) | 542295.4903 | 510603.7471 | 3666.8133 | 23015.8011 | 65.4788 | 4812.6924 | 32.7394 | 32.7394 | 32.7394 | 32.7394 | CUST-1
customer accounting (WCA) | 490373.1465 | 443804.4156 | 7967.7633 | 30007.1657 | 113.8252 | 8366.1515 | 28.4563 | 28.4563 | 28.4563 | 28.4563 | CUST-2
meters and services (WCMS) | 598653.9126 | 497806.3193 | 3574.9107 | 56097.3715 | 1021.4031 | 37536.5627 | 255.3508 | 510.7015 | 255.3508 | 1595.9423 | CUST-3
public fire (PFP) | 258059.3966 | 213919.4264 | 2867.6213 | 28927.6783 | 246.8934 | 12097.7773 | 0 | 0 | 0 | 0 | PFP-1
revenue related (RR) | 10488.1541 | 8696.7744 | 385.7755 | 804.6109 | 81.4975 | 297.5689 | 0 | 13.2914 | 0.5111 | 208.1244 | RR-1
direct assign (DA) | 6444.0944 | 0 | 0 | 0 | 0 | 0 | 6444.0944 | 0 | 0 | 0 | direct assignment
Total Expenses | 10372407.2036 | 8404502.8819 | 332771.2226 | 763682.7487 | 78144.9724 | 294174.7208 | 6760.6409 | 19482.2471 | 1404.7317 | 471483.0376 | balance
| -146923.2924 | total expense reduction due to excess water loss
| 10519330.4961 | which compares to "PF expenses"
Note on A4: Connie Lea Allen, PE: includes reduction in expenses of $55,395.91 for chemicals and power due to excess water loss--calculations shown bottom of tab "summary"
Note on A5: Connie Lea Allen, PE: includes reduction in expenses of $91,527.38 for power and purchased water due to excess water loss--calculations shown bottom of tab "summary"

## summary
Line No. | Cost Component | Total | Residential |  | Commercial | Industrial | Public Authority | Wholesale |  |  |  | Wholesale Combined
|  |  | single-family | multi-family |  |  |  | Jenkins | Mingo County | Martin County WD | Elkhorn City WD |  |  |  | to be allocated as in tab "PF expenses"
1 | revenues at present rates | 8274887.2579 | 6861534.1778 | 304367.1116 | 634817.5961 | 64299.4363 | 234774.2842 | 0 | 10486.5416 | 403.247 | 164204.8635 | 175094.6521 |  | from tab "PF expenses"
2 | allocated revenue requirement | 10372407.2036 | 8404502.8819 | 332771.2226 | 763682.7487 | 78144.9724 | 294174.7208 | 6760.6409 | 19482.2471 | 1404.7317 | 471483.0376 | 499130.6573 | purchased water | 1240348.7 | -67319.0753
3 | net income | -2097519.9457 | -1542968.7041 | -28404.1111 | -128865.1526 | -13845.5361 | -59400.4367 | -6760.6409 | -8995.7056 | -1001.4846 | -307278.1741 | -324036.0052 | treatment chemicals | 192312.37 | -10437.622
4 | rate base | 65659107.545 | 54805696.1193 | 1636257.2203 | 4562174.1795 | 362836.2586 | 1815089.2373 | 266579.2628 | 91767.9403 | 9194.8916 | 2109512.4354 | 2477054.5301 | treatment and distribution power | 1274389.1073 | -69166.5951
5 | present return on rate base | -3.195% | -2.815% | -1.736% | -2.825% | -3.816% | -3.273% | -2.536% | -9.803% | -10.89% | -14.57% | -13.08% |  | 2707050.1773 | -146923.2924
6 | proposed rate of return | 0.02349% | 0% | 0% | 0% | 4.25% | 0% | 0% | 0% | 0% | 0% | 0%
7 | proposed return component | 15420.541 | 0 | 0 | 0 | 15420.541 | 0 | 0 | 0 | 0 | 0 | 0 | non-rev water (loss) less 22% | 5.427% | this is water loss from "COMM-1" minus 22%
8 | proposed rate revenues | 10387827.7446 | 8404502.8819 | 332771.2226 | 763682.7487 | 93565.5133 | 294174.7208 | 6760.6409 | 19482.2471 | 1404.7317 | 471483.0376 | 499130.6573
9 | balance (deficiency) of funds | -2112940.4867 | -1542968.7041 | -28404.1111 | -128865.1526 | -29266.0771 | -59400.4367 | -6760.6409 | -8995.7056 | -1001.4846 | -307278.1741 | -324036.0052
10 | change over present rates | -25.53% | -22.49% | -9.332% | -20.3% | -45.52% | -25.3% | #DIV/0! | -85.78% | -248.4% | -187.1% | -185.1%
weighted customer
| deductions due to excess water loss | excess water loss discount | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | basis of classification
| purchased water | -67319.0753 |  | -67319.0753 | [5 empty] | CAP
| treatment chemicals | -10437.622 | -10437.622 | [6 empty] | COMM
| power | -69166.5951 | -44958.2868 | -24208.3083 | [5 empty] | 65 COMM/35 CAP
| totals | -146923.2924 | -55395.9088 | -91527.3836
Note on M1: Connie Lea Allen, PE: this really doesn't mean much since Jenkins is so skewed
Note on I3: Connie Lea Allen, PE: b/c MWD didn't collect any money from this emergency connection, this is 0 and Line No. 10 gives the error "DIV/0".
Note on B8: Connie Lea Allen, PE: A very simplistic (but promoted by AWWA) approach for public systems using the cost of money plus a risk premium. I typically charge non-Owners a return on rate base and risk premiums for wholesales if they present a flight risk. The wholesale contracts minimize flight risks and I only charged Industrial a RoRB b/c of the allocations of the rate base are not based on very complete recoeds of capital contributions, grants-in-aid, and direct assignments.
Note on G8: Connie Lea Allen, PE: using the cost of money, here, because no direct assignment/allocation information was available for industrial customers; Wolfpit is grant funded, but depreciation will have to be funded
Note on O9: Connie Lea Allen, PE: please consider Technical Memorandum - "Water Loss for Rate Case" by SRE

## unit cost
Cost Component | Total | Residential |  | Commercial | Industrial | Public Authority | Wholesale
|  | single-family | multi-family |  |  |  | Jenkins | Mingo County | Martin County WD | Elkhorn City WD
Allocated Commodity Costs | 4504220.3299 | 3438255.3272 | 160583.2034 | 379565.3753 | 47935.6145 | 146765.4615 | 0 | 12779.9715 | 735.5877 | 317599.7888
Commodity Costs - $/1000 gallons | 5.8129 | 5.8167 | 5.8167 | 5.8167 | 5.8167 | 5.8167 | #DIV/0! | 5.7648 | 5.7648 | 5.7648
Allocated Capacity Costs | 3961872.6793 | 3291416.8719 | 153725.1352 | 245264.7459 | 28680.2599 | 84298.5067 | 0 | 6117.087 | 352.0864 | 152017.9864 | 10387827.7446
Capacity Costs - $/1000 gallons | 5.113 | 5.5683 | 5.5683 | 3.7586 | 3.4802 | 3.341 | #DIV/0! | 2.7593 | 2.7593 | 2.7593 | 8756505.1952
Allocated Pub Fire Pro Costs | 258059.3966 | 213919.4264 | 2867.6213 | 28927.6783 | 246.8934 | 12097.7773 | 0 | 0 | 0 | 0
Pub Fire Pro Costs - $/1000 gallons | 0.33304 | 0.3619 | 0.10387 | 0.44331 | 0.029959 | 0.47947 | #DIV/0! | 0 | 0 | 0
Allocated Rev & DA Costs | 16932.2485 | 8696.7744 | 385.7755 | 804.6109 | 81.4975 | 297.5689 | 6444.0944 | 13.2914 | 0.5111 | 208.1244
Rev & DA Costs - $/1000 gallons | 0.021852 | 0.014713 | 0.013974 | 0.01233 | 0.0098893 | 0.011793 | #DIV/0! | 0.0059955 | 0.0040055 | 0.0037777
Allocated Return Component | 15420.541 | 0 | 0 | 0 | 15420.541 | 0 | 0 | 0 | 0 | 0 | 6952288.3999
Return Comp Costs - $/1000 gal | 0.019901 | 0 | 0 | 0 | 1.8712 | 0 | #DIV/0! | 0 | 0 | 0 | 11.7616
Allocated Customer Costs | 1631322.5494 | 1452214.482 | 15209.4873 | 109120.3383 | 1200.7071 | 50715.4065 | 6760.6409 | 571.8972 | 316.5465 | 1657.138
Customer Costs - $/Cust/Mn |  | 7.7595 | 11.3166 | 12.9351 | 50.0295 | 28.7502 | 563.3867 | 47.6581 | 26.3789 | 138.0948
Volumetric Cost - $/1000 gallons |  | 11.7616 | 11.5029 | 10.031 | 11.208 | 9.649 | #DIV/0! | 8.5301 | 8.5281 | 8.5279
Basic Data:
Annual Water Purchase 1000 gal | 774869.8 | 591098.34 | 27607.16 | 65254.16 | 8241 | 25231.64 | 0 | 2216.9 | 127.6 | 55093
Number of Customers |  | 15596 | 112 | 703 | 2 | 147 | 1 | 1 | 1 | 1
| 10387827.7446 | check
Note on H13: Connie Lea Allen, PE: have to add Jenkins' direct assign (Jenkin's connector annual depreciation) to customer costs to be able to capture the cost even though they do not currently purchase water