## Summary
Kentucky Utilities Company and Louisville Gas and Electric Company
Summary of Marginal Cost of Service
LG&E/KU Marginal Cost of Service per kW of added NCP Demand
|  | LG&E | KU
| Production Demand (per kW of added NCP Demand) | 3.6867 | 3.6867
| Production Energy (per kWh of added Energy) | 0.03447 | 0.03447
| Transmission (per kW of added NCP Demand) | 0.06 | 0.01
Notes:
Marginal cost is broadly defined as the change in total cost with respect to a small change in output.
The marginal Production Demand costs are the changes in capacity costs associated with serving changes in the demand
("output") on the electric system. Based on the Companies' most recent Integrated Resource Plan filed at the Kentucky Public Service
Commission in 2021, the Companies' are not projecting needing additional capacity until 2028 with the retirement of Mill Creek 2.
The Companies are not projecting to need additional capacity prior to 2028 based on their load forecasts. Therefore, the analysis
shows the cost of moving that nearest forecasted need of 2028, up one year to 2027 due to a change of load on the system.
The marginal Production Demand cost is the monthly value of the Economic Carrying Charge Rate (ECCR) applied to the
present value revenue requirement (PVRR) of a new Combined Cycle Plant built in 2028 based on the NREL ATB worksheet
which estimates the installed cost of new generation technologies. The computation of the PVRR for a new combined cycle
Combustion Turbine is shown on the tab labeled "Prod PVRR" which is then used as an input into the ECCR for Production
Demand shown on tab labeled "Prod Economic Carrying Charge". The tab which calculates the ECCR takes the PVRR
and calculates a Coincident Peak (CP) rate per additional kW based on accelerating the construction of the next needed
generating plant from 2028 to 2027. This CP rate is then multipled by an average coincidence factor for both Companies'
Industrial customer classes based on their 2020 retail rate case filings to determine what the cost per kW is on a Non-Coincident
Peak (NCP) basis. The rationale behind thisis that the Economic Development Rate determined by the Company will be charged
on an NCP basis for demand.
Because the LG&E and KU generating units are jointly operated and dispatched to meet the combined demands of the joint
systems, a single value is provided for the marginal production demand cost on a joint Company basis. For evaluating an
economic development offer, it would be necessary to adjust the NCP marginal value to reflect the applicable loss-factor for a
prospective customer which could take service at a transmission, primary or secondary voltage.

## Prod Economic Carrying Charge
Louisville Gas & Electric and Kentucky Utilities
Economic Carrying Charge of CCGT Addition
Assumptions | Values
Inflation Rate ( g ) | 2.5%
Weighted Cost of Capital ( r ) | 6.41%
Year Scheduled to be Installed | 2028
Year Installed After Load Addition | 2027
a | 1
Current Year | 2022
m | 5
PVRR | 1870.066
Service Life (L) | 40
Economic Carrying Charge Rate (ECRR) | 3.925%
Coincidence Factor | 60.27%
Annual Value (CP) = | 73.4073
Annual Value (NCP) = | 44.2408
Monthly Value (CP) = | 6.1173
Monthly Value (NCP) = | 3.6867
Note on D8: Companies in their 2021 Integrated Resource Plan filed in Kentucky
Note on D10: WACC based on Companies' 2020 Kentucky Rate Case Settlement
Note on D12: Based on Companies' Integrated Resource Plan for when next generating facility will need to be constructed.
Note on D28: Average coincidence factor for both Companies.

## Prod PVRR
| Louisville Gas & Electric and Kentucky Utilities | [6 empty] | Louisville Gas & Electric and Kentucky Utilities | [9 empty] | Louisville Gas & Electric and Kentucky Utilities
| Present Value Revenue Requirement Analysis | [6 empty] | Present Value Revenue Requirement Analysis | [9 empty] | Present Value Revenue Requirement Analysis
| New CCGT Addition | [6 empty] | New CCGT Addition | [9 empty] | New CCGT Addition
| Assumptions: | [6 empty] | Assumptions: | [9 empty] | Assumptions:
| Investment |  |  | 951 |  |  |  | Investment |  |  | 951 | [6 empty] | Investment |  | 951
| Book Life |  |  | 40 |  |  |  | Book Life |  |  | 40 | [6 empty] | Book Life |  | 40
| Tax Life |  |  | 20 |  |  |  | Tax Life |  |  | 20 | [6 empty] | Tax Life |  | 20
| Composite Tax Rate |  |  | 24.84% |  |  |  | Composite Tax Rate |  |  | 24.84% | [6 empty] | Composite Tax Rate |  | 24.84%
| Property Tax Rate |  |  | 0.7368% |  |  |  | Property Tax Rate |  |  | 0.7368% | [6 empty] | Property Tax Rate |  | 0.7368%
| Levelized Revenue Requirement Years |  |  | 40 |  |  |  | Levelized Revenue Requirement Years |  |  | 40 | [6 empty] | Levelized Revenue Requirement Years |  | 40
| Results: | [6 empty] | Results: | [9 empty] | Results:
| Present Value Revenue Requirement |  |  | 1870.066 |  |  |  | Present Value Revenue Requirement |  |  | 1870.066 | [6 empty] | Present Value Revenue Requirement |  | 1870.066
| Levelized Revenue Requirement |  |  | 138.1793 |  |  |  | Levelized Revenue Requirement |  |  | 138.1793 | [6 empty] | Levelized Revenue Requirement |  | 138.1793
| Levelized Carrying Charge Rate |  |  | 14.53% |  |  |  | Levelized Carrying Charge Rate |  |  | 14.53% | [6 empty] | Levelized Carrying Charge Rate |  | 14.53%
Cumulative
[16 empty] | Present | Present | Present | Annual
[7 empty] | Accumulated | [7 empty] | Annual | Value | Value | Value | Carrying
|  | Book | Net | Tax | Residual | Deferred | Deferred |  |  |  | Property | Income | Fixed | Firm Gas | Rev | Interest | Revenue | Revenue | Charge
Year | Investment | Depreciation | Plant | Depreciation | Plant | Income Tax | Income Tax | Rate Base | Interest | Equity | Taxes | Taxes | O&M | Transport | Requirement | Factor | Requirement | Requirement | Rate
0 | 951 | [14 empty] | 1 | 0 | 0
1 |  | 23.775 | 927.225 | 35.6625 | 915.3375 | 2.9529 | 2.9529 | 924.2721 | 0.064739 | 63.444 | 6.8317 | 20.9685 | 13 | 22 | 150.0839 | 0.93976 | 141.0426 | 141.0426 | 15.78%
2 |  | 23.775 | 903.45 | 68.6527 | 846.6848 | 11.1479 | 14.1008 | 889.3492 | 0.062293 | 61.0468 | 6.6565 | 20.1762 | 13.325 | 22.55 | 147.5919 | 0.88315 | 130.3452 | 271.3878 | 15.52%
3 |  | 23.775 | 879.675 | 63.4983 | 783.1865 | 9.8675 | 23.9683 | 855.7067 | 0.059937 | 58.7375 | 6.4814 | 19.413 | 13.6581 | 23.1137 | 145.2387 | 0.82994 | 120.54 | 391.9278 | 15.27%
4 |  | 23.775 | 855.9 | 58.7433 | 724.4433 | 8.6863 | 32.6546 | 823.2454 | 0.057663 | 56.5093 | 6.3062 | 18.6766 | 13.9996 | 23.6916 | 143.0159 | 0.77995 | 111.5448 | 503.4725 | 15.04%
5 |  | 23.775 | 832.125 | 54.3306 | 670.1126 | 7.5902 | 40.2447 | 791.8803 | 0.055466 | 54.3563 | 6.131 | 17.965 | 14.3496 | 24.2839 | 140.9163 | 0.73296 | 103.2862 | 606.7587 | 14.82%
6 |  | 23.775 | 808.35 | 50.2604 | 619.8523 | 6.5791 | 46.8238 | 761.5262 | 0.05334 | 52.2728 | 5.9558 | 17.2764 | 14.7083 | 24.891 | 138.9326 | 0.68881 | 95.6977 | 702.4564 | 14.61%
7 |  | 23.775 | 784.575 | 46.4849 | 573.3674 | 5.6413 | 52.4651 | 732.1099 | 0.05128 | 50.2536 | 5.7807 | 16.609 | 15.076 | 25.5133 | 137.0588 | 0.64731 | 88.7198 | 791.1762 | 14.41%
8 |  | 23.775 | 760.8 | 43.0042 | 530.3632 | 4.7766 | 57.2417 | 703.5583 | 0.04928 | 48.2937 | 5.6055 | 15.9613 | 15.4529 | 26.1511 | 135.2888 | 0.60832 | 82.2985 | 873.4747 | 14.23%
9 |  | 23.775 | 737.025 | 42.4336 | 487.9296 | 4.6349 | 61.8766 | 675.1484 | 0.04729 | 46.3436 | 5.4303 | 15.3168 | 15.8392 | 26.8049 | 133.5571 | 0.57167 | 76.3507 | 949.8254 | 14.04%
10 |  | 23.775 | 713.25 | 42.4241 | 445.5055 | 4.6325 | 66.5092 | 646.7408 | 0.0453 | 44.3937 | 5.2552 | 14.6723 | 16.2352 | 27.475 | 131.8516 | 0.53723 | 70.835 | 1020.6604 | 13.86%
11 |  | 23.775 | 689.475 | 42.4336 | 403.0718 | 4.6349 | 71.1441 | 618.3309 | 0.04331 | 42.4435 | 5.08 | 14.0278 | 16.6411 | 28.1619 | 130.1726 | 0.50487 | 65.7201 | 1086.3804 | 13.69%
12 |  | 23.775 | 665.7 | 42.4241 | 360.6477 | 4.6325 | 75.7766 | 589.9234 | 0.04132 | 40.4936 | 4.9048 | 13.3833 | 17.0571 | 28.8659 | 128.5211 | 0.47445 | 60.9774 | 1147.3579 | 13.51%
13 |  | 23.775 | 641.925 | 42.4336 | 318.2141 | 4.6349 | 80.4115 | 561.5135 | 0.03933 | 38.5435 | 4.7296 | 12.7388 | 17.4836 | 29.5876 | 126.8973 | 0.44587 | 56.5801 | 1203.9379 | 13.34%
14 |  | 23.775 | 618.15 | 42.4241 | 275.79 | 4.6325 | 85.0441 | 533.1059 | 0.037341 | 36.5935 | 4.5545 | 12.0943 | 17.9206 | 30.3272 | 125.3025 | 0.41901 | 52.5034 | 1256.4413 | 13.18%
15 |  | 23.775 | 594.375 | 42.4336 | 233.3564 | 4.6349 | 89.679 | 504.696 | 0.035351 | 34.6434 | 4.3793 | 11.4498 | 18.3687 | 31.0854 | 123.7369 | 0.39377 | 48.724 | 1305.1653 | 13.01%
16 |  | 23.775 | 570.6 | 42.4241 | 190.9323 | 4.6325 | 94.3115 | 476.2885 | 0.033361 | 32.6934 | 4.2041 | 10.8053 | 18.8279 | 31.8626 | 122.2017 | 0.37005 | 45.2207 | 1350.3859 | 12.85%
17 |  | 23.775 | 546.825 | 42.4336 | 148.4986 | 4.6349 | 98.9464 | 447.8786 | 0.031371 | 30.7433 | 4.0289 | 10.1608 | 19.2986 | 32.6591 | 120.6972 | 0.34776 | 41.9733 | 1392.3592 | 12.69%
18 |  | 23.775 | 523.05 | 42.4241 | 106.0745 | 4.6325 | 103.5789 | 419.4711 | 0.029381 | 28.7934 | 3.8538 | 9.5163 | 19.781 | 33.4756 | 119.2245 | 0.32681 | 38.9635 | 1431.3227 | 12.54%
19 |  | 23.775 | 499.275 | 42.4336 | 63.6409 | 4.6349 | 108.2138 | 391.0612 | 0.027391 | 26.8433 | 3.6786 | 8.8718 | 20.2756 | 34.3125 | 117.7841 | 0.30712 | 36.1739 | 1467.4966 | 12.39%
20 |  | 23.775 | 475.5 | 42.4241 | 21.2168 | 4.6325 | 112.8464 | 362.6536 | 0.025402 | 24.8933 | 3.5034 | 8.2273 | 20.7825 | 35.1703 | 116.3773 | 0.28862 | 33.5887 | 1501.0853 | 12.24%
21 |  | 23.775 | 451.725 | 21.2168 | -8.1712e-14 | -0.63547 | 112.2109 | 339.5141 | 0.023781 | 23.305 | 3.3283 | 7.7024 | 21.302 | 36.0496 | 115.486 | 0.27123 | 31.3235 | 1532.4087 | 12.14%
22 |  | 23.775 | 427.95 | 0 | -8.1712e-14 | -5.9058 | 106.3051 | 321.6449 | 0.022529 | 22.0784 | 3.1531 | 7.297 | 21.8346 | 36.9508 | 115.1114 | 0.25489 | 29.341 | 1561.7498 | 12.1%
23 |  | 23.775 | 404.175 | 0 | -8.1712e-14 | -5.9058 | 100.3992 | 303.7758 | 0.021278 | 20.8518 | 2.9779 | 6.8916 | 22.3804 | 37.8746 | 114.7726 | 0.23954 | 27.4923 | 1589.2421 | 12.07%
24 |  | 23.775 | 380.4 | 0 | -8.1712e-14 | -5.9058 | 94.4934 | 285.9066 | 0.020026 | 19.6252 | 2.8027 | 6.4862 | 22.9399 | 38.8214 | 114.4706 | 0.22511 | 25.7682 | 1615.0103 | 12.04%
25 |  | 23.775 | 356.625 | 0 | -8.1712e-14 | -5.9058 | 88.5876 | 268.0374 | 0.018774 | 18.3987 | 2.6276 | 6.0808 | 23.5134 | 39.792 | 114.2063 | 0.21155 | 24.1599 | 1639.1702 | 12.01%
26 |  | 23.775 | 332.85 | 0 | -8.1712e-14 | -5.9058 | 82.6817 | 250.1683 | 0.017523 | 17.1721 | 2.4524 | 5.6754 | 24.1013 | 40.7868 | 113.9805 | 0.1988 | 22.6596 | 1661.8298 | 11.99%
27 |  | 23.775 | 309.075 | 0 | -8.1712e-14 | -5.9058 | 76.7759 | 232.2991 | 0.016271 | 15.9455 | 2.2772 | 5.2701 | 24.7038 | 41.8064 | 113.7943 | 0.18683 | 21.2598 | 1683.0896 | 11.97%
28 |  | 23.775 | 285.3 | 0 | -8.1712e-14 | -5.9058 | 70.87 | 214.43 | 0.015019 | 14.7189 | 2.1021 | 4.8647 | 25.3214 | 42.8516 | 113.6487 | 0.17557 | 19.9535 | 1703.0431 | 11.95%
29 |  | 23.775 | 261.525 | 0 | -8.1712e-14 | -5.9058 | 64.9642 | 196.5608 | 0.013768 | 13.4923 | 1.9269 | 4.4593 | 25.9544 | 43.9229 | 113.5446 | 0.16499 | 18.7343 | 1721.7774 | 11.94%
30 |  | 23.775 | 237.75 | 0 | -8.1712e-14 | -5.9058 | 59.0584 | 178.6916 | 0.012516 | 12.2658 | 1.7517 | 4.0539 | 26.6033 | 45.021 | 113.4832 | 0.15506 | 17.5962 | 1739.3736 | 11.93%
31 |  | 23.775 | 213.975 | 0 | -8.1712e-14 | -5.9058 | 53.1525 | 213.975 | 0.014988 | 14.6877 | 1.5765 | 4.8543 | 27.2684 | 46.1465 | 118.3234 | 0.14571 | 17.2415 | 1756.615 | 12.44%
32 |  | 23.775 | 190.2 | 0 | -8.1712e-14 | -5.9058 | 47.2467 | 190.2 | 0.013322 | 13.0557 | 1.4014 | 4.315 | 27.9501 | 47.3001 | 117.8106 | 0.13694 | 16.1326 | 1772.7476 | 12.39%
33 |  | 23.775 | 166.425 | 0 | -8.1712e-14 | -5.9058 | 41.3409 | 166.425 | 0.011657 | 11.4238 | 1.2262 | 3.7756 | 28.6488 | 48.4827 | 117.3437 | 0.12869 | 15.1006 | 1787.8482 | 12.34%
34 |  | 23.775 | 142.65 | 0 | -8.1712e-14 | -5.9058 | 35.435 | 142.65 | 0.0099917 | 9.7918 | 1.051 | 3.2362 | 29.3651 | 49.6947 | 116.9238 | 0.12093 | 14.1402 | 1801.9884 | 12.29%
35 |  | 23.775 | 118.875 | 0 | -8.1712e-14 | -5.9058 | 29.5292 | 118.875 | 0.0083264 | 8.1598 | 0.87586 | 2.6969 | 30.0992 | 50.9371 | 116.5522 | 0.11365 | 13.2461 | 1815.2345 | 12.26%
36 |  | 23.775 | 95.1 | 0 | -8.1712e-14 | -5.9058 | 23.6233 | 95.1 | 0.0066612 | 6.5279 | 0.70069 | 2.1575 | 30.8517 | 52.2105 | 116.2299 | 0.1068 | 12.4137 | 1827.6483 | 12.22%
37 |  | 23.775 | 71.325 | 0 | -8.1712e-14 | -5.9058 | 17.7175 | 71.325 | 0.0049959 | 4.8959 | 0.52552 | 1.6181 | 31.623 | 53.5158 | 115.9583 | 0.10037 | 11.6386 | 1839.2869 | 12.19%
38 |  | 23.775 | 47.55 | 0 | -8.1712e-14 | -5.9058 | 11.8117 | 47.55 | 0.0033306 | 3.2639 | 0.35034 | 1.0787 | 32.4135 | 54.8537 | 115.7386 | 0.094323 | 10.9168 | 1850.2037 | 12.17%
39 |  | 23.775 | 23.775 | 0 | -8.1712e-14 | -5.9058 | 5.9058 | 23.775 | 0.0016653 | 1.632 | 0.17517 | 0.53937 | 33.2239 | 56.225 | 115.5721 | 0.088641 | 10.2444 | 1860.4481 | 12.15%
40 |  | 23.775 | 6.0396e-13 | 0 | -8.1712e-14 | -5.9058 | 2.6645e-14 | 6.0396e-13 | 4.2304e-17 | 4.1457e-14 | 4.4499e-15 | 1.3702e-14 | 34.0545 | 57.6306 | 115.4601 | 0.083301 | 9.6179 | 1870.066 | 12.14%
[8 empty] | Net Present Value Revenue Requirement | [8 empty] | 1870.066
Note on E8: Overnight Capital Cost cost per kW of new NGCC installed in 2028 based on 2020 NREL ATB data

## Combined WACOC-Tax Table
Louisville Gas and Electric and Kentucky Utilities
Weighted Cost of Capital and MACRS
Capital Structure:
|  |  | Weighted |  | Adjusted
| Percent | Rate | COC | Tax Rate | Rate
Short Term Debt | 1.523% | 0.46% | 0.007004% | 24.84% | 0.005264%
Long Term Debt | 45.26% | 4.084% | 1.848% | 24.84% | 1.389%
Common Equity | 53.22% | 9.425% | 5.016% |  | 5.016%
|  |  | 6.871% |  | 6.41%
Tax Depreciation Table (MACRS)
| 5 |  | 15 | 20
1 | 20% | 10% | 5% | 3.75%
2 | 32% | 18% | 9.5% | 7.219%
3 | 19.2% | 14.4% | 8.55% | 6.677%
4 | 11.52% | 11.52% | 7.7% | 6.177%
5 | 11.52% | 9.22% | 6.93% | 5.713%
6 | 0% | 7.37% | 6.23% | 5.285%
7 | 0% | 6.55% | 5.9% | 4.888%
8 | 0% | 6.55% | 5.9% | 4.522%
9 | 0% | 6.56% | 5.91% | 4.462%
10 | 0% | 6.55% | 5.9% | 4.461%
11 | 0% | 0% | 5.91% | 4.462%
12 | 0% | 0% | 5.9% | 4.461%
13 | 0% | 0% | 5.91% | 4.462%
14 | 0% | 0% | 5.9% | 4.461%
15 | 0% | 0% | 5.91% | 4.462%
16 | 0% | 0% | 2.95% | 4.461%
17 | 0% | 0% | 0% | 4.462%
18 | 0% | 0% | 0% | 4.461%
19 | 0% | 0% | 0% | 4.462%
20 | 0% | 0% | 0% | 4.461%
21 | 0% | 0% | 0% | 2.231%
22 | 0% | 0% | 0% | 0%
23 | 0% | 0% | 0% | 0%
24 | 0% | 0% | 0% | 0%
25 | 0% | 0% | 0% | 0%
26 | 0% | 0% | 0% | 0%
27 | 0% | 0% | 0% | 0%
28 | 0% | 0% | 0% | 0%
29 | 0% | 0% | 0% | 0%
30 | 0% | 0% | 0% | 0%

## LGE WACOC-Tax Table
Louisville Gas & Electric
Weighted Cost of Capital and MACRS
Capital Structure:
|  |  | Weighted |  | Adjusted
| Percent | Rate | COC | Tax Rate | Rate
Short Term Debt | 1.26% | 0.46% | 0.005796% | 24.85% | 0.004356%
Long Term Debt | 45.55% | 4% | 1.822% | 24.85% | 1.369%
Common Equity | 53.19% | 9.425% | 5.013% |  | 5.013%
|  |  | 6.841% |  | 6.387%
Tax Depreciation Table (MACRS)
| 5 |  | 15 | 20
1 | 20% | 10% | 5% | 3.75%
2 | 32% | 18% | 9.5% | 7.219%
3 | 19.2% | 14.4% | 8.55% | 6.677%
4 | 11.52% | 11.52% | 7.7% | 6.177%
5 | 11.52% | 9.22% | 6.93% | 5.713%
6 | 0% | 7.37% | 6.23% | 5.285%
7 | 0% | 6.55% | 5.9% | 4.888%
8 | 0% | 6.55% | 5.9% | 4.522%
9 | 0% | 6.56% | 5.91% | 4.462%
10 | 0% | 6.55% | 5.9% | 4.461%
11 | 0% | 0% | 5.91% | 4.462%
12 | 0% | 0% | 5.9% | 4.461%
13 | 0% | 0% | 5.91% | 4.462%
14 | 0% | 0% | 5.9% | 4.461%
15 | 0% | 0% | 5.91% | 4.462%
16 | 0% | 0% | 2.95% | 4.461%
17 | 0% | 0% | 0% | 4.462%
18 | 0% | 0% | 0% | 4.461%
19 | 0% | 0% | 0% | 4.462%
20 | 0% | 0% | 0% | 4.461%
21 | 0% | 0% | 0% | 2.231%
22 | 0% | 0% | 0% | 0%
23 | 0% | 0% | 0% | 0%
24 | 0% | 0% | 0% | 0%
25 | 0% | 0% | 0% | 0%
26 | 0% | 0% | 0% | 0%
27 | 0% | 0% | 0% | 0%
28 | 0% | 0% | 0% | 0%
29 | 0% | 0% | 0% | 0%
30 | 0% | 0% | 0% | 0%

## KU WACOC-Tax Table
Kentucky Utilities
Weighted Cost of Capital and MACRS
Capital Structure:
|  |  | Weighted |  | Adjusted
| Percent | Rate | COC | Tax Rate | Rate
Short Term Debt | 1.69% | 0.46% | 0.007774% | 24.83% | 0.005844%
Long Term Debt | 45.07% | 4.14% | 1.866% | 24.83% | 1.403%
Common Equity | 53.24% | 9.425% | 5.018% |  | 5.018%
|  |  | 6.892% |  | 6.426%
Tax Depreciation Table (MACRS)
| 5 |  | 15 | 20
1 | 20% | 10% | 5% | 3.75%
2 | 32% | 18% | 9.5% | 7.219%
3 | 19.2% | 14.4% | 8.55% | 6.677%
4 | 11.52% | 11.52% | 7.7% | 6.177%
5 | 11.52% | 9.22% | 6.93% | 5.713%
6 | 0% | 7.37% | 6.23% | 5.285%
7 | 0% | 6.55% | 5.9% | 4.888%
8 | 0% | 6.55% | 5.9% | 4.522%
9 | 0% | 6.56% | 5.91% | 4.462%
10 | 0% | 6.55% | 5.9% | 4.461%
11 | 0% | 0% | 5.91% | 4.462%
12 | 0% | 0% | 5.9% | 4.461%
13 | 0% | 0% | 5.91% | 4.462%
14 | 0% | 0% | 5.9% | 4.461%
15 | 0% | 0% | 5.91% | 4.462%
16 | 0% | 0% | 2.95% | 4.461%
17 | 0% | 0% | 0% | 4.462%
18 | 0% | 0% | 0% | 4.461%
19 | 0% | 0% | 0% | 4.462%
20 | 0% | 0% | 0% | 4.461%
21 | 0% | 0% | 0% | 2.231%
22 | 0% | 0% | 0% | 0%
23 | 0% | 0% | 0% | 0%
24 | 0% | 0% | 0% | 0%
25 | 0% | 0% | 0% | 0%
26 | 0% | 0% | 0% | 0%
27 | 0% | 0% | 0% | 0%
28 | 0% | 0% | 0% | 0%
29 | 0% | 0% | 0% | 0%
30 | 0% | 0% | 0% | 0%

## WACOC
Kentucky Utilities Company and Louisvillle Gas & Electric Company
Weighted Cost of Capital
Kentucky Utilities Company
Weighted
Cost of
Component of Capital | Percent | Rate | Capital
Short-Term Debt | 1.69% | 0.46% | 0.007774% | 88669692.9674 | 407880.5877
Long-Term Debt | 45.07% | 4.14% | 1.866% | 2358597444.1903 | 97645934.1895
Common Equity | 53.24% | 9.425% | 5.018% | 2786020096.9871 | 262582394.141
|  |  | 6.892% | 5233287234.1448 | 0.041536 | 0.14982
Louisville Gas & Electric Company
Weighted
Cost of
Component of Capital | Percent | Rate | Capital
Short-Term Debt | 1.26% | 0.46% | 0.005796% | 43543326.4391 | 200299.3016
Long-Term Debt | 45.55% | 4% | 1.822% | 1571185385.9068 | 62847415.4363
Common Equity | 53.19% | 9.425% | 5.013% | 1834845195.3424 | 172934159.661
|  |  | 6.841% | 3449573907.6884 | 0.027178 | 0.098583
Total Company Average
Weighted
Cost of
Component of Capital | Percent | Rate | Capital
Short-Term Debt | 1.523% | 0.46% | 0.007004% | 132213019.4065 | 0.015227 | 608179.8893 | 0.0046 | 7.0044e-05
Long-Term Debt | 45.26% | 4.084% | 1.848% | 3929782830.0971 | 0.45259 | 160493349.6258 | 0.04084 | 0.018484
Common Equity | 53.22% | 9.425% | 5.016% | 4620865292.3295 | 0.53218 | 435516553.8021 | 0.09425 | 0.050158
| 100% |  | 6.871% | 8682861141.8332 | 1 |  |  | 0.068712
Income Tax Rates
LG&E | 24.83%
KU | 24.85%
Weighted Total | 24.84%