## ReserveMargin
|  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Summer
| Peak Load | 6200.5889 | 6179.4602 | 6283.2817 | 6366.851 | 6358.0423 | 6325.606 | 6309.2289 | 6294.2159 | 6299.5575 | 6304.0504 | 6281.7804 | 6274.2349 | 6276.6319 | 6290.6959
Existing Generation Resources
Fully Dispatchable | Brown 3 | 412 | 412 | 412 | 412 | 412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Brown 5 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
| Brown 6 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146
| Brown 7 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146
| Brown 8 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
| Brown 9 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
| Brown 10 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
| Brown 11 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121 | 121
| Cane Run 7 | 662 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691
| Ghent 1 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475 | 475
| Ghent 2 | 485 | 485 | 485 | 485 | 485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ghent 3 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481
| Ghent 4 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478
| Haefling 1-2 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek 2 | 297 | 297 | 297 | 297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek 3 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391
| Mill Creek 4 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477 | 477
| Paddy's Run 12 | 23 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Paddy's Run 13 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147
| Trimble County 1 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75
| Trimble County 2 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549
| Trimble County 5 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159
| Trimble County 6 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159
| Trimble County 7 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159
| Trimble County 8 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159
| Trimble County 9 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159
| Trimble County 10 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159
| OVEC | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152
Intermittent/ Limited-Duration | Brown Solar | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
| Archdiocese of Louisville Business Solar | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
| Maker's Mark Business Solar | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16
| Dix Dam 1-3 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5
| Ohio Falls 1-8 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
| Simpsonville Solar 1-5 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68
| Existing CSR | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6
| Existing Dispatchable DSM | 61.5 | 59.6 | 55.777 | 52.3059 | 49.1867 | 46.4034 | 43.8841 | 41.6286 | 39.6009 | 37.7783 | 36.1403 | 34.668 | 33.3448 | 32.1555
Additions
Fully Dispatchable | Mill Creek 5 | 0 | 0 | 0 | 0 | 621 | 621 | 621 | 621 | 621 | 621 | 621 | 621 | 621 | 621
| Brown 12 | 0 | 0 | 0 | 0 | 0 | 621 | 621 | 621 | 621 | 621 | 621 | 621 | 621 | 621
Intermittent/ Limited-Duration | Rhudes Creek PPA | 0 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6 | 78.6
| Ragland PPA | 0 | 0 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25 | 98.25
| Gray's Branch PPA | 0 | 0 | 0 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468 | 108.468
| Nacke Pike PPA | 0 | 0 | 0 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08 | 220.08
| Mercer Co. Asset | 0 | 0 | 0 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32
| Song Sparrow PPA | 0 | 0 | 0 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744 | 81.744
| Gage PVS PPA | 0 | 0 | 0 | 0 | 90.39 | 90.39 | 90.39 | 90.39 | 90.39 | 90.39 | 90.39 | 90.39 | 90.39 | 90.39
| Frontier Asset | 0 | 0 | 0 | 0 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32 | 94.32
| Brown BESS | 0 | 0 | 0 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
| Dispatchable DSM | 0 | 14.0227 | 27.6613 | 44.0816 | 69.5636 | 102.3658 | 121.0766 | 127.4909 | 127.4909 | 127.4909 | 127.4909 | 127.4909 | 127.4909 | 127.4909
| Total Supply | 7577.214 | 7696.9367 | 7758.0023 | 8400.5635 | 8931.6363 | 8685.6552 | 8701.8467 | 8706.0055 | 8703.9777 | 8702.1552 | 8700.5172 | 8699.0449 | 8697.7217 | 8696.5324
| Reserve Margin (MW) | 1376.6251 | 1517.4765 | 1474.7205 | 2033.7124 | 2573.594 | 2360.0492 | 2392.6177 | 2411.7896 | 2404.4202 | 2398.1048 | 2418.7368 | 2424.81 | 2421.0898 | 2405.8366
| Reserve Margin (%) | 22.2% | 24.56% | 23.47% | 31.94% | 40.48% | 37.31% | 37.92% | 38.32% | 38.17% | 38.04% | 38.5% | 38.65% | 38.57% | 38.24%
Winter
| Peak Load | 5873.6517 | 5859.309 | 5961.3634 | 6069.1707 | 6062.3766 | 6049.5671 | 6020.2935 | 6008.0058 | 5996.6953 | 6001.2306 | 5998.5801 | 5978.5756 | 5981.9864 | 5995.5207
Generation Resources
Fully Dispatchable | Brown 3 | 416 | 416 | 416 | 416 | 416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Brown 5 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
| Brown 6 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171
| Brown 7 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171 | 171
| Brown 8 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128
| Brown 9 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138
| Brown 10 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138
| Brown 11 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128
| Cane Run 7 | 683 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691 | 691
| Ghent 1 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479 | 479
| Ghent 2 | 486 | 486 | 486 | 486 | 486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ghent 3 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476
| Ghent 4 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478 | 478
| Haefling 1-2 | 27.3333 | 27.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek 1 | 300 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek 2 | 297 | 297 | 297 | 297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek 3 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | 394
| Mill Creek 4 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486 | 486
| Paddy's Run 12 | 28 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Paddy's Run 13 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175
| Trimble County 1 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75 | 369.75
| Trimble County 2 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570
| Trimble County 5 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
| Trimble County 6 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
| Trimble County 7 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
| Trimble County 8 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
| Trimble County 9 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
| Trimble County 10 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
| OVEC | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158
Intermittent/ Limited-Duration | Brown Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Archdiocese of Louisville Business Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Maker's Mark Business Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dix Dam 1-3 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5
| Ohio Falls 1-8 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
| Simpsonville Solar 1-5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Existing CSR | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6 | 127.6
| Existing Dispatchable DSM | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957 | 21.5957
Additions
Fully Dispatchable | Mill Creek 5 | 0 | 0 | 0 | 0 | 641 | 641 | 641 | 641 | 641 | 641 | 641 | 641 | 641 | 641
| Brown 12 | 0 | 0 | 0 | 0 | 0 | 641 | 641 | 641 | 641 | 641 | 641 | 641 | 641 | 641
Intermittent/ Limited-Duration | Rhudes Creek PPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ragland PPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gray's Branch PPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nacke Pike PPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mercer Co. Asset | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Song Sparrow PPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gage PVS PPA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Frontier Asset | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Brown BESS | 0 | 0 | 0 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
| Dispatchable DSM | 0 | 13.0404 | 25.5947 | 39.6447 | 61.3713 | 89.1447 | 102.8266 | 104.2117 | 104.2117 | 104.2117 | 104.2117 | 104.2117 | 104.2117 | 104.2117
| Total Supply | 8121.7791 | 8142.8195 | 7800.0404 | 7939.0904 | 8304.817 | 8071.5904 | 8085.2723 | 8086.6574 | 8086.6574 | 8086.6574 | 8086.6574 | 8086.6574 | 8086.6574 | 8086.6574
| Reserve Margin (MW) | 2248.1274 | 2283.5105 | 1838.677 | 1869.9197 | 2242.4404 | 2022.0233 | 2064.9788 | 2078.6517 | 2089.9622 | 2085.4269 | 2088.0774 | 2108.0818 | 2104.6711 | 2091.1368
| Reserve Margin (%) | 38.27% | 38.97% | 30.84% | 30.81% | 36.99% | 33.42% | 34.3% | 34.6% | 34.85% | 34.75% | 34.81% | 35.26% | 35.18% | 34.88%
Note on C22: Karavayev, Louanne: Reduction in available summer capacity due to MC NOx limits during ozone season
Note on D22: Karavayev, Louanne: Reduction in available summer capacity due to MC NOx limits during ozone season

## UnitRatings
| Winter 2 | Summer 2
Plant Name 4,5 |  |  | Retirement Date
Brown 3 | 416 | 412 | 2028-03-01
Brown 5 | 130 | 130
Brown 6 | 171 | 146
Brown 7 | 171 | 146
Brown 8 | 128 | 121
Brown 9 | 138 | 121
Brown 10 | 138 | 121
Brown 11 | 128 | 121
Brown Solar | 0 | 8
Archdiocese of Louisville Business Solar | 0 | 0.024
Maker's Mark Business Solar | 0 | 0.16
Cane Run 7 | 691 | 691
Dix Dam 1-3 | 31.5 | 31.5
Ghent 1 | 479 | 475
Ghent 2 | 486 | 485 | 2028-05-01
Ghent 3 | 476 | 481
Ghent 4 | 478 | 478
Haefling 1-2 | 27.3333 | 24 | 2025-01-01
Mill Creek 1 | 300 | 300 | 2025-01-01
Mill Creek 2 | 297 | 297 | 2027-03-01
Mill Creek 3 | 394 | 391
Mill Creek 4 | 486 | 477
Ohio Falls 1-8 | 40 | 64
Paddy's Run 12 | 28 | 23 | 2025-01-01
Paddy's Run 13 | 175 | 147
Simpsonville Solar 1-5 | 0 | 1.68
Trimble County 1 | 369.75 | 369.75
Trimble County 2 | 570 | 549
Trimble County 5 | 179 | 159
Trimble County 6 | 179 | 159
Trimble County 7 | 179 | 159
Trimble County 8 | 179 | 159
Trimble County 9 | 179 | 159
Trimble County 10 | 179 | 159
OVEC | 158 | 152 | 2040-07-01 | assumed availability at peak
Total Resources | 7980.5833 | 7717.114
CR7 pre-upgrade | 683 | 662
Addtiions |  |  | In-Service Date
Mill Creek 5 | 641 | 621 | 2027-06-01
Brown 12 | 641 | 621 | 2028-06-01
Rhudes Creek PPA | 100 | 100 | 2024-01-01
Ragland PPA | 125 | 125 | 2025-01-01
Gray's Branch PPA | 138 | 138 | 2026-01-15
Nacke Pike PPA | 280 | 280 | 2026-01-15
Mercer Co. Asset | 120 | 120 | 2026-09-01
Song Sparrow PPA | 104 | 104 | 2026-12-01
Gage PVS PPA | 115 | 115 | 2027-01-01
Frontier Asset | 120 | 120 | 2027-01-01
Brown BESS | 125 | 125 | 2026-04-01
Solar Contribution to Peak | 0% | 78.6%