## PSC-PH DR01 - SAW-1
Bitiki-KY, LLC 5-Year Monthly Base Rate Revenue Comparison to Marginal Cost - SAW-1
Inputs
| 95% | Load Factor (%)
| 100% | Power Factor (%)
| 13000 | Peak Demand (kVA)
| 13000 | Intermediate Demand (kVA)
| 13000 | Base Demand (kVA)
| 730 | Avg. Monthly Hours (8760 / 12 months)
| 0.02395 | KU Base Fuel Factor
| 1.0283 | KU Loss Factor (Energy - Transmission)
| 1.033 | KU Loss Factor (Demand - Transmission)
|  |  |  | Year 1 | [11 empty] | Year 2 | [11 empty] | Year 3 | [11 empty] | Year 4 | [11 empty] | Year 5
|  |  |  | Month 1 | Month 2 | Month 3 | Month 4 | Month 5 | Month 6 | Month 7 | Month 8 | Month 9 | Month 10 | Month 11 | Month 12 | Month 13 | Month 14 | Month 15 | Month 16 | Month 17 | Month 18 | Month 19 | Month 20 | Month 21 | Month 22 | Month 23 | Month 24 | Month 25 | Month 26 | Month 27 | Month 28 | Month 29 | Month 30 | Month 31 | Month 32 | Month 33 | Month 34 | Month 35 | Month 36 | Month 37 | Month 38 | Month 39 | Month 40 | Month 41 | Month 42 | Month 43 | Month 44 | Month 45 | Month 46 | Month 47 | Month 48 | Month 49 | Month 50 | Month 51 | Month 52 | Month 53 | Month 54 | Month 55 | Month 56 | Month 57 | Month 58 | Month 59 | Month 60
KU Base Rates
| Basic Service Charges | 49.28 | / Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Because KU designs Basic Service Charges to recover customer-dependent costs rather than demand- or energy-dependent costs, KU has excluded BSC revenues from these calculations.
| Energy Charges | 0.02456 | / kWh | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68 | 221420.68
| EDR Demand Charge Discount (%) |  |  | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Demand Charges
| Peak Period | 8.95 | / kVA | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715
| Intermediate Period | 7.19 | / kVA | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123
| Base Period | 2.16 | / kVA | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272
| Fuel Adjustment Clause Charges (FAC) | 0.00803 | / kWh | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465
| Environmental Cost Recovery Charges (ECR) | 3.95% |  | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345
| Annual Base Rate + FAC + ECR Revenue |  |  | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 417463.67 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 442193.375 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 466923.08 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 491652.785 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49 | 516382.49
KU Marginal Costs
| Marginal Energy Costs | 0.03447 | / kWh | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774
Marginal Demand Costs
| Production | 6.12 | / kVA | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236
| Transmission | 0.02 | / kVA | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589
| Annual Marginal Costs |  |  | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599
| Base Rate Revenue - Marginal Costs (Contribution to Fixed Costs) |  |  | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 15118.8101 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 39848.5151 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 64578.2201 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 89307.9251 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301 | 114037.6301
Break-Even Energy Rate Analysis
|  |  |  | Month 1 | Month 2 | Month 3 | Month 4 | Month 5 | Month 6 | Month 7 | Month 8 | Month 9 | Month 10 | Month 11 | Month 12 | Month 13 | Month 14 | Month 15 | Month 16 | Month 17 | Month 18 | Month 19 | Month 20 | Month 21 | Month 22 | Month 23 | Month 24 | Month 25 | Month 26 | Month 27 | Month 28 | Month 29 | Month 30 | Month 31 | Month 32 | Month 33 | Month 34 | Month 35 | Month 36 | Month 37 | Month 38 | Month 39 | Month 40 | Month 41 | Month 42 | Month 43 | Month 44 | Month 45 | Month 46 | Month 47 | Month 48 | Month 49 | Month 50 | Month 51 | Month 52 | Month 53 | Month 54 | Month 55 | Month 56 | Month 57 | Month 58 | Month 59 | Month 60
KU Base Rates
| Basic Service Charges | 49.28 | / Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Because KU designs Basic Service Charges to recover customer-dependent costs rather than demand- or energy-dependent costs, KU has excluded BSC revenues from these calculations.
| Break-Even Energy Charge |  | / kWh | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.022883 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.02014 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.017397 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.014654 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911 | 0.011911
| Energy Charges |  |  | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 206301.8699 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 181572.1649 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 156842.4599 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 132112.7549 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499 | 107383.0499
| EDR Demand Charge Discount (%) |  |  | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Demand Charges
| Peak Period | 8.95 | / kVA | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 58175 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 69810 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 81445 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 93080 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715 | 104715
| Intermediate Period | 7.19 | / kVA | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 46735 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 56082 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 65429 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 74776 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123 | 84123
| Base Period | 2.16 | / kVA | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 14040 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 16848 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 19656 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 22464 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272 | 25272
| Fuel Adjustment Clause Charges (FAC) | 0.00803 | / kWh | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465 | 72394.465
| Environmental Cost Recovery Charges (ECR) | 3.95% |  | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 4698.525 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 5638.23 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 6577.935 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 7517.64 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345 | 8457.345
| Annual Base Rate + FAC + ECR Revenue |  |  | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599
KU Marginal Costs
| Marginal Energy Costs | 0.03447 | / kWh | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774 | 319805.1774
Marginal Demand Costs
| Production | 6.12 | / kVA | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236 | 82270.8236
| Transmission | 0.02 | / kVA | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589 | 268.8589
| Annual Marginal Costs |  |  | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599 | 402344.8599
| Base Rate Revenue - Marginal Costs (Contribution to Fixed Costs) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0.022883 | [11 empty] | 0.02014 | [11 empty] | 0.017397 | [11 empty] | 0.014654 | [11 empty] | 0.011911
Note on D24: Hurst, Brian: Avg FAC Sep-22 thru June-23 (Since Bitiki billing began)
Note on D25: Hurst, Brian: Avg ECR% Sep-22 thru June-23 (Since Bitiki billing began)