## Minimum Size Summary
DUKE ENERGY KENTUCKY, INC. | [10 empty] | Attachment JEZ-5
ELECTRIC COST OF SERVICE STUDY | [10 empty] | Witness Responsible:
CASE NO: 2022-00372 | [10 empty] | James E. Ziolkowski
SUMMARY OF MINIMUM SIZE AND ZERO INTERCEPT STUDIES | [10 empty] | Page 1 of 4
|  |  | Minimum Size Method | [6 empty] | Zero Intercept Method
|  | WPE-3.2d | Minimum | Cost
Account | Class of Property | Reference | Size | Per | Loaded Cost | Quantity | Loaded Cost | Customer | Demand | Zero Intercept Cost |  | Customer | Demand
Poles, Towers & Fixtures
364 | Primary | pages 55-57 | 40 ft, Class 4, Wood | Pole | 1288 | 29114 | 62499791 | 27.7% | 72.3% | 186 |  | 8.664% | 91.34%
364 | Secondary | pages 58-60 | 35 ft, Class 5, Wood | Pole | 820 | 11890 | 20833264 | 21.61% | 78.39% | 186 |  | 10.62% | 89.38%
[6 empty] | 41004 | 83333055
Overhead Conductors
365 | Primary | pages 61-63 | 1/0 ACSR Primary OH Conductor | Mile of Conductor | 19225 | 3929.4725 | 118667143 | 16.99% | 83.01% | 10494 |  | 34.75% | 65.25%
365 | Secondary | pages 64-66 | #2 ALTX Secondary OH Conductor | Mile of Conductor | 21473 | 1608 | 48469678 | 19.01% | 80.99% | 10494 |  | 34.81% | 65.19%
[6 empty] | 5537.4725 | 167136821
Underground Conductors
367 | Primary | pages 67-69 | 1/0 ALTRXPE 15KV Primary UG cable | Mile of Conductor | 27572 | 1330.1451 | 116694168 | 18.24% | 81.76% | 10494 |  | 11.96% | 88.04%
367 | Secondary | pages 70-72 | 4/0 ALTX Secondary UG cable | Mile of Conductor | 24870 | 268 | 23901215 | 16.31% | 83.69% | 10494 |  | 11.77% | 88.23%
[6 empty] | 1598.1451 | 140595383
368 | Line Transformer | pages 52-54 | 15 kVa | Transformer | 2231 | 36082 | 83218780 | 22.69% | 77.31% | 1604 |  | 69.55% | 30.45%

## Poles
DUKE ENERGY KENTUCKY, INC. |  |  | Attachment JEZ-5
ELECTRIC COST OF SERVICE STUDY |  |  | Witness Responsible:
CASE NO: 2022-00372 |  |  | James E. Ziolkowski
ZERO INTERCEPT - POLES |  |  | Page 2 of 4
TYPE | COST | QUANTITY | AVERAGE COST
Pole: Wood, 10' | 14105.43 | 6 | 2350.905
Pole: Wood, 25' | 104211.87 | 559 | 186.4255
Pole: Wood, 30' | 571867.39 | 1322 | 432.5775
Pole: Wood, 35' | 2973943.68 | 5712 | 520.6484
Pole: Wood, 40' | 10234476.5 | 14643 | 698.933
Pole: Wood, 45' | 9398451.88 | 8008 | 1173.6329
Pole: Wood, 50' | 3156894.93 | 2003 | 1576.0833
Pole: Wood, 55' | 1037548.17 | 606 | 1712.1257
Pole: Wood, 60' | 504035.24 | 240 | 2100.1468
Pole: Wood, 65' | 235612.33 | 67 | 3516.6019
Pole: Wood, 70' | 66239.23 | 26 | 2547.6627
Pole: Wood, 30' or less | 399483.39 | 144 | 2774.1902
Pole: Wood, 35' | 2094706.43 | 844 | 2481.8797
Pole: Wood, 40' | 6509352.98 | 1988 | 3274.3224
Pole: Wood, 45' | 9870193.17 | 2892 | 3412.9299
Pole: Wood, 50' | 3514193.21 | 1016 | 3458.8516
Pole: Wood, 55' | 1626333.8 | 421 | 3863.0257
Pole: Wood, 60' | 825687.87 | 193 | 4278.1755
Pole: Wood, 65' | 215635.86 | 50 | 4312.7172
Pole: Wood, 70' | 218351.81 | 46 | 4746.7785
Grand Total | 53571325.17 | 40786 | 1313.4734
| Height | Average Cost
Pole: Wood, 10' | 10 | 2350.905
Pole: Wood, 25' | 25 | 186.4255
Pole: Wood, 30' | 30 | 432.5775
Pole: Wood, 35' | 35 | 520.6484
Pole: Wood, 40' | 40 | 698.933
Pole: Wood, 45' | 45 | 1173.6329
Pole: Wood, 50' | 50 | 1576.0833
Pole: Wood, 55' | 55 | 1712.1257
Pole: Wood, 60' | 60 | 2100.1468
Pole: Wood, 65' | 65 | 3516.6019
Pole: Wood, 70' | 70 | 2547.6627
Pole: Wood, 30' or less | 30 | 2774.1902
Pole: Wood, 35' | 35 | 2481.8797
Pole: Wood, 40' | 40 | 3274.3224
Pole: Wood, 45' | 45 | 3412.9299
Pole: Wood, 50' | 50 | 3458.8516
Pole: Wood, 55' | 55 | 3863.0257
Pole: Wood, 60' | 60 | 4278.1755
Pole: Wood, 65' | 65 | 4312.7172
Pole: Wood, 70' | 70 | 4746.7785
| Zero Intercept | 185.8792

## Conductor
DUKE ENERGY KENTUCKY, INC. |  |  |  | Attachment JEZ-5
ELECTRIC COST OF SERVICE STUDY |  |  |  | Witness Responsible:
CASE NO: 2022-00372 |  |  |  | James E. Ziolkowski
ZERO INTERCEPT - CONDUCTOR |  |  |  | Page 3 of 4
Overhead Primary Cost
| Cable Type | Cost Per Circuit Mile | Ampacity Rating (Amps)
| 556 AAC | 21490 | 658
| 4/0 AAAC | 15101 | 370
| 1/0 AAAC | 15101 | 231
Zero Intercept (Zero Ampacity)
10494.4249

## Transformers
DUKE ENERGY KENTUCKY, INC. |  |  | Attachment JEZ-5
ELECTRIC COST OF SERVICE STUDY |  |  | Witness Responsible:
CASE NO: 2022-00372 |  |  | James E. Ziolkowski
ZERO INTERCEPT - TRANSFORMERS |  |  | Page 4 of 4
TYPE | COST | QUANTITY | AVERAGE COST
Conv 2009 Transformer OH 46-150 KVA | 1541783.72 | 711 | 2168.4722
Conv 2009 Transformer OH 76-250 KVA | 1154614.63 | 669 | 1725.8814
Conv 2009 Transformer UG 46-150 KVA | 1729919.6 | 454 | 3810.3956
Conv 2009 Transformer UG 76-250 KVA | 2623936.69 | 1280 | 2049.9505
Conv 2009 Xfrmr OH 251<833 KVA | 16992.22 | 4 | 4248.055
Transformers OH 0 to 99 KVA | 21912513.85 | 23464 | 933.878
Transformers OH 100 to 499 KVA | 2216132.76 | 334 | 6635.128
Transformers UG 0 to 99 KVA | 14488238.15 | 7567 | 1914.6608
Transformers UG 100 to 499 KVA | 6484151.48 | 951 | 6818.2455
Grand Total | 52168283.1 | 35434 | 1472.2663
Size | Average Cost
100 | 2168.4722
100 | 1725.8814
100 | 3810.3956
100 | 2049.9505
500 | 4248.055
50 | 933.878
300 | 6635.128
50 | 1914.6608
300 | 6818.2455
Zero Intercept | 1603.5093