## Figure 3
2013 HDR Study; cost date basis is February 2013
commercial operation date assumed to be June 2018
Table 6.0-1. Total Project Cost ($1,000)
|  | 1 xl SGT6- |  | 1 x l SGT6- |  | 2 x l SGT6-
Project Costs | 1 x 1 7F5 | 5000F(5)ee | 1 x l GAC | 80001-1 | 2 x l 7F5 | 5000F(5)ee
Plant Net Capacity (MW) | 307.4 | 343.7 | 383.2 | 389.8 | 615.5 | 688.7
EPC Cost ($1,000) | 327669 | 319623 | 353870 | 359340 | 493871 | 497201
Owner's Costs
Total Owner Indirects | 63775 | 63775 | 64082 | 56082 | 69225 | 69225
Owner Contingency | 32767 | 31962 | 35387 | 35934 | 49387 | 49720
LTSA | 12682 | 1729 | 5027 | 1729 | 12682 | 3459
Total Project Cost ($1,000) | 436893 | 417090 | 458366 | 453085 | 625165 | 619605
Total Project Cost ($/kW) | 1421 | 1214 | 1196 | 1162 | 1016 | 900
Total Project Cost (2022$/kw) assumed to start in 2013$ | 1733.3171 | 1480.8212 | 1458.8651 | 1417.3923 | 1239.3035 | 1097.8082
Total Project Cost (2022$/kw) assumed to start in 2018$ | 1613.6574 | 1378.5926 | 1358.1522 | 1319.5425 | 1153.748 | 1022.0209
2022 HDR Study; cost date basis June 2022
Table 1.1-3. | Total Single Unit NGCC Project Cost
LG&E/KU 2027 NGCC NGCC Single Unit Cost Summary
|  |  | EW Brown | EW Brown Unit 1-2 Site | EW Brown Webb Farm Site
|  | Mill Creek | Webb Farm Site
Commercial Operation Date |  | 2027-04-01 | 2027-04-01 | 2028-04-01 | 2028-04-01
GE 7HA.03 | Net Capacity (MW) | 616.3 | 616.3 | 616.3 | 616.3
| EPC cost ($) | 531767853 | 552166560 | S577,871,646 | 569462999
| EPC cost ($/kw) | 863 | 896 | 938 | 924
| Total Cost ($) | 654984633 | 671912100 | 693053982 | 692874050
| Total cost ($/kW) | 1063 | 1090 | 1124 | 1124
| Total cost (2022$/kW) | 983.3452 | 1008.322 | 1023.7021 | 1023.7021
Siemens 9000HL | Net Capacity (MW) | 620.5 | 620.5 | 620.5 | 620.5
| EPC cost ($) | 536032138 | 556588365 | 582424765 | 574016119
| EPC Cost ($/kw) | 864 | 897 | 939 | 925
| Total Cost ($) | 662425346 | 679526086 | 700812414 | 700714981
| Total cost ($/kW) | 1068 | 1095 | 1129 | 1129
| Total cost (2022$/kW) | 987.9705 | 1012.9473 | 1028.2559 | 1028.2559
Mitsubishi 501JAC | Net Capacity (MW) | 622 | 622 | 622 | 622
| EPC Cost ($) | 548780843 | 571575647 | 597918123 | 589509476
| EPC Cost ($/kw) | 882 | 919 | 961 | 948
| Total Cost ($) | 673973922 | 693537096 | 715380107 | 715208425
| Total cost ($/kW) | 1084 | 1115 | 1150 | 1150
| Total cost (2022$/kW) | 1002.7716 | 1031.4486 | 1047.382 | 1047.382
Notes: 1. E.W. Brown Webb Farm cost provided at Unit 1-2 COD for site selection comparison purposes only.
| Cost per kW (June 2022) | Size (MW)
GE 7HA.03 Mill Creek | 983.3452 | 616.3
GE 7HA.03 EW Brown | 1023.7021 | 616.3
Siemens 90000HL Mill Creek | 987.9705 | 620.5
Siemens 90000HL EW Brown | 1028.2559 | 620.5
Mitsubishi 501JAC Mill Creek | 1002.7716 | 622
Mitsubishi 501JAC EW Brown | 1047.382 | 622
1 x 1 GE 7F5 | 1613.6574 | 307.4
1 x 1 Siemens SGT6-5000F (5)ee | 1378.5926 | 343.7
1 x 1 Mitsubishi GAC | 1358.1522 | 383.2
1 x 1 Siemens SGT6-80001-1 | 1319.5425 | 389.8
2 x 1 GE 7F5 | 1153.748 | 615.5
2 x 1 Siemens SGT6-5000F(5)ee | 1022.0209 | 688.7
Note on B65: Author: assumed to be 2027$ for MC and 2028$ for EWB based on RFP; CC escalation is 1.57%
Note on B71: Author: assumed to be 2027$ for MC and 2028$ for EWB based on RFP
Note on B77: Author: assumed to be 2027$ for MC and 2028$ for EWB based on RFP

## Figure 4
MI Study
Table 2-22: | Estimated NGCC Plant Total Project Cost Summary (Wet Cooled)
(2016$)
NGCC with Wet Cooling |  | 3x1 7HA.02 | 2x1 7HA.02 | 2x1 7F.05 | 1x1 7HA.02 | 1x1 7F.05
|  | 1400 MW | 900MW | 700MW | 450MW | 350MW
Plant Net Capacity (Summer) | MW | 1442 | 959 | 691 | 478 | 345
EPC Cost | 1000 | 1177039 | 834058 | 639668 | 445398 | 333349
| $/kW | 816 | 869 | 925 | 931 | 967
Plant Substation | 1000 | 5000 | 5000 | 5000 | 5000 | 5000
Natural Gas and Site Utilities | 1000 | 4000 | 4000 | 4000 | 4000 | 4000
Owner's Costs | 1000
Total Owner's Costs | 1000 | 111132 | 78995 | 60780 | 42577 | 32078
Owner Contingency | 1000 | 118604 | 84306 | 64867 | 45440 | 34235
LTSA Initiation Fee | 1000 | 7500 | 6000 | 6000 | 4500 | 4500
Total Project Cost (Inside the Fence) | 1000 | 1423275 | 1012358 | 780315 | 546915 | 413161
| $/kW | 987 | 1055 | 1129 | 1144 | 1199
Transmission Interconnection Infrastructure and Network Upgrades | 1000 | 37210 | 31040 | 22000 | 22000 | 22000
TOTAL PROJECT COST | 1000 | 1460485 | 1043398 | 802315 | 568915 | 435161
| $/kW | 1013 | 1088 | 1160 | 1190 | 1263
PGE Study
| Cost per kW (June 2022$) | Size
1x1 517 MW Frame CC | 1028.8344 | 517
2x1 7HA.02 | 1254.5316 | 959
2x1 7F.05 | 1342.5272 | 691

## CPI
FRED Graph Observations
Federal Reserve Economic Data
Link: https://fred.stlouisfed.org
Help: https://fredhelp.stlouisfed.org
Economic Research Division
Federal Reserve Bank of St. Louis
CPIAUCSL | Consumer Price Index for All Urban Consumers: All Items in U.S. City Average, Index 1982-1984=100, Monthly, Seasonally Adjusted
Frequency: Monthly
observation_date | CPIAUCSL
2013-01-01 | 231.679
2013-02-01 | 232.937
2013-03-01 | 232.282
2013-04-01 | 231.797
2013-05-01 | 231.893
2013-06-01 | 232.445
2013-07-01 | 232.9
2013-08-01 | 233.456
2013-09-01 | 233.544
2013-10-01 | 233.669
2013-11-01 | 234.1
2013-12-01 | 234.719
2014-01-01 | 235.288
2014-02-01 | 235.547
2014-03-01 | 236.028
2014-04-01 | 236.468
2014-05-01 | 236.918
2014-06-01 | 237.231
2014-07-01 | 237.498
2014-08-01 | 237.46
2014-09-01 | 237.477
2014-10-01 | 237.43
2014-11-01 | 236.983
2014-12-01 | 236.252
2015-01-01 | 234.747
2015-02-01 | 235.342
2015-03-01 | 235.976
2015-04-01 | 236.222
2015-05-01 | 237.001
2015-06-01 | 237.657
2015-07-01 | 238.034
2015-08-01 | 238.033
2015-09-01 | 237.498
2015-10-01 | 237.733
2015-11-01 | 238.017
2015-12-01 | 237.761
2016-01-01 | 237.652
2016-02-01 | 237.336
2016-03-01 | 238.08
2016-04-01 | 238.992
2016-05-01 | 239.557
2016-06-01 | 240.222
2016-07-01 | 240.101
2016-08-01 | 240.545
2016-09-01 | 241.176
2016-10-01 | 241.741
2016-11-01 | 242.026
2016-12-01 | 242.637
2017-01-01 | 243.618
2017-02-01 | 244.006
2017-03-01 | 243.892
2017-04-01 | 244.193
2017-05-01 | 244.004
2017-06-01 | 244.163
2017-07-01 | 244.243
2017-08-01 | 245.183
2017-09-01 | 246.435
2017-10-01 | 246.626
2017-11-01 | 247.284
2017-12-01 | 247.805
2018-01-01 | 248.859
2018-02-01 | 249.529
2018-03-01 | 249.577
2018-04-01 | 250.227
2018-05-01 | 250.792
2018-06-01 | 251.018
2018-07-01 | 251.214
2018-08-01 | 251.663
2018-09-01 | 252.182
2018-10-01 | 252.772
2018-11-01 | 252.594
2018-12-01 | 252.767
2019-01-01 | 252.718
2019-02-01 | 253.322
2019-03-01 | 254.202
2019-04-01 | 255.211
2019-05-01 | 255.29
2019-06-01 | 255.159
2019-07-01 | 255.685
2019-08-01 | 256.059
2019-09-01 | 256.511
2019-10-01 | 257.244
2019-11-01 | 257.803
2019-12-01 | 258.616
2020-01-01 | 259.037
2020-02-01 | 259.248
2020-03-01 | 258.124
2020-04-01 | 256.092
2020-05-01 | 255.868
2020-06-01 | 256.986
2020-07-01 | 258.278
2020-08-01 | 259.411
2020-09-01 | 260.029
2020-10-01 | 260.286
2020-11-01 | 260.813
2020-12-01 | 262.035
2021-01-01 | 262.65
2021-02-01 | 263.638
2021-03-01 | 264.914
2021-04-01 | 266.67
2021-05-01 | 268.444
2021-06-01 | 270.559
2021-07-01 | 271.764
2021-08-01 | 272.87
2021-09-01 | 274.028
2021-10-01 | 276.522
2021-11-01 | 278.711
2021-12-01 | 280.887
2022-01-01 | 282.599
2022-02-01 | 284.61
2022-03-01 | 287.472
2022-04-01 | 288.611
2022-05-01 | 291.268
2022-06-01 | 294.728