## Table of Contents
Table of Contents
Inputs
Figures | Figure 2
Figure 2 Data
Figure 5
Figure 5 Data
Figure 6
Figure 6 Data
Tables | Table 2
Table 2 Low Sensitivity
Table 3
Table 4
Table 4 Low Sensitivity
Raw Data | PJM FPR Forecast
PJM Battery Storage ELCC Rating
LG&E-KU UCAP Fleet
CPCN Plan
PJM Solar Value
PJM Capacity Price

## Inputs
Inputs & Assumptions
| Name |  | Value | Units | Source
1 | Nameplate solar beginning in 2027 | [1] | 1127 | MW | Wilson Direct Testimony Exhibit SAW-1 D-18, p. 31
2 | Summer solar value in LG&E-KU | [2] | 78.6% | % | CPCN Plan
3 | Inflation | [3] | 2% | % | Philadelphia Fed long-term forecast of inflation as of Q2 2023, rounded to the nearest digit
4 | Summer Coincidence Factor | [4] | 95.07% | % | Summer Coincident Peak Analysis of 2028 Hourly Load Forecasts
5 | LG&E-KU Reserve Margin for 1-in-10 Reliability (Summer) | [5] | 23% | % | Louisville Gas and Electric Company’s and Kentucky Utilities Company’s Responses to the Commission Staff’s Fifth Request for Information, response to Question 4(a), July 7, 2023, p. 32
6 | LG&E-KU Reserve Margin for 1-in-10 Reliability (Winter) | [6] | 31% | % | Louisville Gas and Electric Company’s and Kentucky Utilities Company’s Responses to the Commission Staff’s Fifth Request for Information, response to Question 4(a), July 7, 2023, p. 32
7 | PJM Reserve Margin | [7] | 14.7% | % | PJM Reserve Requirement Report, p. 8
8 | Weighted Average UCAP/ICAP | [8] | 6.462% | % | See LG&E-KU UCAP Fleet tab
9 | Sensitivity Coincidence Factor | [9] | 97% | % | <see ACL testimony description of average PJM utility coincidence factor, footnote 22>
10 | Sensitivity Winter Reserve Margin | [10] | 27% | % | <see ACL testimony description of average PJM utility coincidence factor, footnote 26 and 45>
11 | LG&E-KU Reserve Margin-Economic (Summer) | [11] | 17% | % | Wilson Direct Testimony Exhibit SAW-1 D-18, p. 10
12 | LG&E-KU Reserve Margin-Economic (Winter) | [12] | 24% | % | Wilson Direct Testimony Exhibit SAW-1 D-18, p. 10
13 | CT Gross CONE from 2022 CPCN | [13] | 73.9 | $2028/kW-yr | Wilson Direct Testimony Exhibit SAW-1 D-18
14 | CC CAPEX | [14] | 921 | $2020/kW | Guidehouse CAPEX and FOM Inputs for CC for 2028 <see file 20221017_LAK_ExpPlanFixedCosts_2022RTOAnalysis_D02.xlsx in CAPEX tab>
15 | CC FOM | [15] | 12 | $2028/kW-yr | Guidehouse CAPEX and FOM Inputs for CC for 2028 <see file 20221017_LAK_ExpPlanFixedCosts_2022RTOAnalysis_D02.xlsx in FOM tab>
16 | CC CAPEX | [16] | 1079.0983 | $/kW | [14] x (1 + [3]) ^ (2028-2020)
17 | CC FOM | [17] | 14.0599 | $2028/kW-yr | [15] x (1 + [3]) ^ (2028-2020)
18 | CC Firm Gas | [18] | 15.6 | $/kW-yr | Wilson Direct Testimony Exhibit SAW-1 D-18
19 | Discount rate | [19] | 6.43% | % | Wilson Direct Testimony Exhibit SAW-1 D-18
20 | Lifetime | [20] | 30 | years | PJM CONE 2026/27 Report, p. 47
21 | Capital recovery factor | [21] | 7.602% | % | [19] x ( 1 + [19] ) ^ [20] / (( 1 + [19] ) ^ [20] - 1)
22 | Carrying charge for CC | [22] | 111.6957 | $/kW-yr | [19] x (1 + [19]) ^ [20] / (( 1 + [19]) ^ [20] - 1)

## Figure 2 Data
Figure 2 Data
| LG&E-KU Status Quo (Winter) | LG&E-KU in PJM (Annual/Summer)
Resource Requirement Status Quo (Winter) | 7996.24
Resource Requirement PJM |  | 6890.4233
Planned Capacity (w/o Solar or New NGCC Builds) | 6790 | 6568
Solar Capacity Value | 0 | 383.18
Surplus in PJM Case |  | 60.7567

## Figure 5 Data
Figure 5 Data
All values for 2028 | Summer | Winter
PJM Reserve Margin@1-in-10 LOLE | 14.7% | 14.7%
LG&E-KU Reserve Margin @1-in-10 LOLE | 23% | 31%
LG&E-KU Reserve Margin-Economic | 17% | 24%
LG&E-KU Reserve Margin-CPCN Plan | 37.46% | 32.2%

## Figure 6 Data
Figure 6 Data
2028 | Summer | Winter
Resource requirement | 7772.37 | 7996.24
Solar capacity | 866 | 0
Other capacity | 6578 | 6790

## Table 2
Table 2
|  |  | Status Quo: LG&E-KU Alone | Unit | Formula | Summer [s] | Winter [w]
1 |  | [1] | LG&E-KU Forecasted Peak (2028) | (MW) |  | 6319 | 6104
2 |  | [2] | LG&E-KU Reserve Margin @ 1-in-10 LOLE | (%) |  | 23% | 31%
3 | [1] x (1 + [2]) | [3] | Resource Requirement under Status Quo (Seasonal) | (MW) | [1] x (1 + [2]) | 7772.37 | 7996.24
4 |  | [4] | Planned Capacity (w/o Solar or New NGCC Builds) | (MW) |  | 6578 | 6790
5 |  | [5] | Capacity Value of Solar | (MW) |  | 866 | 0
6 | [4] + [5] | [6] | Total Planned Capacity (w/o NGCC Builds) | (MW) | [4] + [5] | 7444 | 6790
7 | [6] - [3] | [7] | Surplus (Deficit) vs. Seasonal Requirement (w/o NGCC Builds) | (MW) | [6] - [3] | -328.37 | -1206.24
8 | MIN([7s],[7w]) | [8] | Winter Shortfall vs. Status Quo Requirements (w/o NGCC Builds) | (MW) | MIN([7s],[7w]) | -1206.24
|  |  | Change Case: LG&E-KU Joins PJM |  |  | Annual/Summer
9 |  | [9] | Summer Coincidence Factor in Combined PJM+LG&E-KU | (%) |  | 95.07%
10 | [1] x [9] | [10] | Peak Demand Coincident with PJM Peak | (MW) | [1] x [9] | 6007.3438
11 |  | [11] | PJM 2028 Minimum Reserve Margin | (%) |  | 14.7%
12 | [10] x (1 + [11]) | [12] | Resource Requirement in PJM | (MW) | [10] x (1 + [11]) | 6890.4233
13 |  | [13] | Planned Capacity (w/o Solar or New NGCC Builds) | (MW) |  | 6568
14 |  | [14] | Capacity Value of Solar | (MW) |  | 383.18
15 | [14] + [13] | [15] | Total Planned Capacity (w/o NGCC Builds) | (MW) | [14] + [13] | 6951.18
16 | [15] - [12] | [16] | Capacity Surplus vs. PJM Requirement (w/o NGCC Builds) | (MW) | [15] - [12] | 60.7567
|  |  | Comparison of Status Quo vs. Join PJM |  |  | Summer | Winter
17 | [3] - [12] | [17] | Savings from Lower Resource Requirement in PJM | (MW) | [3] - [12] | 881.9467 | 1105.8167
18 | [13]-[4] | [18] | Lower Fleet Value in PJM (w/o NGCC Builds or Solar) | (MW) | [13]-[4] | -10 | -222
19 | [14]-[5] | [19] | Higher (Lower) Solar Value in PJM | (MW) | [14]-[5] | -482.82 | 383.18
20 | [16] - [7] | [20] | Capacity Savings of PJM Membership vs. Status Quo Seasonal Requirement | (MW) | [16] - [7] | 389.1267 | 1266.9967
21 | [16] - [8] | [21] | Capacity Savings of PJM Membership vs. Winter-Driven Status Quo | (MW) | [16] - [8] | 1266.9967
Source and Notes:
All resource values are on an ICAP basis.
[1]: 2028 Peak Load (CPCN Plan)
[2]: Louisville Gas and Electric Company’s and Kentucky Utilities Company’s Responses to the Commission Staff’s Fifth Request for Information, response to Question 4(a), July 7, 2023, p. 32
[4]: Total Supply - Solar - NGCC (CPCN Plan)
[5]: Solar (CPCN Plan)
[9]: From summer coincident peak analysis of 2028 hourly load forecasts, described in Section II.A below
[11]: PJM Reserve Requirement Report, p. 8
[13]: [4] with reduction of 125 MW battery storage to 92% capacity (PJM ELCC Report, p. 10)
[14]: 1,127 MW nameplate solar times 2028 ELCC rating for solar of 34% (PJM ELCC Report, p. 10)

## Table 2 Low Sensitivity
Table 2: Low Sensitivity
|  |  | Status Quo: LG&E-KU Alone | Unit | Formula | Summer [s] | Winter [w]
1 |  | [1] | LG&E-KU Forecasted Peak (2028) | (MW) |  | 6319 | 6104
2 |  | [2] | LG&E-KU Reserve Margin @ 1-in-10 LOLE | (%) |  | 23% | 27%
3 | [1] x (1 + [2]) | [3] | Resource Requirement under Status Quo (Seasonal) | (MW) | [1] x (1 + [2]) | 7772.37 | 7752.08
4 |  | [4] | Planned Capacity (w/o Solar or New NGCC Builds) | (MW) |  | 6578 | 6790
5 |  | [5] | Capacity Value of Solar | (MW) |  | 866 | 0
6 | [4] + [5] | [6] | Total Planned Capacity (w/o NGCC Builds) | (MW) | [4] + [5] | 7444 | 6790
7 | [6] - [3] | [7] | Surplus (Deficit) vs. Seasonal Requirement (w/o NGCC Builds) | (MW) | [6] - [3] | -328.37 | -962.08
8 | MIN([7s],[7w]) | [8] | Winter Shortfall vs. Status Quo Requirements (w/o NGCC Builds) | (MW) | MIN([7s],[7w]) | -962.08
|  |  | Change Case: LG&E-KU Joins PJM |  |  | Annual/Summer
9 |  | [9] | Summer Coincidence Factor in Combined PJM+LG&E-KU | (%) |  | 97%
10 | [1] x [9] | [10] | Peak Demand Coincident with PJM Peak | (MW) | [1] x [9] | 6129.43
11 |  | [11] | PJM 2028 Minimum Reserve Margin | (%) |  | 14.7%
12 | [10] x (1 + [11]) | [12] | Resource Requirement in PJM | (MW) | [10] x (1 + [11]) | 7030.4562
13 |  | [13] | Planned Capacity (w/o Solar or New NGCC Builds) | (MW) |  | 6568
14 |  | [14] | Capacity Value of Solar | (MW) |  | 383.18
15 | [14] + [13] | [15] | Total Planned Capacity (w/o NGCC Builds) | (MW) | [14] + [13] | 6951.18
16 | [15] - [12] | [16] | Capacity Surplus vs. PJM Requirement (w/o NGCC Builds) | (MW) | [15] - [12] | -79.2762
|  |  | Comparison of Status Quo vs. Join PJM |  |  | Summer | Winter
17 | [3] - [12] | [17] | Savings from Lower Resource Requirement in PJM | (MW) | [3] - [12] | 741.9138 | 721.6238
18 | [13]-[4] | [18] | Lower Fleet Value in PJM (w/o NGCC Builds or Solar) | (MW) | [13]-[4] | -10 | -222
19 | [14]-[5] | [19] | Higher (Lower) Solar Value in PJM | (MW) | [14]-[5] | -482.82 | 383.18
20 | [16] - [7] | [20] | Capacity Savings of PJM Membership vs. Status Quo Seasonal Requirement | (MW) | [16] - [7] | 249.0938 | 882.8038
21 | [16] - [8] | [21] | Capacity Savings of PJM Membership vs. Winter-Driven Status Quo | (MW) | [16] - [8] | 882.8038
Source and Notes:
LGE-KU Peak Demand and Resource Summary |  | All resource values are on an ICAP basis.
CPCN DR2 LGE-KU Responses to Sierra Club's Supplemental Request for Information A.2-30 p. 58 |  | [1]: 2028 Peak Load (CPCN Plan)
Total Supply - Solar - NGCC (LG&E-KU Peak Demand and Resource Summary) |  | [2]: Louisville Gas and Electric Company’s and Kentucky Utilities Company’s Responses to the Commission Staff’s Fifth Request for Information, response to Question 4(a), July 7, 2023, p. 32
Solar from LG&E-KU Peak Demand and Resource Summary |  | [4]: Total Supply - Solar - NGCC (CPCN Plan)
Allocation of RTO capacity requirements from summer coincident peak from analysis of summer 2028 hourly load forecasts |  | [5]: Solar (CPCN Plan)
PJM Reserve Requirement Report p. 8: Based on annual analysis due to lack of winter reserve margin constraint |  | [9]: From summer coincident peak analysis of 2028 hourly load forecasts, described in Section II.A below
[4] with reduced 125 MW battery storage to 92% capacity (PJM ELCC p. 10) |  | [11]: PJM Reserve Requirement Report, p. 8
1,127 MW nameplate solar times 2028 ELCC Rating for solar of 34% from PJM ELCC Report p. 10 |  | [13]: [4] with reduction of 125 MW battery storage to 92% capacity (PJM ELCC Report, p. 10)
[14]: 1,127 MW nameplate solar times 2028 ELCC rating for solar of 34% (PJM ELCC Report, p. 10)

## Table 4
Table 4
|  | (All capacity values are winter ratings) | Unit | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Status Quo: LG&E-KU Stand Alone (Winter Values)
1 | [1] | Resource Requirement | (MW) | 7863.93 | 8000.17 | 7996.24 | 7994.93 | 7993.62 | 7991 | 7992.31 | 7994.93 | 7996.24 | 7998.86 | 8000.17 | 8001.48 | 8004.1 | 8005.41 | 8008.03 | 8009.34 | 8011.96 | 8013.27 | 8014.58 | 8017.2 | 8018.51 | 8021.13 | 8022.44 | 8023.75 | 8026.37
|  | Capacity Before Retirements (w/o NGCC Builds or Solar) |  | 8294 | 8316 | 8344 | 8358 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359
|  | Planned Retirements |  | -355 | -652 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712
|  | Capacity After Retirements (w/o NGCC Builds or Solar) |  | 7939 | 7664 | 6790 | 6804 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647
|  | Planned Solar |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [2] | Existing and Planned Resources (w/o NGCC Builds) | (MW) | 7939 | 7664 | 6790 | 6804 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647
3 | [3] | Planned NGCC Additions | (MW) | 0 | 641 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282
4 | [4] | Other Additions Needed (Surplus) | (MW) | -75.07 | -304.83 | -75.76 | -91.07 | -93.38 | -96 | -94.69 | -92.07 | -90.76 | -88.14 | -86.83 | -85.52 | -82.9 | -81.59 | 79.03 | 80.34 | 82.96 | 84.27 | 85.58 | 88.2 | 89.51 | 92.13 | 93.44 | 94.75 | 97.37
5 | [5] | Annualized Incremental Capacity Cost | ($M/yr) | 0 | 69.363 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 143.7168 | 143.7996 | 143.965 | 144.0477 | 144.1305 | 144.2959 | 144.3787 | 144.5441 | 144.6268 | 144.7096 | 144.875
Change Case: LG&E-KU Joins PJM (Annual/Summer Values)
6 | [6] | Resource Requirement | (MW) | 6818.455 | 6920.9553 | 6890.4233 | 6878.4286 | 6875.1573 | 6871.886 | 6867.5243 | 6862.0722 | 6857.7104 | 6852.2583 | 6847.8966 | 6842.4444 | 6838.0827 | 6832.6306 | 6828.2688 | 6822.8167 | 6818.455 | 6814.0933 | 6808.6411 | 6804.2794 | 6798.8273 | 6794.4655 | 6789.0134 | 6784.6517 | 6780.29
|  | 4-hr Storage ELCC |  | 77% | 86% | 92% | 96% | 99% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  | Planned Solar (PJM Capacity Value) |  | 389.8855 | 428.26 | 383.18 | 315.56 | 259.21 | 214.13 | 180.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Thermal (w/o NGCC Builds) |  | 7265 | 6968 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919
|  | Intermittent/Limited-Duration Resources (w/o Solar, Derated Battery) |  | 425.25 | 459.5 | 497 | 518 | 525.75 | 525 | 523 | 522 | 520 | 519 | 518 | 517 | 516 | 515 | 514 | 513 | 513 | 512 | 512 | 511 | 511 | 510 | 510 | 510 | 510
7 | [7] | Existing and Planned Resources (w/o NGCC Builds) | (MW) | 8080.1355 | 7855.76 | 6951.18 | 6904.56 | 6855.96 | 6810.13 | 6774.32 | 6593 | 6591 | 6590 | 6589 | 6588 | 6587 | 6586 | 6433 | 6432 | 6432 | 6431 | 6431 | 6430 | 6430 | 6429 | 6429 | 6429 | 6429
8 | [8] | New NGCC and Other Additions | (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [9] | Conversion of ICAP Shortfall/Excess to UCAP | (MW) | -141.3072 | -117.1828 | -60.6899 | -61.2672 | -61.4246 | -61.582 | -61.7919 | -62.0543 | -62.2642 | -62.5266 | -62.7365 | -62.9989 | -63.2088 | -63.4712 | -53.8592 | -54.1216 | -54.3315 | -54.5414 | -54.8038 | -55.0137 | -55.2761 | -55.486 | -55.7484 | -55.9583 | -56.1682
10 | [10] | Net Sale (Purchase) Qty from Market | (UCAP MW) | 1120.3733 | 817.6219 | 0.066777 | -35.1358 | -80.6219 | -123.338 | -154.9962 | -331.1265 | -328.9747 | -324.7849 | -321.6331 | -317.4433 | -314.2915 | -310.1018 | -449.128 | -444.9383 | -440.7865 | -437.6347 | -432.4449 | -429.2931 | -424.1033 | -420.9515 | -415.7618 | -411.61 | -407.4582
11 | [11] | PJM Capacity Price | ($/UCAP MW/d) | 55.32 | 60.44 | 80.59 | 91.4 | 93.09 | 87.31 | 81.74 | 78.68 | 77.86 | 73.84 | 69.12 | 70.19 | 67.26 | 65.2 | 59.44 | 60.6288 | 61.8414 | 63.0782 | 64.3398 | 65.6266 | 66.9391 | 68.2779 | 69.6434 | 71.0363 | 72.457
12 | [12] | Annual Incremental Capacity Cost (Revenue) | ($M/yr) | -22.6224 | -18.0372 | -0.0019643 | 1.1722 | 2.7394 | 3.9306 | 4.6243 | 9.5094 | 9.3491 | 8.7535 | 8.1144 | 8.1327 | 7.7158 | 7.3798 | 9.7441 | 9.8463 | 9.9495 | 10.0759 | 10.1555 | 10.2832 | 10.362 | 10.4907 | 10.5686 | 10.6723 | 10.776
Comparison of PJM vs. Status Quo
13 | [13] | Annualized Capacity Investment Savings in PJM | ($M/yr) | 22.6224 | 87.4002 | 138.728 | 137.5539 | 135.9867 | 134.7955 | 134.1017 | 129.2167 | 129.3769 | 129.9725 | 130.6116 | 130.5933 | 131.0102 | 131.3462 | 133.9727 | 133.9533 | 134.0155 | 133.9718 | 133.9749 | 134.0128 | 134.0166 | 134.0534 | 134.0582 | 134.0372 | 134.099
Sources and Notes:
All resource capacity data from CPCN Plan
[1]: Winter Peak Load x (1 + LG&E-KU Winter PRM for 1-in-10); Reserve Margin from Responses to Q4(a) in the KYPSC Staff’s 5th Discovery Request.
[2]: Winter Totals of Existing Dispatchable Resources + Intermittent/Limited-Duration Resources – Retirements + SCCTs
[3]: Winter NGCC Builds
[4]: [1] - [2] - [3]
[5]: (Min of [4] and 0) × CT Gross CONE / 1000 × Rating Adjustment + [3] × (Capital Recovery Factor × CC CAPEX + CC Firm Gas + CC FOM) /1000 × Rating Adjustment; CT Gross CONE from Wilson Testimony Exhibit SAW-1, D-18, p.133; CC Firm Gas, Discount Rate and Lifetime for Capital Recovery Factor from Wilson Testimony, CC CAPEX, CC FOM from RTO Study; Rating Adjustment = ratio of summer to winter ratings in CPCN Plan.
[6]: Summer Peak Load × Coincidence Factor × (1 + PRM); Coincidence Factor from Section II.A; PRM from PJM Reserve Requirement Report, p. 8
[7]: Summer Totals of Existing Dispatchable Resources + Intermittent/Limited-Duration Resources - Retirements + SCCTs; Battery and Tracking Solar capacity values based on relevant values from 2022 PJM ELCC Report
[8]: No new NGCC and other additions
[9]: Difference between supply balance in ICAP terms vs. UCAP terms. Supply balance is total capacity of existing and planned resources minus the resource requirement. Balance is calculated using ICAP([7]) and PRM ([6]) for the ICAP balance, vs. UCAP and Forecast Pool Requirement are used for the UCAP balance. Forecast Pool Requirement from PJM Reserve Requirement Report, p. 8
[10]: Total UCAP minus [6] × PRM / FPR. FPR from PJM Reserve Requirement Report, p. 8. Total UCAP is [7] + [8] – Avg EFORd × Dispatchable Resources
[11]: RTO Study, Case No. 2022-00402 Attachment 1 to Response to SC-2 Question No. 26(b) p. 101
[12]: [9] × [10] × 365 / 1,000,000
[13]: [5] – [11]

## Table 4 Low Sensitivity
Table 4 Low Sensitivity
|  | (All capacity values are winter ratings) | Unit | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Status Quo: LG&E-KU Stand Alone (Winter Values)
1 | [1] | Resource Requirement | (MW) | 7623.81 | 7755.89 | 7752.08 | 7750.81 | 7749.54 | 7747 | 7748.27 | 7750.81 | 7752.08 | 7754.62 | 7755.89 | 7757.16 | 7759.7 | 7760.97 | 7763.51 | 7764.78 | 7767.32 | 7768.59 | 7769.86 | 7772.4 | 7773.67 | 7776.21 | 7777.48 | 7778.75 | 7781.29
|  | Capacity Before Retirements (w/o NGCC Builds or Solar) |  | 8294 | 8316 | 8344 | 8358 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359 | 8359
|  | Planned Retirements |  | -355 | -652 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1554 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712 | -1712
|  | Capacity After Retirements (w/o NGCC Builds or Solar) |  | 7939 | 7664 | 6790 | 6804 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647
|  | Planned Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [2] | Existing and Planned Resources (w/o NGCC Builds) | (MW) | 7939 | 7664 | 6790 | 6804 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6805 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647 | 6647
3 | [3] | Planned NGCC Additions | (MW) | 0 | 641 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282
4 | [4] | Other Additions Needed (Surplus) | (MW) | -315.19 | -549.11 | -319.92 | -335.19 | -337.46 | -340 | -338.73 | -336.19 | -334.92 | -332.38 | -331.11 | -329.84 | -327.3 | -326.03 | -165.49 | -164.22 | -161.68 | -160.41 | -159.14 | -156.6 | -155.33 | -152.79 | -151.52 | -150.25 | -147.71
5 | [5] | Annualized Incremental Capacity Cost | ($M/yr) | 0 | 69.363 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726 | 138.726
Change Case: LG&E-KU Joins PJM (Annual/Summer Values)
6 | [6] | Resource Requirement | (MW) | 6957.0253 | 7061.6087 | 7030.4562 | 7018.2177 | 7014.8799 | 7011.5422 | 7007.0918 | 7001.5289 | 6997.0785 | 6991.5156 | 6987.0652 | 6981.5023 | 6977.0519 | 6971.4889 | 6967.0386 | 6961.4756 | 6957.0253 | 6952.5749 | 6947.012 | 6942.5616 | 6936.9986 | 6932.5483 | 6926.9853 | 6922.535 | 6918.0846
|  | 4-hr Storage ELCC |  | 77% | 86% | 92% | 96% | 99% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  | Planned Solar (PJM Capacity Value) |  | 389.8855 | 428.26 | 383.18 | 315.56 | 259.21 | 214.13 | 180.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Thermal (w/o NGCC Builds) |  | 7265 | 6968 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 6071 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919 | 5919
|  | Intermittent/Limited-Duration Resources (w/o Solar, Derated Battery) |  | 425.25 | 459.5 | 497 | 518 | 525.75 | 525 | 523 | 522 | 520 | 519 | 518 | 517 | 516 | 515 | 514 | 513 | 513 | 512 | 512 | 511 | 511 | 510 | 510 | 510 | 510
7 | [7] | Existing and Planned Resources (w/o NGCC Builds) | (MW) | 7610.6864 | 7405.5025 | 6558.8847 | 6512.2647 | 6463.6647 | 6417.8347 | 6382.0247 | 6200.7047 | 6198.7047 | 6197.7047 | 6196.7047 | 6195.7047 | 6194.7047 | 6193.7047 | 6050.5266 | 6049.5266 | 6049.5266 | 6048.5266 | 6048.5266 | 6047.5266 | 6047.5266 | 6046.5266 | 6046.5266 | 6046.5266 | 6046.5266
8 | [8] | New NGCC and Other Additions | (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [9] | Net Sale (Purchase) Qty from Market | (UCAP MW) | 1120.3733 | 817.6219 | 0.066777 | -35.1358 | -80.6219 | -123.338 | -154.9962 | -331.1265 | -328.9747 | -324.7849 | -321.6331 | -317.4433 | -314.2915 | -310.1018 | -449.128 | -444.9383 | -440.7865 | -437.6347 | -432.4449 | -429.2931 | -424.1033 | -420.9515 | -415.7618 | -411.61 | -407.4582
10 | [10] | PJM Capacity Price | ($/UCAP MW/d) | 55.32 | 60.44 | 80.59 | 91.4 | 93.09 | 87.31 | 81.74 | 78.68 | 77.86 | 73.84 | 69.12 | 70.19 | 67.26 | 65.2 | 59.44 | 60.6288 | 61.8414 | 63.0782 | 64.3398 | 65.6266 | 66.9391 | 68.2779 | 69.6434 | 71.0363 | 72.457
11 | [11] | Annual Incremental Capacity Cost (Revenue) | ($M/yr) | -22.6224 | -18.0372 | -0.0019643 | 1.1722 | 2.7394 | 3.9306 | 4.6243 | 9.5094 | 9.3491 | 8.7535 | 8.1144 | 8.1327 | 7.7158 | 7.3798 | 9.7441 | 9.8463 | 9.9495 | 10.0759 | 10.1555 | 10.2832 | 10.362 | 10.4907 | 10.5686 | 10.6723 | 10.776
Comparison of PJM vs. Status Quo
12 | [12] | Annualized Capacity Investment Savings in PJM | ($M/yr) | 22.6224 | 87.4002 | 138.728 | 137.5539 | 135.9867 | 134.7955 | 134.1017 | 129.2167 | 129.3769 | 129.9725 | 130.6116 | 130.5933 | 131.0102 | 131.3462 | 128.9819 | 128.8797 | 128.7765 | 128.6501 | 128.5705 | 128.4429 | 128.364 | 128.2353 | 128.1574 | 128.0537 | 127.95
Sources and Notes:
All resource capacity data from CPCN Plan
[1]: Winter Peak Load x (1 + LG&E-KU Winter PRM for 1-in-10); Reserve Margin from Responses to Q4(a) in the KYPSC Staff’s 5th Discovery Request.
[2]: Winter Totals of Existing Dispatchable Resources + Intermittent/Limited-Duration Resources – Retirements + SCCTs
[3]: Winter NGCC Builds
[4]: [1] - [2] - [3]
[5]: (Min of [4] and 0) × CT Gross CONE / 1000 × Rating Adjustment + [3] × (Capital Recovery Factor × CC CAPEX + CC Firm Gas + CC FOM) /1000 × Rating Adjustment; CT Gross CONE from Wilson Testimony Exhibit SAW-1, D-18, p.133; CC Firm Gas, Discount Rate and Lifetime for Capital Recovery Factor from Wilson Testimony, CC CAPEX, CC FOM from RTO Study; Rating Adjustment = ratio of summer to winter ratings in CPCN Plan.
[6]: Summer Peak Load × Coincidence Factor × (1 + PRM); Coincidence Factor from Section II.A; PRM from PJM Reserve Requirement Report, p. 8
[7]: Summer Totals of Existing Dispatchable Resources + Intermittent/Limited-Duration Resources - Retirements + SCCTs; Battery and Tracking Solar capacity values based on relevant values from 2022 PJM ELCC Report
[8]: No new NGCC and other additions
[9]: Total UCAP minus [6] × PRM / FPR. FPR from PJM Reserve Requirement Report, p. 8. Total UCAP is [7] + [8] – Avg EFORd × Dispatchable Resources
[10]: RTO Study, Case No. 2022-00402 Attachment 1 to Response to SC-2 Question No. 26(b) p. 101
[11]: [9] × [10] × 365 / 1,000,000
[12]: [5] – [11]

## PJM FPR Forecast
Source: 2022-pjm-reserve-requirement-study.ashx p.21
FPR
2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1.093 | 1.0926 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918 | 1.0918

## PJM Battery Storage ELCC Rating
Source: elcc-report-december-2022.ashx (pjm.com) p. 8
4-hr Battery Storage
2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
0.77 | 0.86 | 0.92 | 0.96 | 0.99 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## LG&E-KU UCAP Fleet
Complete List Source: PSC1-89c_ICAP_UCAP.xlsx (ky.gov)
Retirement Source: https://psc.ky.gov/pscecf/2022-00402/rick.lovekamp%40lge-ku.com/12152022012325/04-KU_LGE_Joint_Application_2022-00402.pdf p. 8
RETIREMENTS ARE IN RED
MW ICAP/Firm UCAP
Summer ICAP | Summer UCAP |  | S ummer | W inter | S ummer | W inter
8558 | 8005 | Brown.3 | 412 | 416 | 374 | 377
|  | Cane.Run.7.2X1 | 691 | 691 | 645 | 645
Derating |  | Ghent.1 | 475 | 479 | 449 | 453
6.462% |  | Ghent.2 | 485 | 486 | 458 | 459
|  | Ghent.3 | 481 | 476 | 455 | 450
|  | Ghent.4 | 478 | 478 | 452 | 452
|  | Mill.Creek.1 | 300 | 300 | 281 | 281
|  | Mill.Creek.2 | 297 | 297 | 281 | 281
|  | Mill.Creek.3 | 391 | 394 | 369 | 372
|  | Mill.Creek.4 | 477 | 486 | 451 | 459
|  | Trimble.County.1 | 370 | 370 | 350 | 350
|  | Trimble.County.2 | 549 | 570 | 505 | 524
|  | Brown.5 | 130 | 130 | 119 | 119
|  | Brown.6 | 146 | 171 | 134 | 157
|  | Brown.7 | 146 | 171 | 134 | 157
|  | Brown.8 | 121 | 128 | 111 | 118
|  | Brown.9 | 121 | 138 | 111 | 127
|  | Brown.10 | 121 | 138 | 111 | 127
|  | Brown.11 | 121 | 128 | 111 | 118
|  | Paddys.Run.13 | 147 | 175 | 135 | 161
|  | Trimble.5 | 159 | 179 | 151 | 170
|  | Trimble.6 | 159 | 179 | 151 | 170
|  | Trimble.7 | 159 | 179 | 151 | 170
|  | Trimble.8 | 159 | 179 | 151 | 170
|  | Trimble.9 | 159 | 179 | 151 | 170
|  | Trimble.10 | 159 | 179 | 151 | 170
|  | Haefling | 24 | 27 | 12 | 14
|  | Paddys.Run.12 | 23 | 28 | 12 | 14
|  | NewNGCC_15c-CC | 621 | 641 | 580 | 599
|  | NewNGCC_15g-CC | 621 | 641 | 580 | 599
|  | NewNGCC_15j-CC | 621 | 641 | 580 | 599
|  | NewSCCT_15b-SC | 243 | 258 | 231 | 245
|  | NewSCCT_15e-SC | 243 | 258 | 231 | 245
|  | NewSCCT_15i-SC | 243 | 258 | 231 | 245

## CPCN Plan
Source: https://psc.ky.gov/pscecf/2022-00402/rick.lovekamp%40lge-ku.com/03102023102544/07-PSC_DR1_LGE_KU_Attach_to_Q53%28f%29_-_Peak_Demand_and_Resource_Summary.pdf
SUMMER | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak Load | 6162 | 6197 | 6248 | 6253 | 6347 | 6319 | 6308 | 6305 | 6302 | 6298 | 6293 | 6289 | 6284 | 6280 | 6275 | 6271 | 6266 | 6262 | 6257 | 6253 | 6249 | 6244 | 6240 | 6235 | 6231 | 6226 | 6222 | 6218
Dispatchable Generation Resources
Existing Resources | 7583 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612 | 7612
Retirements/Additions
Coal | -300 | -300 | -300 | -300 | -597 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1494 | -1646 | -1646 | -1646 | -1646 | -1646 | -1646 | -1646 | -1646 | -1646 | -1646 | -1646
Large-Frame SCCTs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small-Frame SCCTs | 0 | 0 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47 | -47
NGCC | 0 | 0 | 0 | 0 | 621 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242 | 1242
Total | 7283 | 7312 | 7265 | 7265 | 7589 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7313 | 7161 | 7161 | 7161 | 7161 | 7161 | 7161 | 7161 | 7161 | 7161 | 7161 | 7161
Reserve Margin % | 18.19% | 17.99% | 16.28% | 16.18% | 19.57% | 15.73% | 15.93% | 15.99% | 16.04% | 16.12% | 16.21% | 16.28% | 16.37% | 16.45% | 16.54% | 16.62% | 16.71% | 14.36% | 14.45% | 14.52% | 14.59% | 14.69% | 14.76% | 14.85% | 14.93% | 15.02% | 15.09% | 15.17%
Intermittent/Limited-Duration Resources
Existing Resources | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Existing CSR | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128
Existing Dispatchable DSM | 62 | 60 | 56 | 52 | 49 | 46 | 44 | 42 | 40 | 38 | 36 | 35 | 33 | 32 | 31 | 30 | 29 | 28 | 28 | 27 | 27 | 26 | 26 | 25 | 25 | 25 | 24 | 24
Retirements/Additions
Solar | 0 | 79 | 177 | 681 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866 | 866
Battery Storage | 0 | 0 | 0 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
Dispatchable DSM | 0 | 14 | 28 | 44 | 70 | 102 | 121 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127
Total | 295 | 386 | 494 | 1135 | 1343 | 1373 | 1389 | 1393 | 1391 | 1389 | 1388 | 1386 | 1385 | 1384 | 1383 | 1382 | 1381 | 1380 | 1379 | 1379 | 1378 | 1378 | 1377 | 1377 | 1376 | 1376 | 1376 | 1376
Total Supply | 7577 | 7697 | 7758 | 8401 | 8932 | 8686 | 8702 | 8706 | 8704 | 8702 | 8701 | 8699 | 8698 | 8697 | 8695 | 8695 | 8694 | 8541 | 8540 | 8540 | 8539 | 8538 | 8538 | 8538 | 8537 | 8537 | 8537 | 8536
Total Reserve Margin | 1415 | 1500 | 1510 | 2148 | 2585 | 2366 | 2394 | 2401 | 2402 | 2405 | 2407 | 2410 | 2414 | 2417 | 2420 | 2424 | 2427 | 2279 | 2283 | 2287 | 2290 | 2294 | 2298 | 2302 | 2306 | 2311 | 2315 | 2319
Total Reserve Margin % | 22.96% | 24.21% | 24.17% | 34.35% | 40.73% | 37.46% | 37.95% | 38.08% | 38.11% | 38.17% | 38.26% | 38.32% | 38.42% | 38.49% | 38.57% | 38.65% | 38.75% | 36.39% | 36.49% | 36.57% | 36.65% | 36.74% | 36.83% | 36.94% | 37.01% | 37.12% | 37.21% | 37.28%
WINTER | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak Load | 5910 | 5908 | 6011 | 6003 | 6107 | 6104 | 6103 | 6102 | 6100 | 6101 | 6103 | 6104 | 6106 | 6107 | 6108 | 6110 | 6111 | 6113 | 6114 | 6116 | 6117 | 6118 | 6120 | 6121 | 6123 | 6124 | 6125 | 6127
Dispatchable Generation Resources
Existing Resources | 7901 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909 | 7909
Retirements/Additions
Coal | 0 | 0 | -300 | -300 | -597 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1499 | -1657 | -1657 | -1657 | -1657 | -1657 | -1657 | -1657 | -1657 | -1657 | -1657 | -1657
Large-Frame SCCTs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small-Frame SCCTs | 0 | 0 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55 | -55
NGCC | 0 | 0 | 0 | 0 | 641 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282
Total | 7901 | 7909 | 7554 | 7554 | 7898 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7637 | 7479 | 7479 | 7479 | 7479 | 7479 | 7479 | 7479 | 7479 | 7479 | 7479 | 7479
Reserve Margin % | 33.7% | 33.9% | 25.7% | 25.8% | 29.3% | 25.1% | 25.1% | 25.2% | 25.2% | 25.2% | 25.1% | 25.1% | 25.1% | 25% | 25% | 25% | 25% | 22.3% | 22.3% | 22.3% | 22.3% | 22.2% | 22.2% | 22.2% | 22.1% | 22.1% | 22.1% | 22.1%
Intermittent/Limited-Duration Resources
Existing Resources | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72
Existing CSR | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128 | 128
Existing Dispatchable DSM | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Retirements/Additions
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery Storage | 0 | 0 | 0 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
Dispatchable DSM | 0 | 13 | 26 | 40 | 61 | 89 | 103 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104
Total | 221 | 234 | 246 | 385 | 407 | 435 | 449 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
Total Supply | 8122 | 8143 | 7800 | 7939 | 8305 | 8072 | 8085 | 8087 | 8087 | 8087 | 8087 | 8087 | 8087 | 8087 | 8087 | 8087 | 8087 | 7929 | 7929 | 7929 | 7929 | 7929 | 7929 | 7929 | 7929 | 7929 | 7929 | 7929
Total Reserve Margin | 2211 | 2235 | 1789 | 1936 | 2197 | 1967 | 1982 | 1985 | 1987 | 1985 | 1984 | 1982 | 1981 | 1980 | 1978 | 1977 | 1975 | 1816 | 1815 | 1813 | 1812 | 1810 | 1809 | 1807 | 1806 | 1805 | 1803 | 1802
Total Reserve Margin % | 37.4% | 37.8% | 29.8% | 32.2% | 36% | 32.2% | 32.5% | 32.5% | 32.6% | 32.5% | 32.5% | 32.5% | 32.4% | 32.4% | 32.4% | 32.4% | 32.3% | 29.7% | 29.7% | 29.6% | 29.6% | 29.6% | 29.6% | 29.5% | 29.5% | 29.5% | 29.4% | 29.4%

## PJM Solar Value
Source: https://www.pjm.com/-/media/planning/res-adeq/elcc/elcc-report-december-2022.ashx p.7
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Tracking solar capacity value | 61% | 56% | 51% | 45% | 38% | 34% | 28% | 23% | 19% | 16% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## PJM Capacity Price
Source: https://psc.ky.gov/pscecf/2022-00402/rick.lovekamp%40lge-ku.com/05042023114450/14-SC_DR2_LGE_KU_Attach_to_Q26%28b%29_-_Att_1_UPDATED_2022_RTO_Membership_Analysis_PUBLIC.pdf 2022 RTO Membership Analysis Case No. 2022-00402 Attachment 1 to Response to SC-2 Question No. 26(b) Page 101 of 139 Sinclair
|  | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2031/2032 | 2032/2033 | 2033/2034 | 2034/2035 | 2035/2036 | 2036/2037 | 2037/2038 | 2038/2039 | 2039/2040 | 2040/2041
| Baseline Case 1 RTO | 37.53 | 43.86 | 55.32 | 60.44 | 80.59 | 91.4 | 93.09 | 87.31 | 81.74 | 78.68 | 77.86 | 73.84 | 69.12 | 70.19 | 67.26 | 65.2 | 59.44