## Cover
PSO LGEE Generators
Prepared for:
May 2022
©2022 Guidehouse Inc.
1200 19th Street NW
Suite 700
Washington, DC 20036
Tel: +1.202.973.2400
http://www.Guidehouse.com
Copyright This report is protected by copyright. Any copying, reproduction, publication, dissemination or transmittal in any form without the express written consent of Guidehouse Inc. (Guidehouse) is prohibited. Disclaimer This report (“report”) was prepared for Louisville Gas & Electric Kentucky Utilities on terms specifically limiting the liability of Guidehouse, and is not to be distributed without Guidehouse’s prior written consent. Guidehouse’s conclusions are the results of the exercise of its reasonable professional judgment. By the reader’s acceptance of this report, you hereby agree and acknowledge that (a) your use of the report will be limited solely for internal purpose, (b) you will not distribute a copy of this report to any third party without Guidehouse’s express prior written consent, and (c) you are bound by the disclaimers and/or limitations on liability otherwise set forth in the report. Guidehouse does not make any representations or warranties of any kind with respect to (i) the accuracy or completeness of the information contained in the report, (ii) the presence or absence of any errors or omissions contained in the report, (iii) any work performed by Guidehouse in connection with or using the report, or (iv) any conclusions reached by Guidehouse as a result of the report. Any use of or reliance on the report, or decisions to be made based on it, are the reader’s responsibility. Guidehouse accepts no duty of care or liability of any kind whatsoever to you, and all parties waive and release Guidehouse from all claims, liabilities and damages, if any, suffered as a result of decisions made, or not made, or actions taken, or not taken, based on this report. Confidentiality This report contains confidential and proprietary information. Any person acquiring this report agrees and understands that the information contained in this report is confidential and, except as required by law, will take all reasonable measures available to it by instruction, agreement or otherwise to maintain the confidentiality of the information. Such person agrees not to release, disclose, publish, copy, or communicate this confidential information or make it available to any third party, including, but not limited to, consultants, financial advisors, or rating agencies, other than employees, agents and contractors of such person and its affiliates and subsidiaries who reasonably need to know it in connection with the exercise or the performance of such person’s business. The terms of the client engagement letter or contract usually provide that the Client is the owner of the copyrighted report, but in some contracts, Guidehouse retains ownership of the copyright.

## Supply demand
Guidehouse Spring 2022 Reference Case
Confidential and Proprietary
| Year | Season | Effective Resource Capacity | Coincident_Peak_Demand | EffCapReserveMargin | ReportingArea | Year | Season | CC | Coal | Hydro | IC/GT | PV | Total_Nameplate | Total_ELCC | PV_Roof | Coincident_Peak_Demand
| 2021 | Summer | 9021.2116 | 6770.411 | 33.25% | LGEE | 2021 | Summer | 663 | 5039 | 111.1 | 2066 | 10 | 7889.1 | 7879.9116 | 0.6 | 6770.411
| 2022 | Summer | 9062.6574 | 6899.0921 | 31.37% | LGEE | 2022 | Summer | 0 | 0 | 0 | 0 | 100 | 7989.1 | 7921.3574 | 0.31 | 6899.0921
| 2023 | Summer | 9062.6574 | 6938.1729 | 30.63% | LGEE | 2023 | Summer | 0 | 0 | 0 | 0 | 0 | 7989.1 | 7921.3574 | 0.46 | 6938.1729
| 2024 | Summer | 9062.6574 | 6941.6077 | 30.57% | LGEE | 2024 | Summer | 0 | 0 | 0 | 0 | 0 | 7989.1 | 7921.3574 | 0.47 | 6941.6077
| 2025 | Summer | 8762.6574 | 6944.242 | 26.2% | LGEE | 2025 | Summer | 0 | -300 | 0 | 0 | 0 | 7689.1 | 7621.3574 | 0.49 | 6944.242
| 2026 | Summer | 8760.7356 | 6950.1914 | 26.07% | LGEE | 2026 | Summer | 0 | 0 | 0 | 0 | 0 | 7689.1 | 7619.4356 | 0.5 | 6950.1914
| 2027 | Summer | 8759.6027 | 6951.7489 | 26.03% | LGEE | 2027 | Summer | 0 | 0 | 0 | 0 | 0 | 7689.1 | 7618.3027 | 0.52 | 6951.7489
| 2028 | Summer | 8461.8916 | 6960.8274 | 21.59% | LGEE | 2028 | Summer | 0 | -297 | 0 | 0 | 0 | 7392.1 | 7320.5916 | 0.53 | 6960.8274
| 2029 | Summer | 8461.303 | 6958.9494 | 21.61% | LGEE | 2029 | Summer | 0 | 0 | 0 | 0 | 0 | 7392.1 | 7320.003 | 0.55 | 6958.9494
| 2030 | Summer | 8459.6992 | 6958.902 | 21.59% | LGEE | 2030 | Summer | 0 | 0 | 0 | 0 | 0 | 7392.1 | 7318.3992 | 0.18 | 6958.902
| 2031 | Summer | 8493.1646 | 6962.3898 | 22.01% | LGEE | 2031 | Summer | 0 | 0 | 0 | 0 | 100 | 7492.1 | 7351.8646 | 0.18 | 6962.3898
| 2032 | Summer | 8523.2429 | 6967.6837 | 22.35% | LGEE | 2032 | Summer | 0 | 0 | 0 | 0 | 100 | 7592.1 | 7381.9429 | 0.19 | 6967.6837
| 2033 | Summer | 8584.0496 | 6971.2485 | 23.16% | LGEE | 2033 | Summer | 0 | 0 | 0 | 0 | 200 | 7792.1 | 7442.7496 | 0.2 | 6971.2485
| 2034 | Summer | 8610.2895 | 6973.8722 | 23.49% | LGEE | 2034 | Summer | 968 | -969 | 0 | 0 | 100 | 7891.1 | 7468.9895 | 0.21 | 6973.8722
| 2035 | Summer | 8676.0814 | 6967.6675 | 24.54% | LGEE | 2035 | Summer | 484 | -412 | 0 | 0 | 0 | 7963.1 | 7534.7814 | 0.21 | 6967.6675
| 2036 | Summer | 8667.4719 | 6979.0282 | 24.22% | LGEE | 2036 | Summer | 0 | 0 | 0 | 0 | 0 | 7963.1 | 7526.1719 | 0.23 | 6979.0282
| 2037 | Summer | 8657.886 | 6982.8234 | 24.01% | LGEE | 2037 | Summer | 484 | -485 | 0 | 0 | 0 | 7962.1 | 7516.586 | 0.23 | 6982.8234
| 2038 | Summer | 8763.9965 | 6987.0728 | 25.46% | LGEE | 2038 | Summer | 968 | -856 | 0 | 0 | 0 | 8074.1 | 7622.6965 | 0.24 | 6987.0728
| 2039 | Summer | 8761.6208 | 6988.9231 | 25.39% | LGEE | 2039 | Summer | 0 | 0 | 0 | 0 | 0 | 8074.1 | 7620.3208 | 0.26 | 6988.9231
| 2040 | Summer | 8761.6208 | 6989.1445 | 25.39% | LGEE | 2040 | Summer | 0 | 0 | 0 | 0 | 0 | 8074.1 | 7620.3208 | 0.26 | 6989.1445

## Total Adds and Retire
Guidehouse Spring 2022 Reference Case
Confidential and Proprietary
| Generic Additons |  |  |  | Generator Retirements
| Year | EnergyArea | Type | Capacity MW | Year | EnergyArea | pCloudName | Type | Capacity MW
| 2022 | LGEE | PV | 100 | 2035 | LGEE | E W Brown:3¦10366 | Coal | 412
| 2031 | LGEE | PV | 100 | 2034 | LGEE | Ghent:1¦10372 | Coal | 474
| 2032 | LGEE | PV | 100 | 2034 | LGEE | Ghent:2¦10373 | Coal | 495
| 2033 | LGEE | PV | 200 | 2037 | LGEE | Ghent:3¦10374 | Coal | 485
| 2034 | LGEE | CC | 968 | 2038 | LGEE | Ghent:4¦10375 | Coal | 465
| 2034 | LGEE | PV | 100 | 2025 | LGEE | Mill Creek:1¦9702 | Coal | 300
| 2035 | LGEE | CC | 484 | 2038 | LGEE | Mill Creek:3¦9704 | Coal | 391
| 2037 | LGEE | CC | 484 | 2042 | LGEE | Mill Creek:4¦9705 | Coal | 477
| 2038 | LGEE | CC | 968 | 2045 | LGEE | E W Brown:10¦10363 | IC/GT | 121
| 2042 | LGEE | CC | 1084 | 2045 | LGEE | E W Brown:11¦10364 | IC/GT | 121
| 2045 | LGEE | IC/GT | 200 | 2045 | LGEE | E W Brown:8¦10370 | IC/GT | 121
[5 empty] | 2045 | LGEE | E W Brown:9¦10371 | IC/GT | 121
[5 empty] | 2028 | LGEE | Mill Creek:2¦9703 | Coal | 297

## Fuel Price
Guidehouse Spring 2022 Reference Case
Confidential and Proprietary
2020$
Fuel Price Gas _ NG TCO
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045

## Generator List LKEedits
Guidehouse Spring 2022 Reference Case
Confidential and Proprietary
| Generator Name | Technology Type | Winter 2 | Spring 2 | Summer 2 | Fall 2 | NITS | Summer Capacity (MW) | Winter Capacity (MW) | Online Date | Retirement Date | Retirement Date | Summer FLHR | FLHR (MMBtu/MWh) | VOM ($/MWh) | Must Run | Ozone Season Nox | NonOzone Season Nox | PrimeNox_fuel | SO2 (lb/MMBtu) | PrimeSo2_fuel | CO2 (lb/MMBtu) | PrimeCo2_fuel
CR7 | Cane Run CC:1 | CCg100+ | 691 | 691 | 691 | 691 | 691 | 663 | 683 | 2015-06-01 | 2055-01-01 | 2099-12-31 | 6.5534 | 6.6379 | 7.5 |  | 0.026 | 0.026 | 0.007 |  | 0 | 119 | 119
BR10 | E W Brown:10¦10363 | GTg50+ | 138 | 118 | 121 | 118 | 138 | 121 | 138 | 1995-12-01 | 2035-01-01 | 2044-12-31 | 12.4888 | 12.3351 | 17.5 |  | 0.135 | 0.135 | 0.13723 |  | 0 | 119 | 119.05
BR11 | E W Brown:11¦10364 | GTg50+ | 128 | 118 | 121 | 118 | 128 | 121 | 128 | 1996-05-01 | 2036-01-01 | 2044-12-31 | 12.4888 | 12.4286 | 17.5 |  | 0.137 | 0.137 | 0.12621 |  | 0 | 119 | 118.86
BR5 | E W Brown:5¦10367 | GTg50+ | 130 | 120 | 130 | 120 | 130 | 130 | 130 | 2001-06-01 | 2041-01-01 | 2051-12-31 | 12.1191 | 12.1095 | 17.5 |  | 0.067 | 0.067 | 0.061348 |  | 0 | 119 | 118.85
BR8 | E W Brown:8¦10370 | GTg50+ | 128 | 118 | 121 | 118 | 128 | 121 | 128 | 1995-02-01 | 2035-01-01 | 2044-12-31 | 12.4888 | 12.4286 | 17.5 |  | 0.137 | 0.137 | 0.14819 |  | 0 | 119 | 119.27
BR9 | E W Brown:9¦10371 | GTg50+ | 138 | 118 | 121 | 118 | 138 | 121 | 138 | 1994-08-01 | 2034-01-01 | 2044-12-31 | 12.4888 | 12.3351 | 17.5 |  | 0.137 | 0.137 | 0.1201 |  | 0 | 119 | 119.33
HF1 | Haefling:1¦10380 | GTg20 | 13.6667 | 12.8333 | 12 | 12.8333 | 14 | 12 | 14 | 1970-10-01 | 2025-01-01 | 2050-12-31 | 17.765 | 17.765 | 17.5 |  | 0.44 | 0.44 | 0.40787 |  | 0 | 119 | 117
HF2 | Haefling:2¦10381 | GTg20 | 13.6667 | 12.8333 | 12 | 12.8333 | 14 | 12 | 14 | 1970-10-01 | 2025-01-01 | 2050-12-31 | 17.765 | 17.765 | 17.5 |  | 0.44 | 0.44 | 0.40787 |  | 0 | 119 | 117
| Paddys Run:11¦9714 | GTg20 | [5 empty] | 12 | 13 | 1968-06-01 | retired 3/31/21 | 2050-12-31 |  | 15.61 | 17.5 |  |  |  | 0.070698 |  | 0 | 119 | 117
PR12 | Paddys Run:12¦9715 | GTg50 | 28 | 25.5 | 23 | 25.5 | 28 | 23 | 28 | 1968-07-01 | 2025-01-01 | 2050-12-31 | 17.692 | 17.692 | 17.5 |  | 0.44 | 0.44 | 0.070698 |  | 0 | 119 | 117
OF | Ohio Falls¦9706 | Hydro | 40 | 52 | 64 | 52 | 101 | 100.6 | 100.6 | 1928-01-01 | 2045-01-01 | 2099-12-31 |  | 0 | 0 | 1
DIX | Dix Dam¦10359 | Hydro | 31.5 | 31.5 | 31.5 | 31.5 | 34 | 10.5 | 10.5 | 1925-11-01 | 2041-01-01 | 2099-12-31 |  | 0 | 0 | 1
BR3 | E W Brown:3¦10366 | STc600 | 416 | 414 | 412 | 414 | 416 | 412 | 416 | 1971-07-01 | 2028-01-01 | 2035-05-31 | 10.9907 | 10.405 | 10 |  | 0.04 | 0.04 | 0.24529 | 0 | 0.075308 | 205.2 | 205.2
GH1 | Ghent:1¦10372 | STc600 | 479 | 477 | 475 | 477 | 481 | 474 | 476 | 1974-02-01 | 2034-01-01 | 2034-05-31 | 10.4805 | 10.257 | 10 | 1 | 0.059 | 0.09 | 0.096444 | 0 | 0.09542 | 205.2 | 205.19
GH2 | Ghent:2¦10373 | STc600 | 486 | 485.5 | 485 | 485.5 | 495 | 495 | 477 | 1977-04-01 | 2034-01-01 | 2034-05-31 | 10.2995 | 9.413 | 10 | 1 | 0.3 | 0.3 | 0.20579 | 0 | 0.3942 | 205.2 | 205.2
GH3 | Ghent:3¦10374 | STc600 | 476 | 478.5 | 481 | 478.5 | 489 | 485 | 478 | 1981-05-01 | 2037-01-01 | 2037-05-31 | 10.4539 | 9.423 | 10 | 1 | 0.056 | 0.09 | 0.18485 | 0 | 0.3137 | 205.2 | 205.2
GH4 | Ghent:4¦10375 | STc600 | 478 | 478 | 478 | 478 | 491 | 465 | 487 | 1984-08-01 | 2037-01-01 | 2038-05-31 | 10.5182 | 9.947 | 10 | 1 | 0.053 | 0.09 | 0.14994 | 0 | 0.0727 | 205.2 | 205.2
MC1 | Mill Creek:1¦9702 | STc600 | 300 | 300 | 300 | 300 | 303 | 300 | 300 | 1972-08-01 | 2024-12-31 | 2025-05-31 | 10.3889 | 9.209 | 10 | 1 | 0.29 | 0.29 | 0.28975 | 0 | 0.5517 | 205.2 | 205.2
MC2 | Mill Creek:2¦9703 | STc600 | 297 | 297 | 297 | 297 | 301 | 297 | 297 | 1974-07-01 | 2028-01-01 | 2027-12-31 | 10.4229 | 9.736 | 10 | 1 | 0.29 | 0.29 | 0.29531 | 0 | 0.627 | 205.2 | 205.2
MC3 | Mill Creek:3¦9704 | STc600 | 394 | 392.5 | 391 | 392.5 | 394 | 391 | 394 | 1978-08-01 | 2039-01-01 | 2038-05-31 | 10.4658 | 9.991 | 10 | 1 | 0.054 | 0.09 | 0.13808 | 0 | 0.7008 | 205.2 | 205.2
MC4 | Mill Creek:4¦9705 | STc600 | 486 | 481.5 | 477 | 481.5 | 486 | 477 | 486 | 1982-09-01 | 2039-01-01 | 2042-05-31 | 10.3811 | 9.777 | 10 | 1 | 0.055 | 0.09 | 0.1399 | 0 | 0.65284 | 205.2 | 205.2
TC1 | Trimble County:1¦20233 | STc600+ | 369.75 | 369.75 | 369.75 | 369.75 | 386 | 732 | 760 | 2011-02-01 | 2045-01-01 | 2060-11-30 | 10.3573 | 9.146 | 10 | 1 | 0.059 | 0.1 | 0.12231 | 0 | 0.1161 | 205.2 | 205.2
TC2 | Trimble County:2¦9720 | STc600 | 570 | 559.5 | 549 | 559.5 | 575 | 511 | 511 | 1990-12-01 | 2066-01-01 | 2080-04-30 | 9.2596 | 8.3 | 10 | 1 | 0.04 | 0.04 | 0.048348 | 0 | 0.0655 | 205.2 | 209.76
BRS | E.W. Brown Solar¦39599 | PV | 0 | 0 | 8 | 0 | 10 | 10 | 10 | 2016-04-01 | 2041-01-01 | 2099-12-31 |  | 0 | 0 | 1
BR6 | E W Brown:6¦10368 | GTg50+ | 171 | 157 | 146 | 157 | 171 | 146 | 171 | 1999-08-01 | 2039-01-01 | 2049-12-31 | 10.8963 | 10.6555 | 17.5 |  | 0.067 | 0.067 | 0.042389 |  | 0 | 119 | 120.35
BR7 | E W Brown:7¦10369 | GTg50+ | 171 | 157 | 146 | 157 | 171 | 146 | 171 | 1999-08-01 | 2039-01-01 | 2049-12-31 | 10.8963 | 10.6555 | 17.5 |  | 0.067 | 0.067 | 0.056742 |  | 0 | 119 | 118.86
PR13 | Paddys Run:13¦9716 | GTg50+ | 175 | 161 | 147 | 161 | 175 | 147 | 175 | 2001-06-01 | 2041-01-01 | 2051-12-31 | 10.6942 | 10.4554 | 17.5 |  | 0.078 | 0.078 | 0.070698 |  | 0 | 119 | 118.85
TC10 | Trimble County:10¦20233 | GTg50+ | 179 | 169 | 159 | 169 | 180 | 159 | 179 | 2011-02-01 | 2044-01-01 | 2054-12-31 | 10.7735 | 10.5533 | 17.5 |  | 0.029 | 0.029 | 0.029087 |  | 0 | 119 | 118.86
TC5 | Trimble County:5¦20233 | GTg50+ | 179 | 169 | 159 | 169 | 180 | 159 | 179 | 2011-02-01 | 2042-01-01 | 2052-12-31 | 10.7735 | 10.5533 | 17.5 |  | 0.029 | 0.029 | 0.029829 |  | 0 | 119 | 118.85
TC6 | Trimble County:6¦20233 | GTg50+ | 179 | 169 | 159 | 169 | 180 | 159 | 179 | 2011-02-01 | 2042-01-01 | 2052-12-31 | 10.7735 | 10.5533 | 17.5 |  | 0.029 | 0.029 | 0.032017 |  | 0 | 119 | 118.86
TC7 | Trimble County:7¦20233 | GTg50+ | 179 | 169 | 159 | 169 | 180 | 159 | 179 | 2011-02-01 | 2044-01-01 | 2054-12-31 | 10.7735 | 10.5533 | 17.5 |  | 0.029 | 0.029 | 0.030171 |  | 0 | 119 | 118.87
TC8 | Trimble County:8¦20233 | GTg50+ | 179 | 169 | 159 | 169 | 180 | 159 | 179 | 2011-02-01 | 2044-01-01 | 2054-12-31 | 10.7735 | 10.5533 | 17.5 |  | 0.029 | 0.029 | 0.025794 |  | 0 | 119 | 118.86
TC9 | Trimble County:9¦20233 | GTg50+ | 179 | 169 | 159 | 169 | 180 | 159 | 179 | 2011-02-01 | 2044-01-01 | 2054-12-31 | 10.7735 | 10.5533 | 17.5 |  | 0.029 | 0.029 | 0.027545 |  | 0 | 119 | 118.86
| NewGeneric_GH_LGEE_PV_2031 | PV | [5 empty] | 100 | 100 | 2031-01-01 | 0 |  |  |  | 0
| NewGeneric_GH_LGEE_PV_2034 | PV | [5 empty] | 100 | 100 | 2034-01-01 | 0 |  |  |  | 0
| NewGeneric_GH_LGEE_PV_2022 | PV | [5 empty] | 100 | 100 | 2022-01-01 | 0 |  |  |  | 0
| NewGeneric_GH_LGEE_PV_2033 | PV | [5 empty] | 200 | 200 | 2033-01-01 | 0 |  |  |  | 0
| NewGeneric_GH_LGEE_PV_2032 | PV | [5 empty] | 100 | 100 | 2032-01-01 | 0 |  |  |  | 0
| NewGeneric_GH_SpringUpd_SERC_CC_31 | CCg100+ | [5 empty] | 484 | 484 | 2038-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_29 | CCg100+ | [5 empty] | 484 | 484 | 2037-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_35 | CCg100+ | [5 empty] | 600 | 600 | 2042-01-01 | 0 | 2099-12-31 |  | 6.3442 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_28 | CCg100+ | [5 empty] | 484 | 484 | 2035-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_27 | CCg100+ | [5 empty] | 484 | 484 | 2034-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_30 | CCg100+ | [5 empty] | 484 | 484 | 2038-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_26 | CCg100+ | [5 empty] | 484 | 484 | 2034-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CC_32 | CCg100+ | [5 empty] | 484 | 484 | 2042-06-01 | 0 | 2099-12-31 |  | 6.6463 | 7.5 |  |  |  | 0.02 |  | 0.001 | 119 | 118.4
| NewGeneric_GH_SpringUpd_SERC_CT_43 | GTg50+ | [5 empty] | 200 | 200 | 2045-01-01 | 0 | 2099-12-31 |  | 9.5 | 17.5 |  |  |  | 0.03 |  | 0 | 119 | 117
| LGEE_BTMPV_2021 | DG-BTM | [5 empty] | 0.6 | 0.6 | 2021-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2022 | DG-BTM | [5 empty] | 0.31 | 0.31 | 2022-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2023 | DG-BTM | [5 empty] | 0.46 | 0.46 | 2023-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2024 | DG-BTM | [5 empty] | 0.47 | 0.47 | 2024-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2025 | DG-BTM | [5 empty] | 0.49 | 0.49 | 2025-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2026 | DG-BTM | [5 empty] | 0.5 | 0.5 | 2026-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2027 | DG-BTM | [5 empty] | 0.52 | 0.52 | 2027-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2028 | DG-BTM | [5 empty] | 0.53 | 0.53 | 2028-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2029 | DG-BTM | [5 empty] | 0.55 | 0.55 | 2029-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2030 | DG-BTM | [5 empty] | 0.18 | 0.18 | 2030-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2031 | DG-BTM | [5 empty] | 0.18 | 0.18 | 2031-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2032 | DG-BTM | [5 empty] | 0.19 | 0.19 | 2032-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2033 | DG-BTM | [5 empty] | 0.2 | 0.2 | 2033-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2034 | DG-BTM | [5 empty] | 0.21 | 0.21 | 2034-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2035 | DG-BTM | [5 empty] | 0.21 | 0.21 | 2035-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2036 | DG-BTM | [5 empty] | 0.23 | 0.23 | 2036-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2037 | DG-BTM | [5 empty] | 0.23 | 0.23 | 2037-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2038 | DG-BTM | [5 empty] | 0.24 | 0.24 | 2038-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2039 | DG-BTM | [5 empty] | 0.26 | 0.26 | 2039-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2040 | DG-BTM | [5 empty] | 0.26 | 0.26 | 2040-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2041 | DG-BTM | [5 empty] | 0.27 | 0.27 | 2041-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2042 | DG-BTM | [5 empty] | 0.28 | 0.28 | 2042-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2043 | DG-BTM | [5 empty] | 0.3 | 0.3 | 2043-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2044 | DG-BTM | [5 empty] | 0.31 | 0.31 | 2044-01-01 | 0 |  |  |  | 0
| LGEE_BTMPV_2045 | DG-BTM | [5 empty] | 0.32 | 0.32 | 2045-01-01 | 0 |  |  |  | 0

## Notes
Notes
Trimble County 1 & 2 Ownership is 75%; unit attribute data reflects this
Trimble County 2 burns a mix of PRB and High Sulfur Coal (.28 to .72 by MMBtu)
Cane Run 7 is being overhauled in Spring of 24 with an expected heat rate and capacity improvement; unit attribute data reflects this
Guidehouse VOM representation may be different in our modeling; coal unit consumables have smaller VOM while there are shadow costs for CTs and CC units which functions as a proxy for periodic maintenance which accrues by run hours
We model SO2 as the product of the removal rate (for SCR units) and an assummption for S02 per MMBtu inherent to the fuel
The Generator List LKEedits tab contains additional columns with white fill containg the udpated assumption and/or linking to the input data and/or calculation of updated assumptions. Guidehouse assumptions which should be udpated are conditionally highlighted.
Do we want to contemplate CCR revenues in dispatch?
OVEC - every hour we must take the OVEC minimum and have the option to buy the OVEC maximum (in full)
Curtailable Customers - need to discuss how to include CSR and DLC
Spinning Reserve Requirement is 318 MW

## UnitMap
LKE_UnitShort | LKE_Fuel1 | LKE_Fuel1_Perc | LKE_Fuel2 | LKE_Fuel2_Perc | GuideHouseUnit
BR3 | BROWN HS | 1 |  |  | E W Brown:3¦10366
BR5 | Gas_Brown | 1 |  |  | E W Brown:5¦10367
BR6 | Gas_Brown | 1 |  |  | E W Brown:6¦10368
BR7 | Gas_Brown | 1 |  |  | E W Brown:7¦10369
BR8 | Gas_Brown | 1 |  |  | E W Brown:8¦10370
BR9 | Gas_Brown | 1 |  |  | E W Brown:9¦10371
BR10 | Gas_Brown | 1 |  |  | E W Brown:10¦10363
BR11 | Gas_Brown | 1 |  |  | E W Brown:11¦10364
BRS |  |  |  |  | E.W. Brown Solar¦39599
CR7 | Gas_CaneRun | 1 |  |  | Cane Run CC:1
DIX |  |  |  |  | Dix Dam¦10359
GH1 | GHENT HS | 1 |  |  | Ghent:1¦10372
GH2 | GHENT HS | 1 |  |  | Ghent:2¦10373
GH3 | GHENT HS | 1 |  |  | Ghent:3¦10374
GH4 | GHENT HS | 1 |  |  | Ghent:4¦10375
HF1 | Gas_Haefling | 1 |  |  | Haefling:1¦10380
HF2 | Gas_Haefling | 1 |  |  | Haefling:2¦10381
MC1 | MILL CREEK | 1 |  |  | Mill Creek:1¦9702
MC2 | MILL CREEK | 1 |  |  | Mill Creek:2¦9703
MC3 | MILL CREEK | 1 |  |  | Mill Creek:3¦9704
MC4 | MILL CREEK | 1 |  |  | Mill Creek:4¦9705
OF |  |  |  |  | Ohio Falls¦9706
PR12 | Gas_Paddys | 1 |  |  | Paddys Run:12¦9715
PR13 | Gas_Paddys | 1 |  |  | Paddys Run:13¦9716
TC1 | TRIMBLE CO | 1 |  |  | Trimble County:1¦20233
TC2 | TRIMBLE CO | 0.72 | TRIMBLE PRB | 0.28 | Trimble County:2¦9720
TC5 | Gas_Trimble | 1 |  |  | Trimble County:5¦20233
TC6 | Gas_Trimble | 1 |  |  | Trimble County:6¦20233
TC7 | Gas_Trimble | 1 |  |  | Trimble County:7¦20233
TC8 | Gas_Trimble | 1 |  |  | Trimble County:8¦20233
TC9 | Gas_Trimble | 1 |  |  | Trimble County:9¦20233
TC10 | Gas_Trimble | 1 |  |  | Trimble County:10¦20233
OVEC
Paddys Run:11¦9714
NewGeneric_GH_LGEE_PV_2031
NewGeneric_GH_LGEE_PV_2034
NewGeneric_GH_LGEE_PV_2022
NewGeneric_GH_LGEE_PV_2033
NewGeneric_GH_LGEE_PV_2032
NewGeneric_GH_SpringUpd_SERC_CC_31
NewGeneric_GH_SpringUpd_SERC_CC_29
NewGeneric_GH_SpringUpd_SERC_CC_35
NewGeneric_GH_SpringUpd_SERC_CC_28
NewGeneric_GH_SpringUpd_SERC_CC_27
NewGeneric_GH_SpringUpd_SERC_CC_30
NewGeneric_GH_SpringUpd_SERC_CC_26
NewGeneric_GH_SpringUpd_SERC_CC_32
NewGeneric_GH_SpringUpd_SERC_CT_43
LGEE_BTMPV_2021
LGEE_BTMPV_2022
LGEE_BTMPV_2023
LGEE_BTMPV_2024
LGEE_BTMPV_2025
LGEE_BTMPV_2026
LGEE_BTMPV_2027
LGEE_BTMPV_2028
LGEE_BTMPV_2029
LGEE_BTMPV_2030
LGEE_BTMPV_2031
LGEE_BTMPV_2032
LGEE_BTMPV_2033
LGEE_BTMPV_2034
LGEE_BTMPV_2035
LGEE_BTMPV_2036
LGEE_BTMPV_2037
LGEE_BTMPV_2038
LGEE_BTMPV_2039
LGEE_BTMPV_2040
LGEE_BTMPV_2041
LGEE_BTMPV_2042
LGEE_BTMPV_2043
LGEE_BTMPV_2044
LGEE_BTMPV_2045

## LKE_UnitRatings
[5 empty] | Ownership |  | Generator | Net | Ramp | SCR Minimum Load |  | Net |  |  |  | Gross |  |  |  | FAC-008 | NITS
|  |  | In-Service | Age | Percentage |  | Nameplate | Minimum | Rate |  |  | Winter 2 | Spring 2 | Summer 2 | Fall 2 | Winter 2 | Spring 2 | Summer 2 | Fall 2
| Plant Name 4,5 | Owner | Date | (yr) | KU | LGE | Ratings | Load | (MW/mn) | Winter | Summer | [8 empty] | MVA
BR3 | Brown 3 | KU | 1971-07-19 | 51.0356 |  |  | 464 | 140 | 6 | 140 | 140 | 416 | 414 | 412 | 414 | 456 | 455.5 | 455 | 455.5 | 496 | 416
BR5 | Brown 5 6 | Joint | 2001-06-09 | 21.1233 | 0.47 | 0.53 | 123.3 | 50 |  |  |  | 130 | 120 | 130 | 120 | 131 | 121 | 131 | 121 | 145 | 130
BR6 | Brown 6 | Joint | 1999-08-11 | 22.9534 | 0.62 | 0.38 | 177 | 105 |  |  |  | 171 | 157 | 146 | 157 | 172 | 158 | 147 | 158 | 190 | 171
BR7 | Brown 7 | Joint | 1999-08-08 | 22.9616 | 0.62 | 0.38 | 177 | 105 |  |  |  | 171 | 157 | 146 | 157 | 172 | 158 | 147 | 158 | 190 | 171
BR8 | Brown 8 6 | KU | 1995-02-23 | 27.4192 |  |  | 126 | 50 |  |  |  | 128 | 118 | 121 | 118 | 129 | 119 | 122 | 119 | 140 | 128
BR9 | Brown 9 6 | KU | 1995-01-24 | 27.5014 |  |  | 126 | 50 |  |  |  | 138 | 118 | 121 | 118 | 139 | 119 | 122 | 119 | 140 | 138
BR10 | Brown 10 6 | KU | 1995-12-22 | 26.5918 |  |  | 126 | 50 |  |  |  | 138 | 118 | 121 | 118 | 139 | 119 | 122 | 119 | 140 | 138
BR11 | Brown 11 6 | KU | 1996-05-08 | 26.2137 |  |  | 126 | 50 |  |  |  | 128 | 118 | 121 | 118 | 129 | 119 | 122 | 119 | 140 | 128
BRS | Brown Solar11 | Joint | 2016-06-09 | 6.1123 | 0.61 | 0.39 | 10 | 0 |  |  |  | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 11.2 | 10
CR7 | Cane Run 7 8 | Joint | 2015-06-19 | 7.0877 | 0.78 | 0.22 | 808 | 338 (2X1) 180 (1X1) |  |  |  | 683 | 694 | 662 | 694 | 696 | 707 | 675 | 707 |  | 691
DIX | Total Dix Dam | [5 empty] | 33.6 | 6 |  |  |  | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 | 31.5 |  | 34
GH1 | Ghent 1 | KU | 1974-02-19 | 48.4438 |  |  | 556.92 | 218 | 7 | 250 | 250 | 479 | 477 | 475 | 477 | 520 | 520 | 520 | 520 | 616 | 481
GH2 | Ghent 2 | KU | 1977-04-20 | 45.2767 |  |  | 556.38 | 225 | 7 |  |  | 486 | 485.5 | 485 | 485.5 | 520 | 520 | 520 | 520 | 604.8 | 495
GH3 | Ghent 3 | KU | 1981-05-31 | 41.1616 |  |  | 556.56 | 210 | 7 | 230 | 230 | 476 | 478.5 | 481 | 478.5 | 525 | 527.5 | 530 | 527.5 | 604.8 | 489
GH4 | Ghent 4 | KU | 1984-08-18 | 37.9425 |  |  | 556.2 | 215 | 4 | 215 | 215 | 478 | 478 | 478 | 478 | 525 | 525 | 525 | 525 | 604.8 | 491
HF1 | Haefling 1 | KU | 1970-10-07 | 51.8164 |  |  | 20.7 | 2 |  |  |  | 13.6667 | 12.8333 | 12 | 12.8333 | 13.6667 | 12.8333 | 12 | 12.8333 | 21.2 | 14
HF2 | Haefling 2 | KU | 1970-10-21 | 51.7781 |  |  | 20.7 | 2 |  |  |  | 13.6667 | 12.8333 | 12 | 12.8333 | 13.6667 | 12.8333 | 12 | 12.8333 | 21.2 | 14
MC1 | Mill Creek 1 | LGE | 1972-07-11 | 50.0548 |  |  | 355.5 | 115 | 3 |  |  | 300 | 300 | 300 | 300 | 330 | 330 | 330 | 330 | 395 | 303
MC2 | Mill Creek 2 | LGE | 1974-06-11 | 48.137 |  |  | 355.5 | 115 | 3 |  |  | 297 | 297 | 297 | 297 | 330 | 330 | 330 | 330 | 395 | 301
MC3 | Mill Creek 3 | LGE | 1978-06-28 | 44.0877 |  |  | 462.6 | 170 | 6 | 265 | 190 | 394 | 392.5 | 391 | 392.5 | 423 | 422.5 | 422 | 422.5 | 514 | 394
MC4 | Mill Creek 4 | LGE | 1982-07-15 | 40.0384 |  |  | 543.6 | 175 | 6 | 275 | 255 | 486 | 481.5 | 477 | 481.5 | 525 | 521 | 517 | 521 | 604 | 486
OF | Total Ohio Falls Hydro | [5 empty] | 100.64 | 15 |  |  |  | 40 | 52 | 64 | 52 | 40 | 52 | 64 | 52 |  | 101
PR12 | Paddy's Run 12 | LGE | 1968-07-16 | 54.0438 |  |  | 32.64 | 2 |  |  |  | 28 | 25.5 | 23 | 25.5 | 28 | 25.5 | 23 | 25.5 | 44.1 | 28
PR13 | Paddy's Run 13 | Joint | 2001-06-27 | 21.074 | 0.47 | 0.53 | 178.2 | 67 |  |  |  | 175 | 161 | 147 | 161 | 176 | 162 | 148 | 162 | 175 | 175
TC1 | Trimble County 1 1 | LGE | 1990-12-23 | 31.5918 |  |  | 424.575 | 141 | 5 | 311 | 311 | 369.75 | 369.75 | 369.75 | 369.75 | 397.5 | 397.5 | 397.5 | 397.5 | 629 | 386
TC2 | Trimble County 2 1 | Joint | 2011-01-22 | 11.4959 | 0.81 | 0.19 | 628.5 | 315 | 5 | 315 | 315 | 570 | 559.5 | 549 | 559.5 | 606.75 | 596.25 | 585.75 | 596.25 | 986 | 575
TC5 | Trimble County 5 7 | Joint | 2002-05-14 | 20.1945 | 0.71 | 0.29 | 198.9 | 80 S 90 W |  |  |  | 179 | 169 | 159 | 169 | 180 | 170 | 160 | 170 | 210 | 180
TC6 | Trimble County 6 7 | Joint | 2002-05-14 | 20.1945 | 0.71 | 0.29 | 198.9 | 80 S 90 W |  |  |  | 179 | 169 | 159 | 169 | 180 | 170 | 160 | 170 | 210 | 180
TC7 | Trimble County 7 7 | Joint | 2004-06-01 | 18.1425 | 0.63 | 0.37 | 198.9 | 80 S 90 W |  |  |  | 179 | 169 | 159 | 169 | 180 | 170 | 160 | 170 | 210 | 180
TC8 | Trimble County 8 7 | Joint | 2004-06-01 | 18.1425 | 0.63 | 0.37 | 198.9 | 80 S 90 W |  |  |  | 179 | 169 | 159 | 169 | 180 | 170 | 160 | 170 | 210 | 180
TC9 | Trimble County 9 7 | Joint | 2004-07-01 | 18.0603 | 0.63 | 0.37 | 198.9 | 80 S 90 W |  |  |  | 179 | 169 | 159 | 169 | 180 | 170 | 160 | 170 | 210 | 180
TC10 | Trimble County 10 7 | Joint | 2004-07-01 | 18.0603 | 0.63 | 0.37 | 198.9 | 80 S 90 W |  |  |  | 179 | 169 | 159 | 169 | 180 | 170 | 160 | 170 | 210 | 180
OVEC | Total OVEC | [5 empty] | 194.2956 | 49.8369 |  |  |  | 178.1283 | 175.9739 | 173.8194 | 175.9739 | 197.6403 | 194.5916 | 191.5428 | 194.5916 |  | 179

## Misc. Unit Char
| Max Capacity Factor Year | Max Energy Month | Max Energy Year | Max Ramp Down | Max Ramp Up | Mean Time to Repair | Min Down Time | Min Provision | Min Up Time | Run Up Rate
Row Labels | % | GWh | GWh | MW/min | MW/min | h | h | MW | h | MW/min
Brown.10 | 20 |  |  |  |  | 24 | 0 |  | 2
Brown.11 | 20 |  |  |  |  | 24 | 0 |  | 2
Brown.3 |  |  |  | 6 | 6 |  | 168 |  | 120 | 1.167
Brown.5 | 20 |  |  |  |  | 24 | 0 |  | 2
Brown.6 | 20 |  |  |  |  | 24 | 0 |  | 2
Brown.7 | 20 |  |  |  |  | 24 | 0 |  | 2
Brown.8 | 20 |  |  |  |  | 24 | 0 |  | 2
Brown.9 | 20 |  |  |  |  | 24 | 0 |  | 2
Cane.Run.7.2X1 | [5 empty] | 24 | 0 |  | 4
CSR |  | 12.76 | 12.76
Ghent.1 |  |  |  | 7 | 7 |  | 24 |  | 24 | 0.7
Ghent.2 |  |  |  | 7 | 7 |  | 24 |  | 24 | 1.067
Ghent.3 |  |  |  | 7 | 7 |  | 24 |  | 24 | 1.05
Ghent.4 |  |  |  | 4 | 4 |  | 24 |  | 24 | 1.05
Haefling | [5 empty] | 24 | 0 |  | 4
Mill.Creek.1 |  |  |  | 3 | 3 |  | 24 |  | 24 | 0.633
Mill.Creek.2 |  |  |  | 3 | 3 |  | 24 |  | 24 | 0.633
Mill.Creek.3 |  |  |  | 6 | 6 |  | 24 |  | 24 | 0.55
Mill.Creek.4 |  |  |  | 6 | 6 |  | 24 |  | 24 | 0.683
Ohio.Falls | [8 empty] | 4
Paddys.Run.12 | [5 empty] | 24 | 0 |  | 4
Paddys.Run.13 | [5 empty] | 24 | 0 |  | 2
SpinningReserves | [7 empty] | 318
Trimble.10 | 20 |  |  |  |  | 24 | 0 |  | 2
Trimble.5 | 20 |  |  |  |  | 24 | 0 |  | 2
Trimble.6 | 20 |  |  |  |  | 24 | 0 |  | 2
Trimble.7 | 20 |  |  |  |  | 24 | 0 |  | 2
Trimble.8 | 20 |  |  |  |  | 24 | 0 |  | 2
Trimble.9 | 20 |  |  |  |  | 24 | 0 |  | 2
Trimble.County.1 |  |  |  | 5.25 | 5.25 |  | 24 |  | 24 | 0.533
Trimble.County.2 |  |  |  | 5.25 | 5.25 |  | 24 |  | 24 | 0.8

## CurtailableCustomers
CSR.KU (000068)
Units [2013] 1
TransArea KU
Utility KU
Plant CSR
StationGroup CSR
StationType =Energy.Limited
Commit 5
Dispatch 5
MinUp 4
MinDown 0
KUAccountingMin 0
StartCostAdder [2013] 900000 !Shadow cost to ensure commit/dispatch is after level 4 resources
CapacityMin 0.5
CapacityMax 112.5
EnergyY 11.25 !Limited to 100 hours of physical curtailment per year
EnergyM 11.25
CSR.LGE (000069)
Units [2013] 1
TransArea LGE
Utility LGE
Plant CSR
StationGroup CSR
StationType =Energy.Limited
Commit 5
Dispatch 5
MinUp 4
MinDown 0
KUAccountingMin 0
StartCostAdder [2013] 900000 !Shadow cost to ensure commit/dispatch is after level 4 resources
CapacityMin 1.1
CapacityMax 15.1
EnergyY 1.51 !Limited to 100 hours of physical curtailment per year
EnergyM 1.51
DLC (000070)
Units [ap] [m1] 0 [m6] 0 [m10] 0
Utility [v2] KU LGE
UtilityRatio [v2] 0.58 0.42
TransArea LGE
AnService1TA [v2] KU LGE
AnService1TAP [v2] 0.58 0.42
AnService2TA [v2] KU LGE
AnService2TAP [v2] 0.58 0.42
Plant DLC
StationGroup DLC
StationType =Energy.Limited
Commit 5
Dispatch 5
MinUp 4
MinDown 20
KUAccountingMin 0
StartCostAdder [2013] 1000000
CapacityMin 100
CapacityMax 100
EnergyY 8
EnergyM 8 !Limited to 20 times and each time 4 hours per year. 20*4*100/1000=8 GWh

## Retirement
| Generator Name | Retirement Date
Paddys Run:11¦9714
BR10 | E W Brown:10¦10363 | 2035-01-01
BR11 | E W Brown:11¦10364 | 2036-01-01
BR3 | E W Brown:3¦10366 | 2028-01-01
BR5 | E W Brown:5¦10367 | 2041-01-01
BR6 | E W Brown:6¦10368 | 2039-01-01
BR7 | E W Brown:7¦10369 | 2039-01-01
BR8 | E W Brown:8¦10370 | 2035-01-01
BR9 | E W Brown:9¦10371 | 2034-01-01
BRS | E.W. Brown Solar¦39599 | 2041-01-01
CR7 | Cane Run CC:1 | 2055-01-01
DIX | Dix Dam¦10359 | 2041-01-01
GH1 | Ghent:1¦10372 | 2034-01-01
GH2 | Ghent:2¦10373 | 2034-01-01
GH3 | Ghent:3¦10374 | 2037-01-01
GH4 | Ghent:4¦10375 | 2037-01-01
HF1 | Haefling:1¦10380 | 2025-01-01
HF2 | Haefling:2¦10381 | 2025-01-01
MC1 | Mill Creek:1¦9702 | 2024-12-31
MC2 | Mill Creek:2¦9703 | 2028-01-01
MC3 | Mill Creek:3¦9704 | 2039-01-01
MC4 | Mill Creek:4¦9705 | 2039-01-01
OF | Ohio Falls¦9706 | 2045-01-01
PR12 | Paddys Run:12¦9715 | 2025-01-01
PR13 | Paddys Run:13¦9716 | 2041-01-01
TC1 | Trimble County:1¦20233 | 2045-01-01
TC10 | Trimble County:10¦20233 | 2044-01-01
TC2 | Trimble County:2¦9720 | 2066-01-01
TC5 | Trimble County:5¦20233 | 2042-01-01
TC6 | Trimble County:6¦20233 | 2042-01-01
TC7 | Trimble County:7¦20233 | 2044-01-01
TC8 | Trimble County:8¦20233 | 2044-01-01
TC9 | Trimble County:9¦20233 | 2044-01-01

## PPA
Resource | Type | Start | End | Capacity (MW) | Price ($/MWh) | file
Solar Rhd 24 | Solar | 2024-01-01 | 2043-12-31 | 100 | 27.82 | see associated renewable profile file
Solar Rag 25 | Solar | 2025-01-01 | 2044-12-31 | 125 |  | see associated renewable profile file
OVEC |  | past | 2040-12-31 | See OVEC Tab

## OVEC
$/MWh | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Projected Energy Costs - $/MWhr
| Year | Month | Week | Total Capacity | OVEC Min | OVEC Max
2022-01-01 | 2022 | 1 | 1 | 158 | 50 | 108
2022-01-03 | 2022 | 1 | 2 | 158 | 50 | 108
2022-01-10 | 2022 | 1 | 3 | 158 | 50 | 108
2022-01-17 | 2022 | 1 | 4 | 158 | 50 | 108
2022-01-24 | 2022 | 1 | 5 | 158 | 50 | 108
2022-01-31 | 2022 | 1 | 6 | 158 | 50 | 108
2022-02-07 | 2022 | 2 | 7 | 158 | 50 | 108
2022-02-14 | 2022 | 2 | 8 | 158 | 50 | 108
2022-02-21 | 2022 | 2 | 9 | 158 | 50 | 108
2022-02-28 | 2022 | 2 | 10 | 158 | 50 | 108
2022-03-07 | 2022 | 3 | 11 | 158 | 50 | 108
2022-03-14 | 2022 | 3 | 12 | 158 | 50 | 108
2022-03-21 | 2022 | 3 | 13 | 158 | 50 | 108
2022-03-28 | 2022 | 3 | 14 | 158 | 50 | 108
2022-04-04 | 2022 | 4 | 15 | 142 | 50 | 92
2022-04-11 | 2022 | 4 | 16 | 128 | 50 | 78
2022-04-18 | 2022 | 4 | 17 | 99 | 50 | 49
2022-04-25 | 2022 | 4 | 18 | 99 | 50 | 49
2022-05-02 | 2022 | 5 | 19 | 99 | 50 | 49
2022-05-09 | 2022 | 5 | 20 | 70 | 50 | 20
2022-05-16 | 2022 | 5 | 21 | 70 | 50 | 20
2022-05-23 | 2022 | 5 | 22 | 70 | 50 | 20
2022-05-30 | 2022 | 5 | 23 | 99 | 50 | 49
2022-06-06 | 2022 | 6 | 24 | 97 | 50 | 47
2022-06-13 | 2022 | 6 | 25 | 140 | 50 | 90
2022-06-20 | 2022 | 6 | 26 | 154 | 50 | 104
2022-06-27 | 2022 | 6 | 27 | 154 | 50 | 104
2022-07-04 | 2022 | 7 | 28 | 152 | 50 | 102
2022-07-11 | 2022 | 7 | 29 | 152 | 50 | 102
2022-07-18 | 2022 | 7 | 30 | 152 | 50 | 102
2022-07-25 | 2022 | 7 | 31 | 152 | 50 | 102
2022-08-01 | 2022 | 8 | 32 | 152 | 50 | 102
2022-08-08 | 2022 | 8 | 33 | 152 | 50 | 102
2022-08-15 | 2022 | 8 | 34 | 152 | 50 | 102
2022-08-22 | 2022 | 8 | 35 | 152 | 50 | 102
2022-08-29 | 2022 | 8 | 36 | 152 | 50 | 102
2022-09-05 | 2022 | 9 | 37 | 153 | 50 | 103
2022-09-12 | 2022 | 9 | 38 | 139 | 50 | 89
2022-09-19 | 2022 | 9 | 39 | 82 | 50 | 32
2022-09-26 | 2022 | 9 | 40 | 82 | 50 | 32
2022-10-03 | 2022 | 10 | 41 | 84 | 50 | 34
2022-10-10 | 2022 | 10 | 42 | 112 | 50 | 62
2022-10-17 | 2022 | 10 | 43 | 141 | 50 | 91
2022-10-24 | 2022 | 10 | 44 | 141 | 50 | 91
2022-10-31 | 2022 | 10 | 45 | 141 | 50 | 91
2022-11-07 | 2022 | 11 | 46 | 142 | 50 | 92
2022-11-14 | 2022 | 11 | 47 | 142 | 50 | 92
2022-11-21 | 2022 | 11 | 48 | 157 | 50 | 107
2022-11-28 | 2022 | 11 | 49 | 157 | 50 | 107
2022-12-05 | 2022 | 12 | 50 | 158 | 50 | 108
2022-12-12 | 2022 | 12 | 51 | 158 | 50 | 108
2022-12-19 | 2022 | 12 | 52 | 158 | 50 | 108
2022-12-26 | 2022 | 12 | 53 | 158 | 50 | 108
2023-01-02 | 2023 | 1 | 1 | 158 | 50 | 108
2023-01-09 | 2023 | 1 | 2 | 158 | 50 | 108
2023-01-16 | 2023 | 1 | 3 | 158 | 50 | 108
2023-01-23 | 2023 | 1 | 4 | 158 | 50 | 108
2023-01-30 | 2023 | 1 | 5 | 158 | 50 | 108
2023-02-06 | 2023 | 2 | 6 | 158 | 50 | 108
2023-02-13 | 2023 | 2 | 7 | 158 | 50 | 108
2023-02-20 | 2023 | 2 | 8 | 158 | 50 | 108
2023-02-27 | 2023 | 2 | 9 | 158 | 50 | 108
2023-03-06 | 2023 | 3 | 10 | 158 | 50 | 108
2023-03-13 | 2023 | 3 | 11 | 158 | 50 | 108
2023-03-20 | 2023 | 3 | 12 | 158 | 50 | 108
2023-03-27 | 2023 | 3 | 13 | 158 | 50 | 108
2023-04-03 | 2023 | 4 | 14 | 157 | 50 | 107
2023-04-10 | 2023 | 4 | 15 | 142 | 50 | 92
2023-04-17 | 2023 | 4 | 16 | 142 | 50 | 92
2023-04-24 | 2023 | 4 | 17 | 113 | 50 | 63
2023-05-01 | 2023 | 5 | 18 | 84 | 50 | 34
2023-05-08 | 2023 | 5 | 19 | 84 | 50 | 34
2023-05-15 | 2023 | 5 | 20 | 84 | 50 | 34
2023-05-22 | 2023 | 5 | 21 | 84 | 50 | 34
2023-05-29 | 2023 | 5 | 22 | 127 | 50 | 77
2023-06-05 | 2023 | 6 | 23 | 126 | 50 | 76
2023-06-12 | 2023 | 6 | 24 | 154 | 50 | 104
2023-06-19 | 2023 | 6 | 25 | 154 | 50 | 104
2023-06-26 | 2023 | 6 | 26 | 154 | 50 | 104
2023-07-03 | 2023 | 7 | 27 | 152 | 50 | 102
2023-07-10 | 2023 | 7 | 28 | 152 | 50 | 102
2023-07-17 | 2023 | 7 | 29 | 152 | 50 | 102
2023-07-24 | 2023 | 7 | 30 | 152 | 50 | 102
2023-07-31 | 2023 | 7 | 31 | 152 | 50 | 102
2023-08-07 | 2023 | 8 | 32 | 152 | 50 | 102
2023-08-14 | 2023 | 8 | 33 | 152 | 50 | 102
2023-08-21 | 2023 | 8 | 34 | 152 | 50 | 102
2023-08-28 | 2023 | 8 | 35 | 152 | 50 | 102
2023-09-04 | 2023 | 9 | 36 | 153 | 50 | 103
2023-09-11 | 2023 | 9 | 37 | 125 | 50 | 75
2023-09-18 | 2023 | 9 | 38 | 125 | 50 | 75
2023-09-25 | 2023 | 9 | 39 | 68 | 50 | 18
2023-10-02 | 2023 | 10 | 40 | 70 | 50 | 20
2023-10-09 | 2023 | 10 | 41 | 70 | 50 | 20
2023-10-16 | 2023 | 10 | 42 | 70 | 50 | 20
2023-10-23 | 2023 | 10 | 43 | 84 | 50 | 34
2023-10-30 | 2023 | 10 | 44 | 141 | 50 | 91
2023-11-06 | 2023 | 11 | 45 | 142 | 50 | 92
2023-11-13 | 2023 | 11 | 46 | 157 | 50 | 107
2023-11-20 | 2023 | 11 | 47 | 157 | 50 | 107
2023-11-27 | 2023 | 11 | 48 | 157 | 50 | 107
2023-12-04 | 2023 | 12 | 49 | 158 | 50 | 108
2023-12-11 | 2023 | 12 | 50 | 158 | 50 | 108
2023-12-18 | 2023 | 12 | 51 | 158 | 50 | 108
2023-12-25 | 2023 | 12 | 52 | 158 | 50 | 108
2024-01-01 | 2024 | 1 | 1 | 158 | 50 | 108
2024-01-08 | 2024 | 1 | 2 | 158 | 50 | 108
2024-01-15 | 2024 | 1 | 3 | 158 | 50 | 108
2024-01-22 | 2024 | 1 | 4 | 158 | 50 | 108
2024-01-29 | 2024 | 1 | 5 | 158 | 50 | 108
2024-02-05 | 2024 | 2 | 6 | 158 | 50 | 108
2024-02-12 | 2024 | 2 | 7 | 158 | 50 | 108
2024-02-19 | 2024 | 2 | 8 | 158 | 50 | 108
2024-02-26 | 2024 | 2 | 9 | 158 | 50 | 108
2024-03-04 | 2024 | 3 | 10 | 158 | 50 | 108
2024-03-11 | 2024 | 3 | 11 | 158 | 50 | 108
2024-03-18 | 2024 | 3 | 12 | 143 | 50 | 93
2024-03-25 | 2024 | 3 | 13 | 129 | 50 | 79
2024-04-01 | 2024 | 4 | 14 | 128 | 50 | 78
2024-04-08 | 2024 | 4 | 15 | 128 | 50 | 78
2024-04-15 | 2024 | 4 | 16 | 128 | 50 | 78
2024-04-22 | 2024 | 4 | 17 | 99 | 50 | 49
2024-04-29 | 2024 | 4 | 18 | 70 | 50 | 20
2024-05-06 | 2024 | 5 | 19 | 70 | 50 | 20
2024-05-13 | 2024 | 5 | 20 | 70 | 50 | 20
2024-05-20 | 2024 | 5 | 21 | 70 | 50 | 20
2024-05-27 | 2024 | 5 | 22 | 70 | 50 | 20
2024-06-03 | 2024 | 6 | 23 | 97 | 50 | 47
2024-06-10 | 2024 | 6 | 24 | 112 | 50 | 62
2024-06-17 | 2024 | 6 | 25 | 154 | 50 | 104
2024-06-24 | 2024 | 6 | 26 | 154 | 50 | 104
2024-07-01 | 2024 | 7 | 27 | 152 | 50 | 102
2024-07-08 | 2024 | 7 | 28 | 152 | 50 | 102
2024-07-15 | 2024 | 7 | 29 | 152 | 50 | 102
2024-07-22 | 2024 | 7 | 30 | 152 | 50 | 102
2024-07-29 | 2024 | 7 | 31 | 152 | 50 | 102
2024-08-05 | 2024 | 8 | 32 | 152 | 50 | 102
2024-08-12 | 2024 | 8 | 33 | 152 | 50 | 102
2024-08-19 | 2024 | 8 | 34 | 152 | 50 | 102
2024-08-26 | 2024 | 8 | 35 | 152 | 50 | 102
2024-09-02 | 2024 | 9 | 36 | 139 | 50 | 89
2024-09-09 | 2024 | 9 | 37 | 82 | 50 | 32
2024-09-16 | 2024 | 9 | 38 | 82 | 50 | 32
2024-09-23 | 2024 | 9 | 39 | 82 | 50 | 32
2024-09-30 | 2024 | 9 | 40 | 82 | 50 | 32
2024-10-07 | 2024 | 10 | 41 | 84 | 50 | 34
2024-10-14 | 2024 | 10 | 42 | 141 | 50 | 91
2024-10-21 | 2024 | 10 | 43 | 156 | 50 | 106
2024-10-28 | 2024 | 10 | 44 | 156 | 50 | 106
2024-11-04 | 2024 | 11 | 45 | 157 | 50 | 107
2024-11-11 | 2024 | 11 | 46 | 157 | 50 | 107
2024-11-18 | 2024 | 11 | 47 | 157 | 50 | 107
2024-11-25 | 2024 | 11 | 48 | 157 | 50 | 107
2024-12-02 | 2024 | 12 | 49 | 158 | 50 | 108
2024-12-09 | 2024 | 12 | 50 | 158 | 50 | 108
2024-12-16 | 2024 | 12 | 51 | 158 | 50 | 108
2024-12-23 | 2024 | 12 | 52 | 158 | 50 | 108
2024-12-30 | 2024 | 12 | 53 | 158 | 50 | 108
2025-01-06 | 2025 | 1 | 1 | 158 | 50 | 108
2025-01-13 | 2025 | 1 | 2 | 158 | 50 | 108
2025-01-20 | 2025 | 1 | 3 | 158 | 50 | 108
2025-01-27 | 2025 | 1 | 4 | 158 | 50 | 108
2025-02-03 | 2025 | 2 | 5 | 158 | 50 | 108
2025-02-10 | 2025 | 2 | 6 | 158 | 50 | 108
2025-02-17 | 2025 | 2 | 7 | 158 | 50 | 108
2025-02-24 | 2025 | 2 | 8 | 158 | 50 | 108
2025-03-03 | 2025 | 3 | 9 | 158 | 50 | 108
2025-03-10 | 2025 | 3 | 10 | 158 | 50 | 108
2025-03-17 | 2025 | 3 | 11 | 158 | 50 | 108
2025-03-24 | 2025 | 3 | 12 | 158 | 50 | 108
2025-03-31 | 2025 | 3 | 13 | 158 | 50 | 108
2025-04-07 | 2025 | 4 | 14 | 128 | 50 | 78
2025-04-14 | 2025 | 4 | 15 | 113 | 50 | 63
2025-04-21 | 2025 | 4 | 16 | 99 | 50 | 49
2025-04-28 | 2025 | 4 | 17 | 99 | 50 | 49
2025-05-05 | 2025 | 5 | 18 | 84 | 50 | 34
2025-05-12 | 2025 | 5 | 19 | 84 | 50 | 34
2025-05-19 | 2025 | 5 | 20 | 84 | 50 | 34
2025-05-26 | 2025 | 5 | 21 | 84 | 50 | 34
2025-06-02 | 2025 | 6 | 22 | 111 | 50 | 61
2025-06-09 | 2025 | 6 | 23 | 140 | 50 | 90
2025-06-16 | 2025 | 6 | 24 | 154 | 50 | 104
2025-06-23 | 2025 | 6 | 25 | 154 | 50 | 104
2025-06-30 | 2025 | 6 | 26 | 154 | 50 | 104
2025-07-07 | 2025 | 7 | 27 | 152 | 50 | 102
2025-07-14 | 2025 | 7 | 28 | 152 | 50 | 102
2025-07-21 | 2025 | 7 | 29 | 152 | 50 | 102
2025-07-28 | 2025 | 7 | 30 | 152 | 50 | 102
2025-08-04 | 2025 | 8 | 31 | 152 | 50 | 102
2025-08-11 | 2025 | 8 | 32 | 152 | 50 | 102
2025-08-18 | 2025 | 8 | 33 | 152 | 50 | 102
2025-08-25 | 2025 | 8 | 34 | 152 | 50 | 102
2025-09-01 | 2025 | 9 | 35 | 153 | 50 | 103
2025-09-08 | 2025 | 9 | 36 | 97 | 50 | 47
2025-09-15 | 2025 | 9 | 37 | 97 | 50 | 47
2025-09-22 | 2025 | 9 | 38 | 97 | 50 | 47
2025-09-29 | 2025 | 9 | 39 | 83 | 50 | 33
2025-10-06 | 2025 | 10 | 40 | 112 | 50 | 62
2025-10-13 | 2025 | 10 | 41 | 112 | 50 | 62
2025-10-20 | 2025 | 10 | 42 | 112 | 50 | 62
2025-10-27 | 2025 | 10 | 43 | 112 | 50 | 62
2025-11-03 | 2025 | 11 | 44 | 128 | 50 | 78
2025-11-10 | 2025 | 11 | 45 | 128 | 50 | 78
2025-11-17 | 2025 | 11 | 46 | 128 | 50 | 78
2025-11-24 | 2025 | 11 | 47 | 157 | 50 | 107
2025-12-01 | 2025 | 12 | 48 | 158 | 50 | 108
2025-12-08 | 2025 | 12 | 49 | 158 | 50 | 108
2025-12-15 | 2025 | 12 | 50 | 158 | 50 | 108
2025-12-22 | 2025 | 12 | 51 | 158 | 50 | 108
2025-12-29 | 2025 | 12 | 52 | 158 | 50 | 108
2026-01-05 | 2026 | 1 | 1 | 158 | 50 | 108
2026-01-12 | 2026 | 1 | 2 | 158 | 50 | 108
2026-01-19 | 2026 | 1 | 3 | 158 | 50 | 108
2026-01-26 | 2026 | 1 | 4 | 158 | 50 | 108
2026-02-02 | 2026 | 2 | 5 | 158 | 50 | 108
2026-02-09 | 2026 | 2 | 6 | 158 | 50 | 108
2026-02-16 | 2026 | 2 | 7 | 158 | 50 | 108
2026-02-23 | 2026 | 2 | 8 | 158 | 50 | 108
2026-03-02 | 2026 | 3 | 9 | 158 | 50 | 108
2026-03-09 | 2026 | 3 | 10 | 158 | 50 | 108
2026-03-16 | 2026 | 3 | 11 | 158 | 50 | 108
2026-03-23 | 2026 | 3 | 12 | 143 | 50 | 93
2026-03-30 | 2026 | 3 | 13 | 143 | 50 | 93
2026-04-06 | 2026 | 4 | 14 | 142 | 50 | 92
2026-04-13 | 2026 | 4 | 15 | 128 | 50 | 78
2026-04-20 | 2026 | 4 | 16 | 99 | 50 | 49
2026-04-27 | 2026 | 4 | 17 | 99 | 50 | 49
2026-05-04 | 2026 | 5 | 18 | 70 | 50 | 20
2026-05-11 | 2026 | 5 | 19 | 70 | 50 | 20
2026-05-18 | 2026 | 5 | 20 | 70 | 50 | 20
2026-05-25 | 2026 | 5 | 21 | 54 | 50 | 4
2026-06-01 | 2026 | 6 | 22 | 97 | 50 | 47
2026-06-08 | 2026 | 6 | 23 | 97 | 50 | 47
2026-06-15 | 2026 | 6 | 24 | 154 | 50 | 104
2026-06-22 | 2026 | 6 | 25 | 154 | 50 | 104
2026-06-29 | 2026 | 6 | 26 | 154 | 50 | 104
2026-07-06 | 2026 | 7 | 27 | 152 | 50 | 102
2026-07-13 | 2026 | 7 | 28 | 152 | 50 | 102
2026-07-20 | 2026 | 7 | 29 | 152 | 50 | 102
2026-07-27 | 2026 | 7 | 30 | 152 | 50 | 102
2026-08-03 | 2026 | 8 | 31 | 152 | 50 | 102
2026-08-10 | 2026 | 8 | 32 | 152 | 50 | 102
2026-08-17 | 2026 | 8 | 33 | 152 | 50 | 102
2026-08-24 | 2026 | 8 | 34 | 152 | 50 | 102
2026-08-31 | 2026 | 8 | 35 | 152 | 50 | 102
2026-09-07 | 2026 | 9 | 36 | 153 | 50 | 103
2026-09-14 | 2026 | 9 | 37 | 111 | 50 | 61
2026-09-21 | 2026 | 9 | 38 | 82 | 50 | 32
2026-09-28 | 2026 | 9 | 39 | 82 | 50 | 32
2026-10-05 | 2026 | 10 | 40 | 84 | 50 | 34
2026-10-12 | 2026 | 10 | 41 | 112 | 50 | 62
2026-10-19 | 2026 | 10 | 42 | 141 | 50 | 91
2026-10-26 | 2026 | 10 | 43 | 141 | 50 | 91
2026-11-02 | 2026 | 11 | 44 | 142 | 50 | 92
2026-11-09 | 2026 | 11 | 45 | 142 | 50 | 92
2026-11-16 | 2026 | 11 | 46 | 142 | 50 | 92
2026-11-23 | 2026 | 11 | 47 | 157 | 50 | 107
2026-11-30 | 2026 | 11 | 48 | 157 | 50 | 107
2026-12-07 | 2026 | 12 | 49 | 158 | 50 | 108
2026-12-14 | 2026 | 12 | 50 | 158 | 50 | 108
2026-12-21 | 2026 | 12 | 51 | 158 | 50 | 108
2026-12-28 | 2026 | 12 | 52 | 158 | 50 | 108
2027-01-04 | 2027 | 1 | 1 | 158 | 50 | 108
2027-01-11 | 2027 | 1 | 2 | 158 | 50 | 108
2027-01-18 | 2027 | 1 | 3 | 158 | 50 | 108
2027-01-25 | 2027 | 1 | 4 | 158 | 50 | 108
2027-02-01 | 2027 | 2 | 5 | 158 | 50 | 108
2027-02-08 | 2027 | 2 | 6 | 158 | 50 | 108
2027-02-15 | 2027 | 2 | 7 | 158 | 50 | 108
2027-02-22 | 2027 | 2 | 8 | 158 | 50 | 108
2027-03-01 | 2027 | 3 | 9 | 158 | 50 | 108
2027-03-08 | 2027 | 3 | 10 | 158 | 50 | 108
2027-03-15 | 2027 | 3 | 11 | 158 | 50 | 108
2027-03-22 | 2027 | 3 | 12 | 158 | 50 | 108
2027-03-29 | 2027 | 3 | 13 | 128 | 50 | 78
2027-04-05 | 2027 | 4 | 14 | 128 | 50 | 78
2027-04-12 | 2027 | 4 | 15 | 113 | 50 | 63
2027-04-19 | 2027 | 4 | 16 | 99 | 50 | 49
2027-04-26 | 2027 | 4 | 17 | 84 | 50 | 34
2027-05-03 | 2027 | 5 | 18 | 113 | 50 | 63
2027-05-10 | 2027 | 5 | 19 | 113 | 50 | 63
2027-05-17 | 2027 | 5 | 20 | 113 | 50 | 63
2027-05-24 | 2027 | 5 | 21 | 113 | 50 | 63
2027-05-31 | 2027 | 5 | 22 | 127 | 50 | 77
2027-06-07 | 2027 | 6 | 23 | 126 | 50 | 76
2027-06-14 | 2027 | 6 | 24 | 126 | 50 | 76
2027-06-21 | 2027 | 6 | 25 | 154 | 50 | 104
2027-06-28 | 2027 | 6 | 26 | 154 | 50 | 104
2027-07-05 | 2027 | 7 | 27 | 152 | 50 | 102
2027-07-12 | 2027 | 7 | 28 | 152 | 50 | 102
2027-07-19 | 2027 | 7 | 29 | 152 | 50 | 102
2027-07-26 | 2027 | 7 | 30 | 152 | 50 | 102
2027-08-02 | 2027 | 8 | 31 | 152 | 50 | 102
2027-08-09 | 2027 | 8 | 32 | 152 | 50 | 102
2027-08-16 | 2027 | 8 | 33 | 152 | 50 | 102
2027-08-23 | 2027 | 8 | 34 | 152 | 50 | 102
2027-08-30 | 2027 | 8 | 35 | 152 | 50 | 102
2027-09-06 | 2027 | 9 | 36 | 153 | 50 | 103
2027-09-13 | 2027 | 9 | 37 | 97 | 50 | 47
2027-09-20 | 2027 | 9 | 38 | 97 | 50 | 47
2027-09-27 | 2027 | 9 | 39 | 68 | 50 | 18
2027-10-04 | 2027 | 10 | 40 | 70 | 50 | 20
2027-10-11 | 2027 | 10 | 41 | 112 | 50 | 62
2027-10-18 | 2027 | 10 | 42 | 112 | 50 | 62
2027-10-25 | 2027 | 10 | 43 | 112 | 50 | 62
2027-11-01 | 2027 | 11 | 44 | 142 | 50 | 92
2027-11-08 | 2027 | 11 | 45 | 142 | 50 | 92
2027-11-15 | 2027 | 11 | 46 | 142 | 50 | 92
2027-11-22 | 2027 | 11 | 47 | 142 | 50 | 92
2027-11-29 | 2027 | 11 | 48 | 157 | 50 | 107
2027-12-06 | 2027 | 12 | 49 | 158 | 50 | 108
2027-12-13 | 2027 | 12 | 50 | 158 | 50 | 108
2027-12-20 | 2027 | 12 | 51 | 158 | 50 | 108
2027-12-27 | 2027 | 12 | 52 | 158 | 50 | 108
2028-01-03 | 2028 | 1 | 1 | 158 | 50 | 108

## LKE_HeatRate
|  |  |  | Summer Net I/O Coefficients June-August |  |  |  |  | Winter Net I/O Coefficients December-February |  |  |  |  | Spring/Fall Net I/O Coefficients September-November; March-May
| Unit Name | Unit ID | Type | MAX MW | HR | a2 | a1 | a0 | MAX MW |  | a2 | a1 | a0 | MAX MW |  | a2 | a1 | a0
| Brown 3 | BR3 | Coal | 412 | 10.9907 | 0.0044324 | 7.8172 | 555.0818 | 416 | 11.0946 | 0.0041798 | 7.9878 | 569.0785 | 414 | 11.0429 | 0.0043061 | 7.9025 | 562.0802
| Ghent 1 | GH1 | Coal | 475 | 10.4805 | 0.0031898 | 7.2617 | 809.2251 | 479 | 10.5629 | 0.0033556 | 7.219 | 831.8063 | 477 | 10.5216 | 0.0032727 | 7.2403 | 820.5157
| Ghent 2 | GH2 | Coal | 485 | 10.2995 | 0.0017291 | 8.5188 | 456.8861 | 486 | 10.6181 | 0.0044709 | 6.9481 | 727.6267 | 485.5 | 10.4584 | 0.0031 | 7.7334 | 592.2564
| Ghent 3 | GH3 | Coal | 481 | 10.4539 | 0.0060544 | 5.4285 | 1016.473 | 476 | 10.4845 | 0.008079 | 4.1241 | 1197.0178 | 478.5 | 10.4707 | 0.0070667 | 4.7763 | 1106.7454
| Ghent 4 | GH4 | Coal | 478 | 10.5182 | 0.0030101 | 7.745 | 637.8249 | 478 | 10.6122 | 0.0048707 | 6.7059 | 754.3301 | 478 | 10.5652 | 0.0039404 | 7.2254 | 696.0775
| Mill Creek 1 | MC1 | Coal | 300 | 10.3889 | 0.0061141 | 7.2661 | 386.556 | 300 | 10.5033 | 0.0048453 | 7.8874 | 348.6897 | 300 | 10.4461 | 0.0054797 | 7.5768 | 367.6229
| Mill Creek 2 | MC2 | Coal | 297 | 10.4229 | 0.0035747 | 8.3662 | 295.4982 | 297 | 10.5666 | 0.0051856 | 7.9134 | 330.5965 | 297 | 10.4948 | 0.0043801 | 8.1398 | 313.0473
| Mill Creek 3 | MC3 | Coal | 391 | 10.4658 | 0.0047732 | 7.1182 | 579.1866 | 394 | 10.6607 | 0.0052905 | 7.1569 | 559.2286 | 392.5 | 10.5627 | 0.0050319 | 7.1375 | 569.2076
| Mill Creek 4 | MC4 | Coal | 477 | 10.3811 | 0.0048923 | 6.3758 | 797.385 | 486 | 10.2832 | 0.0029149 | 7.7485 | 543.4151 | 481.5 | 10.334 | 0.0039036 | 7.0621 | 670.4
| Trimble Co 1 | TC1 | Coal | 369.75 | 10.3573 | 0.0053696 | 7.2091 | 429.9504 | 369.75 | 10.354 | 0.0050244 | 7.2792 | 450 | 369.75 | 10.3557 | 0.005197 | 7.2442 | 439.9752
| Trimble Co 2 | TC2 | Coal | 549 | 9.2596 | 0.0040142 | 5.6277 | 784.0419 | 570 | 9.2539 | 0.0026471 | 6.6553 | 621.1709 | 559.5 | 9.2608 | 0.0033306 | 6.1415 | 702.6064
| Brown 5 | BR5 | CT | 130 | 12.1191 | 0.025028 | 5.1963 | 476.9862 | 130 | 11.9032 | 0.019811 | 4.9888 | 564.0589 | 120 | 12.1206 | 0.02242 | 5.0925 | 520.5225
| Brown 6 | BR6 | CT | 146 | 10.8963 | 0.020268 | 3.3035 | 676.5291 | 171 | 10.4147 | 0.01676 | 3.1466 | 752.7575 | 157 | 10.6836 | 0.018514 | 3.2251 | 714.6433
| Brown 7 | BR7 | CT | 146 | 10.8963 | 0.020268 | 3.3035 | 676.5291 | 171 | 10.4147 | 0.01676 | 3.1466 | 752.7575 | 157 | 10.6836 | 0.018514 | 3.2251 | 714.6433
| Brown 8 | BR8 | CT | 121 | 12.4888 | 0.0094564 | 8.3217 | 365.7732 | 128 | 11.9851 | 0.006645 | 7.6345 | 448.0051 | 118 | 12.3763 | 0.0080507 | 7.9781 | 406.8891
| Brown 9 | BR9 | CT | 121 | 12.4888 | 0.0094564 | 8.3217 | 365.7732 | 138 | 11.7979 | 0.006645 | 7.6345 | 448.0051 | 118 | 12.3763 | 0.0080507 | 7.9781 | 406.8891
| Brown 10 | BR10 | CT | 121 | 12.4888 | 0.0094564 | 8.3217 | 365.7732 | 138 | 11.7979 | 0.006645 | 7.6345 | 448.0051 | 118 | 12.3763 | 0.0080507 | 7.9781 | 406.8891
| Brown 11 | BR11 | CT | 121 | 12.4888 | 0.0094564 | 8.3217 | 365.7732 | 128 | 11.9851 | 0.006645 | 7.6345 | 448.0051 | 118 | 12.3763 | 0.0080507 | 7.9781 | 406.8891
| Brown 5 ICE | BR5 ICE | CT | #N/A | #N/A | 0.024328 | 4.95 | 517.186 | #N/A | #N/A | 0.024328 | 4.95 | 517.186 | #N/A | #N/A | 0.024328 | 4.95 | 517.186
| Brown 8 ICE | BR8 ICE | CT | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488
| Brown 9 ICE | BR9 ICE | CT | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488
| Brown 10 ICE | BR10 ICE | CT | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488
| Brown 11 ICE | BR11 ICE | CT | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488 | #N/A | #N/A | 0.0060164 | 7.8574 | 408.5488
| Paddys Run 13 | PR13 | CT | 147 | 10.6942 | 0.0039422 | 7.1058 | 442.3079 | 175 | 10.2167 | 0.003051 | 6.7288 | 516.943 | 161 | 10.4593 | 0.0034966 | 6.9173 | 479.6255
| Trimble Co 5 | TC5 | CT | 159 | 10.7735 | 0.020731 | 2.7411 | 753.0348 | 179 | 10.3331 | 0.015835 | 2.6282 | 871.7889 | 169 | 10.5817 | 0.018283 | 2.6847 | 812.4118
| Trimble Co 6 | TC6 | CT | 159 | 10.7735 | 0.020731 | 2.7411 | 753.0348 | 179 | 10.3331 | 0.015835 | 2.6282 | 871.7889 | 169 | 10.5817 | 0.018283 | 2.6847 | 812.4118
| Trimble Co 7 | TC7 | CT | 159 | 10.7735 | 0.020731 | 2.7411 | 753.0348 | 179 | 10.3331 | 0.015835 | 2.6282 | 871.7889 | 169 | 10.5817 | 0.018283 | 2.6847 | 812.4118
| Trimble Co 8 | TC8 | CT | 159 | 10.7735 | 0.020731 | 2.7411 | 753.0348 | 179 | 10.3331 | 0.015835 | 2.6282 | 871.7889 | 169 | 10.5817 | 0.018283 | 2.6847 | 812.4118
| Trimble Co 9 | TC9 | CT | 159 | 10.7735 | 0.020731 | 2.7411 | 753.0348 | 179 | 10.3331 | 0.015835 | 2.6282 | 871.7889 | 169 | 10.5817 | 0.018283 | 2.6847 | 812.4118
| Trimble Co 10 | TC10 | CT | 159 | 10.7735 | 0.020731 | 2.7411 | 753.0348 | 179 | 10.3331 | 0.015835 | 2.6282 | 871.7889 | 169 | 10.5817 | 0.018283 | 2.6847 | 812.4118
Before May 2024 | Cane Run 7 2x1 | CR7 (current) | NGCC | 662 | 6.7214 | 0.0010564 | 4.4717 | 1026.3315 | 683 | 6.6831 | 0.0020536 | 3.4122 | 1276.0657 | 691 | 6.6825 | 0.001555 | 3.942 | 1151.1986
Beginning May 2024 | Cane Run 7 2x1 | CR7 | NGCC | 691 | 6.5534 | 0.00059518 | 4.6918 | 1002.1479 | 691 | 6.4912 | 0.0010511 | 4.187 | 1090.2897 | 691 | 691 | 0.00082313 | 4.4394 | 1046.2188
| Haefling 1 | HF1 | Sec CT | 12 | 17.765 | 0 | 17.765 | 0 | 13.6667 | 17.765 | 0 | 17.765 | 0 | 12.8333 | 17.765 | 0 | 17.765 | 0
| Haefling 2 | HF2 | Sec CT | 12 | 17.765 | 0 | 17.765 | 0 | 13.6667 | 17.765 | 0 | 17.765 | 0 | 12.8333 | 17.765 | 0 | 17.765 | 0
| Paddys Run 12 | PR12 | Sec CT | 23 | 17.692 | 0 | 17.692 | 0 | 28 | 17.692 | 0 | 17.692 | 0 | 25.5 | 17.692 | 0 | 17.692 | 0

## NOx
| Unit | Modeled NOx Emission Rates (lb/MMBtu)
|  | SCR Offline | SCR Online Ozone Season | SCR Online Non-Ozone Season
BR3 | Brown 3 | N/A | 0.04 | 0.04
GH1 | Ghent 1 | 0.35 | 0.059 | 0.09
GH2 | Ghent 2 | 0.3 | 0.3 | 0.3
GH3 | Ghent 3 | 0.35 | 0.056 | 0.09
GH4 | Ghent 4 | 0.35 | 0.053 | 0.09
MC1 | Mill Creek 1 | 0.29 | 0.29 | 0.29
MC2 | Mill Creek 2 | 0.29 | 0.29 | 0.29
MC3 | Mill Creek 3 | 0.31 | 0.054 | 0.09
MC4 | Mill Creek 4 | 0.31 | 0.055 | 0.09
TC1 | Trimble 1 | 0.3 | 0.059 | 0.1
TC2 | Trimble 2 | N/A | 0.04 | 0.04
BR5 |  |  | 0.067 | 0.067
BR6 |  |  | 0.067 | 0.067
BR7 |  |  | 0.067 | 0.067
BR8 |  |  | 0.137 | 0.137
BR9 |  |  | 0.137 | 0.137
BR10 |  |  | 0.135 | 0.135
BR11 |  |  | 0.137 | 0.137
HF1 |  |  | 0.44 | 0.44
HF2 |  |  | 0.44 | 0.44
CR11 |  |  | 0.44 | 0.44
PR12 |  |  | 0.44 | 0.44
TC5 |  |  | 0.029 | 0.029
TC6 |  |  | 0.029 | 0.029
TC7 |  |  | 0.029 | 0.029
TC8 |  |  | 0.029 | 0.029
TC9 |  |  | 0.029 | 0.029
TC10 |  |  | 0.029 | 0.029
CR7 |  |  | 0.026 | 0.026
PR13 |  |  | 0.078 | 0.078

## SO2
SO2 Emmissions By Unit By Year (lb/MMBtu)
| SO2 Removal Rates |  |  | Fuel | Unit | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
BR3 | Brown 3 | 98.7% |  | BROWN HS | Brown 3 | 0 | 0 | 0 | 0 | 0 | 0
GH1 | Ghent 1 | 98.8% |  | GHENT HS | Ghent 1 | 0 | 0 | 0 | 0 | 0 | 0
GH2 | Ghent 2 | 91.2% |  | GHENT HS | Ghent 2 | 0 | 0 | 0 | 0 | 0 | 0
GH3 | Ghent 3 | 98.3% |  | GHENT HS | Ghent 3 | 0 | 0 | 0 | 0 | 0 | 0
GH4 | MILL CREEK | 98% |  | GHENT HS | MILL CREEK | 0 | 0 | 0 | 0 | 0 | 0
MC1 | MILL CREEK | 98.9% |  | MILL CREEK | MILL CREEK | 0 | 0 | 0 | 0 | 0 | 0
MC2 | MILL CREEK | 98.9% |  | MILL CREEK | MILL CREEK | 0 | 0 | 0 | 0 | 0 | 0
MC3 | MILL CREEK | 99.1% |  | MILL CREEK | MILL CREEK | 0 | 0 | 0 | 0 | 0 | 0
MC4 | Mill Creek 4 | 98.5% |  | MILL CREEK | Mill Creek 4 | 0 | 0 | 0 | 0 | 0 | 0
TC1 | Trimble 1 | 97.3% |  | TRIMBLE CO | Trimble 1 | 0 | 0 | 0 | 0 | 0 | 0
TC2 | Trimble 2 | 98.3% |  | TRIMBLE CO | Trimble 2 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0.72 | TRIMBLE CO | Trimble 2 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0.28 | TRIMBLE PRB | Trimble 2 | 0 | 0 | 0 | 0 | 0 | 0

## CO2
Fuel | CO2 Em Rates (lb/MMBTU)
Coal | 205.2
Gas | 119

## Coal_5YR
|  |  | Contractual |  |  |  | Expected
Lookup | YEAR | STATION | BTU | SO2 | #Ash | #Mst | BTU | SO2 | #Ash | #Mst
2022BROWN HS | 2022 | BROWN HS
2022GHENT HS | 2022 | GHENT HS
2022TRIMBLE CO | 2022 | TRIMBLE CO
2022TRIMBLE PRB | 2022 | TRIMBLE PRB
2022MILL CREEK | 2022 | MILL CREEK
2023BROWN HS | 2023 | BROWN HS
2023GHENT HS | 2023 | GHENT HS
2023TRIMBLE CO | 2023 | TRIMBLE CO
2023TRIMBLE PRB | 2023 | TRIMBLE PRB
2023MILL CREEK | 2023 | MILL CREEK
2024BROWN HS | 2024 | BROWN HS
2024GHENT HS | 2024 | GHENT HS
2024TRIMBLE CO | 2024 | TRIMBLE CO
2024TRIMBLE PRB | 2024 | TRIMBLE PRB
2024MILL CREEK | 2024 | MILL CREEK
2025BROWN HS | 2025 | BROWN HS
2025GHENT HS | 2025 | GHENT HS
2025TRIMBLE CO | 2025 | TRIMBLE CO
2025TRIMBLE PRB | 2025 | TRIMBLE PRB
2025MILL CREEK | 2025 | MILL CREEK
2026BROWN HS | 2026 | BROWN HS
2026GHENT HS | 2026 | GHENT HS
2026TRIMBLE CO | 2026 | TRIMBLE CO
2026TRIMBLE PRB | 2026 | TRIMBLE PRB
2026MILL CREEK | 2026 | MILL CREEK
2027BROWN HS | 2027 | BROWN HS
2027GHENT HS | 2027 | GHENT HS
2027TRIMBLE CO | 2027 | TRIMBLE CO
2027TRIMBLE PRB | 2027 | TRIMBLE PRB
2027MILL CREEK | 2027 | MILL CREEK

## Coal_LTP
Fuel Cost ($/MMBtu)
Year | Month | BROWN HS | GHENT HS | MILL CREEK | TRIMBLE CO | TRIMBLE PRB
2022 | 1
2022 | 2
2022 | 3
2022 | 4
2022 | 5
2022 | 6
2022 | 7
2022 | 8
2022 | 9
2022 | 10
2022 | 11
2022 | 12
2023 | 1
2023 | 2
2023 | 3
2023 | 4
2023 | 5
2023 | 6
2023 | 7
2023 | 8
2023 | 9
2023 | 10
2023 | 11
2023 | 12
2024 | 1
2024 | 2
2024 | 3
2024 | 4
2024 | 5
2024 | 6
2024 | 7
2024 | 8
2024 | 9
2024 | 10
2024 | 11
2024 | 12
2025 | 1
2025 | 2
2025 | 3
2025 | 4
2025 | 5
2025 | 6
2025 | 7
2025 | 8
2025 | 9
2025 | 10
2025 | 11
2025 | 12
2026 | 1
2026 | 2
2026 | 3
2026 | 4
2026 | 5
2026 | 6
2026 | 7
2026 | 8
2026 | 9
2026 | 10
2026 | 11
2026 | 12
2027 | 1
2027 | 2
2027 | 3
2027 | 4
2027 | 5
2027 | 6
2027 | 7
2027 | 8
2027 | 9
2027 | 10
2027 | 11
2027 | 12
2028 | 1
2028 | 2
2028 | 3
2028 | 4
2028 | 5
2028 | 6
2028 | 7
2028 | 8
2028 | 9
2028 | 10
2028 | 11
2028 | 12
2029 | 1
2029 | 2
2029 | 3
2029 | 4
2029 | 5
2029 | 6
2029 | 7
2029 | 8
2029 | 9
2029 | 10
2029 | 11
2029 | 12
2030 | 1
2030 | 2
2030 | 3
2030 | 4
2030 | 5
2030 | 6
2030 | 7
2030 | 8
2030 | 9
2030 | 10
2030 | 11
2030 | 12
2031 | 1
2031 | 2
2031 | 3
2031 | 4
2031 | 5
2031 | 6
2031 | 7
2031 | 8
2031 | 9
2031 | 10
2031 | 11
2031 | 12
2032 | 1
2032 | 2
2032 | 3
2032 | 4
2032 | 5
2032 | 6
2032 | 7
2032 | 8
2032 | 9
2032 | 10
2032 | 11
2032 | 12
2033 | 1
2033 | 2
2033 | 3
2033 | 4
2033 | 5
2033 | 6
2033 | 7
2033 | 8
2033 | 9
2033 | 10
2033 | 11
2033 | 12
2034 | 1
2034 | 2
2034 | 3
2034 | 4
2034 | 5
2034 | 6
2034 | 7
2034 | 8
2034 | 9
2034 | 10
2034 | 11
2034 | 12
2035 | 1
2035 | 2
2035 | 3
2035 | 4
2035 | 5
2035 | 6
2035 | 7
2035 | 8
2035 | 9
2035 | 10
2035 | 11
2035 | 12
2036 | 1
2036 | 2
2036 | 3
2036 | 4
2036 | 5
2036 | 6
2036 | 7
2036 | 8
2036 | 9
2036 | 10
2036 | 11
2036 | 12
2037 | 1
2037 | 2
2037 | 3
2037 | 4
2037 | 5
2037 | 6
2037 | 7
2037 | 8
2037 | 9
2037 | 10
2037 | 11
2037 | 12
2038 | 1
2038 | 2
2038 | 3
2038 | 4
2038 | 5
2038 | 6
2038 | 7
2038 | 8
2038 | 9
2038 | 10
2038 | 11
2038 | 12
2039 | 1
2039 | 2
2039 | 3
2039 | 4
2039 | 5
2039 | 6
2039 | 7
2039 | 8
2039 | 9
2039 | 10
2039 | 11
2039 | 12
2040 | 1
2040 | 2
2040 | 3
2040 | 4
2040 | 5
2040 | 6
2040 | 7
2040 | 8
2040 | 9
2040 | 10
2040 | 11
2040 | 12
2041 | 1
2041 | 2
2041 | 3
2041 | 4
2041 | 5
2041 | 6
2041 | 7
2041 | 8
2041 | 9
2041 | 10
2041 | 11
2041 | 12
2042 | 1
2042 | 2
2042 | 3
2042 | 4
2042 | 5
2042 | 6
2042 | 7
2042 | 8
2042 | 9
2042 | 10
2042 | 11
2042 | 12
2043 | 1
2043 | 2
2043 | 3
2043 | 4
2043 | 5
2043 | 6
2043 | 7
2043 | 8
2043 | 9
2043 | 10
2043 | 11
2043 | 12
2044 | 1
2044 | 2
2044 | 3
2044 | 4
2044 | 5
2044 | 6
2044 | 7
2044 | 8
2044 | 9
2044 | 10
2044 | 11
2044 | 12
2045 | 1
2045 | 2
2045 | 3
2045 | 4
2045 | 5
2045 | 6
2045 | 7
2045 | 8
2045 | 9
2045 | 10
2045 | 11
2045 | 12
2046 | 1
2046 | 2
2046 | 3
2046 | 4
2046 | 5
2046 | 6
2046 | 7
2046 | 8
2046 | 9
2046 | 10
2046 | 11
2046 | 12
2047 | 1
2047 | 2
2047 | 3
2047 | 4
2047 | 5
2047 | 6
2047 | 7
2047 | 8
2047 | 9
2047 | 10
2047 | 11
2047 | 12
2048 | 1
2048 | 2
2048 | 3
2048 | 4
2048 | 5
2048 | 6
2048 | 7
2048 | 8
2048 | 9
2048 | 10
2048 | 11
2048 | 12
2049 | 1
2049 | 2
2049 | 3
2049 | 4
2049 | 5
2049 | 6
2049 | 7
2049 | 8
2049 | 9
2049 | 10
2049 | 11
2049 | 12
2050 | 1
2050 | 2
2050 | 3
2050 | 4
2050 | 5
2050 | 6
2050 | 7
2050 | 8
2050 | 9
2050 | 10
2050 | 11
2050 | 12

## Coal_LTPHIGH
Fuel Cost ($/MMBtu)
Year | Month | BROWN HS | GHENT HS | MILL CREEK | TRIMBLE CO | TRIMBLE PRB
2022 | 1
2022 | 2
2022 | 3
2022 | 4
2022 | 5
2022 | 6
2022 | 7
2022 | 8
2022 | 9
2022 | 10
2022 | 11
2022 | 12
2023 | 1
2023 | 2
2023 | 3
2023 | 4
2023 | 5
2023 | 6
2023 | 7
2023 | 8
2023 | 9
2023 | 10
2023 | 11
2023 | 12
2024 | 1
2024 | 2
2024 | 3
2024 | 4
2024 | 5
2024 | 6
2024 | 7
2024 | 8
2024 | 9
2024 | 10
2024 | 11
2024 | 12
2025 | 1
2025 | 2
2025 | 3
2025 | 4
2025 | 5
2025 | 6
2025 | 7
2025 | 8
2025 | 9
2025 | 10
2025 | 11
2025 | 12
2026 | 1
2026 | 2
2026 | 3
2026 | 4
2026 | 5
2026 | 6
2026 | 7
2026 | 8
2026 | 9
2026 | 10
2026 | 11
2026 | 12
2027 | 1
2027 | 2
2027 | 3
2027 | 4
2027 | 5
2027 | 6
2027 | 7
2027 | 8
2027 | 9
2027 | 10
2027 | 11
2027 | 12
2028 | 1
2028 | 2
2028 | 3
2028 | 4
2028 | 5
2028 | 6
2028 | 7
2028 | 8
2028 | 9
2028 | 10
2028 | 11
2028 | 12
2029 | 1
2029 | 2
2029 | 3
2029 | 4
2029 | 5
2029 | 6
2029 | 7
2029 | 8
2029 | 9
2029 | 10
2029 | 11
2029 | 12
2030 | 1
2030 | 2
2030 | 3
2030 | 4
2030 | 5
2030 | 6
2030 | 7
2030 | 8
2030 | 9
2030 | 10
2030 | 11
2030 | 12
2031 | 1
2031 | 2
2031 | 3
2031 | 4
2031 | 5
2031 | 6
2031 | 7
2031 | 8
2031 | 9
2031 | 10
2031 | 11
2031 | 12
2032 | 1
2032 | 2
2032 | 3
2032 | 4
2032 | 5
2032 | 6
2032 | 7
2032 | 8
2032 | 9
2032 | 10
2032 | 11
2032 | 12
2033 | 1
2033 | 2
2033 | 3
2033 | 4
2033 | 5
2033 | 6
2033 | 7
2033 | 8
2033 | 9
2033 | 10
2033 | 11
2033 | 12
2034 | 1
2034 | 2
2034 | 3
2034 | 4
2034 | 5
2034 | 6
2034 | 7
2034 | 8
2034 | 9
2034 | 10
2034 | 11
2034 | 12
2035 | 1
2035 | 2
2035 | 3
2035 | 4
2035 | 5
2035 | 6
2035 | 7
2035 | 8
2035 | 9
2035 | 10
2035 | 11
2035 | 12
2036 | 1
2036 | 2
2036 | 3
2036 | 4
2036 | 5
2036 | 6
2036 | 7
2036 | 8
2036 | 9
2036 | 10
2036 | 11
2036 | 12
2037 | 1
2037 | 2
2037 | 3
2037 | 4
2037 | 5
2037 | 6
2037 | 7
2037 | 8
2037 | 9
2037 | 10
2037 | 11
2037 | 12
2038 | 1
2038 | 2
2038 | 3
2038 | 4
2038 | 5
2038 | 6
2038 | 7
2038 | 8
2038 | 9
2038 | 10
2038 | 11
2038 | 12
2039 | 1
2039 | 2
2039 | 3
2039 | 4
2039 | 5
2039 | 6
2039 | 7
2039 | 8
2039 | 9
2039 | 10
2039 | 11
2039 | 12
2040 | 1
2040 | 2
2040 | 3
2040 | 4
2040 | 5
2040 | 6
2040 | 7
2040 | 8
2040 | 9
2040 | 10
2040 | 11
2040 | 12
2041 | 1
2041 | 2
2041 | 3
2041 | 4
2041 | 5
2041 | 6
2041 | 7
2041 | 8
2041 | 9
2041 | 10
2041 | 11
2041 | 12
2042 | 1
2042 | 2
2042 | 3
2042 | 4
2042 | 5
2042 | 6
2042 | 7
2042 | 8
2042 | 9
2042 | 10
2042 | 11
2042 | 12
2043 | 1
2043 | 2
2043 | 3
2043 | 4
2043 | 5
2043 | 6
2043 | 7
2043 | 8
2043 | 9
2043 | 10
2043 | 11
2043 | 12
2044 | 1
2044 | 2
2044 | 3
2044 | 4
2044 | 5
2044 | 6
2044 | 7
2044 | 8
2044 | 9
2044 | 10
2044 | 11
2044 | 12
2045 | 1
2045 | 2
2045 | 3
2045 | 4
2045 | 5
2045 | 6
2045 | 7
2045 | 8
2045 | 9
2045 | 10
2045 | 11
2045 | 12
2046 | 1
2046 | 2
2046 | 3
2046 | 4
2046 | 5
2046 | 6
2046 | 7
2046 | 8
2046 | 9
2046 | 10
2046 | 11
2046 | 12
2047 | 1
2047 | 2
2047 | 3
2047 | 4
2047 | 5
2047 | 6
2047 | 7
2047 | 8
2047 | 9
2047 | 10
2047 | 11
2047 | 12
2048 | 1
2048 | 2
2048 | 3
2048 | 4
2048 | 5
2048 | 6
2048 | 7
2048 | 8
2048 | 9
2048 | 10
2048 | 11
2048 | 12
2049 | 1
2049 | 2
2049 | 3
2049 | 4
2049 | 5
2049 | 6
2049 | 7
2049 | 8
2049 | 9
2049 | 10
2049 | 11
2049 | 12
2050 | 1
2050 | 2
2050 | 3
2050 | 4
2050 | 5
2050 | 6
2050 | 7
2050 | 8
2050 | 9
2050 | 10
2050 | 11
2050 | 12

## GAS
Year | Month | HenryHubCommodity | Gas_Brown | Gas_CaneRun | Gas_Haefling | Gas_MillCreek | Gas_Paddys | Gas_Trimble
2022 | 1
2022 | 2
2022 | 3
2022 | 4
2022 | 5
2022 | 6
2022 | 7
2022 | 8
2022 | 9
2022 | 10
2022 | 11
2022 | 12
2023 | 1
2023 | 2
2023 | 3
2023 | 4
2023 | 5
2023 | 6
2023 | 7
2023 | 8
2023 | 9
2023 | 10
2023 | 11
2023 | 12
2024 | 1
2024 | 2
2024 | 3
2024 | 4
2024 | 5
2024 | 6
2024 | 7
2024 | 8
2024 | 9
2024 | 10
2024 | 11
2024 | 12
2025 | 1
2025 | 2
2025 | 3
2025 | 4
2025 | 5
2025 | 6
2025 | 7
2025 | 8
2025 | 9
2025 | 10
2025 | 11
2025 | 12
2026 | 1
2026 | 2
2026 | 3
2026 | 4
2026 | 5
2026 | 6
2026 | 7
2026 | 8
2026 | 9
2026 | 10
2026 | 11
2026 | 12
2027 | 1
2027 | 2
2027 | 3
2027 | 4
2027 | 5
2027 | 6
2027 | 7
2027 | 8
2027 | 9
2027 | 10
2027 | 11
2027 | 12
2028 | 1
2028 | 2
2028 | 3
2028 | 4
2028 | 5
2028 | 6
2028 | 7
2028 | 8
2028 | 9
2028 | 10
2028 | 11
2028 | 12
2029 | 1
2029 | 2
2029 | 3
2029 | 4
2029 | 5
2029 | 6
2029 | 7
2029 | 8
2029 | 9
2029 | 10
2029 | 11
2029 | 12
2030 | 1
2030 | 2
2030 | 3
2030 | 4
2030 | 5
2030 | 6
2030 | 7
2030 | 8
2030 | 9
2030 | 10
2030 | 11
2030 | 12
2031 | 1
2031 | 2
2031 | 3
2031 | 4
2031 | 5
2031 | 6
2031 | 7
2031 | 8
2031 | 9
2031 | 10
2031 | 11
2031 | 12
2032 | 1
2032 | 2
2032 | 3
2032 | 4
2032 | 5
2032 | 6
2032 | 7
2032 | 8
2032 | 9
2032 | 10
2032 | 11
2032 | 12
2033 | 1
2033 | 2
2033 | 3
2033 | 4
2033 | 5
2033 | 6
2033 | 7
2033 | 8
2033 | 9
2033 | 10
2033 | 11
2033 | 12
2034 | 1
2034 | 2
2034 | 3
2034 | 4
2034 | 5
2034 | 6
2034 | 7
2034 | 8
2034 | 9
2034 | 10
2034 | 11
2034 | 12
2035 | 1
2035 | 2
2035 | 3
2035 | 4
2035 | 5
2035 | 6
2035 | 7
2035 | 8
2035 | 9
2035 | 10
2035 | 11
2035 | 12
2036 | 1
2036 | 2
2036 | 3
2036 | 4
2036 | 5
2036 | 6
2036 | 7
2036 | 8
2036 | 9
2036 | 10
2036 | 11
2036 | 12
2037 | 1
2037 | 2
2037 | 3
2037 | 4
2037 | 5
2037 | 6
2037 | 7
2037 | 8
2037 | 9
2037 | 10
2037 | 11
2037 | 12
2038 | 1
2038 | 2
2038 | 3
2038 | 4
2038 | 5
2038 | 6
2038 | 7
2038 | 8
2038 | 9
2038 | 10
2038 | 11
2038 | 12
2039 | 1
2039 | 2
2039 | 3
2039 | 4
2039 | 5
2039 | 6
2039 | 7
2039 | 8
2039 | 9
2039 | 10
2039 | 11
2039 | 12
2040 | 1
2040 | 2
2040 | 3
2040 | 4
2040 | 5
2040 | 6
2040 | 7
2040 | 8
2040 | 9
2040 | 10
2040 | 11
2040 | 12
2041 | 1
2041 | 2
2041 | 3
2041 | 4
2041 | 5
2041 | 6
2041 | 7
2041 | 8
2041 | 9
2041 | 10
2041 | 11
2041 | 12
2042 | 1
2042 | 2
2042 | 3
2042 | 4
2042 | 5
2042 | 6
2042 | 7
2042 | 8
2042 | 9
2042 | 10
2042 | 11
2042 | 12
2043 | 1
2043 | 2
2043 | 3
2043 | 4
2043 | 5
2043 | 6
2043 | 7
2043 | 8
2043 | 9
2043 | 10
2043 | 11
2043 | 12
2044 | 1
2044 | 2
2044 | 3
2044 | 4
2044 | 5
2044 | 6
2044 | 7
2044 | 8
2044 | 9
2044 | 10
2044 | 11
2044 | 12
2045 | 1
2045 | 2
2045 | 3
2045 | 4
2045 | 5
2045 | 6
2045 | 7
2045 | 8
2045 | 9
2045 | 10
2045 | 11
2045 | 12
2046 | 1
2046 | 2
2046 | 3
2046 | 4
2046 | 5
2046 | 6
2046 | 7
2046 | 8
2046 | 9
2046 | 10
2046 | 11
2046 | 12
2047 | 1
2047 | 2
2047 | 3
2047 | 4
2047 | 5
2047 | 6
2047 | 7
2047 | 8
2047 | 9
2047 | 10
2047 | 11
2047 | 12
2048 | 1
2048 | 2
2048 | 3
2048 | 4
2048 | 5
2048 | 6
2048 | 7
2048 | 8
2048 | 9
2048 | 10
2048 | 11
2048 | 12
2049 | 1
2049 | 2
2049 | 3
2049 | 4
2049 | 5
2049 | 6
2049 | 7
2049 | 8
2049 | 9
2049 | 10
2049 | 11
2049 | 12
2050 | 1
2050 | 2
2050 | 3
2050 | 4
2050 | 5
2050 | 6
2050 | 7
2050 | 8
2050 | 9
2050 | 10
2050 | 11
2050 | 12

## GasHIGH
Year | Month | HenryHubCommodity | Gas_Brown | Gas_CaneRun | Gas_Haefling | Gas_MillCreek | Gas_Paddys | Gas_Trimble
2022 | 1
2022 | 2
2022 | 3
2022 | 4
2022 | 5
2022 | 6
2022 | 7
2022 | 8
2022 | 9
2022 | 10
2022 | 11
2022 | 12
2023 | 1
2023 | 2
2023 | 3
2023 | 4
2023 | 5
2023 | 6
2023 | 7
2023 | 8
2023 | 9
2023 | 10
2023 | 11
2023 | 12
2024 | 1
2024 | 2
2024 | 3
2024 | 4
2024 | 5
2024 | 6
2024 | 7
2024 | 8
2024 | 9
2024 | 10
2024 | 11
2024 | 12
2025 | 1
2025 | 2
2025 | 3
2025 | 4
2025 | 5
2025 | 6
2025 | 7
2025 | 8
2025 | 9
2025 | 10
2025 | 11
2025 | 12
2026 | 1
2026 | 2
2026 | 3
2026 | 4
2026 | 5
2026 | 6
2026 | 7
2026 | 8
2026 | 9
2026 | 10
2026 | 11
2026 | 12
2027 | 1
2027 | 2
2027 | 3
2027 | 4
2027 | 5
2027 | 6
2027 | 7
2027 | 8
2027 | 9
2027 | 10
2027 | 11
2027 | 12
2028 | 1
2028 | 2
2028 | 3
2028 | 4
2028 | 5
2028 | 6
2028 | 7
2028 | 8
2028 | 9
2028 | 10
2028 | 11
2028 | 12
2029 | 1
2029 | 2
2029 | 3
2029 | 4
2029 | 5
2029 | 6
2029 | 7
2029 | 8
2029 | 9
2029 | 10
2029 | 11
2029 | 12
2030 | 1
2030 | 2
2030 | 3
2030 | 4
2030 | 5
2030 | 6
2030 | 7
2030 | 8
2030 | 9
2030 | 10
2030 | 11
2030 | 12
2031 | 1
2031 | 2
2031 | 3
2031 | 4
2031 | 5
2031 | 6
2031 | 7
2031 | 8
2031 | 9
2031 | 10
2031 | 11
2031 | 12
2032 | 1
2032 | 2
2032 | 3
2032 | 4
2032 | 5
2032 | 6
2032 | 7
2032 | 8
2032 | 9
2032 | 10
2032 | 11
2032 | 12
2033 | 1
2033 | 2
2033 | 3
2033 | 4
2033 | 5
2033 | 6
2033 | 7
2033 | 8
2033 | 9
2033 | 10
2033 | 11
2033 | 12
2034 | 1
2034 | 2
2034 | 3
2034 | 4
2034 | 5
2034 | 6
2034 | 7
2034 | 8
2034 | 9
2034 | 10
2034 | 11
2034 | 12
2035 | 1
2035 | 2
2035 | 3
2035 | 4
2035 | 5
2035 | 6
2035 | 7
2035 | 8
2035 | 9
2035 | 10
2035 | 11
2035 | 12
2036 | 1
2036 | 2
2036 | 3
2036 | 4
2036 | 5
2036 | 6
2036 | 7
2036 | 8
2036 | 9
2036 | 10
2036 | 11
2036 | 12
2037 | 1
2037 | 2
2037 | 3
2037 | 4
2037 | 5
2037 | 6
2037 | 7
2037 | 8
2037 | 9
2037 | 10
2037 | 11
2037 | 12
2038 | 1
2038 | 2
2038 | 3
2038 | 4
2038 | 5
2038 | 6
2038 | 7
2038 | 8
2038 | 9
2038 | 10
2038 | 11
2038 | 12
2039 | 1
2039 | 2
2039 | 3
2039 | 4
2039 | 5
2039 | 6
2039 | 7
2039 | 8
2039 | 9
2039 | 10
2039 | 11
2039 | 12
2040 | 1
2040 | 2
2040 | 3
2040 | 4
2040 | 5
2040 | 6
2040 | 7
2040 | 8
2040 | 9
2040 | 10
2040 | 11
2040 | 12
2041 | 1
2041 | 2
2041 | 3
2041 | 4
2041 | 5
2041 | 6
2041 | 7
2041 | 8
2041 | 9
2041 | 10
2041 | 11
2041 | 12
2042 | 1
2042 | 2
2042 | 3
2042 | 4
2042 | 5
2042 | 6
2042 | 7
2042 | 8
2042 | 9
2042 | 10
2042 | 11
2042 | 12
2043 | 1
2043 | 2
2043 | 3
2043 | 4
2043 | 5
2043 | 6
2043 | 7
2043 | 8
2043 | 9
2043 | 10
2043 | 11
2043 | 12
2044 | 1
2044 | 2
2044 | 3
2044 | 4
2044 | 5
2044 | 6
2044 | 7
2044 | 8
2044 | 9
2044 | 10
2044 | 11
2044 | 12
2045 | 1
2045 | 2
2045 | 3
2045 | 4
2045 | 5
2045 | 6
2045 | 7
2045 | 8
2045 | 9
2045 | 10
2045 | 11
2045 | 12
2046 | 1
2046 | 2
2046 | 3
2046 | 4
2046 | 5
2046 | 6
2046 | 7
2046 | 8
2046 | 9
2046 | 10
2046 | 11
2046 | 12
2047 | 1
2047 | 2
2047 | 3
2047 | 4
2047 | 5
2047 | 6
2047 | 7
2047 | 8
2047 | 9
2047 | 10
2047 | 11
2047 | 12
2048 | 1
2048 | 2
2048 | 3
2048 | 4
2048 | 5
2048 | 6
2048 | 7
2048 | 8
2048 | 9
2048 | 10
2048 | 11
2048 | 12
2049 | 1
2049 | 2
2049 | 3
2049 | 4
2049 | 5
2049 | 6
2049 | 7
2049 | 8
2049 | 9
2049 | 10
2049 | 11
2049 | 12
2050 | 1
2050 | 2
2050 | 3
2050 | 4
2050 | 5
2050 | 6
2050 | 7
2050 | 8
2050 | 9
2050 | 10
2050 | 11
2050 | 12

## EUOR
EUOR
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
BR3 | 9.3% | 9.3% | 9.3% | 9.6% | 10.1% | 10.85%
GH1 | 5.5%
GH2 | 5.5% | 6.3% | 6.55% | 7.05% | 7.8% | 8.55% | 9.3% | 10.05% | 10.3%
GH3 | 5.5%
GH4 | 5.5%
MC1 | 5.7% | 6.4% | 7.5%
MC2 | 5.5% | 6.3% | 6.55% | 7.05% | 7.8% | 82.8%
MC3 | 5.5%
MC4 | 5.5%
TC1 | 3.2%
TC2 | 9%
(FOR only)
BR5 | 8.1%
BR6 | 8.1%
BR7 | 8.1%
BR8 | 8.1%
BR9 | 8.1%
BR10 | 8.1%
BR11 | 8.1%
BRS
CR7 | 6.6%
DIX
HF1 | 50%
HF2 | 50%
OF
PR12 | 50%
PR13 | 8.1%
TC5 | 4.9%
TC6 | 4.9%
TC7 | 4.9%
TC8 | 4.9%
TC9 | 4.9%
TC10 | 4.9%

## VOM
$ / MWh
Year | Mill.Creek.1 | Mill.Creek.2 | Mill.Creek.3 | Mill.Creek.4 | Trimble.County.1 | Trimble.County.2 | Brown.3 | Ghent.1 | Ghent.2 | Ghent.3 | Ghent.4
2023
2024
2025 | 0
2026 | 0
2027 | 0
2028 | 0
2029 | 0
2030 | 0
2031 | 0
2032 | 0
2033 | 0
2034 | 0
2035 | 0
2036 | 0
2037 | 0
2038 | 0
2039 | 0
2040 | 0
2041 | 0
2042 | 0
2043 | 0
2044 | 0
2045 | 0
2046 | 0
2047 | 0
2048 | 0
2049 | 0
2050 | 0
2051 | 0
2052 | 0

## RunningCostOpCharge
Year | Cane.Run.7.2X1
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
2051

## StartPenalty
Year | Brown.10 | Brown.11 | Brown.5 | Brown.6 | Brown.7 | Brown.8 | Brown.9 | Cane.Run.7.2X1 | Paddys.Run.13 | Trimble.10 | Trimble.5 | Trimble.6 | Trimble.7 | Trimble.8 | Trimble.9
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050